## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
Octylphenol, Diethoxy | 1433 | 61705GCM37 | 2012-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.86922 | Abs, Accu | 051112, 212051389 | Abs 051112: 100 µl & Accu 212051389: 100 µl | 7.478 | OCTYLPHENOL,_DIETHOXY- | E | 1 | 6.5 | MICROGRAMS PER LITER |  | False positives | >= Reporting Level | 0.86922 | Ab051112, Ac2121389 | Ab | Ac | Ac | 051112 | 2121389 | 2121389 |  | 2121389 | 2121389 | Y | Estimated Values | Y | 2 | Y | 1 | 0.86922 |  | 0.86922 | 0 | 0
OCTYLPHENOL, DIETHOXY- | 1433 | 61705GCM37 | 2012-10-11 | 2011-10-01 | 2050-09-30 | ug/L | 0.56165 | Crescent, Accu | 05BB047, 212051389 | Crescent 05BB047: 50 µl & Accu 212051389: 50 µl | 3.739 | OCTYLPHENOL,_DIETHOXY- | E | 1 | 2.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56165 | Cr05BB047, Ac2121389 | Cr | Ac | Ac | 05BB047 | 2121389 | 2121389 |  | 2121389 | 2121389 | Y | Estimated Values | Y | 2 | Y | 1 | 0.56165 |  | 0.56165 | 0 | 0
OCTYLPHENOL, DIETHOXY- | 1433 | 61705GCM37 | 2010-01-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.39506 | Crescent | 08LL076 | Crescent 08LL076: 80 µl | 4.3032 | OCTYLPHENOL,_DIETHOXY- | E | 1 | 1.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.39506 | Crescent 08LL076 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.29876 | 0.086529 | 0.27372 | 0.16753 | 0.12419
OCTYLPHENOL, DIETHOXY- | 1433 | 61705GCM37 | 2010-08-04 | 2009-10-01 | 2010-09-30 | ug/L | 0.27372 | Crescent | 08LL076 | Crescent 08LL076: 40 µl | 2.1921 | OCTYLPHENOL,_DIETHOXY- | E | 1 | 0.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.27372 | Crescent 08LL076 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.29876 | 0.086529 | 0.27372 | 0.16753 | 0.12419
OCTYLPHENOL, DIETHOXY- | 1433 | 61705GCM37 | 2010-11-04 | 2010-10-01 | 2011-01-31 | ug/L | 0.22752 | Crescent | 08LL076 | Crescent 08LL076: 40 µl | 2.1976 | OCTYLPHENOL,_DIETHOXY- | E | 1 | 0.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.22752 | Crescent 08LL076 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.29876 | 0.086529 | 0.27372 | 0.16753 | 0.12419
OCTYLPHENOL, DIETHOXY- | 1433 | 61705GCM37 | 2012-10-11 | 2011-10-01 | 2050-09-30 | ug/L | 0.49478 | Spex Organics, Accu | T1120521009, 212051389 | Spex Organics T1120521009: 20 µl & Accu 212051389: 20 µl | 1.4956 | OCTYLPHENOL,_DIETHOXY- | E | 1 | 0.74 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.49478 | SpT111009, Ac2121389 | Sp | Ac | Ac | T111009 | 2121389 | 2121389 | T111009 | 2121389 | 2121389 | Y | Estimated Values | Y | 2 | Y | 1 | 0.49478 |  | 0.49478 | 0 | 0
OCTYLPHENOL, DIETHOXY- | 1433 | 61705GCM37 | 2012-08-30 | 2011-10-01 | 2050-09-30 | ug/L | 0.54827 | Supelco, Accu | LB92784, 212051389 | Supelco LB92784: 10 µl & Accu 212051389: 10 µl | 0.7478 | OCTYLPHENOL,_DIETHOXY- | E | 1 | 0.41 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.54827 | SuLB92784, Ac2121389 | Su | Ac | Ac | LB92784 | 2121389 | 2121389 |  | 2121389 | 2121389 | Y | Estimated Values | Y | 1 | Y | 3 | 0.60177 | 0.12896 | 0.54827 | 0.24071 | 0.17843
OCTYLPHENOL, DIETHOXY- | 1433 | 61705GCM37 | 2013-01-23 | 2011-10-01 | 2050-09-30 | ug/L | 0.50816 | Supelco, Accu | LB92784, 212051389 | Supelco LB92784: 10 µl & Accu 212051389: 10 µl | 0.7478 | OCTYLPHENOL,_DIETHOXY- | E | 1 | 0.38 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.50816 | SuLB92784, Ac2121389 | Su | Ac | Ac | LB92784 | 2121389 | 2121389 |  | 2121389 | 2121389 | Y | Estimated Values | Y | 1 | Y | 3 | 0.60177 | 0.12896 | 0.54827 | 0.24071 | 0.17843
OCTYLPHENOL, DIETHOXY- | 1433 | 61705GCM37 | 2013-04-16 | 2011-10-01 | 2050-09-30 | ug/L | 0.74886 | Supelco, Accu | LB92784, 212051389 | Supelco LB92784: 50 µl & Accu 212051389: 50 µl | 3.739 | OCTYLPHENOL,_DIETHOXY- | E | 1 | 2.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74886 | SuLB92784, Ac2121389 | Su | Ac | Ac | LB92784 | 2121389 | 2121389 |  | 2121389 | 2121389 | Y | Estimated Values | Y | 2 | Y | 3 | 0.60177 | 0.12896 | 0.54827 | 0.24071 | 0.17843