## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
P-CRESOL | 1433 | 62084GCM37 | 2013-08-21 | 2011-10-01 | 2050-09-30 | ug/L | 0.93738 | Abs, Accu | 040913WWF, 213041004 | Abs 040913WWF: 20 µl & Accu 213041004: 20 µl | 0.5014 | P-CRESOL | . | 0.08 | 0.47 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93738 | Ab0403WWF, Ac2131004 | Ab | Ac | Ac | 0403WWF | 2131004 | 2131004 | 0403WWF | 2131004 | 2131004 | Y | Recoverable Result | Y | 2 |  | 1 | 0.93738 |  | 0.93738 | 0 | 0
P-CRESOL | 1433 | 62084GCM37 | 2014-02-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.91743 | Abs, ERA | 040913WWF, 0318-13-01.3 | Abs 040913WWF: 20 µl & ERA 0318-13-01.3: 20 µl | 0.5014 | P-CRESOL | . | 0.08 | 0.46 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91743 | Ab0403WWF, ER03101.3 | Ab | ER | ER | 0403WWF | 03101.3 | 03101.3 | 0403WWF | 03101.3 | 03101.3 | Y | Recoverable Result | Y | 2 |  | 1 | 0.91743 |  | 0.91743 | 0 | 0
P-CRESOL | 1433 | 62084GCM37 | 2012-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.096 | Abs, Accu | 051112, 212051389 | Abs 051112: 100 µl & Accu 212051389: 100 µl | 0.5 | P-CRESOL | . | 0.08 | 0.048 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.096 | Ab051112, Ac2121389 | Ab | Ac | Ac | 051112 | 2121389 | 2121389 |  | 2121389 | 2121389 | Y | Recoverable Result | Y | 2 |  | 1 | 0.096 |  | 0.096 | 0 | 0
P-CRESOL | 1433 | 62084GCM37 | 2012-08-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.76 | Abs | 051112 | Abs 051112: 20 µl | 0.1 | P-CRESOL | . | 0.08 | 0.076 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76 | Abs 051112 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.76 |  | 0.76 | 0 | 0
P-CRESOL | 1433 | 62084GCM37 | 2009-01-08 | 2006-10-01 | 2009-09-30 | ug/L | 0.54417 | Abs | 080508WW | Abs 080508WW: 20 µl | 0.40796 | P-CRESOL | . | 0.18 | 0.222 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.54417 | Abs 080508WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.65201 | 0.12636 | 0.64794 | 0.20107 | 0.14905
P-CRESOL | 1433 | 62084GCM37 | 2009-01-29 | 2006-10-01 | 2009-09-30 | ug/L | 0.50581 | Abs | 080508WW | Abs 080508WW: 20 µl | 0.42901 | P-CRESOL | . | 0.18 | 0.217 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.50581 | Abs 080508WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.65201 | 0.12636 | 0.64794 | 0.20107 | 0.14905
P-CRESOL | 1433 | 62084GCM37 | 2009-03-21 | 2006-10-01 | 2009-09-30 | ug/L | 0.82094 | Abs | 080508WW | Abs 080508WW: 40 µl | 0.85268 | P-CRESOL | . | 0.18 | 0.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82094 | Abs 080508WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.65201 | 0.12636 | 0.64794 | 0.20107 | 0.14905
P-CRESOL | 1433 | 62084GCM37 | 2009-05-28 | 2006-10-01 | 2009-09-30 | ug/L | 0.74525 | Abs | 080508WW | Abs 080508WW: 20 µl | 0.40255 | P-CRESOL | . | 0.18 | 0.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74525 | Abs 080508WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.65201 | 0.12636 | 0.64794 | 0.20107 | 0.14905
P-CRESOL | 1433 | 62084GCM37 | 2009-08-06 | 2006-10-01 | 2009-09-30 | ug/L | 0.57877 | Abs | 080508WW | Abs 080508WW: 40 µl | 0.81206 | P-CRESOL | . | 0.18 | 0.47 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57877 | Abs 080508WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.65201 | 0.12636 | 0.64794 | 0.20107 | 0.14905
P-CRESOL | 1433 | 62084GCM37 | 2009-10-09 | 2009-10-01 | 2010-09-30 | ug/L | 0.7171 | Abs | 080508WW | Abs 080508WW: 20 µl | 0.4044 | P-CRESOL | . | 0.08 | 0.29 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7171 | Abs 080508WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.65201 | 0.12636 | 0.64794 | 0.20107 | 0.14905
P-CRESOL | 1433 | 62084GCM37 | 2013-06-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.93738 | Crescent, Abs | 04CC145, 040913WWF | Crescent 04CC145: 20 µl & Abs 040913WWF: 20 µl | 0.5014 | P-CRESOL | . | 0.08 | 0.47 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93738 | Cr04CC145, Ab0403WWF | Cr | Ab | Ab | 04CC145 | 0403WWF | 0403WWF |  | 0403WWF | 0403WWF | Y | Recoverable Result | Y | 2 |  | 1 | 0.93738 |  | 0.93738 | 0 | 0
P-CRESOL | 1433 | 62084GCM37 | 2013-06-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.92074 | Crescent, Supelco | 04CC145, LB99396 | Crescent 04CC145: 20 µl & Supelco LB99396: 20 µl | 0.4996 | P-CRESOL | . | 0.08 | 0.46 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92074 | Cr04CC145, SuLB99396 | Cr | Su | Su | 04CC145 | LB99396 | LB99396 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.92074 |  | 0.92074 | 0 | 0
P-CRESOL | 1433 | 62084GCM37 | 2012-08-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.84 | Crescent, Abs | 05BB047, 051112 | Crescent 05BB047: 10 µl & Abs 051112: 10 µl | 0.05 | P-CRESOL | . | 0.08 | 0.042 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.84 | Cr05BB047, Ab051112 | Cr | Ab | Ab | 05BB047 | 051112 | 051112 |  |  |  | Y | Recoverable Result | Y | 1 |  | 2 | 0.78 | 0.084853 | 0.78 | 0.12 | 0.088955
P-CRESOL | 1433 | 62084GCM37 | 2013-02-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.72 | Crescent, Abs | 05BB047, 051112 | Crescent 05BB047: 50 µl & Abs 051112: 50 µl | 0.25 | P-CRESOL | . | 0.08 | 0.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72 | Cr05BB047, Ab051112 | Cr | Ab | Ab | 05BB047 | 051112 | 051112 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.78 | 0.084853 | 0.78 | 0.12 | 0.088955
P-CRESOL | 1433 | 62084GCM37 | 2012-12-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.14189 | Crescent, Supelco | 05BB047, LB92784 | Crescent 05BB047: 100 µl & Supelco LB92784: 100 µl | 0.5004 | P-CRESOL | . | 0.08 | 0.071 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.14189 | Cr05BB047, SuLB92784 | Cr | Su | Su | 05BB047 | LB92784 | LB92784 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.14189 |  | 0.14189 | 0 | 0
P-CRESOL | 1433 | 62084GCM37 | 2009-01-28 | 2006-10-01 | 2009-09-30 | ug/L | 0.13418 | ERA | 0804-08-02WW | ERA 0804-08-02WW: 40 µl | 0.81977 | P-CRESOL | E | 0.18 | 0.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.13418 | ERA 0804-08-02WW | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.65536 | 0.29143 | 0.72692 | 0.30365 | 0.22509
P-CRESOL | 1433 | 62084GCM37 | 2009-03-05 | 2006-10-01 | 2009-09-30 | ug/L | 0.81308 | ERA | 0804-08-02WW | ERA 0804-08-02WW: 20 µl | 0.41816 | P-CRESOL | . | 0.18 | 0.34 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81308 | ERA 0804-08-02WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.65536 | 0.29143 | 0.72692 | 0.30365 | 0.22509
P-CRESOL | 1433 | 62084GCM37 | 2009-04-23 | 2006-10-01 | 2009-09-30 | ug/L | 0.55403 | ERA | 0804-08-02WW | ERA 0804-08-02WW: 20 µl | 0.41514 | P-CRESOL | . | 0.18 | 0.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.55403 | ERA 0804-08-02WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.65536 | 0.29143 | 0.72692 | 0.30365 | 0.22509
P-CRESOL | 1433 | 62084GCM37 | 2009-07-02 | 2006-10-01 | 2009-09-30 | ug/L | 0.9324 | ERA | 0804-08-02WW | ERA 0804-08-02WW: 20 µl | 0.40755 | P-CRESOL | . | 0.18 | 0.38 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9324 | ERA 0804-08-02WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.65536 | 0.29143 | 0.72692 | 0.30365 | 0.22509
P-CRESOL | 1433 | 62084GCM37 | 2009-09-29 | 2006-10-01 | 2009-09-30 | ug/L | 0.85768 | ERA | 0804-08-02WW | ERA 0804-08-02WW: 40 µl | 0.8045 | P-CRESOL | . | 0.18 | 0.69 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85768 | ERA 0804-08-02WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.65536 | 0.29143 | 0.72692 | 0.30365 | 0.22509
P-CRESOL | 1433 | 62084GCM37 | 2009-10-22 | 2009-10-01 | 2010-09-30 | ug/L | 0.64076 | ERA | 0804-08-02WW | ERA 0804-08-02WW: 20 µl | 0.40577 | P-CRESOL | . | 0.08 | 0.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64076 | ERA 0804-08-02WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.65536 | 0.29143 | 0.72692 | 0.30365 | 0.22509
P-CRESOL | 1433 | 62084GCM37 | 2008-04-21 | 2006-10-01 | 2009-09-30 | ug/L | 1.1813 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.61964 | P-CRESOL | . | 0.18 | 0.732 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1813 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.85344 | 0.23494 | 0.88747 | 0.16628 | 0.12326
P-CRESOL | 1433 | 62084GCM37 | 2008-07-12 | 2006-10-01 | 2009-09-30 | ug/L | 0.88343 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.5988 | P-CRESOL | . | 0.18 | 0.529 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88343 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.85344 | 0.23494 | 0.88747 | 0.16628 | 0.12326
P-CRESOL | 1433 | 62084GCM37 | 2008-09-17 | 2006-10-01 | 2009-09-30 | ug/L | 0.93372 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.58904 | P-CRESOL | . | 0.18 | 0.55 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93372 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.85344 | 0.23494 | 0.88747 | 0.16628 | 0.12326
P-CRESOL | 1433 | 62084GCM37 | 2009-04-02 | 2006-10-01 | 2009-09-30 | ug/L | 0.89152 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.62814 | P-CRESOL | . | 0.18 | 0.56 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89152 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.85344 | 0.23494 | 0.88747 | 0.16628 | 0.12326
P-CRESOL | 1433 | 62084GCM37 | 2009-05-06 | 2006-10-01 | 2009-09-30 | ug/L | 0.46321 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.60447 | P-CRESOL | . | 0.18 | 0.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.46321 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.85344 | 0.23494 | 0.88747 | 0.16628 | 0.12326
P-CRESOL | 1433 | 62084GCM37 | 2009-07-30 | 2006-10-01 | 2009-09-30 | ug/L | 0.76743 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.5994 | P-CRESOL | . | 0.18 | 0.46 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76743 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.85344 | 0.23494 | 0.88747 | 0.16628 | 0.12326
P-CRESOL | 1433 | 62084GCM37 | 2009-03-06 | 2006-10-01 | 2009-09-30 | ug/L | 0.80408 | NWQL | BNA2SP071C | NWQL BNA2SP071C: 75 µl | 0.62183 | P-CRESOL | . | 0.18 | 0.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80408 | NWQL BNA2SP071C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.80408 |  | 0.80408 | 0 | 0
P-CRESOL | 1433 | 62084GCM37 | 2010-06-04 | 2009-10-01 | 2010-09-30 | ug/L | 0.91813 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.47923 | P-CRESOL | . | 0.08 | 0.44 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91813 | NWQL BNA2SP094D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.77372 | 0.20423 | 0.77372 | 0.28882 | 0.2141
P-CRESOL | 1433 | 62084GCM37 | 2010-08-31 | 2009-10-01 | 2010-09-30 | ug/L | 0.62931 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.47671 | P-CRESOL | E | 0.08 | 0.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62931 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.77372 | 0.20423 | 0.77372 | 0.28882 | 0.2141
P-CRESOL | 1433 | 62084GCM37 | 2011-06-08 | 2011-02-01 | 2011-09-30 | ug/L | 1.1223 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 20 µl | 0.16038 | P-CRESOL | . | 0.08 | 0.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1223 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.97589 | 0.10335 | 0.94063 | 0.14553 | 0.10788
P-CRESOL | 1433 | 62084GCM37 | 2011-08-02 | 2011-02-01 | 2011-09-30 | ug/L | 0.90625 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 0.64 | P-CRESOL | . | 0.08 | 0.58 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90625 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.97589 | 0.10335 | 0.94063 | 0.14553 | 0.10788
P-CRESOL | 1433 | 62084GCM37 | 2011-08-26 | 2011-02-01 | 2011-09-30 | ug/L | 0.9 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.4 | P-CRESOL | . | 0.08 | 0.36 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.97589 | 0.10335 | 0.94063 | 0.14553 | 0.10788
P-CRESOL | 1433 | 62084GCM37 | 2011-11-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.975 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.4 | P-CRESOL | . | 0.08 | 0.39 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.975 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.97589 | 0.10335 | 0.94063 | 0.14553 | 0.10788
P-CRESOL | 1433 | 62084GCM37 | 2010-01-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.7951 | Restek | A070024 | Restek A070024: 20 µl | 0.30185 | P-CRESOL | . | 0.08 | 0.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7951 | Restek A070024 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.80219 | 0.16168 | 0.78763 | 0.20427 | 0.15142
P-CRESOL | 1433 | 62084GCM37 | 2010-02-23 | 2009-10-01 | 2010-09-30 | ug/L | 1.0135 | Restek | A070024 | Restek A070024: 10 µl | 0.148 | P-CRESOL | . | 0.08 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0135 | Restek A070024 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.80219 | 0.16168 | 0.78763 | 0.20427 | 0.15142
P-CRESOL | 1433 | 62084GCM37 | 2010-06-16 | 2009-10-01 | 2010-09-30 | ug/L | 0.78017 | Restek | A070024 | Restek A070024: 80 µl | 1.2049 | P-CRESOL | . | 0.08 | 0.94 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78017 | Restek A070024 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.80219 | 0.16168 | 0.78763 | 0.20427 | 0.15142
P-CRESOL | 1433 | 62084GCM37 | 2010-10-14 | 2010-10-01 | 2011-01-31 | ug/L | 0.61993 | Restek | A070024 | Restek A070024: 40 µl | 0.59684 | P-CRESOL | . | 0.08 | 0.37 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61993 | Restek A070024 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.80219 | 0.16168 | 0.78763 | 0.20427 | 0.15142
P-CRESOL | 1433 | 62084GCM37 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.78181 | Spex Organics, Abs | T1130531001, 040913WWF | Spex Organics T1130531001: 50 µl & Abs 040913WWF: 50 µl | 1.2535 | P-CRESOL | . | 0.08 | 0.98 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78181 | SpT111001, Ab0403WWF | Sp | Ab | Ab | T111001 | 0403WWF | 0403WWF | T111001 | 0403WWF | 0403WWF | Y | Recoverable Result | Y | 2 |  | 1 | 0.78181 |  | 0.78181 | 0 | 0
P-CRESOL | 1433 | 62084GCM37 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.64051 | Spex Organics, Supelco | T1130531001, LB99396 | Spex Organics T1130531001: 20 µl & Supelco LB99396: 20 µl | 0.4996 | P-CRESOL | . | 0.08 | 0.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64051 | SpT111001, SuLB99396 | Sp | Su | Su | T111001 | LB99396 | LB99396 | T111001 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.64051 |  | 0.64051 | 0 | 0
P-CRESOL | 1433 | 62084GCM37 | 2010-12-08 | 2010-10-01 | 2011-01-31 | ug/L | 0.92835 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl | 0.21544 | P-CRESOL | . | 0.08 | 0.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92835 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.97227 | 0.14006 | 0.93791 | 0.16906 | 0.12533
P-CRESOL | 1433 | 62084GCM37 | 2011-01-28 | 2010-10-01 | 2011-01-31 | ug/L | 1.2028 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl | 0.21616 | P-CRESOL | . | 0.08 | 0.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2028 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.97227 | 0.14006 | 0.93791 | 0.16906 | 0.12533
P-CRESOL | 1433 | 62084GCM37 | 2011-03-09 | 2011-02-01 | 2011-09-30 | ug/L | 0.94748 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl | 0.53827 | P-CRESOL | . | 0.08 | 0.51 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94748 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.97227 | 0.14006 | 0.93791 | 0.16906 | 0.12533
P-CRESOL | 1433 | 62084GCM37 | 2011-04-28 | 2011-02-01 | 2011-09-30 | ug/L | 0.95431 | Spex Organics | T1100706008 | Spex Organics T1100706008: 80 µl | 0.86974 | P-CRESOL | . | 0.08 | 0.83 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95431 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.97227 | 0.14006 | 0.93791 | 0.16906 | 0.12533
P-CRESOL | 1433 | 62084GCM37 | 2011-07-22 | 2011-02-01 | 2011-09-30 | ug/L | 0.88206 | Spex Organics | T1100706008 | Spex Organics T1100706008: 80 µl | 0.87296 | P-CRESOL | . | 0.08 | 0.77 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88206 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.97227 | 0.14006 | 0.93791 | 0.16906 | 0.12533
P-CRESOL | 1433 | 62084GCM37 | 2011-08-25 | 2011-02-01 | 2011-09-30 | ug/L | 1.055 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl | 0.218 | P-CRESOL | . | 0.08 | 0.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.055 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.97227 | 0.14006 | 0.93791 | 0.16906 | 0.12533
P-CRESOL | 1433 | 62084GCM37 | 2011-11-04 | 2011-10-01 | 2050-09-30 | ug/L | 0.88073 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl | 0.545 | P-CRESOL | . | 0.08 | 0.48 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88073 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.97227 | 0.14006 | 0.93791 | 0.16906 | 0.12533
P-CRESOL | 1433 | 62084GCM37 | 2012-01-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.91743 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl | 0.218 | P-CRESOL | . | 0.08 | 0.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91743 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.97227 | 0.14006 | 0.93791 | 0.16906 | 0.12533
P-CRESOL | 1433 | 62084GCM37 | 2012-02-16 | 2011-10-01 | 2050-09-30 | ug/L | 1.0459 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl | 0.545 | P-CRESOL | . | 0.08 | 0.57 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0459 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.97227 | 0.14006 | 0.93791 | 0.16906 | 0.12533
P-CRESOL | 1433 | 62084GCM37 | 2012-03-09 | 2011-10-01 | 2050-09-30 | ug/L | 1.2385 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl | 0.218 | P-CRESOL | . | 0.08 | 0.27 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2385 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.97227 | 0.14006 | 0.93791 | 0.16906 | 0.12533
P-CRESOL | 1433 | 62084GCM37 | 2012-05-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.84404 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl | 0.545 | P-CRESOL | . | 0.08 | 0.46 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84404 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.97227 | 0.14006 | 0.93791 | 0.16906 | 0.12533
P-CRESOL | 1433 | 62084GCM37 | 2012-05-09 | 2011-10-01 | 2050-09-30 | ug/L | 0.77064 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl | 0.545 | P-CRESOL | . | 0.08 | 0.42 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77064 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.97227 | 0.14006 | 0.93791 | 0.16906 | 0.12533
P-CRESOL | 1433 | 62084GCM37 | 2012-08-30 | 2011-10-01 | 2050-09-30 | ug/L | 1.3189 | Supelco, Accu | LB92784, 212051389 | Supelco LB92784: 10 µl & Accu 212051389: 10 µl | 0.05004 | P-CRESOL | . | 0.08 | 0.066 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.3189 | SuLB92784, Ac2121389 | Su | Ac | Ac | LB92784 | 2121389 | 2121389 |  | 2121389 | 2121389 | Y | Recoverable Result | Y | 1 |  | 3 | 1.0925 | 0.19716 | 0.9992 | 0.35971 | 0.26665
P-CRESOL | 1433 | 62084GCM37 | 2013-01-23 | 2011-10-01 | 2050-09-30 | ug/L | 0.95923 | Supelco, Accu | LB92784, 212051389 | Supelco LB92784: 10 µl & Accu 212051389: 10 µl | 0.05004 | P-CRESOL | . | 0.08 | 0.048 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.95923 | SuLB92784, Ac2121389 | Su | Ac | Ac | LB92784 | 2121389 | 2121389 |  | 2121389 | 2121389 | Y | Recoverable Result | Y | 1 |  | 3 | 1.0925 | 0.19716 | 0.9992 | 0.35971 | 0.26665
P-CRESOL | 1433 | 62084GCM37 | 2013-04-16 | 2011-10-01 | 2050-09-30 | ug/L | 0.9992 | Supelco, Accu | LB92784, 212051389 | Supelco LB92784: 50 µl & Accu 212051389: 50 µl | 0.2502 | P-CRESOL | . | 0.08 | 0.25 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9992 | SuLB92784, Ac2121389 | Su | Ac | Ac | LB92784 | 2121389 | 2121389 |  | 2121389 | 2121389 | Y | Recoverable Result | Y | 2 |  | 3 | 1.0925 | 0.19716 | 0.9992 | 0.35971 | 0.26665
P-CRESOL | 1433 | 62084GCM37 | 2013-02-28 | 2011-10-01 | 2050-09-30 | ug/L | 0.83933 | Supelco, ERA | LB92784, 0507-12-05.2 | Supelco LB92784: 10 µl & ERA 0507-12-05.2: 10 µl | 0.05004 | P-CRESOL | . | 0.08 | 0.042 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.83933 | SuLB92784, ER05005.2 | Su | ER | ER | LB92784 | 05005.2 | 05005.2 |  | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 1 |  | 1 | 0.83933 |  | 0.83933 | 0 | 0
P-CRESOL | 1433 | 62084GCM37 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.76061 | Supelco, Accu | LB99396, 213041004 | Supelco LB99396: 20 µl & Accu 213041004: 20 µl | 0.4996 | P-CRESOL | . | 0.08 | 0.38 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76061 | SuLB99396, Ac2131004 | Su | Ac | Ac | LB99396 | 2131004 | 2131004 |  | 2131004 | 2131004 | Y | Recoverable Result | Y | 2 |  | 1 | 0.76061 |  | 0.76061 | 0 | 0
P-CRESOL | 1433 | 62084GCM37 | 2013-07-11 | 2011-10-01 | 2050-09-30 | ug/L | 0.84868 | Supelco, ERA | LB99396, 0318-13-01.3 | Supelco LB99396: 50 µl & ERA 0318-13-01.3: 50 µl | 1.249 | P-CRESOL | . | 0.08 | 1.06 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84868 | SuLB99396, ER03101.3 | Su | ER | ER | LB99396 | 03101.3 | 03101.3 |  | 03101.3 | 03101.3 | Y | Recoverable Result | Y | 2 |  | 1 | 0.84868 |  | 0.84868 | 0 | 0
P-CRESOL | 1433 | 62084GCM37 | 2008-03-31 | 2006-10-01 | 2009-09-30 | ug/L | 0.97897 | Supelco | LB50015 | Supelco LB50015: 25 µl | 1.0623 | P-CRESOL | . | 0.18 | 1.04 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97897 | Supelco LB50015 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.93439 | 0.072378 | 0.94304 | 0.058187 | 0.043133
P-CRESOL | 1433 | 62084GCM37 | 2008-04-09 | 2006-10-01 | 2009-09-30 | ug/L | 0.9318 | Supelco | LB50015 | Supelco LB50015: 25 µl | 1.012 | P-CRESOL | . | 0.18 | 0.943 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9318 | Supelco LB50015 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.93439 | 0.072378 | 0.94304 | 0.058187 | 0.043133
P-CRESOL | 1433 | 62084GCM37 | 2008-04-21 | 2006-10-01 | 2009-09-30 | ug/L | 1.0173 | Supelco | LB50015 | Supelco LB50015: 25 µl | 1.0125 | P-CRESOL | . | 0.18 | 1.03 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0173 | Supelco LB50015 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.93439 | 0.072378 | 0.94304 | 0.058187 | 0.043133
P-CRESOL | 1433 | 62084GCM37 | 2008-06-03 | 2006-10-01 | 2009-09-30 | ug/L | 0.96143 | Supelco | LB50015 | Supelco LB50015: 25 µl | 1.0058 | P-CRESOL | . | 0.18 | 0.967 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96143 | Supelco LB50015 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.93439 | 0.072378 | 0.94304 | 0.058187 | 0.043133
P-CRESOL | 1433 | 62084GCM37 | 2008-08-07 | 2006-10-01 | 2009-09-30 | ug/L | 0.78749 | Supelco | LB50015 | Supelco LB50015: 25 µl | 1.0083 | P-CRESOL | . | 0.18 | 0.794 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78749 | Supelco LB50015 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.93439 | 0.072378 | 0.94304 | 0.058187 | 0.043133
P-CRESOL | 1433 | 62084GCM37 | 2008-09-10 | 2006-10-01 | 2009-09-30 | ug/L | 0.94304 | Supelco | LB50015 | Supelco LB50015: 25 µl | 0.99678 | P-CRESOL | . | 0.18 | 0.94 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94304 | Supelco LB50015 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.93439 | 0.072378 | 0.94304 | 0.058187 | 0.043133
P-CRESOL | 1433 | 62084GCM37 | 2008-09-24 | 2006-10-01 | 2009-09-30 | ug/L | 0.92078 | Supelco | LB50015 | Supelco LB50015: 25 µl | 0.99698 | P-CRESOL | E | 0.18 | 0.918 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92078 | Supelco LB50015 | [9 empty] | Y | Estimated Values | Y | 2 |  | 7 | 0.93439 | 0.072378 | 0.94304 | 0.058187 | 0.043133
P-CRESOL | 1433 | 62084GCM37 | 2010-01-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.78888 | Ultra | CF-3634 | Ultra CF-3634: 40 µl | 0.59578 | P-CRESOL | . | 0.08 | 0.47 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78888 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.73623 | 0.19307 | 0.80686 | 0.052838 | 0.039168
P-CRESOL | 1433 | 62084GCM37 | 2010-01-27 | 2009-10-01 | 2010-09-30 | ug/L | 0.84172 | Ultra | CF-3634 | Ultra CF-3634: 20 µl | 0.29701 | P-CRESOL | . | 0.08 | 0.25 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84172 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.73623 | 0.19307 | 0.80686 | 0.052838 | 0.039168
P-CRESOL | 1433 | 62084GCM37 | 2010-03-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.80686 | Ultra | CF-3634 | Ultra CF-3634: 40 µl | 0.5949 | P-CRESOL | . | 0.08 | 0.48 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80686 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.73623 | 0.19307 | 0.80686 | 0.052838 | 0.039168
P-CRESOL | 1433 | 62084GCM37 | 2010-04-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.84992 | Ultra | CF-3634 | Ultra CF-3634: 20 µl | 0.29415 | P-CRESOL | . | 0.08 | 0.25 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84992 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.73623 | 0.19307 | 0.80686 | 0.052838 | 0.039168
P-CRESOL | 1433 | 62084GCM37 | 2010-09-03 | 2009-10-01 | 2010-09-30 | ug/L | 0.39375 | Ultra | CF-3634 | Ultra CF-3634: 80 µl | 1.2698 | P-CRESOL | . | 0.08 | 0.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.39375 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.73623 | 0.19307 | 0.80686 | 0.052838 | 0.039168
P-CRESOL | 1433 | 62084GCM37 | 2010-12-09 | 2010-10-01 | 2011-01-31 | ug/L | 0.6605 | Ultra | CG-2301 | Ultra CG-2301: 20 µl | 0.21196 | P-CRESOL | . | 0.08 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6605 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.97195 | 0.14677 | 0.99626 | 0.10122 | 0.075031
P-CRESOL | 1433 | 62084GCM37 | 2010-12-16 | 2010-10-01 | 2011-01-31 | ug/L | 0.77194 | Ultra | CG-2301 | Ultra CG-2301: 80 µl | 0.85499 | P-CRESOL | . | 0.08 | 0.66 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77194 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.97195 | 0.14677 | 0.99626 | 0.10122 | 0.075031
P-CRESOL | 1433 | 62084GCM37 | 2011-04-06 | 2011-02-01 | 2011-09-30 | ug/L | 0.99626 | Ultra | CG-2301 | Ultra CG-2301: 20 µl | 0.22083 | P-CRESOL | . | 0.08 | 0.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99626 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.97195 | 0.14677 | 0.99626 | 0.10122 | 0.075031
P-CRESOL | 1433 | 62084GCM37 | 2011-06-08 | 2011-02-01 | 2011-09-30 | ug/L | 1.0416 | Ultra | CG-2301 | Ultra CG-2301: 50 µl | 0.54724 | P-CRESOL | . | 0.08 | 0.57 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0416 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.97195 | 0.14677 | 0.99626 | 0.10122 | 0.075031
P-CRESOL | 1433 | 62084GCM37 | 2011-06-29 | 2011-02-01 | 2011-09-30 | ug/L | 1.0434 | Ultra | CG-2301 | Ultra CG-2301: 20 µl | 0.22042 | P-CRESOL | . | 0.08 | 0.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0434 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.97195 | 0.14677 | 0.99626 | 0.10122 | 0.075031
P-CRESOL | 1433 | 62084GCM37 | 2011-08-26 | 2011-02-01 | 2011-09-30 | ug/L | 1.0092 | Ultra | CG-2301 | Ultra CG-2301: 50 µl | 0.545 | P-CRESOL | . | 0.08 | 0.55 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0092 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.97195 | 0.14677 | 0.99626 | 0.10122 | 0.075031
P-CRESOL | 1433 | 62084GCM37 | 2011-10-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.9633 | Ultra | CG-2301 | Ultra CG-2301: 80 µl | 0.872 | P-CRESOL | . | 0.08 | 0.84 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9633 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.97195 | 0.14677 | 0.99626 | 0.10122 | 0.075031
P-CRESOL | 1433 | 62084GCM37 | 2011-10-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.95413 | Ultra | CG-2301 | Ultra CG-2301: 50 µl | 0.545 | P-CRESOL | . | 0.08 | 0.52 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95413 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.97195 | 0.14677 | 0.99626 | 0.10122 | 0.075031
P-CRESOL | 1433 | 62084GCM37 | 2011-11-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.91743 | Ultra | CG-2301 | Ultra CG-2301: 20 µl | 0.218 | P-CRESOL | . | 0.08 | 0.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91743 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.97195 | 0.14677 | 0.99626 | 0.10122 | 0.075031
P-CRESOL | 1433 | 62084GCM37 | 2012-02-08 | 2011-10-01 | 2050-09-30 | ug/L | 1.2844 | Ultra | CG-2301 | Ultra CG-2301: 50 µl | 0.545 | P-CRESOL | E | 0.08 | 0.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2844 | Ultra CG-2301 | [9 empty] | Y | Estimated Values | Y | 2 |  | 13 | 0.97195 | 0.14677 | 0.99626 | 0.10122 | 0.075031
P-CRESOL | 1433 | 62084GCM37 | 2012-02-16 | 2011-10-01 | 2050-09-30 | ug/L | 0.99771 | Ultra | CG-2301 | Ultra CG-2301: 80 µl | 0.872 | P-CRESOL | . | 0.08 | 0.87 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99771 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.97195 | 0.14677 | 0.99626 | 0.10122 | 0.075031
P-CRESOL | 1433 | 62084GCM37 | 2012-04-11 | 2011-10-01 | 2050-09-30 | ug/L | 1.055 | Ultra | CG-2301 | Ultra CG-2301: 20 µl | 0.218 | P-CRESOL | . | 0.08 | 0.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.055 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.97195 | 0.14677 | 0.99626 | 0.10122 | 0.075031
P-CRESOL | 1433 | 62084GCM37 | 2012-06-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.94037 | Ultra | CG-2301 | Ultra CG-2301: 80 µl | 0.872 | P-CRESOL | . | 0.08 | 0.82 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94037 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.97195 | 0.14677 | 0.99626 | 0.10122 | 0.075031