## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
PHENANTHRENE | 1433 | 34462GCM37 | 2013-05-15 | 2011-10-01 | 2050-09-30 | ug/L | 0.84 | Abs, Spex Organics | 051112, T1120521009 | Abs 051112: 20 µl & Spex Organics T1120521009: 20 µl | 1 | PHENANTHRENE | . | 0.016 | 0.84 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84 | Ab051112, SpT111009 | Ab | Sp | Sp | 051112 | T111009 | T111009 |  | T111009 | T111009 | Y | Recoverable Result | Y | 2 |  | 1 | 0.84 |  | 0.84 | 0 | 0
PHENANTHRENE | 1433 | 34462GCM37 | 2008-11-14 | 2008-10-01 | 2009-09-30 | ug/L | 0.86734 | ChemService | 406-104C | ChemService 406-104C: 40 µl | 2.2252 | PHENANTHRENE | . | 0.04 | 1.93 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86734 | ChemService 406-104C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.78982 | 0.054407 | 0.78299 | 0.077849 | 0.057709
PHENANTHRENE | 1433 | 34462GCM37 | 2009-01-27 | 2008-10-01 | 2009-09-30 | ug/L | 0.71682 | ChemService | 406-104C | ChemService 406-104C: 20 µl | 1.1858 | PHENANTHRENE | . | 0.04 | 0.85 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71682 | ChemService 406-104C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.78982 | 0.054407 | 0.78299 | 0.077849 | 0.057709
PHENANTHRENE | 1433 | 34462GCM37 | 2009-03-05 | 2008-10-01 | 2009-09-30 | ug/L | 0.77079 | ChemService | 406-104C | ChemService 406-104C: 20 µl | 1.1754 | PHENANTHRENE | . | 0.04 | 0.906 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77079 | ChemService 406-104C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.78982 | 0.054407 | 0.78299 | 0.077849 | 0.057709
PHENANTHRENE | 1433 | 34462GCM37 | 2009-05-12 | 2008-10-01 | 2009-09-30 | ug/L | 0.83331 | ChemService | 406-104C | ChemService 406-104C: 40 µl | 2.2801 | PHENANTHRENE | . | 0.04 | 1.9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83331 | ChemService 406-104C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.78982 | 0.054407 | 0.78299 | 0.077849 | 0.057709
PHENANTHRENE | 1433 | 34462GCM37 | 2009-08-05 | 2008-10-01 | 2009-09-30 | ug/L | 0.7952 | ChemService | 406-104C | ChemService 406-104C: 20 µl | 1.1318 | PHENANTHRENE | . | 0.04 | 0.9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7952 | ChemService 406-104C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.78982 | 0.054407 | 0.78299 | 0.077849 | 0.057709
PHENANTHRENE | 1433 | 34462GCM37 | 2009-10-07 | 2009-10-01 | 2010-09-30 | ug/L | 0.75546 | ChemService | 406-104C | ChemService 406-104C: 20 µl | 1.1251 | PHENANTHRENE | . | 0.032 | 0.85 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75546 | ChemService 406-104C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.78982 | 0.054407 | 0.78299 | 0.077849 | 0.057709
PHENANTHRENE | 1433 | 34462GCM37 | 2010-01-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.73251 | ChemService | 480-95B | ChemService 480-95B: 40 µl | 0.54607 | PHENANTHRENE | . | 0.032 | 0.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73251 | ChemService 480-95B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.72703 | 0.033765 | 0.72822 | 0.045388 | 0.033646
PHENANTHRENE | 1433 | 34462GCM37 | 2010-02-23 | 2009-10-01 | 2010-09-30 | ug/L | 0.72393 | ChemService | 480-95B | ChemService 480-95B: 80 µl | 1.1189 | PHENANTHRENE | . | 0.032 | 0.81 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72393 | ChemService 480-95B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.72703 | 0.033765 | 0.72822 | 0.045388 | 0.033646
PHENANTHRENE | 1433 | 34462GCM37 | 2010-06-03 | 2009-10-01 | 2010-09-30 | ug/L | 0.68474 | ChemService | 480-95B | ChemService 480-95B: 20 µl | 0.27748 | PHENANTHRENE | . | 0.032 | 0.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68474 | ChemService 480-95B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.72703 | 0.033765 | 0.72822 | 0.045388 | 0.033646
PHENANTHRENE | 1433 | 34462GCM37 | 2010-10-14 | 2010-10-01 | 2011-01-31 | ug/L | 0.76693 | ChemService | 480-95B | ChemService 480-95B: 20 µl | 0.27382 | PHENANTHRENE | . | 0.016 | 0.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76693 | ChemService 480-95B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.72703 | 0.033765 | 0.72822 | 0.045388 | 0.033646
PHENANTHRENE | 1433 | 34462GCM37 | 2013-06-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.87649 | Crescent, Abs | 04CC145, 040913WWF | Crescent 04CC145: 20 µl & Abs 040913WWF: 20 µl | 0.0502 | PHENANTHRENE | . | 0.016 | 0.044 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87649 | Cr04CC145, Ab0403WWF | Cr | Ab | Ab | 04CC145 | 0403WWF | 0403WWF |  | 0403WWF | 0403WWF | Y | Recoverable Result | Y | 2 |  | 1 | 0.87649 |  | 0.87649 | 0 | 0
PHENANTHRENE | 1433 | 34462GCM37 | 2013-08-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.85657 | Crescent, Accu | 04CC145, 213041004 | Crescent 04CC145: 20 µl & Accu 213041004: 20 µl | 0.0502 | PHENANTHRENE | . | 0.016 | 0.043 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85657 | Cr04CC145, Ac2131004 | Cr | Ac | Ac | 04CC145 | 2131004 | 2131004 |  | 2131004 | 2131004 | Y | Recoverable Result | Y | 2 |  | 1 | 0.85657 |  | 0.85657 | 0 | 0
PHENANTHRENE | 1433 | 34462GCM37 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.95618 | Crescent, ERA | 04CC145, 0318-13-01.3 | Crescent 04CC145: 50 µl & ERA 0318-13-01.3: 50 µl | 0.1255 | PHENANTHRENE | . | 0.016 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95618 | Cr04CC145, ER03101.3 | Cr | ER | ER | 04CC145 | 03101.3 | 03101.3 |  | 03101.3 | 03101.3 | Y | Recoverable Result | Y | 2 |  | 1 | 0.95618 |  | 0.95618 | 0 | 0
PHENANTHRENE | 1433 | 34462GCM37 | 2013-06-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.91633 | Crescent, Supelco | 04CC145, LB99396 | Crescent 04CC145: 20 µl & Supelco LB99396: 20 µl | 0.0502 | PHENANTHRENE | . | 0.016 | 0.046 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91633 | Cr04CC145, SuLB99396 | Cr | Su | Su | 04CC145 | LB99396 | LB99396 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.91633 |  | 0.91633 | 0 | 0
PHENANTHRENE | 1433 | 34462GCM37 | 2012-08-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.82 | Crescent, Abs | 05BB047, 051112 | Crescent 05BB047: 10 µl & Abs 051112: 10 µl | 0.5 | PHENANTHRENE | . | 0.016 | 0.41 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82 | Cr05BB047, Ab051112 | Cr | Ab | Ab | 05BB047 | 051112 | 051112 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.8 | 0.072111 | 0.82 | 0.14 | 0.10378
PHENANTHRENE | 1433 | 34462GCM37 | 2013-02-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.72 | Crescent, Abs | 05BB047, 051112 | Crescent 05BB047: 50 µl & Abs 051112: 50 µl | 2.5 | PHENANTHRENE | . | 0.016 | 1.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72 | Cr05BB047, Ab051112 | Cr | Ab | Ab | 05BB047 | 051112 | 051112 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.8 | 0.072111 | 0.82 | 0.14 | 0.10378
PHENANTHRENE | 1433 | 34462GCM37 | 2013-04-16 | 2011-10-01 | 2050-09-30 | ug/L | 0.86 | Crescent, Abs | 05BB047, 051112 | Crescent 05BB047: 10 µl & Abs 051112: 10 µl | 0.5 | PHENANTHRENE | . | 0.016 | 0.43 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86 | Cr05BB047, Ab051112 | Cr | Ab | Ab | 05BB047 | 051112 | 051112 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.8 | 0.072111 | 0.82 | 0.14 | 0.10378
PHENANTHRENE | 1433 | 34462GCM37 | 2012-10-11 | 2011-10-01 | 2050-09-30 | ug/L | 0.76 | Crescent, Accu | 05BB047, 212051389 | Crescent 05BB047: 50 µl & Accu 212051389: 50 µl | 2.5 | PHENANTHRENE | . | 0.016 | 1.9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76 | Cr05BB047, Ac2121389 | Cr | Ac | Ac | 05BB047 | 2121389 | 2121389 |  | 2121389 | 2121389 | Y | Recoverable Result | Y | 2 |  | 1 | 0.76 |  | 0.76 | 0 | 0
PHENANTHRENE | 1433 | 34462GCM37 | 2013-01-23 | 2011-10-01 | 2050-09-30 | ug/L | 0.8 | Crescent, ERA | 05BB047, 0507-12-05.2 | Crescent 05BB047: 10 µl & ERA 0507-12-05.2: 10 µl | 0.5 | PHENANTHRENE | . | 0.016 | 0.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8 | Cr05BB047, ER05005.2 | Cr | ER | ER | 05BB047 | 05005.2 | 05005.2 |  | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.82 | 0.028284 | 0.82 | 0.04 | 0.029652
PHENANTHRENE | 1433 | 34462GCM37 | 2013-05-15 | 2011-10-01 | 2050-09-30 | ug/L | 0.84 | Crescent, ERA | 05BB047, 0507-12-05.2 | Crescent 05BB047: 50 µl & ERA 0507-12-05.2: 50 µl | 2.5 | PHENANTHRENE | . | 0.016 | 2.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84 | Cr05BB047, ER05005.2 | Cr | ER | ER | 05BB047 | 05005.2 | 05005.2 |  | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.82 | 0.028284 | 0.82 | 0.04 | 0.029652
PHENANTHRENE | 1433 | 34462GCM37 | 2012-12-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.88 | Crescent, Supelco | 05BB047, LB92784 | Crescent 05BB047: 100 µl & Supelco LB92784: 100 µl | 5 | PHENANTHRENE | E | 0.016 | 4.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88 | Cr05BB047, SuLB92784 | Cr | Su | Su | 05BB047 | LB92784 | LB92784 |  |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.88 |  | 0.88 | 0 | 0
PHENANTHRENE | 1433 | 34462GCM37 | 2009-11-04 | 2009-10-01 | 2010-09-30 | ug/L | 0.75486 | NSI | 083109-01WW | NSI 083109-01WW: 20 µl | 0.2782 | PHENANTHRENE | . | 0.032 | 0.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75486 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.68704 | 0.083338 | 0.71288 | 0.067268 | 0.049865
PHENANTHRENE | 1433 | 34462GCM37 | 2010-02-03 | 2009-10-01 | 2010-09-30 | ug/L | 0.74319 | NSI | 083109-01WW | NSI 083109-01WW: 20 µl | 0.26911 | PHENANTHRENE | . | 0.032 | 0.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74319 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.68704 | 0.083338 | 0.71288 | 0.067268 | 0.049865
PHENANTHRENE | 1433 | 34462GCM37 | 2010-03-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.67592 | NSI | 083109-01WW | NSI 083109-01WW: 40 µl | 0.5474 | PHENANTHRENE | . | 0.032 | 0.37 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67592 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.68704 | 0.083338 | 0.71288 | 0.067268 | 0.049865
PHENANTHRENE | 1433 | 34462GCM37 | 2010-03-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.71288 | NSI | 083109-01WW | NSI 083109-01WW: 80 µl | 1.0942 | PHENANTHRENE | . | 0.032 | 0.78 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71288 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.68704 | 0.083338 | 0.71288 | 0.067268 | 0.049865
PHENANTHRENE | 1433 | 34462GCM37 | 2010-06-29 | 2009-10-01 | 2010-09-30 | ug/L | 0.54834 | NSI | 083109-01WW | NSI 083109-01WW: 40 µl | 0.56534 | PHENANTHRENE | . | 0.032 | 0.31 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.54834 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.68704 | 0.083338 | 0.71288 | 0.067268 | 0.049865
PHENANTHRENE | 1433 | 34462GCM37 | 2008-04-21 | 2006-10-01 | 2008-09-30 | ug/L | 1.1135 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.61964 | PHENANTHRENE | . | 0.08 | 0.69 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1135 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.89278 | 0.13305 | 0.88078 | 0.12625 | 0.093585
PHENANTHRENE | 1433 | 34462GCM37 | 2008-07-12 | 2006-10-01 | 2008-09-30 | ug/L | 0.93687 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.5988 | PHENANTHRENE | . | 0.08 | 0.561 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93687 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.89278 | 0.13305 | 0.88078 | 0.12625 | 0.093585
PHENANTHRENE | 1433 | 34462GCM37 | 2008-09-17 | 2006-10-01 | 2008-09-30 | ug/L | 0.93372 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.58904 | PHENANTHRENE | . | 0.08 | 0.55 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93372 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.89278 | 0.13305 | 0.88078 | 0.12625 | 0.093585
PHENANTHRENE | 1433 | 34462GCM37 | 2009-04-02 | 2008-10-01 | 2009-09-30 | ug/L | 0.82784 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.62814 | PHENANTHRENE | . | 0.04 | 0.52 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82784 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.89278 | 0.13305 | 0.88078 | 0.12625 | 0.093585
PHENANTHRENE | 1433 | 34462GCM37 | 2009-05-06 | 2008-10-01 | 2009-09-30 | ug/L | 0.81062 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.60447 | PHENANTHRENE | . | 0.04 | 0.49 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81062 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.89278 | 0.13305 | 0.88078 | 0.12625 | 0.093585
PHENANTHRENE | 1433 | 34462GCM37 | 2009-07-30 | 2008-10-01 | 2009-09-30 | ug/L | 0.73407 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.5994 | PHENANTHRENE | . | 0.04 | 0.44 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73407 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.89278 | 0.13305 | 0.88078 | 0.12625 | 0.093585
PHENANTHRENE | 1433 | 34462GCM37 | 2009-03-06 | 2008-10-01 | 2009-09-30 | ug/L | 0.69151 | NWQL | BNA2SP071C | NWQL BNA2SP071C: 75 µl | 0.62183 | PHENANTHRENE | . | 0.04 | 0.43 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69151 | NWQL BNA2SP071C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.69151 |  | 0.69151 | 0 | 0
PHENANTHRENE | 1433 | 34462GCM37 | 2010-06-04 | 2009-10-01 | 2010-09-30 | ug/L | 0.83467 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.11981 | PHENANTHRENE | . | 0.032 | 0.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83467 | NWQL BNA2SP094D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.7194 | 0.16301 | 0.7194 | 0.23053 | 0.17089
PHENANTHRENE | 1433 | 34462GCM37 | 2010-08-31 | 2009-10-01 | 2010-09-30 | ug/L | 0.60414 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.11918 | PHENANTHRENE | E | 0.032 | 0.072 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60414 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.7194 | 0.16301 | 0.7194 | 0.23053 | 0.17089
PHENANTHRENE | 1433 | 34462GCM37 | 2011-06-08 | 2011-02-01 | 2011-09-30 | ug/L | 0.97266 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 20 µl | 0.040096 | PHENANTHRENE | . | 0.016 | 0.039 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97266 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0094 | 0.13677 | 0.98133 | 0.17117 | 0.12689
PHENANTHRENE | 1433 | 34462GCM37 | 2011-08-02 | 2011-02-01 | 2011-09-30 | ug/L | 0.875 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 0.16 | PHENANTHRENE | . | 0.016 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.875 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0094 | 0.13677 | 0.98133 | 0.17117 | 0.12689
PHENANTHRENE | 1433 | 34462GCM37 | 2011-08-26 | 2011-02-01 | 2011-09-30 | ug/L | 1.2 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.1 | PHENANTHRENE | . | 0.016 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0094 | 0.13677 | 0.98133 | 0.17117 | 0.12689
PHENANTHRENE | 1433 | 34462GCM37 | 2011-11-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.99 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.1 | PHENANTHRENE | . | 0.016 | 0.099 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0094 | 0.13677 | 0.98133 | 0.17117 | 0.12689
PHENANTHRENE | 1433 | 34462GCM37 | 2009-01-28 | 2008-10-01 | 2009-09-30 | ug/L | 0.80557 | Protocol | D1080815007 | Protocol D1080815007: 20 µl | 1.142 | PHENANTHRENE | . | 0.04 | 0.92 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80557 | Protocol D1080815007 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.75617 | 0.078916 | 0.75189 | 0.081742 | 0.060594
PHENANTHRENE | 1433 | 34462GCM37 | 2009-04-02 | 2008-10-01 | 2009-09-30 | ug/L | 0.85305 | Protocol | D1080815007 | Protocol D1080815007: 20 µl | 1.1371 | PHENANTHRENE | . | 0.04 | 0.97 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85305 | Protocol D1080815007 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.75617 | 0.078916 | 0.75189 | 0.081742 | 0.060594
PHENANTHRENE | 1433 | 34462GCM37 | 2009-07-22 | 2008-10-01 | 2009-09-30 | ug/L | 0.72383 | Protocol | D1080815007 | Protocol D1080815007: 20 µl | 1.119 | PHENANTHRENE | . | 0.04 | 0.81 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72383 | Protocol D1080815007 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.75617 | 0.078916 | 0.75189 | 0.081742 | 0.060594
PHENANTHRENE | 1433 | 34462GCM37 | 2009-08-27 | 2008-10-01 | 2009-09-30 | ug/L | 0.64653 | Protocol | D1080815007 | Protocol D1080815007: 20 µl | 1.1136 | PHENANTHRENE | . | 0.04 | 0.72 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64653 | Protocol D1080815007 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.75617 | 0.078916 | 0.75189 | 0.081742 | 0.060594
PHENANTHRENE | 1433 | 34462GCM37 | 2009-10-22 | 2009-10-01 | 2010-09-30 | ug/L | 0.75189 | Protocol | D1080815007 | Protocol D1080815007: 40 µl | 2.261 | PHENANTHRENE | . | 0.032 | 1.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75189 | Protocol D1080815007 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.75617 | 0.078916 | 0.75189 | 0.081742 | 0.060594
PHENANTHRENE | 1433 | 34462GCM37 | 2008-02-27 | 2006-10-01 | 2008-09-30 | ug/L | 0.6834 | Restek | A053259 | Restek A053259: 25 µl | 2.5168 | PHENANTHRENE | . | 0.08 | 1.72 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6834 | Restek A053259 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.6834 |  | 0.6834 | 0 | 0
PHENANTHRENE | 1433 | 34462GCM37 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.96 | Spex Organics, Abs | T1130531001, 040913WWF | Spex Organics T1130531001: 50 µl & Abs 040913WWF: 50 µl | 0.125 | PHENANTHRENE | . | 0.016 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96 | SpT111001, Ab0403WWF | Sp | Ab | Ab | T111001 | 0403WWF | 0403WWF | T111001 | 0403WWF | 0403WWF | Y | Recoverable Result | Y | 2 |  | 1 | 0.96 |  | 0.96 | 0 | 0
PHENANTHRENE | 1433 | 34462GCM37 | 2013-09-24 | 2011-10-01 | 2050-09-30 | ug/L | 0.86 | Spex Organics, ERA | T1130531001, 0318-13-01.3 | Spex Organics T1130531001: 20 µl & ERA 0318-13-01.3: 20 µl | 0.05 | PHENANTHRENE | . | 0.016 | 0.043 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86 | SpT111001, ER03101.3 | Sp | ER | ER | T111001 | 03101.3 | 03101.3 | T111001 | 03101.3 | 03101.3 | Y | Recoverable Result | Y | 2 |  | 1 | 0.86 |  | 0.86 | 0 | 0
PHENANTHRENE | 1433 | 34462GCM37 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.88 | Spex Organics, Supelco | T1130531001, LB99396 | Spex Organics T1130531001: 20 µl & Supelco LB99396: 20 µl | 0.05 | PHENANTHRENE | . | 0.016 | 0.044 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88 | SpT111001, SuLB99396 | Sp | Su | Su | T111001 | LB99396 | LB99396 | T111001 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.88 |  | 0.88 | 0 | 0
PHENANTHRENE | 1433 | 34462GCM37 | 2012-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.86 | Spex Organics, Abs | T1120521009, 051112 | Spex Organics T1120521009: 10 µl & Abs 051112: 10 µl | 0.5 | PHENANTHRENE | . | 0.016 | 0.43 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86 | SpT111009, Ab051112 | Sp | Ab | Ab | T111009 | 051112 | 051112 | T111009 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.86 |  | 0.86 | 0 | 0
PHENANTHRENE | 1433 | 34462GCM37 | 2012-10-11 | 2011-10-01 | 2050-09-30 | ug/L | 0.96 | Spex Organics, Accu | T1120521009, 212051389 | Spex Organics T1120521009: 20 µl & Accu 212051389: 20 µl | 1 | PHENANTHRENE | . | 0.016 | 0.96 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96 | SpT111009, Ac2121389 | Sp | Ac | Ac | T111009 | 2121389 | 2121389 | T111009 | 2121389 | 2121389 | Y | Recoverable Result | Y | 2 |  | 1 | 0.96 |  | 0.96 | 0 | 0
PHENANTHRENE | 1433 | 34462GCM37 | 2012-08-30 | 2011-10-01 | 2050-09-30 | ug/L | 0.9 | Spex Organics, ERA | T1120521009, 0507-12-05.2 | Spex Organics T1120521009: 10 µl & ERA 0507-12-05.2: 10 µl | 0.5 | PHENANTHRENE | . | 0.016 | 0.45 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9 | SpT111009, ER05005.2 | Sp | ER | ER | T111009 | 05005.2 | 05005.2 | T111009 | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 3 | 0.82667 | 0.12702 | 0.9 | 0.22 | 0.16308
PHENANTHRENE | 1433 | 34462GCM37 | 2012-12-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.9 | Spex Organics, ERA | T1120521009, 0507-12-05.2 | Spex Organics T1120521009: 100 µl & ERA 0507-12-05.2: 100 µl | 5 | PHENANTHRENE | E | 0.016 | 4.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9 | SpT111009, ER05005.2 | Sp | ER | ER | T111009 | 05005.2 | 05005.2 | T111009 | 05005.2 | 05005.2 | Y | Estimated Values | Y | 2 |  | 3 | 0.82667 | 0.12702 | 0.9 | 0.22 | 0.16308
PHENANTHRENE | 1433 | 34462GCM37 | 2013-02-28 | 2011-10-01 | 2050-09-30 | ug/L | 0.68 | Spex Organics, ERA | T1120521009, 0507-12-05.2 | Spex Organics T1120521009: 50 µl & ERA 0507-12-05.2: 50 µl | 2.5 | PHENANTHRENE | . | 0.016 | 1.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68 | SpT111009, ER05005.2 | Sp | ER | ER | T111009 | 05005.2 | 05005.2 | T111009 | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 3 | 0.82667 | 0.12702 | 0.9 | 0.22 | 0.16308
PHENANTHRENE | 1433 | 34462GCM37 | 2012-08-08 | 2011-10-01 | 2050-09-30 | ug/L | 1 | Spex Organics, Supelco | T1120521009, LB92784 | Spex Organics T1120521009: 20 µl & Supelco LB92784: 20 µl | 1 | PHENANTHRENE | . | 0.016 | 1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | SpT111009, SuLB92784 | Sp | Su | Su | T111009 | LB92784 | LB92784 | T111009 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1 |  | 1 | 0 | 0
PHENANTHRENE | 1433 | 34462GCM37 | 2010-12-08 | 2010-10-01 | 2011-01-31 | ug/L | 0.92985 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl | 0.07313 | PHENANTHRENE | . | 0.016 | 0.068 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92985 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.94183 | 0.083524 | 0.93114 | 0.12429 | 0.092135
PHENANTHRENE | 1433 | 34462GCM37 | 2011-01-28 | 2010-10-01 | 2011-01-31 | ug/L | 0.96761 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl | 0.073376 | PHENANTHRENE | . | 0.016 | 0.071 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96761 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.94183 | 0.083524 | 0.93114 | 0.12429 | 0.092135
PHENANTHRENE | 1433 | 34462GCM37 | 2011-03-09 | 2011-02-01 | 2011-09-30 | ug/L | 0.87568 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl | 0.18272 | PHENANTHRENE | . | 0.016 | 0.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87568 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.94183 | 0.083524 | 0.93114 | 0.12429 | 0.092135
PHENANTHRENE | 1433 | 34462GCM37 | 2011-04-28 | 2011-02-01 | 2011-09-30 | ug/L | 1.0161 | Spex Organics | T1100706008 | Spex Organics T1100706008: 80 µl | 0.29523 | PHENANTHRENE | . | 0.016 | 0.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0161 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.94183 | 0.083524 | 0.93114 | 0.12429 | 0.092135
PHENANTHRENE | 1433 | 34462GCM37 | 2011-07-22 | 2011-02-01 | 2011-09-30 | ug/L | 0.80992 | Spex Organics | T1100706008 | Spex Organics T1100706008: 80 µl | 0.29633 | PHENANTHRENE | . | 0.016 | 0.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80992 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.94183 | 0.083524 | 0.93114 | 0.12429 | 0.092135
PHENANTHRENE | 1433 | 34462GCM37 | 2011-08-25 | 2011-02-01 | 2011-09-30 | ug/L | 1.0676 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl | 0.074 | PHENANTHRENE | . | 0.016 | 0.079 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0676 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.94183 | 0.083524 | 0.93114 | 0.12429 | 0.092135
PHENANTHRENE | 1433 | 34462GCM37 | 2011-11-04 | 2011-10-01 | 2050-09-30 | ug/L | 0.91892 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl | 0.185 | PHENANTHRENE | . | 0.016 | 0.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91892 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.94183 | 0.083524 | 0.93114 | 0.12429 | 0.092135
PHENANTHRENE | 1433 | 34462GCM37 | 2012-01-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.93243 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl | 0.074 | PHENANTHRENE | . | 0.016 | 0.069 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93243 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.94183 | 0.083524 | 0.93114 | 0.12429 | 0.092135
PHENANTHRENE | 1433 | 34462GCM37 | 2012-02-16 | 2011-10-01 | 2050-09-30 | ug/L | 1.027 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl | 0.185 | PHENANTHRENE | . | 0.016 | 0.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.027 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.94183 | 0.083524 | 0.93114 | 0.12429 | 0.092135
PHENANTHRENE | 1433 | 34462GCM37 | 2012-03-09 | 2011-10-01 | 2050-09-30 | ug/L | 1.027 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl | 0.074 | PHENANTHRENE | . | 0.016 | 0.076 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.027 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.94183 | 0.083524 | 0.93114 | 0.12429 | 0.092135
PHENANTHRENE | 1433 | 34462GCM37 | 2012-05-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.91892 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl | 0.185 | PHENANTHRENE | . | 0.016 | 0.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91892 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.94183 | 0.083524 | 0.93114 | 0.12429 | 0.092135
PHENANTHRENE | 1433 | 34462GCM37 | 2012-05-09 | 2011-10-01 | 2050-09-30 | ug/L | 0.81081 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl | 0.185 | PHENANTHRENE | . | 0.016 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81081 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.94183 | 0.083524 | 0.93114 | 0.12429 | 0.092135
PHENANTHRENE | 1433 | 34462GCM37 | 2010-12-09 | 2010-10-01 | 2011-01-31 | ug/L | 0.59764 | Ultra | CG-2301 | Ultra CG-2301: 20 µl | 0.071949 | PHENANTHRENE | . | 0.016 | 0.043 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59764 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.84184 | 0.11829 | 0.85135 | 0.16216 | 0.12021
PHENANTHRENE | 1433 | 34462GCM37 | 2010-12-16 | 2010-10-01 | 2011-01-31 | ug/L | 0.68912 | Ultra | CG-2301 | Ultra CG-2301: 80 µl | 0.29022 | PHENANTHRENE | . | 0.016 | 0.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68912 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.84184 | 0.11829 | 0.85135 | 0.16216 | 0.12021
PHENANTHRENE | 1433 | 34462GCM37 | 2011-04-06 | 2011-02-01 | 2011-09-30 | ug/L | 0.93384 | Ultra | CG-2301 | Ultra CG-2301: 20 µl | 0.074959 | PHENANTHRENE | . | 0.016 | 0.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93384 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.84184 | 0.11829 | 0.85135 | 0.16216 | 0.12021
PHENANTHRENE | 1433 | 34462GCM37 | 2011-06-08 | 2011-02-01 | 2011-09-30 | ug/L | 0.91515 | Ultra | CG-2301 | Ultra CG-2301: 50 µl | 0.18576 | PHENANTHRENE | . | 0.016 | 0.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91515 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.84184 | 0.11829 | 0.85135 | 0.16216 | 0.12021
PHENANTHRENE | 1433 | 34462GCM37 | 2011-06-29 | 2011-02-01 | 2011-09-30 | ug/L | 0.84199 | Ultra | CG-2301 | Ultra CG-2301: 20 µl | 0.074823 | PHENANTHRENE | . | 0.016 | 0.063 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84199 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.84184 | 0.11829 | 0.85135 | 0.16216 | 0.12021
PHENANTHRENE | 1433 | 34462GCM37 | 2011-08-26 | 2011-02-01 | 2011-09-30 | ug/L | 0.91892 | Ultra | CG-2301 | Ultra CG-2301: 50 µl | 0.185 | PHENANTHRENE | . | 0.016 | 0.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91892 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.84184 | 0.11829 | 0.85135 | 0.16216 | 0.12021
PHENANTHRENE | 1433 | 34462GCM37 | 2011-10-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.74324 | Ultra | CG-2301 | Ultra CG-2301: 80 µl | 0.296 | PHENANTHRENE | . | 0.016 | 0.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74324 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.84184 | 0.11829 | 0.85135 | 0.16216 | 0.12021
PHENANTHRENE | 1433 | 34462GCM37 | 2011-10-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.75676 | Ultra | CG-2301 | Ultra CG-2301: 50 µl | 0.185 | PHENANTHRENE | . | 0.016 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75676 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.84184 | 0.11829 | 0.85135 | 0.16216 | 0.12021
PHENANTHRENE | 1433 | 34462GCM37 | 2011-11-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.85135 | Ultra | CG-2301 | Ultra CG-2301: 20 µl | 0.074 | PHENANTHRENE | . | 0.016 | 0.063 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85135 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.84184 | 0.11829 | 0.85135 | 0.16216 | 0.12021
PHENANTHRENE | 1433 | 34462GCM37 | 2012-02-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.97297 | Ultra | CG-2301 | Ultra CG-2301: 50 µl | 0.185 | PHENANTHRENE | . | 0.016 | 0.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97297 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.84184 | 0.11829 | 0.85135 | 0.16216 | 0.12021
PHENANTHRENE | 1433 | 34462GCM37 | 2012-02-16 | 2011-10-01 | 2050-09-30 | ug/L | 0.91216 | Ultra | CG-2301 | Ultra CG-2301: 80 µl | 0.296 | PHENANTHRENE | . | 0.016 | 0.27 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91216 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.84184 | 0.11829 | 0.85135 | 0.16216 | 0.12021
PHENANTHRENE | 1433 | 34462GCM37 | 2012-04-11 | 2011-10-01 | 2050-09-30 | ug/L | 1 | Ultra | CG-2301 | Ultra CG-2301: 20 µl | 0.074 | PHENANTHRENE | . | 0.016 | 0.074 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.84184 | 0.11829 | 0.85135 | 0.16216 | 0.12021
PHENANTHRENE | 1433 | 34462GCM37 | 2012-06-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.81081 | Ultra | CG-2301 | Ultra CG-2301: 80 µl | 0.296 | PHENANTHRENE | . | 0.016 | 0.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81081 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.84184 | 0.11829 | 0.85135 | 0.16216 | 0.12021