## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
PYRENE | 1433 | 34470GCM37 | 2013-05-15 | 2011-10-01 | 2050-09-30 | ug/L | 0.9 | Abs, Spex Organics | 051112, T1120521009 | Abs 051112: 20 µl & Spex Organics T1120521009: 20 µl | 0.2 | PYRENE | . | 0.042 | 0.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9 | Ab051112, SpT111009 | Ab | Sp | Sp | 051112 | T111009 | T111009 |  | T111009 | T111009 | Y | Recoverable Result | Y | 2 |  | 1 | 0.9 |  | 0.9 | 0 | 0
PYRENE | 1433 | 34470GCM37 | 2008-11-14 | 2008-10-01 | 2009-09-30 | ug/L | 0.90846 | ChemService | 406-104C | ChemService 406-104C: 40 µl | 0.73201 | PYRENE | . | 0.04 | 0.665 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90846 | ChemService 406-104C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.84321 | 0.05097 | 0.85638 | 0.040862 | 0.030291
PYRENE | 1433 | 34470GCM37 | 2009-01-27 | 2008-10-01 | 2009-09-30 | ug/L | 0.82034 | ChemService | 406-104C | ChemService 406-104C: 20 µl | 0.39008 | PYRENE | . | 0.04 | 0.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82034 | ChemService 406-104C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.84321 | 0.05097 | 0.85638 | 0.040862 | 0.030291
PYRENE | 1433 | 34470GCM37 | 2009-03-05 | 2008-10-01 | 2009-09-30 | ug/L | 0.86121 | ChemService | 406-104C | ChemService 406-104C: 20 µl | 0.38667 | PYRENE | . | 0.04 | 0.333 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86121 | ChemService 406-104C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.84321 | 0.05097 | 0.85638 | 0.040862 | 0.030291
PYRENE | 1433 | 34470GCM37 | 2009-05-12 | 2008-10-01 | 2009-09-30 | ug/L | 0.85328 | ChemService | 406-104C | ChemService 406-104C: 40 µl | 0.75005 | PYRENE | . | 0.04 | 0.64 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85328 | ChemService 406-104C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.84321 | 0.05097 | 0.85638 | 0.040862 | 0.030291
PYRENE | 1433 | 34470GCM37 | 2009-08-05 | 2008-10-01 | 2009-09-30 | ug/L | 0.85948 | ChemService | 406-104C | ChemService 406-104C: 20 µl | 0.37232 | PYRENE | . | 0.04 | 0.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85948 | ChemService 406-104C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.84321 | 0.05097 | 0.85638 | 0.040862 | 0.030291
PYRENE | 1433 | 34470GCM37 | 2009-10-07 | 2009-10-01 | 2010-09-30 | ug/L | 0.7565 | ChemService | 406-104C | ChemService 406-104C: 20 µl | 0.37013 | PYRENE | . | 0.042 | 0.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7565 | ChemService 406-104C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.84321 | 0.05097 | 0.85638 | 0.040862 | 0.030291
PYRENE | 1433 | 34470GCM37 | 2010-01-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.75654 | ChemService | 480-95B | ChemService 480-95B: 40 µl | 0.83274 | PYRENE | . | 0.042 | 0.63 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75654 | ChemService 480-95B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.77215 | 0.015683 | 0.77088 | 0.025871 | 0.019178
PYRENE | 1433 | 34470GCM37 | 2010-02-23 | 2009-10-01 | 2010-09-30 | ug/L | 0.76188 | ChemService | 480-95B | ChemService 480-95B: 80 µl | 1.7063 | PYRENE | . | 0.042 | 1.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76188 | ChemService 480-95B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.77215 | 0.015683 | 0.77088 | 0.025871 | 0.019178
PYRENE | 1433 | 34470GCM37 | 2010-06-03 | 2009-10-01 | 2010-09-30 | ug/L | 0.77987 | ChemService | 480-95B | ChemService 480-95B: 20 µl | 0.42315 | PYRENE | . | 0.042 | 0.33 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77987 | ChemService 480-95B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.77215 | 0.015683 | 0.77088 | 0.025871 | 0.019178
PYRENE | 1433 | 34470GCM37 | 2010-10-14 | 2010-10-01 | 2011-01-31 | ug/L | 0.79029 | ChemService | 480-95B | ChemService 480-95B: 20 µl | 0.41757 | PYRENE | . | 0.042 | 0.33 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79029 | ChemService 480-95B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.77215 | 0.015683 | 0.77088 | 0.025871 | 0.019178
PYRENE | 1433 | 34470GCM37 | 2013-06-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.99771 | Crescent, Abs | 04CC145, 040913WWF | Crescent 04CC145: 20 µl & Abs 040913WWF: 20 µl | 0.0872 | PYRENE | . | 0.042 | 0.087 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99771 | Cr04CC145, Ab0403WWF | Cr | Ab | Ab | 04CC145 | 0403WWF | 0403WWF |  | 0403WWF | 0403WWF | Y | Recoverable Result | Y | 2 |  | 1 | 0.99771 |  | 0.99771 | 0 | 0
PYRENE | 1433 | 34470GCM37 | 2013-08-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.91743 | Crescent, Accu | 04CC145, 213041004 | Crescent 04CC145: 20 µl & Accu 213041004: 20 µl | 0.0872 | PYRENE | . | 0.042 | 0.08 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91743 | Cr04CC145, Ac2131004 | Cr | Ac | Ac | 04CC145 | 2131004 | 2131004 |  | 2131004 | 2131004 | Y | Recoverable Result | Y | 2 |  | 1 | 0.91743 |  | 0.91743 | 0 | 0
PYRENE | 1433 | 34470GCM37 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.9633 | Crescent, ERA | 04CC145, 0318-13-01.3 | Crescent 04CC145: 50 µl & ERA 0318-13-01.3: 50 µl | 0.218 | PYRENE | . | 0.042 | 0.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9633 | Cr04CC145, ER03101.3 | Cr | ER | ER | 04CC145 | 03101.3 | 03101.3 |  | 03101.3 | 03101.3 | Y | Recoverable Result | Y | 2 |  | 1 | 0.9633 |  | 0.9633 | 0 | 0
PYRENE | 1433 | 34470GCM37 | 2013-06-18 | 2011-10-01 | 2050-09-30 | ug/L | 1.1239 | Crescent, Supelco | 04CC145, LB99396 | Crescent 04CC145: 20 µl & Supelco LB99396: 20 µl | 0.0872 | PYRENE | . | 0.042 | 0.098 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1239 | Cr04CC145, SuLB99396 | Cr | Su | Su | 04CC145 | LB99396 | LB99396 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.1239 |  | 1.1239 | 0 | 0
PYRENE | 1433 | 34470GCM37 | 2012-08-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.90909 | Crescent, Abs | 05BB047, 051112 | Crescent 05BB047: 10 µl & Abs 051112: 10 µl | 0.099 | PYRENE | . | 0.042 | 0.09 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90909 | Cr05BB047, Ab051112 | Cr | Ab | Ab | 05BB047 | 051112 | 051112 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.86869 | 0.1069 | 0.90909 | 0.20202 | 0.14976
PYRENE | 1433 | 34470GCM37 | 2013-02-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.74747 | Crescent, Abs | 05BB047, 051112 | Crescent 05BB047: 50 µl & Abs 051112: 50 µl | 0.495 | PYRENE | . | 0.042 | 0.37 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74747 | Cr05BB047, Ab051112 | Cr | Ab | Ab | 05BB047 | 051112 | 051112 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.86869 | 0.1069 | 0.90909 | 0.20202 | 0.14976
PYRENE | 1433 | 34470GCM37 | 2013-04-16 | 2011-10-01 | 2050-09-30 | ug/L | 0.94949 | Crescent, Abs | 05BB047, 051112 | Crescent 05BB047: 10 µl & Abs 051112: 10 µl | 0.099 | PYRENE | . | 0.042 | 0.094 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94949 | Cr05BB047, Ab051112 | Cr | Ab | Ab | 05BB047 | 051112 | 051112 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.86869 | 0.1069 | 0.90909 | 0.20202 | 0.14976
PYRENE | 1433 | 34470GCM37 | 2012-10-11 | 2011-10-01 | 2050-09-30 | ug/L | 0.80808 | Crescent, Accu | 05BB047, 212051389 | Crescent 05BB047: 50 µl & Accu 212051389: 50 µl | 0.495 | PYRENE | . | 0.042 | 0.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80808 | Cr05BB047, Ac2121389 | Cr | Ac | Ac | 05BB047 | 2121389 | 2121389 |  | 2121389 | 2121389 | Y | Recoverable Result | Y | 2 |  | 1 | 0.80808 |  | 0.80808 | 0 | 0
PYRENE | 1433 | 34470GCM37 | 2013-01-23 | 2011-10-01 | 2050-09-30 | ug/L | 0.77778 | Crescent, ERA | 05BB047, 0507-12-05.2 | Crescent 05BB047: 10 µl & ERA 0507-12-05.2: 10 µl | 0.099 | PYRENE | . | 0.042 | 0.077 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77778 | Cr05BB047, ER05005.2 | Cr | ER | ER | 05BB047 | 05005.2 | 05005.2 |  | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.79293 | 0.021427 | 0.79293 | 0.030303 | 0.022463
PYRENE | 1433 | 34470GCM37 | 2013-05-15 | 2011-10-01 | 2050-09-30 | ug/L | 0.80808 | Crescent, ERA | 05BB047, 0507-12-05.2 | Crescent 05BB047: 50 µl & ERA 0507-12-05.2: 50 µl | 0.495 | PYRENE | . | 0.042 | 0.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80808 | Cr05BB047, ER05005.2 | Cr | ER | ER | 05BB047 | 05005.2 | 05005.2 |  | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.79293 | 0.021427 | 0.79293 | 0.030303 | 0.022463
PYRENE | 1433 | 34470GCM37 | 2012-12-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.93939 | Crescent, Supelco | 05BB047, LB92784 | Crescent 05BB047: 100 µl & Supelco LB92784: 100 µl | 0.99 | PYRENE | . | 0.042 | 0.93 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93939 | Cr05BB047, SuLB92784 | Cr | Su | Su | 05BB047 | LB92784 | LB92784 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.93939 |  | 0.93939 | 0 | 0
PYRENE | 1433 | 34470GCM37 | 2009-11-04 | 2009-10-01 | 2010-09-30 | ug/L | 0.82283 | NSI | 083109-01WW | NSI 083109-01WW: 20 µl | 0.42536 | PYRENE | . | 0.042 | 0.35 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82283 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.75587 | 0.077902 | 0.77707 | 0.049294 | 0.036541
PYRENE | 1433 | 34470GCM37 | 2010-02-03 | 2009-10-01 | 2010-09-30 | ug/L | 0.80201 | NSI | 083109-01WW | NSI 083109-01WW: 20 µl | 0.41147 | PYRENE | . | 0.042 | 0.33 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80201 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.75587 | 0.077902 | 0.77707 | 0.049294 | 0.036541
PYRENE | 1433 | 34470GCM37 | 2010-03-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.75272 | NSI | 083109-01WW | NSI 083109-01WW: 40 µl | 0.83697 | PYRENE | . | 0.042 | 0.63 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75272 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.75587 | 0.077902 | 0.77707 | 0.049294 | 0.036541
PYRENE | 1433 | 34470GCM37 | 2010-03-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.77707 | NSI | 083109-01WW | NSI 083109-01WW: 80 µl | 1.6729 | PYRENE | . | 0.042 | 1.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77707 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.75587 | 0.077902 | 0.77707 | 0.049294 | 0.036541
PYRENE | 1433 | 34470GCM37 | 2010-06-29 | 2009-10-01 | 2010-09-30 | ug/L | 0.62471 | NSI | 083109-01WW | NSI 083109-01WW: 40 µl | 0.8644 | PYRENE | . | 0.042 | 0.54 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62471 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.75587 | 0.077902 | 0.77707 | 0.049294 | 0.036541
PYRENE | 1433 | 34470GCM37 | 2008-04-21 | 2006-10-01 | 2008-09-30 | ug/L | 1.0861 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.61964 | PYRENE | . | 0.08 | 0.673 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0861 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.91715 | 0.12468 | 0.91035 | 0.15791 | 0.11706
PYRENE | 1433 | 34470GCM37 | 2008-07-12 | 2006-10-01 | 2008-09-30 | ug/L | 0.97695 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.5988 | PYRENE | . | 0.08 | 0.585 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97695 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.91715 | 0.12468 | 0.91035 | 0.15791 | 0.11706
PYRENE | 1433 | 34470GCM37 | 2008-09-17 | 2006-10-01 | 2008-09-30 | ug/L | 1.0016 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.58904 | PYRENE | . | 0.08 | 0.59 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0016 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.91715 | 0.12468 | 0.91035 | 0.15791 | 0.11706
PYRENE | 1433 | 34470GCM37 | 2009-04-02 | 2008-10-01 | 2009-09-30 | ug/L | 0.84376 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.62814 | PYRENE | . | 0.04 | 0.53 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84376 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.91715 | 0.12468 | 0.91035 | 0.15791 | 0.11706
PYRENE | 1433 | 34470GCM37 | 2009-05-06 | 2008-10-01 | 2009-09-30 | ug/L | 0.84371 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.60447 | PYRENE | . | 0.04 | 0.51 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84371 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.91715 | 0.12468 | 0.91035 | 0.15791 | 0.11706
PYRENE | 1433 | 34470GCM37 | 2009-07-30 | 2008-10-01 | 2009-09-30 | ug/L | 0.75075 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.5994 | PYRENE | . | 0.04 | 0.45 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75075 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.91715 | 0.12468 | 0.91035 | 0.15791 | 0.11706
PYRENE | 1433 | 34470GCM37 | 2009-03-06 | 2008-10-01 | 2009-09-30 | ug/L | 0.70759 | NWQL | BNA2SP071C | NWQL BNA2SP071C: 75 µl | 0.62183 | PYRENE | . | 0.04 | 0.44 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70759 | NWQL BNA2SP071C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.70759 |  | 0.70759 | 0 | 0
PYRENE | 1433 | 34470GCM37 | 2010-06-04 | 2009-10-01 | 2010-09-30 | ug/L | 0.91813 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.11981 | PYRENE | . | 0.042 | 0.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91813 | NWQL BNA2SP094D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.81987 | 0.13896 | 0.81987 | 0.19652 | 0.14568
PYRENE | 1433 | 34470GCM37 | 2010-08-31 | 2009-10-01 | 2010-09-30 | ug/L | 0.72161 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.11918 | PYRENE | E | 0.042 | 0.086 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72161 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.81987 | 0.13896 | 0.81987 | 0.19652 | 0.14568
PYRENE | 1433 | 34470GCM37 | 2011-06-08 | 2011-02-01 | 2011-09-30 | ug/L | 1.1472 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 20 µl | 0.040096 | PYRENE | . | 0.042 | 0.046 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.1472 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 1 |  | 4 | 1.1118 | 0.084998 | 1.1236 | 0.12362 | 0.091639
PYRENE | 1433 | 34470GCM37 | 2011-08-02 | 2011-02-01 | 2011-09-30 | ug/L | 1 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 0.16 | PYRENE | . | 0.042 | 0.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1118 | 0.084998 | 1.1236 | 0.12362 | 0.091639
PYRENE | 1433 | 34470GCM37 | 2011-08-26 | 2011-02-01 | 2011-09-30 | ug/L | 1.2 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.1 | PYRENE | . | 0.042 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1118 | 0.084998 | 1.1236 | 0.12362 | 0.091639
PYRENE | 1433 | 34470GCM37 | 2011-11-08 | 2011-10-01 | 2050-09-30 | ug/L | 1.1 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.1 | PYRENE | . | 0.042 | 0.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1118 | 0.084998 | 1.1236 | 0.12362 | 0.091639
PYRENE | 1433 | 34470GCM37 | 2009-01-28 | 2008-10-01 | 2009-09-30 | ug/L | 0.90274 | Protocol | D1080815007 | Protocol D1080815007: 20 µl | 0.37663 | PYRENE | . | 0.04 | 0.34 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90274 | Protocol D1080815007 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.84321 | 0.095961 | 0.89419 | 0.12488 | 0.092574
PYRENE | 1433 | 34470GCM37 | 2009-04-02 | 2008-10-01 | 2009-09-30 | ug/L | 0.93333 | Protocol | D1080815007 | Protocol D1080815007: 20 µl | 0.375 | PYRENE | . | 0.04 | 0.35 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93333 | Protocol D1080815007 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.84321 | 0.095961 | 0.89419 | 0.12488 | 0.092574
PYRENE | 1433 | 34470GCM37 | 2009-07-22 | 2008-10-01 | 2009-09-30 | ug/L | 0.89419 | Protocol | D1080815007 | Protocol D1080815007: 20 µl | 0.36905 | PYRENE | . | 0.04 | 0.33 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89419 | Protocol D1080815007 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.84321 | 0.095961 | 0.89419 | 0.12488 | 0.092574
PYRENE | 1433 | 34470GCM37 | 2009-08-27 | 2008-10-01 | 2009-09-30 | ug/L | 0.70794 | Protocol | D1080815007 | Protocol D1080815007: 20 µl | 0.36726 | PYRENE | . | 0.04 | 0.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70794 | Protocol D1080815007 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.84321 | 0.095961 | 0.89419 | 0.12488 | 0.092574
PYRENE | 1433 | 34470GCM37 | 2009-10-22 | 2009-10-01 | 2010-09-30 | ug/L | 0.77785 | Protocol | D1080815007 | Protocol D1080815007: 40 µl | 0.74564 | PYRENE | . | 0.042 | 0.58 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77785 | Protocol D1080815007 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.84321 | 0.095961 | 0.89419 | 0.12488 | 0.092574
PYRENE | 1433 | 34470GCM37 | 2008-02-27 | 2006-10-01 | 2008-09-30 | ug/L | 0.72681 | Restek | A053259 | Restek A053259: 25 µl | 0.776 | PYRENE | . | 0.08 | 0.564 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72681 | Restek A053259 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.72681 |  | 0.72681 | 0 | 0
PYRENE | 1433 | 34470GCM37 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 1.0455 | Spex Organics, Abs | T1130531001, 040913WWF | Spex Organics T1130531001: 50 µl & Abs 040913WWF: 50 µl | 0.22 | PYRENE | . | 0.042 | 0.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0455 | SpT111001, Ab0403WWF | Sp | Ab | Ab | T111001 | 0403WWF | 0403WWF | T111001 | 0403WWF | 0403WWF | Y | Recoverable Result | Y | 2 |  | 1 | 1.0455 |  | 1.0455 | 0 | 0
PYRENE | 1433 | 34470GCM37 | 2013-09-24 | 2011-10-01 | 2050-09-30 | ug/L | 0.95455 | Spex Organics, ERA | T1130531001, 0318-13-01.3 | Spex Organics T1130531001: 20 µl & ERA 0318-13-01.3: 20 µl | 0.088 | PYRENE | . | 0.042 | 0.084 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95455 | SpT111001, ER03101.3 | Sp | ER | ER | T111001 | 03101.3 | 03101.3 | T111001 | 03101.3 | 03101.3 | Y | Recoverable Result | Y | 2 |  | 1 | 0.95455 |  | 0.95455 | 0 | 0
PYRENE | 1433 | 34470GCM37 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.88636 | Spex Organics, Supelco | T1130531001, LB99396 | Spex Organics T1130531001: 20 µl & Supelco LB99396: 20 µl | 0.088 | PYRENE | . | 0.042 | 0.078 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88636 | SpT111001, SuLB99396 | Sp | Su | Su | T111001 | LB99396 | LB99396 | T111001 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.88636 |  | 0.88636 | 0 | 0
PYRENE | 1433 | 34470GCM37 | 2012-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.8 | Spex Organics, Abs | T1120521009, 051112 | Spex Organics T1120521009: 10 µl & Abs 051112: 10 µl | 0.1 | PYRENE | . | 0.042 | 0.08 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8 | SpT111009, Ab051112 | Sp | Ab | Ab | T111009 | 051112 | 051112 | T111009 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.8 |  | 0.8 | 0 | 0
PYRENE | 1433 | 34470GCM37 | 2012-10-11 | 2011-10-01 | 2050-09-30 | ug/L | 1.05 | Spex Organics, Accu | T1120521009, 212051389 | Spex Organics T1120521009: 20 µl & Accu 212051389: 20 µl | 0.2 | PYRENE | . | 0.042 | 0.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.05 | SpT111009, Ac2121389 | Sp | Ac | Ac | T111009 | 2121389 | 2121389 | T111009 | 2121389 | 2121389 | Y | Recoverable Result | Y | 2 |  | 1 | 1.05 |  | 1.05 | 0 | 0
PYRENE | 1433 | 34470GCM37 | 2012-08-30 | 2011-10-01 | 2050-09-30 | ug/L | 1 | Spex Organics, ERA | T1120521009, 0507-12-05.2 | Spex Organics T1120521009: 10 µl & ERA 0507-12-05.2: 10 µl | 0.1 | PYRENE | . | 0.042 | 0.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | SpT111009, ER05005.2 | Sp | ER | ER | T111009 | 05005.2 | 05005.2 | T111009 | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 3 | 0.91333 | 0.15011 | 1 | 0.26 | 0.19274
PYRENE | 1433 | 34470GCM37 | 2012-12-07 | 2011-10-01 | 2050-09-30 | ug/L | 1 | Spex Organics, ERA | T1120521009, 0507-12-05.2 | Spex Organics T1120521009: 100 µl & ERA 0507-12-05.2: 100 µl | 1 | PYRENE | . | 0.042 | 1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | SpT111009, ER05005.2 | Sp | ER | ER | T111009 | 05005.2 | 05005.2 | T111009 | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 3 | 0.91333 | 0.15011 | 1 | 0.26 | 0.19274
PYRENE | 1433 | 34470GCM37 | 2013-02-28 | 2011-10-01 | 2050-09-30 | ug/L | 0.74 | Spex Organics, ERA | T1120521009, 0507-12-05.2 | Spex Organics T1120521009: 50 µl & ERA 0507-12-05.2: 50 µl | 0.5 | PYRENE | . | 0.042 | 0.37 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74 | SpT111009, ER05005.2 | Sp | ER | ER | T111009 | 05005.2 | 05005.2 | T111009 | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 3 | 0.91333 | 0.15011 | 1 | 0.26 | 0.19274
PYRENE | 1433 | 34470GCM37 | 2012-08-08 | 2011-10-01 | 2050-09-30 | ug/L | 1.2 | Spex Organics, Supelco | T1120521009, LB92784 | Spex Organics T1120521009: 20 µl & Supelco LB92784: 20 µl | 0.2 | PYRENE | . | 0.042 | 0.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2 | SpT111009, SuLB92784 | Sp | Su | Su | T111009 | LB92784 | LB92784 | T111009 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.2 |  | 1.2 | 0 | 0
PYRENE | 1433 | 34470GCM37 | 2010-12-08 | 2010-10-01 | 2011-01-31 | ug/L | 0.92552 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl | 0.081036 | PYRENE | . | 0.042 | 0.075 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92552 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.012 | 0.11636 | 1.0061 | 0.16581 | 0.12291
PYRENE | 1433 | 34470GCM37 | 2011-01-28 | 2010-10-01 | 2011-01-31 | ug/L | 1.1315 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl | 0.081309 | PYRENE | . | 0.042 | 0.092 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1315 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.012 | 0.11636 | 1.0061 | 0.16581 | 0.12291
PYRENE | 1433 | 34470GCM37 | 2011-03-09 | 2011-02-01 | 2011-09-30 | ug/L | 0.9878 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl | 0.20247 | PYRENE | . | 0.042 | 0.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98781 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.012 | 0.11636 | 1.0061 | 0.16581 | 0.12291
PYRENE | 1433 | 34470GCM37 | 2011-04-28 | 2011-02-01 | 2011-09-30 | ug/L | 1.0393 | Spex Organics | T1100706008 | Spex Organics T1100706008: 80 µl | 0.32715 | PYRENE | . | 0.042 | 0.34 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0393 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.012 | 0.11636 | 1.0061 | 0.16581 | 0.12291
PYRENE | 1433 | 34470GCM37 | 2011-07-22 | 2011-02-01 | 2011-09-30 | ug/L | 0.91363 | Spex Organics | T1100706008 | Spex Organics T1100706008: 80 µl | 0.32836 | PYRENE | . | 0.042 | 0.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91363 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.012 | 0.11636 | 1.0061 | 0.16581 | 0.12291
PYRENE | 1433 | 34470GCM37 | 2011-08-25 | 2011-02-01 | 2011-09-30 | ug/L | 1.2195 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl | 0.082 | PYRENE | . | 0.042 | 0.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2195 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.012 | 0.11636 | 1.0061 | 0.16581 | 0.12291
PYRENE | 1433 | 34470GCM37 | 2011-11-04 | 2011-10-01 | 2050-09-30 | ug/L | 0.92683 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl | 0.205 | PYRENE | . | 0.042 | 0.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92683 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.012 | 0.11636 | 1.0061 | 0.16581 | 0.12291
PYRENE | 1433 | 34470GCM37 | 2012-01-18 | 2011-10-01 | 2050-09-30 | ug/L | 1.0366 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl | 0.082 | PYRENE | . | 0.042 | 0.085 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0366 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.012 | 0.11636 | 1.0061 | 0.16581 | 0.12291
PYRENE | 1433 | 34470GCM37 | 2012-02-16 | 2011-10-01 | 2050-09-30 | ug/L | 1.0244 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl | 0.205 | PYRENE | . | 0.042 | 0.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0244 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.012 | 0.11636 | 1.0061 | 0.16581 | 0.12291
PYRENE | 1433 | 34470GCM37 | 2012-03-09 | 2011-10-01 | 2050-09-30 | ug/L | 1.1829 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl | 0.082 | PYRENE | . | 0.042 | 0.097 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1829 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.012 | 0.11636 | 1.0061 | 0.16581 | 0.12291
PYRENE | 1433 | 34470GCM37 | 2012-05-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.87805 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl | 0.205 | PYRENE | . | 0.042 | 0.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87805 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.012 | 0.11636 | 1.0061 | 0.16581 | 0.12291
PYRENE | 1433 | 34470GCM37 | 2012-05-09 | 2011-10-01 | 2050-09-30 | ug/L | 0.87805 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl | 0.205 | PYRENE | . | 0.042 | 0.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87805 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.012 | 0.11636 | 1.0061 | 0.16581 | 0.12291
PYRENE | 1433 | 34470GCM37 | 2010-12-09 | 2010-10-01 | 2011-01-31 | ug/L | 0.6773 | Ultra | CG-2301 | Ultra CG-2301: 20 µl | 0.079728 | PYRENE | . | 0.042 | 0.054 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6773 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.93898 | 0.13365 | 0.95122 | 0.19512 | 0.14464
PYRENE | 1433 | 34470GCM37 | 2010-12-16 | 2010-10-01 | 2011-01-31 | ug/L | 0.80846 | Ultra | CG-2301 | Ultra CG-2301: 80 µl | 0.3216 | PYRENE | . | 0.042 | 0.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80846 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.93898 | 0.13365 | 0.95122 | 0.19512 | 0.14464
PYRENE | 1433 | 34470GCM37 | 2011-04-06 | 2011-02-01 | 2011-09-30 | ug/L | 1.0354 | Ultra | CG-2301 | Ultra CG-2301: 20 µl | 0.083063 | PYRENE | . | 0.042 | 0.086 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0354 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.93898 | 0.13365 | 0.95122 | 0.19512 | 0.14464
PYRENE | 1433 | 34470GCM37 | 2011-06-08 | 2011-02-01 | 2011-09-30 | ug/L | 0.97161 | Ultra | CG-2301 | Ultra CG-2301: 50 µl | 0.20584 | PYRENE | . | 0.042 | 0.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97161 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.93898 | 0.13365 | 0.95122 | 0.19512 | 0.14464
PYRENE | 1433 | 34470GCM37 | 2011-06-29 | 2011-02-01 | 2011-09-30 | ug/L | 1.0372 | Ultra | CG-2301 | Ultra CG-2301: 20 µl | 0.082912 | PYRENE | . | 0.042 | 0.086 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0372 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.93898 | 0.13365 | 0.95122 | 0.19512 | 0.14464
PYRENE | 1433 | 34470GCM37 | 2011-08-26 | 2011-02-01 | 2011-09-30 | ug/L | 1.0244 | Ultra | CG-2301 | Ultra CG-2301: 50 µl | 0.205 | PYRENE | . | 0.042 | 0.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0244 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.93898 | 0.13365 | 0.95122 | 0.19512 | 0.14464
PYRENE | 1433 | 34470GCM37 | 2011-10-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.82317 | Ultra | CG-2301 | Ultra CG-2301: 80 µl | 0.328 | PYRENE | . | 0.042 | 0.27 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82317 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.93898 | 0.13365 | 0.95122 | 0.19512 | 0.14464
PYRENE | 1433 | 34470GCM37 | 2011-10-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.82927 | Ultra | CG-2301 | Ultra CG-2301: 50 µl | 0.205 | PYRENE | . | 0.042 | 0.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82927 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.93898 | 0.13365 | 0.95122 | 0.19512 | 0.14464
PYRENE | 1433 | 34470GCM37 | 2011-11-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.95122 | Ultra | CG-2301 | Ultra CG-2301: 20 µl | 0.082 | PYRENE | . | 0.042 | 0.078 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95122 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.93898 | 0.13365 | 0.95122 | 0.19512 | 0.14464
PYRENE | 1433 | 34470GCM37 | 2012-02-08 | 2011-10-01 | 2050-09-30 | ug/L | 1.0244 | Ultra | CG-2301 | Ultra CG-2301: 50 µl | 0.205 | PYRENE | . | 0.042 | 0.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0244 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.93898 | 0.13365 | 0.95122 | 0.19512 | 0.14464
PYRENE | 1433 | 34470GCM37 | 2012-02-16 | 2011-10-01 | 2050-09-30 | ug/L | 0.94512 | Ultra | CG-2301 | Ultra CG-2301: 80 µl | 0.328 | PYRENE | . | 0.042 | 0.31 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94512 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.93898 | 0.13365 | 0.95122 | 0.19512 | 0.14464
PYRENE | 1433 | 34470GCM37 | 2012-04-11 | 2011-10-01 | 2050-09-30 | ug/L | 1.1951 | Ultra | CG-2301 | Ultra CG-2301: 20 µl | 0.082 | PYRENE | . | 0.042 | 0.098 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1951 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.93898 | 0.13365 | 0.95122 | 0.19512 | 0.14464
PYRENE | 1433 | 34470GCM37 | 2012-06-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.88415 | Ultra | CG-2301 | Ultra CG-2301: 80 µl | 0.328 | PYRENE | . | 0.042 | 0.29 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88415 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.93898 | 0.13365 | 0.95122 | 0.19512 | 0.14464