## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
TETRACHLOROETHYLENE | 1433 | 34476GCM37 | 2013-08-21 | 2011-10-01 | 2050-09-30 | ug/L | 0.29895 | Abs, Accu | 040913WWF, 213041004 | Abs 040913WWF: 20 µl & Accu 213041004: 20 µl | 0.4014 | TETRACHLOROETHYLENE | E | 0.12 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.29895 | Ab0403WWF, Ac2131004 | Ab | Ac | Ac | 0403WWF | 2131004 | 2131004 | 0403WWF | 2131004 | 2131004 | Y | Estimated Values | Y | 2 | Y | 1 | 0.29895 |  | 0.29895 | 0 | 0
TETRACHLOROETHYLENE | 1433 | 34476GCM37 | 2014-02-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.0573 | Abs, ERA | 040913WWF, 0318-13-01.3 | Abs 040913WWF: 20 µl & ERA 0318-13-01.3: 20 µl | 0.4014 | TETRACHLOROETHYLENE | E | 0.12 | 0.023 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.057299 | Ab0403WWF, ER03101.3 | Ab | ER | ER | 0403WWF | 03101.3 | 03101.3 | 0403WWF | 03101.3 | 03101.3 | Y | Estimated Values | Y | 2 | Y | 1 | 0.057299 |  | 0.057299 | 0 | 0
TETRACHLOROETHYLENE | 1433 | 34476GCM37 | 2012-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.24 | Abs, Accu | 051112, 212051389 | Abs 051112: 100 µl & Accu 212051389: 100 µl | 1 | TETRACHLOROETHYLENE | E | 0.12 | 0.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.24 | Ab051112, Ac2121389 | Ab | Ac | Ac | 051112 | 2121389 | 2121389 |  | 2121389 | 2121389 | Y | Estimated Values | Y | 2 | Y | 1 | 0.24 |  | 0.24 | 0 | 0
TETRACHLOROETHYLENE | 1433 | 34476GCM37 | 2013-05-15 | 2011-10-01 | 2050-09-30 | ug/L | 0.08 | Abs, Spex Organics | 051112, T1120521009 | Abs 051112: 20 µl & Spex Organics T1120521009: 20 µl | 0.2 | TETRACHLOROETHYLENE | E | 0.12 | 0.016 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.08 | Ab051112, SpT111009 | Ab | Sp | Sp | 051112 | T111009 | T111009 |  | T111009 | T111009 | Y | Estimated Values | Y | 2 | Y | 1 | 0.08 |  | 0.08 | 0 | 0
TETRACHLOROETHYLENE | 1433 | 34476GCM37 | 2012-08-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.315 | Abs | 051112 | Abs 051112: 20 µl | 0.2 | TETRACHLOROETHYLENE | E | 0.12 | 0.063 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.315 | Abs 051112 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 1 | 0.315 |  | 0.315 | 0 | 0
TETRACHLOROETHYLENE | 1433 | 34476GCM37 | 2010-01-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.086318 | Accu | 209081217 | Accu 209081217: 20 µl | 0.38231 | TETRACHLOROETHYLENE | E | 0.12 | 0.033 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.086318 | Accu 209081217 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.14578 | 0.057555 | 0.1439 | 0.095969 | 0.071141
TETRACHLOROETHYLENE | 1433 | 34476GCM37 | 2010-06-10 | 2009-10-01 | 2010-09-30 | ug/L | 0.17853 | Accu | 209081217 | Accu 209081217: 40 µl | 0.78417 | TETRACHLOROETHYLENE | E | 0.12 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.17853 | Accu 209081217 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.14578 | 0.057555 | 0.1439 | 0.095969 | 0.071141
TETRACHLOROETHYLENE | 1433 | 34476GCM37 | 2010-08-04 | 2009-10-01 | 2010-09-30 | ug/L | 0.209 | Accu | 209081217 | Accu 209081217: 20 µl | 0.38756 | TETRACHLOROETHYLENE | E | 0.12 | 0.081 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.209 | Accu 209081217 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.14578 | 0.057555 | 0.1439 | 0.095969 | 0.071141
TETRACHLOROETHYLENE | 1433 | 34476GCM37 | 2010-09-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.10927 | Accu | 209081217 | Accu 209081217: 80 µl | 1.5557 | TETRACHLOROETHYLENE | E | 0.12 | 0.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.10927 | Accu 209081217 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.14578 | 0.057555 | 0.1439 | 0.095969 | 0.071141
TETRACHLOROETHYLENE | 1433 | 34476GCM37 | 2008-11-14 | 2008-10-01 | 2009-09-30 | ug/L | 0.26089 | ChemService | 406-104C | ChemService 406-104C: 40 µl | 4.1396 | TETRACHLOROETHYLENE | E | 0.12 | 1.08 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.26089 | ChemService 406-104C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.20826 | 0.12026 | 0.19968 | 0.1249 | 0.092586
TETRACHLOROETHYLENE | 1433 | 34476GCM37 | 2009-01-27 | 2008-10-01 | 2009-09-30 | ug/L | 0.13599 | ChemService | 406-104C | ChemService 406-104C: 20 µl | 2.206 | TETRACHLOROETHYLENE | E | 0.12 | 0.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.13599 | ChemService 406-104C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.20826 | 0.12026 | 0.19968 | 0.1249 | 0.092586
TETRACHLOROETHYLENE | 1433 | 34476GCM37 | 2009-03-05 | 2008-10-01 | 2009-09-30 | ug/L | 0.16189 | ChemService | 406-104C | ChemService 406-104C: 20 µl | 2.1867 | TETRACHLOROETHYLENE | E | 0.12 | 0.354 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.16189 | ChemService 406-104C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.20826 | 0.12026 | 0.19968 | 0.1249 | 0.092586
TETRACHLOROETHYLENE | 1433 | 34476GCM37 | 2009-05-12 | 2008-10-01 | 2009-09-30 | ug/L | 0.40079 | ChemService | 406-104C | ChemService 406-104C: 40 µl | 4.2417 | TETRACHLOROETHYLENE | E | 0.12 | 1.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.40079 | ChemService 406-104C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.20826 | 0.12026 | 0.19968 | 0.1249 | 0.092586
TETRACHLOROETHYLENE | 1433 | 34476GCM37 | 2009-08-05 | 2008-10-01 | 2009-09-30 | ug/L | 0.23747 | ChemService | 406-104C | ChemService 406-104C: 20 µl | 2.1055 | TETRACHLOROETHYLENE | E | 0.12 | 0.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.23747 | ChemService 406-104C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.20826 | 0.12026 | 0.19968 | 0.1249 | 0.092586
TETRACHLOROETHYLENE | 1433 | 34476GCM37 | 2009-10-07 | 2009-10-01 | 2010-09-30 | ug/L | 0.052553 | ChemService | 406-104C | ChemService 406-104C: 20 µl | 2.0931 | TETRACHLOROETHYLENE | E | 0.12 | 0.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.052553 | ChemService 406-104C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.20826 | 0.12026 | 0.19968 | 0.1249 | 0.092586
TETRACHLOROETHYLENE | 1433 | 34476GCM37 | 2013-06-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.47334 | Crescent, Abs | 04CC145, 040913WWF | Crescent 04CC145: 20 µl & Abs 040913WWF: 20 µl | 0.4014 | TETRACHLOROETHYLENE | E | 0.12 | 0.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.47334 | Cr04CC145, Ab0403WWF | Cr | Ab | Ab | 04CC145 | 0403WWF | 0403WWF |  | 0403WWF | 0403WWF | Y | Estimated Values | Y | 2 | Y | 1 | 0.47334 |  | 0.47334 | 0 | 0
TETRACHLOROETHYLENE | 1433 | 34476GCM37 | 2013-06-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.17 | Crescent, Supelco | 04CC145, LB99396 | Crescent 04CC145: 20 µl & Supelco LB99396: 20 µl | 0.4 | TETRACHLOROETHYLENE | E | 0.12 | 0.068 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.17 | Cr04CC145, SuLB99396 | Cr | Su | Su | 04CC145 | LB99396 | LB99396 |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.17 |  | 0.17 | 0 | 0
TETRACHLOROETHYLENE | 1433 | 34476GCM37 | 2013-02-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.24 | Crescent, Abs | 05BB047, 051112 | Crescent 05BB047: 50 µl & Abs 051112: 50 µl | 0.5 | TETRACHLOROETHYLENE | E | 0.12 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.24 | Cr05BB047, Ab051112 | Cr | Ab | Ab | 05BB047 | 051112 | 051112 |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.24 |  | 0.24 | 0 | 0
TETRACHLOROETHYLENE | 1433 | 34476GCM37 | 2010-01-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.13332 | Crescent | 08LL076 | Crescent 08LL076: 80 µl | 1.5002 | TETRACHLOROETHYLENE | E | 0.12 | 0.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.13332 | Crescent 08LL076 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.17541 | 0.061196 | 0.1547 | 0.086976 | 0.064475
TETRACHLOROETHYLENE | 1433 | 34476GCM37 | 2010-02-05 | 2009-10-01 | 2010-09-30 | ug/L | 0.17608 | Crescent | 08LL076 | Crescent 08LL076: 20 µl | 0.38618 | TETRACHLOROETHYLENE | E | 0.12 | 0.068 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.17608 | Crescent 08LL076 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.17541 | 0.061196 | 0.1547 | 0.086976 | 0.064475
TETRACHLOROETHYLENE | 1433 | 34476GCM37 | 2010-08-04 | 2009-10-01 | 2010-09-30 | ug/L | 0.26171 | Crescent | 08LL076 | Crescent 08LL076: 40 µl | 0.7642 | TETRACHLOROETHYLENE | E | 0.12 | 0.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.26171 | Crescent 08LL076 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.17541 | 0.061196 | 0.1547 | 0.086976 | 0.064475
TETRACHLOROETHYLENE | 1433 | 34476GCM37 | 2010-11-04 | 2010-10-01 | 2011-01-31 | ug/L | 0.13053 | Crescent | 08LL076 | Crescent 08LL076: 40 µl | 0.76613 | TETRACHLOROETHYLENE | E | 0.12 | 0.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.13053 | Crescent 08LL076 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.17541 | 0.061196 | 0.1547 | 0.086976 | 0.064475
TETRACHLOROETHYLENE | 1433 | 34476GCM37 | 2008-04-21 | 2007-10-01 | 2008-09-30 | ug/L | 0.59873 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.61964 | TETRACHLOROETHYLENE | E | 0.08 | 0.371 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59873 | NWQL BNA2SP053B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.31199 | 0.15095 | 0.2839 | 0.04762 | 0.0353
TETRACHLOROETHYLENE | 1433 | 34476GCM37 | 2008-07-12 | 2007-10-01 | 2008-09-30 | ug/L | 0.30227 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.5988 | TETRACHLOROETHYLENE | E | 0.08 | 0.181 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.30227 | NWQL BNA2SP053B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.31199 | 0.15095 | 0.2839 | 0.04762 | 0.0353
TETRACHLOROETHYLENE | 1433 | 34476GCM37 | 2008-09-17 | 2007-10-01 | 2008-09-30 | ug/L | 0.25465 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.58904 | TETRACHLOROETHYLENE | E | 0.08 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.25465 | NWQL BNA2SP053B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.31199 | 0.15095 | 0.2839 | 0.04762 | 0.0353
TETRACHLOROETHYLENE | 1433 | 34476GCM37 | 2009-04-02 | 2008-10-01 | 2009-09-30 | ug/L | 0.28656 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.62814 | TETRACHLOROETHYLENE | E | 0.12 | 0.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.28656 | NWQL BNA2SP053B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.31199 | 0.15095 | 0.2839 | 0.04762 | 0.0353
TETRACHLOROETHYLENE | 1433 | 34476GCM37 | 2009-05-06 | 2008-10-01 | 2009-09-30 | ug/L | 0.28124 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.60447 | TETRACHLOROETHYLENE | E | 0.12 | 0.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.28124 | NWQL BNA2SP053B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.31199 | 0.15095 | 0.2839 | 0.04762 | 0.0353
TETRACHLOROETHYLENE | 1433 | 34476GCM37 | 2009-07-30 | 2008-10-01 | 2009-09-30 | ug/L | 0.14848 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.5994 | TETRACHLOROETHYLENE | E | 0.12 | 0.089 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.14848 | NWQL BNA2SP053B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.31199 | 0.15095 | 0.2839 | 0.04762 | 0.0353
TETRACHLOROETHYLENE | 1433 | 34476GCM37 | 2009-03-06 | 2008-10-01 | 2009-09-30 | ug/L | 0.12865 | NWQL | BNA2SP071C | NWQL BNA2SP071C: 75 µl | 0.62183 | TETRACHLOROETHYLENE | E | 0.12 | 0.08 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.12865 | NWQL BNA2SP071C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 1 | 0.12865 |  | 0.12865 | 0 | 0
TETRACHLOROETHYLENE | 1433 | 34476GCM37 | 2010-06-04 | 2009-10-01 | 2010-09-30 | ug/L | 0.2817 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.95847 | TETRACHLOROETHYLENE | E | 0.12 | 0.27 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.2817 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 | Y | 2 | 0.21427 | 0.095361 | 0.21427 | 0.13486 | 0.099971
TETRACHLOROETHYLENE | 1433 | 34476GCM37 | 2010-08-31 | 2009-10-01 | 2010-09-30 | ug/L | 0.14684 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.95342 | TETRACHLOROETHYLENE | E | 0.12 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.14684 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 | Y | 2 | 0.21427 | 0.095361 | 0.21427 | 0.13486 | 0.099971
TETRACHLOROETHYLENE | 1433 | 34476GCM37 | 2011-06-08 | 2011-02-01 | 2011-09-30 | ug/L | 0.2494 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 20 µl | 0.32077 | TETRACHLOROETHYLENE | E | 0.12 | 0.08 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.2494 | NWQL BNA2SP124B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.24157 | 0.15853 | 0.19501 | 0.22876 | 0.16958
TETRACHLOROETHYLENE | 1433 | 34476GCM37 | 2011-08-02 | 2011-02-01 | 2011-09-30 | ug/L | 0.14062 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 1.28 | TETRACHLOROETHYLENE | E | 0.12 | 0.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.14062 | NWQL BNA2SP124B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.24157 | 0.15853 | 0.19501 | 0.22876 | 0.16958
TETRACHLOROETHYLENE | 1433 | 34476GCM37 | 2011-08-26 | 2011-02-01 | 2011-09-30 | ug/L | 0.4625 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.8 | TETRACHLOROETHYLENE | E | 0.12 | 0.37 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.4625 | NWQL BNA2SP124B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.24157 | 0.15853 | 0.19501 | 0.22876 | 0.16958
TETRACHLOROETHYLENE | 1433 | 34476GCM37 | 2011-11-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.11375 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.8 | TETRACHLOROETHYLENE | E | 0.12 | 0.091 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.11375 | NWQL BNA2SP124B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.24157 | 0.15853 | 0.19501 | 0.22876 | 0.16958
TETRACHLOROETHYLENE | 1433 | 34476GCM37 | 2009-01-28 | 2008-10-01 | 2009-09-30 | ug/L | 0.4186 | Protocol | D1080815007 | Protocol D1080815007: 20 µl | 2.1262 | TETRACHLOROETHYLENE | E | 0.12 | 0.89 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.4186 | Protocol D1080815007 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.24949 | 0.11407 | 0.25509 | 0.13629 | 0.10103
TETRACHLOROETHYLENE | 1433 | 34476GCM37 | 2009-04-02 | 2008-10-01 | 2009-09-30 | ug/L | 0.25509 | Protocol | D1080815007 | Protocol D1080815007: 20 µl | 2.1169 | TETRACHLOROETHYLENE | E | 0.12 | 0.54 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.25509 | Protocol D1080815007 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.24949 | 0.11407 | 0.25509 | 0.13629 | 0.10103
TETRACHLOROETHYLENE | 1433 | 34476GCM37 | 2009-07-22 | 2008-10-01 | 2009-09-30 | ug/L | 0.1488 | Protocol | D1080815007 | Protocol D1080815007: 20 µl | 2.0833 | TETRACHLOROETHYLENE | E | 0.12 | 0.31 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.1488 | Protocol D1080815007 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.24949 | 0.11407 | 0.25509 | 0.13629 | 0.10103
TETRACHLOROETHYLENE | 1433 | 34476GCM37 | 2009-08-27 | 2008-10-01 | 2009-09-30 | ug/L | 0.13988 | Protocol | D1080815007 | Protocol D1080815007: 20 µl | 2.0733 | TETRACHLOROETHYLENE | E | 0.12 | 0.29 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.13988 | Protocol D1080815007 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.24949 | 0.11407 | 0.25509 | 0.13629 | 0.10103
TETRACHLOROETHYLENE | 1433 | 34476GCM37 | 2009-10-22 | 2009-10-01 | 2010-09-30 | ug/L | 0.28509 | Protocol | D1080815007 | Protocol D1080815007: 40 µl | 4.2093 | TETRACHLOROETHYLENE | E | 0.12 | 1.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.28509 | Protocol D1080815007 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.24949 | 0.11407 | 0.25509 | 0.13629 | 0.10103
TETRACHLOROETHYLENE | 1433 | 34476GCM37 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.55805 | Spex Organics, Abs | T1130531001, 040913WWF | Spex Organics T1130531001: 50 µl & Abs 040913WWF: 50 µl | 1.0035 | TETRACHLOROETHYLENE | E | 0.12 | 0.56 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.55805 | SpT111001, Ab0403WWF | Sp | Ab | Ab | T111001 | 0403WWF | 0403WWF | T111001 | 0403WWF | 0403WWF | Y | Estimated Values | Y | 2 | Y | 1 | 0.55805 |  | 0.55805 | 0 | 0
TETRACHLOROETHYLENE | 1433 | 34476GCM37 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.25 | Spex Organics, Supelco | T1130531001, LB99396 | Spex Organics T1130531001: 20 µl & Supelco LB99396: 20 µl | 0.4 | TETRACHLOROETHYLENE | E | 0.12 | 0.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.25 | SpT111001, SuLB99396 | Sp | Su | Su | T111001 | LB99396 | LB99396 | T111001 |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.25 |  | 0.25 | 0 | 0
TETRACHLOROETHYLENE | 1433 | 34476GCM37 | 2012-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.17 | Spex Organics, Abs | T1120521009, 051112 | Spex Organics T1120521009: 10 µl & Abs 051112: 10 µl | 0.1 | TETRACHLOROETHYLENE | E | 0.12 | 0.017 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.17 | SpT111009, Ab051112 | Sp | Ab | Ab | T111009 | 051112 | 051112 | T111009 |  |  | Y | Estimated Values | Y | 1 | Y | 1 | 0.17 |  | 0.17 | 0 | 0
TETRACHLOROETHYLENE | 1433 | 34476GCM37 | 2012-08-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.32371 | Spex Organics, Supelco | T1120521009, LB92784 | Spex Organics T1120521009: 20 µl & Supelco LB92784: 20 µl | 0.2008 | TETRACHLOROETHYLENE | E | 0.12 | 0.065 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.32371 | SpT111009, SuLB92784 | Sp | Su | Su | T111009 | LB92784 | LB92784 | T111009 |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.32371 |  | 0.32371 | 0 | 0
TETRACHLOROETHYLENE | 1433 | 34476GCM37 | 2010-12-08 | 2010-10-01 | 2011-01-31 | ug/L | 0.30171 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl | 0.21544 | TETRACHLOROETHYLENE | E | 0.12 | 0.065 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.30171 | Spex Organics T1100706008 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 12 | 0.28278 | 0.09152 | 0.28847 | 0.1742 | 0.12913
TETRACHLOROETHYLENE | 1433 | 34476GCM37 | 2011-01-28 | 2010-10-01 | 2011-01-31 | ug/L | 0.18042 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl | 0.21616 | TETRACHLOROETHYLENE | E | 0.12 | 0.039 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.18042 | Spex Organics T1100706008 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 12 | 0.28278 | 0.09152 | 0.28847 | 0.1742 | 0.12913
TETRACHLOROETHYLENE | 1433 | 34476GCM37 | 2011-03-09 | 2011-02-01 | 2011-09-30 | ug/L | 0.35298 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl | 0.53827 | TETRACHLOROETHYLENE | E | 0.12 | 0.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.35298 | Spex Organics T1100706008 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 12 | 0.28278 | 0.09152 | 0.28847 | 0.1742 | 0.12913
TETRACHLOROETHYLENE | 1433 | 34476GCM37 | 2011-04-28 | 2011-02-01 | 2011-09-30 | ug/L | 0.39092 | Spex Organics | T1100706008 | Spex Organics T1100706008: 80 µl | 0.86974 | TETRACHLOROETHYLENE | E | 0.12 | 0.34 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.39092 | Spex Organics T1100706008 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 12 | 0.28278 | 0.09152 | 0.28847 | 0.1742 | 0.12913
TETRACHLOROETHYLENE | 1433 | 34476GCM37 | 2011-07-22 | 2011-02-01 | 2011-09-30 | ug/L | 0.12601 | Spex Organics | T1100706008 | Spex Organics T1100706008: 80 µl | 0.87296 | TETRACHLOROETHYLENE | E | 0.12 | 0.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.12601 | Spex Organics T1100706008 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 12 | 0.28278 | 0.09152 | 0.28847 | 0.1742 | 0.12913
TETRACHLOROETHYLENE | 1433 | 34476GCM37 | 2011-08-25 | 2011-02-01 | 2011-09-30 | ug/L | 0.18807 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl | 0.218 | TETRACHLOROETHYLENE | E | 0.12 | 0.041 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.18807 | Spex Organics T1100706008 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 12 | 0.28278 | 0.09152 | 0.28847 | 0.1742 | 0.12913
TETRACHLOROETHYLENE | 1433 | 34476GCM37 | 2011-11-04 | 2011-10-01 | 2050-09-30 | ug/L | 0.20183 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl | 0.545 | TETRACHLOROETHYLENE | E | 0.12 | 0.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.20183 | Spex Organics T1100706008 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 12 | 0.28278 | 0.09152 | 0.28847 | 0.1742 | 0.12913
TETRACHLOROETHYLENE | 1433 | 34476GCM37 | 2012-01-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.3211 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl | 0.218 | TETRACHLOROETHYLENE | E | 0.12 | 0.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.3211 | Spex Organics T1100706008 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 12 | 0.28278 | 0.09152 | 0.28847 | 0.1742 | 0.12913
TETRACHLOROETHYLENE | 1433 | 34476GCM37 | 2012-02-16 | 2011-10-01 | 2050-09-30 | ug/L | 0.27523 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl | 0.545 | TETRACHLOROETHYLENE | E | 0.12 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.27523 | Spex Organics T1100706008 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 12 | 0.28278 | 0.09152 | 0.28847 | 0.1742 | 0.12913
TETRACHLOROETHYLENE | 1433 | 34476GCM37 | 2012-03-09 | 2011-10-01 | 2050-09-30 | ug/L | 0.3945 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl | 0.218 | TETRACHLOROETHYLENE | E | 0.12 | 0.086 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.3945 | Spex Organics T1100706008 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 12 | 0.28278 | 0.09152 | 0.28847 | 0.1742 | 0.12913
TETRACHLOROETHYLENE | 1433 | 34476GCM37 | 2012-05-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.27523 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl | 0.545 | TETRACHLOROETHYLENE | E | 0.12 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.27523 | Spex Organics T1100706008 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 12 | 0.28278 | 0.09152 | 0.28847 | 0.1742 | 0.12913
TETRACHLOROETHYLENE | 1433 | 34476GCM37 | 2012-05-09 | 2011-10-01 | 2050-09-30 | ug/L | 0.38532 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl | 0.545 | TETRACHLOROETHYLENE | E | 0.12 | 0.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.38532 | Spex Organics T1100706008 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 12 | 0.28278 | 0.09152 | 0.28847 | 0.1742 | 0.12913
TETRACHLOROETHYLENE | 1433 | 34476GCM37 | 2012-08-30 | 2011-10-01 | 2050-09-30 | ug/L | 0.1992 | Supelco, Accu | LB92784, 212051389 | Supelco LB92784: 10 µl & Accu 212051389: 10 µl | 0.1004 | TETRACHLOROETHYLENE | E | 0.12 | 0.02 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.1992 | SuLB92784, Ac2121389 | Su | Ac | Ac | LB92784 | 2121389 | 2121389 |  | 2121389 | 2121389 | Y | Estimated Values | Y | 1 | Y | 3 | 0.24236 | 0.074757 | 0.1992 | 0.12948 | 0.095984
TETRACHLOROETHYLENE | 1433 | 34476GCM37 | 2013-01-23 | 2011-10-01 | 2050-09-30 | ug/L | 0.32869 | Supelco, Accu | LB92784, 212051389 | Supelco LB92784: 10 µl & Accu 212051389: 10 µl | 0.1004 | TETRACHLOROETHYLENE | E | 0.12 | 0.033 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.32869 | SuLB92784, Ac2121389 | Su | Ac | Ac | LB92784 | 2121389 | 2121389 |  | 2121389 | 2121389 | Y | Estimated Values | Y | 1 | Y | 3 | 0.24236 | 0.074757 | 0.1992 | 0.12948 | 0.095984
TETRACHLOROETHYLENE | 1433 | 34476GCM37 | 2013-04-16 | 2011-10-01 | 2050-09-30 | ug/L | 0.1992 | Supelco, Accu | LB92784, 212051389 | Supelco LB92784: 50 µl & Accu 212051389: 50 µl | 0.502 | TETRACHLOROETHYLENE | E | 0.12 | 0.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.1992 | SuLB92784, Ac2121389 | Su | Ac | Ac | LB92784 | 2121389 | 2121389 |  | 2121389 | 2121389 | Y | Estimated Values | Y | 2 | Y | 3 | 0.24236 | 0.074757 | 0.1992 | 0.12948 | 0.095984
TETRACHLOROETHYLENE | 1433 | 34476GCM37 | 2013-02-28 | 2011-10-01 | 2050-09-30 | ug/L | 0.15936 | Supelco, ERA | LB92784, 0507-12-05.2 | Supelco LB92784: 10 µl & ERA 0507-12-05.2: 10 µl | 0.1004 | TETRACHLOROETHYLENE | E | 0.12 | 0.016 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.15936 | SuLB92784, ER05005.2 | Su | ER | ER | LB92784 | 05005.2 | 05005.2 |  | 05005.2 | 05005.2 | Y | Estimated Values | Y | 1 | Y | 1 | 0.15936 |  | 0.15936 | 0 | 0
TETRACHLOROETHYLENE | 1433 | 34476GCM37 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.275 | Supelco, Accu | LB99396, 213041004 | Supelco LB99396: 20 µl & Accu 213041004: 20 µl | 0.4 | TETRACHLOROETHYLENE | E | 0.12 | 0.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.275 | SuLB99396, Ac2131004 | Su | Ac | Ac | LB99396 | 2131004 | 2131004 |  | 2131004 | 2131004 | Y | Estimated Values | Y | 2 | Y | 1 | 0.275 |  | 0.275 | 0 | 0
TETRACHLOROETHYLENE | 1433 | 34476GCM37 | 2013-07-11 | 2011-10-01 | 2050-09-30 | ug/L | 0.374 | Supelco, ERA | LB99396, 0318-13-01.3 | Supelco LB99396: 50 µl & ERA 0318-13-01.3: 50 µl | 1 | TETRACHLOROETHYLENE | E | 0.12 | 0.374 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.374 | SuLB99396, ER03101.3 | Su | ER | ER | LB99396 | 03101.3 | 03101.3 |  | 03101.3 | 03101.3 | Y | Estimated Values | Y | 2 | Y | 1 | 0.374 |  | 0.374 | 0 | 0
TETRACHLOROETHYLENE | 1433 | 34476GCM37 | 2008-03-31 | 2007-10-01 | 2008-09-30 | ug/L | 0.15965 | Supelco | LB50015 | Supelco LB50015: 25 µl | 0.88946 | TETRACHLOROETHYLENE | E | 0.08 | 0.142 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.15965 | Supelco LB50015 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 7 | 0.27398 | 0.11096 | 0.29356 | 0.16592 | 0.12299
TETRACHLOROETHYLENE | 1433 | 34476GCM37 | 2008-04-09 | 2007-10-01 | 2008-09-30 | ug/L | 0.30331 | Supelco | LB50015 | Supelco LB50015: 25 µl | 0.84733 | TETRACHLOROETHYLENE | E | 0.08 | 0.257 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.30331 | Supelco LB50015 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 7 | 0.27398 | 0.11096 | 0.29356 | 0.16592 | 0.12299
TETRACHLOROETHYLENE | 1433 | 34476GCM37 | 2008-04-21 | 2007-10-01 | 2008-09-30 | ug/L | 0.32557 | Supelco | LB50015 | Supelco LB50015: 25 µl | 0.84776 | TETRACHLOROETHYLENE | E | 0.08 | 0.276 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.32557 | Supelco LB50015 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 7 | 0.27398 | 0.11096 | 0.29356 | 0.16592 | 0.12299
TETRACHLOROETHYLENE | 1433 | 34476GCM37 | 2008-06-03 | 2007-10-01 | 2008-09-30 | ug/L | 0.28618 | Supelco | LB50015 | Supelco LB50015: 25 µl | 0.84212 | TETRACHLOROETHYLENE | E | 0.08 | 0.241 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.28618 | Supelco LB50015 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 7 | 0.27398 | 0.11096 | 0.29356 | 0.16592 | 0.12299
TETRACHLOROETHYLENE | 1433 | 34476GCM37 | 2008-08-07 | 2007-10-01 | 2008-09-30 | ug/L | 0.10637 | Supelco | LB50015 | Supelco LB50015: 25 µl | 0.84419 | TETRACHLOROETHYLENE | E | 0.08 | 0.0898 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.10637 | Supelco LB50015 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 7 | 0.27398 | 0.11096 | 0.29356 | 0.16592 | 0.12299
TETRACHLOROETHYLENE | 1433 | 34476GCM37 | 2008-09-10 | 2007-10-01 | 2008-09-30 | ug/L | 0.29356 | Supelco | LB50015 | Supelco LB50015: 25 µl | 0.83457 | TETRACHLOROETHYLENE | E | 0.08 | 0.245 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.29356 | Supelco LB50015 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 7 | 0.27398 | 0.11096 | 0.29356 | 0.16592 | 0.12299
TETRACHLOROETHYLENE | 1433 | 34476GCM37 | 2008-09-24 | 2007-10-01 | 2008-09-30 | ug/L | 0.44325 | Supelco | LB50015 | Supelco LB50015: 25 µl | 0.83474 | TETRACHLOROETHYLENE | E | 0.08 | 0.37 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.44325 | Supelco LB50015 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 7 | 0.27398 | 0.11096 | 0.29356 | 0.16592 | 0.12299
TETRACHLOROETHYLENE | 1433 | 34476GCM37 | 2010-12-09 | 2010-10-01 | 2011-01-31 | ug/L | 0.094358 | Ultra | CG-2301 | Ultra CG-2301: 20 µl | 0.21196 | TETRACHLOROETHYLENE | E | 0.12 | 0.02 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.094358 | Ultra CG-2301 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.23622 | 0.084884 | 0.23392 | 0.090615 | 0.067172
TETRACHLOROETHYLENE | 1433 | 34476GCM37 | 2010-12-16 | 2010-10-01 | 2011-01-31 | ug/L | 0.23392 | Ultra | CG-2301 | Ultra CG-2301: 80 µl | 0.85499 | TETRACHLOROETHYLENE | E | 0.12 | 0.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.23392 | Ultra CG-2301 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.23622 | 0.084884 | 0.23392 | 0.090615 | 0.067172
TETRACHLOROETHYLENE | 1433 | 34476GCM37 | 2011-04-06 | 2011-02-01 | 2011-09-30 | ug/L | 0.22642 | Ultra | CG-2301 | Ultra CG-2301: 20 µl | 0.22083 | TETRACHLOROETHYLENE | E | 0.12 | 0.05 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.22642 | Ultra CG-2301 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.23622 | 0.084884 | 0.23392 | 0.090615 | 0.067172
TETRACHLOROETHYLENE | 1433 | 34476GCM37 | 2011-06-08 | 2011-02-01 | 2011-09-30 | ug/L | 0.2741 | Ultra | CG-2301 | Ultra CG-2301: 50 µl | 0.54724 | TETRACHLOROETHYLENE | E | 0.12 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.2741 | Ultra CG-2301 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.23622 | 0.084884 | 0.23392 | 0.090615 | 0.067172
TETRACHLOROETHYLENE | 1433 | 34476GCM37 | 2011-06-29 | 2011-02-01 | 2011-09-30 | ug/L | 0.13156 | Ultra | CG-2301 | Ultra CG-2301: 20 µl | 0.22042 | TETRACHLOROETHYLENE | E | 0.12 | 0.029 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.13156 | Ultra CG-2301 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.23622 | 0.084884 | 0.23392 | 0.090615 | 0.067172
TETRACHLOROETHYLENE | 1433 | 34476GCM37 | 2011-08-26 | 2011-02-01 | 2011-09-30 | ug/L | 0.17248 | Ultra | CG-2301 | Ultra CG-2301: 50 µl | 0.545 | TETRACHLOROETHYLENE | E | 0.12 | 0.094 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.17248 | Ultra CG-2301 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.23622 | 0.084884 | 0.23392 | 0.090615 | 0.067172
TETRACHLOROETHYLENE | 1433 | 34476GCM37 | 2011-10-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.26376 | Ultra | CG-2301 | Ultra CG-2301: 80 µl | 0.872 | TETRACHLOROETHYLENE | E | 0.12 | 0.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.26376 | Ultra CG-2301 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.23622 | 0.084884 | 0.23392 | 0.090615 | 0.067172
TETRACHLOROETHYLENE | 1433 | 34476GCM37 | 2011-10-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.25688 | Ultra | CG-2301 | Ultra CG-2301: 50 µl | 0.545 | TETRACHLOROETHYLENE | E | 0.12 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.25688 | Ultra CG-2301 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.23622 | 0.084884 | 0.23392 | 0.090615 | 0.067172
TETRACHLOROETHYLENE | 1433 | 34476GCM37 | 2011-11-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.18349 | Ultra | CG-2301 | Ultra CG-2301: 20 µl | 0.218 | TETRACHLOROETHYLENE | E | 0.12 | 0.04 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.18349 | Ultra CG-2301 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.23622 | 0.084884 | 0.23392 | 0.090615 | 0.067172
TETRACHLOROETHYLENE | 1433 | 34476GCM37 | 2012-02-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.40367 | Ultra | CG-2301 | Ultra CG-2301: 50 µl | 0.545 | TETRACHLOROETHYLENE | E | 0.12 | 0.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.40367 | Ultra CG-2301 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.23622 | 0.084884 | 0.23392 | 0.090615 | 0.067172
TETRACHLOROETHYLENE | 1433 | 34476GCM37 | 2012-02-16 | 2011-10-01 | 2050-09-30 | ug/L | 0.34404 | Ultra | CG-2301 | Ultra CG-2301: 80 µl | 0.872 | TETRACHLOROETHYLENE | E | 0.12 | 0.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.34404 | Ultra CG-2301 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.23622 | 0.084884 | 0.23392 | 0.090615 | 0.067172
TETRACHLOROETHYLENE | 1433 | 34476GCM37 | 2012-04-11 | 2011-10-01 | 2050-09-30 | ug/L | 0.18807 | Ultra | CG-2301 | Ultra CG-2301: 20 µl | 0.218 | TETRACHLOROETHYLENE | E | 0.12 | 0.041 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.18807 | Ultra CG-2301 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.23622 | 0.084884 | 0.23392 | 0.090615 | 0.067172
TETRACHLOROETHYLENE | 1433 | 34476GCM37 | 2012-06-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.29817 | Ultra | CG-2301 | Ultra CG-2301: 80 µl | 0.872 | TETRACHLOROETHYLENE | E | 0.12 | 0.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.29817 | Ultra CG-2301 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 13 | 0.23622 | 0.084884 | 0.23392 | 0.090615 | 0.067172