## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
TRI(2-BUTOXYETHYL)PHOSPHATE | 1433 | 62093GCM37 | 2013-08-21 | 2011-10-01 | 2050-09-30 | ug/L | 0.7 | Abs, Accu | 040913WWF, 213041004 | Abs 040913WWF: 20 µl & Accu 213041004: 20 µl | 2 | TRI(2-BUTOXYETHYL)PHOSPHATE | . | 0.8 | 1.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7 | Ab0403WWF, Ac2131004 | Ab | Ac | Ac | 0403WWF | 2131004 | 2131004 | 0403WWF | 2131004 | 2131004 | Y | Recoverable Result | Y | 2 | Y | 1 | 0.7 |  | 0.7 | 0 | 0
TRI(2-BUTOXYETHYL)PHOSPHATE | 1433 | 62093GCM37 | 2014-02-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.98039 | Abs, ERA | 040913WWF, 0318-13-01.3 | Abs 040913WWF: 20 µl & ERA 0318-13-01.3: 20 µl | 2.04 | TRI(2-BUTOXYETHYL)PHOSPHATE | . | 0.8 | 2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98039 | Ab0403WWF, ER03101.3 | Ab | ER | ER | 0403WWF | 03101.3 | 03101.3 | 0403WWF | 03101.3 | 03101.3 | Y | Recoverable Result | Y | 2 | Y | 1 | 0.98039 |  | 0.98039 | 0 | 0
TRI(2-BUTOXYETHYL)PHOSPHATE | 1433 | 62093GCM37 | 2012-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.71713 | Abs, Accu | 051112, 212051389 | Abs 051112: 100 µl & Accu 212051389: 100 µl | 5.02 | TRI(2-BUTOXYETHYL)PHOSPHATE | . | 0.8 | 3.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71713 | Ab051112, Ac2121389 | Ab | Ac | Ac | 051112 | 2121389 | 2121389 |  | 2121389 | 2121389 | Y | Recoverable Result | Y | 2 | Y | 1 | 0.71713 |  | 0.71713 | 0 | 0
TRI(2-BUTOXYETHYL)PHOSPHATE | 1433 | 62093GCM37 | 2013-08-20 | 2011-10-01 | 2050-09-30 | ug/L | 0.8 | Crescent, Accu | 04CC145, 213041004 | Crescent 04CC145: 20 µl & Accu 213041004: 20 µl | 2 | TRI(2-BUTOXYETHYL)PHOSPHATE | . | 0.8 | 1.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8 | Cr04CC145, Ac2131004 | Cr | Ac | Ac | 04CC145 | 2131004 | 2131004 |  | 2131004 | 2131004 | Y | Recoverable Result | Y | 2 | Y | 1 | 0.8 |  | 0.8 | 0 | 0
TRI(2-BUTOXYETHYL)PHOSPHATE | 1433 | 62093GCM37 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.86275 | Crescent, ERA | 04CC145, 0318-13-01.3 | Crescent 04CC145: 50 µl & ERA 0318-13-01.3: 50 µl | 5.1 | TRI(2-BUTOXYETHYL)PHOSPHATE | . | 0.8 | 4.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86275 | Cr04CC145, ER03101.3 | Cr | ER | ER | 04CC145 | 03101.3 | 03101.3 |  | 03101.3 | 03101.3 | Y | Recoverable Result | Y | 2 | Y | 1 | 0.86275 |  | 0.86275 | 0 | 0
TRI(2-BUTOXYETHYL)PHOSPHATE | 1433 | 62093GCM37 | 2012-10-11 | 2011-10-01 | 2050-09-30 | ug/L | 0.75697 | Crescent, Accu | 05BB047, 212051389 | Crescent 05BB047: 50 µl & Accu 212051389: 50 µl | 2.51 | TRI(2-BUTOXYETHYL)PHOSPHATE | E | 0.8 | 1.9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75697 | Cr05BB047, Ac2121389 | Cr | Ac | Ac | 05BB047 | 2121389 | 2121389 |  | 2121389 | 2121389 | Y | Estimated Values | Y | 2 | Y | 1 | 0.75697 |  | 0.75697 | 0 | 0
TRI(2-BUTOXYETHYL)PHOSPHATE | 1433 | 62093GCM37 | 2013-01-23 | 2011-10-01 | 2050-09-30 | ug/L | 0.63618 | Crescent, ERA | 05BB047, 0507-12-05.2 | Crescent 05BB047: 10 µl & ERA 0507-12-05.2: 10 µl | 0.503 | TRI(2-BUTOXYETHYL)PHOSPHATE | . | 0.8 | 0.32 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.63618 | Cr05BB047, ER05005.2 | Cr | ER | ER | 05BB047 | 05005.2 | 05005.2 |  | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 1 | Y | 2 | 0.79523 | 0.22492 | 0.79523 | 0.31809 | 0.2358
TRI(2-BUTOXYETHYL)PHOSPHATE | 1433 | 62093GCM37 | 2013-05-15 | 2011-10-01 | 2050-09-30 | ug/L | 0.95427 | Crescent, ERA | 05BB047, 0507-12-05.2 | Crescent 05BB047: 50 µl & ERA 0507-12-05.2: 50 µl | 2.515 | TRI(2-BUTOXYETHYL)PHOSPHATE | . | 0.8 | 2.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95427 | Cr05BB047, ER05005.2 | Cr | ER | ER | 05BB047 | 05005.2 | 05005.2 |  | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 | Y | 2 | 0.79523 | 0.22492 | 0.79523 | 0.31809 | 0.2358
TRI(2-BUTOXYETHYL)PHOSPHATE | 1433 | 62093GCM37 | 2008-03-31 | 2007-10-01 | 2008-09-30 | ug/L | 0.93409 | Crescent | 07GG011 | Crescent 07GG011: 25 µl | 2.6443 | TRI(2-BUTOXYETHYL)PHOSPHATE | E | 0.4 | 2.47 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93409 | Crescent 07GG011 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.86749 | 0.2011 | 0.82409 | 0.21095 | 0.15638
TRI(2-BUTOXYETHYL)PHOSPHATE | 1433 | 62093GCM37 | 2008-04-09 | 2007-10-01 | 2008-09-30 | ug/L | 0.90718 | Crescent | 07GG011 | Crescent 07GG011: 25 µl | 2.6345 | TRI(2-BUTOXYETHYL)PHOSPHATE | E | 0.4 | 2.39 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90718 | Crescent 07GG011 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.86749 | 0.2011 | 0.82409 | 0.21095 | 0.15638
TRI(2-BUTOXYETHYL)PHOSPHATE | 1433 | 62093GCM37 | 2008-05-20 | 2007-10-01 | 2008-09-30 | ug/L | 0.74101 | Crescent | 07GG011 | Crescent 07GG011: 25 µl | 2.5776 | TRI(2-BUTOXYETHYL)PHOSPHATE | E | 0.4 | 1.91 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74101 | Crescent 07GG011 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.86749 | 0.2011 | 0.82409 | 0.21095 | 0.15638
TRI(2-BUTOXYETHYL)PHOSPHATE | 1433 | 62093GCM37 | 2008-06-03 | 2007-10-01 | 2008-09-30 | ug/L | 1.2198 | Crescent | 07GG011 | Crescent 07GG011: 25 µl | 2.566 | TRI(2-BUTOXYETHYL)PHOSPHATE | E | 0.4 | 3.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2198 | Crescent 07GG011 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.86749 | 0.2011 | 0.82409 | 0.21095 | 0.15638
TRI(2-BUTOXYETHYL)PHOSPHATE | 1433 | 62093GCM37 | 2008-08-02 | 2007-10-01 | 2008-09-30 | ug/L | 0.72314 | Crescent | 07GG011 | Crescent 07GG011: 25 µl | 2.5445 | TRI(2-BUTOXYETHYL)PHOSPHATE | E | 0.4 | 1.84 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72314 | Crescent 07GG011 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.86749 | 0.2011 | 0.82409 | 0.21095 | 0.15638
TRI(2-BUTOXYETHYL)PHOSPHATE | 1433 | 62093GCM37 | 2008-10-08 | 2008-10-01 | 2008-12-31 | ug/L | 0.67975 | Crescent | 07GG011 | Crescent 07GG011: 25 µl | 2.5745 | TRI(2-BUTOXYETHYL)PHOSPHATE | E | 0.8 | 1.75 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67975 | Crescent 07GG011 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.86749 | 0.2011 | 0.82409 | 0.21095 | 0.15638
TRI(2-BUTOXYETHYL)PHOSPHATE | 1433 | 62093GCM37 | 2009-01-27 | 2009-01-01 | 2009-09-30 | ug/L | 0.96979 | Crescent | 08HH017 | Crescent 08HH017: 40 µl | 1.4436 | TRI(2-BUTOXYETHYL)PHOSPHATE | . | 0.8 | 1.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96979 | Crescent 08HH017 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 6 | 0.96198 | 0.13158 | 1.005 | 0.13639 | 0.1011
TRI(2-BUTOXYETHYL)PHOSPHATE | 1433 | 62093GCM37 | 2009-03-21 | 2009-01-01 | 2009-09-30 | ug/L | 1.0816 | Crescent | 08HH017 | Crescent 08HH017: 20 µl | 0.75813 | TRI(2-BUTOXYETHYL)PHOSPHATE | . | 0.8 | 0.82 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.0816 | Crescent 08HH017 | [9 empty] | Y | Recoverable Result | Y | 1 | Y | 6 | 0.96198 | 0.13158 | 1.005 | 0.13639 | 0.1011
TRI(2-BUTOXYETHYL)PHOSPHATE | 1433 | 62093GCM37 | 2009-03-24 | 2009-01-01 | 2009-09-30 | ug/L | 1.0402 | Crescent | 08HH017 | Crescent 08HH017: 20 µl | 0.76907 | TRI(2-BUTOXYETHYL)PHOSPHATE | . | 0.8 | 0.8 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.0402 | Crescent 08HH017 | [9 empty] | Y | Recoverable Result | Y | 1 | Y | 6 | 0.96198 | 0.13158 | 1.005 | 0.13639 | 0.1011
TRI(2-BUTOXYETHYL)PHOSPHATE | 1433 | 62093GCM37 | 2009-06-03 | 2009-01-01 | 2009-09-30 | ug/L | 0.72475 | Crescent | 08HH017 | Crescent 08HH017: 20 µl | 0.71749 | TRI(2-BUTOXYETHYL)PHOSPHATE | E | 0.8 | 0.52 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.72475 | Crescent 08HH017 | [9 empty] | Y | Estimated Values | Y | 1 | Y | 6 | 0.96198 | 0.13158 | 1.005 | 0.13639 | 0.1011
TRI(2-BUTOXYETHYL)PHOSPHATE | 1433 | 62093GCM37 | 2009-08-26 | 2009-01-01 | 2009-09-30 | ug/L | 1.0459 | Crescent | 08HH017 | Crescent 08HH017: 20 µl | 0.71706 | TRI(2-BUTOXYETHYL)PHOSPHATE | E | 0.8 | 0.75 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.0459 | Crescent 08HH017 | [9 empty] | Y | Estimated Values | Y | 1 | Y | 6 | 0.96198 | 0.13158 | 1.005 | 0.13639 | 0.1011
TRI(2-BUTOXYETHYL)PHOSPHATE | 1433 | 62093GCM37 | 2009-10-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.90955 | Crescent | 08HH017 | Crescent 08HH017: 40 µl | 1.4293 | TRI(2-BUTOXYETHYL)PHOSPHATE | . | 0.8 | 1.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90955 | Crescent 08HH017 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 6 | 0.96198 | 0.13158 | 1.005 | 0.13639 | 0.1011
TRI(2-BUTOXYETHYL)PHOSPHATE | 1433 | 62093GCM37 | 2012-10-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.87475 | ERA | 0507-12-05.2 | ERA 0507-12-05.2: 50 µl | 2.515 | TRI(2-BUTOXYETHYL)PHOSPHATE | E | 0.8 | 2.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87475 | ERA 0507-12-05.2 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 1 | 0.87475 |  | 0.87475 | 0 | 0
TRI(2-BUTOXYETHYL)PHOSPHATE | 1433 | 62093GCM37 | 2008-04-21 | 2007-10-01 | 2008-09-30 | ug/L | 1.3895 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.61964 | TRI(2-BUTOXYETHYL)PHOSPHATE | E | 0.4 | 0.861 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3895 | NWQL BNA2SP053B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 1.2526 | 0.12834 | 1.2418 | 0.14914 | 0.11056
TRI(2-BUTOXYETHYL)PHOSPHATE | 1433 | 62093GCM37 | 2008-07-12 | 2007-10-01 | 2008-09-30 | ug/L | 1.2074 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.5988 | TRI(2-BUTOXYETHYL)PHOSPHATE | E | 0.4 | 0.723 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2074 | NWQL BNA2SP053B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 1.2526 | 0.12834 | 1.2418 | 0.14914 | 0.11056
TRI(2-BUTOXYETHYL)PHOSPHATE | 1433 | 62093GCM37 | 2009-04-02 | 2009-01-01 | 2009-09-30 | ug/L | 1.2418 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.62814 | TRI(2-BUTOXYETHYL)PHOSPHATE | E | 0.8 | 0.78 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.2418 | NWQL BNA2SP053B | [9 empty] | Y | Estimated Values | Y | 1 | Y | 5 | 1.2526 | 0.12834 | 1.2418 | 0.14914 | 0.11056
TRI(2-BUTOXYETHYL)PHOSPHATE | 1433 | 62093GCM37 | 2009-05-06 | 2009-01-01 | 2009-09-30 | ug/L | 1.3566 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.60447 | TRI(2-BUTOXYETHYL)PHOSPHATE | . | 0.8 | 0.82 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.3566 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 1 | Y | 5 | 1.2526 | 0.12834 | 1.2418 | 0.14914 | 0.11056
TRI(2-BUTOXYETHYL)PHOSPHATE | 1433 | 62093GCM37 | 2009-07-30 | 2009-01-01 | 2009-09-30 | ug/L | 1.0677 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.5994 | TRI(2-BUTOXYETHYL)PHOSPHATE | E | 0.8 | 0.64 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.0677 | NWQL BNA2SP053B | [9 empty] | Y | Estimated Values | Y | 1 | Y | 5 | 1.2526 | 0.12834 | 1.2418 | 0.14914 | 0.11056
TRI(2-BUTOXYETHYL)PHOSPHATE | 1433 | 62093GCM37 | 2009-03-06 | 2009-01-01 | 2009-09-30 | ug/L | 1.2383 | NWQL | BNA2SP071C | NWQL BNA2SP071C: 75 µl | 0.62183 | TRI(2-BUTOXYETHYL)PHOSPHATE | E | 0.8 | 0.77 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.2383 | NWQL BNA2SP071C | [9 empty] | Y | Estimated Values | Y | 1 | Y | 1 | 1.2383 |  | 1.2383 | 0 | 0
TRI(2-BUTOXYETHYL)PHOSPHATE | 1433 | 62093GCM37 | 2010-06-04 | 2009-10-01 | 2010-09-30 | ug/L | 0.939 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 3.8339 | TRI(2-BUTOXYETHYL)PHOSPHATE | . | 0.8 | 3.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.939 | NWQL BNA2SP094D | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 2 | 0.84971 | 0.12628 | 0.84971 | 0.17858 | 0.13238
TRI(2-BUTOXYETHYL)PHOSPHATE | 1433 | 62093GCM37 | 2010-08-31 | 2009-10-01 | 2010-09-30 | ug/L | 0.76042 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 3.8137 | TRI(2-BUTOXYETHYL)PHOSPHATE | E | 0.8 | 2.9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76042 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 | Y | 2 | 0.84971 | 0.12628 | 0.84971 | 0.17858 | 0.13238
TRI(2-BUTOXYETHYL)PHOSPHATE | 1433 | 62093GCM37 | 2011-06-08 | 2011-02-01 | 2011-09-30 | ug/L | 1.4029 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 20 µl | 1.2831 | TRI(2-BUTOXYETHYL)PHOSPHATE | . | 0.8 | 1.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4029 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 4 | 1.172 | 0.16759 | 1.125 | 0.24636 | 0.18262
TRI(2-BUTOXYETHYL)PHOSPHATE | 1433 | 62093GCM37 | 2011-08-02 | 2011-02-01 | 2011-09-30 | ug/L | 1.0352 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 5.12 | TRI(2-BUTOXYETHYL)PHOSPHATE | . | 0.8 | 5.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0352 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 4 | 1.172 | 0.16759 | 1.125 | 0.24636 | 0.18262
TRI(2-BUTOXYETHYL)PHOSPHATE | 1433 | 62093GCM37 | 2011-08-26 | 2011-02-01 | 2011-09-30 | ug/L | 1.1875 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 3.2 | TRI(2-BUTOXYETHYL)PHOSPHATE | . | 0.8 | 3.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1875 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 4 | 1.172 | 0.16759 | 1.125 | 0.24636 | 0.18262
TRI(2-BUTOXYETHYL)PHOSPHATE | 1433 | 62093GCM37 | 2011-11-08 | 2011-10-01 | 2050-09-30 | ug/L | 1.0625 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 3.2 | TRI(2-BUTOXYETHYL)PHOSPHATE | . | 0.8 | 3.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0625 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 4 | 1.172 | 0.16759 | 1.125 | 0.24636 | 0.18262
TRI(2-BUTOXYETHYL)PHOSPHATE | 1433 | 62093GCM37 | 2010-01-20 | 2009-10-01 | 2010-09-30 | ug/L | 1.0093 | Restek | A070024 | Restek A070024: 20 µl | 0.22789 | TRI(2-BUTOXYETHYL)PHOSPHATE | E | 0.8 | 0.23 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.0093 | Restek A070024 | [9 empty] | Y | Estimated Values | Y | 1 | Y | 4 | 1.3324 | 0.39423 | 1.3101 | 0.67718 | 0.50199
TRI(2-BUTOXYETHYL)PHOSPHATE | 1433 | 62093GCM37 | 2010-02-23 | 2009-10-01 | 2010-09-30 | ug/L | 1.611 | Restek | A070024 | Restek A070024: 10 µl | 0.11173 | TRI(2-BUTOXYETHYL)PHOSPHATE | E | 0.8 | 0.18 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.611 | Restek A070024 | [9 empty] | Y | Estimated Values | Y | 1 | Y | 4 | 1.3324 | 0.39423 | 1.3101 | 0.67718 | 0.50199
TRI(2-BUTOXYETHYL)PHOSPHATE | 1433 | 62093GCM37 | 2010-06-16 | 2009-10-01 | 2010-09-30 | ug/L | 0.97841 | Restek | A070024 | Restek A070024: 80 µl | 0.90963 | TRI(2-BUTOXYETHYL)PHOSPHATE | . | 0.8 | 0.89 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97841 | Restek A070024 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 4 | 1.3324 | 0.39423 | 1.3101 | 0.67718 | 0.50199
TRI(2-BUTOXYETHYL)PHOSPHATE | 1433 | 62093GCM37 | 2010-10-14 | 2010-10-01 | 2011-01-31 | ug/L | 1.7311 | Restek | A070024 | Restek A070024: 40 µl | 0.45059 | TRI(2-BUTOXYETHYL)PHOSPHATE | . | 0.8 | 0.78 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.7311 | Restek A070024 | [9 empty] | Y | Recoverable Result | Y | 1 | Y | 4 | 1.3324 | 0.39423 | 1.3101 | 0.67718 | 0.50199
TRI(2-BUTOXYETHYL)PHOSPHATE | 1433 | 62093GCM37 | 2013-09-24 | 2011-10-01 | 2050-09-30 | ug/L | 0.68627 | Spex Organics, ERA | T1130531001, 0318-13-01.3 | Spex Organics T1130531001: 20 µl & ERA 0318-13-01.3: 20 µl | 2.04 | TRI(2-BUTOXYETHYL)PHOSPHATE | . | 0.8 | 1.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68627 | SpT111001, ER03101.3 | Sp | ER | ER | T111001 | 03101.3 | 03101.3 | T111001 | 03101.3 | 03101.3 | Y | Recoverable Result | Y | 2 | Y | 1 | 0.68627 |  | 0.68627 | 0 | 0
TRI(2-BUTOXYETHYL)PHOSPHATE | 1433 | 62093GCM37 | 2012-10-11 | 2011-10-01 | 2050-09-30 | ug/L | 0.94622 | Spex Organics, Accu | T1120521009, 212051389 | Spex Organics T1120521009: 20 µl & Accu 212051389: 20 µl | 1.004 | TRI(2-BUTOXYETHYL)PHOSPHATE | E | 0.8 | 0.95 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94622 | SpT111009, Ac2121389 | Sp | Ac | Ac | T111009 | 2121389 | 2121389 | T111009 | 2121389 | 2121389 | Y | Estimated Values | Y | 2 | Y | 1 | 0.94622 |  | 0.94622 | 0 | 0
TRI(2-BUTOXYETHYL)PHOSPHATE | 1433 | 62093GCM37 | 2012-12-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.95427 | Spex Organics, ERA | T1120521009, 0507-12-05.2 | Spex Organics T1120521009: 100 µl & ERA 0507-12-05.2: 100 µl | 5.03 | TRI(2-BUTOXYETHYL)PHOSPHATE | . | 0.8 | 4.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95427 | SpT111009, ER05005.2 | Sp | ER | ER | T111009 | 05005.2 | 05005.2 | T111009 | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 | Y | 2 | 0.85487 | 0.14058 | 0.85487 | 0.19881 | 0.14737
TRI(2-BUTOXYETHYL)PHOSPHATE | 1433 | 62093GCM37 | 2013-02-28 | 2011-10-01 | 2050-09-30 | ug/L | 0.75547 | Spex Organics, ERA | T1120521009, 0507-12-05.2 | Spex Organics T1120521009: 50 µl & ERA 0507-12-05.2: 50 µl | 2.515 | TRI(2-BUTOXYETHYL)PHOSPHATE | . | 0.8 | 1.9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75547 | SpT111009, ER05005.2 | Sp | ER | ER | T111009 | 05005.2 | 05005.2 | T111009 | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 | Y | 2 | 0.85487 | 0.14058 | 0.85487 | 0.19881 | 0.14737
TRI(2-BUTOXYETHYL)PHOSPHATE | 1433 | 62093GCM37 | 2010-12-08 | 2010-10-01 | 2011-01-31 | ug/L | 0.8688 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl | 1.9567 | TRI(2-BUTOXYETHYL)PHOSPHATE | . | 0.8 | 1.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8688 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 12 | 1.0006 | 0.23551 | 0.99063 | 0.2488 | 0.18443
TRI(2-BUTOXYETHYL)PHOSPHATE | 1433 | 62093GCM37 | 2011-01-28 | 2010-10-01 | 2011-01-31 | ug/L | 1.528 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl | 1.9633 | TRI(2-BUTOXYETHYL)PHOSPHATE | . | 0.8 | 3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.528 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 12 | 1.0006 | 0.23551 | 0.99063 | 0.2488 | 0.18443
TRI(2-BUTOXYETHYL)PHOSPHATE | 1433 | 62093GCM37 | 2011-03-09 | 2011-02-01 | 2011-09-30 | ug/L | 1.0227 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl | 4.8889 | TRI(2-BUTOXYETHYL)PHOSPHATE | . | 0.8 | 5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0227 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 12 | 1.0006 | 0.23551 | 0.99063 | 0.2488 | 0.18443
TRI(2-BUTOXYETHYL)PHOSPHATE | 1433 | 62093GCM37 | 2011-04-28 | 2011-02-01 | 2011-09-30 | ug/L | 1.0634 | Spex Organics | T1100706008 | Spex Organics T1100706008: 80 µl | 7.8995 | TRI(2-BUTOXYETHYL)PHOSPHATE | E | 0.8 | 8.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0634 | Spex Organics T1100706008 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 12 | 1.0006 | 0.23551 | 0.99063 | 0.2488 | 0.18443
TRI(2-BUTOXYETHYL)PHOSPHATE | 1433 | 62093GCM37 | 2011-07-22 | 2011-02-01 | 2011-09-30 | ug/L | 0.95854 | Spex Organics | T1100706008 | Spex Organics T1100706008: 80 µl | 7.9287 | TRI(2-BUTOXYETHYL)PHOSPHATE | . | 0.8 | 7.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95854 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 12 | 1.0006 | 0.23551 | 0.99063 | 0.2488 | 0.18443
TRI(2-BUTOXYETHYL)PHOSPHATE | 1433 | 62093GCM37 | 2011-08-25 | 2011-02-01 | 2011-09-30 | ug/L | 1.2121 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl | 1.98 | TRI(2-BUTOXYETHYL)PHOSPHATE | . | 0.8 | 2.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2121 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 12 | 1.0006 | 0.23551 | 0.99063 | 0.2488 | 0.18443
TRI(2-BUTOXYETHYL)PHOSPHATE | 1433 | 62093GCM37 | 2011-11-04 | 2011-10-01 | 2050-09-30 | ug/L | 0.92929 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl | 4.95 | TRI(2-BUTOXYETHYL)PHOSPHATE | . | 0.8 | 4.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92929 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 12 | 1.0006 | 0.23551 | 0.99063 | 0.2488 | 0.18443
TRI(2-BUTOXYETHYL)PHOSPHATE | 1433 | 62093GCM37 | 2012-01-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.85859 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl | 1.98 | TRI(2-BUTOXYETHYL)PHOSPHATE | . | 0.8 | 1.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85859 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 12 | 1.0006 | 0.23551 | 0.99063 | 0.2488 | 0.18443
TRI(2-BUTOXYETHYL)PHOSPHATE | 1433 | 62093GCM37 | 2012-02-16 | 2011-10-01 | 2050-09-30 | ug/L | 1.0505 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl | 4.95 | TRI(2-BUTOXYETHYL)PHOSPHATE | . | 0.8 | 5.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0505 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 12 | 1.0006 | 0.23551 | 0.99063 | 0.2488 | 0.18443
TRI(2-BUTOXYETHYL)PHOSPHATE | 1433 | 62093GCM37 | 2012-03-09 | 2011-10-01 | 2050-09-30 | ug/L | 1.1616 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl | 1.98 | TRI(2-BUTOXYETHYL)PHOSPHATE | . | 0.8 | 2.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1616 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 12 | 1.0006 | 0.23551 | 0.99063 | 0.2488 | 0.18443
TRI(2-BUTOXYETHYL)PHOSPHATE | 1433 | 62093GCM37 | 2012-05-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.66667 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl | 4.95 | TRI(2-BUTOXYETHYL)PHOSPHATE | . | 0.8 | 3.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66667 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 12 | 1.0006 | 0.23551 | 0.99063 | 0.2488 | 0.18443
TRI(2-BUTOXYETHYL)PHOSPHATE | 1433 | 62093GCM37 | 2012-05-09 | 2011-10-01 | 2050-09-30 | ug/L | 0.68687 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl | 4.95 | TRI(2-BUTOXYETHYL)PHOSPHATE | . | 0.8 | 3.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68687 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 12 | 1.0006 | 0.23551 | 0.99063 | 0.2488 | 0.18443
TRI(2-BUTOXYETHYL)PHOSPHATE | 1433 | 62093GCM37 | 2012-08-30 | 2011-10-01 | 2050-09-30 | ug/L | 1.0757 | Supelco, Accu | LB92784, 212051389 | Supelco LB92784: 10 µl & Accu 212051389: 10 µl | 0.502 | TRI(2-BUTOXYETHYL)PHOSPHATE | . | 0.8 | 0.54 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.0757 | SuLB92784, Ac2121389 | Su | Ac | Ac | LB92784 | 2121389 | 2121389 |  | 2121389 | 2121389 | Y | Recoverable Result | Y | 1 | Y | 3 | 0.84329 | 0.213 | 0.79681 | 0.41833 | 0.3101
TRI(2-BUTOXYETHYL)PHOSPHATE | 1433 | 62093GCM37 | 2013-01-23 | 2011-10-01 | 2050-09-30 | ug/L | 0.65737 | Supelco, Accu | LB92784, 212051389 | Supelco LB92784: 10 µl & Accu 212051389: 10 µl | 0.502 | TRI(2-BUTOXYETHYL)PHOSPHATE | . | 0.8 | 0.33 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.65737 | SuLB92784, Ac2121389 | Su | Ac | Ac | LB92784 | 2121389 | 2121389 |  | 2121389 | 2121389 | Y | Recoverable Result | Y | 1 | Y | 3 | 0.84329 | 0.213 | 0.79681 | 0.41833 | 0.3101
TRI(2-BUTOXYETHYL)PHOSPHATE | 1433 | 62093GCM37 | 2013-04-16 | 2011-10-01 | 2050-09-30 | ug/L | 0.79681 | Supelco, Accu | LB92784, 212051389 | Supelco LB92784: 50 µl & Accu 212051389: 50 µl | 2.51 | TRI(2-BUTOXYETHYL)PHOSPHATE | . | 0.8 | 2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79681 | SuLB92784, Ac2121389 | Su | Ac | Ac | LB92784 | 2121389 | 2121389 |  | 2121389 | 2121389 | Y | Recoverable Result | Y | 2 | Y | 3 | 0.84329 | 0.213 | 0.79681 | 0.41833 | 0.3101
TRI(2-BUTOXYETHYL)PHOSPHATE | 1433 | 62093GCM37 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.65 | Supelco, Accu | LB99396, 213041004 | Supelco LB99396: 20 µl & Accu 213041004: 20 µl | 2 | TRI(2-BUTOXYETHYL)PHOSPHATE | . | 0.8 | 1.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65 | SuLB99396, Ac2131004 | Su | Ac | Ac | LB99396 | 2131004 | 2131004 |  | 2131004 | 2131004 | Y | Recoverable Result | Y | 2 | Y | 1 | 0.65 |  | 0.65 | 0 | 0
TRI(2-BUTOXYETHYL)PHOSPHATE | 1433 | 62093GCM37 | 2013-07-11 | 2011-10-01 | 2050-09-30 | ug/L | 1.1039 | Supelco, ERA | LB99396, 0318-13-01.3 | Supelco LB99396: 50 µl & ERA 0318-13-01.3: 50 µl | 5.1 | TRI(2-BUTOXYETHYL)PHOSPHATE | . | 0.8 | 5.63 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1039 | SuLB99396, ER03101.3 | Su | ER | ER | LB99396 | 03101.3 | 03101.3 |  | 03101.3 | 03101.3 | Y | Recoverable Result | Y | 2 | Y | 1 | 1.1039 |  | 1.1039 | 0 | 0
TRI(2-BUTOXYETHYL)PHOSPHATE | 1433 | 62093GCM37 | 2009-03-05 | 2009-01-01 | 2009-09-30 | ug/L | 0.82961 | Supelco | LB60966 | Supelco LB60966: 20 µl | 0.85583 | TRI(2-BUTOXYETHYL)PHOSPHATE | E | 0.8 | 0.71 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82961 | Supelco LB60966 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.77498 | 0.10291 | 0.82961 | 0.10433 | 0.077335
TRI(2-BUTOXYETHYL)PHOSPHATE | 1433 | 62093GCM37 | 2009-04-30 | 2009-01-01 | 2009-09-30 | ug/L | 0.83694 | Supelco | LB60966 | Supelco LB60966: 20 µl | 0.82443 | TRI(2-BUTOXYETHYL)PHOSPHATE | E | 0.8 | 0.69 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83694 | Supelco LB60966 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.77498 | 0.10291 | 0.82961 | 0.10433 | 0.077335
TRI(2-BUTOXYETHYL)PHOSPHATE | 1433 | 62093GCM37 | 2009-07-30 | 2009-01-01 | 2009-09-30 | ug/L | 0.73262 | Supelco | LB60966 | Supelco LB60966: 40 µl | 1.638 | TRI(2-BUTOXYETHYL)PHOSPHATE | . | 0.8 | 1.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73262 | Supelco LB60966 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 5 | 0.77498 | 0.10291 | 0.82961 | 0.10433 | 0.077335
TRI(2-BUTOXYETHYL)PHOSPHATE | 1433 | 62093GCM37 | 2009-09-30 | 2009-01-01 | 2009-09-30 | ug/L | 0.86233 | Supelco | LB60966 | Supelco LB60966: 20 µl | 0.81175 | TRI(2-BUTOXYETHYL)PHOSPHATE | E | 0.8 | 0.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86233 | Supelco LB60966 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.77498 | 0.10291 | 0.82961 | 0.10433 | 0.077335
TRI(2-BUTOXYETHYL)PHOSPHATE | 1433 | 62093GCM37 | 2009-12-01 | 2009-10-01 | 2010-09-30 | ug/L | 0.61339 | Supelco | LB60966 | Supelco LB60966: 20 µl | 0.81515 | TRI(2-BUTOXYETHYL)PHOSPHATE | E | 0.8 | 0.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61339 | Supelco LB60966 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.77498 | 0.10291 | 0.82961 | 0.10433 | 0.077335
TRI(2-BUTOXYETHYL)PHOSPHATE | 1433 | 62093GCM37 | 2010-01-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.62251 | Ultra | CF-3634 | Ultra CF-3634: 40 µl | 0.44979 | TRI(2-BUTOXYETHYL)PHOSPHATE | E | 0.8 | 0.28 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.62251 | Ultra CF-3634 | [9 empty] | Y | Estimated Values | Y | 1 | Y | 4 | 1.0242 | 0.3704 | 1.0014 | 0.58103 | 0.43071
TRI(2-BUTOXYETHYL)PHOSPHATE | 1433 | 62093GCM37 | 2010-01-27 | 2009-10-01 | 2010-09-30 | ug/L | 1.4717 | Ultra | CF-3634 | Ultra CF-3634: 20 µl | 0.22423 | TRI(2-BUTOXYETHYL)PHOSPHATE | E | 0.8 | 0.33 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.4717 | Ultra CF-3634 | [9 empty] | Y | Estimated Values | Y | 1 | Y | 4 | 1.0242 | 0.3704 | 1.0014 | 0.58103 | 0.43071
TRI(2-BUTOXYETHYL)PHOSPHATE | 1433 | 62093GCM37 | 2010-03-25 | 2009-10-01 | 2010-09-30 | ug/L | 1.1578 | Ultra | CF-3634 | Ultra CF-3634: 40 µl | 0.44913 | TRI(2-BUTOXYETHYL)PHOSPHATE | E | 0.8 | 0.52 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.1578 | Ultra CF-3634 | [9 empty] | Y | Estimated Values | Y | 1 | Y | 4 | 1.0242 | 0.3704 | 1.0014 | 0.58103 | 0.43071
TRI(2-BUTOXYETHYL)PHOSPHATE | 1433 | 62093GCM37 | 2010-09-03 | 2009-10-01 | 2010-09-30 | ug/L | 0.8449 | Ultra | CF-3634 | Ultra CF-3634: 80 µl | 0.95869 | TRI(2-BUTOXYETHYL)PHOSPHATE | . | 0.8 | 0.81 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8449 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 4 | 1.0242 | 0.3704 | 1.0014 | 0.58103 | 0.43071
TRI(2-BUTOXYETHYL)PHOSPHATE | 1433 | 62093GCM37 | 2010-12-09 | 2010-10-01 | 2011-01-31 | ug/L | 0.67528 | Ultra | CG-2301 | Ultra CG-2301: 20 µl | 1.9251 | TRI(2-BUTOXYETHYL)PHOSPHATE | . | 0.8 | 1.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67528 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 13 | 0.94362 | 0.16407 | 0.98584 | 0.24242 | 0.17971
TRI(2-BUTOXYETHYL)PHOSPHATE | 1433 | 62093GCM37 | 2010-12-16 | 2010-10-01 | 2011-01-31 | ug/L | 0.82416 | Ultra | CG-2301 | Ultra CG-2301: 80 µl | 7.7655 | TRI(2-BUTOXYETHYL)PHOSPHATE | . | 0.8 | 6.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82416 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 13 | 0.94362 | 0.16407 | 0.98584 | 0.24242 | 0.17971
TRI(2-BUTOXYETHYL)PHOSPHATE | 1433 | 62093GCM37 | 2011-04-06 | 2011-02-01 | 2011-09-30 | ug/L | 0.99717 | Ultra | CG-2301 | Ultra CG-2301: 20 µl | 2.0057 | TRI(2-BUTOXYETHYL)PHOSPHATE | . | 0.8 | 2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99717 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 13 | 0.94362 | 0.16407 | 0.98584 | 0.24242 | 0.17971
TRI(2-BUTOXYETHYL)PHOSPHATE | 1433 | 62093GCM37 | 2011-06-08 | 2011-02-01 | 2011-09-30 | ug/L | 0.98584 | Ultra | CG-2301 | Ultra CG-2301: 50 µl | 4.9704 | TRI(2-BUTOXYETHYL)PHOSPHATE | . | 0.8 | 4.9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98584 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 13 | 0.94362 | 0.16407 | 0.98584 | 0.24242 | 0.17971
TRI(2-BUTOXYETHYL)PHOSPHATE | 1433 | 62093GCM37 | 2011-06-29 | 2011-02-01 | 2011-09-30 | ug/L | 1.1988 | Ultra | CG-2301 | Ultra CG-2301: 20 µl | 2.002 | TRI(2-BUTOXYETHYL)PHOSPHATE | . | 0.8 | 2.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1988 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 13 | 0.94362 | 0.16407 | 0.98584 | 0.24242 | 0.17971
TRI(2-BUTOXYETHYL)PHOSPHATE | 1433 | 62093GCM37 | 2011-08-26 | 2011-02-01 | 2011-09-30 | ug/L | 1.0505 | Ultra | CG-2301 | Ultra CG-2301: 50 µl | 4.95 | TRI(2-BUTOXYETHYL)PHOSPHATE | . | 0.8 | 5.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0505 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 13 | 0.94362 | 0.16407 | 0.98584 | 0.24242 | 0.17971
TRI(2-BUTOXYETHYL)PHOSPHATE | 1433 | 62093GCM37 | 2011-10-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.75758 | Ultra | CG-2301 | Ultra CG-2301: 80 µl | 7.92 | TRI(2-BUTOXYETHYL)PHOSPHATE | . | 0.8 | 6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75758 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 13 | 0.94362 | 0.16407 | 0.98584 | 0.24242 | 0.17971
TRI(2-BUTOXYETHYL)PHOSPHATE | 1433 | 62093GCM37 | 2011-10-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.80808 | Ultra | CG-2301 | Ultra CG-2301: 50 µl | 4.95 | TRI(2-BUTOXYETHYL)PHOSPHATE | . | 0.8 | 4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80808 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 13 | 0.94362 | 0.16407 | 0.98584 | 0.24242 | 0.17971
TRI(2-BUTOXYETHYL)PHOSPHATE | 1433 | 62093GCM37 | 2011-11-08 | 2011-10-01 | 2050-09-30 | ug/L | 1.0101 | Ultra | CG-2301 | Ultra CG-2301: 20 µl | 1.98 | TRI(2-BUTOXYETHYL)PHOSPHATE | . | 0.8 | 2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0101 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 13 | 0.94362 | 0.16407 | 0.98584 | 0.24242 | 0.17971
TRI(2-BUTOXYETHYL)PHOSPHATE | 1433 | 62093GCM37 | 2012-02-08 | 2011-10-01 | 2050-09-30 | ug/L | 1.1313 | Ultra | CG-2301 | Ultra CG-2301: 50 µl | 4.95 | TRI(2-BUTOXYETHYL)PHOSPHATE | . | 0.8 | 5.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1313 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 13 | 0.94362 | 0.16407 | 0.98584 | 0.24242 | 0.17971
TRI(2-BUTOXYETHYL)PHOSPHATE | 1433 | 62093GCM37 | 2012-02-16 | 2011-10-01 | 2050-09-30 | ug/L | 0.9596 | Ultra | CG-2301 | Ultra CG-2301: 80 µl | 7.92 | TRI(2-BUTOXYETHYL)PHOSPHATE | . | 0.8 | 7.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9596 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 13 | 0.94362 | 0.16407 | 0.98584 | 0.24242 | 0.17971
TRI(2-BUTOXYETHYL)PHOSPHATE | 1433 | 62093GCM37 | 2012-04-11 | 2011-10-01 | 2050-09-30 | ug/L | 1.1111 | Ultra | CG-2301 | Ultra CG-2301: 20 µl | 1.98 | TRI(2-BUTOXYETHYL)PHOSPHATE | . | 0.8 | 2.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1111 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 13 | 0.94362 | 0.16407 | 0.98584 | 0.24242 | 0.17971
TRI(2-BUTOXYETHYL)PHOSPHATE | 1433 | 62093GCM37 | 2012-06-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.75758 | Ultra | CG-2301 | Ultra CG-2301: 80 µl | 7.92 | TRI(2-BUTOXYETHYL)PHOSPHATE | . | 0.8 | 6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75758 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 13 | 0.94362 | 0.16407 | 0.98584 | 0.24242 | 0.17971