## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
TRIBUTYL PHOSPHATE | 1433 | 62089GCM37 | 2013-08-21 | 2011-10-01 | 2050-09-30 | ug/L | 0.81902 | Abs, Accu | 040913WWF, 213041004 | Abs 040913WWF: 20 µl & Accu 213041004: 20 µl | 0.5006 | TRIBUTYL_PHOSPHATE | . | 0.16 | 0.41 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81902 | Ab0403WWF, Ac2131004 | Ab | Ac | Ac | 0403WWF | 2131004 | 2131004 | 0403WWF | 2131004 | 2131004 | Y | Recoverable Result | Y | 2 |  | 1 | 0.81902 |  | 0.81902 | 0 | 0
TRIBUTYL PHOSPHATE | 1433 | 62089GCM37 | 2014-02-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.89892 | Abs, ERA | 040913WWF, 0318-13-01.3 | Abs 040913WWF: 20 µl & ERA 0318-13-01.3: 20 µl | 0.5006 | TRIBUTYL_PHOSPHATE | E | 0.16 | 0.45 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89892 | Ab0403WWF, ER03101.3 | Ab | ER | ER | 0403WWF | 03101.3 | 03101.3 | 0403WWF | 03101.3 | 03101.3 | Y | Estimated Values | Y | 2 |  | 1 | 0.89892 |  | 0.89892 | 0 | 0
TRIBUTYL PHOSPHATE | 1433 | 62089GCM37 | 2012-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.93333 | Abs, Accu | 051112, 212051389 | Abs 051112: 100 µl & Accu 212051389: 100 µl | 1.5 | TRIBUTYL_PHOSPHATE | . | 0.16 | 1.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93333 | Ab051112, Ac2121389 | Ab | Ac | Ac | 051112 | 2121389 | 2121389 |  | 2121389 | 2121389 | Y | Recoverable Result | Y | 2 |  | 1 | 0.93333 |  | 0.93333 | 0 | 0
TRIBUTYL PHOSPHATE | 1433 | 62089GCM37 | 2013-05-15 | 2011-10-01 | 2050-09-30 | ug/L | 0.7 | Abs, Spex Organics | 051112, T1120521009 | Abs 051112: 20 µl & Spex Organics T1120521009: 20 µl | 0.3 | TRIBUTYL_PHOSPHATE | . | 0.16 | 0.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7 | Ab051112, SpT111009 | Ab | Sp | Sp | 051112 | T111009 | T111009 |  | T111009 | T111009 | Y | Recoverable Result | Y | 2 |  | 1 | 0.7 |  | 0.7 | 0 | 0
TRIBUTYL PHOSPHATE | 1433 | 62089GCM37 | 2012-08-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.8 | Abs | 051112 | Abs 051112: 20 µl | 0.3 | TRIBUTYL_PHOSPHATE | . | 0.16 | 0.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8 | Abs 051112 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.8 |  | 0.8 | 0 | 0
TRIBUTYL PHOSPHATE | 1433 | 62089GCM37 | 2009-01-08 | 2006-10-01 | 2009-09-30 | ug/L | 1.0533 | Abs | 080508WW | Abs 080508WW: 20 µl | 1.3196 | TRIBUTYL_PHOSPHATE | . | 0.2 | 1.39 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0533 | Abs 080508WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.80818 | 0.13823 | 0.79505 | 0.15204 | 0.1127
TRIBUTYL PHOSPHATE | 1433 | 62089GCM37 | 2009-01-29 | 2006-10-01 | 2009-09-30 | ug/L | 0.82871 | Abs | 080508WW | Abs 080508WW: 20 µl | 1.3877 | TRIBUTYL_PHOSPHATE | . | 0.2 | 1.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82871 | Abs 080508WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.80818 | 0.13823 | 0.79505 | 0.15204 | 0.1127
TRIBUTYL PHOSPHATE | 1433 | 62089GCM37 | 2009-03-21 | 2006-10-01 | 2009-09-30 | ug/L | 0.68887 | Abs | 080508WW | Abs 080508WW: 40 µl | 2.7581 | TRIBUTYL_PHOSPHATE | . | 0.2 | 1.9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68887 | Abs 080508WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.80818 | 0.13823 | 0.79505 | 0.15204 | 0.1127
TRIBUTYL PHOSPHATE | 1433 | 62089GCM37 | 2009-05-28 | 2006-10-01 | 2009-09-30 | ug/L | 0.67582 | Abs | 080508WW | Abs 080508WW: 20 µl | 1.3021 | TRIBUTYL_PHOSPHATE | . | 0.2 | 0.88 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67583 | Abs 080508WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.80818 | 0.13823 | 0.79505 | 0.15204 | 0.1127
TRIBUTYL PHOSPHATE | 1433 | 62089GCM37 | 2009-08-06 | 2006-10-01 | 2009-09-30 | ug/L | 0.7614 | Abs | 080508WW | Abs 080508WW: 40 µl | 2.6267 | TRIBUTYL_PHOSPHATE | . | 0.2 | 2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7614 | Abs 080508WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.80818 | 0.13823 | 0.79505 | 0.15204 | 0.1127
TRIBUTYL PHOSPHATE | 1433 | 62089GCM37 | 2009-10-09 | 2009-10-01 | 2010-09-30 | ug/L | 0.84091 | Abs | 080508WW | Abs 080508WW: 20 µl | 1.3081 | TRIBUTYL_PHOSPHATE | . | 0.16 | 1.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84091 | Abs 080508WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.80818 | 0.13823 | 0.79505 | 0.15204 | 0.1127
TRIBUTYL PHOSPHATE | 1433 | 62089GCM37 | 2013-06-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.93887 | Crescent, Abs | 04CC145, 040913WWF | Crescent 04CC145: 20 µl & Abs 040913WWF: 20 µl | 0.5006 | TRIBUTYL_PHOSPHATE | . | 0.16 | 0.47 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93887 | Cr04CC145, Ab0403WWF | Cr | Ab | Ab | 04CC145 | 0403WWF | 0403WWF |  | 0403WWF | 0403WWF | Y | Recoverable Result | Y | 2 |  | 1 | 0.93887 |  | 0.93887 | 0 | 0
TRIBUTYL PHOSPHATE | 1433 | 62089GCM37 | 2013-06-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.84 | Crescent, Supelco | 04CC145, LB99396 | Crescent 04CC145: 20 µl & Supelco LB99396: 20 µl | 0.5 | TRIBUTYL_PHOSPHATE | . | 0.16 | 0.42 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84 | Cr04CC145, SuLB99396 | Cr | Su | Su | 04CC145 | LB99396 | LB99396 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.84 |  | 0.84 | 0 | 0
TRIBUTYL PHOSPHATE | 1433 | 62089GCM37 | 2012-08-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.86667 | Crescent, Abs | 05BB047, 051112 | Crescent 05BB047: 10 µl & Abs 051112: 10 µl | 0.15 | TRIBUTYL_PHOSPHATE | . | 0.16 | 0.13 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.86667 | Cr05BB047, Ab051112 | Cr | Ab | Ab | 05BB047 | 051112 | 051112 |  |  |  | Y | Recoverable Result | Y | 1 |  | 3 | 0.83111 | 0.12389 | 0.86667 | 0.24 | 0.17791
TRIBUTYL PHOSPHATE | 1433 | 62089GCM37 | 2013-02-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.69333 | Crescent, Abs | 05BB047, 051112 | Crescent 05BB047: 50 µl & Abs 051112: 50 µl | 0.75 | TRIBUTYL_PHOSPHATE | . | 0.16 | 0.52 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69333 | Cr05BB047, Ab051112 | Cr | Ab | Ab | 05BB047 | 051112 | 051112 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.83111 | 0.12389 | 0.86667 | 0.24 | 0.17791
TRIBUTYL PHOSPHATE | 1433 | 62089GCM37 | 2013-04-16 | 2011-10-01 | 2050-09-30 | ug/L | 0.93333 | Crescent, Abs | 05BB047, 051112 | Crescent 05BB047: 10 µl & Abs 051112: 10 µl | 0.15 | TRIBUTYL_PHOSPHATE | . | 0.16 | 0.14 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.93333 | Cr05BB047, Ab051112 | Cr | Ab | Ab | 05BB047 | 051112 | 051112 |  |  |  | Y | Recoverable Result | Y | 1 |  | 3 | 0.83111 | 0.12389 | 0.86667 | 0.24 | 0.17791
TRIBUTYL PHOSPHATE | 1433 | 62089GCM37 | 2012-12-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.93396 | Crescent, Supelco | 05BB047, LB92784 | Crescent 05BB047: 100 µl & Supelco LB92784: 100 µl | 1.499 | TRIBUTYL_PHOSPHATE | E | 0.16 | 1.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93396 | Cr05BB047, SuLB92784 | Cr | Su | Su | 05BB047 | LB92784 | LB92784 |  |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.93396 |  | 0.93396 | 0 | 0
TRIBUTYL PHOSPHATE | 1433 | 62089GCM37 | 2009-01-28 | 2006-10-01 | 2009-09-30 | ug/L | 0.72518 | ERA | 0804-08-02WW | ERA 0804-08-02WW: 40 µl | 2.6201 | TRIBUTYL_PHOSPHATE | . | 0.2 | 1.9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72518 | ERA 0804-08-02WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.6972 | 0.04649 | 0.69317 | 0.078558 | 0.058234
TRIBUTYL PHOSPHATE | 1433 | 62089GCM37 | 2009-03-05 | 2006-10-01 | 2009-09-30 | ug/L | 0.65845 | ERA | 0804-08-02WW | ERA 0804-08-02WW: 20 µl | 1.3365 | TRIBUTYL_PHOSPHATE | . | 0.2 | 0.88 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65845 | ERA 0804-08-02WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.6972 | 0.04649 | 0.69317 | 0.078558 | 0.058234
TRIBUTYL PHOSPHATE | 1433 | 62089GCM37 | 2009-04-23 | 2006-10-01 | 2009-09-30 | ug/L | 0.75368 | ERA | 0804-08-02WW | ERA 0804-08-02WW: 20 µl | 1.3268 | TRIBUTYL_PHOSPHATE | E | 0.2 | 1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75368 | ERA 0804-08-02WW | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.6972 | 0.04649 | 0.69317 | 0.078558 | 0.058234
TRIBUTYL PHOSPHATE | 1433 | 62089GCM37 | 2009-07-02 | 2006-10-01 | 2009-09-30 | ug/L | 0.73701 | ERA | 0804-08-02WW | ERA 0804-08-02WW: 20 µl | 1.3026 | TRIBUTYL_PHOSPHATE | . | 0.2 | 0.96 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73701 | ERA 0804-08-02WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.6972 | 0.04649 | 0.69317 | 0.078558 | 0.058234
TRIBUTYL PHOSPHATE | 1433 | 62089GCM37 | 2009-09-29 | 2006-10-01 | 2009-09-30 | ug/L | 0.66116 | ERA | 0804-08-02WW | ERA 0804-08-02WW: 40 µl | 2.5712 | TRIBUTYL_PHOSPHATE | . | 0.2 | 1.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66116 | ERA 0804-08-02WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.6972 | 0.04649 | 0.69317 | 0.078558 | 0.058234
TRIBUTYL PHOSPHATE | 1433 | 62089GCM37 | 2009-10-22 | 2009-10-01 | 2010-09-30 | ug/L | 0.64771 | ERA | 0804-08-02WW | ERA 0804-08-02WW: 20 µl | 1.2969 | TRIBUTYL_PHOSPHATE | . | 0.16 | 0.84 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64771 | ERA 0804-08-02WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.6972 | 0.04649 | 0.69317 | 0.078558 | 0.058234
TRIBUTYL PHOSPHATE | 1433 | 62089GCM37 | 2008-04-21 | 2006-10-01 | 2009-09-30 | ug/L | 1.2959 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.61964 | TRIBUTYL_PHOSPHATE | . | 0.2 | 0.803 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2959 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.96598 | 0.20957 | 0.8912 | 0.34144 | 0.2531
TRIBUTYL PHOSPHATE | 1433 | 62089GCM37 | 2008-07-12 | 2006-10-01 | 2009-09-30 | ug/L | 0.95524 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.5988 | TRIBUTYL_PHOSPHATE | . | 0.2 | 0.572 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95524 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.96598 | 0.20957 | 0.8912 | 0.34144 | 0.2531
TRIBUTYL PHOSPHATE | 1433 | 62089GCM37 | 2008-09-17 | 2006-10-01 | 2009-09-30 | ug/L | 1.1374 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.58904 | TRIBUTYL_PHOSPHATE | . | 0.2 | 0.67 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1374 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.96598 | 0.20957 | 0.8912 | 0.34144 | 0.2531
TRIBUTYL PHOSPHATE | 1433 | 62089GCM37 | 2009-04-02 | 2006-10-01 | 2009-09-30 | ug/L | 0.796 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.62814 | TRIBUTYL_PHOSPHATE | . | 0.2 | 0.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.796 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.96598 | 0.20957 | 0.8912 | 0.34144 | 0.2531
TRIBUTYL PHOSPHATE | 1433 | 62089GCM37 | 2009-05-06 | 2006-10-01 | 2009-09-30 | ug/L | 0.82717 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.60447 | TRIBUTYL_PHOSPHATE | . | 0.2 | 0.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82717 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.96598 | 0.20957 | 0.8912 | 0.34144 | 0.2531
TRIBUTYL PHOSPHATE | 1433 | 62089GCM37 | 2009-07-30 | 2006-10-01 | 2009-09-30 | ug/L | 0.78412 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.5994 | TRIBUTYL_PHOSPHATE | . | 0.2 | 0.47 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78412 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.96598 | 0.20957 | 0.8912 | 0.34144 | 0.2531
TRIBUTYL PHOSPHATE | 1433 | 62089GCM37 | 2009-03-06 | 2006-10-01 | 2009-09-30 | ug/L | 0.72367 | NWQL | BNA2SP071C | NWQL BNA2SP071C: 75 µl | 0.62183 | TRIBUTYL_PHOSPHATE | . | 0.2 | 0.45 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72367 | NWQL BNA2SP071C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.72367 |  | 0.72367 | 0 | 0
TRIBUTYL PHOSPHATE | 1433 | 62089GCM37 | 2010-06-04 | 2009-10-01 | 2010-09-30 | ug/L | 0.83467 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.23962 | TRIBUTYL_PHOSPHATE | E | 0.16 | 0.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83467 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.79492 | 0.056209 | 0.79492 | 0.079492 | 0.058926
TRIBUTYL PHOSPHATE | 1433 | 62089GCM37 | 2010-08-31 | 2009-10-01 | 2010-09-30 | ug/L | 0.75518 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.23836 | TRIBUTYL_PHOSPHATE | E | 0.16 | 0.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75518 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.79492 | 0.056209 | 0.79492 | 0.079492 | 0.058926
TRIBUTYL PHOSPHATE | 1433 | 62089GCM37 | 2011-06-08 | 2011-02-01 | 2011-09-30 | ug/L | 1.035 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 20 µl | 0.080192 | TRIBUTYL_PHOSPHATE | . | 0.16 | 0.083 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.035 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 1 |  | 4 | 1.04 | 0.11965 | 1.0675 | 0.17 | 0.12602
TRIBUTYL PHOSPHATE | 1433 | 62089GCM37 | 2011-08-02 | 2011-02-01 | 2011-09-30 | ug/L | 0.875 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 0.32 | TRIBUTYL_PHOSPHATE | . | 0.16 | 0.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.875 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.04 | 0.11965 | 1.0675 | 0.17 | 0.12602
TRIBUTYL PHOSPHATE | 1433 | 62089GCM37 | 2011-08-26 | 2011-02-01 | 2011-09-30 | ug/L | 1.15 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.2 | TRIBUTYL_PHOSPHATE | . | 0.16 | 0.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.15 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.04 | 0.11965 | 1.0675 | 0.17 | 0.12602
TRIBUTYL PHOSPHATE | 1433 | 62089GCM37 | 2011-11-08 | 2011-10-01 | 2050-09-30 | ug/L | 1.1 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.2 | TRIBUTYL_PHOSPHATE | . | 0.16 | 0.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.04 | 0.11965 | 1.0675 | 0.17 | 0.12602
TRIBUTYL PHOSPHATE | 1433 | 62089GCM37 | 2010-01-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.55583 | Restek | A070024 | Restek A070024: 20 µl | 0.26987 | TRIBUTYL_PHOSPHATE | E | 0.16 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.55583 | Restek A070024 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.75703 | 0.1465 | 0.78636 | 0.20244 | 0.15007
TRIBUTYL PHOSPHATE | 1433 | 62089GCM37 | 2010-02-23 | 2009-10-01 | 2010-09-30 | ug/L | 0.75578 | Restek | A070024 | Restek A070024: 10 µl | 0.13231 | TRIBUTYL_PHOSPHATE | E | 0.16 | 0.1 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.75578 | Restek A070024 | [9 empty] | Y | Estimated Values | Y | 1 |  | 4 | 0.75703 | 0.1465 | 0.78636 | 0.20244 | 0.15007
TRIBUTYL PHOSPHATE | 1433 | 62089GCM37 | 2010-06-16 | 2009-10-01 | 2010-09-30 | ug/L | 0.81693 | Restek | A070024 | Restek A070024: 80 µl | 1.0772 | TRIBUTYL_PHOSPHATE | . | 0.16 | 0.88 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81693 | Restek A070024 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.75703 | 0.1465 | 0.78636 | 0.20244 | 0.15007
TRIBUTYL PHOSPHATE | 1433 | 62089GCM37 | 2010-10-14 | 2010-10-01 | 2011-01-31 | ug/L | 0.89956 | Restek | A070024 | Restek A070024: 40 µl | 0.5336 | TRIBUTYL_PHOSPHATE | . | 0.16 | 0.48 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89956 | Restek A070024 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.75703 | 0.1465 | 0.78636 | 0.20244 | 0.15007
TRIBUTYL PHOSPHATE | 1433 | 62089GCM37 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.87895 | Spex Organics, Abs | T1130531001, 040913WWF | Spex Organics T1130531001: 50 µl & Abs 040913WWF: 50 µl | 1.2515 | TRIBUTYL_PHOSPHATE | E | 0.16 | 1.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87895 | SpT111001, Ab0403WWF | Sp | Ab | Ab | T111001 | 0403WWF | 0403WWF | T111001 | 0403WWF | 0403WWF | Y | Estimated Values | Y | 2 |  | 1 | 0.87895 |  | 0.87895 | 0 | 0
TRIBUTYL PHOSPHATE | 1433 | 62089GCM37 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.76 | Spex Organics, Supelco | T1130531001, LB99396 | Spex Organics T1130531001: 20 µl & Supelco LB99396: 20 µl | 0.5 | TRIBUTYL_PHOSPHATE | E | 0.16 | 0.38 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76 | SpT111001, SuLB99396 | Sp | Su | Su | T111001 | LB99396 | LB99396 | T111001 |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.76 |  | 0.76 | 0 | 0
TRIBUTYL PHOSPHATE | 1433 | 62089GCM37 | 2012-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.93333 | Spex Organics, Abs | T1120521009, 051112 | Spex Organics T1120521009: 10 µl & Abs 051112: 10 µl | 0.15 | TRIBUTYL_PHOSPHATE | . | 0.16 | 0.14 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.93333 | SpT111009, Ab051112 | Sp | Ab | Ab | T111009 | 051112 | 051112 | T111009 |  |  | Y | Recoverable Result | Y | 1 |  | 1 | 0.93333 |  | 0.93333 | 0 | 0
TRIBUTYL PHOSPHATE | 1433 | 62089GCM37 | 2012-08-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.9006 | Spex Organics, Supelco | T1120521009, LB92784 | Spex Organics T1120521009: 20 µl & Supelco LB92784: 20 µl | 0.2998 | TRIBUTYL_PHOSPHATE | . | 0.16 | 0.27 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9006 | SpT111009, SuLB92784 | Sp | Su | Su | T111009 | LB92784 | LB92784 | T111009 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.9006 |  | 0.9006 | 0 | 0
TRIBUTYL PHOSPHATE | 1433 | 62089GCM37 | 2010-12-08 | 2010-10-01 | 2011-01-31 | ug/L | 0.86912 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl | 0.32217 | TRIBUTYL_PHOSPHATE | . | 0.16 | 0.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86912 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.93108 | 0.095805 | 0.92144 | 0.14221 | 0.10542
TRIBUTYL PHOSPHATE | 1433 | 62089GCM37 | 2011-01-28 | 2010-10-01 | 2011-01-31 | ug/L | 0.92807 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl | 0.32325 | TRIBUTYL_PHOSPHATE | . | 0.16 | 0.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92807 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.93108 | 0.095805 | 0.92144 | 0.14221 | 0.10542
TRIBUTYL PHOSPHATE | 1433 | 62089GCM37 | 2011-03-09 | 2011-02-01 | 2011-09-30 | ug/L | 1.0063 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl | 0.80494 | TRIBUTYL_PHOSPHATE | . | 0.16 | 0.81 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0063 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.93108 | 0.095805 | 0.92144 | 0.14221 | 0.10542
TRIBUTYL PHOSPHATE | 1433 | 62089GCM37 | 2011-04-28 | 2011-02-01 | 2011-09-30 | ug/L | 0.92264 | Spex Organics | T1100706008 | Spex Organics T1100706008: 80 µl | 1.3006 | TRIBUTYL_PHOSPHATE | . | 0.16 | 1.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92264 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.93108 | 0.095805 | 0.92144 | 0.14221 | 0.10542
TRIBUTYL PHOSPHATE | 1433 | 62089GCM37 | 2011-07-22 | 2011-02-01 | 2011-09-30 | ug/L | 0.91923 | Spex Organics | T1100706008 | Spex Organics T1100706008: 80 µl | 1.3054 | TRIBUTYL_PHOSPHATE | . | 0.16 | 1.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91923 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.93108 | 0.095805 | 0.92144 | 0.14221 | 0.10542
TRIBUTYL PHOSPHATE | 1433 | 62089GCM37 | 2011-08-25 | 2011-02-01 | 2011-09-30 | ug/L | 1.0429 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl | 0.326 | TRIBUTYL_PHOSPHATE | . | 0.16 | 0.34 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0429 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.93108 | 0.095805 | 0.92144 | 0.14221 | 0.10542
TRIBUTYL PHOSPHATE | 1433 | 62089GCM37 | 2011-11-04 | 2011-10-01 | 2050-09-30 | ug/L | 0.89571 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl | 0.815 | TRIBUTYL_PHOSPHATE | . | 0.16 | 0.73 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89571 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.93108 | 0.095805 | 0.92144 | 0.14221 | 0.10542
TRIBUTYL PHOSPHATE | 1433 | 62089GCM37 | 2012-01-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.92025 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl | 0.326 | TRIBUTYL_PHOSPHATE | . | 0.16 | 0.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92025 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.93108 | 0.095805 | 0.92144 | 0.14221 | 0.10542
TRIBUTYL PHOSPHATE | 1433 | 62089GCM37 | 2012-02-16 | 2011-10-01 | 2050-09-30 | ug/L | 1.0675 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl | 0.815 | TRIBUTYL_PHOSPHATE | . | 0.16 | 0.87 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0675 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.93108 | 0.095805 | 0.92144 | 0.14221 | 0.10542
TRIBUTYL PHOSPHATE | 1433 | 62089GCM37 | 2012-03-09 | 2011-10-01 | 2050-09-30 | ug/L | 1.0429 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl | 0.326 | TRIBUTYL_PHOSPHATE | . | 0.16 | 0.34 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0429 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.93108 | 0.095805 | 0.92144 | 0.14221 | 0.10542
TRIBUTYL PHOSPHATE | 1433 | 62089GCM37 | 2012-05-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.78528 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl | 0.815 | TRIBUTYL_PHOSPHATE | . | 0.16 | 0.64 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78528 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.93108 | 0.095805 | 0.92144 | 0.14221 | 0.10542
TRIBUTYL PHOSPHATE | 1433 | 62089GCM37 | 2012-05-09 | 2011-10-01 | 2050-09-30 | ug/L | 0.77301 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl | 0.815 | TRIBUTYL_PHOSPHATE | . | 0.16 | 0.63 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77301 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.93108 | 0.095805 | 0.92144 | 0.14221 | 0.10542
TRIBUTYL PHOSPHATE | 1433 | 62089GCM37 | 2012-08-30 | 2011-10-01 | 2050-09-30 | ug/L | 1.0674 | Supelco, Accu | LB92784, 212051389 | Supelco LB92784: 10 µl & Accu 212051389: 10 µl | 0.1499 | TRIBUTYL_PHOSPHATE | . | 0.16 | 0.16 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.0674 | SuLB92784, Ac2121389 | Su | Ac | Ac | LB92784 | 2121389 | 2121389 |  | 2121389 | 2121389 | Y | Recoverable Result | Y | 1 |  | 3 | 0.88503 | 0.20249 | 0.92061 | 0.40027 | 0.29671
TRIBUTYL PHOSPHATE | 1433 | 62089GCM37 | 2013-01-23 | 2011-10-01 | 2050-09-30 | ug/L | 0.66711 | Supelco, Accu | LB92784, 212051389 | Supelco LB92784: 10 µl & Accu 212051389: 10 µl | 0.1499 | TRIBUTYL_PHOSPHATE | . | 0.16 | 0.1 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.66711 | SuLB92784, Ac2121389 | Su | Ac | Ac | LB92784 | 2121389 | 2121389 |  | 2121389 | 2121389 | Y | Recoverable Result | Y | 1 |  | 3 | 0.88503 | 0.20249 | 0.92061 | 0.40027 | 0.29671
TRIBUTYL PHOSPHATE | 1433 | 62089GCM37 | 2013-04-16 | 2011-10-01 | 2050-09-30 | ug/L | 0.92061 | Supelco, Accu | LB92784, 212051389 | Supelco LB92784: 50 µl & Accu 212051389: 50 µl | 0.7495 | TRIBUTYL_PHOSPHATE | . | 0.16 | 0.69 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92061 | SuLB92784, Ac2121389 | Su | Ac | Ac | LB92784 | 2121389 | 2121389 |  | 2121389 | 2121389 | Y | Recoverable Result | Y | 2 |  | 3 | 0.88503 | 0.20249 | 0.92061 | 0.40027 | 0.29671
TRIBUTYL PHOSPHATE | 1433 | 62089GCM37 | 2013-02-28 | 2011-10-01 | 2050-09-30 | ug/L | 0.93396 | Supelco, ERA | LB92784, 0507-12-05.2 | Supelco LB92784: 10 µl & ERA 0507-12-05.2: 10 µl | 0.1499 | TRIBUTYL_PHOSPHATE | . | 0.16 | 0.14 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.93396 | SuLB92784, ER05005.2 | Su | ER | ER | LB92784 | 05005.2 | 05005.2 |  | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 1 |  | 1 | 0.93396 |  | 0.93396 | 0 | 0
TRIBUTYL PHOSPHATE | 1433 | 62089GCM37 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.86 | Supelco, Accu | LB99396, 213041004 | Supelco LB99396: 20 µl & Accu 213041004: 20 µl | 0.5 | TRIBUTYL_PHOSPHATE | E | 0.16 | 0.43 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86 | SuLB99396, Ac2131004 | Su | Ac | Ac | LB99396 | 2131004 | 2131004 |  | 2131004 | 2131004 | Y | Estimated Values | Y | 2 |  | 1 | 0.86 |  | 0.86 | 0 | 0
TRIBUTYL PHOSPHATE | 1433 | 62089GCM37 | 2013-07-11 | 2011-10-01 | 2050-09-30 | ug/L | 0.848 | Supelco, ERA | LB99396, 0318-13-01.3 | Supelco LB99396: 50 µl & ERA 0318-13-01.3: 50 µl | 1.25 | TRIBUTYL_PHOSPHATE | . | 0.16 | 1.06 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.848 | SuLB99396, ER03101.3 | Su | ER | ER | LB99396 | 03101.3 | 03101.3 |  | 03101.3 | 03101.3 | Y | Recoverable Result | Y | 2 |  | 1 | 0.848 |  | 0.848 | 0 | 0
TRIBUTYL PHOSPHATE | 1433 | 62089GCM37 | 2008-03-31 | 2006-10-01 | 2009-09-30 | ug/L | 1.0195 | Supelco | LB50015 | Supelco LB50015: 25 µl | 0.91322 | TRIBUTYL_PHOSPHATE | . | 0.2 | 0.931 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0195 | Supelco LB50015 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 1.0023 | 0.086511 | 1.0195 | 0.14093 | 0.10447
TRIBUTYL PHOSPHATE | 1433 | 62089GCM37 | 2008-04-09 | 2006-10-01 | 2009-09-30 | ug/L | 0.96211 | Supelco | LB50015 | Supelco LB50015: 25 µl | 0.86996 | TRIBUTYL_PHOSPHATE | . | 0.2 | 0.837 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96211 | Supelco LB50015 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 1.0023 | 0.086511 | 1.0195 | 0.14093 | 0.10447
TRIBUTYL PHOSPHATE | 1433 | 62089GCM37 | 2008-04-21 | 2006-10-01 | 2009-09-30 | ug/L | 1.0271 | Supelco | LB50015 | Supelco LB50015: 25 µl | 0.8704 | TRIBUTYL_PHOSPHATE | . | 0.2 | 0.894 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0271 | Supelco LB50015 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 1.0023 | 0.086511 | 1.0195 | 0.14093 | 0.10447
TRIBUTYL PHOSPHATE | 1433 | 62089GCM37 | 2008-06-03 | 2006-10-01 | 2009-09-30 | ug/L | 1.0837 | Supelco | LB50015 | Supelco LB50015: 25 µl | 0.86461 | TRIBUTYL_PHOSPHATE | . | 0.2 | 0.937 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0837 | Supelco LB50015 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 1.0023 | 0.086511 | 1.0195 | 0.14093 | 0.10447
TRIBUTYL PHOSPHATE | 1433 | 62089GCM37 | 2008-08-07 | 2006-10-01 | 2009-09-30 | ug/L | 0.86416 | Supelco | LB50015 | Supelco LB50015: 25 µl | 0.86673 | TRIBUTYL_PHOSPHATE | . | 0.2 | 0.749 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86416 | Supelco LB50015 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 1.0023 | 0.086511 | 1.0195 | 0.14093 | 0.10447
TRIBUTYL PHOSPHATE | 1433 | 62089GCM37 | 2008-09-10 | 2006-10-01 | 2009-09-30 | ug/L | 1.1169 | Supelco | LB50015 | Supelco LB50015: 25 µl | 0.85686 | TRIBUTYL_PHOSPHATE | . | 0.2 | 0.957 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1169 | Supelco LB50015 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 1.0023 | 0.086511 | 1.0195 | 0.14093 | 0.10447
TRIBUTYL PHOSPHATE | 1433 | 62089GCM37 | 2008-09-24 | 2006-10-01 | 2009-09-30 | ug/L | 0.94279 | Supelco | LB50015 | Supelco LB50015: 25 µl | 0.85703 | TRIBUTYL_PHOSPHATE | E | 0.2 | 0.808 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94279 | Supelco LB50015 | [9 empty] | Y | Estimated Values | Y | 2 |  | 7 | 1.0023 | 0.086511 | 1.0195 | 0.14093 | 0.10447
TRIBUTYL PHOSPHATE | 1433 | 62089GCM37 | 2010-01-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.71341 | Ultra | CF-3634 | Ultra CF-3634: 40 µl | 0.53265 | TRIBUTYL_PHOSPHATE | . | 0.16 | 0.38 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71341 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.7476 | 0.083472 | 0.72228 | 0.076263 | 0.056533
TRIBUTYL PHOSPHATE | 1433 | 62089GCM37 | 2010-01-27 | 2009-10-01 | 2010-09-30 | ug/L | 0.86616 | Ultra | CF-3634 | Ultra CF-3634: 20 µl | 0.26554 | TRIBUTYL_PHOSPHATE | . | 0.16 | 0.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86616 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.7476 | 0.083472 | 0.72228 | 0.076263 | 0.056533
TRIBUTYL PHOSPHATE | 1433 | 62089GCM37 | 2010-03-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.78968 | Ultra | CF-3634 | Ultra CF-3634: 40 µl | 0.53186 | TRIBUTYL_PHOSPHATE | . | 0.16 | 0.42 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78968 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.7476 | 0.083472 | 0.72228 | 0.076263 | 0.056533
TRIBUTYL PHOSPHATE | 1433 | 62089GCM37 | 2010-04-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.64644 | Ultra | CF-3634 | Ultra CF-3634: 20 µl | 0.26298 | TRIBUTYL_PHOSPHATE | E | 0.16 | 0.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64644 | Ultra CF-3634 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.7476 | 0.083472 | 0.72228 | 0.076263 | 0.056533
TRIBUTYL PHOSPHATE | 1433 | 62089GCM37 | 2010-09-03 | 2009-10-01 | 2010-09-30 | ug/L | 0.72228 | Ultra | CF-3634 | Ultra CF-3634: 80 µl | 1.1353 | TRIBUTYL_PHOSPHATE | E | 0.16 | 0.82 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72228 | Ultra CF-3634 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.7476 | 0.083472 | 0.72228 | 0.076263 | 0.056533
TRIBUTYL PHOSPHATE | 1433 | 62089GCM37 | 2010-12-09 | 2010-10-01 | 2011-01-31 | ug/L | 0.66253 | Ultra | CG-2301 | Ultra CG-2301: 20 µl | 0.31697 | TRIBUTYL_PHOSPHATE | . | 0.16 | 0.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66253 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.89707 | 0.13969 | 0.92869 | 0.15337 | 0.11369
TRIBUTYL PHOSPHATE | 1433 | 62089GCM37 | 2010-12-16 | 2010-10-01 | 2011-01-31 | ug/L | 0.64917 | Ultra | CG-2301 | Ultra CG-2301: 80 µl | 1.2786 | TRIBUTYL_PHOSPHATE | E | 0.16 | 0.83 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64917 | Ultra CG-2301 | [9 empty] | Y | Estimated Values | Y | 2 |  | 13 | 0.89707 | 0.13969 | 0.92869 | 0.15337 | 0.11369
TRIBUTYL PHOSPHATE | 1433 | 62089GCM37 | 2011-04-06 | 2011-02-01 | 2011-09-30 | ug/L | 0.72677 | Ultra | CG-2301 | Ultra CG-2301: 20 µl | 0.33023 | TRIBUTYL_PHOSPHATE | . | 0.16 | 0.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72677 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.89707 | 0.13969 | 0.92869 | 0.15337 | 0.11369
TRIBUTYL PHOSPHATE | 1433 | 62089GCM37 | 2011-06-08 | 2011-02-01 | 2011-09-30 | ug/L | 0.92869 | Ultra | CG-2301 | Ultra CG-2301: 50 µl | 0.81836 | TRIBUTYL_PHOSPHATE | . | 0.16 | 0.76 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92869 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.89707 | 0.13969 | 0.92869 | 0.15337 | 0.11369
TRIBUTYL PHOSPHATE | 1433 | 62089GCM37 | 2011-06-29 | 2011-02-01 | 2011-09-30 | ug/L | 0.9708 | Ultra | CG-2301 | Ultra CG-2301: 20 µl | 0.32963 | TRIBUTYL_PHOSPHATE | . | 0.16 | 0.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9708 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.89707 | 0.13969 | 0.92869 | 0.15337 | 0.11369
TRIBUTYL PHOSPHATE | 1433 | 62089GCM37 | 2011-08-26 | 2011-02-01 | 2011-09-30 | ug/L | 1.0552 | Ultra | CG-2301 | Ultra CG-2301: 50 µl | 0.815 | TRIBUTYL_PHOSPHATE | . | 0.16 | 0.86 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0552 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.89707 | 0.13969 | 0.92869 | 0.15337 | 0.11369
TRIBUTYL PHOSPHATE | 1433 | 62089GCM37 | 2011-10-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.92025 | Ultra | CG-2301 | Ultra CG-2301: 80 µl | 1.304 | TRIBUTYL_PHOSPHATE | . | 0.16 | 1.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92025 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.89707 | 0.13969 | 0.92869 | 0.15337 | 0.11369
TRIBUTYL PHOSPHATE | 1433 | 62089GCM37 | 2011-10-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.93252 | Ultra | CG-2301 | Ultra CG-2301: 50 µl | 0.815 | TRIBUTYL_PHOSPHATE | . | 0.16 | 0.76 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93252 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.89707 | 0.13969 | 0.92869 | 0.15337 | 0.11369
TRIBUTYL PHOSPHATE | 1433 | 62089GCM37 | 2011-11-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.88957 | Ultra | CG-2301 | Ultra CG-2301: 20 µl | 0.326 | TRIBUTYL_PHOSPHATE | . | 0.16 | 0.29 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88957 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.89707 | 0.13969 | 0.92869 | 0.15337 | 0.11369
TRIBUTYL PHOSPHATE | 1433 | 62089GCM37 | 2012-02-08 | 2011-10-01 | 2050-09-30 | ug/L | 1.0429 | Ultra | CG-2301 | Ultra CG-2301: 50 µl | 0.815 | TRIBUTYL_PHOSPHATE | . | 0.16 | 0.85 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0429 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.89707 | 0.13969 | 0.92869 | 0.15337 | 0.11369
TRIBUTYL PHOSPHATE | 1433 | 62089GCM37 | 2012-02-16 | 2011-10-01 | 2050-09-30 | ug/L | 0.99693 | Ultra | CG-2301 | Ultra CG-2301: 80 µl | 1.304 | TRIBUTYL_PHOSPHATE | . | 0.16 | 1.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99693 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.89707 | 0.13969 | 0.92869 | 0.15337 | 0.11369
TRIBUTYL PHOSPHATE | 1433 | 62089GCM37 | 2012-04-11 | 2011-10-01 | 2050-09-30 | ug/L | 1.0429 | Ultra | CG-2301 | Ultra CG-2301: 20 µl | 0.326 | TRIBUTYL_PHOSPHATE | . | 0.16 | 0.34 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0429 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.89707 | 0.13969 | 0.92869 | 0.15337 | 0.11369
TRIBUTYL PHOSPHATE | 1433 | 62089GCM37 | 2012-06-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.84356 | Ultra | CG-2301 | Ultra CG-2301: 80 µl | 1.304 | TRIBUTYL_PHOSPHATE | . | 0.16 | 1.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84356 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.89707 | 0.13969 | 0.92869 | 0.15337 | 0.11369