## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
TRICLOSAN | 1433 | 62090GCM37 | 2013-08-21 | 2011-10-01 | 2050-09-30 | ug/L | 0.95163 | Abs, Accu | 040913WWF, 213041004 | Abs 040913WWF: 20 µl & Accu 213041004: 20 µl | 0.5044 | TRICLOSAN | . | 0.2 | 0.48 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95163 | Ab0403WWF, Ac2131004 | Ab | Ac | Ac | 0403WWF | 2131004 | 2131004 | 0403WWF | 2131004 | 2131004 | Y | Recoverable Result | Y | 2 |  | 1 | 0.95163 |  | 0.95163 | 0 | 0
TRICLOSAN | 1433 | 62090GCM37 | 2014-02-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.86 | Abs, ERA | 040913WWF, 0318-13-01.3 | Abs 040913WWF: 20 µl & ERA 0318-13-01.3: 20 µl | 0.5 | TRICLOSAN | . | 0.2 | 0.43 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86 | Ab0403WWF, ER03101.3 | Ab | ER | ER | 0403WWF | 03101.3 | 03101.3 | 0403WWF | 03101.3 | 03101.3 | Y | Recoverable Result | Y | 2 |  | 1 | 0.86 |  | 0.86 | 0 | 0
TRICLOSAN | 1433 | 62090GCM37 | 2012-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.19124 | Abs, Accu | 051112, 212051389 | Abs 051112: 100 µl & Accu 212051389: 100 µl | 5.02 | TRICLOSAN | . | 0.2 | 0.96 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.19124 | Ab051112, Ac2121389 | Ab | Ac | Ac | 051112 | 2121389 | 2121389 |  | 2121389 | 2121389 | Y | Recoverable Result | Y | 2 |  | 1 | 0.19124 |  | 0.19124 | 0 | 0
TRICLOSAN | 1433 | 62090GCM37 | 2009-01-08 | 2006-10-01 | 2009-09-30 | ug/L | 0.71463 | Abs | 080508WW | Abs 080508WW: 20 µl | 2.5328 | TRICLOSAN | . | 0.2 | 1.81 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71463 | Abs 080508WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.66708 | 0.077598 | 0.69587 | 0.063268 | 0.0469
TRICLOSAN | 1433 | 62090GCM37 | 2009-01-29 | 2006-10-01 | 2009-09-30 | ug/L | 0.51812 | Abs | 080508WW | Abs 080508WW: 20 µl | 2.6635 | TRICLOSAN | . | 0.2 | 1.38 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.51812 | Abs 080508WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.66708 | 0.077598 | 0.69587 | 0.063268 | 0.0469
TRICLOSAN | 1433 | 62090GCM37 | 2009-03-21 | 2006-10-01 | 2009-09-30 | ug/L | 0.71782 | Abs | 080508WW | Abs 080508WW: 40 µl | 5.2938 | TRICLOSAN | . | 0.2 | 3.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71782 | Abs 080508WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.66708 | 0.077598 | 0.69587 | 0.063268 | 0.0469
TRICLOSAN | 1433 | 62090GCM37 | 2009-05-28 | 2006-10-01 | 2009-09-30 | ug/L | 0.72023 | Abs | 080508WW | Abs 080508WW: 20 µl | 2.4992 | TRICLOSAN | . | 0.2 | 1.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72023 | Abs 080508WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.66708 | 0.077598 | 0.69587 | 0.063268 | 0.0469
TRICLOSAN | 1433 | 62090GCM37 | 2009-08-06 | 2006-10-01 | 2009-09-30 | ug/L | 0.65455 | Abs | 080508WW | Abs 080508WW: 40 µl | 5.0416 | TRICLOSAN | . | 0.2 | 3.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65455 | Abs 080508WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.66708 | 0.077598 | 0.69587 | 0.063268 | 0.0469
TRICLOSAN | 1433 | 62090GCM37 | 2009-10-09 | 2009-10-01 | 2010-09-30 | ug/L | 0.6771 | Abs | 080508WW | Abs 080508WW: 20 µl | 2.5107 | TRICLOSAN | . | 0.2 | 1.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6771 | Abs 080508WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.66708 | 0.077598 | 0.69587 | 0.063268 | 0.0469
TRICLOSAN | 1433 | 62090GCM37 | 2010-01-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.6601 | ChemService | 480-95B | ChemService 480-95B: 40 µl | 0.72716 | TRICLOSAN | . | 0.2 | 0.48 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6601 | ChemService 480-95B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.71469 | 0.1286 | 0.66563 | 0.14681 | 0.10883
TRICLOSAN | 1433 | 62090GCM37 | 2010-02-23 | 2009-10-01 | 2010-09-30 | ug/L | 0.67115 | ChemService | 480-95B | ChemService 480-95B: 80 µl | 1.49 | TRICLOSAN | . | 0.2 | 1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67115 | ChemService 480-95B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.71469 | 0.1286 | 0.66563 | 0.14681 | 0.10883
TRICLOSAN | 1433 | 62090GCM37 | 2010-06-03 | 2009-10-01 | 2010-09-30 | ug/L | 0.62246 | ChemService | 480-95B | ChemService 480-95B: 20 µl | 0.3695 | TRICLOSAN | . | 0.2 | 0.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62246 | ChemService 480-95B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.71469 | 0.1286 | 0.66563 | 0.14681 | 0.10883
TRICLOSAN | 1433 | 62090GCM37 | 2010-10-14 | 2010-10-01 | 2011-01-31 | ug/L | 0.90503 | ChemService | 480-95B | ChemService 480-95B: 20 µl | 0.36463 | TRICLOSAN | . | 0.2 | 0.33 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90503 | ChemService 480-95B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.71469 | 0.1286 | 0.66563 | 0.14681 | 0.10883
TRICLOSAN | 1433 | 62090GCM37 | 2013-08-20 | 2011-10-01 | 2050-09-30 | ug/L | 1.0309 | Crescent, Accu | 04CC145, 213041004 | Crescent 04CC145: 20 µl & Accu 213041004: 20 µl | 0.5044 | TRICLOSAN | . | 0.2 | 0.52 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0309 | Cr04CC145, Ac2131004 | Cr | Ac | Ac | 04CC145 | 2131004 | 2131004 |  | 2131004 | 2131004 | Y | Recoverable Result | Y | 2 |  | 1 | 1.0309 |  | 1.0309 | 0 | 0
TRICLOSAN | 1433 | 62090GCM37 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.752 | Crescent, ERA | 04CC145, 0318-13-01.3 | Crescent 04CC145: 50 µl & ERA 0318-13-01.3: 50 µl | 1.25 | TRICLOSAN | . | 0.2 | 0.94 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.752 | Cr04CC145, ER03101.3 | Cr | ER | ER | 04CC145 | 03101.3 | 03101.3 |  | 03101.3 | 03101.3 | Y | Recoverable Result | Y | 2 |  | 1 | 0.752 |  | 0.752 | 0 | 0
TRICLOSAN | 1433 | 62090GCM37 | 2012-10-11 | 2011-10-01 | 2050-09-30 | ug/L | 0.67729 | Crescent, Accu | 05BB047, 212051389 | Crescent 05BB047: 50 µl & Accu 212051389: 50 µl | 2.51 | TRICLOSAN | . | 0.2 | 1.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67729 | Cr05BB047, Ac2121389 | Cr | Ac | Ac | 05BB047 | 2121389 | 2121389 |  | 2121389 | 2121389 | Y | Recoverable Result | Y | 2 |  | 1 | 0.67729 |  | 0.67729 | 0 | 0
TRICLOSAN | 1433 | 62090GCM37 | 2013-01-23 | 2011-10-01 | 2050-09-30 | ug/L | 0.49505 | Crescent, ERA | 05BB047, 0507-12-05.2 | Crescent 05BB047: 10 µl & ERA 0507-12-05.2: 10 µl | 0.505 | TRICLOSAN | . | 0.2 | 0.25 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.49505 | Cr05BB047, ER05005.2 | Cr | ER | ER | 05BB047 | 05005.2 | 05005.2 |  | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.56436 | 0.098015 | 0.56436 | 0.13861 | 0.10275
TRICLOSAN | 1433 | 62090GCM37 | 2013-05-15 | 2011-10-01 | 2050-09-30 | ug/L | 0.63366 | Crescent, ERA | 05BB047, 0507-12-05.2 | Crescent 05BB047: 50 µl & ERA 0507-12-05.2: 50 µl | 2.525 | TRICLOSAN | . | 0.2 | 1.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63366 | Cr05BB047, ER05005.2 | Cr | ER | ER | 05BB047 | 05005.2 | 05005.2 |  | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.56436 | 0.098015 | 0.56436 | 0.13861 | 0.10275
TRICLOSAN | 1433 | 62090GCM37 | 2012-10-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.83168 | ERA | 0507-12-05.2 | ERA 0507-12-05.2: 50 µl | 2.525 | TRICLOSAN | . | 0.2 | 2.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83168 | ERA 0507-12-05.2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.83168 |  | 0.83168 | 0 | 0
TRICLOSAN | 1433 | 62090GCM37 | 2009-01-28 | 2006-10-01 | 2009-09-30 | ug/L | 0.57275 | ERA | 0804-08-02WW | ERA 0804-08-02WW: 40 µl | 5.0633 | TRICLOSAN | E | 0.2 | 2.9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57275 | ERA 0804-08-02WW | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.72466 | 0.10865 | 0.73846 | 0.15611 | 0.11572
TRICLOSAN | 1433 | 62090GCM37 | 2009-03-05 | 2006-10-01 | 2009-09-30 | ug/L | 0.69693 | ERA | 0804-08-02WW | ERA 0804-08-02WW: 20 µl | 2.5828 | TRICLOSAN | . | 0.2 | 1.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69693 | ERA 0804-08-02WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.72466 | 0.10865 | 0.73846 | 0.15611 | 0.11572
TRICLOSAN | 1433 | 62090GCM37 | 2009-04-23 | 2006-10-01 | 2009-09-30 | ug/L | 0.78 | ERA | 0804-08-02WW | ERA 0804-08-02WW: 20 µl | 2.5641 | TRICLOSAN | . | 0.2 | 2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78 | ERA 0804-08-02WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.72466 | 0.10865 | 0.73846 | 0.15611 | 0.11572
TRICLOSAN | 1433 | 62090GCM37 | 2009-07-02 | 2006-10-01 | 2009-09-30 | ug/L | 0.79452 | ERA | 0804-08-02WW | ERA 0804-08-02WW: 20 µl | 2.5172 | TRICLOSAN | . | 0.2 | 2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79452 | ERA 0804-08-02WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.72466 | 0.10865 | 0.73846 | 0.15611 | 0.11572
TRICLOSAN | 1433 | 62090GCM37 | 2009-09-29 | 2006-10-01 | 2009-09-30 | ug/L | 0.86538 | ERA | 0804-08-02WW | ERA 0804-08-02WW: 40 µl | 4.9689 | TRICLOSAN | . | 0.2 | 4.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86538 | ERA 0804-08-02WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.72466 | 0.10865 | 0.73846 | 0.15611 | 0.11572
TRICLOSAN | 1433 | 62090GCM37 | 2009-10-22 | 2009-10-01 | 2010-09-30 | ug/L | 0.63841 | ERA | 0804-08-02WW | ERA 0804-08-02WW: 20 µl | 2.5062 | TRICLOSAN | . | 0.2 | 1.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63841 | ERA 0804-08-02WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.72466 | 0.10865 | 0.73846 | 0.15611 | 0.11572
TRICLOSAN | 1433 | 62090GCM37 | 2009-11-04 | 2009-10-01 | 2010-09-30 | ug/L | 1.1053 | NSI | 083109-01WW | NSI 083109-01WW: 20 µl | 0.37093 | TRICLOSAN | . | 0.2 | 0.41 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1053 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.75659 | 0.21311 | 0.66332 | 0.17759 | 0.13165
TRICLOSAN | 1433 | 62090GCM37 | 2010-02-03 | 2009-10-01 | 2010-09-30 | ug/L | 0.80822 | NSI | 083109-01WW | NSI 083109-01WW: 20 µl | 0.35881 | TRICLOSAN | . | 0.2 | 0.29 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80822 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.75659 | 0.21311 | 0.66332 | 0.17759 | 0.13165
TRICLOSAN | 1433 | 62090GCM37 | 2010-03-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.57545 | NSI | 083109-01WW | NSI 083109-01WW: 40 µl | 0.72987 | TRICLOSAN | . | 0.2 | 0.42 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57545 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.75659 | 0.21311 | 0.66332 | 0.17759 | 0.13165
TRICLOSAN | 1433 | 62090GCM37 | 2010-03-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.63063 | NSI | 083109-01WW | NSI 083109-01WW: 80 µl | 1.4589 | TRICLOSAN | . | 0.2 | 0.92 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63063 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.75659 | 0.21311 | 0.66332 | 0.17759 | 0.13165
TRICLOSAN | 1433 | 62090GCM37 | 2010-06-29 | 2009-10-01 | 2010-09-30 | ug/L | 0.66332 | NSI | 083109-01WW | NSI 083109-01WW: 40 µl | 0.75379 | TRICLOSAN | . | 0.2 | 0.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66332 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.75659 | 0.21311 | 0.66332 | 0.17759 | 0.13165
TRICLOSAN | 1433 | 62090GCM37 | 2008-04-21 | 2006-10-01 | 2009-09-30 | ug/L | 1.5009 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.61964 | TRICLOSAN | E | 0.2 | 0.93 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.5009 | NWQL BNA2SP053B | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 1.0362 | 0.23305 | 0.97185 | 0.1032 | 0.076499
TRICLOSAN | 1433 | 62090GCM37 | 2008-07-12 | 2006-10-01 | 2009-09-30 | ug/L | 0.87007 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.5988 | TRICLOSAN | . | 0.2 | 0.521 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87007 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0362 | 0.23305 | 0.97185 | 0.1032 | 0.076499
TRICLOSAN | 1433 | 62090GCM37 | 2008-09-17 | 2006-10-01 | 2009-09-30 | ug/L | 0.89976 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.58904 | TRICLOSAN | . | 0.2 | 0.53 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89976 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0362 | 0.23305 | 0.97185 | 0.1032 | 0.076499
TRICLOSAN | 1433 | 62090GCM37 | 2009-04-02 | 2006-10-01 | 2009-09-30 | ug/L | 1.003 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.62814 | TRICLOSAN | . | 0.2 | 0.63 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.003 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0362 | 0.23305 | 0.97185 | 0.1032 | 0.076499
TRICLOSAN | 1433 | 62090GCM37 | 2009-05-06 | 2006-10-01 | 2009-09-30 | ug/L | 0.97606 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.60447 | TRICLOSAN | . | 0.2 | 0.59 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97606 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0362 | 0.23305 | 0.97185 | 0.1032 | 0.076499
TRICLOSAN | 1433 | 62090GCM37 | 2009-07-30 | 2006-10-01 | 2009-09-30 | ug/L | 0.96763 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.5994 | TRICLOSAN | . | 0.2 | 0.58 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96763 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0362 | 0.23305 | 0.97185 | 0.1032 | 0.076499
TRICLOSAN | 1433 | 62090GCM37 | 2009-03-06 | 2006-10-01 | 2009-09-30 | ug/L | 1.0775 | NWQL | BNA2SP071C | NWQL BNA2SP071C: 75 µl | 0.62183 | TRICLOSAN | . | 0.2 | 0.67 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0775 | NWQL BNA2SP071C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 1.0775 |  | 1.0775 | 0 | 0
TRICLOSAN | 1433 | 62090GCM37 | 2010-06-04 | 2009-10-01 | 2010-09-30 | ug/L | 0.83467 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 1.9169 | TRICLOSAN | . | 0.2 | 1.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83467 | NWQL BNA2SP094D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.75821 | 0.10812 | 0.75821 | 0.15291 | 0.11335
TRICLOSAN | 1433 | 62090GCM37 | 2010-08-31 | 2009-10-01 | 2010-09-30 | ug/L | 0.68176 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 1.9068 | TRICLOSAN | E | 0.2 | 1.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68176 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.75821 | 0.10812 | 0.75821 | 0.15291 | 0.11335
TRICLOSAN | 1433 | 62090GCM37 | 2011-06-08 | 2011-02-01 | 2011-09-30 | ug/L | 1.0911 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 20 µl | 0.64154 | TRICLOSAN | . | 0.2 | 0.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0911 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.97005 | 0.090913 | 0.95703 | 0.12759 | 0.094584
TRICLOSAN | 1433 | 62090GCM37 | 2011-08-02 | 2011-02-01 | 2011-09-30 | ug/L | 0.97656 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 2.56 | TRICLOSAN | . | 0.2 | 2.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97656 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.97005 | 0.090913 | 0.95703 | 0.12759 | 0.094584
TRICLOSAN | 1433 | 62090GCM37 | 2011-08-26 | 2011-02-01 | 2011-09-30 | ug/L | 0.875 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 1.6 | TRICLOSAN | . | 0.2 | 1.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.875 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.97005 | 0.090913 | 0.95703 | 0.12759 | 0.094584
TRICLOSAN | 1433 | 62090GCM37 | 2011-11-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.9375 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 1.6 | TRICLOSAN | . | 0.2 | 1.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9375 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.97005 | 0.090913 | 0.95703 | 0.12759 | 0.094584
TRICLOSAN | 1433 | 62090GCM37 | 2012-10-11 | 2011-10-01 | 2050-09-30 | ug/L | 0.69721 | Spex Organics, Accu | T1120521009, 212051389 | Spex Organics T1120521009: 20 µl & Accu 212051389: 20 µl | 1.004 | TRICLOSAN | . | 0.2 | 0.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69721 | SpT111009, Ac2121389 | Sp | Ac | Ac | T111009 | 2121389 | 2121389 | T111009 | 2121389 | 2121389 | Y | Recoverable Result | Y | 2 |  | 1 | 0.69721 |  | 0.69721 | 0 | 0
TRICLOSAN | 1433 | 62090GCM37 | 2012-08-30 | 2011-10-01 | 2050-09-30 | ug/L | 0.91089 | Spex Organics, ERA | T1120521009, 0507-12-05.2 | Spex Organics T1120521009: 10 µl & ERA 0507-12-05.2: 10 µl | 0.505 | TRICLOSAN | . | 0.2 | 0.46 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91089 | SpT111009, ER05005.2 | Sp | ER | ER | T111009 | 05005.2 | 05005.2 | T111009 | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 3 | 0.83168 | 0.10478 | 0.87129 | 0.19802 | 0.14679
TRICLOSAN | 1433 | 62090GCM37 | 2012-12-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.87129 | Spex Organics, ERA | T1120521009, 0507-12-05.2 | Spex Organics T1120521009: 100 µl & ERA 0507-12-05.2: 100 µl | 5.05 | TRICLOSAN | E | 0.2 | 4.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87129 | SpT111009, ER05005.2 | Sp | ER | ER | T111009 | 05005.2 | 05005.2 | T111009 | 05005.2 | 05005.2 | Y | Estimated Values | Y | 2 |  | 3 | 0.83168 | 0.10478 | 0.87129 | 0.19802 | 0.14679
TRICLOSAN | 1433 | 62090GCM37 | 2013-02-28 | 2011-10-01 | 2050-09-30 | ug/L | 0.71287 | Spex Organics, ERA | T1120521009, 0507-12-05.2 | Spex Organics T1120521009: 50 µl & ERA 0507-12-05.2: 50 µl | 2.525 | TRICLOSAN | . | 0.2 | 1.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71287 | SpT111009, ER05005.2 | Sp | ER | ER | T111009 | 05005.2 | 05005.2 | T111009 | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 3 | 0.83168 | 0.10478 | 0.87129 | 0.19802 | 0.14679
TRICLOSAN | 1433 | 62090GCM37 | 2010-12-08 | 2010-10-01 | 2011-01-31 | ug/L | 0.93846 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl | 0.49017 | TRICLOSAN | . | 0.2 | 0.46 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93846 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.98405 | 0.20857 | 0.96774 | 0.17583 | 0.13034
TRICLOSAN | 1433 | 62090GCM37 | 2011-01-28 | 2010-10-01 | 2011-01-31 | ug/L | 1.1996 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl | 0.49182 | TRICLOSAN | . | 0.2 | 0.59 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1996 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.98405 | 0.20857 | 0.96774 | 0.17583 | 0.13034
TRICLOSAN | 1433 | 62090GCM37 | 2011-03-09 | 2011-02-01 | 2011-09-30 | ug/L | 0.97984 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl | 1.2247 | TRICLOSAN | . | 0.2 | 1.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97984 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.98405 | 0.20857 | 0.96774 | 0.17583 | 0.13034
TRICLOSAN | 1433 | 62090GCM37 | 2011-04-28 | 2011-02-01 | 2011-09-30 | ug/L | 0.85908 | Spex Organics | T1100706008 | Spex Organics T1100706008: 80 µl | 1.9789 | TRICLOSAN | . | 0.2 | 1.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85908 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.98405 | 0.20857 | 0.96774 | 0.17583 | 0.13034
TRICLOSAN | 1433 | 62090GCM37 | 2011-07-22 | 2011-02-01 | 2011-09-30 | ug/L | 0.95661 | Spex Organics | T1100706008 | Spex Organics T1100706008: 80 µl | 1.9862 | TRICLOSAN | . | 0.2 | 1.9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95661 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.98405 | 0.20857 | 0.96774 | 0.17583 | 0.13034
TRICLOSAN | 1433 | 62090GCM37 | 2011-08-25 | 2011-02-01 | 2011-09-30 | ug/L | 1.1694 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl | 0.496 | TRICLOSAN | . | 0.2 | 0.58 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1694 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.98405 | 0.20857 | 0.96774 | 0.17583 | 0.13034
TRICLOSAN | 1433 | 62090GCM37 | 2011-11-04 | 2011-10-01 | 2050-09-30 | ug/L | 0.96774 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl | 1.24 | TRICLOSAN | . | 0.2 | 1.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96774 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.98405 | 0.20857 | 0.96774 | 0.17583 | 0.13034
TRICLOSAN | 1433 | 62090GCM37 | 2012-01-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.96774 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl | 0.496 | TRICLOSAN | . | 0.2 | 0.48 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96774 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.98405 | 0.20857 | 0.96774 | 0.17583 | 0.13034
TRICLOSAN | 1433 | 62090GCM37 | 2012-02-16 | 2011-10-01 | 2050-09-30 | ug/L | 0.96774 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl | 1.24 | TRICLOSAN | . | 0.2 | 1.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96774 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.98405 | 0.20857 | 0.96774 | 0.17583 | 0.13034
TRICLOSAN | 1433 | 62090GCM37 | 2012-03-09 | 2011-10-01 | 2050-09-30 | ug/L | 1.4315 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl | 0.496 | TRICLOSAN | . | 0.2 | 0.71 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4315 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.98405 | 0.20857 | 0.96774 | 0.17583 | 0.13034
TRICLOSAN | 1433 | 62090GCM37 | 2012-05-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.68548 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl | 1.24 | TRICLOSAN | . | 0.2 | 0.85 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68548 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.98405 | 0.20857 | 0.96774 | 0.17583 | 0.13034
TRICLOSAN | 1433 | 62090GCM37 | 2012-05-09 | 2011-10-01 | 2050-09-30 | ug/L | 0.68548 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl | 1.24 | TRICLOSAN | . | 0.2 | 0.85 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68548 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.98405 | 0.20857 | 0.96774 | 0.17583 | 0.13034
TRICLOSAN | 1433 | 62090GCM37 | 2012-08-30 | 2011-10-01 | 2050-09-30 | ug/L | 0.9761 | Supelco, Accu | LB92784, 212051389 | Supelco LB92784: 10 µl & Accu 212051389: 10 µl | 0.502 | TRICLOSAN | . | 0.2 | 0.49 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9761 | SuLB92784, Ac2121389 | Su | Ac | Ac | LB92784 | 2121389 | 2121389 |  | 2121389 | 2121389 | Y | Recoverable Result | Y | 2 |  | 3 | 0.79681 | 0.17928 | 0.79681 | 0.35857 | 0.2658
TRICLOSAN | 1433 | 62090GCM37 | 2013-01-23 | 2011-10-01 | 2050-09-30 | ug/L | 0.61753 | Supelco, Accu | LB92784, 212051389 | Supelco LB92784: 10 µl & Accu 212051389: 10 µl | 0.502 | TRICLOSAN | . | 0.2 | 0.31 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61753 | SuLB92784, Ac2121389 | Su | Ac | Ac | LB92784 | 2121389 | 2121389 |  | 2121389 | 2121389 | Y | Recoverable Result | Y | 2 |  | 3 | 0.79681 | 0.17928 | 0.79681 | 0.35857 | 0.2658
TRICLOSAN | 1433 | 62090GCM37 | 2013-04-16 | 2011-10-01 | 2050-09-30 | ug/L | 0.79681 | Supelco, Accu | LB92784, 212051389 | Supelco LB92784: 50 µl & Accu 212051389: 50 µl | 2.51 | TRICLOSAN | . | 0.2 | 2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79681 | SuLB92784, Ac2121389 | Su | Ac | Ac | LB92784 | 2121389 | 2121389 |  | 2121389 | 2121389 | Y | Recoverable Result | Y | 2 |  | 3 | 0.79681 | 0.17928 | 0.79681 | 0.35857 | 0.2658
TRICLOSAN | 1433 | 62090GCM37 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.63442 | Supelco, Accu | LB99396, 213041004 | Supelco LB99396: 20 µl & Accu 213041004: 20 µl | 0.5044 | TRICLOSAN | . | 0.2 | 0.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63442 | SuLB99396, Ac2131004 | Su | Ac | Ac | LB99396 | 2131004 | 2131004 |  | 2131004 | 2131004 | Y | Recoverable Result | Y | 2 |  | 1 | 0.63442 |  | 0.63442 | 0 | 0
TRICLOSAN | 1433 | 62090GCM37 | 2013-07-11 | 2011-10-01 | 2050-09-30 | ug/L | 1.024 | Supelco, ERA | LB99396, 0318-13-01.3 | Supelco LB99396: 50 µl & ERA 0318-13-01.3: 50 µl | 1.25 | TRICLOSAN | . | 0.2 | 1.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.024 | SuLB99396, ER03101.3 | Su | ER | ER | LB99396 | 03101.3 | 03101.3 |  | 03101.3 | 03101.3 | Y | Recoverable Result | Y | 2 |  | 1 | 1.024 |  | 1.024 | 0 | 0
TRICLOSAN | 1433 | 62090GCM37 | 2008-03-31 | 2006-10-01 | 2009-09-30 | ug/L | 0.8948 | Supelco | LB50015 | Supelco LB50015: 25 µl | 1.5981 | TRICLOSAN | . | 0.2 | 1.43 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8948 | Supelco LB50015 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.71778 | 0.19669 | 0.74224 | 0.28363 | 0.21025
TRICLOSAN | 1433 | 62090GCM37 | 2008-04-09 | 2006-10-01 | 2009-09-30 | ug/L | 0.74224 | Supelco | LB50015 | Supelco LB50015: 25 µl | 1.5224 | TRICLOSAN | . | 0.2 | 1.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74224 | Supelco LB50015 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.71778 | 0.19669 | 0.74224 | 0.28363 | 0.21025
TRICLOSAN | 1433 | 62090GCM37 | 2008-04-21 | 2006-10-01 | 2009-09-30 | ug/L | 0.98477 | Supelco | LB50015 | Supelco LB50015: 25 µl | 1.5232 | TRICLOSAN | . | 0.2 | 1.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98477 | Supelco LB50015 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.71778 | 0.19669 | 0.74224 | 0.28363 | 0.21025
TRICLOSAN | 1433 | 62090GCM37 | 2008-06-03 | 2006-10-01 | 2009-09-30 | ug/L | 0.77987 | Supelco | LB50015 | Supelco LB50015: 25 µl | 1.5131 | TRICLOSAN | . | 0.2 | 1.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77987 | Supelco LB50015 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.71778 | 0.19669 | 0.74224 | 0.28363 | 0.21025
TRICLOSAN | 1433 | 62090GCM37 | 2008-08-07 | 2006-10-01 | 2009-09-30 | ug/L | 0.61116 | Supelco | LB50015 | Supelco LB50015: 25 µl | 1.5168 | TRICLOSAN | . | 0.2 | 0.927 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61116 | Supelco LB50015 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.71778 | 0.19669 | 0.74224 | 0.28363 | 0.21025
TRICLOSAN | 1433 | 62090GCM37 | 2008-09-10 | 2006-10-01 | 2009-09-30 | ug/L | 0.61487 | Supelco | LB50015 | Supelco LB50015: 25 µl | 1.4995 | TRICLOSAN | E | 0.2 | 0.922 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61487 | Supelco LB50015 | [9 empty] | Y | Estimated Values | Y | 2 |  | 7 | 0.71778 | 0.19669 | 0.74224 | 0.28363 | 0.21025
TRICLOSAN | 1433 | 62090GCM37 | 2008-09-24 | 2006-10-01 | 2009-09-30 | ug/L | 0.39672 | Supelco | LB50015 | Supelco LB50015: 25 µl | 1.4998 | TRICLOSAN | E | 0.2 | 0.595 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.39672 | Supelco LB50015 | [9 empty] | Y | Estimated Values | Y | 2 |  | 7 | 0.71778 | 0.19669 | 0.74224 | 0.28363 | 0.21025
TRICLOSAN | 1433 | 62090GCM37 | 2010-12-09 | 2010-10-01 | 2011-01-31 | ug/L | 0.53913 | Ultra | CG-2301 | Ultra CG-2301: 20 µl | 0.48226 | TRICLOSAN | . | 0.2 | 0.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.53913 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.91693 | 0.20382 | 0.93545 | 0.36056 | 0.26728
TRICLOSAN | 1433 | 62090GCM37 | 2010-12-16 | 2010-10-01 | 2011-01-31 | ug/L | 0.87391 | Ultra | CG-2301 | Ultra CG-2301: 80 µl | 1.9453 | TRICLOSAN | . | 0.2 | 1.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87391 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.91693 | 0.20382 | 0.93545 | 0.36056 | 0.26728
TRICLOSAN | 1433 | 62090GCM37 | 2011-04-06 | 2011-02-01 | 2011-09-30 | ug/L | 0.93545 | Ultra | CG-2301 | Ultra CG-2301: 20 µl | 0.50243 | TRICLOSAN | . | 0.2 | 0.47 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93545 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.91693 | 0.20382 | 0.93545 | 0.36056 | 0.26728
TRICLOSAN | 1433 | 62090GCM37 | 2011-06-08 | 2011-02-01 | 2011-09-30 | ug/L | 1.1244 | Ultra | CG-2301 | Ultra CG-2301: 50 µl | 1.2451 | TRICLOSAN | . | 0.2 | 1.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1244 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.91693 | 0.20382 | 0.93545 | 0.36056 | 0.26728
TRICLOSAN | 1433 | 62090GCM37 | 2011-06-29 | 2011-02-01 | 2011-09-30 | ug/L | 1.1166 | Ultra | CG-2301 | Ultra CG-2301: 20 µl | 0.50152 | TRICLOSAN | . | 0.2 | 0.56 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1166 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.91693 | 0.20382 | 0.93545 | 0.36056 | 0.26728
TRICLOSAN | 1433 | 62090GCM37 | 2011-08-26 | 2011-02-01 | 2011-09-30 | ug/L | 0.96774 | Ultra | CG-2301 | Ultra CG-2301: 50 µl | 1.24 | TRICLOSAN | . | 0.2 | 1.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96774 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.91693 | 0.20382 | 0.93545 | 0.36056 | 0.26728
TRICLOSAN | 1433 | 62090GCM37 | 2011-10-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.75605 | Ultra | CG-2301 | Ultra CG-2301: 80 µl | 1.984 | TRICLOSAN | . | 0.2 | 1.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75605 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.91693 | 0.20382 | 0.93545 | 0.36056 | 0.26728
TRICLOSAN | 1433 | 62090GCM37 | 2011-10-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.67742 | Ultra | CG-2301 | Ultra CG-2301: 50 µl | 1.24 | TRICLOSAN | . | 0.2 | 0.84 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67742 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.91693 | 0.20382 | 0.93545 | 0.36056 | 0.26728
TRICLOSAN | 1433 | 62090GCM37 | 2011-11-08 | 2011-10-01 | 2050-09-30 | ug/L | 1.0484 | Ultra | CG-2301 | Ultra CG-2301: 20 µl | 0.496 | TRICLOSAN | . | 0.2 | 0.52 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0484 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.91693 | 0.20382 | 0.93545 | 0.36056 | 0.26728
TRICLOSAN | 1433 | 62090GCM37 | 2012-02-08 | 2011-10-01 | 2050-09-30 | ug/L | 1.129 | Ultra | CG-2301 | Ultra CG-2301: 50 µl | 1.24 | TRICLOSAN | . | 0.2 | 1.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.129 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.91693 | 0.20382 | 0.93545 | 0.36056 | 0.26728
TRICLOSAN | 1433 | 62090GCM37 | 2012-02-16 | 2011-10-01 | 2050-09-30 | ug/L | 0.85685 | Ultra | CG-2301 | Ultra CG-2301: 80 µl | 1.984 | TRICLOSAN | . | 0.2 | 1.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85685 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.91693 | 0.20382 | 0.93545 | 0.36056 | 0.26728
TRICLOSAN | 1433 | 62090GCM37 | 2012-04-11 | 2011-10-01 | 2050-09-30 | ug/L | 1.1895 | Ultra | CG-2301 | Ultra CG-2301: 20 µl | 0.496 | TRICLOSAN | . | 0.2 | 0.59 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1895 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.91693 | 0.20382 | 0.93545 | 0.36056 | 0.26728
TRICLOSAN | 1433 | 62090GCM37 | 2012-06-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.70565 | Ultra | CG-2301 | Ultra CG-2301: 80 µl | 1.984 | TRICLOSAN | . | 0.2 | 1.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70565 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.91693 | 0.20382 | 0.93545 | 0.36056 | 0.26728