## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
TRIETHYL CITRATE (ETHYL CITRATE) | 1433 | 62091GCM37 | 2013-08-21 | 2011-10-01 | 2050-09-30 | ug/L | 0.77954 | Abs, Accu | 040913WWF, 213041004 | Abs 040913WWF: 20 µl & Accu 213041004: 20 µl | 0.6414 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | . | 0.16 | 0.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77954 | Ab0403WWF, Ac2131004 | Ab | Ac | Ac | 0403WWF | 2131004 | 2131004 | 0403WWF | 2131004 | 2131004 | Y | Recoverable Result | Y | 2 |  | 1 | 0.77954 |  | 0.77954 | 0 | 0
TRIETHYL CITRATE (ETHYL CITRATE) | 1433 | 62091GCM37 | 2014-02-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.686 | Abs, ERA | 040913WWF, 0318-13-01.3 | Abs 040913WWF: 20 µl & ERA 0318-13-01.3: 20 µl | 0.6414 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | . | 0.16 | 0.44 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.686 | Ab0403WWF, ER03101.3 | Ab | ER | ER | 0403WWF | 03101.3 | 03101.3 | 0403WWF | 03101.3 | 03101.3 | Y | Recoverable Result | Y | 2 |  | 1 | 0.686 |  | 0.686 | 0 | 0
TRIETHYL CITRATE (ETHYL CITRATE) | 1433 | 62091GCM37 | 2013-06-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.73277 | Crescent, Abs | 04CC145, 040913WWF | Crescent 04CC145: 20 µl & Abs 040913WWF: 20 µl | 0.6414 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | . | 0.16 | 0.47 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73277 | Cr04CC145, Ab0403WWF | Cr | Ab | Ab | 04CC145 | 0403WWF | 0403WWF |  | 0403WWF | 0403WWF | Y | Recoverable Result | Y | 2 |  | 1 | 0.73277 |  | 0.73277 | 0 | 0
TRIETHYL CITRATE (ETHYL CITRATE) | 1433 | 62091GCM37 | 2013-06-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.3127 | Crescent, Supelco | 04CC145, LB99396 | Crescent 04CC145: 20 µl & Supelco LB99396: 20 µl | 0.6396 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | . | 0.16 | 0.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.3127 | Cr04CC145, SuLB99396 | Cr | Su | Su | 04CC145 | LB99396 | LB99396 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.3127 |  | 0.3127 | 0 | 0
TRIETHYL CITRATE (ETHYL CITRATE) | 1433 | 62091GCM37 | 2013-01-23 | 2011-10-01 | 2050-09-30 | ug/L | 0.51961 | Crescent, ERA | 05BB047, 0507-12-05.2 | Crescent 05BB047: 10 µl & ERA 0507-12-05.2: 10 µl | 0.102 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | . | 0.16 | 0.053 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.51961 | Cr05BB047, ER05005.2 | Cr | ER | ER | 05BB047 | 05005.2 | 05005.2 |  | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 1 |  | 2 | 0.62255 | 0.14558 | 0.62255 | 0.20588 | 0.15262
TRIETHYL CITRATE (ETHYL CITRATE) | 1433 | 62091GCM37 | 2013-05-15 | 2011-10-01 | 2050-09-30 | ug/L | 0.72549 | Crescent, ERA | 05BB047, 0507-12-05.2 | Crescent 05BB047: 50 µl & ERA 0507-12-05.2: 50 µl | 0.51 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | . | 0.16 | 0.37 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72549 | Cr05BB047, ER05005.2 | Cr | ER | ER | 05BB047 | 05005.2 | 05005.2 |  | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 2 | 0.62255 | 0.14558 | 0.62255 | 0.20588 | 0.15262
TRIETHYL CITRATE (ETHYL CITRATE) | 1433 | 62091GCM37 | 2008-03-31 | 2007-10-01 | 2008-09-30 | ug/L | 0.91259 | Crescent | 07GG011 | Crescent 07GG011: 25 µl | 1.7971 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | . | 0.2 | 1.64 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91259 | Crescent 07GG011 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.85872 | 0.12943 | 0.81035 | 0.12612 | 0.093492
TRIETHYL CITRATE (ETHYL CITRATE) | 1433 | 62091GCM37 | 2008-04-09 | 2007-10-01 | 2008-09-30 | ug/L | 0.79868 | Crescent | 07GG011 | Crescent 07GG011: 25 µl | 1.7905 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | . | 0.2 | 1.43 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79868 | Crescent 07GG011 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.85872 | 0.12943 | 0.81035 | 0.12612 | 0.093492
TRIETHYL CITRATE (ETHYL CITRATE) | 1433 | 62091GCM37 | 2008-05-20 | 2007-10-01 | 2008-09-30 | ug/L | 0.82203 | Crescent | 07GG011 | Crescent 07GG011: 25 µl | 1.7518 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | . | 0.2 | 1.44 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82203 | Crescent 07GG011 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.85872 | 0.12943 | 0.81035 | 0.12612 | 0.093492
TRIETHYL CITRATE (ETHYL CITRATE) | 1433 | 62091GCM37 | 2008-06-03 | 2007-10-01 | 2008-09-30 | ug/L | 1.0952 | Crescent | 07GG011 | Crescent 07GG011: 25 µl | 1.7439 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | . | 0.2 | 1.91 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0952 | Crescent 07GG011 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.85872 | 0.12943 | 0.81035 | 0.12612 | 0.093492
TRIETHYL CITRATE (ETHYL CITRATE) | 1433 | 62091GCM37 | 2008-08-02 | 2007-10-01 | 2008-09-30 | ug/L | 0.78647 | Crescent | 07GG011 | Crescent 07GG011: 25 µl | 1.7292 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | . | 0.2 | 1.36 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78647 | Crescent 07GG011 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.85872 | 0.12943 | 0.81035 | 0.12612 | 0.093492
TRIETHYL CITRATE (ETHYL CITRATE) | 1433 | 62091GCM37 | 2008-10-08 | 2008-10-01 | 2009-09-30 | ug/L | 0.73729 | Crescent | 07GG011 | Crescent 07GG011: 25 µl | 1.7496 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | . | 0.4 | 1.29 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73729 | Crescent 07GG011 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.85872 | 0.12943 | 0.81035 | 0.12612 | 0.093492
TRIETHYL CITRATE (ETHYL CITRATE) | 1433 | 62091GCM37 | 2009-01-27 | 2008-10-01 | 2009-09-30 | ug/L | 0.58474 | Crescent | 08HH017 | Crescent 08HH017: 40 µl | 1.1629 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | . | 0.4 | 0.68 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58474 | Crescent 08HH017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.66857 | 0.060849 | 0.6858 | 0.11249 | 0.083386
TRIETHYL CITRATE (ETHYL CITRATE) | 1433 | 62091GCM37 | 2009-03-21 | 2008-10-01 | 2009-09-30 | ug/L | 0.72046 | Crescent | 08HH017 | Crescent 08HH017: 20 µl | 0.61072 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | . | 0.4 | 0.44 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72046 | Crescent 08HH017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.66857 | 0.060849 | 0.6858 | 0.11249 | 0.083386
TRIETHYL CITRATE (ETHYL CITRATE) | 1433 | 62091GCM37 | 2009-03-24 | 2008-10-01 | 2009-09-30 | ug/L | 0.6618 | Crescent | 08HH017 | Crescent 08HH017: 20 µl | 0.61953 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | . | 0.4 | 0.41 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6618 | Crescent 08HH017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.66857 | 0.060849 | 0.6858 | 0.11249 | 0.083386
TRIETHYL CITRATE (ETHYL CITRATE) | 1433 | 62091GCM37 | 2009-06-03 | 2008-10-01 | 2009-09-30 | ug/L | 0.72667 | Crescent | 08HH017 | Crescent 08HH017: 20 µl | 0.57798 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | E | 0.4 | 0.42 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72667 | Crescent 08HH017 | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.66857 | 0.060849 | 0.6858 | 0.11249 | 0.083386
TRIETHYL CITRATE (ETHYL CITRATE) | 1433 | 62091GCM37 | 2009-08-26 | 2008-10-01 | 2009-09-30 | ug/L | 0.70979 | Crescent | 08HH017 | Crescent 08HH017: 20 µl | 0.57763 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | . | 0.4 | 0.41 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70979 | Crescent 08HH017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.66857 | 0.060849 | 0.6858 | 0.11249 | 0.083386
TRIETHYL CITRATE (ETHYL CITRATE) | 1433 | 62091GCM37 | 2009-10-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.60797 | Crescent | 08HH017 | Crescent 08HH017: 40 µl | 1.1514 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | . | 0.38 | 0.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60797 | Crescent 08HH017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.66857 | 0.060849 | 0.6858 | 0.11249 | 0.083386
TRIETHYL CITRATE (ETHYL CITRATE) | 1433 | 62091GCM37 | 2012-10-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.60784 | ERA | 0507-12-05.2 | ERA 0507-12-05.2: 50 µl | 0.51 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | . | 0.16 | 0.31 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60784 | ERA 0507-12-05.2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.60784 |  | 0.60784 | 0 | 0
TRIETHYL CITRATE (ETHYL CITRATE) | 1433 | 62091GCM37 | 2008-04-21 | 2007-10-01 | 2008-09-30 | ug/L | 1.1523 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.61964 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | . | 0.2 | 0.714 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1523 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.81883 | 0.26885 | 0.82379 | 0.25717 | 0.19064
TRIETHYL CITRATE (ETHYL CITRATE) | 1433 | 62091GCM37 | 2008-07-12 | 2007-10-01 | 2008-09-30 | ug/L | 0.88343 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.5988 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | . | 0.2 | 0.529 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88343 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.81883 | 0.26885 | 0.82379 | 0.25717 | 0.19064
TRIETHYL CITRATE (ETHYL CITRATE) | 1433 | 62091GCM37 | 2008-09-17 | 2007-10-01 | 2008-09-30 | ug/L | 1.0016 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.58904 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | . | 0.2 | 0.59 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0016 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.81883 | 0.26885 | 0.82379 | 0.25717 | 0.19064
TRIETHYL CITRATE (ETHYL CITRATE) | 1433 | 62091GCM37 | 2009-04-02 | 2008-10-01 | 2009-09-30 | ug/L | 0.76416 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.62814 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | . | 0.4 | 0.48 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76416 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.81883 | 0.26885 | 0.82379 | 0.25717 | 0.19064
TRIETHYL CITRATE (ETHYL CITRATE) | 1433 | 62091GCM37 | 2009-05-06 | 2008-10-01 | 2009-09-30 | ug/L | 0.74445 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.60447 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | . | 0.4 | 0.45 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74445 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.81883 | 0.26885 | 0.82379 | 0.25717 | 0.19064
TRIETHYL CITRATE (ETHYL CITRATE) | 1433 | 62091GCM37 | 2009-07-30 | 2008-10-01 | 2009-09-30 | ug/L | 0.36703 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.5994 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | E | 0.4 | 0.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.36703 | NWQL BNA2SP053B | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.81883 | 0.26885 | 0.82379 | 0.25717 | 0.19064
TRIETHYL CITRATE (ETHYL CITRATE) | 1433 | 62091GCM37 | 2009-03-06 | 2008-10-01 | 2009-09-30 | ug/L | 0.70759 | NWQL | BNA2SP071C | NWQL BNA2SP071C: 75 µl | 0.62183 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | . | 0.4 | 0.44 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70759 | NWQL BNA2SP071C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.70759 |  | 0.70759 | 0 | 0
TRIETHYL CITRATE (ETHYL CITRATE) | 1433 | 62091GCM37 | 2010-06-04 | 2009-10-01 | 2010-09-30 | ug/L | 0.95987 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.23962 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | E | 0.38 | 0.23 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.95987 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 1 |  | 2 | 0.79459 | 0.23374 | 0.79459 | 0.33055 | 0.24504
TRIETHYL CITRATE (ETHYL CITRATE) | 1433 | 62091GCM37 | 2010-08-31 | 2009-10-01 | 2010-09-30 | ug/L | 0.62931 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.23836 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | E | 0.38 | 0.15 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.62931 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 1 |  | 2 | 0.79459 | 0.23374 | 0.79459 | 0.33055 | 0.24504
TRIETHYL CITRATE (ETHYL CITRATE) | 1433 | 62091GCM37 | 2011-06-08 | 2011-02-01 | 2011-09-30 | ug/L | 1.1722 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 20 µl | 0.080192 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | . | 0.16 | 0.094 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.1722 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 1 |  | 4 | 1.1165 | 0.18465 | 1.1861 | 0.21704 | 0.16089
TRIETHYL CITRATE (ETHYL CITRATE) | 1433 | 62091GCM37 | 2011-08-02 | 2011-02-01 | 2011-09-30 | ug/L | 0.84375 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 0.32 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | . | 0.16 | 0.27 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84375 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1165 | 0.18465 | 1.1861 | 0.21704 | 0.16089
TRIETHYL CITRATE (ETHYL CITRATE) | 1433 | 62091GCM37 | 2011-08-26 | 2011-02-01 | 2011-09-30 | ug/L | 1.25 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.2 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | . | 0.16 | 0.25 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.25 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1165 | 0.18465 | 1.1861 | 0.21704 | 0.16089
TRIETHYL CITRATE (ETHYL CITRATE) | 1433 | 62091GCM37 | 2011-11-08 | 2011-10-01 | 2050-09-30 | ug/L | 1.2 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.2 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | . | 0.16 | 0.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1165 | 0.18465 | 1.1861 | 0.21704 | 0.16089
TRIETHYL CITRATE (ETHYL CITRATE) | 1433 | 62091GCM37 | 2010-01-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.4909 | Restek | A070024 | Restek A070024: 20 µl | 0.42779 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | E | 0.38 | 0.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.4909 | Restek A070024 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.6573 | 0.13695 | 0.66128 | 0.2039 | 0.15115
TRIETHYL CITRATE (ETHYL CITRATE) | 1433 | 62091GCM37 | 2010-02-23 | 2009-10-01 | 2010-09-30 | ug/L | 0.61981 | Restek | A070024 | Restek A070024: 10 µl | 0.20974 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | E | 0.38 | 0.13 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.61981 | Restek A070024 | [9 empty] | Y | Estimated Values | Y | 1 |  | 4 | 0.6573 | 0.13695 | 0.66128 | 0.2039 | 0.15115
TRIETHYL CITRATE (ETHYL CITRATE) | 1433 | 62091GCM37 | 2010-06-16 | 2009-10-01 | 2010-09-30 | ug/L | 0.70276 | Restek | A070024 | Restek A070024: 80 µl | 1.7076 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | . | 0.38 | 1.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70276 | Restek A070024 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.6573 | 0.13695 | 0.66128 | 0.2039 | 0.15115
TRIETHYL CITRATE (ETHYL CITRATE) | 1433 | 62091GCM37 | 2010-10-14 | 2010-10-01 | 2011-01-31 | ug/L | 0.81575 | Restek | A070024 | Restek A070024: 40 µl | 0.84585 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | . | 0.16 | 0.69 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81575 | Restek A070024 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.6573 | 0.13695 | 0.66128 | 0.2039 | 0.15115
TRIETHYL CITRATE (ETHYL CITRATE) | 1433 | 62091GCM37 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.87309 | Spex Organics, Abs | T1130531001, 040913WWF | Spex Organics T1130531001: 50 µl & Abs 040913WWF: 50 µl | 1.6035 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | . | 0.16 | 1.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87309 | SpT111001, Ab0403WWF | Sp | Ab | Ab | T111001 | 0403WWF | 0403WWF | T111001 | 0403WWF | 0403WWF | Y | Recoverable Result | Y | 2 |  | 1 | 0.87309 |  | 0.87309 | 0 | 0
TRIETHYL CITRATE (ETHYL CITRATE) | 1433 | 62091GCM37 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.62539 | Spex Organics, Supelco | T1130531001, LB99396 | Spex Organics T1130531001: 20 µl & Supelco LB99396: 20 µl | 0.6396 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | . | 0.16 | 0.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62539 | SpT111001, SuLB99396 | Sp | Su | Su | T111001 | LB99396 | LB99396 | T111001 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.62539 |  | 0.62539 | 0 | 0
TRIETHYL CITRATE (ETHYL CITRATE) | 1433 | 62091GCM37 | 2012-08-30 | 2011-10-01 | 2050-09-30 | ug/L | 0.92157 | Spex Organics, ERA | T1120521009, 0507-12-05.2 | Spex Organics T1120521009: 10 µl & ERA 0507-12-05.2: 10 µl | 0.102 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | . | 0.16 | 0.094 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.92157 | SpT111009, ER05005.2 | Sp | ER | ER | T111009 | 05005.2 | 05005.2 | T111009 | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 1 |  | 3 | 0.78758 | 0.13737 | 0.79412 | 0.27451 | 0.20349
TRIETHYL CITRATE (ETHYL CITRATE) | 1433 | 62091GCM37 | 2012-12-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.79412 | Spex Organics, ERA | T1120521009, 0507-12-05.2 | Spex Organics T1120521009: 100 µl & ERA 0507-12-05.2: 100 µl | 1.02 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | . | 0.16 | 0.81 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79412 | SpT111009, ER05005.2 | Sp | ER | ER | T111009 | 05005.2 | 05005.2 | T111009 | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 3 | 0.78758 | 0.13737 | 0.79412 | 0.27451 | 0.20349
TRIETHYL CITRATE (ETHYL CITRATE) | 1433 | 62091GCM37 | 2013-02-28 | 2011-10-01 | 2050-09-30 | ug/L | 0.64706 | Spex Organics, ERA | T1120521009, 0507-12-05.2 | Spex Organics T1120521009: 50 µl & ERA 0507-12-05.2: 50 µl | 0.51 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | . | 0.16 | 0.33 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64706 | SpT111009, ER05005.2 | Sp | ER | ER | T111009 | 05005.2 | 05005.2 | T111009 | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 2 |  | 3 | 0.78758 | 0.13737 | 0.79412 | 0.27451 | 0.20349
TRIETHYL CITRATE (ETHYL CITRATE) | 1433 | 62091GCM37 | 2010-12-08 | 2010-10-01 | 2011-01-31 | ug/L | 0.9008 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl | 0.66607 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | . | 0.16 | 0.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9008 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.82849 | 0.096244 | 0.83828 | 0.12399 | 0.091913
TRIETHYL CITRATE (ETHYL CITRATE) | 1433 | 62091GCM37 | 2011-01-28 | 2010-10-01 | 2011-01-31 | ug/L | 0.82296 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl | 0.66832 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | . | 0.16 | 0.55 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82296 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.82849 | 0.096244 | 0.83828 | 0.12399 | 0.091913
TRIETHYL CITRATE (ETHYL CITRATE) | 1433 | 62091GCM37 | 2011-03-09 | 2011-02-01 | 2011-09-30 | ug/L | 0.96142 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl | 1.6642 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | . | 0.16 | 1.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96142 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.82849 | 0.096244 | 0.83828 | 0.12399 | 0.091913
TRIETHYL CITRATE (ETHYL CITRATE) | 1433 | 62091GCM37 | 2011-04-28 | 2011-02-01 | 2011-09-30 | ug/L | 0.85533 | Spex Organics | T1100706008 | Spex Organics T1100706008: 80 µl | 2.689 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | . | 0.16 | 2.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85533 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.82849 | 0.096244 | 0.83828 | 0.12399 | 0.091913
TRIETHYL CITRATE (ETHYL CITRATE) | 1433 | 62091GCM37 | 2011-07-22 | 2011-02-01 | 2011-09-30 | ug/L | 0.62987 | Spex Organics | T1100706008 | Spex Organics T1100706008: 80 µl | 2.699 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | . | 0.16 | 1.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62987 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.82849 | 0.096244 | 0.83828 | 0.12399 | 0.091913
TRIETHYL CITRATE (ETHYL CITRATE) | 1433 | 62091GCM37 | 2011-08-25 | 2011-02-01 | 2011-09-30 | ug/L | 0.89021 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl | 0.674 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | . | 0.16 | 0.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89021 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.82849 | 0.096244 | 0.83828 | 0.12399 | 0.091913
TRIETHYL CITRATE (ETHYL CITRATE) | 1433 | 62091GCM37 | 2011-11-04 | 2011-10-01 | 2050-09-30 | ug/L | 0.77151 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl | 1.685 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | . | 0.16 | 1.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77151 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.82849 | 0.096244 | 0.83828 | 0.12399 | 0.091913
TRIETHYL CITRATE (ETHYL CITRATE) | 1433 | 62091GCM37 | 2012-01-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.8457 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl | 0.674 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | . | 0.16 | 0.57 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8457 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.82849 | 0.096244 | 0.83828 | 0.12399 | 0.091913
TRIETHYL CITRATE (ETHYL CITRATE) | 1433 | 62091GCM37 | 2012-02-16 | 2011-10-01 | 2050-09-30 | ug/L | 0.83086 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl | 1.685 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | . | 0.16 | 1.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83086 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.82849 | 0.096244 | 0.83828 | 0.12399 | 0.091913
TRIETHYL CITRATE (ETHYL CITRATE) | 1433 | 62091GCM37 | 2012-03-09 | 2011-10-01 | 2050-09-30 | ug/L | 0.94955 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl | 0.674 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | . | 0.16 | 0.64 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94955 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.82849 | 0.096244 | 0.83828 | 0.12399 | 0.091913
TRIETHYL CITRATE (ETHYL CITRATE) | 1433 | 62091GCM37 | 2012-05-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.77151 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl | 1.685 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | . | 0.16 | 1.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77151 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.82849 | 0.096244 | 0.83828 | 0.12399 | 0.091913
TRIETHYL CITRATE (ETHYL CITRATE) | 1433 | 62091GCM37 | 2012-05-09 | 2011-10-01 | 2050-09-30 | ug/L | 0.71217 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl | 1.685 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | . | 0.16 | 1.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71217 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.82849 | 0.096244 | 0.83828 | 0.12399 | 0.091913
TRIETHYL CITRATE (ETHYL CITRATE) | 1433 | 62091GCM37 | 2013-02-28 | 2011-10-01 | 2050-09-30 | ug/L | 0.93137 | Supelco, ERA | LB92784, 0507-12-05.2 | Supelco LB92784: 10 µl & ERA 0507-12-05.2: 10 µl | 0.102 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | . | 0.16 | 0.095 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.93137 | SuLB92784, ER05005.2 | Su | ER | ER | LB92784 | 05005.2 | 05005.2 |  | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 1 |  | 1 | 0.93137 |  | 0.93137 | 0 | 0
TRIETHYL CITRATE (ETHYL CITRATE) | 1433 | 62091GCM37 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.7192 | Supelco, Accu | LB99396, 213041004 | Supelco LB99396: 20 µl & Accu 213041004: 20 µl | 0.6396 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | . | 0.16 | 0.46 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7192 | SuLB99396, Ac2131004 | Su | Ac | Ac | LB99396 | 2131004 | 2131004 |  | 2131004 | 2131004 | Y | Recoverable Result | Y | 2 |  | 1 | 0.7192 |  | 0.7192 | 0 | 0
TRIETHYL CITRATE (ETHYL CITRATE) | 1433 | 62091GCM37 | 2013-07-11 | 2011-10-01 | 2050-09-30 | ug/L | 0.86304 | Supelco, ERA | LB99396, 0318-13-01.3 | Supelco LB99396: 50 µl & ERA 0318-13-01.3: 50 µl | 1.599 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | . | 0.16 | 1.38 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86304 | SuLB99396, ER03101.3 | Su | ER | ER | LB99396 | 03101.3 | 03101.3 |  | 03101.3 | 03101.3 | Y | Recoverable Result | Y | 2 |  | 1 | 0.86304 |  | 0.86304 | 0 | 0
TRIETHYL CITRATE (ETHYL CITRATE) | 1433 | 62091GCM37 | 2009-03-05 | 2008-10-01 | 2009-09-30 | ug/L | 0.45638 | Supelco | LB60966 | Supelco LB60966: 20 µl | 0.61352 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | E | 0.4 | 0.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.45638 | Supelco LB60966 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.49563 | 0.07295 | 0.4684 | 0.10198 | 0.075598
TRIETHYL CITRATE (ETHYL CITRATE) | 1433 | 62091GCM37 | 2009-04-30 | 2008-10-01 | 2009-09-30 | ug/L | 0.55837 | Supelco | LB60966 | Supelco LB60966: 20 µl | 0.59101 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | E | 0.4 | 0.33 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.55837 | Supelco LB60966 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.49563 | 0.07295 | 0.4684 | 0.10198 | 0.075598
TRIETHYL CITRATE (ETHYL CITRATE) | 1433 | 62091GCM37 | 2009-07-30 | 2008-10-01 | 2009-09-30 | ug/L | 0.4684 | Supelco | LB60966 | Supelco LB60966: 40 µl | 1.1742 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | . | 0.4 | 0.55 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.4684 | Supelco LB60966 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.49563 | 0.07295 | 0.4684 | 0.10198 | 0.075598
TRIETHYL CITRATE (ETHYL CITRATE) | 1433 | 62091GCM37 | 2009-09-30 | 2008-10-01 | 2009-09-30 | ug/L | 0.58427 | Supelco | LB60966 | Supelco LB60966: 20 µl | 0.58192 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | E | 0.4 | 0.34 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58427 | Supelco LB60966 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.49563 | 0.07295 | 0.4684 | 0.10198 | 0.075598
TRIETHYL CITRATE (ETHYL CITRATE) | 1433 | 62091GCM37 | 2009-12-01 | 2009-10-01 | 2010-09-30 | ug/L | 0.41071 | Supelco | LB60966 | Supelco LB60966: 20 µl | 0.58435 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | E | 0.38 | 0.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.41071 | Supelco LB60966 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.49563 | 0.07295 | 0.4684 | 0.10198 | 0.075598
TRIETHYL CITRATE (ETHYL CITRATE) | 1433 | 62091GCM37 | 2010-01-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.61586 | Ultra | CF-3634 | Ultra CF-3634: 40 µl | 0.84435 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | E | 0.38 | 0.52 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61586 | Ultra CF-3634 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.5765 | 0.2594 | 0.68895 | 0.10651 | 0.078952
TRIETHYL CITRATE (ETHYL CITRATE) | 1433 | 62091GCM37 | 2010-01-27 | 2009-10-01 | 2010-09-30 | ug/L | 0.68895 | Ultra | CF-3634 | Ultra CF-3634: 20 µl | 0.42093 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | E | 0.38 | 0.29 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68895 | Ultra CF-3634 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.5765 | 0.2594 | 0.68895 | 0.10651 | 0.078952
TRIETHYL CITRATE (ETHYL CITRATE) | 1433 | 62091GCM37 | 2010-03-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.73538 | Ultra | CF-3634 | Ultra CF-3634: 40 µl | 0.8431 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | . | 0.38 | 0.62 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73538 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.5765 | 0.2594 | 0.68895 | 0.10651 | 0.078952
TRIETHYL CITRATE (ETHYL CITRATE) | 1433 | 62091GCM37 | 2010-04-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.11994 | Ultra | CF-3634 | Ultra CF-3634: 20 µl | 0.41687 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | E | 0.38 | 0.05 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.11994 | Ultra CF-3634 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.5765 | 0.2594 | 0.68895 | 0.10651 | 0.078952
TRIETHYL CITRATE (ETHYL CITRATE) | 1433 | 62091GCM37 | 2010-09-03 | 2009-10-01 | 2010-09-30 | ug/L | 0.72237 | Ultra | CF-3634 | Ultra CF-3634: 80 µl | 1.7996 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | E | 0.38 | 1.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72237 | Ultra CF-3634 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.5765 | 0.2594 | 0.68895 | 0.10651 | 0.078952
TRIETHYL CITRATE (ETHYL CITRATE) | 1433 | 62091GCM37 | 2010-12-09 | 2010-10-01 | 2011-01-31 | ug/L | 0.70194 | Ultra | CG-2301 | Ultra CG-2301: 20 µl | 0.65532 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | . | 0.16 | 0.46 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70194 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.74782 | 0.16128 | 0.71217 | 0.21276 | 0.15772
TRIETHYL CITRATE (ETHYL CITRATE) | 1433 | 62091GCM37 | 2010-12-16 | 2010-10-01 | 2011-01-31 | ug/L | 0.45396 | Ultra | CG-2301 | Ultra CG-2301: 80 µl | 2.6434 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | . | 0.16 | 1.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.45396 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.74782 | 0.16128 | 0.71217 | 0.21276 | 0.15772
TRIETHYL CITRATE (ETHYL CITRATE) | 1433 | 62091GCM37 | 2011-04-06 | 2011-02-01 | 2011-09-30 | ug/L | 0.65911 | Ultra | CG-2301 | Ultra CG-2301: 20 µl | 0.68274 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | . | 0.16 | 0.45 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65911 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.74782 | 0.16128 | 0.71217 | 0.21276 | 0.15772
TRIETHYL CITRATE (ETHYL CITRATE) | 1433 | 62091GCM37 | 2011-06-08 | 2011-02-01 | 2011-09-30 | ug/L | 0.49056 | Ultra | CG-2301 | Ultra CG-2301: 50 µl | 1.6919 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | . | 0.16 | 0.83 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.49056 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.74782 | 0.16128 | 0.71217 | 0.21276 | 0.15772
TRIETHYL CITRATE (ETHYL CITRATE) | 1433 | 62091GCM37 | 2011-06-29 | 2011-02-01 | 2011-09-30 | ug/L | 0.88042 | Ultra | CG-2301 | Ultra CG-2301: 20 µl | 0.6815 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | . | 0.16 | 0.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88042 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.74782 | 0.16128 | 0.71217 | 0.21276 | 0.15772
TRIETHYL CITRATE (ETHYL CITRATE) | 1433 | 62091GCM37 | 2011-08-26 | 2011-02-01 | 2011-09-30 | ug/L | 0.89021 | Ultra | CG-2301 | Ultra CG-2301: 50 µl | 1.685 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | . | 0.16 | 1.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89021 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.74782 | 0.16128 | 0.71217 | 0.21276 | 0.15772
TRIETHYL CITRATE (ETHYL CITRATE) | 1433 | 62091GCM37 | 2011-10-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.66766 | Ultra | CG-2301 | Ultra CG-2301: 80 µl | 2.696 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | . | 0.16 | 1.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66766 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.74782 | 0.16128 | 0.71217 | 0.21276 | 0.15772
TRIETHYL CITRATE (ETHYL CITRATE) | 1433 | 62091GCM37 | 2011-10-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.71217 | Ultra | CG-2301 | Ultra CG-2301: 50 µl | 1.685 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | . | 0.16 | 1.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71217 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.74782 | 0.16128 | 0.71217 | 0.21276 | 0.15772
TRIETHYL CITRATE (ETHYL CITRATE) | 1433 | 62091GCM37 | 2011-11-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.83086 | Ultra | CG-2301 | Ultra CG-2301: 20 µl | 0.674 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | . | 0.16 | 0.56 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83086 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.74782 | 0.16128 | 0.71217 | 0.21276 | 0.15772
TRIETHYL CITRATE (ETHYL CITRATE) | 1433 | 62091GCM37 | 2012-02-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.83086 | Ultra | CG-2301 | Ultra CG-2301: 50 µl | 1.685 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | . | 0.16 | 1.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83086 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.74782 | 0.16128 | 0.71217 | 0.21276 | 0.15772
TRIETHYL CITRATE (ETHYL CITRATE) | 1433 | 62091GCM37 | 2012-02-16 | 2011-10-01 | 2050-09-30 | ug/L | 0.70475 | Ultra | CG-2301 | Ultra CG-2301: 80 µl | 2.696 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | . | 0.16 | 1.9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70475 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.74782 | 0.16128 | 0.71217 | 0.21276 | 0.15772
TRIETHYL CITRATE (ETHYL CITRATE) | 1433 | 62091GCM37 | 2012-04-11 | 2011-10-01 | 2050-09-30 | ug/L | 1.0089 | Ultra | CG-2301 | Ultra CG-2301: 20 µl | 0.674 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | . | 0.16 | 0.68 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0089 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.74782 | 0.16128 | 0.71217 | 0.21276 | 0.15772
TRIETHYL CITRATE (ETHYL CITRATE) | 1433 | 62091GCM37 | 2012-06-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.89021 | Ultra | CG-2301 | Ultra CG-2301: 80 µl | 2.696 | TRIETHYL_CITRATE_(ETHYL_CITRATE) | . | 0.16 | 2.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89021 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.74782 | 0.16128 | 0.71217 | 0.21276 | 0.15772