## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
TRIPHENYL PHOSPHATE | 1433 | 62092GCM37 | 2013-08-21 | 2011-10-01 | 2050-09-30 | ug/L | 0.67568 | Abs, Accu | 040913WWF, 213041004 | Abs 040913WWF: 20 µl & Accu 213041004: 20 µl | 0.2516 | TRIPHENYL_PHOSPHATE | . | 0.12 | 0.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67568 | Ab0403WWF, Ac2131004 | Ab | Ac | Ac | 0403WWF | 2131004 | 2131004 | 0403WWF | 2131004 | 2131004 | Y | Recoverable Result | Y | 2 |  | 1 | 0.67568 |  | 0.67568 | 0 | 0
TRIPHENYL PHOSPHATE | 1433 | 62092GCM37 | 2014-02-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.67568 | Abs, ERA | 040913WWF, 0318-13-01.3 | Abs 040913WWF: 20 µl & ERA 0318-13-01.3: 20 µl | 0.2516 | TRIPHENYL_PHOSPHATE | . | 0.12 | 0.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67568 | Ab0403WWF, ER03101.3 | Ab | ER | ER | 0403WWF | 03101.3 | 03101.3 | 0403WWF | 03101.3 | 03101.3 | Y | Recoverable Result | Y | 2 |  | 1 | 0.67568 |  | 0.67568 | 0 | 0
TRIPHENYL PHOSPHATE | 1433 | 62092GCM37 | 2012-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.92079 | Abs, Accu | 051112, 212051389 | Abs 051112: 100 µl & Accu 212051389: 100 µl | 1.01 | TRIPHENYL_PHOSPHATE | . | 0.12 | 0.93 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92079 | Ab051112, Ac2121389 | Ab | Ac | Ac | 051112 | 2121389 | 2121389 |  | 2121389 | 2121389 | Y | Recoverable Result | Y | 2 |  | 1 | 0.92079 |  | 0.92079 | 0 | 0
TRIPHENYL PHOSPHATE | 1433 | 62092GCM37 | 2013-05-15 | 2011-10-01 | 2050-09-30 | ug/L | 0.54455 | Abs, Spex Organics | 051112, T1120521009 | Abs 051112: 20 µl & Spex Organics T1120521009: 20 µl | 0.202 | TRIPHENYL_PHOSPHATE | . | 0.12 | 0.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.54455 | Ab051112, SpT111009 | Ab | Sp | Sp | 051112 | T111009 | T111009 |  | T111009 | T111009 | Y | Recoverable Result | Y | 2 |  | 1 | 0.54455 |  | 0.54455 | 0 | 0
TRIPHENYL PHOSPHATE | 1433 | 62092GCM37 | 2012-08-07 | 2011-10-01 | 2050-09-30 | ug/L | 0.84158 | Abs | 051112 | Abs 051112: 20 µl | 0.202 | TRIPHENYL_PHOSPHATE | . | 0.12 | 0.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84158 | Abs 051112 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.84158 |  | 0.84158 | 0 | 0
TRIPHENYL PHOSPHATE | 1433 | 62092GCM37 | 2009-01-08 | 2008-10-01 | 2009-09-30 | ug/L | 0.98028 | Abs | 080508WW | Abs 080508WW: 20 µl | 0.55902 | TRIPHENYL_PHOSPHATE | . | 0.12 | 0.548 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98028 | Abs 080508WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.6666 | 0.21332 | 0.69119 | 0.3138 | 0.23261
TRIPHENYL PHOSPHATE | 1433 | 62092GCM37 | 2009-01-29 | 2008-10-01 | 2009-09-30 | ug/L | 0.72635 | Abs | 080508WW | Abs 080508WW: 20 µl | 0.58787 | TRIPHENYL_PHOSPHATE | . | 0.12 | 0.427 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72635 | Abs 080508WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.6666 | 0.21332 | 0.69119 | 0.3138 | 0.23261
TRIPHENYL PHOSPHATE | 1433 | 62092GCM37 | 2009-03-21 | 2008-10-01 | 2009-09-30 | ug/L | 0.46216 | Abs | 080508WW | Abs 080508WW: 40 µl | 1.1684 | TRIPHENYL_PHOSPHATE | . | 0.12 | 0.54 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.46216 | Abs 080508WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.6666 | 0.21332 | 0.69119 | 0.3138 | 0.23261
TRIPHENYL PHOSPHATE | 1433 | 62092GCM37 | 2009-05-28 | 2008-10-01 | 2009-09-30 | ug/L | 0.39883 | Abs | 080508WW | Abs 080508WW: 20 µl | 0.55161 | TRIPHENYL_PHOSPHATE | . | 0.12 | 0.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.39883 | Abs 080508WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.6666 | 0.21332 | 0.69119 | 0.3138 | 0.23261
TRIPHENYL PHOSPHATE | 1433 | 62092GCM37 | 2009-08-06 | 2008-10-01 | 2009-09-30 | ug/L | 0.65602 | Abs | 080508WW | Abs 080508WW: 40 µl | 1.1128 | TRIPHENYL_PHOSPHATE | . | 0.12 | 0.73 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65602 | Abs 080508WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.6666 | 0.21332 | 0.69119 | 0.3138 | 0.23261
TRIPHENYL PHOSPHATE | 1433 | 62092GCM37 | 2009-10-09 | 2009-10-01 | 2010-09-30 | ug/L | 0.77596 | Abs | 080508WW | Abs 080508WW: 20 µl | 0.55415 | TRIPHENYL_PHOSPHATE | . | 0.12 | 0.43 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77596 | Abs 080508WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.6666 | 0.21332 | 0.69119 | 0.3138 | 0.23261
TRIPHENYL PHOSPHATE | 1433 | 62092GCM37 | 2013-06-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.91415 | Crescent, Abs | 04CC145, 040913WWF | Crescent 04CC145: 20 µl & Abs 040913WWF: 20 µl | 0.2516 | TRIPHENYL_PHOSPHATE | . | 0.12 | 0.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91415 | Cr04CC145, Ab0403WWF | Cr | Ab | Ab | 04CC145 | 0403WWF | 0403WWF |  | 0403WWF | 0403WWF | Y | Recoverable Result | Y | 2 |  | 1 | 0.91415 |  | 0.91415 | 0 | 0
TRIPHENYL PHOSPHATE | 1433 | 62092GCM37 | 2013-06-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.72 | Crescent, Supelco | 04CC145, LB99396 | Crescent 04CC145: 20 µl & Supelco LB99396: 20 µl | 0.25 | TRIPHENYL_PHOSPHATE | . | 0.12 | 0.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72 | Cr04CC145, SuLB99396 | Cr | Su | Su | 04CC145 | LB99396 | LB99396 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.72 |  | 0.72 | 0 | 0
TRIPHENYL PHOSPHATE | 1433 | 62092GCM37 | 2012-08-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.86139 | Crescent, Abs | 05BB047, 051112 | Crescent 05BB047: 10 µl & Abs 051112: 10 µl | 0.101 | TRIPHENYL_PHOSPHATE | . | 0.12 | 0.087 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.86139 | Cr05BB047, Ab051112 | Cr | Ab | Ab | 05BB047 | 051112 | 051112 |  |  |  | Y | Recoverable Result | Y | 1 |  | 3 | 0.71617 | 0.19461 | 0.79208 | 0.36634 | 0.27156
TRIPHENYL PHOSPHATE | 1433 | 62092GCM37 | 2013-02-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.49505 | Crescent, Abs | 05BB047, 051112 | Crescent 05BB047: 50 µl & Abs 051112: 50 µl | 0.505 | TRIPHENYL_PHOSPHATE | . | 0.12 | 0.25 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.49505 | Cr05BB047, Ab051112 | Cr | Ab | Ab | 05BB047 | 051112 | 051112 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.71617 | 0.19461 | 0.79208 | 0.36634 | 0.27156
TRIPHENYL PHOSPHATE | 1433 | 62092GCM37 | 2013-04-16 | 2011-10-01 | 2050-09-30 | ug/L | 0.79208 | Crescent, Abs | 05BB047, 051112 | Crescent 05BB047: 10 µl & Abs 051112: 10 µl | 0.101 | TRIPHENYL_PHOSPHATE | . | 0.12 | 0.08 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.79208 | Cr05BB047, Ab051112 | Cr | Ab | Ab | 05BB047 | 051112 | 051112 |  |  |  | Y | Recoverable Result | Y | 1 |  | 3 | 0.71617 | 0.19461 | 0.79208 | 0.36634 | 0.27156
TRIPHENYL PHOSPHATE | 1433 | 62092GCM37 | 2012-12-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.66866 | Crescent, Supelco | 05BB047, LB92784 | Crescent 05BB047: 100 µl & Supelco LB92784: 100 µl | 1.002 | TRIPHENYL_PHOSPHATE | . | 0.12 | 0.67 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66866 | Cr05BB047, SuLB92784 | Cr | Su | Su | 05BB047 | LB92784 | LB92784 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.66866 |  | 0.66866 | 0 | 0
TRIPHENYL PHOSPHATE | 1433 | 62092GCM37 | 2009-01-28 | 2008-10-01 | 2009-09-30 | ug/L | 0.69678 | ERA | 0804-08-02WW | ERA 0804-08-02WW: 40 µl | 1.1051 | TRIPHENYL_PHOSPHATE | . | 0.12 | 0.77 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69678 | ERA 0804-08-02WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.68222 | 0.084295 | 0.69417 | 0.14984 | 0.11108
TRIPHENYL PHOSPHATE | 1433 | 62092GCM37 | 2009-03-05 | 2008-10-01 | 2009-09-30 | ug/L | 0.56768 | ERA | 0804-08-02WW | ERA 0804-08-02WW: 20 µl | 0.5637 | TRIPHENYL_PHOSPHATE | . | 0.12 | 0.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56768 | ERA 0804-08-02WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.68222 | 0.084295 | 0.69417 | 0.14984 | 0.11108
TRIPHENYL PHOSPHATE | 1433 | 62092GCM37 | 2009-04-23 | 2008-10-01 | 2009-09-30 | ug/L | 0.7505 | ERA | 0804-08-02WW | ERA 0804-08-02WW: 20 µl | 0.55963 | TRIPHENYL_PHOSPHATE | . | 0.12 | 0.42 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7505 | ERA 0804-08-02WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.68222 | 0.084295 | 0.69417 | 0.14984 | 0.11108
TRIPHENYL PHOSPHATE | 1433 | 62092GCM37 | 2009-07-02 | 2008-10-01 | 2009-09-30 | ug/L | 0.60066 | ERA | 0804-08-02WW | ERA 0804-08-02WW: 20 µl | 0.5494 | TRIPHENYL_PHOSPHATE | . | 0.12 | 0.33 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60066 | ERA 0804-08-02WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.68222 | 0.084295 | 0.69417 | 0.14984 | 0.11108
TRIPHENYL PHOSPHATE | 1433 | 62092GCM37 | 2009-09-29 | 2008-10-01 | 2009-09-30 | ug/L | 0.69157 | ERA | 0804-08-02WW | ERA 0804-08-02WW: 40 µl | 1.0845 | TRIPHENYL_PHOSPHATE | . | 0.12 | 0.75 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69157 | ERA 0804-08-02WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.68222 | 0.084295 | 0.69417 | 0.14984 | 0.11108
TRIPHENYL PHOSPHATE | 1433 | 62092GCM37 | 2009-10-22 | 2009-10-01 | 2010-09-30 | ug/L | 0.78612 | ERA | 0804-08-02WW | ERA 0804-08-02WW: 20 µl | 0.54699 | TRIPHENYL_PHOSPHATE | . | 0.12 | 0.43 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78612 | ERA 0804-08-02WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.68222 | 0.084295 | 0.69417 | 0.14984 | 0.11108
TRIPHENYL PHOSPHATE | 1433 | 62092GCM37 | 2008-04-21 | 2007-10-01 | 2008-09-30 | ug/L | 0.77948 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.61964 | TRIPHENYL_PHOSPHATE | . | 0.1 | 0.483 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77948 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.71962 | 0.098371 | 0.6931 | 0.11084 | 0.082166
TRIPHENYL PHOSPHATE | 1433 | 62092GCM37 | 2008-07-12 | 2007-10-01 | 2008-09-30 | ug/L | 0.69138 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.5988 | TRIPHENYL_PHOSPHATE | . | 0.1 | 0.414 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69138 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.71962 | 0.098371 | 0.6931 | 0.11084 | 0.082166
TRIPHENYL PHOSPHATE | 1433 | 62092GCM37 | 2008-09-17 | 2007-10-01 | 2008-09-30 | ug/L | 0.88279 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.58904 | TRIPHENYL_PHOSPHATE | . | 0.1 | 0.52 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88279 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.71962 | 0.098371 | 0.6931 | 0.11084 | 0.082166
TRIPHENYL PHOSPHATE | 1433 | 62092GCM37 | 2009-04-02 | 2008-10-01 | 2009-09-30 | ug/L | 0.66864 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.62814 | TRIPHENYL_PHOSPHATE | . | 0.12 | 0.42 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66864 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.71962 | 0.098371 | 0.6931 | 0.11084 | 0.082166
TRIPHENYL PHOSPHATE | 1433 | 62092GCM37 | 2009-05-06 | 2008-10-01 | 2009-09-30 | ug/L | 0.69482 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.60447 | TRIPHENYL_PHOSPHATE | . | 0.12 | 0.42 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69482 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.71962 | 0.098371 | 0.6931 | 0.11084 | 0.082166
TRIPHENYL PHOSPHATE | 1433 | 62092GCM37 | 2009-07-30 | 2008-10-01 | 2009-09-30 | ug/L | 0.6006 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.5994 | TRIPHENYL_PHOSPHATE | . | 0.12 | 0.36 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6006 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.71962 | 0.098371 | 0.6931 | 0.11084 | 0.082166
TRIPHENYL PHOSPHATE | 1433 | 62092GCM37 | 2009-03-06 | 2008-10-01 | 2009-09-30 | ug/L | 0.54678 | NWQL | BNA2SP071C | NWQL BNA2SP071C: 75 µl | 0.62183 | TRIPHENYL_PHOSPHATE | . | 0.12 | 0.34 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.54678 | NWQL BNA2SP071C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.54678 |  | 0.54678 | 0 | 0
TRIPHENYL PHOSPHATE | 1433 | 62092GCM37 | 2010-06-04 | 2009-10-01 | 2010-09-30 | ug/L | 0.52167 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.47923 | TRIPHENYL_PHOSPHATE | . | 0.12 | 0.25 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.52167 | NWQL BNA2SP094D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.53354 | 0.016785 | 0.53354 | 0.023737 | 0.017596
TRIPHENYL PHOSPHATE | 1433 | 62092GCM37 | 2010-08-31 | 2009-10-01 | 2010-09-30 | ug/L | 0.5454 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 0.47671 | TRIPHENYL_PHOSPHATE | E | 0.12 | 0.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5454 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.53354 | 0.016785 | 0.53354 | 0.023737 | 0.017596
TRIPHENYL PHOSPHATE | 1433 | 62092GCM37 | 2011-06-08 | 2011-02-01 | 2011-09-30 | ug/L | 0.6235 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 20 µl | 0.16038 | TRIPHENYL_PHOSPHATE | . | 0.12 | 0.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6235 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.69572 | 0.13722 | 0.63675 | 0.15856 | 0.11754
TRIPHENYL PHOSPHATE | 1433 | 62092GCM37 | 2011-08-02 | 2011-02-01 | 2011-09-30 | ug/L | 0.60938 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 0.64 | TRIPHENYL_PHOSPHATE | . | 0.12 | 0.39 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60938 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.69572 | 0.13722 | 0.63675 | 0.15856 | 0.11754
TRIPHENYL PHOSPHATE | 1433 | 62092GCM37 | 2011-08-26 | 2011-02-01 | 2011-09-30 | ug/L | 0.9 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.4 | TRIPHENYL_PHOSPHATE | . | 0.12 | 0.36 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.69572 | 0.13722 | 0.63675 | 0.15856 | 0.11754
TRIPHENYL PHOSPHATE | 1433 | 62092GCM37 | 2011-11-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.65 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 0.4 | TRIPHENYL_PHOSPHATE | . | 0.12 | 0.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.69572 | 0.13722 | 0.63675 | 0.15856 | 0.11754
TRIPHENYL PHOSPHATE | 1433 | 62092GCM37 | 2010-01-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.54929 | Restek | A070024 | Restek A070024: 20 µl | 0.10195 | TRIPHENYL_PHOSPHATE | E | 0.12 | 0.056 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.54929 | Restek A070024 | [9 empty] | Y | Estimated Values | Y | 1 |  | 4 | 0.79382 | 0.25595 | 0.7673 | 0.42401 | 0.31431
TRIPHENYL PHOSPHATE | 1433 | 62092GCM37 | 2010-02-23 | 2009-10-01 | 2010-09-30 | ug/L | 0.92027 | Restek | A070024 | Restek A070024: 10 µl | 0.049985 | TRIPHENYL_PHOSPHATE | E | 0.12 | 0.046 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.92027 | Restek A070024 | [9 empty] | Y | Estimated Values | Y | 1 |  | 4 | 0.79382 | 0.25595 | 0.7673 | 0.42401 | 0.31431
TRIPHENYL PHOSPHATE | 1433 | 62092GCM37 | 2010-06-16 | 2009-10-01 | 2010-09-30 | ug/L | 0.61434 | Restek | A070024 | Restek A070024: 80 µl | 0.40694 | TRIPHENYL_PHOSPHATE | . | 0.12 | 0.25 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61434 | Restek A070024 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.79382 | 0.25595 | 0.7673 | 0.42401 | 0.31431
TRIPHENYL PHOSPHATE | 1433 | 62092GCM37 | 2010-10-14 | 2010-10-01 | 2011-01-31 | ug/L | 1.0914 | Restek | A070024 | Restek A070024: 40 µl | 0.20158 | TRIPHENYL_PHOSPHATE | . | 0.12 | 0.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0914 | Restek A070024 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.79382 | 0.25595 | 0.7673 | 0.42401 | 0.31431
TRIPHENYL PHOSPHATE | 1433 | 62092GCM37 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.81081 | Spex Organics, Abs | T1130531001, 040913WWF | Spex Organics T1130531001: 50 µl & Abs 040913WWF: 50 µl | 0.629 | TRIPHENYL_PHOSPHATE | . | 0.12 | 0.51 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81081 | SpT111001, Ab0403WWF | Sp | Ab | Ab | T111001 | 0403WWF | 0403WWF | T111001 | 0403WWF | 0403WWF | Y | Recoverable Result | Y | 2 |  | 1 | 0.81081 |  | 0.81081 | 0 | 0
TRIPHENYL PHOSPHATE | 1433 | 62092GCM37 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.6 | Spex Organics, Supelco | T1130531001, LB99396 | Spex Organics T1130531001: 20 µl & Supelco LB99396: 20 µl | 0.25 | TRIPHENYL_PHOSPHATE | . | 0.12 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6 | SpT111001, SuLB99396 | Sp | Su | Su | T111001 | LB99396 | LB99396 | T111001 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.6 |  | 0.6 | 0 | 0
TRIPHENYL PHOSPHATE | 1433 | 62092GCM37 | 2012-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.9604 | Spex Organics, Abs | T1120521009, 051112 | Spex Organics T1120521009: 10 µl & Abs 051112: 10 µl | 0.101 | TRIPHENYL_PHOSPHATE | . | 0.12 | 0.097 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.9604 | SpT111009, Ab051112 | Sp | Ab | Ab | T111009 | 051112 | 051112 | T111009 |  |  | Y | Recoverable Result | Y | 1 |  | 1 | 0.9604 |  | 0.9604 | 0 | 0
TRIPHENYL PHOSPHATE | 1433 | 62092GCM37 | 2012-08-08 | 2011-10-01 | 2050-09-30 | ug/L | 1.0479 | Spex Organics, Supelco | T1120521009, LB92784 | Spex Organics T1120521009: 20 µl & Supelco LB92784: 20 µl | 0.2004 | TRIPHENYL_PHOSPHATE | . | 0.12 | 0.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0479 | SpT111009, SuLB92784 | Sp | Su | Su | T111009 | LB92784 | LB92784 | T111009 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.0479 |  | 1.0479 | 0 | 0
TRIPHENYL PHOSPHATE | 1433 | 62092GCM37 | 2010-12-08 | 2010-10-01 | 2011-01-31 | ug/L | 0.65676 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl | 0.41111 | TRIPHENYL_PHOSPHATE | . | 0.12 | 0.27 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65676 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.63694 | 0.12551 | 0.63018 | 0.24149 | 0.17902
TRIPHENYL PHOSPHATE | 1433 | 62092GCM37 | 2011-01-28 | 2010-10-01 | 2011-01-31 | ug/L | 0.70304 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl | 0.41249 | TRIPHENYL_PHOSPHATE | . | 0.12 | 0.29 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70304 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.63694 | 0.12551 | 0.63018 | 0.24149 | 0.17902
TRIPHENYL PHOSPHATE | 1433 | 62092GCM37 | 2011-03-09 | 2011-02-01 | 2011-09-30 | ug/L | 0.60361 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl | 1.0272 | TRIPHENYL_PHOSPHATE | . | 0.12 | 0.62 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60361 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.63694 | 0.12551 | 0.63018 | 0.24149 | 0.17902
TRIPHENYL PHOSPHATE | 1433 | 62092GCM37 | 2011-04-28 | 2011-02-01 | 2011-09-30 | ug/L | 0.53625 | Spex Organics | T1100706008 | Spex Organics T1100706008: 80 µl | 1.6597 | TRIPHENYL_PHOSPHATE | . | 0.12 | 0.89 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.53625 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.63694 | 0.12551 | 0.63018 | 0.24149 | 0.17902
TRIPHENYL PHOSPHATE | 1433 | 62092GCM37 | 2011-07-22 | 2011-02-01 | 2011-09-30 | ug/L | 0.6003 | Spex Organics | T1100706008 | Spex Organics T1100706008: 80 µl | 1.6658 | TRIPHENYL_PHOSPHATE | . | 0.12 | 1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6003 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.63694 | 0.12551 | 0.63018 | 0.24149 | 0.17902
TRIPHENYL PHOSPHATE | 1433 | 62092GCM37 | 2011-08-25 | 2011-02-01 | 2011-09-30 | ug/L | 0.76923 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl | 0.416 | TRIPHENYL_PHOSPHATE | . | 0.12 | 0.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76923 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.63694 | 0.12551 | 0.63018 | 0.24149 | 0.17902
TRIPHENYL PHOSPHATE | 1433 | 62092GCM37 | 2011-11-04 | 2011-10-01 | 2050-09-30 | ug/L | 0.5 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl | 1.04 | TRIPHENYL_PHOSPHATE | . | 0.12 | 0.52 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.63694 | 0.12551 | 0.63018 | 0.24149 | 0.17902
TRIPHENYL PHOSPHATE | 1433 | 62092GCM37 | 2012-01-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.45673 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl | 0.416 | TRIPHENYL_PHOSPHATE | . | 0.12 | 0.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.45673 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.63694 | 0.12551 | 0.63018 | 0.24149 | 0.17902
TRIPHENYL PHOSPHATE | 1433 | 62092GCM37 | 2012-02-16 | 2011-10-01 | 2050-09-30 | ug/L | 0.76923 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl | 1.04 | TRIPHENYL_PHOSPHATE | . | 0.12 | 0.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76923 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.63694 | 0.12551 | 0.63018 | 0.24149 | 0.17902
TRIPHENYL PHOSPHATE | 1433 | 62092GCM37 | 2012-03-09 | 2011-10-01 | 2050-09-30 | ug/L | 0.81731 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl | 0.416 | TRIPHENYL_PHOSPHATE | . | 0.12 | 0.34 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81731 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.63694 | 0.12551 | 0.63018 | 0.24149 | 0.17902
TRIPHENYL PHOSPHATE | 1433 | 62092GCM37 | 2012-05-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.75 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl | 1.04 | TRIPHENYL_PHOSPHATE | . | 0.12 | 0.78 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.63694 | 0.12551 | 0.63018 | 0.24149 | 0.17902
TRIPHENYL PHOSPHATE | 1433 | 62092GCM37 | 2012-05-09 | 2011-10-01 | 2050-09-30 | ug/L | 0.48077 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl | 1.04 | TRIPHENYL_PHOSPHATE | . | 0.12 | 0.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.48077 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.63694 | 0.12551 | 0.63018 | 0.24149 | 0.17902
TRIPHENYL PHOSPHATE | 1433 | 62092GCM37 | 2012-08-30 | 2011-10-01 | 2050-09-30 | ug/L | 0.8483 | Supelco, Accu | LB92784, 212051389 | Supelco LB92784: 10 µl & Accu 212051389: 10 µl | 0.1002 | TRIPHENYL_PHOSPHATE | . | 0.12 | 0.085 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.8483 | SuLB92784, Ac2121389 | Su | Ac | Ac | LB92784 | 2121389 | 2121389 |  | 2121389 | 2121389 | Y | Recoverable Result | Y | 1 |  | 3 | 0.69528 | 0.14543 | 0.67864 | 0.28942 | 0.21454
TRIPHENYL PHOSPHATE | 1433 | 62092GCM37 | 2013-01-23 | 2011-10-01 | 2050-09-30 | ug/L | 0.55888 | Supelco, Accu | LB92784, 212051389 | Supelco LB92784: 10 µl & Accu 212051389: 10 µl | 0.1002 | TRIPHENYL_PHOSPHATE | . | 0.12 | 0.056 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.55888 | SuLB92784, Ac2121389 | Su | Ac | Ac | LB92784 | 2121389 | 2121389 |  | 2121389 | 2121389 | Y | Recoverable Result | Y | 1 |  | 3 | 0.69528 | 0.14543 | 0.67864 | 0.28942 | 0.21454
TRIPHENYL PHOSPHATE | 1433 | 62092GCM37 | 2013-04-16 | 2011-10-01 | 2050-09-30 | ug/L | 0.67864 | Supelco, Accu | LB92784, 212051389 | Supelco LB92784: 50 µl & Accu 212051389: 50 µl | 0.501 | TRIPHENYL_PHOSPHATE | . | 0.12 | 0.34 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67864 | SuLB92784, Ac2121389 | Su | Ac | Ac | LB92784 | 2121389 | 2121389 |  | 2121389 | 2121389 | Y | Recoverable Result | Y | 2 |  | 3 | 0.69528 | 0.14543 | 0.67864 | 0.28942 | 0.21454
TRIPHENYL PHOSPHATE | 1433 | 62092GCM37 | 2013-02-28 | 2011-10-01 | 2050-09-30 | ug/L | 0.66866 | Supelco, ERA | LB92784, 0507-12-05.2 | Supelco LB92784: 10 µl & ERA 0507-12-05.2: 10 µl | 0.1002 | TRIPHENYL_PHOSPHATE | . | 0.12 | 0.067 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.66866 | SuLB92784, ER05005.2 | Su | ER | ER | LB92784 | 05005.2 | 05005.2 |  | 05005.2 | 05005.2 | Y | Recoverable Result | Y | 1 |  | 1 | 0.66866 |  | 0.66866 | 0 | 0
TRIPHENYL PHOSPHATE | 1433 | 62092GCM37 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.52 | Supelco, Accu | LB99396, 213041004 | Supelco LB99396: 20 µl & Accu 213041004: 20 µl | 0.25 | TRIPHENYL_PHOSPHATE | . | 0.12 | 0.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.52 | SuLB99396, Ac2131004 | Su | Ac | Ac | LB99396 | 2131004 | 2131004 |  | 2131004 | 2131004 | Y | Recoverable Result | Y | 2 |  | 1 | 0.52 |  | 0.52 | 0 | 0
TRIPHENYL PHOSPHATE | 1433 | 62092GCM37 | 2013-07-11 | 2011-10-01 | 2050-09-30 | ug/L | 0.9008 | Supelco, ERA | LB99396, 0318-13-01.3 | Supelco LB99396: 50 µl & ERA 0318-13-01.3: 50 µl | 0.625 | TRIPHENYL_PHOSPHATE | . | 0.12 | 0.563 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9008 | SuLB99396, ER03101.3 | Su | ER | ER | LB99396 | 03101.3 | 03101.3 |  | 03101.3 | 03101.3 | Y | Recoverable Result | Y | 2 |  | 1 | 0.9008 |  | 0.9008 | 0 | 0
TRIPHENYL PHOSPHATE | 1433 | 62092GCM37 | 2008-03-31 | 2007-10-01 | 2008-09-30 | ug/L | 0.64368 | Supelco | LB50015 | Supelco LB50015: 25 µl | 1.9109 | TRIPHENYL_PHOSPHATE | . | 0.1 | 1.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64368 | Supelco LB50015 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.63938 | 0.10641 | 0.64368 | 0.12392 | 0.091862
TRIPHENYL PHOSPHATE | 1433 | 62092GCM37 | 2008-04-09 | 2007-10-01 | 2008-09-30 | ug/L | 0.60976 | Supelco | LB50015 | Supelco LB50015: 25 µl | 1.8204 | TRIPHENYL_PHOSPHATE | . | 0.1 | 1.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60976 | Supelco LB50015 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.63938 | 0.10641 | 0.64368 | 0.12392 | 0.091862
TRIPHENYL PHOSPHATE | 1433 | 62092GCM37 | 2008-04-21 | 2007-10-01 | 2008-09-30 | ug/L | 0.77967 | Supelco | LB50015 | Supelco LB50015: 25 µl | 1.8213 | TRIPHENYL_PHOSPHATE | . | 0.1 | 1.42 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77967 | Supelco LB50015 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.63938 | 0.10641 | 0.64368 | 0.12392 | 0.091862
TRIPHENYL PHOSPHATE | 1433 | 62092GCM37 | 2008-06-03 | 2007-10-01 | 2008-09-30 | ug/L | 0.69092 | Supelco | LB50015 | Supelco LB50015: 25 µl | 1.8092 | TRIPHENYL_PHOSPHATE | . | 0.1 | 1.25 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69092 | Supelco LB50015 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.63938 | 0.10641 | 0.64368 | 0.12392 | 0.091862
TRIPHENYL PHOSPHATE | 1433 | 62092GCM37 | 2008-08-07 | 2007-10-01 | 2008-09-30 | ug/L | 0.58998 | Supelco | LB50015 | Supelco LB50015: 25 µl | 1.8136 | TRIPHENYL_PHOSPHATE | . | 0.1 | 1.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58998 | Supelco LB50015 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.63938 | 0.10641 | 0.64368 | 0.12392 | 0.091862
TRIPHENYL PHOSPHATE | 1433 | 62092GCM37 | 2008-09-10 | 2007-10-01 | 2008-09-30 | ug/L | 0.7139 | Supelco | LB50015 | Supelco LB50015: 25 µl | 1.793 | TRIPHENYL_PHOSPHATE | . | 0.1 | 1.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7139 | Supelco LB50015 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.63938 | 0.10641 | 0.64368 | 0.12392 | 0.091862
TRIPHENYL PHOSPHATE | 1433 | 62092GCM37 | 2008-09-24 | 2007-10-01 | 2008-09-30 | ug/L | 0.44777 | Supelco | LB50015 | Supelco LB50015: 25 µl | 1.7933 | TRIPHENYL_PHOSPHATE | E | 0.1 | 0.803 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.44777 | Supelco LB50015 | [9 empty] | Y | Estimated Values | Y | 2 |  | 7 | 0.63938 | 0.10641 | 0.64368 | 0.12392 | 0.091862
TRIPHENYL PHOSPHATE | 1433 | 62092GCM37 | 2010-01-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.39107 | Ultra | CF-3634 | Ultra CF-3634: 40 µl | 0.20201 | TRIPHENYL_PHOSPHATE | E | 0.12 | 0.079 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.39107 | Ultra CF-3634 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.61427 | 0.18679 | 0.62163 | 0.14441 | 0.10705
TRIPHENYL PHOSPHATE | 1433 | 62092GCM37 | 2010-01-27 | 2009-10-01 | 2010-09-30 | ug/L | 0.65536 | Ultra | CF-3634 | Ultra CF-3634: 20 µl | 0.10071 | TRIPHENYL_PHOSPHATE | E | 0.12 | 0.066 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.65536 | Ultra CF-3634 | [9 empty] | Y | Estimated Values | Y | 1 |  | 5 | 0.61427 | 0.18679 | 0.62163 | 0.14441 | 0.10705
TRIPHENYL PHOSPHATE | 1433 | 62092GCM37 | 2010-03-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.89235 | Ultra | CF-3634 | Ultra CF-3634: 40 µl | 0.20171 | TRIPHENYL_PHOSPHATE | . | 0.12 | 0.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89235 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.61427 | 0.18679 | 0.62163 | 0.14441 | 0.10705
TRIPHENYL PHOSPHATE | 1433 | 62092GCM37 | 2010-04-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.62163 | Ultra | CF-3634 | Ultra CF-3634: 20 µl | 0.099737 | TRIPHENYL_PHOSPHATE | E | 0.12 | 0.062 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.62163 | Ultra CF-3634 | [9 empty] | Y | Estimated Values | Y | 1 |  | 5 | 0.61427 | 0.18679 | 0.62163 | 0.14441 | 0.10705
TRIPHENYL PHOSPHATE | 1433 | 62092GCM37 | 2010-09-03 | 2009-10-01 | 2010-09-30 | ug/L | 0.51095 | Ultra | CF-3634 | Ultra CF-3634: 80 µl | 0.43057 | TRIPHENYL_PHOSPHATE | . | 0.12 | 0.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.51095 | Ultra CF-3634 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.61427 | 0.18679 | 0.62163 | 0.14441 | 0.10705
TRIPHENYL PHOSPHATE | 1433 | 62092GCM37 | 2010-12-09 | 2010-10-01 | 2011-01-31 | ug/L | 0.37085 | Ultra | CG-2301 | Ultra CG-2301: 20 µl | 0.40447 | TRIPHENYL_PHOSPHATE | . | 0.12 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.37085 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.62301 | 0.15069 | 0.57692 | 0.19908 | 0.14757
TRIPHENYL PHOSPHATE | 1433 | 62092GCM37 | 2010-12-16 | 2010-10-01 | 2011-01-31 | ug/L | 0.47808 | Ultra | CG-2301 | Ultra CG-2301: 80 µl | 1.6315 | TRIPHENYL_PHOSPHATE | . | 0.12 | 0.78 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.47808 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.62301 | 0.15069 | 0.57692 | 0.19908 | 0.14757
TRIPHENYL PHOSPHATE | 1433 | 62092GCM37 | 2011-04-06 | 2011-02-01 | 2011-09-30 | ug/L | 0.52208 | Ultra | CG-2301 | Ultra CG-2301: 20 µl | 0.42139 | TRIPHENYL_PHOSPHATE | . | 0.12 | 0.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.52208 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.62301 | 0.15069 | 0.57692 | 0.19908 | 0.14757
TRIPHENYL PHOSPHATE | 1433 | 62092GCM37 | 2011-06-08 | 2011-02-01 | 2011-09-30 | ug/L | 0.85226 | Ultra | CG-2301 | Ultra CG-2301: 50 µl | 1.0443 | TRIPHENYL_PHOSPHATE | . | 0.12 | 0.89 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85226 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.62301 | 0.15069 | 0.57692 | 0.19908 | 0.14757
TRIPHENYL PHOSPHATE | 1433 | 62092GCM37 | 2011-06-29 | 2011-02-01 | 2011-09-30 | ug/L | 0.57058 | Ultra | CG-2301 | Ultra CG-2301: 20 µl | 0.42063 | TRIPHENYL_PHOSPHATE | . | 0.12 | 0.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57058 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.62301 | 0.15069 | 0.57692 | 0.19908 | 0.14757
TRIPHENYL PHOSPHATE | 1433 | 62092GCM37 | 2011-08-26 | 2011-02-01 | 2011-09-30 | ug/L | 0.54808 | Ultra | CG-2301 | Ultra CG-2301: 50 µl | 1.04 | TRIPHENYL_PHOSPHATE | . | 0.12 | 0.57 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.54808 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.62301 | 0.15069 | 0.57692 | 0.19908 | 0.14757
TRIPHENYL PHOSPHATE | 1433 | 62092GCM37 | 2011-10-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.49279 | Ultra | CG-2301 | Ultra CG-2301: 80 µl | 1.664 | TRIPHENYL_PHOSPHATE | . | 0.12 | 0.82 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.49279 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.62301 | 0.15069 | 0.57692 | 0.19908 | 0.14757
TRIPHENYL PHOSPHATE | 1433 | 62092GCM37 | 2011-10-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.63462 | Ultra | CG-2301 | Ultra CG-2301: 50 µl | 1.04 | TRIPHENYL_PHOSPHATE | . | 0.12 | 0.66 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63462 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.62301 | 0.15069 | 0.57692 | 0.19908 | 0.14757
TRIPHENYL PHOSPHATE | 1433 | 62092GCM37 | 2011-11-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.67308 | Ultra | CG-2301 | Ultra CG-2301: 20 µl | 0.416 | TRIPHENYL_PHOSPHATE | . | 0.12 | 0.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67308 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.62301 | 0.15069 | 0.57692 | 0.19908 | 0.14757
TRIPHENYL PHOSPHATE | 1433 | 62092GCM37 | 2012-02-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.57692 | Ultra | CG-2301 | Ultra CG-2301: 50 µl | 1.04 | TRIPHENYL_PHOSPHATE | . | 0.12 | 0.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57692 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.62301 | 0.15069 | 0.57692 | 0.19908 | 0.14757
TRIPHENYL PHOSPHATE | 1433 | 62092GCM37 | 2012-02-16 | 2011-10-01 | 2050-09-30 | ug/L | 0.72115 | Ultra | CG-2301 | Ultra CG-2301: 80 µl | 1.664 | TRIPHENYL_PHOSPHATE | . | 0.12 | 1.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72115 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.62301 | 0.15069 | 0.57692 | 0.19908 | 0.14757
TRIPHENYL PHOSPHATE | 1433 | 62092GCM37 | 2012-04-11 | 2011-10-01 | 2050-09-30 | ug/L | 0.81731 | Ultra | CG-2301 | Ultra CG-2301: 20 µl | 0.416 | TRIPHENYL_PHOSPHATE | . | 0.12 | 0.34 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81731 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.62301 | 0.15069 | 0.57692 | 0.19908 | 0.14757
TRIPHENYL PHOSPHATE | 1433 | 62092GCM37 | 2012-06-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.84135 | Ultra | CG-2301 | Ultra CG-2301: 80 µl | 1.664 | TRIPHENYL_PHOSPHATE | . | 0.12 | 1.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84135 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 0.62301 | 0.15069 | 0.57692 | 0.19908 | 0.14757