## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
TRIS(DICHLORISOPROPYL)PHOSPHATE | 1433 | 62088GCM37 | 2013-08-21 | 2011-10-01 | 2050-09-30 | ug/L | 1.0649 | Abs, Accu | 040913WWF, 213041004 | Abs 040913WWF: 20 µl & Accu 213041004: 20 µl | 0.601 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.16 | 0.64 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0649 | Ab0403WWF, Ac2131004 | Ab | Ac | Ac | 0403WWF | 2131004 | 2131004 | 0403WWF | 2131004 | 2131004 | Y | Recoverable Result | Y | 2 |  | 1 | 1.0649 |  | 1.0649 | 0 | 0
TRIS(DICHLORISOPROPYL)PHOSPHATE | 1433 | 62088GCM37 | 2014-02-12 | 2011-10-01 | 2050-09-30 | ug/L | 1.0649 | Abs, ERA | 040913WWF, 0318-13-01.3 | Abs 040913WWF: 20 µl & ERA 0318-13-01.3: 20 µl | 0.601 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.16 | 0.64 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0649 | Ab0403WWF, ER03101.3 | Ab | ER | ER | 0403WWF | 03101.3 | 03101.3 | 0403WWF | 03101.3 | 03101.3 | Y | Recoverable Result | Y | 2 |  | 1 | 1.0649 |  | 1.0649 | 0 | 0
TRIS(DICHLORISOPROPYL)PHOSPHATE | 1433 | 62088GCM37 | 2012-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.99602 | Abs, Accu | 051112, 212051389 | Abs 051112: 100 µl & Accu 212051389: 100 µl | 2.51 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.16 | 2.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99602 | Ab051112, Ac2121389 | Ab | Ac | Ac | 051112 | 2121389 | 2121389 |  | 2121389 | 2121389 | Y | Recoverable Result | Y | 2 |  | 1 | 0.99602 |  | 0.99602 | 0 | 0
TRIS(DICHLORISOPROPYL)PHOSPHATE | 1433 | 62088GCM37 | 2013-05-15 | 2011-10-01 | 2050-09-30 | ug/L | 1.0757 | Abs, Spex Organics | 051112, T1120521009 | Abs 051112: 20 µl & Spex Organics T1120521009: 20 µl | 0.502 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.16 | 0.54 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0757 | Ab051112, SpT111009 | Ab | Sp | Sp | 051112 | T111009 | T111009 |  | T111009 | T111009 | Y | Recoverable Result | Y | 2 |  | 1 | 1.0757 |  | 1.0757 | 0 | 0
TRIS(DICHLORISOPROPYL)PHOSPHATE | 1433 | 62088GCM37 | 2012-08-07 | 2011-10-01 | 2050-09-30 | ug/L | 1.0159 | Abs | 051112 | Abs 051112: 20 µl | 0.502 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.16 | 0.51 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0159 | Abs 051112 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 1.0159 |  | 1.0159 | 0 | 0
TRIS(DICHLORISOPROPYL)PHOSPHATE | 1433 | 62088GCM37 | 2009-01-08 | 2007-10-01 | 2009-09-30 | ug/L | 1.0559 | Abs | 080508WW | Abs 080508WW: 20 µl | 0.34474 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.12 | 0.364 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0559 | Abs 080508WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.1243 | 0.13035 | 1.0954 | 0.068274 | 0.050611
TRIS(DICHLORISOPROPYL)PHOSPHATE | 1433 | 62088GCM37 | 2009-01-29 | 2007-10-01 | 2009-09-30 | ug/L | 1.0978 | Abs | 080508WW | Abs 080508WW: 20 µl | 0.36254 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.12 | 0.398 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0978 | Abs 080508WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.1243 | 0.13035 | 1.0954 | 0.068274 | 0.050611
TRIS(DICHLORISOPROPYL)PHOSPHATE | 1433 | 62088GCM37 | 2009-03-21 | 2007-10-01 | 2009-09-30 | ug/L | 1.1241 | Abs | 080508WW | Abs 080508WW: 40 µl | 0.72056 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.12 | 0.81 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1241 | Abs 080508WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.1243 | 0.13035 | 1.0954 | 0.068274 | 0.050611
TRIS(DICHLORISOPROPYL)PHOSPHATE | 1433 | 62088GCM37 | 2009-05-28 | 2007-10-01 | 2009-09-30 | ug/L | 0.99948 | Abs | 080508WW | Abs 080508WW: 20 µl | 0.34018 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.12 | 0.34 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99948 | Abs 080508WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.1243 | 0.13035 | 1.0954 | 0.068274 | 0.050611
TRIS(DICHLORISOPROPYL)PHOSPHATE | 1433 | 62088GCM37 | 2009-08-06 | 2007-10-01 | 2009-09-30 | ug/L | 1.0929 | Abs | 080508WW | Abs 080508WW: 40 µl | 0.68623 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.12 | 0.75 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0929 | Abs 080508WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.1243 | 0.13035 | 1.0954 | 0.068274 | 0.050611
TRIS(DICHLORISOPROPYL)PHOSPHATE | 1433 | 62088GCM37 | 2009-10-09 | 2009-10-01 | 2010-09-30 | ug/L | 1.3753 | Abs | 080508WW | Abs 080508WW: 20 µl | 0.34174 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.16 | 0.47 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3753 | Abs 080508WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.1243 | 0.13035 | 1.0954 | 0.068274 | 0.050611
TRIS(DICHLORISOPROPYL)PHOSPHATE | 1433 | 62088GCM37 | 2010-01-21 | 2009-10-01 | 2010-09-30 | ug/L | 1.0482 | ChemService | 480-95B | ChemService 480-95B: 40 µl | 0.37208 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.16 | 0.39 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0482 | ChemService 480-95B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0836 | 0.11555 | 1.0868 | 0.17475 | 0.12954
TRIS(DICHLORISOPROPYL)PHOSPHATE | 1433 | 62088GCM37 | 2010-02-23 | 2009-10-01 | 2010-09-30 | ug/L | 0.94438 | ChemService | 480-95B | ChemService 480-95B: 80 µl | 0.76241 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.16 | 0.72 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94438 | ChemService 480-95B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0836 | 0.11555 | 1.0868 | 0.17475 | 0.12954
TRIS(DICHLORISOPROPYL)PHOSPHATE | 1433 | 62088GCM37 | 2010-06-03 | 2009-10-01 | 2010-09-30 | ug/L | 1.2165 | ChemService | 480-95B | ChemService 480-95B: 20 µl | 0.18907 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.16 | 0.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2165 | ChemService 480-95B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0836 | 0.11555 | 1.0868 | 0.17475 | 0.12954
TRIS(DICHLORISOPROPYL)PHOSPHATE | 1433 | 62088GCM37 | 2010-10-14 | 2010-10-01 | 2011-01-31 | ug/L | 1.1255 | ChemService | 480-95B | ChemService 480-95B: 20 µl | 0.18658 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.16 | 0.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1255 | ChemService 480-95B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0836 | 0.11555 | 1.0868 | 0.17475 | 0.12954
TRIS(DICHLORISOPROPYL)PHOSPHATE | 1433 | 62088GCM37 | 2013-06-19 | 2011-10-01 | 2050-09-30 | ug/L | 1.0815 | Crescent, Abs | 04CC145, 040913WWF | Crescent 04CC145: 20 µl & Abs 040913WWF: 20 µl | 0.601 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.16 | 0.65 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0815 | Cr04CC145, Ab0403WWF | Cr | Ab | Ab | 04CC145 | 0403WWF | 0403WWF |  | 0403WWF | 0403WWF | Y | Recoverable Result | Y | 2 |  | 1 | 1.0815 |  | 1.0815 | 0 | 0
TRIS(DICHLORISOPROPYL)PHOSPHATE | 1433 | 62088GCM37 | 2013-06-18 | 2011-10-01 | 2050-09-30 | ug/L | 1.034 | Crescent, Supelco | 04CC145, LB99396 | Crescent 04CC145: 20 µl & Supelco LB99396: 20 µl | 0.5996 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.16 | 0.62 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.034 | Cr04CC145, SuLB99396 | Cr | Su | Su | 04CC145 | LB99396 | LB99396 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.034 |  | 1.034 | 0 | 0
TRIS(DICHLORISOPROPYL)PHOSPHATE | 1433 | 62088GCM37 | 2012-08-08 | 2011-10-01 | 2050-09-30 | ug/L | 1.3147 | Crescent, Abs | 05BB047, 051112 | Crescent 05BB047: 10 µl & Abs 051112: 10 µl | 0.251 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.16 | 0.33 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3147 | Cr05BB047, Ab051112 | Cr | Ab | Ab | 05BB047 | 051112 | 051112 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 1.1421 | 0.29903 | 1.3147 | 0.51793 | 0.38393
TRIS(DICHLORISOPROPYL)PHOSPHATE | 1433 | 62088GCM37 | 2013-02-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.79681 | Crescent, Abs | 05BB047, 051112 | Crescent 05BB047: 50 µl & Abs 051112: 50 µl | 1.255 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.16 | 1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79681 | Cr05BB047, Ab051112 | Cr | Ab | Ab | 05BB047 | 051112 | 051112 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 1.1421 | 0.29903 | 1.3147 | 0.51793 | 0.38393
TRIS(DICHLORISOPROPYL)PHOSPHATE | 1433 | 62088GCM37 | 2013-04-16 | 2011-10-01 | 2050-09-30 | ug/L | 1.3147 | Crescent, Abs | 05BB047, 051112 | Crescent 05BB047: 10 µl & Abs 051112: 10 µl | 0.251 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.16 | 0.33 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3147 | Cr05BB047, Ab051112 | Cr | Ab | Ab | 05BB047 | 051112 | 051112 |  |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 1.1421 | 0.29903 | 1.3147 | 0.51793 | 0.38393
TRIS(DICHLORISOPROPYL)PHOSPHATE | 1433 | 62088GCM37 | 2012-12-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.86241 | Crescent, Supelco | 05BB047, LB92784 | Crescent 05BB047: 100 µl & Supelco LB92784: 100 µl | 2.551 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.16 | 2.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86241 | Cr05BB047, SuLB92784 | Cr | Su | Su | 05BB047 | LB92784 | LB92784 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.86241 |  | 0.86241 | 0 | 0
TRIS(DICHLORISOPROPYL)PHOSPHATE | 1433 | 62088GCM37 | 2009-01-28 | 2007-10-01 | 2009-09-30 | ug/L | 1.1125 | ERA | 0804-08-02WW | ERA 0804-08-02WW: 40 µl | 0.68314 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.12 | 0.76 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1125 | ERA 0804-08-02WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0589 | 0.13964 | 1.0421 | 0.25814 | 0.19136
TRIS(DICHLORISOPROPYL)PHOSPHATE | 1433 | 62088GCM37 | 2009-03-05 | 2007-10-01 | 2009-09-30 | ug/L | 0.91831 | ERA | 0804-08-02WW | ERA 0804-08-02WW: 20 µl | 0.34847 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.12 | 0.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91831 | ERA 0804-08-02WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0589 | 0.13964 | 1.0421 | 0.25814 | 0.19136
TRIS(DICHLORISOPROPYL)PHOSPHATE | 1433 | 62088GCM37 | 2009-04-23 | 2007-10-01 | 2009-09-30 | ug/L | 1.243 | ERA | 0804-08-02WW | ERA 0804-08-02WW: 20 µl | 0.34595 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.12 | 0.43 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.243 | ERA 0804-08-02WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0589 | 0.13964 | 1.0421 | 0.25814 | 0.19136
TRIS(DICHLORISOPROPYL)PHOSPHATE | 1433 | 62088GCM37 | 2009-07-02 | 2007-10-01 | 2009-09-30 | ug/L | 0.97166 | ERA | 0804-08-02WW | ERA 0804-08-02WW: 20 µl | 0.33963 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.12 | 0.33 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97166 | ERA 0804-08-02WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0589 | 0.13964 | 1.0421 | 0.25814 | 0.19136
TRIS(DICHLORISOPROPYL)PHOSPHATE | 1433 | 62088GCM37 | 2009-09-29 | 2007-10-01 | 2009-09-30 | ug/L | 0.9248 | ERA | 0804-08-02WW | ERA 0804-08-02WW: 40 µl | 0.67041 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.12 | 0.62 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9248 | ERA 0804-08-02WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0589 | 0.13964 | 1.0421 | 0.25814 | 0.19136
TRIS(DICHLORISOPROPYL)PHOSPHATE | 1433 | 62088GCM37 | 2009-10-22 | 2009-10-01 | 2010-09-30 | ug/L | 1.1829 | ERA | 0804-08-02WW | ERA 0804-08-02WW: 20 µl | 0.33814 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.16 | 0.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1829 | ERA 0804-08-02WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0589 | 0.13964 | 1.0421 | 0.25814 | 0.19136
TRIS(DICHLORISOPROPYL)PHOSPHATE | 1433 | 62088GCM37 | 2009-11-04 | 2009-10-01 | 2010-09-30 | ug/L | 1.5304 | NSI | 083109-01WW | NSI 083109-01WW: 20 µl | 0.1895 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.16 | 0.29 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.5304 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.1362 | 0.26204 | 1.0197 | 0.2356 | 0.17464
TRIS(DICHLORISOPROPYL)PHOSPHATE | 1433 | 62088GCM37 | 2010-02-03 | 2009-10-01 | 2010-09-30 | ug/L | 1.2547 | NSI | 083109-01WW | NSI 083109-01WW: 20 µl | 0.18331 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.16 | 0.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2547 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.1362 | 0.26204 | 1.0197 | 0.2356 | 0.17464
TRIS(DICHLORISOPROPYL)PHOSPHATE | 1433 | 62088GCM37 | 2010-03-25 | 2009-10-01 | 2010-09-30 | ug/L | 1.0191 | NSI | 083109-01WW | NSI 083109-01WW: 40 µl | 0.37287 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.16 | 0.38 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0191 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.1362 | 0.26204 | 1.0197 | 0.2356 | 0.17464
TRIS(DICHLORISOPROPYL)PHOSPHATE | 1433 | 62088GCM37 | 2010-03-25 | 2009-10-01 | 2010-09-30 | ug/L | 1.0197 | NSI | 083109-01WW | NSI 083109-01WW: 80 µl | 0.74529 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.16 | 0.76 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0197 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.1362 | 0.26204 | 1.0197 | 0.2356 | 0.17464
TRIS(DICHLORISOPROPYL)PHOSPHATE | 1433 | 62088GCM37 | 2010-06-29 | 2009-10-01 | 2010-09-30 | ug/L | 0.85695 | NSI | 083109-01WW | NSI 083109-01WW: 40 µl | 0.38509 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.16 | 0.33 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85695 | NSI 083109-01WW | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.1362 | 0.26204 | 1.0197 | 0.2356 | 0.17464
TRIS(DICHLORISOPROPYL)PHOSPHATE | 1433 | 62088GCM37 | 2008-04-21 | 2007-10-01 | 2009-09-30 | ug/L | 1.1603 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.61964 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.12 | 0.719 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1603 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.1098 | 0.065319 | 1.119 | 0.12555 | 0.093066
TRIS(DICHLORISOPROPYL)PHOSPHATE | 1433 | 62088GCM37 | 2008-07-12 | 2007-10-01 | 2009-09-30 | ug/L | 1.1005 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.5988 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.12 | 0.659 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1005 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.1098 | 0.065319 | 1.119 | 0.12555 | 0.093066
TRIS(DICHLORISOPROPYL)PHOSPHATE | 1433 | 62088GCM37 | 2008-09-17 | 2007-10-01 | 2009-09-30 | ug/L | 1.1374 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.58904 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.12 | 0.67 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1374 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.1098 | 0.065319 | 1.119 | 0.12555 | 0.093066
TRIS(DICHLORISOPROPYL)PHOSPHATE | 1433 | 62088GCM37 | 2009-04-02 | 2007-10-01 | 2009-09-30 | ug/L | 1.0348 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.62814 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.12 | 0.65 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0348 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.1098 | 0.065319 | 1.119 | 0.12555 | 0.093066
TRIS(DICHLORISOPROPYL)PHOSPHATE | 1433 | 62088GCM37 | 2009-05-06 | 2007-10-01 | 2009-09-30 | ug/L | 1.1911 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.60447 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.12 | 0.72 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1911 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.1098 | 0.065319 | 1.119 | 0.12555 | 0.093066
TRIS(DICHLORISOPROPYL)PHOSPHATE | 1433 | 62088GCM37 | 2009-07-30 | 2007-10-01 | 2009-09-30 | ug/L | 1.0344 | NWQL | BNA2SP053B | NWQL BNA2SP053B: 75 µl | 0.5994 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.12 | 0.62 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0344 | NWQL BNA2SP053B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.1098 | 0.065319 | 1.119 | 0.12555 | 0.093066
TRIS(DICHLORISOPROPYL)PHOSPHATE | 1433 | 62088GCM37 | 2009-03-06 | 2007-10-01 | 2009-09-30 | ug/L | 0.93274 | NWQL | BNA2SP071C | NWQL BNA2SP071C: 75 µl | 0.62183 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.12 | 0.58 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93274 | NWQL BNA2SP071C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.93274 |  | 0.93274 | 0 | 0
TRIS(DICHLORISOPROPYL)PHOSPHATE | 1433 | 62088GCM37 | 2010-06-04 | 2009-10-01 | 2010-09-30 | ug/L | 0.99117 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 1.9169 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.16 | 1.9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99117 | NWQL BNA2SP094D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.86268 | 0.1817 | 0.86268 | 0.25697 | 0.19049
TRIS(DICHLORISOPROPYL)PHOSPHATE | 1433 | 62088GCM37 | 2010-08-31 | 2009-10-01 | 2010-09-30 | ug/L | 0.7342 | NWQL | BNA2SP094D | NWQL BNA2SP094D: 60 µl | 1.9068 | TRIS(DICHLORISOPROPYL)PHOSPHATE | E | 0.16 | 1.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7342 | NWQL BNA2SP094D | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.86268 | 0.1817 | 0.86268 | 0.25697 | 0.19049
TRIS(DICHLORISOPROPYL)PHOSPHATE | 1433 | 62088GCM37 | 2011-06-08 | 2011-02-01 | 2011-09-30 | ug/L | 1.1691 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 20 µl | 0.64154 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.16 | 0.75 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1691 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1399 | 0.083319 | 1.1783 | 0.095156 | 0.070538
TRIS(DICHLORISOPROPYL)PHOSPHATE | 1433 | 62088GCM37 | 2011-08-02 | 2011-02-01 | 2011-09-30 | ug/L | 1.0156 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 80 µl | 2.56 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.16 | 2.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0156 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1399 | 0.083319 | 1.1783 | 0.095156 | 0.070538
TRIS(DICHLORISOPROPYL)PHOSPHATE | 1433 | 62088GCM37 | 2011-08-26 | 2011-02-01 | 2011-09-30 | ug/L | 1.1875 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 1.6 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.16 | 1.9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1875 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1399 | 0.083319 | 1.1783 | 0.095156 | 0.070538
TRIS(DICHLORISOPROPYL)PHOSPHATE | 1433 | 62088GCM37 | 2011-11-08 | 2011-10-01 | 2050-09-30 | ug/L | 1.1875 | NWQL | BNA2SP124B | NWQL BNA2SP124B: 50 µl | 1.6 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.16 | 1.9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1875 | NWQL BNA2SP124B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1399 | 0.083319 | 1.1783 | 0.095156 | 0.070538
TRIS(DICHLORISOPROPYL)PHOSPHATE | 1433 | 62088GCM37 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 1.1314 | Spex Organics, Abs | T1130531001, 040913WWF | Spex Organics T1130531001: 50 µl & Abs 040913WWF: 50 µl | 1.5025 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.16 | 1.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1314 | SpT111001, Ab0403WWF | Sp | Ab | Ab | T111001 | 0403WWF | 0403WWF | T111001 | 0403WWF | 0403WWF | Y | Recoverable Result | Y | 2 |  | 1 | 1.1314 |  | 1.1314 | 0 | 0
TRIS(DICHLORISOPROPYL)PHOSPHATE | 1433 | 62088GCM37 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.86724 | Spex Organics, Supelco | T1130531001, LB99396 | Spex Organics T1130531001: 20 µl & Supelco LB99396: 20 µl | 0.5996 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.16 | 0.52 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86724 | SpT111001, SuLB99396 | Sp | Su | Su | T111001 | LB99396 | LB99396 | T111001 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.86724 |  | 0.86724 | 0 | 0
TRIS(DICHLORISOPROPYL)PHOSPHATE | 1433 | 62088GCM37 | 2012-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 1.1155 | Spex Organics, Abs | T1120521009, 051112 | Spex Organics T1120521009: 10 µl & Abs 051112: 10 µl | 0.251 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.16 | 0.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1155 | SpT111009, Ab051112 | Sp | Ab | Ab | T111009 | 051112 | 051112 | T111009 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.1155 |  | 1.1155 | 0 | 0
TRIS(DICHLORISOPROPYL)PHOSPHATE | 1433 | 62088GCM37 | 2012-08-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.96041 | Spex Organics, Supelco | T1120521009, LB92784 | Spex Organics T1120521009: 20 µl & Supelco LB92784: 20 µl | 0.5102 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.16 | 0.49 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96041 | SpT111009, SuLB92784 | Sp | Su | Su | T111009 | LB92784 | LB92784 | T111009 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.96041 |  | 0.96041 | 0 | 0
TRIS(DICHLORISOPROPYL)PHOSPHATE | 1433 | 62088GCM37 | 2010-12-08 | 2010-10-01 | 2011-01-31 | ug/L | 1.0212 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl | 0.43087 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.16 | 0.44 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0212 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.1394 | 0.18451 | 1.1078 | 0.27369 | 0.20288
TRIS(DICHLORISOPROPYL)PHOSPHATE | 1433 | 62088GCM37 | 2011-01-28 | 2010-10-01 | 2011-01-31 | ug/L | 1.4804 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl | 0.43233 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.16 | 0.64 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4804 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.1394 | 0.18451 | 1.1078 | 0.27369 | 0.20288
TRIS(DICHLORISOPROPYL)PHOSPHATE | 1433 | 62088GCM37 | 2011-03-09 | 2011-02-01 | 2011-09-30 | ug/L | 1.1147 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl | 1.0765 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.16 | 1.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1147 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.1394 | 0.18451 | 1.1078 | 0.27369 | 0.20288
TRIS(DICHLORISOPROPYL)PHOSPHATE | 1433 | 62088GCM37 | 2011-04-28 | 2011-02-01 | 2011-09-30 | ug/L | 0.97731 | Spex Organics | T1100706008 | Spex Organics T1100706008: 80 µl | 1.7395 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.16 | 1.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97731 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.1394 | 0.18451 | 1.1078 | 0.27369 | 0.20288
TRIS(DICHLORISOPROPYL)PHOSPHATE | 1433 | 62088GCM37 | 2011-07-22 | 2011-02-01 | 2011-09-30 | ug/L | 1.0883 | Spex Organics | T1100706008 | Spex Organics T1100706008: 80 µl | 1.7459 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.16 | 1.9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0883 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.1394 | 0.18451 | 1.1078 | 0.27369 | 0.20288
TRIS(DICHLORISOPROPYL)PHOSPHATE | 1433 | 62088GCM37 | 2011-08-25 | 2011-02-01 | 2011-09-30 | ug/L | 1.3532 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl | 0.436 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.16 | 0.59 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3532 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.1394 | 0.18451 | 1.1078 | 0.27369 | 0.20288
TRIS(DICHLORISOPROPYL)PHOSPHATE | 1433 | 62088GCM37 | 2011-11-04 | 2011-10-01 | 2050-09-30 | ug/L | 1.1009 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl | 1.09 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.16 | 1.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1009 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.1394 | 0.18451 | 1.1078 | 0.27369 | 0.20288
TRIS(DICHLORISOPROPYL)PHOSPHATE | 1433 | 62088GCM37 | 2012-01-18 | 2011-10-01 | 2050-09-30 | ug/L | 1.1927 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl | 0.436 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.16 | 0.52 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1927 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.1394 | 0.18451 | 1.1078 | 0.27369 | 0.20288
TRIS(DICHLORISOPROPYL)PHOSPHATE | 1433 | 62088GCM37 | 2012-02-16 | 2011-10-01 | 2050-09-30 | ug/L | 1.1927 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl | 1.09 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.16 | 1.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1927 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.1394 | 0.18451 | 1.1078 | 0.27369 | 0.20288
TRIS(DICHLORISOPROPYL)PHOSPHATE | 1433 | 62088GCM37 | 2012-03-09 | 2011-10-01 | 2050-09-30 | ug/L | 1.3532 | Spex Organics | T1100706008 | Spex Organics T1100706008: 20 µl | 0.436 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.16 | 0.59 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3532 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.1394 | 0.18451 | 1.1078 | 0.27369 | 0.20288
TRIS(DICHLORISOPROPYL)PHOSPHATE | 1433 | 62088GCM37 | 2012-05-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.91743 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl | 1.09 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.16 | 1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91743 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.1394 | 0.18451 | 1.1078 | 0.27369 | 0.20288
TRIS(DICHLORISOPROPYL)PHOSPHATE | 1433 | 62088GCM37 | 2012-05-09 | 2011-10-01 | 2050-09-30 | ug/L | 0.88073 | Spex Organics | T1100706008 | Spex Organics T1100706008: 50 µl | 1.09 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.16 | 0.96 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88073 | Spex Organics T1100706008 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.1394 | 0.18451 | 1.1078 | 0.27369 | 0.20288
TRIS(DICHLORISOPROPYL)PHOSPHATE | 1433 | 62088GCM37 | 2012-08-30 | 2011-10-01 | 2050-09-30 | ug/L | 1.0976 | Supelco, Accu | LB92784, 212051389 | Supelco LB92784: 10 µl & Accu 212051389: 10 µl | 0.2551 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.16 | 0.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0976 | SuLB92784, Ac2121389 | Su | Ac | Ac | LB92784 | 2121389 | 2121389 |  | 2121389 | 2121389 | Y | Recoverable Result | Y | 2 |  | 3 | 1.0192 | 0.078401 | 1.0192 | 0.1568 | 0.11624
TRIS(DICHLORISOPROPYL)PHOSPHATE | 1433 | 62088GCM37 | 2013-01-23 | 2011-10-01 | 2050-09-30 | ug/L | 0.94081 | Supelco, Accu | LB92784, 212051389 | Supelco LB92784: 10 µl & Accu 212051389: 10 µl | 0.2551 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.16 | 0.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94081 | SuLB92784, Ac2121389 | Su | Ac | Ac | LB92784 | 2121389 | 2121389 |  | 2121389 | 2121389 | Y | Recoverable Result | Y | 2 |  | 3 | 1.0192 | 0.078401 | 1.0192 | 0.1568 | 0.11624
TRIS(DICHLORISOPROPYL)PHOSPHATE | 1433 | 62088GCM37 | 2013-04-16 | 2011-10-01 | 2050-09-30 | ug/L | 1.0192 | Supelco, Accu | LB92784, 212051389 | Supelco LB92784: 50 µl & Accu 212051389: 50 µl | 1.2755 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.16 | 1.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0192 | SuLB92784, Ac2121389 | Su | Ac | Ac | LB92784 | 2121389 | 2121389 |  | 2121389 | 2121389 | Y | Recoverable Result | Y | 2 |  | 3 | 1.0192 | 0.078401 | 1.0192 | 0.1568 | 0.11624
TRIS(DICHLORISOPROPYL)PHOSPHATE | 1433 | 62088GCM37 | 2013-12-05 | 2011-10-01 | 2050-09-30 | ug/L | 0.88392 | Supelco, Accu | LB99396, 213041004 | Supelco LB99396: 20 µl & Accu 213041004: 20 µl | 0.5996 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.16 | 0.53 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88392 | SuLB99396, Ac2131004 | Su | Ac | Ac | LB99396 | 2131004 | 2131004 |  | 2131004 | 2131004 | Y | Recoverable Result | Y | 2 |  | 1 | 0.88392 |  | 0.88392 | 0 | 0
TRIS(DICHLORISOPROPYL)PHOSPHATE | 1433 | 62088GCM37 | 2013-07-11 | 2011-10-01 | 2050-09-30 | ug/L | 1.0073 | Supelco, ERA | LB99396, 0318-13-01.3 | Supelco LB99396: 50 µl & ERA 0318-13-01.3: 50 µl | 1.499 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.16 | 1.51 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0073 | SuLB99396, ER03101.3 | Su | ER | ER | LB99396 | 03101.3 | 03101.3 |  | 03101.3 | 03101.3 | Y | Recoverable Result | Y | 2 |  | 1 | 1.0073 |  | 1.0073 | 0 | 0
TRIS(DICHLORISOPROPYL)PHOSPHATE | 1433 | 62088GCM37 | 2008-03-31 | 2007-10-01 | 2009-09-30 | ug/L | 0.88601 | Supelco | LB50015 | Supelco LB50015: 25 µl | 2.9007 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.12 | 2.57 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88601 | Supelco LB50015 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.8124 | 0.16028 | 0.88601 | 0.16936 | 0.12554
TRIS(DICHLORISOPROPYL)PHOSPHATE | 1433 | 62088GCM37 | 2008-04-09 | 2007-10-01 | 2009-09-30 | ug/L | 0.89026 | Supelco | LB50015 | Supelco LB50015: 25 µl | 2.7633 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.12 | 2.46 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89026 | Supelco LB50015 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.8124 | 0.16028 | 0.88601 | 0.16936 | 0.12554
TRIS(DICHLORISOPROPYL)PHOSPHATE | 1433 | 62088GCM37 | 2008-04-21 | 2007-10-01 | 2009-09-30 | ug/L | 0.93321 | Supelco | LB50015 | Supelco LB50015: 25 µl | 2.7646 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.12 | 2.58 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93321 | Supelco LB50015 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.8124 | 0.16028 | 0.88601 | 0.16936 | 0.12554
TRIS(DICHLORISOPROPYL)PHOSPHATE | 1433 | 62088GCM37 | 2008-06-03 | 2007-10-01 | 2009-09-30 | ug/L | 0.92489 | Supelco | LB50015 | Supelco LB50015: 25 µl | 2.7463 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.12 | 2.54 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92489 | Supelco LB50015 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.8124 | 0.16028 | 0.88601 | 0.16936 | 0.12554
TRIS(DICHLORISOPROPYL)PHOSPHATE | 1433 | 62088GCM37 | 2008-08-07 | 2007-10-01 | 2009-09-30 | ug/L | 0.75554 | Supelco | LB50015 | Supelco LB50015: 25 µl | 2.753 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.12 | 2.08 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75554 | Supelco LB50015 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.8124 | 0.16028 | 0.88601 | 0.16936 | 0.12554
TRIS(DICHLORISOPROPYL)PHOSPHATE | 1433 | 62088GCM37 | 2008-09-10 | 2007-10-01 | 2009-09-30 | ug/L | 0.81936 | Supelco | LB50015 | Supelco LB50015: 25 µl | 2.7216 | TRIS(DICHLORISOPROPYL)PHOSPHATE | E | 0.12 | 2.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81936 | Supelco LB50015 | [9 empty] | Y | Estimated Values | Y | 2 |  | 7 | 0.8124 | 0.16028 | 0.88601 | 0.16936 | 0.12554
TRIS(DICHLORISOPROPYL)PHOSPHATE | 1433 | 62088GCM37 | 2008-09-24 | 2007-10-01 | 2009-09-30 | ug/L | 0.47756 | Supelco | LB50015 | Supelco LB50015: 25 µl | 2.7222 | TRIS(DICHLORISOPROPYL)PHOSPHATE | E | 0.12 | 1.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.47756 | Supelco LB50015 | [9 empty] | Y | Estimated Values | Y | 2 |  | 7 | 0.8124 | 0.16028 | 0.88601 | 0.16936 | 0.12554
TRIS(DICHLORISOPROPYL)PHOSPHATE | 1433 | 62088GCM37 | 2010-12-09 | 2010-10-01 | 2011-01-31 | ug/L | 0.73127 | Ultra | CG-2301 | Ultra CG-2301: 20 µl | 0.42392 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.16 | 0.31 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73127 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0173 | 0.19299 | 1.005 | 0.32283 | 0.23931
TRIS(DICHLORISOPROPYL)PHOSPHATE | 1433 | 62088GCM37 | 2010-12-16 | 2010-10-01 | 2011-01-31 | ug/L | 0.87721 | Ultra | CG-2301 | Ultra CG-2301: 80 µl | 1.71 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.16 | 1.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87721 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0173 | 0.19299 | 1.005 | 0.32283 | 0.23931
TRIS(DICHLORISOPROPYL)PHOSPHATE | 1433 | 62088GCM37 | 2011-04-06 | 2011-02-01 | 2011-09-30 | ug/L | 1.2 | Ultra | CG-2301 | Ultra CG-2301: 20 µl | 0.44165 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.16 | 0.53 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0173 | 0.19299 | 1.005 | 0.32283 | 0.23931
TRIS(DICHLORISOPROPYL)PHOSPHATE | 1433 | 62088GCM37 | 2011-06-08 | 2011-02-01 | 2011-09-30 | ug/L | 1.005 | Ultra | CG-2301 | Ultra CG-2301: 50 µl | 1.0945 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.16 | 1.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.005 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0173 | 0.19299 | 1.005 | 0.32283 | 0.23931
TRIS(DICHLORISOPROPYL)PHOSPHATE | 1433 | 62088GCM37 | 2011-06-29 | 2011-02-01 | 2011-09-30 | ug/L | 1.1569 | Ultra | CG-2301 | Ultra CG-2301: 20 µl | 0.44085 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.16 | 0.51 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1569 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0173 | 0.19299 | 1.005 | 0.32283 | 0.23931
TRIS(DICHLORISOPROPYL)PHOSPHATE | 1433 | 62088GCM37 | 2011-08-26 | 2011-02-01 | 2011-09-30 | ug/L | 1.0092 | Ultra | CG-2301 | Ultra CG-2301: 50 µl | 1.09 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.16 | 1.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0092 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0173 | 0.19299 | 1.005 | 0.32283 | 0.23931
TRIS(DICHLORISOPROPYL)PHOSPHATE | 1433 | 62088GCM37 | 2011-10-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.80275 | Ultra | CG-2301 | Ultra CG-2301: 80 µl | 1.744 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.16 | 1.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80275 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0173 | 0.19299 | 1.005 | 0.32283 | 0.23931
TRIS(DICHLORISOPROPYL)PHOSPHATE | 1433 | 62088GCM37 | 2011-10-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.88073 | Ultra | CG-2301 | Ultra CG-2301: 50 µl | 1.09 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.16 | 0.96 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88073 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0173 | 0.19299 | 1.005 | 0.32283 | 0.23931
TRIS(DICHLORISOPROPYL)PHOSPHATE | 1433 | 62088GCM37 | 2011-11-08 | 2011-10-01 | 2050-09-30 | ug/L | 1.2385 | Ultra | CG-2301 | Ultra CG-2301: 20 µl | 0.436 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.16 | 0.54 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2385 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0173 | 0.19299 | 1.005 | 0.32283 | 0.23931
TRIS(DICHLORISOPROPYL)PHOSPHATE | 1433 | 62088GCM37 | 2012-02-08 | 2011-10-01 | 2050-09-30 | ug/L | 1.2844 | Ultra | CG-2301 | Ultra CG-2301: 50 µl | 1.09 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.16 | 1.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2844 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0173 | 0.19299 | 1.005 | 0.32283 | 0.23931
TRIS(DICHLORISOPROPYL)PHOSPHATE | 1433 | 62088GCM37 | 2012-02-16 | 2011-10-01 | 2050-09-30 | ug/L | 0.97477 | Ultra | CG-2301 | Ultra CG-2301: 80 µl | 1.744 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.16 | 1.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97477 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0173 | 0.19299 | 1.005 | 0.32283 | 0.23931
TRIS(DICHLORISOPROPYL)PHOSPHATE | 1433 | 62088GCM37 | 2012-04-11 | 2011-10-01 | 2050-09-30 | ug/L | 1.2615 | Ultra | CG-2301 | Ultra CG-2301: 20 µl | 0.436 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.16 | 0.55 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2615 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0173 | 0.19299 | 1.005 | 0.32283 | 0.23931
TRIS(DICHLORISOPROPYL)PHOSPHATE | 1433 | 62088GCM37 | 2012-06-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.80275 | Ultra | CG-2301 | Ultra CG-2301: 80 µl | 1.744 | TRIS(DICHLORISOPROPYL)PHOSPHATE | . | 0.16 | 1.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80275 | Ultra CG-2301 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 13 | 1.0173 | 0.19299 | 1.005 | 0.32283 | 0.23931