## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
ACETOCHLOR | 2001 | 49260GCM33 | 2013-12-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.82869 | Abs, ChemService | 041613, 1466000 | Abs 041613: 50 µl & ChemService 1466000: 50 µl | 0.1255 | ACETOCHLOR | . | 0.01 | 0.104 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82869 | Ab041613, Ch1466000 | Ab | Ch | Ch | 041613 | 1466000 | 1466000 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.82869 |  | 0.82869 | 0 | 0
ACETOCHLOR | 2001 | 49260GCM33 | 2013-08-17 | 2010-10-01 | 2050-09-30 | ug/L | 1.1633 | Abs, Spex Organics | 041613, T1130517007 | Abs 041613: 20 µl & Spex Organics T1130517007: 20 µl | 0.0502 | ACETOCHLOR | . | 0.01 | 0.0584 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1633 | Ab041613, SpT117007 | Ab | Sp | Sp | 041613 | T117007 | T117007 |  | T117007 | T117007 | Y | Recoverable Result | Y | 2 |  | 1 | 1.1633 |  | 1.1633 | 0 | 0
ACETOCHLOR | 2001 | 49260GCM33 | 2012-08-05 | 2010-10-01 | 2050-09-30 | ug/L | 0.65891 | Abs, ChemService | 052212, 348200 | Abs 052212: 20 µl & ChemService 348200: 20 µl | 0.1806 | ACETOCHLOR | . | 0.01 | 0.119 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65891 | Ab052212, Ch348200 | Ab | Ch | Ch | 052212 | 348200 | 348200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.65891 |  | 0.65891 | 0 | 0
ACETOCHLOR | 2001 | 49260GCM33 | 2013-04-03 | 2010-10-01 | 2050-09-30 | ug/L | 0.78073 | Abs, Spex Organics | 052212, T1120530009 | Abs 052212: 40 µl & Spex Organics T1120530009: 40 µl | 0.3612 | ACETOCHLOR | . | 0.01 | 0.282 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78073 | Ab052212, SpT110009 | Ab | Sp | Sp | 052212 | T110009 | T110009 |  | T110009 | T110009 | Y | Recoverable Result | Y | 2 |  | 1 | 0.78073 |  | 0.78073 | 0 | 0
ACETOCHLOR | 2001 | 49260GCM33 | 2012-06-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.70875 | Abs | 052212 | Abs 052212: 20 µl | 0.1806 | ACETOCHLOR | . | 0.01 | 0.128 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70875 | Abs 052212 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.70875 |  | 0.70875 | 0 | 0
ACETOCHLOR | 2001 | 49260GCM33 | 2010-01-05 | 2009-10-01 | 2010-09-30 | ug/L | 0.93518 | Abs | 090409Pest | Abs 090409Pest: 25 µl | 0.13259 | ACETOCHLOR | . | 0.01 | 0.124 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93518 | Abs 090409Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.87939 | 0.087932 | 0.91078 | 0.12829 | 0.095101
ACETOCHLOR | 2001 | 49260GCM33 | 2010-06-18 | 2009-10-01 | 2010-09-30 | ug/L | 0.92924 | Abs | 090409Pest | Abs 090409Pest: 80 µl | 0.41324 | ACETOCHLOR | . | 0.01 | 0.384 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92924 | Abs 090409Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.87939 | 0.087932 | 0.91078 | 0.12829 | 0.095101
ACETOCHLOR | 2001 | 49260GCM33 | 2010-07-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.97162 | Abs | 090409Pest | Abs 090409Pest: 25 µl | 0.13277 | ACETOCHLOR | . | 0.01 | 0.129 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97162 | Abs 090409Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.87939 | 0.087932 | 0.91078 | 0.12829 | 0.095101
ACETOCHLOR | 2001 | 49260GCM33 | 2010-07-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.74107 | Abs | 090409Pest | Abs 090409Pest: 25 µl | 0.1344 | ACETOCHLOR | . | 0.01 | 0.0996 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74107 | Abs 090409Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.87939 | 0.087932 | 0.91078 | 0.12829 | 0.095101
ACETOCHLOR | 2001 | 49260GCM33 | 2010-08-13 | 2009-10-01 | 2010-09-30 | ug/L | 0.89232 | Abs | 090409Pest | Abs 090409Pest: 80 µl | 0.41913 | ACETOCHLOR | . | 0.01 | 0.374 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89232 | Abs 090409Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.87939 | 0.087932 | 0.91078 | 0.12829 | 0.095101
ACETOCHLOR | 2001 | 49260GCM33 | 2010-09-22 | 2009-10-01 | 2010-09-30 | ug/L | 0.80689 | Abs | 090409Pest | Abs 090409Pest: 25 µl | 0.13261 | ACETOCHLOR | . | 0.01 | 0.107 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80689 | Abs 090409Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.87939 | 0.087932 | 0.91078 | 0.12829 | 0.095101
ACETOCHLOR | 2001 | 49260GCM33 | 2012-07-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.6866 | Accu, Abs | 212051201, 052212 | Accu 212051201: 20 µl & Abs 052212: 20 µl | 0.1806 | ACETOCHLOR | . | 0.01 | 0.124 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6866 | Ac2121201, Ab052212 | Ac | Ab | Ab | 2121201 | 052212 | 052212 | 2121201 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.78765 | 0.089487 | 0.81949 | 0.17027 | 0.12622
ACETOCHLOR | 2001 | 49260GCM33 | 2012-11-27 | 2010-10-01 | 2050-09-30 | ug/L | 0.81949 | Accu, Abs | 212051201, 052212 | Accu 212051201: 40 µl & Abs 052212: 40 µl | 0.3612 | ACETOCHLOR | . | 0.01 | 0.296 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81949 | Ac2121201, Ab052212 | Ac | Ab | Ab | 2121201 | 052212 | 052212 | 2121201 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.78765 | 0.089487 | 0.81949 | 0.17027 | 0.12622
ACETOCHLOR | 2001 | 49260GCM33 | 2013-01-29 | 2010-10-01 | 2050-09-30 | ug/L | 0.85687 | Accu, Abs | 212051201, 052212 | Accu 212051201: 80 µl & Abs 052212: 80 µl | 0.7224 | ACETOCHLOR | . | 0.01 | 0.619 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85687 | Ac2121201, Ab052212 | Ac | Ab | Ab | 2121201 | 052212 | 052212 | 2121201 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.78765 | 0.089487 | 0.81949 | 0.17027 | 0.12622
ACETOCHLOR | 2001 | 49260GCM33 | 2013-03-19 | 2010-10-01 | 2050-09-30 | ug/L | 1.1461 | Accu, NSI | 212051201, 062112-01Pest | Accu 212051201: 20 µl & NSI 062112-01Pest: 20 µl | 0.178 | ACETOCHLOR | . | 0.01 | 0.204 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1461 | Ac2121201, NS062Pest | Ac | NS | NS | 2121201 | 062Pest | 062Pest | 2121201 | 062Pest | 062Pest | Y | Recoverable Result | Y | 2 |  | 2 | 1 | 0.20657 | 1 | 0.29213 | 0.21656
ACETOCHLOR | 2001 | 49260GCM33 | 2013-05-14 | 2010-10-01 | 2050-09-30 | ug/L | 0.85393 | Accu, NSI | 212051201, 062112-01Pest | Accu 212051201: 40 µl & NSI 062112-01Pest: 40 µl | 0.356 | ACETOCHLOR | . | 0.01 | 0.304 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85393 | Ac2121201, NS062Pest | Ac | NS | NS | 2121201 | 062Pest | 062Pest | 2121201 | 062Pest | 062Pest | Y | Recoverable Result | Y | 2 |  | 2 | 1 | 0.20657 | 1 | 0.29213 | 0.21656
ACETOCHLOR | 2001 | 49260GCM33 | 2013-10-21 | 2010-10-01 | 2050-09-30 | ug/L | 0.89044 | Accu, Abs | 213041078, 041613 | Accu 213041078: 20 µl & Abs 041613: 20 µl | 0.0502 | ACETOCHLOR | . | 0.01 | 0.0447 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89044 | Ac2131078, Ab041613 | Ac | Ab | Ab | 2131078 | 041613 | 041613 | 2131078 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.89044 |  | 0.89044 | 0 | 0
ACETOCHLOR | 2001 | 49260GCM33 | 2013-05-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.944 | Accu, NSI | 213041078, 042313Pest | Accu 213041078: 50 µl & NSI 042313Pest: 50 µl | 0.125 | ACETOCHLOR | . | 0.01 | 0.118 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.944 | Ac2131078, NS042Pest | Ac | NS | NS | 2131078 | 042Pest | 042Pest | 2131078 | 042Pest | 042Pest | Y | Recoverable Result | Y | 2 |  | 1 | 0.944 |  | 0.944 | 0 | 0
ACETOCHLOR | 2001 | 49260GCM33 | 2013-06-13 | 2010-10-01 | 2050-09-30 | ug/L | 0.952 | ChemService, NSI | 1466000, 042313Pest | ChemService 1466000: 50 µl & NSI 042313Pest: 50 µl | 0.125 | ACETOCHLOR | . | 0.01 | 0.119 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.952 | Ch1466000, NS042Pest | Ch | NS | NS | 1466000 | 042Pest | 042Pest |  | 042Pest | 042Pest | Y | Recoverable Result | Y | 2 |  | 1 | 0.952 |  | 0.952 | 0 | 0
ACETOCHLOR | 2001 | 49260GCM33 | 2008-10-31 | 2008-10-01 | 2009-09-30 | ug/L | 0.91292 | Crescent | 08HH018 | Crescent 08HH018: 25 µl | 0.18622 | ACETOCHLOR | . | 0.01 | 0.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91292 | Crescent 08HH018 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.1398 | 0.27547 | 1.0531 | 0.080499 | 0.059673
ACETOCHLOR | 2001 | 49260GCM33 | 2009-01-20 | 2008-10-01 | 2009-09-30 | ug/L | 1.098 | Crescent | 08HH018 | Crescent 08HH018: 40 µl | 0.30145 | ACETOCHLOR | . | 0.01 | 0.331 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.098 | Crescent 08HH018 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.1398 | 0.27547 | 1.0531 | 0.080499 | 0.059673
ACETOCHLOR | 2001 | 49260GCM33 | 2009-03-20 | 2008-10-01 | 2009-09-30 | ug/L | 1.6171 | Crescent | 08HH018 | Crescent 08HH018: 25 µl | 0.18922 | ACETOCHLOR | . | 0.01 | 0.306 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.6171 | Crescent 08HH018 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.1398 | 0.27547 | 1.0531 | 0.080499 | 0.059673
ACETOCHLOR | 2001 | 49260GCM33 | 2009-06-10 | 2008-10-01 | 2009-09-30 | ug/L | 1.0531 | Crescent | 08HH018 | Crescent 08HH018: 25 µl | 0.18801 | ACETOCHLOR | . | 0.01 | 0.198 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0531 | Crescent 08HH018 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.1398 | 0.27547 | 1.0531 | 0.080499 | 0.059673
ACETOCHLOR | 2001 | 49260GCM33 | 2009-08-28 | 2008-10-01 | 2009-09-30 | ug/L | 1.0175 | Crescent | 08HH018 | Crescent 08HH018: 40 µl | 0.29679 | ACETOCHLOR | . | 0.01 | 0.302 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0175 | Crescent 08HH018 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.1398 | 0.27547 | 1.0531 | 0.080499 | 0.059673
ACETOCHLOR | 2001 | 49260GCM33 | 2013-11-26 | 2010-10-01 | 2050-09-30 | ug/L | 0.90637 | ERA, Abs | 0318-13-02.1, 041613 | ERA 0318-13-02.1: 20 µl & Abs 041613: 20 µl | 0.0502 | ACETOCHLOR | . | 0.01 | 0.0455 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90637 | ER03102.1, Ab041613 | ER | Ab | Ab | 03102.1 | 041613 | 041613 | 03102.1 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.90637 |  | 0.90637 | 0 | 0
ACETOCHLOR | 2001 | 49260GCM33 | 2013-08-01 | 2010-10-01 | 2050-09-30 | ug/L | 0.916 | ERA, NSI | 0318-13-02.1, 042313Pest | ERA 0318-13-02.1: 100 µl & NSI 042313Pest: 100 µl | 0.25 | ACETOCHLOR | . | 0.01 | 0.229 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.916 | ER03102.1, NS042Pest | ER | NS | NS | 03102.1 | 042Pest | 042Pest | 03102.1 | 042Pest | 042Pest | Y | Recoverable Result | Y | 2 |  | 1 | 0.916 |  | 0.916 | 0 | 0
ACETOCHLOR | 2001 | 49260GCM33 | 2012-09-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.92135 | ERA, NSI | 0507-12-05.1, 062112-01Pest | ERA 0507-12-05.1: 20 µl & NSI 062112-01Pest: 20 µl | 0.178 | ACETOCHLOR | . | 0.01 | 0.164 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92135 | ER05005.1, NS062Pest | ER | NS | NS | 05005.1 | 062Pest | 062Pest | 05005.1 | 062Pest | 062Pest | Y | Recoverable Result | Y | 2 |  | 1 | 0.92135 |  | 0.92135 | 0 | 0
ACETOCHLOR | 2001 | 49260GCM33 | 2012-09-25 | 2010-10-01 | 2050-09-30 | ug/L | 1.073 | NSI, ChemService | 062112-01Pest, 348200 | NSI 062112-01Pest: 40 µl & ChemService 348200: 40 µl | 0.356 | ACETOCHLOR | . | 0.01 | 0.382 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.073 | NS062Pest, Ch348200 | NS | Ch | Ch | 062Pest | 348200 | 348200 | 062Pest |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.059 | 0.019863 | 1.059 | 0.02809 | 0.020823
ACETOCHLOR | 2001 | 49260GCM33 | 2013-03-19 | 2010-10-01 | 2050-09-30 | ug/L | 1.0449 | NSI, ChemService | 062112-01Pest, 348200 | NSI 062112-01Pest: 80 µl & ChemService 348200: 80 µl | 0.712 | ACETOCHLOR | . | 0.01 | 0.744 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0449 | NS062Pest, Ch348200 | NS | Ch | Ch | 062Pest | 348200 | 348200 | 062Pest |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.059 | 0.019863 | 1.059 | 0.02809 | 0.020823
ACETOCHLOR | 2001 | 49260GCM33 | 2012-11-28 | 2010-10-01 | 2050-09-30 | ug/L | 0.88764 | NSI, Spex Organics | 062112-01Pest, T1120530009 | NSI 062112-01Pest: 20 µl & Spex Organics T1120530009: 20 µl | 0.178 | ACETOCHLOR | . | 0.01 | 0.158 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88764 | NS062Pest, SpT110009 | NS | Sp | Sp | 062Pest | T110009 | T110009 | 062Pest | T110009 | T110009 | Y | Recoverable Result | Y | 2 |  | 1 | 0.88764 |  | 0.88764 | 0 | 0
ACETOCHLOR | 2001 | 49260GCM33 | 2011-02-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.7191 | NSI | 070810-01 | NSI 070810-01: 20 µl | 0.38381 | ACETOCHLOR | . | 0.01 | 0.276 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7191 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.77504 | 0.17875 | 0.78769 | 0.26236 | 0.19449
ACETOCHLOR | 2001 | 49260GCM33 | 2011-03-15 | 2010-10-01 | 2050-09-30 | ug/L | 1.0052 | NSI | 070810-01 | NSI 070810-01: 50 µl | 0.96995 | ACETOCHLOR | . | 0.01 | 0.975 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0052 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.77504 | 0.17875 | 0.78769 | 0.26236 | 0.19449
ACETOCHLOR | 2001 | 49260GCM33 | 2011-05-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.51117 | NSI | 070810-01 | NSI 070810-01: 80 µl | 1.5866 | ACETOCHLOR | . | 0.01 | 0.811 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.51117 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.77504 | 0.17875 | 0.78769 | 0.26236 | 0.19449
ACETOCHLOR | 2001 | 49260GCM33 | 2011-06-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.85627 | NSI | 070810-01 | NSI 070810-01: 20 µl | 0.3924 | ACETOCHLOR | . | 0.01 | 0.336 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85627 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.77504 | 0.17875 | 0.78769 | 0.26236 | 0.19449
ACETOCHLOR | 2001 | 49260GCM33 | 2011-08-02 | 2010-10-01 | 2050-09-30 | ug/L | 0.98385 | NSI | 070810-01 | NSI 070810-01: 80 µl | 1.5856 | ACETOCHLOR | . | 0.01 | 1.56 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98385 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.77504 | 0.17875 | 0.78769 | 0.26236 | 0.19449
ACETOCHLOR | 2001 | 49260GCM33 | 2011-09-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.91826 | NSI | 070810-01 | NSI 070810-01: 50 µl | 0.991 | ACETOCHLOR | . | 0.01 | 0.91 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91826 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.77504 | 0.17875 | 0.78769 | 0.26236 | 0.19449
ACETOCHLOR | 2001 | 49260GCM33 | 2011-11-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.6559 | NSI | 070810-01 | NSI 070810-01: 20 µl | 0.3964 | ACETOCHLOR | . | 0.01 | 0.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6559 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.77504 | 0.17875 | 0.78769 | 0.26236 | 0.19449
ACETOCHLOR | 2001 | 49260GCM33 | 2012-01-21 | 2010-10-01 | 2050-09-30 | ug/L | 0.51842 | NSI | 070810-01 | NSI 070810-01: 80 µl | 1.5856 | ACETOCHLOR | E | 0.01 | 0.822 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.51842 | NSI 070810-01 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.77504 | 0.17875 | 0.78769 | 0.26236 | 0.19449
ACETOCHLOR | 2001 | 49260GCM33 | 2012-05-05 | 2010-10-01 | 2050-09-30 | ug/L | 0.71847 | NSI | 070810-01 | NSI 070810-01: 50 µl | 0.991 | ACETOCHLOR | . | 0.01 | 0.712 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71847 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.77504 | 0.17875 | 0.78769 | 0.26236 | 0.19449
ACETOCHLOR | 2001 | 49260GCM33 | 2012-06-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.86377 | NSI | 070810-01 | NSI 070810-01: 50 µl | 0.991 | ACETOCHLOR | . | 0.01 | 0.856 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86377 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.77504 | 0.17875 | 0.78769 | 0.26236 | 0.19449
ACETOCHLOR | 2001 | 49260GCM33 | 2008-11-21 | 2008-10-01 | 2009-09-30 | ug/L | 1.0782 | NSI | 081108-01Pest | NSI 081108-01Pest: 40 µl | 0.30234 | ACETOCHLOR | . | 0.01 | 0.326 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0782 | NSI 081108-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.97458 | 0.1829 | 1.0157 | 0.13951 | 0.10342
ACETOCHLOR | 2001 | 49260GCM33 | 2009-03-23 | 2008-10-01 | 2009-09-30 | ug/L | 1.1591 | NSI | 081108-01Pest | NSI 081108-01Pest: 25 µl | 0.20879 | ACETOCHLOR | . | 0.01 | 0.242 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1591 | NSI 081108-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.97458 | 0.1829 | 1.0157 | 0.13951 | 0.10342
ACETOCHLOR | 2001 | 49260GCM33 | 2009-05-01 | 2008-10-01 | 2009-09-30 | ug/L | 0.93873 | NSI | 081108-01Pest | NSI 081108-01Pest: 40 µl | 0.3004 | ACETOCHLOR | . | 0.01 | 0.282 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93873 | NSI 081108-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.97458 | 0.1829 | 1.0157 | 0.13951 | 0.10342
ACETOCHLOR | 2001 | 49260GCM33 | 2009-07-30 | 2008-10-01 | 2009-09-30 | ug/L | 1.0157 | NSI | 081108-01Pest | NSI 081108-01Pest: 25 µl | 0.18707 | ACETOCHLOR | . | 0.01 | 0.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0157 | NSI 081108-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.97458 | 0.1829 | 1.0157 | 0.13951 | 0.10342
ACETOCHLOR | 2001 | 49260GCM33 | 2009-09-25 | 2008-10-01 | 2009-09-30 | ug/L | 0.68121 | NSI | 081108-01Pest | NSI 081108-01Pest: 25 µl | 0.1879 | ACETOCHLOR | . | 0.01 | 0.128 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68121 | NSI 081108-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.97458 | 0.1829 | 1.0157 | 0.13951 | 0.10342
ACETOCHLOR | 2001 | 49260GCM33 | 2008-05-01 | 2003-10-01 | 2008-09-30 | ug/L | 1.0729 | NWQL | PSP3SP140C | NWQL PSP3SP140C: 50 µl | 0.051261 | ACETOCHLOR | . | 0.006 | 0.055 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0729 | NWQL PSP3SP140C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.1359 | 0.18253 | 1.0729 | 0.34842 | 0.25828
ACETOCHLOR | 2001 | 49260GCM33 | 2008-06-25 | 2003-10-01 | 2008-09-30 | ug/L | 0.9931 | NWQL | PSP3SP140C | NWQL PSP3SP140C: 50 µl | 0.050347 | ACETOCHLOR | . | 0.006 | 0.05 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9931 | NWQL PSP3SP140C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.1359 | 0.18253 | 1.0729 | 0.34842 | 0.25828
ACETOCHLOR | 2001 | 49260GCM33 | 2008-08-19 | 2003-10-01 | 2008-09-30 | ug/L | 1.3415 | NWQL | PSP3SP140C | NWQL PSP3SP140C: 50 µl | 0.049198 | ACETOCHLOR | . | 0.006 | 0.066 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3415 | NWQL PSP3SP140C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.1359 | 0.18253 | 1.0729 | 0.34842 | 0.25828
ACETOCHLOR | 2001 | 49260GCM33 | 2009-04-08 | 2008-10-01 | 2009-09-30 | ug/L | 1.1758 | NWQL | PSP3SP140D | NWQL PSP3SP140D: 50 µl | 0.051031 | ACETOCHLOR | . | 0.01 | 0.06 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1758 | NWQL PSP3SP140D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1593 | 0.13458 | 1.1296 | 0.19873 | 0.14731
ACETOCHLOR | 2001 | 49260GCM33 | 2009-04-14 | 2008-10-01 | 2009-09-30 | ug/L | 1.3416 | NWQL | PSP3SP140D | NWQL PSP3SP140D: 50 µl | 0.04994 | ACETOCHLOR | . | 0.01 | 0.067 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3416 | NWQL PSP3SP140D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1593 | 0.13458 | 1.1296 | 0.19873 | 0.14731
ACETOCHLOR | 2001 | 49260GCM33 | 2009-06-24 | 2008-10-01 | 2009-09-30 | ug/L | 1.0833 | NWQL | PSP3SP140D | NWQL PSP3SP140D: 50 µl | 0.049845 | ACETOCHLOR | . | 0.01 | 0.054 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0833 | NWQL PSP3SP140D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1593 | 0.13458 | 1.1296 | 0.19873 | 0.14731
ACETOCHLOR | 2001 | 49260GCM33 | 2009-08-21 | 2008-10-01 | 2009-09-30 | ug/L | 1.0366 | NWQL | PSP3SP140D | NWQL PSP3SP140D: 50 µl | 0.050165 | ACETOCHLOR | . | 0.01 | 0.052 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0366 | NWQL PSP3SP140D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1593 | 0.13458 | 1.1296 | 0.19873 | 0.14731
ACETOCHLOR | 2001 | 49260GCM33 | 2010-06-24 | 2009-10-01 | 2010-09-30 | ug/L | 1.6127 | NWQL | PSP3SP142A | NWQL PSP3SP142A: 40 µl | 0.039809 | ACETOCHLOR | . | 0.01 | 0.0642 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.6127 | NWQL PSP3SP142A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.2752 | 0.37001 | 1.3333 | 0.73314 | 0.54347
ACETOCHLOR | 2001 | 49260GCM33 | 2010-07-14 | 2009-10-01 | 2010-09-30 | ug/L | 1.3333 | NWQL | PSP3SP142A | NWQL PSP3SP142A: 40 µl | 0.0408 | ACETOCHLOR | . | 0.01 | 0.0544 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3333 | NWQL PSP3SP142A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.2752 | 0.37001 | 1.3333 | 0.73314 | 0.54347
ACETOCHLOR | 2001 | 49260GCM33 | 2010-07-28 | 2009-10-01 | 2010-09-30 | ug/L | 0.87956 | NWQL | PSP3SP142A | NWQL PSP3SP142A: 40 µl | 0.04002 | ACETOCHLOR | . | 0.01 | 0.0352 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87956 | NWQL PSP3SP142A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.2752 | 0.37001 | 1.3333 | 0.73314 | 0.54347
ACETOCHLOR | 2001 | 49260GCM33 | 2008-02-04 | 2003-10-01 | 2008-09-30 | ug/L | 1.0112 | Protocol | F1070629011 | Protocol F1070629011: 25 µl | 0.28678 | ACETOCHLOR | . | 0.006 | 0.29 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0112 | Protocol F1070629011 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0199 | 0.090294 | 1.0066 | 0.036939 | 0.027383
ACETOCHLOR | 2001 | 49260GCM33 | 2008-05-01 | 2003-10-01 | 2008-09-30 | ug/L | 1.0002 | Protocol | F1070629011 | Protocol F1070629011: 25 µl | 0.28494 | ACETOCHLOR | . | 0.006 | 0.285 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0002 | Protocol F1070629011 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0199 | 0.090294 | 1.0066 | 0.036939 | 0.027383
ACETOCHLOR | 2001 | 49260GCM33 | 2008-06-10 | 2003-10-01 | 2008-09-30 | ug/L | 1.002 | Protocol | F1070629011 | Protocol F1070629011: 25 µl | 0.28245 | ACETOCHLOR | . | 0.006 | 0.283 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.002 | Protocol F1070629011 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0199 | 0.090294 | 1.0066 | 0.036939 | 0.027383
ACETOCHLOR | 2001 | 49260GCM33 | 2008-07-11 | 2003-10-01 | 2008-09-30 | ug/L | 1.0371 | Protocol | F1070629011 | Protocol F1070629011: 25 µl | 0.28058 | ACETOCHLOR | . | 0.006 | 0.291 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0371 | Protocol F1070629011 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0199 | 0.090294 | 1.0066 | 0.036939 | 0.027383
ACETOCHLOR | 2001 | 49260GCM33 | 2008-08-21 | 2003-10-01 | 2008-09-30 | ug/L | 1.1746 | Protocol | F1070629011 | Protocol F1070629011: 25 µl | 0.2784 | ACETOCHLOR | . | 0.006 | 0.327 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1746 | Protocol F1070629011 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0199 | 0.090294 | 1.0066 | 0.036939 | 0.027383
ACETOCHLOR | 2001 | 49260GCM33 | 2008-10-02 | 2008-10-01 | 2009-09-30 | ug/L | 0.89434 | Protocol | F1070629011 | Protocol F1070629011: 25 µl | 0.28513 | ACETOCHLOR | . | 0.01 | 0.255 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89434 | Protocol F1070629011 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0199 | 0.090294 | 1.0066 | 0.036939 | 0.027383
ACETOCHLOR | 2001 | 49260GCM33 | 2011-02-25 | 2010-10-01 | 2050-09-30 | ug/L | 1.0529 | Supelco | LB77170 | Supelco LB77170: 80 µl | 1.5956 | ACETOCHLOR | E | 0.01 | 1.68 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0529 | Supelco LB77170 | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 0.79557 | 0.20244 | 0.73485 | 0.19012 | 0.14093
ACETOCHLOR | 2001 | 49260GCM33 | 2011-03-23 | 2010-10-01 | 2050-09-30 | ug/L | 0.72262 | Supelco | LB77170 | Supelco LB77170: 20 µl | 0.39855 | ACETOCHLOR | . | 0.01 | 0.288 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72262 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.79557 | 0.20244 | 0.73485 | 0.19012 | 0.14093
ACETOCHLOR | 2001 | 49260GCM33 | 2011-06-23 | 2010-10-01 | 2050-09-30 | ug/L | 0.88709 | Supelco | LB77170 | Supelco LB77170: 50 µl | 0.9999 | ACETOCHLOR | . | 0.01 | 0.887 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88709 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.79557 | 0.20244 | 0.73485 | 0.19012 | 0.14093
ACETOCHLOR | 2001 | 49260GCM33 | 2011-07-12 | 2010-10-01 | 2050-09-30 | ug/L | 0.52587 | Supelco | LB77170 | Supelco LB77170: 80 µl | 1.5936 | ACETOCHLOR | . | 0.01 | 0.838 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.52587 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.79557 | 0.20244 | 0.73485 | 0.19012 | 0.14093
ACETOCHLOR | 2001 | 49260GCM33 | 2011-08-18 | 2010-10-01 | 2050-09-30 | ug/L | 1.1616 | Supelco | LB77170 | Supelco LB77170: 50 µl | 0.99 | ACETOCHLOR | E | 0.01 | 1.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1616 | Supelco LB77170 | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 0.79557 | 0.20244 | 0.73485 | 0.19012 | 0.14093
ACETOCHLOR | 2001 | 49260GCM33 | 2011-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.7399 | Supelco | LB77170 | Supelco LB77170: 20 µl | 0.396 | ACETOCHLOR | . | 0.01 | 0.293 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7399 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.79557 | 0.20244 | 0.73485 | 0.19012 | 0.14093
ACETOCHLOR | 2001 | 49260GCM33 | 2011-12-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.63838 | Supelco | LB77170 | Supelco LB77170: 50 µl | 0.99 | ACETOCHLOR | E | 0.01 | 0.632 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63838 | Supelco LB77170 | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 0.79557 | 0.20244 | 0.73485 | 0.19012 | 0.14093
ACETOCHLOR | 2001 | 49260GCM33 | 2012-02-23 | 2010-10-01 | 2050-09-30 | ug/L | 0.73485 | Supelco | LB77170 | Supelco LB77170: 20 µl | 0.396 | ACETOCHLOR | . | 0.01 | 0.291 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73485 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.79557 | 0.20244 | 0.73485 | 0.19012 | 0.14093
ACETOCHLOR | 2001 | 49260GCM33 | 2012-05-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.69697 | Supelco | LB77170 | Supelco LB77170: 20 µl | 0.396 | ACETOCHLOR | . | 0.01 | 0.276 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69697 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.79557 | 0.20244 | 0.73485 | 0.19012 | 0.14093