## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
ALACHLOR | 2001 | 46342GCM35 | 2012-08-05 | 2010-10-01 | 2050-09-30 | ug/L | 1.0842 | Abs, ChemService | 052212, 348200 | Abs 052212: 20 µl & ChemService 348200: 20 µl | 0.0202 | ALACHLOR | . | 0.008 | 0.0219 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0842 | Ab052212, Ch348200 | Ab | Ch | Ch | 052212 | 348200 | 348200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.0842 |  | 1.0842 | 0 | 0
ALACHLOR | 2001 | 46342GCM35 | 2013-04-03 | 2010-10-01 | 2050-09-30 | ug/L | 1.0941 | Abs, Spex Organics | 052212, T1120530009 | Abs 052212: 40 µl & Spex Organics T1120530009: 40 µl | 0.0404 | ALACHLOR | . | 0.008 | 0.0442 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0941 | Ab052212, SpT110009 | Ab | Sp | Sp | 052212 | T110009 | T110009 |  | T110009 | T110009 | Y | Recoverable Result | Y | 2 |  | 1 | 1.0941 |  | 1.0941 | 0 | 0
ALACHLOR | 2001 | 46342GCM35 | 2012-06-22 | 2010-10-01 | 2050-09-30 | ug/L | 1.1584 | Abs | 052212 | Abs 052212: 20 µl | 0.0202 | ALACHLOR | . | 0.008 | 0.0234 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1584 | Abs 052212 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 1.1584 |  | 1.1584 | 0 | 0
ALACHLOR | 2001 | 46342GCM35 | 2010-01-05 | 2009-10-01 | 2010-09-30 | ug/L | 1.0466 | Abs | 090409Pest | Abs 090409Pest: 25 µl | 0.092491 | ALACHLOR | . | 0.008 | 0.0968 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0466 | Abs 090409Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.9676 | 0.10316 | 1.0093 | 0.16659 | 0.12349
ALACHLOR | 2001 | 46342GCM35 | 2010-06-18 | 2009-10-01 | 2010-09-30 | ug/L | 1.0199 | Abs | 090409Pest | Abs 090409Pest: 80 µl | 0.28825 | ALACHLOR | . | 0.008 | 0.294 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0199 | Abs 090409Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.9676 | 0.10316 | 1.0093 | 0.16659 | 0.12349
ALACHLOR | 2001 | 46342GCM35 | 2010-07-20 | 2009-10-01 | 2010-09-30 | ug/L | 1.0582 | Abs | 090409Pest | Abs 090409Pest: 25 µl | 0.092611 | ALACHLOR | . | 0.008 | 0.098 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0582 | Abs 090409Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.9676 | 0.10316 | 1.0093 | 0.16659 | 0.12349
ALACHLOR | 2001 | 46342GCM35 | 2010-07-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.80213 | Abs | 090409Pest | Abs 090409Pest: 25 µl | 0.09375 | ALACHLOR | . | 0.008 | 0.0752 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80213 | Abs 090409Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.9676 | 0.10316 | 1.0093 | 0.16659 | 0.12349
ALACHLOR | 2001 | 46342GCM35 | 2010-08-13 | 2009-10-01 | 2010-09-30 | ug/L | 0.99875 | Abs | 090409Pest | Abs 090409Pest: 80 µl | 0.29236 | ALACHLOR | . | 0.008 | 0.292 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99875 | Abs 090409Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.9676 | 0.10316 | 1.0093 | 0.16659 | 0.12349
ALACHLOR | 2001 | 46342GCM35 | 2010-09-22 | 2009-10-01 | 2010-09-30 | ug/L | 0.88 | Abs | 090409Pest | Abs 090409Pest: 25 µl | 0.0925 | ALACHLOR | . | 0.008 | 0.0814 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88 | Abs 090409Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.9676 | 0.10316 | 1.0093 | 0.16659 | 0.12349
ALACHLOR | 2001 | 46342GCM35 | 2012-07-24 | 2010-10-01 | 2050-09-30 | ug/L | 1.0693 | Accu, Abs | 212051201, 052212 | Accu 212051201: 20 µl & Abs 052212: 20 µl | 0.0202 | ALACHLOR | . | 0.008 | 0.0216 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0693 | Ac2121201, Ab052212 | Ac | Ab | Ab | 2121201 | 052212 | 052212 | 2121201 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 1.1262 | 0.053605 | 1.1337 | 0.10644 | 0.0789
ALACHLOR | 2001 | 46342GCM35 | 2012-11-27 | 2010-10-01 | 2050-09-30 | ug/L | 1.1757 | Accu, Abs | 212051201, 052212 | Accu 212051201: 40 µl & Abs 052212: 40 µl | 0.0404 | ALACHLOR | . | 0.008 | 0.0475 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1757 | Ac2121201, Ab052212 | Ac | Ab | Ab | 2121201 | 052212 | 052212 | 2121201 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 1.1262 | 0.053605 | 1.1337 | 0.10644 | 0.0789
ALACHLOR | 2001 | 46342GCM35 | 2013-01-29 | 2010-10-01 | 2050-09-30 | ug/L | 1.1337 | Accu, Abs | 212051201, 052212 | Accu 212051201: 80 µl & Abs 052212: 80 µl | 0.0808 | ALACHLOR | . | 0.008 | 0.0916 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1337 | Ac2121201, Ab052212 | Ac | Ab | Ab | 2121201 | 052212 | 052212 | 2121201 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 1.1262 | 0.053605 | 1.1337 | 0.10644 | 0.0789
ALACHLOR | 2001 | 46342GCM35 | 2013-03-19 | 2010-10-01 | 2050-09-30 | ug/L | 1.51 | Accu, NSI | 212051201, 062112-01Pest | Accu 212051201: 20 µl & NSI 062112-01Pest: 20 µl | 0.02 | ALACHLOR | . | 0.008 | 0.0302 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.51 | Ac2121201, NS062Pest | Ac | NS | NS | 2121201 | 062Pest | 062Pest | 2121201 | 062Pest | 062Pest | Y | Recoverable Result | Y | 2 |  | 2 | 1.3225 | 0.26517 | 1.3225 | 0.375 | 0.27798
ALACHLOR | 2001 | 46342GCM35 | 2013-05-14 | 2010-10-01 | 2050-09-30 | ug/L | 1.135 | Accu, NSI | 212051201, 062112-01Pest | Accu 212051201: 40 µl & NSI 062112-01Pest: 40 µl | 0.04 | ALACHLOR | . | 0.008 | 0.0454 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.135 | Ac2121201, NS062Pest | Ac | NS | NS | 2121201 | 062Pest | 062Pest | 2121201 | 062Pest | 062Pest | Y | Recoverable Result | Y | 2 |  | 2 | 1.3225 | 0.26517 | 1.3225 | 0.375 | 0.27798
ALACHLOR | 2001 | 46342GCM35 | 2013-10-21 | 2010-10-01 | 2050-09-30 | ug/L | 0.82114 | Accu, Abs | 213041078, 041613 | Accu 213041078: 20 µl & Abs 041613: 20 µl | 0.0369 | ALACHLOR | . | 0.008 | 0.0303 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82114 | Ac2131078, Ab041613 | Ac | Ab | Ab | 2131078 | 041613 | 041613 | 2131078 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.82114 |  | 0.82114 | 0 | 0
ALACHLOR | 2001 | 46342GCM35 | 2013-05-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.83144 | Accu, NSI | 213041078, 042313Pest | Accu 213041078: 50 µl & NSI 042313Pest: 50 µl | 0.09225 | ALACHLOR | . | 0.008 | 0.0767 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83144 | Ac2131078, NS042Pest | Ac | NS | NS | 2131078 | 042Pest | 042Pest | 2131078 | 042Pest | 042Pest | Y | Recoverable Result | Y | 2 |  | 1 | 0.83144 |  | 0.83144 | 0 | 0
ALACHLOR | 2001 | 46342GCM35 | 2013-07-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.73622 | ChemService, ERA | 1466000, 0318-13-02.1 | ChemService 1466000: 50 µl & ERA 0318-13-02.1: 50 µl | 0.0925 | ALACHLOR | . | 0.008 | 0.0681 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73622 | Ch1466000, ER03102.1 | Ch | ER | ER | 1466000 | 03102.1 | 03102.1 |  | 03102.1 | 03102.1 | Y | Recoverable Result | Y | 2 |  | 1 | 0.73622 |  | 0.73622 | 0 | 0
ALACHLOR | 2001 | 46342GCM35 | 2008-10-31 | 2008-10-01 | 2009-09-30 | ug/L | 1.1412 | Crescent | 08HH018 | Crescent 08HH018: 25 µl | 0.029794 | ALACHLOR | . | 0.008 | 0.034 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1412 | Crescent 08HH018 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.3807 | 0.35068 | 1.2424 | 0.073224 | 0.05428
ALACHLOR | 2001 | 46342GCM35 | 2009-01-20 | 2008-10-01 | 2009-09-30 | ug/L | 1.2233 | Crescent | 08HH018 | Crescent 08HH018: 40 µl | 0.048231 | ALACHLOR | . | 0.008 | 0.059 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2233 | Crescent 08HH018 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.3807 | 0.35068 | 1.2424 | 0.073224 | 0.05428
ALACHLOR | 2001 | 46342GCM35 | 2009-03-20 | 2008-10-01 | 2009-09-30 | ug/L | 4.9545 | Crescent | 08HH018 | Crescent 08HH018: 25 µl | 0.030276 | ALACHLOR | . | 0.008 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 2 | Crescent 08HH018 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.3807 | 0.35068 | 1.2424 | 0.073224 | 0.05428 | 2
ALACHLOR | 2001 | 46342GCM35 | 2009-06-10 | 2008-10-01 | 2009-09-30 | ug/L | 1.2965 | Crescent | 08HH018 | Crescent 08HH018: 25 µl | 0.030081 | ALACHLOR | . | 0.008 | 0.039 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2965 | Crescent 08HH018 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.3807 | 0.35068 | 1.2424 | 0.073224 | 0.05428
ALACHLOR | 2001 | 46342GCM35 | 2009-08-28 | 2008-10-01 | 2009-09-30 | ug/L | 1.2424 | Crescent | 08HH018 | Crescent 08HH018: 40 µl | 0.047487 | ALACHLOR | . | 0.008 | 0.059 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2424 | Crescent 08HH018 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.3807 | 0.35068 | 1.2424 | 0.073224 | 0.05428
ALACHLOR | 2001 | 46342GCM35 | 2013-11-26 | 2010-10-01 | 2050-09-30 | ug/L | 0.98378 | ERA, Abs | 0318-13-02.1, 041613 | ERA 0318-13-02.1: 20 µl & Abs 041613: 20 µl | 0.037 | ALACHLOR | . | 0.008 | 0.0364 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98378 | ER03102.1, Ab041613 | ER | Ab | Ab | 03102.1 | 041613 | 041613 | 03102.1 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.98378 |  | 0.98378 | 0 | 0
ALACHLOR | 2001 | 46342GCM35 | 2013-08-01 | 2010-10-01 | 2050-09-30 | ug/L | 0.86486 | ERA, NSI | 0318-13-02.1, 042313Pest | ERA 0318-13-02.1: 100 µl & NSI 042313Pest: 100 µl | 0.185 | ALACHLOR | . | 0.008 | 0.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86486 | ER03102.1, NS042Pest | ER | NS | NS | 03102.1 | 042Pest | 042Pest | 03102.1 | 042Pest | 042Pest | Y | Recoverable Result | Y | 2 |  | 1 | 0.86486 |  | 0.86486 | 0 | 0
ALACHLOR | 2001 | 46342GCM35 | 2012-09-22 | 2010-10-01 | 2050-09-30 | ug/L | 1.335 | ERA, NSI | 0507-12-05.1, 062112-01Pest | ERA 0507-12-05.1: 20 µl & NSI 062112-01Pest: 20 µl | 0.02 | ALACHLOR | . | 0.008 | 0.0267 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.335 | ER05005.1, NS062Pest | ER | NS | NS | 05005.1 | 062Pest | 062Pest | 05005.1 | 062Pest | 062Pest | Y | Recoverable Result | Y | 2 |  | 1 | 1.335 |  | 1.335 | 0 | 0
ALACHLOR | 2001 | 46342GCM35 | 2012-09-25 | 2010-10-01 | 2050-09-30 | ug/L | 1.3625 | NSI, ChemService | 062112-01Pest, 348200 | NSI 062112-01Pest: 40 µl & ChemService 348200: 40 µl | 0.04 | ALACHLOR | . | 0.008 | 0.0545 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3625 | NS062Pest, Ch348200 | NS | Ch | Ch | 062Pest | 348200 | 348200 | 062Pest |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.2612 | 0.14319 | 1.2612 | 0.2025 | 0.15011
ALACHLOR | 2001 | 46342GCM35 | 2013-03-19 | 2010-10-01 | 2050-09-30 | ug/L | 1.16 | NSI, ChemService | 062112-01Pest, 348200 | NSI 062112-01Pest: 80 µl & ChemService 348200: 80 µl | 0.08 | ALACHLOR | . | 0.008 | 0.0928 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.16 | NS062Pest, Ch348200 | NS | Ch | Ch | 062Pest | 348200 | 348200 | 062Pest |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.2612 | 0.14319 | 1.2612 | 0.2025 | 0.15011
ALACHLOR | 2001 | 46342GCM35 | 2012-11-28 | 2010-10-01 | 2050-09-30 | ug/L | 1.32 | NSI, Spex Organics | 062112-01Pest, T1120530009 | NSI 062112-01Pest: 20 µl & Spex Organics T1120530009: 20 µl | 0.02 | ALACHLOR | . | 0.008 | 0.0264 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.32 | NS062Pest, SpT110009 | NS | Sp | Sp | 062Pest | T110009 | T110009 | 062Pest | T110009 | T110009 | Y | Recoverable Result | Y | 2 |  | 1 | 1.32 |  | 1.32 | 0 | 0
ALACHLOR | 2001 | 46342GCM35 | 2011-02-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.78347 | NSI | 070810-01 | NSI 070810-01: 20 µl | 0.095856 | ALACHLOR | . | 0.008 | 0.0751 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78347 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.8572 | 0.077921 | 0.84725 | 0.093998 | 0.069679
ALACHLOR | 2001 | 46342GCM35 | 2011-03-15 | 2010-10-01 | 2050-09-30 | ug/L | 0.85864 | NSI | 070810-01 | NSI 070810-01: 50 µl | 0.24224 | ALACHLOR | . | 0.008 | 0.208 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85864 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.8572 | 0.077921 | 0.84725 | 0.093998 | 0.069679
ALACHLOR | 2001 | 46342GCM35 | 2011-05-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.82526 | NSI | 070810-01 | NSI 070810-01: 80 µl | 0.39624 | ALACHLOR | . | 0.008 | 0.327 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82526 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.8572 | 0.077921 | 0.84725 | 0.093998 | 0.069679
ALACHLOR | 2001 | 46342GCM35 | 2011-06-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.90612 | NSI | 070810-01 | NSI 070810-01: 20 µl | 0.098 | ALACHLOR | . | 0.008 | 0.0888 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90612 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.8572 | 0.077921 | 0.84725 | 0.093998 | 0.069679
ALACHLOR | 2001 | 46342GCM35 | 2011-08-02 | 2010-10-01 | 2050-09-30 | ug/L | 0.99495 | NSI | 070810-01 | NSI 070810-01: 80 µl | 0.396 | ALACHLOR | . | 0.008 | 0.394 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99495 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.8572 | 0.077921 | 0.84725 | 0.093998 | 0.069679
ALACHLOR | 2001 | 46342GCM35 | 2011-09-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.92525 | NSI | 070810-01 | NSI 070810-01: 50 µl | 0.2475 | ALACHLOR | . | 0.008 | 0.229 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92525 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.8572 | 0.077921 | 0.84725 | 0.093998 | 0.069679
ALACHLOR | 2001 | 46342GCM35 | 2011-11-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.72525 | NSI | 070810-01 | NSI 070810-01: 20 µl | 0.099 | ALACHLOR | . | 0.008 | 0.0718 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72525 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.8572 | 0.077921 | 0.84725 | 0.093998 | 0.069679
ALACHLOR | 2001 | 46342GCM35 | 2012-01-21 | 2010-10-01 | 2050-09-30 | ug/L | 0.83586 | NSI | 070810-01 | NSI 070810-01: 80 µl | 0.396 | ALACHLOR | . | 0.008 | 0.331 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83586 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.8572 | 0.077921 | 0.84725 | 0.093998 | 0.069679
ALACHLOR | 2001 | 46342GCM35 | 2012-05-05 | 2010-10-01 | 2050-09-30 | ug/L | 0.81212 | NSI | 070810-01 | NSI 070810-01: 50 µl | 0.2475 | ALACHLOR | . | 0.008 | 0.201 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81212 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.8572 | 0.077921 | 0.84725 | 0.093998 | 0.069679
ALACHLOR | 2001 | 46342GCM35 | 2012-06-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.90505 | NSI | 070810-01 | NSI 070810-01: 50 µl | 0.2475 | ALACHLOR | . | 0.008 | 0.224 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90505 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.8572 | 0.077921 | 0.84725 | 0.093998 | 0.069679
ALACHLOR | 2001 | 46342GCM35 | 2008-11-21 | 2008-10-01 | 2009-09-30 | ug/L | 1.3843 | NSI | 081108-01Pest | NSI 081108-01Pest: 40 µl | 0.047676 | ALACHLOR | . | 0.008 | 0.066 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3844 | NSI 081108-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.2527 | 0.2186 | 1.2543 | 0.22328 | 0.16551
ALACHLOR | 2001 | 46342GCM35 | 2009-03-23 | 2008-10-01 | 2009-09-30 | ug/L | 1.5187 | NSI | 081108-01Pest | NSI 081108-01Pest: 25 µl | 0.032924 | ALACHLOR | . | 0.008 | 0.05 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.5187 | NSI 081108-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.2527 | 0.2186 | 1.2543 | 0.22328 | 0.16551
ALACHLOR | 2001 | 46342GCM35 | 2009-05-01 | 2008-10-01 | 2009-09-30 | ug/L | 1.1611 | NSI | 081108-01Pest | NSI 081108-01Pest: 40 µl | 0.04737 | ALACHLOR | . | 0.008 | 0.055 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1611 | NSI 081108-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.2527 | 0.2186 | 1.2543 | 0.22328 | 0.16551
ALACHLOR | 2001 | 46342GCM35 | 2009-07-30 | 2008-10-01 | 2009-09-30 | ug/L | 1.2543 | NSI | 081108-01Pest | NSI 081108-01Pest: 25 µl | 0.029499 | ALACHLOR | . | 0.008 | 0.037 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2543 | NSI 081108-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.2527 | 0.2186 | 1.2543 | 0.22328 | 0.16551
ALACHLOR | 2001 | 46342GCM35 | 2009-09-25 | 2008-10-01 | 2009-09-30 | ug/L | 0.945 | NSI | 081108-01Pest | NSI 081108-01Pest: 25 µl | 0.02963 | ALACHLOR | . | 0.008 | 0.028 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.945 | NSI 081108-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.2527 | 0.2186 | 1.2543 | 0.22328 | 0.16551
ALACHLOR | 2001 | 46342GCM35 | 2008-05-01 | 2007-10-01 | 2008-09-30 | ug/L | 1.0924 | NWQL | PSP3SP140C | NWQL PSP3SP140C: 50 µl | 0.051261 | ALACHLOR | . | 0.006 | 0.056 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0924 | NWQL PSP3SP140C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.1422 | 0.16002 | 1.0924 | 0.30823 | 0.22849
ALACHLOR | 2001 | 46342GCM35 | 2008-06-25 | 2007-10-01 | 2008-09-30 | ug/L | 1.013 | NWQL | PSP3SP140C | NWQL PSP3SP140C: 50 µl | 0.050347 | ALACHLOR | . | 0.006 | 0.051 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.013 | NWQL PSP3SP140C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.1422 | 0.16002 | 1.0924 | 0.30823 | 0.22849
ALACHLOR | 2001 | 46342GCM35 | 2008-08-19 | 2007-10-01 | 2008-09-30 | ug/L | 1.3212 | NWQL | PSP3SP140C | NWQL PSP3SP140C: 50 µl | 0.049198 | ALACHLOR | . | 0.006 | 0.065 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3212 | NWQL PSP3SP140C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.1422 | 0.16002 | 1.0924 | 0.30823 | 0.22849
ALACHLOR | 2001 | 46342GCM35 | 2009-04-08 | 2008-10-01 | 2009-09-30 | ug/L | 1.1954 | NWQL | PSP3SP140D | NWQL PSP3SP140D: 50 µl | 0.051031 | ALACHLOR | . | 0.008 | 0.061 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1954 | NWQL PSP3SP140D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1742 | 0.12421 | 1.1394 | 0.18859 | 0.1398
ALACHLOR | 2001 | 46342GCM35 | 2009-04-14 | 2008-10-01 | 2009-09-30 | ug/L | 1.3416 | NWQL | PSP3SP140D | NWQL PSP3SP140D: 50 µl | 0.04994 | ALACHLOR | . | 0.008 | 0.067 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3416 | NWQL PSP3SP140D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1742 | 0.12421 | 1.1394 | 0.18859 | 0.1398
ALACHLOR | 2001 | 46342GCM35 | 2009-06-24 | 2008-10-01 | 2009-09-30 | ug/L | 1.0833 | NWQL | PSP3SP140D | NWQL PSP3SP140D: 50 µl | 0.049845 | ALACHLOR | . | 0.008 | 0.054 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0833 | NWQL PSP3SP140D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1742 | 0.12421 | 1.1394 | 0.18859 | 0.1398
ALACHLOR | 2001 | 46342GCM35 | 2009-08-21 | 2008-10-01 | 2009-09-30 | ug/L | 1.0764 | NWQL | PSP3SP140D | NWQL PSP3SP140D: 50 µl | 0.050165 | ALACHLOR | . | 0.008 | 0.054 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0764 | NWQL PSP3SP140D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1742 | 0.12421 | 1.1394 | 0.18859 | 0.1398
ALACHLOR | 2001 | 46342GCM35 | 2010-06-24 | 2009-10-01 | 2010-09-30 | ug/L | 1.6077 | NWQL | PSP3SP142A | NWQL PSP3SP142A: 40 µl | 0.039809 | ALACHLOR | . | 0.008 | 0.064 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.6077 | NWQL PSP3SP142A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.2473 | 0.37342 | 1.2721 | 0.74561 | 0.55271
ALACHLOR | 2001 | 46342GCM35 | 2010-07-14 | 2009-10-01 | 2010-09-30 | ug/L | 1.2721 | NWQL | PSP3SP142A | NWQL PSP3SP142A: 40 µl | 0.0408 | ALACHLOR | . | 0.008 | 0.0519 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2721 | NWQL PSP3SP142A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.2473 | 0.37342 | 1.2721 | 0.74561 | 0.55271
ALACHLOR | 2001 | 46342GCM35 | 2010-07-28 | 2009-10-01 | 2010-09-30 | ug/L | 0.86207 | NWQL | PSP3SP142A | NWQL PSP3SP142A: 40 µl | 0.04002 | ALACHLOR | . | 0.008 | 0.0345 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86207 | NWQL PSP3SP142A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.2473 | 0.37342 | 1.2721 | 0.74561 | 0.55271
ALACHLOR | 2001 | 46342GCM35 | 2013-08-28 | 2010-10-01 | 2050-09-30 | ug/L | 0.60705 | Spex Organics, Accu | T1130517007, 213041078 | Spex Organics T1130517007: 100 µl & Accu 213041078: 100 µl | 0.1845 | ALACHLOR | . | 0.008 | 0.112 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60705 | SpT117007, Ac2131078 | Sp | Ac | Ac | T117007 | 2131078 | 2131078 | T117007 | 2131078 | 2131078 | Y | Recoverable Result | Y | 2 |  | 1 | 0.60705 |  | 0.60705 | 0 | 0
ALACHLOR | 2001 | 46342GCM35 | 2013-12-18 | 2010-10-01 | 2050-09-30 | ug/L | 1.0649 | Spex Organics, ERA | T1130517007, 0318-13-02.1 | Spex Organics T1130517007: 20 µl & ERA 0318-13-02.1: 20 µl | 0.037 | ALACHLOR | . | 0.008 | 0.0394 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0649 | SpT117007, ER03102.1 | Sp | ER | ER | T117007 | 03102.1 | 03102.1 | T117007 | 03102.1 | 03102.1 | Y | Recoverable Result | Y | 2 |  | 1 | 1.0649 |  | 1.0649 | 0 | 0
ALACHLOR | 2001 | 46342GCM35 | 2011-02-25 | 2010-10-01 | 2050-09-30 | ug/L | 1.0353 | Supelco | LB77170 | Supelco LB77170: 80 µl | 0.39891 | ALACHLOR | . | 0.008 | 0.413 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0353 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.88097 | 0.12499 | 0.83804 | 0.057576 | 0.04268
ALACHLOR | 2001 | 46342GCM35 | 2011-03-23 | 2010-10-01 | 2050-09-30 | ug/L | 0.83804 | Supelco | LB77170 | Supelco LB77170: 20 µl | 0.099638 | ALACHLOR | . | 0.008 | 0.0835 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83804 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.88097 | 0.12499 | 0.83804 | 0.057576 | 0.04268
ALACHLOR | 2001 | 46342GCM35 | 2011-06-23 | 2010-10-01 | 2050-09-30 | ug/L | 0.71207 | Supelco | LB77170 | Supelco LB77170: 50 µl | 0.24997 | ALACHLOR | . | 0.008 | 0.178 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71207 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.88097 | 0.12499 | 0.83804 | 0.057576 | 0.04268
ALACHLOR | 2001 | 46342GCM35 | 2011-07-12 | 2010-10-01 | 2050-09-30 | ug/L | 0.85343 | Supelco | LB77170 | Supelco LB77170: 80 µl | 0.39839 | ALACHLOR | . | 0.008 | 0.34 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85343 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.88097 | 0.12499 | 0.83804 | 0.057576 | 0.04268
ALACHLOR | 2001 | 46342GCM35 | 2011-08-18 | 2010-10-01 | 2050-09-30 | ug/L | 1.1273 | Supelco | LB77170 | Supelco LB77170: 50 µl | 0.2475 | ALACHLOR | . | 0.008 | 0.279 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1273 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.88097 | 0.12499 | 0.83804 | 0.057576 | 0.04268
ALACHLOR | 2001 | 46342GCM35 | 2011-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.82727 | Supelco | LB77170 | Supelco LB77170: 20 µl | 0.099 | ALACHLOR | . | 0.008 | 0.0819 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82727 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.88097 | 0.12499 | 0.83804 | 0.057576 | 0.04268
ALACHLOR | 2001 | 46342GCM35 | 2011-12-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.83636 | Supelco | LB77170 | Supelco LB77170: 50 µl | 0.2475 | ALACHLOR | E | 0.008 | 0.207 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83636 | Supelco LB77170 | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 0.88097 | 0.12499 | 0.83804 | 0.057576 | 0.04268
ALACHLOR | 2001 | 46342GCM35 | 2012-02-23 | 2010-10-01 | 2050-09-30 | ug/L | 0.81414 | Supelco | LB77170 | Supelco LB77170: 20 µl | 0.099 | ALACHLOR | . | 0.008 | 0.0806 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81414 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.88097 | 0.12499 | 0.83804 | 0.057576 | 0.04268
ALACHLOR | 2001 | 46342GCM35 | 2012-05-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.88485 | Supelco | LB77170 | Supelco LB77170: 20 µl | 0.099 | ALACHLOR | . | 0.008 | 0.0876 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88485 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.88097 | 0.12499 | 0.83804 | 0.057576 | 0.04268
ALACHLOR | 2001 | 46342GCM35 | 2008-04-24 | 2007-10-01 | 2008-09-30 | ug/L | 1.1859 | Ultra | CD-2090 | Ultra CD-2090: 25 µl | 0.1501 | ALACHLOR | . | 0.006 | 0.178 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1859 | Ultra CD-2090 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.96135 | 0.15094 | 0.93832 | 0.17816 | 0.13207
ALACHLOR | 2001 | 46342GCM35 | 2008-04-29 | 2007-10-01 | 2008-09-30 | ug/L | 1.0656 | Ultra | CD-2090 | Ultra CD-2090: 25 µl | 0.14545 | ALACHLOR | . | 0.006 | 0.155 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0656 | Ultra CD-2090 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.96135 | 0.15094 | 0.93832 | 0.17816 | 0.13207
ALACHLOR | 2001 | 46342GCM35 | 2008-05-06 | 2007-10-01 | 2008-09-30 | ug/L | 0.90315 | Ultra | CD-2090 | Ultra CD-2090: 25 µl | 0.14394 | ALACHLOR | . | 0.006 | 0.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90315 | Ultra CD-2090 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.96135 | 0.15094 | 0.93832 | 0.17816 | 0.13207
ALACHLOR | 2001 | 46342GCM35 | 2008-07-10 | 2007-10-01 | 2008-09-30 | ug/L | 0.75247 | Ultra | CD-2090 | Ultra CD-2090: 25 µl | 0.14353 | ALACHLOR | . | 0.006 | 0.108 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75247 | Ultra CD-2090 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.96135 | 0.15094 | 0.93832 | 0.17816 | 0.13207
ALACHLOR | 2001 | 46342GCM35 | 2008-08-04 | 2007-10-01 | 2008-09-30 | ug/L | 0.88747 | Ultra | CD-2090 | Ultra CD-2090: 25 µl | 0.1431 | ALACHLOR | . | 0.006 | 0.127 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88747 | Ultra CD-2090 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.96135 | 0.15094 | 0.93832 | 0.17816 | 0.13207
ALACHLOR | 2001 | 46342GCM35 | 2008-09-24 | 2007-10-01 | 2008-09-30 | ug/L | 0.97348 | Ultra | CD-2090 | Ultra CD-2090: 25 µl | 0.1469 | ALACHLOR | . | 0.006 | 0.143 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97348 | Ultra CD-2090 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.96135 | 0.15094 | 0.93832 | 0.17816 | 0.13207