## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
ALPHA-HCH | 2001 | 34253GCM35 | 2010-01-05 | 2009-10-01 | 2010-09-30 | ug/L | 1.2567 | Abs | 090409Pest | Abs 090409Pest: 25 µl | 0.010026 | ALPHA-HCH | . | 0.004 | 0.0126 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2567 | Abs 090409Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0512 | 0.13468 | 1.0022 | 0.17013 | 0.12612
ALPHA-HCH | 2001 | 34253GCM35 | 2010-06-18 | 2009-10-01 | 2010-09-30 | ug/L | 0.9953 | Abs | 090409Pest | Abs 090409Pest: 80 µl | 0.031247 | ALPHA-HCH | . | 0.004 | 0.0311 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9953 | Abs 090409Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0512 | 0.13468 | 1.0022 | 0.17013 | 0.12612
ALPHA-HCH | 2001 | 34253GCM35 | 2010-07-20 | 2009-10-01 | 2010-09-30 | ug/L | 1.1654 | Abs | 090409Pest | Abs 090409Pest: 25 µl | 0.010039 | ALPHA-HCH | . | 0.004 | 0.0117 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1654 | Abs 090409Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0512 | 0.13468 | 1.0022 | 0.17013 | 0.12612
ALPHA-HCH | 2001 | 34253GCM35 | 2010-07-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.8856 | Abs | 090409Pest | Abs 090409Pest: 25 µl | 0.010163 | ALPHA-HCH | . | 0.004 | 0.009 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8856 | Abs 090409Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0512 | 0.13468 | 1.0022 | 0.17013 | 0.12612
ALPHA-HCH | 2001 | 34253GCM35 | 2010-08-13 | 2009-10-01 | 2010-09-30 | ug/L | 0.99708 | Abs | 090409Pest | Abs 090409Pest: 80 µl | 0.031693 | ALPHA-HCH | . | 0.004 | 0.0316 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99708 | Abs 090409Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0512 | 0.13468 | 1.0022 | 0.17013 | 0.12612
ALPHA-HCH | 2001 | 34253GCM35 | 2010-09-22 | 2009-10-01 | 2010-09-30 | ug/L | 1.0073 | Abs | 090409Pest | Abs 090409Pest: 25 µl | 0.010027 | ALPHA-HCH | . | 0.004 | 0.0101 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0073 | Abs 090409Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0512 | 0.13468 | 1.0022 | 0.17013 | 0.12612
ALPHA-HCH | 2001 | 34253GCM35 | 2012-07-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.94164 | Accu, Abs | 212051201, 052212 | Accu 212051201: 20 µl & Abs 052212: 20 µl | 0.03016 | ALPHA-HCH | . | 0.004 | 0.0284 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94164 | Ac2121201, Ab052212 | Ac | Ab | Ab | 2121201 | 052212 | 052212 | 2121201 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.94385 | 0.024941 | 0.94164 | 0.049735 | 0.036868
ALPHA-HCH | 2001 | 34253GCM35 | 2012-11-27 | 2010-10-01 | 2050-09-30 | ug/L | 0.96983 | Accu, Abs | 212051201, 052212 | Accu 212051201: 40 µl & Abs 052212: 40 µl | 0.06032 | ALPHA-HCH | . | 0.004 | 0.0585 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96983 | Ac2121201, Ab052212 | Ac | Ab | Ab | 2121201 | 052212 | 052212 | 2121201 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.94385 | 0.024941 | 0.94164 | 0.049735 | 0.036868
ALPHA-HCH | 2001 | 34253GCM35 | 2013-01-29 | 2010-10-01 | 2050-09-30 | ug/L | 0.92009 | Accu, Abs | 212051201, 052212 | Accu 212051201: 80 µl & Abs 052212: 80 µl | 0.12064 | ALPHA-HCH | . | 0.004 | 0.111 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92009 | Ac2121201, Ab052212 | Ac | Ab | Ab | 2121201 | 052212 | 052212 | 2121201 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.94385 | 0.024941 | 0.94164 | 0.049735 | 0.036868
ALPHA-HCH | 2001 | 34253GCM35 | 2013-03-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.8687 | Accu, NSI | 212051201, 062112-01Pest | Accu 212051201: 20 µl & NSI 062112-01Pest: 20 µl | 0.03016 | ALPHA-HCH | . | 0.004 | 0.0262 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8687 | Ac2121201, NS062Pest | Ac | NS | NS | 2121201 | 062Pest | 062Pest | 2121201 | 062Pest | 062Pest | Y | Recoverable Result | Y | 2 |  | 2 | 0.843 | 0.03634 | 0.843 | 0.051393 | 0.038097
ALPHA-HCH | 2001 | 34253GCM35 | 2013-05-14 | 2010-10-01 | 2050-09-30 | ug/L | 0.81731 | Accu, NSI | 212051201, 062112-01Pest | Accu 212051201: 40 µl & NSI 062112-01Pest: 40 µl | 0.06032 | ALPHA-HCH | . | 0.004 | 0.0493 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81731 | Ac2121201, NS062Pest | Ac | NS | NS | 2121201 | 062Pest | 062Pest | 2121201 | 062Pest | 062Pest | Y | Recoverable Result | Y | 2 |  | 2 | 0.843 | 0.03634 | 0.843 | 0.051393 | 0.038097
ALPHA-HCH | 2001 | 34253GCM35 | 2012-09-01 | 2010-10-01 | 2050-09-30 | ug/L | 1.0776 | Accu, Spex Organics | 212051201, T1120530009 | Accu 212051201: 20 µl & Spex Organics T1120530009: 20 µl | 0.03016 | ALPHA-HCH | . | 0.004 | 0.0325 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0776 | Ac2121201, SpT110009 | Ac | Sp | Sp | 2121201 | T110009 | T110009 | 2121201 | T110009 | T110009 | Y | Recoverable Result | Y | 2 |  | 1 | 1.0776 |  | 1.0776 | 0 | 0
ALPHA-HCH | 2001 | 34253GCM35 | 2013-10-21 | 2010-10-01 | 2050-09-30 | ug/L | 1.0231 | Accu, Abs | 213041078, 041613 | Accu 213041078: 20 µl & Abs 041613: 20 µl | 0.00909 | ALPHA-HCH | . | 0.004 | 0.0093 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0231 | Ac2131078, Ab041613 | Ac | Ab | Ab | 2131078 | 041613 | 041613 | 2131078 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.0231 |  | 1.0231 | 0 | 0
ALPHA-HCH | 2001 | 34253GCM35 | 2013-05-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.94609 | Accu, NSI | 213041078, 042313Pest | Accu 213041078: 50 µl & NSI 042313Pest: 50 µl | 0.022725 | ALPHA-HCH | . | 0.004 | 0.0215 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94609 | Ac2131078, NS042Pest | Ac | NS | NS | 2131078 | 042Pest | 042Pest | 2131078 | 042Pest | 042Pest | Y | Recoverable Result | Y | 2 |  | 1 | 0.94609 |  | 0.94609 | 0 | 0
ALPHA-HCH | 2001 | 34253GCM35 | 2012-07-16 | 2010-10-01 | 2050-09-30 | ug/L | 0.90186 | Accu | 212051201 | Accu 212051201: 40 µl | 0.06032 | ALPHA-HCH | . | 0.004 | 0.0544 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90186 | Accu 212051201 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.90186 |  | 0.90186 | 0 | 0
ALPHA-HCH | 2001 | 34253GCM35 | 2013-07-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.87946 | ChemService, ERA | 1466000, 0318-13-02.1 | ChemService 1466000: 50 µl & ERA 0318-13-02.1: 50 µl | 0.0224 | ALPHA-HCH | . | 0.004 | 0.0197 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87946 | Ch1466000, ER03102.1 | Ch | ER | ER | 1466000 | 03102.1 | 03102.1 |  | 03102.1 | 03102.1 | Y | Recoverable Result | Y | 2 |  | 1 | 0.87946 |  | 0.87946 | 0 | 0
ALPHA-HCH | 2001 | 34253GCM35 | 2008-10-31 | 2008-10-01 | 2009-09-30 | ug/L | 0.96662 | Crescent | 08HH018 | Crescent 08HH018: 25 µl | 0.12414 | ALPHA-HCH | . | 0.008 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96662 | Crescent 08HH018 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.1911 | 0.38683 | 1.0133 | 0.076482 | 0.056695
ALPHA-HCH | 2001 | 34253GCM35 | 2009-01-20 | 2008-10-01 | 2009-09-30 | ug/L | 1.0101 | Crescent | 08HH018 | Crescent 08HH018: 40 µl | 0.20096 | ALPHA-HCH | . | 0.008 | 0.203 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0101 | Crescent 08HH018 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.1911 | 0.38683 | 1.0133 | 0.076482 | 0.056695
ALPHA-HCH | 2001 | 34253GCM35 | 2009-03-20 | 2008-10-01 | 2009-09-30 | ug/L | 1.8787 | Crescent | 08HH018 | Crescent 08HH018: 25 µl | 0.12615 | ALPHA-HCH | . | 0.008 | 0.237 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.8787 | Crescent 08HH018 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.1911 | 0.38683 | 1.0133 | 0.076482 | 0.056695
ALPHA-HCH | 2001 | 34253GCM35 | 2009-06-10 | 2008-10-01 | 2009-09-30 | ug/L | 1.0133 | Crescent | 08HH018 | Crescent 08HH018: 25 µl | 0.12534 | ALPHA-HCH | . | 0.008 | 0.127 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0133 | Crescent 08HH018 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.1911 | 0.38683 | 1.0133 | 0.076482 | 0.056695
ALPHA-HCH | 2001 | 34253GCM35 | 2009-08-28 | 2008-10-01 | 2009-09-30 | ug/L | 1.0866 | Crescent | 08HH018 | Crescent 08HH018: 40 µl | 0.19786 | ALPHA-HCH | . | 0.008 | 0.215 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0866 | Crescent 08HH018 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.1911 | 0.38683 | 1.0133 | 0.076482 | 0.056695
ALPHA-HCH | 2001 | 34253GCM35 | 2013-11-26 | 2010-10-01 | 2050-09-30 | ug/L | 0.85938 | ERA, Abs | 0318-13-02.1, 041613 | ERA 0318-13-02.1: 20 µl & Abs 041613: 20 µl | 0.00896 | ALPHA-HCH | . | 0.004 | 0.0077 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85938 | ER03102.1, Ab041613 | ER | Ab | Ab | 03102.1 | 041613 | 041613 | 03102.1 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.85938 |  | 0.85938 | 0 | 0
ALPHA-HCH | 2001 | 34253GCM35 | 2013-08-01 | 2010-10-01 | 2050-09-30 | ug/L | 1.0446 | ERA, NSI | 0318-13-02.1, 042313Pest | ERA 0318-13-02.1: 100 µl & NSI 042313Pest: 100 µl | 0.0448 | ALPHA-HCH | . | 0.004 | 0.0468 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0446 | ER03102.1, NS042Pest | ER | NS | NS | 03102.1 | 042Pest | 042Pest | 03102.1 | 042Pest | 042Pest | Y | Recoverable Result | Y | 2 |  | 1 | 1.0446 |  | 1.0446 | 0 | 0
ALPHA-HCH | 2001 | 34253GCM35 | 2012-12-06 | 2010-10-01 | 2050-09-30 | ug/L | 1.0033 | ERA, ChemService | 0507-12-05.1, 348200 | ERA 0507-12-05.1: 20 µl & ChemService 348200: 20 µl | 0.0302 | ALPHA-HCH | . | 0.004 | 0.0303 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0033 | ER05005.1, Ch348200 | ER | Ch | Ch | 05005.1 | 348200 | 348200 | 05005.1 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.90563 | 0.13814 | 0.90563 | 0.19536 | 0.14482
ALPHA-HCH | 2001 | 34253GCM35 | 2013-05-07 | 2010-10-01 | 2050-09-30 | ug/L | 0.80795 | ERA, ChemService | 0507-12-05.1, 348200 | ERA 0507-12-05.1: 20 µl & ChemService 348200: 20 µl | 0.0302 | ALPHA-HCH | . | 0.004 | 0.0244 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80795 | ER05005.1, Ch348200 | ER | Ch | Ch | 05005.1 | 348200 | 348200 | 05005.1 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.90563 | 0.13814 | 0.90563 | 0.19536 | 0.14482
ALPHA-HCH | 2001 | 34253GCM35 | 2012-09-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.97351 | ERA, NSI | 0507-12-05.1, 062112-01Pest | ERA 0507-12-05.1: 20 µl & NSI 062112-01Pest: 20 µl | 0.0302 | ALPHA-HCH | . | 0.004 | 0.0294 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97351 | ER05005.1, NS062Pest | ER | NS | NS | 05005.1 | 062Pest | 062Pest | 05005.1 | 062Pest | 062Pest | Y | Recoverable Result | Y | 2 |  | 1 | 0.97351 |  | 0.97351 | 0 | 0
ALPHA-HCH | 2001 | 34253GCM35 | 2012-11-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.99007 | ERA, Spex Organics | 0507-12-05.1, T1120530009 | ERA 0507-12-05.1: 40 µl & Spex Organics T1120530009: 40 µl | 0.0604 | ALPHA-HCH | . | 0.004 | 0.0598 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99007 | ER05005.1, SpT110009 | ER | Sp | Sp | 05005.1 | T110009 | T110009 | 05005.1 | T110009 | T110009 | Y | Recoverable Result | Y | 2 |  | 2 | 0.95861 | 0.044487 | 0.95861 | 0.062914 | 0.046637
ALPHA-HCH | 2001 | 34253GCM35 | 2013-03-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.92715 | ERA, Spex Organics | 0507-12-05.1, T1120530009 | ERA 0507-12-05.1: 80 µl & Spex Organics T1120530009: 80 µl | 0.1208 | ALPHA-HCH | . | 0.004 | 0.112 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92715 | ER05005.1, SpT110009 | ER | Sp | Sp | 05005.1 | T110009 | T110009 | 05005.1 | T110009 | T110009 | Y | Recoverable Result | Y | 2 |  | 2 | 0.95861 | 0.044487 | 0.95861 | 0.062914 | 0.046637
ALPHA-HCH | 2001 | 34253GCM35 | 2011-02-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.90701 | NSI | 070810-01 | NSI 070810-01: 20 µl | 0.060418 | ALPHA-HCH | . | 0.004 | 0.0548 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90701 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.88286 | 0.063346 | 0.85897 | 0.057081 | 0.042314
ALPHA-HCH | 2001 | 34253GCM35 | 2011-03-15 | 2010-10-01 | 2050-09-30 | ug/L | 0.98895 | NSI | 070810-01 | NSI 070810-01: 50 µl | 0.15269 | ALPHA-HCH | . | 0.004 | 0.151 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98895 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.88286 | 0.063346 | 0.85897 | 0.057081 | 0.042314
ALPHA-HCH | 2001 | 34253GCM35 | 2011-05-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.99299 | NSI | 070810-01 | NSI 070810-01: 80 µl | 0.24975 | ALPHA-HCH | . | 0.004 | 0.248 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99299 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.88286 | 0.063346 | 0.85897 | 0.057081 | 0.042314
ALPHA-HCH | 2001 | 34253GCM35 | 2011-06-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.84993 | NSI | 070810-01 | NSI 070810-01: 20 µl | 0.06177 | ALPHA-HCH | . | 0.004 | 0.0525 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84993 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.88286 | 0.063346 | 0.85897 | 0.057081 | 0.042314
ALPHA-HCH | 2001 | 34253GCM35 | 2011-08-02 | 2010-10-01 | 2050-09-30 | ug/L | 0.84936 | NSI | 070810-01 | NSI 070810-01: 80 µl | 0.2496 | ALPHA-HCH | . | 0.004 | 0.212 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84936 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.88286 | 0.063346 | 0.85897 | 0.057081 | 0.042314
ALPHA-HCH | 2001 | 34253GCM35 | 2011-09-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.85897 | NSI | 070810-01 | NSI 070810-01: 50 µl | 0.156 | ALPHA-HCH | . | 0.004 | 0.134 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85897 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.88286 | 0.063346 | 0.85897 | 0.057081 | 0.042314
ALPHA-HCH | 2001 | 34253GCM35 | 2011-11-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.79327 | NSI | 070810-01 | NSI 070810-01: 20 µl | 0.0624 | ALPHA-HCH | . | 0.004 | 0.0495 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79327 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.88286 | 0.063346 | 0.85897 | 0.057081 | 0.042314
ALPHA-HCH | 2001 | 34253GCM35 | 2012-01-21 | 2010-10-01 | 2050-09-30 | ug/L | 0.85737 | NSI | 070810-01 | NSI 070810-01: 80 µl | 0.2496 | ALPHA-HCH | . | 0.004 | 0.214 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85737 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.88286 | 0.063346 | 0.85897 | 0.057081 | 0.042314
ALPHA-HCH | 2001 | 34253GCM35 | 2012-05-05 | 2010-10-01 | 2050-09-30 | ug/L | 0.85897 | NSI | 070810-01 | NSI 070810-01: 50 µl | 0.156 | ALPHA-HCH | . | 0.004 | 0.134 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85897 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.88286 | 0.063346 | 0.85897 | 0.057081 | 0.042314
ALPHA-HCH | 2001 | 34253GCM35 | 2012-06-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.87179 | NSI | 070810-01 | NSI 070810-01: 50 µl | 0.156 | ALPHA-HCH | . | 0.004 | 0.136 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87179 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.88286 | 0.063346 | 0.85897 | 0.057081 | 0.042314
ALPHA-HCH | 2001 | 34253GCM35 | 2008-11-21 | 2008-10-01 | 2009-09-30 | ug/L | 1.0529 | NSI | 081108-01Pest | NSI 081108-01Pest: 40 µl | 0.19944 | ALPHA-HCH | . | 0.008 | 0.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0529 | NSI 081108-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.99046 | 0.12362 | 1.0165 | 0.078989 | 0.058554
ALPHA-HCH | 2001 | 34253GCM35 | 2009-03-23 | 2008-10-01 | 2009-09-30 | ug/L | 1.0165 | NSI | 081108-01Pest | NSI 081108-01Pest: 25 µl | 0.13773 | ALPHA-HCH | . | 0.008 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0165 | NSI 081108-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.99046 | 0.12362 | 1.0165 | 0.078989 | 0.058554
ALPHA-HCH | 2001 | 34253GCM35 | 2009-05-01 | 2008-10-01 | 2009-09-30 | ug/L | 0.97394 | NSI | 081108-01Pest | NSI 081108-01Pest: 40 µl | 0.19816 | ALPHA-HCH | . | 0.008 | 0.193 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97394 | NSI 081108-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.99046 | 0.12362 | 1.0165 | 0.078989 | 0.058554
ALPHA-HCH | 2001 | 34253GCM35 | 2009-07-30 | 2008-10-01 | 2009-09-30 | ug/L | 1.1183 | NSI | 081108-01Pest | NSI 081108-01Pest: 25 µl | 0.1234 | ALPHA-HCH | . | 0.008 | 0.138 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1183 | NSI 081108-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.99046 | 0.12362 | 1.0165 | 0.078989 | 0.058554
ALPHA-HCH | 2001 | 34253GCM35 | 2009-09-25 | 2008-10-01 | 2009-09-30 | ug/L | 0.79064 | NSI | 081108-01Pest | NSI 081108-01Pest: 25 µl | 0.12395 | ALPHA-HCH | . | 0.008 | 0.098 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79064 | NSI 081108-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.99046 | 0.12362 | 1.0165 | 0.078989 | 0.058554
ALPHA-HCH | 2001 | 34253GCM35 | 2008-05-01 | 2006-10-01 | 2008-09-30 | ug/L | 1.112 | NWQL | PSP3SP140C | NWQL PSP3SP140C: 50 µl | 0.051261 | ALPHA-HCH | . | 0.002 | 0.057 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.112 | NWQL PSP3SP140C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.1139 | 0.017347 | 1.112 | 0.034531 | 0.025597
ALPHA-HCH | 2001 | 34253GCM35 | 2008-06-25 | 2006-10-01 | 2008-09-30 | ug/L | 1.1321 | NWQL | PSP3SP140C | NWQL PSP3SP140C: 50 µl | 0.050347 | ALPHA-HCH | . | 0.002 | 0.057 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1321 | NWQL PSP3SP140C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.1139 | 0.017347 | 1.112 | 0.034531 | 0.025597
ALPHA-HCH | 2001 | 34253GCM35 | 2008-08-19 | 2006-10-01 | 2008-09-30 | ug/L | 1.0976 | NWQL | PSP3SP140C | NWQL PSP3SP140C: 50 µl | 0.049198 | ALPHA-HCH | . | 0.002 | 0.054 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0976 | NWQL PSP3SP140C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.1139 | 0.017347 | 1.112 | 0.034531 | 0.025597
ALPHA-HCH | 2001 | 34253GCM35 | 2009-04-08 | 2008-10-01 | 2009-09-30 | ug/L | 1.0778 | NWQL | PSP3SP140D | NWQL PSP3SP140D: 50 µl | 0.051031 | ALPHA-HCH | . | 0.008 | 0.055 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0778 | NWQL PSP3SP140D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0846 | 0.060323 | 1.097 | 0.088396 | 0.065527
ALPHA-HCH | 2001 | 34253GCM35 | 2009-04-14 | 2008-10-01 | 2009-09-30 | ug/L | 1.1414 | NWQL | PSP3SP140D | NWQL PSP3SP140D: 50 µl | 0.04994 | ALPHA-HCH | . | 0.008 | 0.057 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1414 | NWQL PSP3SP140D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0846 | 0.060323 | 1.097 | 0.088396 | 0.065527
ALPHA-HCH | 2001 | 34253GCM35 | 2009-06-24 | 2008-10-01 | 2009-09-30 | ug/L | 1.0031 | NWQL | PSP3SP140D | NWQL PSP3SP140D: 50 µl | 0.049845 | ALPHA-HCH | . | 0.008 | 0.05 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0031 | NWQL PSP3SP140D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0846 | 0.060323 | 1.097 | 0.088396 | 0.065527
ALPHA-HCH | 2001 | 34253GCM35 | 2009-08-21 | 2008-10-01 | 2009-09-30 | ug/L | 1.1163 | NWQL | PSP3SP140D | NWQL PSP3SP140D: 50 µl | 0.050165 | ALPHA-HCH | . | 0.008 | 0.056 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1163 | NWQL PSP3SP140D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0846 | 0.060323 | 1.097 | 0.088396 | 0.065527
ALPHA-HCH | 2001 | 34253GCM35 | 2010-06-24 | 2009-10-01 | 2010-09-30 | ug/L | 1.0249 | NWQL | PSP3SP142A | NWQL PSP3SP142A: 40 µl | 0.039809 | ALPHA-HCH | . | 0.004 | 0.0408 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0249 | NWQL PSP3SP142A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.0333 | 0.06587 | 1.0249 | 0.13094 | 0.097061
ALPHA-HCH | 2001 | 34253GCM35 | 2010-07-14 | 2009-10-01 | 2010-09-30 | ug/L | 1.103 | NWQL | PSP3SP142A | NWQL PSP3SP142A: 40 µl | 0.0408 | ALPHA-HCH | . | 0.004 | 0.045 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1029 | NWQL PSP3SP142A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.0333 | 0.06587 | 1.0249 | 0.13094 | 0.097061
ALPHA-HCH | 2001 | 34253GCM35 | 2010-07-28 | 2009-10-01 | 2010-09-30 | ug/L | 0.97201 | NWQL | PSP3SP142A | NWQL PSP3SP142A: 40 µl | 0.04002 | ALPHA-HCH | . | 0.004 | 0.0389 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97201 | NWQL PSP3SP142A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.0333 | 0.06587 | 1.0249 | 0.13094 | 0.097061
ALPHA-HCH | 2001 | 34253GCM35 | 2013-08-28 | 2010-10-01 | 2050-09-30 | ug/L | 0.9747 | Spex Organics, Accu | T1130517007, 213041078 | Spex Organics T1130517007: 100 µl & Accu 213041078: 100 µl | 0.04545 | ALPHA-HCH | . | 0.004 | 0.0443 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9747 | SpT117007, Ac2131078 | Sp | Ac | Ac | T117007 | 2131078 | 2131078 | T117007 | 2131078 | 2131078 | Y | Recoverable Result | Y | 2 |  | 1 | 0.9747 |  | 0.9747 | 0 | 0
ALPHA-HCH | 2001 | 34253GCM35 | 2013-12-18 | 2010-10-01 | 2050-09-30 | ug/L | 0.87054 | Spex Organics, ERA | T1130517007, 0318-13-02.1 | Spex Organics T1130517007: 20 µl & ERA 0318-13-02.1: 20 µl | 0.00896 | ALPHA-HCH | . | 0.004 | 0.0078 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87054 | SpT117007, ER03102.1 | Sp | ER | ER | T117007 | 03102.1 | 03102.1 | T117007 | 03102.1 | 03102.1 | Y | Recoverable Result | Y | 2 |  | 1 | 0.87054 |  | 0.87054 | 0 | 0
ALPHA-HCH | 2001 | 34253GCM35 | 2011-02-25 | 2010-10-01 | 2050-09-30 | ug/L | 0.99827 | Supelco | LB77170 | Supelco LB77170: 80 µl | 0.25144 | ALPHA-HCH | . | 0.004 | 0.251 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99827 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.93195 | 0.076335 | 0.90865 | 0.12006 | 0.089001
ALPHA-HCH | 2001 | 34253GCM35 | 2011-03-23 | 2010-10-01 | 2050-09-30 | ug/L | 1.0509 | Supelco | LB77170 | Supelco LB77170: 20 µl | 0.062802 | ALPHA-HCH | . | 0.004 | 0.066 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0509 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.93195 | 0.076335 | 0.90865 | 0.12006 | 0.089001
ALPHA-HCH | 2001 | 34253GCM35 | 2011-06-23 | 2010-10-01 | 2050-09-30 | ug/L | 0.83778 | Supelco | LB77170 | Supelco LB77170: 50 µl | 0.15756 | ALPHA-HCH | . | 0.004 | 0.132 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83778 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.93195 | 0.076335 | 0.90865 | 0.12006 | 0.089001
ALPHA-HCH | 2001 | 34253GCM35 | 2011-07-12 | 2010-10-01 | 2050-09-30 | ug/L | 0.96373 | Supelco | LB77170 | Supelco LB77170: 80 µl | 0.25111 | ALPHA-HCH | . | 0.004 | 0.242 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96373 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.93195 | 0.076335 | 0.90865 | 0.12006 | 0.089001
ALPHA-HCH | 2001 | 34253GCM35 | 2011-08-18 | 2010-10-01 | 2050-09-30 | ug/L | 1.0128 | Supelco | LB77170 | Supelco LB77170: 50 µl | 0.156 | ALPHA-HCH | . | 0.004 | 0.158 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0128 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.93195 | 0.076335 | 0.90865 | 0.12006 | 0.089001
ALPHA-HCH | 2001 | 34253GCM35 | 2011-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.87821 | Supelco | LB77170 | Supelco LB77170: 20 µl | 0.0624 | ALPHA-HCH | . | 0.004 | 0.0548 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87821 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.93195 | 0.076335 | 0.90865 | 0.12006 | 0.089001
ALPHA-HCH | 2001 | 34253GCM35 | 2011-12-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.87821 | Supelco | LB77170 | Supelco LB77170: 50 µl | 0.156 | ALPHA-HCH | . | 0.004 | 0.137 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87821 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.93195 | 0.076335 | 0.90865 | 0.12006 | 0.089001
ALPHA-HCH | 2001 | 34253GCM35 | 2012-02-23 | 2010-10-01 | 2050-09-30 | ug/L | 0.90865 | Supelco | LB77170 | Supelco LB77170: 20 µl | 0.0624 | ALPHA-HCH | . | 0.004 | 0.0567 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90865 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.93195 | 0.076335 | 0.90865 | 0.12006 | 0.089001
ALPHA-HCH | 2001 | 34253GCM35 | 2012-05-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.85897 | Supelco | LB77170 | Supelco LB77170: 20 µl | 0.0624 | ALPHA-HCH | . | 0.004 | 0.0536 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85897 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.93195 | 0.076335 | 0.90865 | 0.12006 | 0.089001
ALPHA-HCH | 2001 | 34253GCM35 | 2008-04-24 | 2006-10-01 | 2008-09-30 | ug/L | 0.94897 | Ultra | CD-2090 | Ultra CD-2090: 25 µl | 0.080087 | ALPHA-HCH | . | 0.002 | 0.076 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94897 | Ultra CD-2090 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.95118 | 0.052406 | 0.93942 | 0.065034 | 0.048209
ALPHA-HCH | 2001 | 34253GCM35 | 2008-04-29 | 2006-10-01 | 2008-09-30 | ug/L | 0.99216 | Ultra | CD-2090 | Ultra CD-2090: 25 µl | 0.077609 | ALPHA-HCH | . | 0.002 | 0.077 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99216 | Ultra CD-2090 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.95118 | 0.052406 | 0.93942 | 0.065034 | 0.048209
ALPHA-HCH | 2001 | 34253GCM35 | 2008-05-06 | 2006-10-01 | 2008-09-30 | ug/L | 1.0286 | Ultra | CD-2090 | Ultra CD-2090: 25 µl | 0.076801 | ALPHA-HCH | . | 0.002 | 0.079 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0286 | Ultra CD-2090 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.95118 | 0.052406 | 0.93942 | 0.065034 | 0.048209
ALPHA-HCH | 2001 | 34253GCM35 | 2008-07-10 | 2006-10-01 | 2008-09-30 | ug/L | 0.92712 | Ultra | CD-2090 | Ultra CD-2090: 25 µl | 0.076581 | ALPHA-HCH | . | 0.002 | 0.071 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92712 | Ultra CD-2090 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.95118 | 0.052406 | 0.93942 | 0.065034 | 0.048209
ALPHA-HCH | 2001 | 34253GCM35 | 2008-08-04 | 2006-10-01 | 2008-09-30 | ug/L | 0.92987 | Ultra | CD-2090 | Ultra CD-2090: 25 µl | 0.076355 | ALPHA-HCH | . | 0.002 | 0.071 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92987 | Ultra CD-2090 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.95118 | 0.052406 | 0.93942 | 0.065034 | 0.048209
ALPHA-HCH | 2001 | 34253GCM35 | 2008-09-24 | 2006-10-01 | 2008-09-30 | ug/L | 0.88035 | Ultra | CD-2090 | Ultra CD-2090: 25 µl | 0.078378 | ALPHA-HCH | . | 0.002 | 0.069 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88035 | Ultra CD-2090 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.95118 | 0.052406 | 0.93942 | 0.065034 | 0.048209