## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
AZINPHOS-METHYL | 2001 | 82686GCM35 | 2013-12-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.524 | Abs, ChemService | 041613, 1466000 | Abs 041613: 50 µl & ChemService 1466000: 50 µl | 0.75 | AZINPHOS-METHYL | E | 0.12 | 0.393 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.524 | Ab041613, Ch1466000 | Ab | Ch | Ch | 041613 | 1466000 | 1466000 |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.524 |  | 0.524 | 0 | 0
AZINPHOS-METHYL | 2001 | 82686GCM35 | 2013-08-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.7 | Abs, Spex Organics | 041613, T1130517007 | Abs 041613: 20 µl & Spex Organics T1130517007: 20 µl | 0.3 | AZINPHOS-METHYL | E | 0.12 | 0.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7 | Ab041613, SpT117007 | Ab | Sp | Sp | 041613 | T117007 | T117007 |  | T117007 | T117007 | Y | Estimated Values | Y | 2 | Y | 1 | 0.7 |  | 0.7 | 0 | 0
AZINPHOS-METHYL | 2001 | 82686GCM35 | 2012-08-05 | 2010-10-01 | 2050-09-30 | ug/L | 0.48 | Abs, ChemService | 052212, 348200 | Abs 052212: 20 µl & ChemService 348200: 20 µl | 0.2 | AZINPHOS-METHYL | E | 0.12 | 0.096 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.48 | Ab052212, Ch348200 | Ab | Ch | Ch | 052212 | 348200 | 348200 |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.48 |  | 0.48 | 0 | 0
AZINPHOS-METHYL | 2001 | 82686GCM35 | 2013-04-03 | 2010-10-01 | 2050-09-30 | ug/L | 0.6375 | Abs, Spex Organics | 052212, T1120530009 | Abs 052212: 40 µl & Spex Organics T1120530009: 40 µl | 0.4 | AZINPHOS-METHYL | E | 0.12 | 0.255 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6375 | Ab052212, SpT110009 | Ab | Sp | Sp | 052212 | T110009 | T110009 |  | T110009 | T110009 | Y | Estimated Values | Y | 2 | Y | 1 | 0.6375 |  | 0.6375 | 0 | 0
AZINPHOS-METHYL | 2001 | 82686GCM35 | 2012-09-01 | 2010-10-01 | 2050-09-30 | ug/L | 0.83 | Accu, Spex Organics | 212051201, T1120530009 | Accu 212051201: 20 µl & Spex Organics T1120530009: 20 µl | 0.2 | AZINPHOS-METHYL | E | 0.12 | 0.166 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83 | Ac2121201, SpT110009 | Ac | Sp | Sp | 2121201 | T110009 | T110009 | 2121201 | T110009 | T110009 | Y | Estimated Values | Y | 2 | Y | 1 | 0.83 |  | 0.83 | 0 | 0
AZINPHOS-METHYL | 2001 | 82686GCM35 | 2009-12-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.72482 | Accu | 209081259 | Accu 209081259: 25 µl | 0.14486 | AZINPHOS-METHYL | E | 0.12 | 0.105 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72482 | Accu 209081259 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.88206 | 0.24948 | 0.87496 | 0.28391 | 0.21046
AZINPHOS-METHYL | 2001 | 82686GCM35 | 2010-06-24 | 2009-10-01 | 2010-09-30 | ug/L | 0.57885 | Accu | 209081259 | Accu 209081259: 25 µl | 0.14684 | AZINPHOS-METHYL | E | 0.12 | 0.085 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57885 | Accu 209081259 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.88206 | 0.24948 | 0.87496 | 0.28391 | 0.21046
AZINPHOS-METHYL | 2001 | 82686GCM35 | 2010-07-06 | 2009-10-01 | 2010-09-30 | ug/L | 1.2229 | Accu | 209081259 | Accu 209081259: 80 µl | 0.48081 | AZINPHOS-METHYL | E | 0.12 | 0.588 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2229 | Accu 209081259 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.88206 | 0.24948 | 0.87496 | 0.28391 | 0.21046
AZINPHOS-METHYL | 2001 | 82686GCM35 | 2010-10-27 | 2010-10-01 | 2050-09-30 | ug/L | 0.87496 | Accu | 209081259 | Accu 209081259: 25 µl | 0.14401 | AZINPHOS-METHYL | E | 0.12 | 0.126 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87496 | Accu 209081259 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.88206 | 0.24948 | 0.87496 | 0.28391 | 0.21046
AZINPHOS-METHYL | 2001 | 82686GCM35 | 2010-12-01 | 2010-10-01 | 2050-09-30 | ug/L | 1.0087 | Accu | 209081259 | Accu 209081259: 80 µl | 0.47684 | AZINPHOS-METHYL | E | 0.12 | 0.481 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0087 | Accu 209081259 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.88206 | 0.24948 | 0.87496 | 0.28391 | 0.21046
AZINPHOS-METHYL | 2001 | 82686GCM35 | 2008-04-24 | 2007-10-01 | 2009-09-30 | ug/L | 0.9337 | Accu | B7070210 | Accu B7070210: 25 µl | 0.23241 | AZINPHOS-METHYL | E | 0.12 | 0.217 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9337 | Accu B7070210 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.78367 | 0.22408 | 0.75577 | 0.34637 | 0.25676
AZINPHOS-METHYL | 2001 | 82686GCM35 | 2008-04-24 | 2007-10-01 | 2009-09-30 | ug/L | 1.1328 | Accu | B7070210 | Accu B7070210: 25 µl | 0.23394 | AZINPHOS-METHYL | E | 0.12 | 0.265 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1328 | Accu B7070210 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.78367 | 0.22408 | 0.75577 | 0.34637 | 0.25676
AZINPHOS-METHYL | 2001 | 82686GCM35 | 2008-05-06 | 2007-10-01 | 2009-09-30 | ug/L | 0.53666 | Accu | B7070210 | Accu B7070210: 25 µl | 0.22361 | AZINPHOS-METHYL | E | 0.12 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.53666 | Accu B7070210 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.78367 | 0.22408 | 0.75577 | 0.34637 | 0.25676
AZINPHOS-METHYL | 2001 | 82686GCM35 | 2008-06-10 | 2007-10-01 | 2009-09-30 | ug/L | 0.58733 | Accu | B7070210 | Accu B7070210: 25 µl | 0.23156 | AZINPHOS-METHYL | E | 0.12 | 0.136 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58733 | Accu B7070210 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.78367 | 0.22408 | 0.75577 | 0.34637 | 0.25676
AZINPHOS-METHYL | 2001 | 82686GCM35 | 2008-08-01 | 2007-10-01 | 2009-09-30 | ug/L | 0.70299 | Accu | B7070210 | Accu B7070210: 25 µl | 0.22476 | AZINPHOS-METHYL | E | 0.12 | 0.158 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70299 | Accu B7070210 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.78367 | 0.22408 | 0.75577 | 0.34637 | 0.25676
AZINPHOS-METHYL | 2001 | 82686GCM35 | 2008-09-23 | 2007-10-01 | 2009-09-30 | ug/L | 0.80855 | Accu | B7070210 | Accu B7070210: 25 µl | 0.22262 | AZINPHOS-METHYL | E | 0.12 | 0.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80855 | Accu B7070210 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.78367 | 0.22408 | 0.75577 | 0.34637 | 0.25676
AZINPHOS-METHYL | 2001 | 82686GCM35 | 2013-07-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.52 | ChemService, ERA | 1466000, 0318-13-02.1 | ChemService 1466000: 50 µl & ERA 0318-13-02.1: 50 µl | 0.75 | AZINPHOS-METHYL | E | 0.12 | 0.39 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.52 | Ch1466000, ER03102.1 | Ch | ER | ER | 1466000 | 03102.1 | 03102.1 |  | 03102.1 | 03102.1 | Y | Estimated Values | Y | 2 | Y | 1 | 0.52 |  | 0.52 | 0 | 0
AZINPHOS-METHYL | 2001 | 82686GCM35 | 2013-06-13 | 2010-10-01 | 2050-09-30 | ug/L | 0.532 | ChemService, NSI | 1466000, 042313Pest | ChemService 1466000: 50 µl & NSI 042313Pest: 50 µl | 0.75 | AZINPHOS-METHYL | E | 0.12 | 0.399 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.532 | Ch1466000, NS042Pest | Ch | NS | NS | 1466000 | 042Pest | 042Pest |  | 042Pest | 042Pest | Y | Estimated Values | Y | 2 | Y | 1 | 0.532 |  | 0.532 | 0 | 0
AZINPHOS-METHYL | 2001 | 82686GCM35 | 2010-01-07 | 2009-10-01 | 2010-09-30 | ug/L | 1.9923 | ChemService | 430-43B | ChemService 430-43B: 25 µl | 0.14556 | AZINPHOS-METHYL | E | 0.12 | 0.29 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.9923 | ChemService 430-43B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.94438 | 0.56316 | 0.74415 | 0.51567 | 0.38226
AZINPHOS-METHYL | 2001 | 82686GCM35 | 2010-06-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.62006 | ChemService | 430-43B | ChemService 430-43B: 25 µl | 0.14998 | AZINPHOS-METHYL | E | 0.12 | 0.093 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62006 | ChemService 430-43B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.94438 | 0.56316 | 0.74415 | 0.51567 | 0.38226
AZINPHOS-METHYL | 2001 | 82686GCM35 | 2010-07-19 | 2009-10-01 | 2010-09-30 | ug/L | 0.60232 | ChemService | 430-43B | ChemService 430-43B: 25 µl | 0.15108 | AZINPHOS-METHYL | E | 0.12 | 0.091 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60232 | ChemService 430-43B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.94438 | 0.56316 | 0.74415 | 0.51567 | 0.38226
AZINPHOS-METHYL | 2001 | 82686GCM35 | 2010-07-22 | 2009-10-01 | 2010-09-30 | ug/L | 0.46535 | ChemService | 430-43B | ChemService 430-43B: 80 µl | 0.47706 | AZINPHOS-METHYL | E | 0.12 | 0.222 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.46535 | ChemService 430-43B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.94438 | 0.56316 | 0.74415 | 0.51567 | 0.38226
AZINPHOS-METHYL | 2001 | 82686GCM35 | 2010-11-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.86824 | ChemService | 430-43B | ChemService 430-43B: 25 µl | 0.14973 | AZINPHOS-METHYL | E | 0.12 | 0.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86824 | ChemService 430-43B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.94438 | 0.56316 | 0.74415 | 0.51567 | 0.38226
AZINPHOS-METHYL | 2001 | 82686GCM35 | 2010-12-02 | 2010-10-01 | 2050-09-30 | ug/L | 1.118 | ChemService | 430-43B | ChemService 430-43B: 80 µl | 0.49822 | AZINPHOS-METHYL | E | 0.12 | 0.557 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.118 | ChemService 430-43B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.94438 | 0.56316 | 0.74415 | 0.51567 | 0.38226
AZINPHOS-METHYL | 2001 | 82686GCM35 | 2012-12-06 | 2010-10-01 | 2050-09-30 | ug/L | 0.38 | ERA, ChemService | 0507-12-05.1, 348200 | ERA 0507-12-05.1: 20 µl & ChemService 348200: 20 µl | 0.2 | AZINPHOS-METHYL | E | 0.12 | 0.076 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.38 | ER05005.1, Ch348200 | ER | Ch | Ch | 05005.1 | 348200 | 348200 | 05005.1 |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.37 | 0.014142 | 0.37 | 0.02 | 0.014826
AZINPHOS-METHYL | 2001 | 82686GCM35 | 2013-05-07 | 2010-10-01 | 2050-09-30 | ug/L | 0.36 | ERA, ChemService | 0507-12-05.1, 348200 | ERA 0507-12-05.1: 20 µl & ChemService 348200: 20 µl | 0.2 | AZINPHOS-METHYL | E | 0.12 | 0.072 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.36 | ER05005.1, Ch348200 | ER | Ch | Ch | 05005.1 | 348200 | 348200 | 05005.1 |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.37 | 0.014142 | 0.37 | 0.02 | 0.014826
AZINPHOS-METHYL | 2001 | 82686GCM35 | 2012-11-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.5625 | ERA, Spex Organics | 0507-12-05.1, T1120530009 | ERA 0507-12-05.1: 40 µl & Spex Organics T1120530009: 40 µl | 0.4 | AZINPHOS-METHYL | E | 0.12 | 0.225 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5625 | ER05005.1, SpT110009 | ER | Sp | Sp | 05005.1 | T110009 | T110009 | 05005.1 | T110009 | T110009 | Y | Estimated Values | Y | 2 | Y | 2 | 0.64062 | 0.11049 | 0.64062 | 0.15625 | 0.11583
AZINPHOS-METHYL | 2001 | 82686GCM35 | 2013-03-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.71875 | ERA, Spex Organics | 0507-12-05.1, T1120530009 | ERA 0507-12-05.1: 80 µl & Spex Organics T1120530009: 80 µl | 0.8 | AZINPHOS-METHYL | E | 0.12 | 0.575 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71875 | ER05005.1, SpT110009 | ER | Sp | Sp | 05005.1 | T110009 | T110009 | 05005.1 | T110009 | T110009 | Y | Estimated Values | Y | 2 | Y | 2 | 0.64062 | 0.11049 | 0.64062 | 0.15625 | 0.11583
AZINPHOS-METHYL | 2001 | 82686GCM35 | 2011-03-01 | 2010-10-01 | 2050-09-30 | ug/L | 0.70345 | ERA | 0618-10-02 LS 2001#2 | ERA 0618-10-02 LS 2001#2: 20 µl | 0.18623 | AZINPHOS-METHYL | E | 0.12 | 0.131 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70345 | ERA 0618-10-02 LS 2001#2 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 9 | 0.75882 | 0.13985 | 0.72886 | 0.099852 | 0.074019
AZINPHOS-METHYL | 2001 | 82686GCM35 | 2011-03-15 | 2010-10-01 | 2050-09-30 | ug/L | 0.88365 | ERA | 0618-10-02 LS 2001#2 | ERA 0618-10-02 LS 2001#2: 80 µl | 0.74351 | AZINPHOS-METHYL | E | 0.12 | 0.657 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88365 | ERA 0618-10-02 LS 2001#2 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 9 | 0.75882 | 0.13985 | 0.72886 | 0.099852 | 0.074019
AZINPHOS-METHYL | 2001 | 82686GCM35 | 2011-05-18 | 2010-10-01 | 2050-09-30 | ug/L | 0.72886 | ERA | 0618-10-02 LS 2001#2 | ERA 0618-10-02 LS 2001#2: 50 µl | 0.4802 | AZINPHOS-METHYL | E | 0.12 | 0.35 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72886 | ERA 0618-10-02 LS 2001#2 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 9 | 0.75882 | 0.13985 | 0.72886 | 0.099852 | 0.074019
AZINPHOS-METHYL | 2001 | 82686GCM35 | 2011-06-28 | 2010-10-01 | 2050-09-30 | ug/L | 0.8033 | ERA | 0618-10-02 LS 2001#2 | ERA 0618-10-02 LS 2001#2: 50 µl | 0.47429 | AZINPHOS-METHYL | E | 0.12 | 0.381 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8033 | ERA 0618-10-02 LS 2001#2 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 9 | 0.75882 | 0.13985 | 0.72886 | 0.099852 | 0.074019
AZINPHOS-METHYL | 2001 | 82686GCM35 | 2011-08-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.6602 | ERA | 0618-10-02 LS 2001#2 | ERA 0618-10-02 LS 2001#2: 80 µl | 0.7528 | AZINPHOS-METHYL | E | 0.12 | 0.497 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6602 | ERA 0618-10-02 LS 2001#2 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 9 | 0.75882 | 0.13985 | 0.72886 | 0.099852 | 0.074019
AZINPHOS-METHYL | 2001 | 82686GCM35 | 2011-09-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.70669 | ERA | 0618-10-02 LS 2001#2 | ERA 0618-10-02 LS 2001#2: 20 µl | 0.1882 | AZINPHOS-METHYL | E | 0.12 | 0.133 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7067 | ERA 0618-10-02 LS 2001#2 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 9 | 0.75882 | 0.13985 | 0.72886 | 0.099852 | 0.074019
AZINPHOS-METHYL | 2001 | 82686GCM35 | 2011-11-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.7492 | ERA | 0618-10-02 LS 2001#2 | ERA 0618-10-02 LS 2001#2: 20 µl | 0.1882 | AZINPHOS-METHYL | E | 0.12 | 0.141 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7492 | ERA 0618-10-02 LS 2001#2 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 9 | 0.75882 | 0.13985 | 0.72886 | 0.099852 | 0.074019
AZINPHOS-METHYL | 2001 | 82686GCM35 | 2012-02-16 | 2010-10-01 | 2050-09-30 | ug/L | 1.0414 | ERA | 0618-10-02 LS 2001#2 | ERA 0618-10-02 LS 2001#2: 20 µl | 0.1882 | AZINPHOS-METHYL | E | 0.12 | 0.196 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0414 | ERA 0618-10-02 LS 2001#2 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 9 | 0.75882 | 0.13985 | 0.72886 | 0.099852 | 0.074019
AZINPHOS-METHYL | 2001 | 82686GCM35 | 2012-05-05 | 2010-10-01 | 2050-09-30 | ug/L | 0.5526 | ERA | 0618-10-02 LS 2001#2 | ERA 0618-10-02 LS 2001#2: 50 µl | 0.4705 | AZINPHOS-METHYL | E | 0.12 | 0.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5526 | ERA 0618-10-02 LS 2001#2 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 9 | 0.75882 | 0.13985 | 0.72886 | 0.099852 | 0.074019
AZINPHOS-METHYL | 2001 | 82686GCM35 | 2012-09-25 | 2010-10-01 | 2050-09-30 | ug/L | 0.3025 | NSI, ChemService | 062112-01Pest, 348200 | NSI 062112-01Pest: 40 µl & ChemService 348200: 40 µl | 0.4 | AZINPHOS-METHYL | E | 0.12 | 0.121 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.3025 | NS062Pest, Ch348200 | NS | Ch | Ch | 062Pest | 348200 | 348200 | 062Pest |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.25562 | 0.066291 | 0.25562 | 0.09375 | 0.069496
AZINPHOS-METHYL | 2001 | 82686GCM35 | 2013-03-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.20875 | NSI, ChemService | 062112-01Pest, 348200 | NSI 062112-01Pest: 80 µl & ChemService 348200: 80 µl | 0.8 | AZINPHOS-METHYL | E | 0.12 | 0.167 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.20875 | NS062Pest, Ch348200 | NS | Ch | Ch | 062Pest | 348200 | 348200 | 062Pest |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.25562 | 0.066291 | 0.25562 | 0.09375 | 0.069496
AZINPHOS-METHYL | 2001 | 82686GCM35 | 2012-11-28 | 2010-10-01 | 2050-09-30 | ug/L | 0.565 | NSI, Spex Organics | 062112-01Pest, T1120530009 | NSI 062112-01Pest: 20 µl & Spex Organics T1120530009: 20 µl | 0.2 | AZINPHOS-METHYL | E | 0.12 | 0.113 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.565 | NS062Pest, SpT110009 | NS | Sp | Sp | 062Pest | T110009 | T110009 | 062Pest | T110009 | T110009 | Y | Estimated Values | Y | 2 | Y | 1 | 0.565 |  | 0.565 | 0 | 0
AZINPHOS-METHYL | 2001 | 82686GCM35 | 2008-05-01 | 2007-10-01 | 2009-09-30 | ug/L | 0.7218 | NWQL | PSP3SP140C | NWQL PSP3SP140C: 50 µl | 0.051261 | AZINPHOS-METHYL | E | 0.12 | 0.037 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.7218 | NWQL PSP3SP140C | [9 empty] | Y | Estimated Values | Y | 1 | Y | 3 | 0.81601 | 0.10776 | 0.79271 | 0.21172 | 0.15694
AZINPHOS-METHYL | 2001 | 82686GCM35 | 2008-06-25 | 2007-10-01 | 2009-09-30 | ug/L | 0.93351 | NWQL | PSP3SP140C | NWQL PSP3SP140C: 50 µl | 0.050347 | AZINPHOS-METHYL | E | 0.12 | 0.047 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.93351 | NWQL PSP3SP140C | [9 empty] | Y | Estimated Values | Y | 1 | Y | 3 | 0.81601 | 0.10776 | 0.79271 | 0.21172 | 0.15694
AZINPHOS-METHYL | 2001 | 82686GCM35 | 2008-08-19 | 2007-10-01 | 2009-09-30 | ug/L | 0.79271 | NWQL | PSP3SP140C | NWQL PSP3SP140C: 50 µl | 0.049198 | AZINPHOS-METHYL | E | 0.12 | 0.039 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.79271 | NWQL PSP3SP140C | [9 empty] | Y | Estimated Values | Y | 1 | Y | 3 | 0.81601 | 0.10776 | 0.79271 | 0.21172 | 0.15694
AZINPHOS-METHYL | 2001 | 82686GCM35 | 2009-04-08 | 2007-10-01 | 2009-09-30 | ug/L | 0.9602 | NWQL | PSP3SP140D | NWQL PSP3SP140D: 50 µl | 0.051031 | AZINPHOS-METHYL | E | 0.12 | 0.049 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.9602 | NWQL PSP3SP140D | [9 empty] | Y | Estimated Values | Y | 1 | Y | 4 | 0.91988 | 0.20355 | 0.93064 | 0.27663 | 0.20506
AZINPHOS-METHYL | 2001 | 82686GCM35 | 2009-04-14 | 2007-10-01 | 2009-09-30 | ug/L | 0.90108 | NWQL | PSP3SP140D | NWQL PSP3SP140D: 50 µl | 0.04994 | AZINPHOS-METHYL | E | 0.12 | 0.045 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.90108 | NWQL PSP3SP140D | [9 empty] | Y | Estimated Values | Y | 1 | Y | 4 | 0.91988 | 0.20355 | 0.93064 | 0.27663 | 0.20506
AZINPHOS-METHYL | 2001 | 82686GCM35 | 2009-06-24 | 2007-10-01 | 2009-09-30 | ug/L | 0.66205 | NWQL | PSP3SP140D | NWQL PSP3SP140D: 50 µl | 0.049845 | AZINPHOS-METHYL | E | 0.12 | 0.033 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.66205 | NWQL PSP3SP140D | [9 empty] | Y | Estimated Values | Y | 1 | Y | 4 | 0.91988 | 0.20355 | 0.93064 | 0.27663 | 0.20506
AZINPHOS-METHYL | 2001 | 82686GCM35 | 2009-08-21 | 2007-10-01 | 2009-09-30 | ug/L | 1.1562 | NWQL | PSP3SP140D | NWQL PSP3SP140D: 50 µl | 0.050165 | AZINPHOS-METHYL | E | 0.12 | 0.058 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.1562 | NWQL PSP3SP140D | [9 empty] | Y | Estimated Values | Y | 1 | Y | 4 | 0.91988 | 0.20355 | 0.93064 | 0.27663 | 0.20506
AZINPHOS-METHYL | 2001 | 82686GCM35 | 2010-06-24 | 2009-10-01 | 2010-09-30 | ug/L | 1.0802 | NWQL | PSP3SP142A | NWQL PSP3SP142A: 40 µl | 0.039809 | AZINPHOS-METHYL | E | 0.12 | 0.043 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.0802 | NWQL PSP3SP142A | [9 empty] | Y | Estimated Values | Y | 1 | Y | 3 | 0.74707 | 0.30724 | 0.68628 | 0.6054 | 0.44878
AZINPHOS-METHYL | 2001 | 82686GCM35 | 2010-07-14 | 2009-10-01 | 2010-09-30 | ug/L | 0.68628 | NWQL | PSP3SP142A | NWQL PSP3SP142A: 40 µl | 0.0408 | AZINPHOS-METHYL | E | 0.12 | 0.028 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.68628 | NWQL PSP3SP142A | [9 empty] | Y | Estimated Values | Y | 1 | Y | 3 | 0.74707 | 0.30724 | 0.68628 | 0.6054 | 0.44878
AZINPHOS-METHYL | 2001 | 82686GCM35 | 2010-07-28 | 2009-10-01 | 2010-09-30 | ug/L | 0.47476 | NWQL | PSP3SP142A | NWQL PSP3SP142A: 40 µl | 0.04002 | AZINPHOS-METHYL | E | 0.12 | 0.019 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.47476 | NWQL PSP3SP142A | [9 empty] | Y | Estimated Values | Y | 1 | Y | 3 | 0.74707 | 0.30724 | 0.68628 | 0.6054 | 0.44878
AZINPHOS-METHYL | 2001 | 82686GCM35 | 2009-01-14 | 2007-10-01 | 2009-09-30 | ug/L | 1.4874 | Protocol | D1080911003 | Protocol D1080911003: 40 µl | 0.35498 | AZINPHOS-METHYL | E | 0.12 | 0.528 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4874 | Protocol D1080911003 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 1.2464 | 0.23489 | 1.262 | 0.36497 | 0.27055
AZINPHOS-METHYL | 2001 | 82686GCM35 | 2009-03-23 | 2007-10-01 | 2009-09-30 | ug/L | 1.0893 | Protocol | D1080911003 | Protocol D1080911003: 25 µl | 0.23041 | AZINPHOS-METHYL | E | 0.12 | 0.251 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0893 | Protocol D1080911003 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 1.2464 | 0.23489 | 1.262 | 0.36497 | 0.27055
AZINPHOS-METHYL | 2001 | 82686GCM35 | 2009-06-04 | 2007-10-01 | 2009-09-30 | ug/L | 1.4543 | Protocol | D1080911003 | Protocol D1080911003: 40 µl | 0.34862 | AZINPHOS-METHYL | E | 0.12 | 0.507 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4543 | Protocol D1080911003 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 1.2464 | 0.23489 | 1.262 | 0.36497 | 0.27055
AZINPHOS-METHYL | 2001 | 82686GCM35 | 2009-07-22 | 2007-10-01 | 2009-09-30 | ug/L | 0.93905 | Protocol | D1080911003 | Protocol D1080911003: 25 µl | 0.21724 | AZINPHOS-METHYL | E | 0.12 | 0.204 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93905 | Protocol D1080911003 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 1.2464 | 0.23489 | 1.262 | 0.36497 | 0.27055
AZINPHOS-METHYL | 2001 | 82686GCM35 | 2009-10-27 | 2009-10-01 | 2010-09-30 | ug/L | 1.262 | Protocol | D1080911003 | Protocol D1080911003: 25 µl | 0.21632 | AZINPHOS-METHYL | E | 0.12 | 0.273 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.262 | Protocol D1080911003 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 1.2464 | 0.23489 | 1.262 | 0.36497 | 0.27055
AZINPHOS-METHYL | 2001 | 82686GCM35 | 2013-08-28 | 2010-10-01 | 2050-09-30 | ug/L | 0.542 | Spex Organics, Accu | T1130517007, 213041078 | Spex Organics T1130517007: 100 µl & Accu 213041078: 100 µl | 1.5 | AZINPHOS-METHYL | E | 0.12 | 0.813 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.542 | SpT117007, Ac2131078 | Sp | Ac | Ac | T117007 | 2131078 | 2131078 | T117007 | 2131078 | 2131078 | Y | Estimated Values | Y | 2 | Y | 1 | 0.542 |  | 0.542 | 0 | 0
AZINPHOS-METHYL | 2001 | 82686GCM35 | 2013-12-18 | 2010-10-01 | 2050-09-30 | ug/L | 0.69667 | Spex Organics, ERA | T1130517007, 0318-13-02.1 | Spex Organics T1130517007: 20 µl & ERA 0318-13-02.1: 20 µl | 0.3 | AZINPHOS-METHYL | E | 0.12 | 0.209 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69667 | SpT117007, ER03102.1 | Sp | ER | ER | T117007 | 03102.1 | 03102.1 | T117007 | 03102.1 | 03102.1 | Y | Estimated Values | Y | 2 | Y | 1 | 0.69667 |  | 0.69667 | 0 | 0
AZINPHOS-METHYL | 2001 | 82686GCM35 | 2008-11-13 | 2007-10-01 | 2009-09-30 | ug/L | 0.85579 | Supelco | LB60730 | Supelco LB60730: 25 µl | 0.21851 | AZINPHOS-METHYL | E | 0.12 | 0.187 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85579 | Supelco LB60730 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.76573 | 0.070918 | 0.76857 | 0.11322 | 0.083926
AZINPHOS-METHYL | 2001 | 82686GCM35 | 2009-03-24 | 2007-10-01 | 2009-09-30 | ug/L | 0.81263 | Supelco | LB60730 | Supelco LB60730: 40 µl | 0.37286 | AZINPHOS-METHYL | E | 0.12 | 0.303 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81263 | Supelco LB60730 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.76573 | 0.070918 | 0.76857 | 0.11322 | 0.083926
AZINPHOS-METHYL | 2001 | 82686GCM35 | 2009-04-23 | 2007-10-01 | 2009-09-30 | ug/L | 0.76857 | Supelco | LB60730 | Supelco LB60730: 25 µl | 0.22249 | AZINPHOS-METHYL | E | 0.12 | 0.171 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76857 | Supelco LB60730 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.76573 | 0.070918 | 0.76857 | 0.11322 | 0.083926
AZINPHOS-METHYL | 2001 | 82686GCM35 | 2009-07-31 | 2007-10-01 | 2009-09-30 | ug/L | 0.69942 | Supelco | LB60730 | Supelco LB60730: 40 µl | 0.34886 | AZINPHOS-METHYL | E | 0.12 | 0.244 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69942 | Supelco LB60730 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.76573 | 0.070918 | 0.76857 | 0.11322 | 0.083926
AZINPHOS-METHYL | 2001 | 82686GCM35 | 2009-09-10 | 2007-10-01 | 2009-09-30 | ug/L | 0.69223 | Supelco | LB60730 | Supelco LB60730: 25 µl | 0.22247 | AZINPHOS-METHYL | E | 0.12 | 0.154 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69223 | Supelco LB60730 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.76573 | 0.070918 | 0.76857 | 0.11322 | 0.083926
AZINPHOS-METHYL | 2001 | 82686GCM35 | 2011-02-15 | 2010-10-01 | 2050-09-30 | ug/L | 0.88394 | Ultra | CG-2391 | Ultra CG-2391: 50 µl | 0.46383 | AZINPHOS-METHYL | E | 0.12 | 0.41 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88394 | Ultra CG-2391 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 9 | 0.81715 | 0.14611 | 0.80319 | 0.14059 | 0.10422
AZINPHOS-METHYL | 2001 | 82686GCM35 | 2011-04-14 | 2010-10-01 | 2050-09-30 | ug/L | 0.66615 | Ultra | CG-2391 | Ultra CG-2391: 50 µl | 0.46836 | AZINPHOS-METHYL | E | 0.12 | 0.312 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66615 | Ultra CG-2391 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 9 | 0.81715 | 0.14611 | 0.80319 | 0.14059 | 0.10422
AZINPHOS-METHYL | 2001 | 82686GCM35 | 2011-05-25 | 2010-10-01 | 2050-09-30 | ug/L | 1.1216 | Ultra | CG-2391 | Ultra CG-2391: 50 µl | 0.4672 | AZINPHOS-METHYL | E | 0.12 | 0.524 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1216 | Ultra CG-2391 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 9 | 0.81715 | 0.14611 | 0.80319 | 0.14059 | 0.10422
AZINPHOS-METHYL | 2001 | 82686GCM35 | 2011-08-03 | 2010-10-01 | 2050-09-30 | ug/L | 0.81915 | Ultra | CG-2391 | Ultra CG-2391: 20 µl | 0.188 | AZINPHOS-METHYL | E | 0.12 | 0.154 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81915 | Ultra CG-2391 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 9 | 0.81715 | 0.14611 | 0.80319 | 0.14059 | 0.10422
AZINPHOS-METHYL | 2001 | 82686GCM35 | 2011-08-11 | 2010-10-01 | 2050-09-30 | ug/L | 0.90426 | Ultra | CG-2391 | Ultra CG-2391: 20 µl | 0.188 | AZINPHOS-METHYL | E | 0.12 | 0.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90426 | Ultra CG-2391 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 9 | 0.81715 | 0.14611 | 0.80319 | 0.14059 | 0.10422
AZINPHOS-METHYL | 2001 | 82686GCM35 | 2011-09-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.78723 | Ultra | CG-2391 | Ultra CG-2391: 20 µl | 0.188 | AZINPHOS-METHYL | E | 0.12 | 0.148 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78723 | Ultra CG-2391 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 9 | 0.81715 | 0.14611 | 0.80319 | 0.14059 | 0.10422
AZINPHOS-METHYL | 2001 | 82686GCM35 | 2011-11-03 | 2010-10-01 | 2050-09-30 | ug/L | 0.62553 | Ultra | CG-2391 | Ultra CG-2391: 50 µl | 0.47 | AZINPHOS-METHYL | E | 0.12 | 0.294 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62553 | Ultra CG-2391 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 9 | 0.81715 | 0.14611 | 0.80319 | 0.14059 | 0.10422
AZINPHOS-METHYL | 2001 | 82686GCM35 | 2011-12-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.74335 | Ultra | CG-2391 | Ultra CG-2391: 80 µl | 0.752 | AZINPHOS-METHYL | E | 0.12 | 0.559 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74335 | Ultra CG-2391 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 9 | 0.81715 | 0.14611 | 0.80319 | 0.14059 | 0.10422
AZINPHOS-METHYL | 2001 | 82686GCM35 | 2012-05-04 | 2010-10-01 | 2050-09-30 | ug/L | 0.80319 | Ultra | CG-2391 | Ultra CG-2391: 20 µl | 0.188 | AZINPHOS-METHYL | E | 0.12 | 0.151 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80319 | Ultra CG-2391 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 9 | 0.81715 | 0.14611 | 0.80319 | 0.14059 | 0.10422