## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
BUTYLATE | 2001 | 04028GCM35 | 2010-01-05 | 2009-10-01 | 2010-09-30 | ug/L | 1.4762 | Abs | 090409Pest | Abs 090409Pest: 25 µl | 0.005013 | BUTYLATE | . | 0.004 | 0.0074 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4762 | Abs 090409Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.4061 | 0.16623 | 1.4462 | 0.29939 | 0.22193
BUTYLATE | 2001 | 04028GCM35 | 2010-06-18 | 2009-10-01 | 2010-09-30 | ug/L | 1.2545 | Abs | 090409Pest | Abs 090409Pest: 80 µl | 0.015624 | BUTYLATE | . | 0.004 | 0.0196 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2545 | Abs 090409Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.4061 | 0.16623 | 1.4462 | 0.29939 | 0.22193
BUTYLATE | 2001 | 04028GCM35 | 2010-07-20 | 2009-10-01 | 2010-09-30 | ug/L | 1.5539 | Abs | 090409Pest | Abs 090409Pest: 25 µl | 0.0050196 | BUTYLATE | . | 0.004 | 0.0078 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.5539 | Abs 090409Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.4061 | 0.16623 | 1.4462 | 0.29939 | 0.22193
BUTYLATE | 2001 | 04028GCM35 | 2010-07-21 | 2009-10-01 | 2010-09-30 | ug/L | 1.5744 | Abs | 090409Pest | Abs 090409Pest: 25 µl | 0.0050813 | BUTYLATE | . | 0.004 | 0.008 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.5744 | Abs 090409Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.4061 | 0.16623 | 1.4462 | 0.29939 | 0.22193
BUTYLATE | 2001 | 04028GCM35 | 2010-08-13 | 2009-10-01 | 2010-09-30 | ug/L | 1.1612 | Abs | 090409Pest | Abs 090409Pest: 80 µl | 0.015846 | BUTYLATE | . | 0.004 | 0.0184 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1612 | Abs 090409Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.4061 | 0.16623 | 1.4462 | 0.29939 | 0.22193
BUTYLATE | 2001 | 04028GCM35 | 2010-09-22 | 2009-10-01 | 2010-09-30 | ug/L | 1.4162 | Abs | 090409Pest | Abs 090409Pest: 25 µl | 0.0050135 | BUTYLATE | . | 0.004 | 0.0071 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4162 | Abs 090409Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.4061 | 0.16623 | 1.4462 | 0.29939 | 0.22193
BUTYLATE | 2001 | 04028GCM35 | 2012-07-24 | 2010-10-01 | 2050-09-30 | ug/L | 1.0342 | Accu, Abs | 212051201, 052212 | Accu 212051201: 20 µl & Abs 052212: 20 µl | 0.010056 | BUTYLATE | . | 0.004 | 0.0104 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0342 | Ac2121201, Ab052212 | Ac | Ab | Ab | 2121201 | 052212 | 052212 | 2121201 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 1.0077 | 0.027384 | 1.0093 | 0.054694 | 0.040544
BUTYLATE | 2001 | 04028GCM35 | 2012-11-27 | 2010-10-01 | 2050-09-30 | ug/L | 1.0093 | Accu, Abs | 212051201, 052212 | Accu 212051201: 40 µl & Abs 052212: 40 µl | 0.020112 | BUTYLATE | . | 0.004 | 0.0203 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0093 | Ac2121201, Ab052212 | Ac | Ab | Ab | 2121201 | 052212 | 052212 | 2121201 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 1.0077 | 0.027384 | 1.0093 | 0.054694 | 0.040544
BUTYLATE | 2001 | 04028GCM35 | 2013-01-29 | 2010-10-01 | 2050-09-30 | ug/L | 0.97951 | Accu, Abs | 212051201, 052212 | Accu 212051201: 80 µl & Abs 052212: 80 µl | 0.040224 | BUTYLATE | . | 0.004 | 0.0394 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97951 | Ac2121201, Ab052212 | Ac | Ab | Ab | 2121201 | 052212 | 052212 | 2121201 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 1.0077 | 0.027384 | 1.0093 | 0.054694 | 0.040544
BUTYLATE | 2001 | 04028GCM35 | 2013-03-19 | 2010-10-01 | 2050-09-30 | ug/L | 1.1535 | Accu, NSI | 212051201, 062112-01Pest | Accu 212051201: 20 µl & NSI 062112-01Pest: 20 µl | 0.010056 | BUTYLATE | . | 0.004 | 0.0116 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1535 | Ac2121201, NS062Pest | Ac | NS | NS | 2121201 | 062Pest | 062Pest | 2121201 | 062Pest | 062Pest | Y | Recoverable Result | Y | 2 |  | 2 | 1.0939 | 0.08438 | 1.0939 | 0.11933 | 0.088459
BUTYLATE | 2001 | 04028GCM35 | 2013-05-14 | 2010-10-01 | 2050-09-30 | ug/L | 1.0342 | Accu, NSI | 212051201, 062112-01Pest | Accu 212051201: 40 µl & NSI 062112-01Pest: 40 µl | 0.020112 | BUTYLATE | . | 0.004 | 0.0208 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0342 | Ac2121201, NS062Pest | Ac | NS | NS | 2121201 | 062Pest | 062Pest | 2121201 | 062Pest | 062Pest | Y | Recoverable Result | Y | 2 |  | 2 | 1.0939 | 0.08438 | 1.0939 | 0.11933 | 0.088459
BUTYLATE | 2001 | 04028GCM35 | 2012-09-01 | 2010-10-01 | 2050-09-30 | ug/L | 1.0541 | Accu, Spex Organics | 212051201, T1120530009 | Accu 212051201: 20 µl & Spex Organics T1120530009: 20 µl | 0.010056 | BUTYLATE | . | 0.004 | 0.0106 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0541 | Ac2121201, SpT110009 | Ac | Sp | Sp | 2121201 | T110009 | T110009 | 2121201 | T110009 | T110009 | Y | Recoverable Result | Y | 2 |  | 1 | 1.0541 |  | 1.0541 | 0 | 0
BUTYLATE | 2001 | 04028GCM35 | 2013-10-21 | 2010-10-01 | 2050-09-30 | ug/L | 1.0022 | Accu, Abs | 213041078, 041613 | Accu 213041078: 20 µl & Abs 041613: 20 µl | 0.008082 | BUTYLATE | . | 0.004 | 0.0081 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0022 | Ac2131078, Ab041613 | Ac | Ab | Ab | 2131078 | 041613 | 041613 | 2131078 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.0022 |  | 1.0022 | 0 | 0
BUTYLATE | 2001 | 04028GCM35 | 2013-05-22 | 2010-10-01 | 2050-09-30 | ug/L | 1.0789 | Accu, NSI | 213041078, 042313Pest | Accu 213041078: 50 µl & NSI 042313Pest: 50 µl | 0.020205 | BUTYLATE | . | 0.004 | 0.0218 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0789 | Ac2131078, NS042Pest | Ac | NS | NS | 2131078 | 042Pest | 042Pest | 2131078 | 042Pest | 042Pest | Y | Recoverable Result | Y | 2 |  | 1 | 1.0789 |  | 1.0789 | 0 | 0
BUTYLATE | 2001 | 04028GCM35 | 2012-07-16 | 2010-10-01 | 2050-09-30 | ug/L | 0.99443 | Accu | 212051201 | Accu 212051201: 40 µl | 0.020112 | BUTYLATE | . | 0.004 | 0.02 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99443 | Accu 212051201 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.99443 |  | 0.99443 | 0 | 0
BUTYLATE | 2001 | 04028GCM35 | 2013-07-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.535 | ChemService, ERA | 1466000, 0318-13-02.1 | ChemService 1466000: 50 µl & ERA 0318-13-02.1: 50 µl | 0.02 | BUTYLATE | . | 0.004 | 0.0107 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.535 | Ch1466000, ER03102.1 | Ch | ER | ER | 1466000 | 03102.1 | 03102.1 |  | 03102.1 | 03102.1 | Y | Recoverable Result | Y | 2 |  | 1 | 0.535 |  | 0.535 | 0 | 0
BUTYLATE | 2001 | 04028GCM35 | 2008-10-31 | 2006-10-01 | 2009-09-30 | ug/L | 1.2083 | Crescent | 08HH018 | Crescent 08HH018: 25 µl | 0.014897 | BUTYLATE | . | 0.002 | 0.018 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2083 | Crescent 08HH018 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.3022 | 0.39395 | 1.1303 | 0.088683 | 0.06574
BUTYLATE | 2001 | 04028GCM35 | 2009-01-20 | 2006-10-01 | 2009-09-30 | ug/L | 1.1196 | Crescent | 08HH018 | Crescent 08HH018: 40 µl | 0.024116 | BUTYLATE | . | 0.002 | 0.027 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1196 | Crescent 08HH018 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.3022 | 0.39395 | 1.1303 | 0.088683 | 0.06574
BUTYLATE | 2001 | 04028GCM35 | 2009-03-20 | 2006-10-01 | 2009-09-30 | ug/L | 7.3327 | Crescent | 08HH018 | Crescent 08HH018: 25 µl | 0.015138 | BUTYLATE | . | 0.002 | 0.111 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 2 | Crescent 08HH018 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.3022 | 0.39395 | 1.1303 | 0.088683 | 0.06574 | 2
BUTYLATE | 2001 | 04028GCM35 | 2009-06-10 | 2006-10-01 | 2009-09-30 | ug/L | 1.1303 | Crescent | 08HH018 | Crescent 08HH018: 25 µl | 0.015041 | BUTYLATE | . | 0.002 | 0.017 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1303 | Crescent 08HH018 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.3022 | 0.39395 | 1.1303 | 0.088683 | 0.06574
BUTYLATE | 2001 | 04028GCM35 | 2009-08-28 | 2006-10-01 | 2009-09-30 | ug/L | 1.0529 | Crescent | 08HH018 | Crescent 08HH018: 40 µl | 0.023744 | BUTYLATE | . | 0.002 | 0.025 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0529 | Crescent 08HH018 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.3022 | 0.39395 | 1.1303 | 0.088683 | 0.06574
BUTYLATE | 2001 | 04028GCM35 | 2013-11-26 | 2010-10-01 | 2050-09-30 | ug/L | 0.7 | ERA, Abs | 0318-13-02.1, 041613 | ERA 0318-13-02.1: 20 µl & Abs 041613: 20 µl | 0.008 | BUTYLATE | . | 0.004 | 0.0056 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7 | ER03102.1, Ab041613 | ER | Ab | Ab | 03102.1 | 041613 | 041613 | 03102.1 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.7 |  | 0.7 | 0 | 0
BUTYLATE | 2001 | 04028GCM35 | 2013-08-01 | 2010-10-01 | 2050-09-30 | ug/L | 0.5725 | ERA, NSI | 0318-13-02.1, 042313Pest | ERA 0318-13-02.1: 100 µl & NSI 042313Pest: 100 µl | 0.04 | BUTYLATE | . | 0.004 | 0.0229 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5725 | ER03102.1, NS042Pest | ER | NS | NS | 03102.1 | 042Pest | 042Pest | 03102.1 | 042Pest | 042Pest | Y | Recoverable Result | Y | 2 |  | 1 | 0.5725 |  | 0.5725 | 0 | 0
BUTYLATE | 2001 | 04028GCM35 | 2012-12-06 | 2010-10-01 | 2050-09-30 | ug/L | 1.0672 | ERA, ChemService | 0507-12-05.1, 348200 | ERA 0507-12-05.1: 20 µl & ChemService 348200: 20 µl | 0.01012 | BUTYLATE | . | 0.004 | 0.0108 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0672 | ER05005.1, Ch348200 | ER | Ch | Ch | 05005.1 | 348200 | 348200 | 05005.1 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.98814 | 0.1118 | 0.98814 | 0.1581 | 0.1172
BUTYLATE | 2001 | 04028GCM35 | 2013-05-07 | 2010-10-01 | 2050-09-30 | ug/L | 0.90909 | ERA, ChemService | 0507-12-05.1, 348200 | ERA 0507-12-05.1: 20 µl & ChemService 348200: 20 µl | 0.01012 | BUTYLATE | . | 0.004 | 0.0092 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90909 | ER05005.1, Ch348200 | ER | Ch | Ch | 05005.1 | 348200 | 348200 | 05005.1 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.98814 | 0.1118 | 0.98814 | 0.1581 | 0.1172
BUTYLATE | 2001 | 04028GCM35 | 2012-09-22 | 2010-10-01 | 2050-09-30 | ug/L | 1.0079 | ERA, NSI | 0507-12-05.1, 062112-01Pest | ERA 0507-12-05.1: 20 µl & NSI 062112-01Pest: 20 µl | 0.01012 | BUTYLATE | . | 0.004 | 0.0102 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0079 | ER05005.1, NS062Pest | ER | NS | NS | 05005.1 | 062Pest | 062Pest | 05005.1 | 062Pest | 062Pest | Y | Recoverable Result | Y | 2 |  | 1 | 1.0079 |  | 1.0079 | 0 | 0
BUTYLATE | 2001 | 04028GCM35 | 2012-11-08 | 2010-10-01 | 2050-09-30 | ug/L | 1.0474 | ERA, Spex Organics | 0507-12-05.1, T1120530009 | ERA 0507-12-05.1: 40 µl & Spex Organics T1120530009: 40 µl | 0.02024 | BUTYLATE | . | 0.004 | 0.0212 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0474 | ER05005.1, SpT110009 | ER | Sp | Sp | 05005.1 | T110009 | T110009 | 05005.1 | T110009 | T110009 | Y | Recoverable Result | Y | 2 |  | 2 | 0.99802 | 0.069872 | 0.99802 | 0.098814 | 0.07325
BUTYLATE | 2001 | 04028GCM35 | 2013-03-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.94862 | ERA, Spex Organics | 0507-12-05.1, T1120530009 | ERA 0507-12-05.1: 80 µl & Spex Organics T1120530009: 80 µl | 0.04048 | BUTYLATE | . | 0.004 | 0.0384 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94862 | ER05005.1, SpT110009 | ER | Sp | Sp | 05005.1 | T110009 | T110009 | 05005.1 | T110009 | T110009 | Y | Recoverable Result | Y | 2 |  | 2 | 0.99802 | 0.069872 | 0.99802 | 0.098814 | 0.07325
BUTYLATE | 2001 | 04028GCM35 | 2011-02-10 | 2010-10-01 | 2050-09-30 | ug/L | 1.1361 | NSI | 070810-01 | NSI 070810-01: 20 µl | 0.0058094 | BUTYLATE | . | 0.004 | 0.0066 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1361 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.0071 | 0.084421 | 0.99 | 0.12071 | 0.089483
BUTYLATE | 2001 | 04028GCM35 | 2011-03-15 | 2010-10-01 | 2050-09-30 | ug/L | 0.91272 | NSI | 070810-01 | NSI 070810-01: 50 µl | 0.014681 | BUTYLATE | . | 0.004 | 0.0134 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91272 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.0071 | 0.084421 | 0.99 | 0.12071 | 0.089483
BUTYLATE | 2001 | 04028GCM35 | 2011-05-17 | 2010-10-01 | 2050-09-30 | ug/L | 1.1451 | NSI | 070810-01 | NSI 070810-01: 80 µl | 0.024014 | BUTYLATE | . | 0.004 | 0.0275 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1451 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.0071 | 0.084421 | 0.99 | 0.12071 | 0.089483
BUTYLATE | 2001 | 04028GCM35 | 2011-06-10 | 2010-10-01 | 2050-09-30 | ug/L | 1.0607 | NSI | 070810-01 | NSI 070810-01: 20 µl | 0.0059394 | BUTYLATE | . | 0.004 | 0.0063 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0607 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.0071 | 0.084421 | 0.99 | 0.12071 | 0.089483
BUTYLATE | 2001 | 04028GCM35 | 2011-08-02 | 2010-10-01 | 2050-09-30 | ug/L | 0.92083 | NSI | 070810-01 | NSI 070810-01: 80 µl | 0.024 | BUTYLATE | . | 0.004 | 0.0221 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92083 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.0071 | 0.084421 | 0.99 | 0.12071 | 0.089483
BUTYLATE | 2001 | 04028GCM35 | 2011-09-10 | 2010-10-01 | 2050-09-30 | ug/L | 1.0067 | NSI | 070810-01 | NSI 070810-01: 50 µl | 0.015 | BUTYLATE | . | 0.004 | 0.0151 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0067 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.0071 | 0.084421 | 0.99 | 0.12071 | 0.089483
BUTYLATE | 2001 | 04028GCM35 | 2011-11-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.95 | NSI | 070810-01 | NSI 070810-01: 20 µl | 0.006 | BUTYLATE | . | 0.004 | 0.0057 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.0071 | 0.084421 | 0.99 | 0.12071 | 0.089483
BUTYLATE | 2001 | 04028GCM35 | 2012-01-21 | 2010-10-01 | 2050-09-30 | ug/L | 1.025 | NSI | 070810-01 | NSI 070810-01: 80 µl | 0.024 | BUTYLATE | . | 0.004 | 0.0246 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.025 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.0071 | 0.084421 | 0.99 | 0.12071 | 0.089483
BUTYLATE | 2001 | 04028GCM35 | 2012-05-05 | 2010-10-01 | 2050-09-30 | ug/L | 0.97333 | NSI | 070810-01 | NSI 070810-01: 50 µl | 0.015 | BUTYLATE | . | 0.004 | 0.0146 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97333 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.0071 | 0.084421 | 0.99 | 0.12071 | 0.089483
BUTYLATE | 2001 | 04028GCM35 | 2012-06-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.94 | NSI | 070810-01 | NSI 070810-01: 50 µl | 0.015 | BUTYLATE | . | 0.004 | 0.0141 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.0071 | 0.084421 | 0.99 | 0.12071 | 0.089483
BUTYLATE | 2001 | 04028GCM35 | 2008-11-21 | 2006-10-01 | 2009-09-30 | ug/L | 1.3652 | NSI | 081108-01Pest | NSI 081108-01Pest: 40 µl | 0.023441 | BUTYLATE | . | 0.002 | 0.032 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3652 | NSI 081108-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.16 | 0.16678 | 1.1032 | 0.22389 | 0.16597
BUTYLATE | 2001 | 04028GCM35 | 2009-03-23 | 2006-10-01 | 2009-09-30 | ug/L | 1.2973 | NSI | 081108-01Pest | NSI 081108-01Pest: 25 µl | 0.016187 | BUTYLATE | . | 0.002 | 0.021 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2973 | NSI 081108-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.16 | 0.16678 | 1.1032 | 0.22389 | 0.16597
BUTYLATE | 2001 | 04028GCM35 | 2009-05-01 | 2006-10-01 | 2009-09-30 | ug/L | 1.0734 | NSI | 081108-01Pest | NSI 081108-01Pest: 40 µl | 0.02329 | BUTYLATE | . | 0.002 | 0.025 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0734 | NSI 081108-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.16 | 0.16678 | 1.1032 | 0.22389 | 0.16597
BUTYLATE | 2001 | 04028GCM35 | 2009-07-30 | 2006-10-01 | 2009-09-30 | ug/L | 1.1032 | NSI | 081108-01Pest | NSI 081108-01Pest: 25 µl | 0.014503 | BUTYLATE | . | 0.002 | 0.016 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1032 | NSI 081108-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.16 | 0.16678 | 1.1032 | 0.22389 | 0.16597
BUTYLATE | 2001 | 04028GCM35 | 2009-09-25 | 2006-10-01 | 2009-09-30 | ug/L | 0.96102 | NSI | 081108-01Pest | NSI 081108-01Pest: 25 µl | 0.014568 | BUTYLATE | . | 0.002 | 0.014 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96102 | NSI 081108-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.16 | 0.16678 | 1.1032 | 0.22389 | 0.16597
BUTYLATE | 2001 | 04028GCM35 | 2008-05-01 | 2006-10-01 | 2009-09-30 | ug/L | 1.0729 | NWQL | PSP3SP140C | NWQL PSP3SP140C: 50 µl | 0.051261 | BUTYLATE | . | 0.002 | 0.055 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0729 | NWQL PSP3SP140C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.1288 | 0.13296 | 1.0729 | 0.24771 | 0.18363
BUTYLATE | 2001 | 04028GCM35 | 2008-06-25 | 2006-10-01 | 2009-09-30 | ug/L | 1.0328 | NWQL | PSP3SP140C | NWQL PSP3SP140C: 50 µl | 0.050347 | BUTYLATE | . | 0.002 | 0.052 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0328 | NWQL PSP3SP140C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.1288 | 0.13296 | 1.0729 | 0.24771 | 0.18363
BUTYLATE | 2001 | 04028GCM35 | 2008-08-19 | 2006-10-01 | 2009-09-30 | ug/L | 1.2805 | NWQL | PSP3SP140C | NWQL PSP3SP140C: 50 µl | 0.049198 | BUTYLATE | . | 0.002 | 0.063 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2805 | NWQL PSP3SP140C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.1288 | 0.13296 | 1.0729 | 0.24771 | 0.18363
BUTYLATE | 2001 | 04028GCM35 | 2009-04-08 | 2006-10-01 | 2009-09-30 | ug/L | 1.0386 | NWQL | PSP3SP140D | NWQL PSP3SP140D: 50 µl | 0.051031 | BUTYLATE | . | 0.002 | 0.053 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0386 | NWQL PSP3SP140D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0249 | 0.044405 | 1.0176 | 0.070073 | 0.051944
BUTYLATE | 2001 | 04028GCM35 | 2009-04-14 | 2006-10-01 | 2009-09-30 | ug/L | 1.0813 | NWQL | PSP3SP140D | NWQL PSP3SP140D: 50 µl | 0.04994 | BUTYLATE | . | 0.002 | 0.054 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0813 | NWQL PSP3SP140D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0249 | 0.044405 | 1.0176 | 0.070073 | 0.051944
BUTYLATE | 2001 | 04028GCM35 | 2009-06-24 | 2006-10-01 | 2009-09-30 | ug/L | 0.98304 | NWQL | PSP3SP140D | NWQL PSP3SP140D: 50 µl | 0.049845 | BUTYLATE | . | 0.002 | 0.049 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98304 | NWQL PSP3SP140D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0249 | 0.044405 | 1.0176 | 0.070073 | 0.051944
BUTYLATE | 2001 | 04028GCM35 | 2009-08-21 | 2006-10-01 | 2009-09-30 | ug/L | 0.9967 | NWQL | PSP3SP140D | NWQL PSP3SP140D: 50 µl | 0.050165 | BUTYLATE | . | 0.002 | 0.05 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9967 | NWQL PSP3SP140D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0249 | 0.044405 | 1.0176 | 0.070073 | 0.051944
BUTYLATE | 2001 | 04028GCM35 | 2010-06-24 | 2009-10-01 | 2010-09-30 | ug/L | 1.3791 | NWQL | PSP3SP142A | NWQL PSP3SP142A: 40 µl | 0.039809 | BUTYLATE | . | 0.004 | 0.0549 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3791 | NWQL PSP3SP142A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.2407 | 0.1897 | 1.3186 | 0.3546 | 0.26286
BUTYLATE | 2001 | 04028GCM35 | 2010-07-14 | 2009-10-01 | 2010-09-30 | ug/L | 1.3186 | NWQL | PSP3SP142A | NWQL PSP3SP142A: 40 µl | 0.0408 | BUTYLATE | . | 0.004 | 0.0538 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3186 | NWQL PSP3SP142A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.2407 | 0.1897 | 1.3186 | 0.3546 | 0.26286
BUTYLATE | 2001 | 04028GCM35 | 2010-07-28 | 2009-10-01 | 2010-09-30 | ug/L | 1.0245 | NWQL | PSP3SP142A | NWQL PSP3SP142A: 40 µl | 0.04002 | BUTYLATE | . | 0.004 | 0.041 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0245 | NWQL PSP3SP142A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.2407 | 0.1897 | 1.3186 | 0.3546 | 0.26286
BUTYLATE | 2001 | 04028GCM35 | 2013-08-28 | 2010-10-01 | 2050-09-30 | ug/L | 0.9849 | Spex Organics, Accu | T1130517007, 213041078 | Spex Organics T1130517007: 100 µl & Accu 213041078: 100 µl | 0.04041 | BUTYLATE | . | 0.004 | 0.0398 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9849 | SpT117007, Ac2131078 | Sp | Ac | Ac | T117007 | 2131078 | 2131078 | T117007 | 2131078 | 2131078 | Y | Recoverable Result | Y | 2 |  | 1 | 0.9849 |  | 0.9849 | 0 | 0
BUTYLATE | 2001 | 04028GCM35 | 2013-12-18 | 2010-10-01 | 2050-09-30 | ug/L | 0.7375 | Spex Organics, ERA | T1130517007, 0318-13-02.1 | Spex Organics T1130517007: 20 µl & ERA 0318-13-02.1: 20 µl | 0.008 | BUTYLATE | . | 0.004 | 0.0059 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7375 | SpT117007, ER03102.1 | Sp | ER | ER | T117007 | 03102.1 | 03102.1 | T117007 | 03102.1 | 03102.1 | Y | Recoverable Result | Y | 2 |  | 1 | 0.7375 |  | 0.7375 | 0 | 0
BUTYLATE | 2001 | 04028GCM35 | 2011-02-25 | 2010-10-01 | 2050-09-30 | ug/L | 0.98772 | Supelco | LB77170 | Supelco LB77170: 80 µl | 0.024096 | BUTYLATE | . | 0.004 | 0.0238 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98772 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 1.0416 | 0.085862 | 1.0535 | 0.10103 | 0.074889
BUTYLATE | 2001 | 04028GCM35 | 2011-03-23 | 2010-10-01 | 2050-09-30 | ug/L | 1.08 | Supelco | LB77170 | Supelco LB77170: 20 µl | 0.0060185 | BUTYLATE | . | 0.004 | 0.0065 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.08 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 1.0416 | 0.085862 | 1.0535 | 0.10103 | 0.074889
BUTYLATE | 2001 | 04028GCM35 | 2011-06-23 | 2010-10-01 | 2050-09-30 | ug/L | 0.92718 | Supelco | LB77170 | Supelco LB77170: 50 µl | 0.0151 | BUTYLATE | . | 0.004 | 0.014 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92718 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 1.0416 | 0.085862 | 1.0535 | 0.10103 | 0.074889
BUTYLATE | 2001 | 04028GCM35 | 2011-07-12 | 2010-10-01 | 2050-09-30 | ug/L | 1.0887 | Supelco | LB77170 | Supelco LB77170: 80 µl | 0.024064 | BUTYLATE | . | 0.004 | 0.0262 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0887 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 1.0416 | 0.085862 | 1.0535 | 0.10103 | 0.074889
BUTYLATE | 2001 | 04028GCM35 | 2011-08-18 | 2010-10-01 | 2050-09-30 | ug/L | 1.1371 | Supelco | LB77170 | Supelco LB77170: 50 µl | 0.01495 | BUTYLATE | . | 0.004 | 0.017 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1371 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 1.0416 | 0.085862 | 1.0535 | 0.10103 | 0.074889
BUTYLATE | 2001 | 04028GCM35 | 2011-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 1.0368 | Supelco | LB77170 | Supelco LB77170: 20 µl | 0.00598 | BUTYLATE | . | 0.004 | 0.0062 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0368 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 1.0416 | 0.085862 | 1.0535 | 0.10103 | 0.074889
BUTYLATE | 2001 | 04028GCM35 | 2011-12-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.9097 | Supelco | LB77170 | Supelco LB77170: 50 µl | 0.01495 | BUTYLATE | . | 0.004 | 0.0136 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9097 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 1.0416 | 0.085862 | 1.0535 | 0.10103 | 0.074889
BUTYLATE | 2001 | 04028GCM35 | 2012-02-23 | 2010-10-01 | 2050-09-30 | ug/L | 1.1538 | Supelco | LB77170 | Supelco LB77170: 20 µl | 0.00598 | BUTYLATE | . | 0.004 | 0.0069 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1538 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 1.0416 | 0.085862 | 1.0535 | 0.10103 | 0.074889
BUTYLATE | 2001 | 04028GCM35 | 2012-05-08 | 2010-10-01 | 2050-09-30 | ug/L | 1.0535 | Supelco | LB77170 | Supelco LB77170: 20 µl | 0.00598 | BUTYLATE | . | 0.004 | 0.0063 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0535 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 1.0416 | 0.085862 | 1.0535 | 0.10103 | 0.074889
BUTYLATE | 2001 | 04028GCM35 | 2008-04-24 | 2006-10-01 | 2009-09-30 | ug/L | 1.2549 | Ultra | CD-2090 | Ultra CD-2090: 25 µl | 0.01036 | BUTYLATE | . | 0.002 | 0.013 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2549 | Ultra CD-2090 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.2113 | 0.024275 | 1.2096 | 0.019642 | 0.014561
BUTYLATE | 2001 | 04028GCM35 | 2008-04-29 | 2006-10-01 | 2009-09-30 | ug/L | 1.1953 | Ultra | CD-2090 | Ultra CD-2090: 25 µl | 0.010039 | BUTYLATE | . | 0.002 | 0.012 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1953 | Ultra CD-2090 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.2113 | 0.024275 | 1.2096 | 0.019642 | 0.014561
BUTYLATE | 2001 | 04028GCM35 | 2008-05-06 | 2006-10-01 | 2009-09-30 | ug/L | 1.2079 | Ultra | CD-2090 | Ultra CD-2090: 25 µl | 0.0099346 | BUTYLATE | . | 0.002 | 0.012 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2079 | Ultra CD-2090 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.2113 | 0.024275 | 1.2096 | 0.019642 | 0.014561
BUTYLATE | 2001 | 04028GCM35 | 2008-07-10 | 2006-10-01 | 2009-09-30 | ug/L | 1.2114 | Ultra | CD-2090 | Ultra CD-2090: 25 µl | 0.0099061 | BUTYLATE | . | 0.002 | 0.012 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2114 | Ultra CD-2090 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.2113 | 0.024275 | 1.2096 | 0.019642 | 0.014561
BUTYLATE | 2001 | 04028GCM35 | 2008-08-04 | 2006-10-01 | 2009-09-30 | ug/L | 1.215 | Ultra | CD-2090 | Ultra CD-2090: 25 µl | 0.0098768 | BUTYLATE | . | 0.002 | 0.012 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.215 | Ultra CD-2090 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.2113 | 0.024275 | 1.2096 | 0.019642 | 0.014561
BUTYLATE | 2001 | 04028GCM35 | 2008-09-24 | 2006-10-01 | 2009-09-30 | ug/L | 1.1836 | Ultra | CD-2090 | Ultra CD-2090: 25 µl | 0.010139 | BUTYLATE | . | 0.002 | 0.012 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1836 | Ultra CD-2090 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.2113 | 0.024275 | 1.2096 | 0.019642 | 0.014561