## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
CARBARYL | 2001 | 82680GCM35 | 2013-12-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.724 | Abs, ChemService | 041613, 1466000 | Abs 041613: 50 µl & ChemService 1466000: 50 µl | 0.5 | CARBARYL | E | 0.06 | 0.362 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.724 | Ab041613, Ch1466000 | Ab | Ch | Ch | 041613 | 1466000 | 1466000 |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.724 |  | 0.724 | 0 | 0
CARBARYL | 2001 | 82680GCM35 | 2013-08-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.77 | Abs, Spex Organics | 041613, T1130517007 | Abs 041613: 20 µl & Spex Organics T1130517007: 20 µl | 0.2 | CARBARYL | E | 0.06 | 0.154 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77 | Ab041613, SpT117007 | Ab | Sp | Sp | 041613 | T117007 | T117007 |  | T117007 | T117007 | Y | Estimated Values | Y | 2 | Y | 1 | 0.77 |  | 0.77 | 0 | 0
CARBARYL | 2001 | 82680GCM35 | 2012-08-05 | 2010-10-01 | 2050-09-30 | ug/L | 0.36 | Abs, ChemService | 052212, 348200 | Abs 052212: 20 µl & ChemService 348200: 20 µl | 0.25 | CARBARYL | E | 0.06 | 0.09 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.36 | Ab052212, Ch348200 | Ab | Ch | Ch | 052212 | 348200 | 348200 |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.36 |  | 0.36 | 0 | 0
CARBARYL | 2001 | 82680GCM35 | 2013-04-03 | 2010-10-01 | 2050-09-30 | ug/L | 0.616 | Abs, Spex Organics | 052212, T1120530009 | Abs 052212: 40 µl & Spex Organics T1120530009: 40 µl | 0.5 | CARBARYL | E | 0.06 | 0.308 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.616 | Ab052212, SpT110009 | Ab | Sp | Sp | 052212 | T110009 | T110009 |  | T110009 | T110009 | Y | Estimated Values | Y | 2 | Y | 1 | 0.616 |  | 0.616 | 0 | 0
CARBARYL | 2001 | 82680GCM35 | 2012-09-01 | 2010-10-01 | 2050-09-30 | ug/L | 0.88 | Accu, Spex Organics | 212051201, T1120530009 | Accu 212051201: 20 µl & Spex Organics T1120530009: 20 µl | 0.25 | CARBARYL | E | 0.06 | 0.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88 | Ac2121201, SpT110009 | Ac | Sp | Sp | 2121201 | T110009 | T110009 | 2121201 | T110009 | T110009 | Y | Estimated Values | Y | 2 | Y | 1 | 0.88 |  | 0.88 | 0 | 0
CARBARYL | 2001 | 82680GCM35 | 2009-12-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.87 | Accu | 209081259 | Accu 209081259: 25 µl | 0.2977 | CARBARYL | E | 0.06 | 0.259 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87 | Accu 209081259 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 1.0983 | 0.14511 | 1.1436 | 0.16722 | 0.12395
CARBARYL | 2001 | 82680GCM35 | 2010-06-24 | 2009-10-01 | 2010-09-30 | ug/L | 1.0472 | Accu | 209081259 | Accu 209081259: 25 µl | 0.30177 | CARBARYL | E | 0.06 | 0.316 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0472 | Accu 209081259 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 1.0983 | 0.14511 | 1.1436 | 0.16722 | 0.12395
CARBARYL | 2001 | 82680GCM35 | 2010-07-06 | 2009-10-01 | 2010-09-30 | ug/L | 1.1436 | Accu | 209081259 | Accu 209081259: 80 µl | 0.98808 | CARBARYL | E | 0.06 | 1.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1436 | Accu 209081259 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 1.0983 | 0.14511 | 1.1436 | 0.16722 | 0.12395
CARBARYL | 2001 | 82680GCM35 | 2010-10-27 | 2010-10-01 | 2050-09-30 | ug/L | 1.2165 | Accu | 209081259 | Accu 209081259: 25 µl | 0.29594 | CARBARYL | E | 0.06 | 0.36 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2165 | Accu 209081259 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 1.0983 | 0.14511 | 1.1436 | 0.16722 | 0.12395
CARBARYL | 2001 | 82680GCM35 | 2010-12-01 | 2010-10-01 | 2050-09-30 | ug/L | 1.2144 | Accu | 209081259 | Accu 209081259: 80 µl | 0.97992 | CARBARYL | E | 0.06 | 1.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2144 | Accu 209081259 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 1.0983 | 0.14511 | 1.1436 | 0.16722 | 0.12395
CARBARYL | 2001 | 82680GCM35 | 2008-04-24 | 2006-10-01 | 2008-09-30 | ug/L | 1.7135 | Accu | B7070210 | Accu B7070210: 25 µl | 0.18792 | CARBARYL | E | 0.06 | 0.322 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.7135 | Accu B7070210 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 1.3523 | 0.29466 | 1.3736 | 0.16724 | 0.12398
CARBARYL | 2001 | 82680GCM35 | 2008-04-24 | 2006-10-01 | 2008-09-30 | ug/L | 1.3639 | Accu | B7070210 | Accu B7070210: 25 µl | 0.18916 | CARBARYL | E | 0.06 | 0.258 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3639 | Accu B7070210 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 1.3523 | 0.29466 | 1.3736 | 0.16724 | 0.12398
CARBARYL | 2001 | 82680GCM35 | 2008-05-06 | 2006-10-01 | 2008-09-30 | ug/L | 1.4989 | Accu | B7070210 | Accu B7070210: 25 µl | 0.1808 | CARBARYL | E | 0.06 | 0.271 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4989 | Accu B7070210 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 1.3523 | 0.29466 | 1.3736 | 0.16724 | 0.12398
CARBARYL | 2001 | 82680GCM35 | 2008-06-10 | 2006-10-01 | 2008-09-30 | ug/L | 0.82251 | Accu | B7070210 | Accu B7070210: 25 µl | 0.18723 | CARBARYL | E | 0.06 | 0.154 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82251 | Accu B7070210 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 1.3523 | 0.29466 | 1.3736 | 0.16724 | 0.12398
CARBARYL | 2001 | 82680GCM35 | 2008-08-01 | 2006-10-01 | 2008-09-30 | ug/L | 1.3316 | Accu | B7070210 | Accu B7070210: 25 µl | 0.18173 | CARBARYL | E | 0.06 | 0.242 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3316 | Accu B7070210 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 1.3523 | 0.29466 | 1.3736 | 0.16724 | 0.12398
CARBARYL | 2001 | 82680GCM35 | 2008-09-23 | 2006-10-01 | 2008-09-30 | ug/L | 1.3833 | Accu | B7070210 | Accu B7070210: 25 µl | 0.18001 | CARBARYL | E | 0.06 | 0.249 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3833 | Accu B7070210 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 1.3523 | 0.29466 | 1.3736 | 0.16724 | 0.12398
CARBARYL | 2001 | 82680GCM35 | 2013-07-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.752 | ChemService, ERA | 1466000, 0318-13-02.1 | ChemService 1466000: 50 µl & ERA 0318-13-02.1: 50 µl | 0.5 | CARBARYL | E | 0.06 | 0.376 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.752 | Ch1466000, ER03102.1 | Ch | ER | ER | 1466000 | 03102.1 | 03102.1 |  | 03102.1 | 03102.1 | Y | Estimated Values | Y | 2 | Y | 1 | 0.752 |  | 0.752 | 0 | 0
CARBARYL | 2001 | 82680GCM35 | 2013-06-13 | 2010-10-01 | 2050-09-30 | ug/L | 0.778 | ChemService, NSI | 1466000, 042313Pest | ChemService 1466000: 50 µl & NSI 042313Pest: 50 µl | 0.5 | CARBARYL | E | 0.06 | 0.389 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.778 | Ch1466000, NS042Pest | Ch | NS | NS | 1466000 | 042Pest | 042Pest |  | 042Pest | 042Pest | Y | Estimated Values | Y | 2 | Y | 1 | 0.778 |  | 0.778 | 0 | 0
CARBARYL | 2001 | 82680GCM35 | 2010-01-07 | 2009-10-01 | 2010-09-30 | ug/L | 1.9373 | ChemService | 430-43B | ChemService 430-43B: 25 µl | 0.29112 | CARBARYL | E | 0.06 | 0.564 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.9373 | ChemService 430-43B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 1.2758 | 0.38678 | 1.1342 | 0.51534 | 0.38201
CARBARYL | 2001 | 82680GCM35 | 2010-06-25 | 2009-10-01 | 2010-09-30 | ug/L | 1.0101 | ChemService | 430-43B | ChemService 430-43B: 25 µl | 0.29997 | CARBARYL | E | 0.06 | 0.303 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0101 | ChemService 430-43B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 1.2758 | 0.38678 | 1.1342 | 0.51534 | 0.38201
CARBARYL | 2001 | 82680GCM35 | 2010-07-19 | 2009-10-01 | 2010-09-30 | ug/L | 0.9134 | ChemService | 430-43B | ChemService 430-43B: 25 µl | 0.30217 | CARBARYL | E | 0.06 | 0.276 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9134 | ChemService 430-43B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 1.2758 | 0.38678 | 1.1342 | 0.51534 | 0.38201
CARBARYL | 2001 | 82680GCM35 | 2010-07-22 | 2009-10-01 | 2010-09-30 | ug/L | 1.0795 | ChemService | 430-43B | ChemService 430-43B: 80 µl | 0.95412 | CARBARYL | E | 0.06 | 1.03 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0795 | ChemService 430-43B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 1.2758 | 0.38678 | 1.1342 | 0.51534 | 0.38201
CARBARYL | 2001 | 82680GCM35 | 2010-11-17 | 2010-10-01 | 2050-09-30 | ug/L | 1.1888 | ChemService | 430-43B | ChemService 430-43B: 25 µl | 0.29946 | CARBARYL | E | 0.06 | 0.356 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1888 | ChemService 430-43B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 1.2758 | 0.38678 | 1.1342 | 0.51534 | 0.38201
CARBARYL | 2001 | 82680GCM35 | 2010-12-02 | 2010-10-01 | 2050-09-30 | ug/L | 1.5254 | ChemService | 430-43B | ChemService 430-43B: 80 µl | 0.99644 | CARBARYL | E | 0.06 | 1.52 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.5254 | ChemService 430-43B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 1.2758 | 0.38678 | 1.1342 | 0.51534 | 0.38201
CARBARYL | 2001 | 82680GCM35 | 2012-12-06 | 2010-10-01 | 2050-09-30 | ug/L | 0.352 | ERA, ChemService | 0507-12-05.1, 348200 | ERA 0507-12-05.1: 20 µl & ChemService 348200: 20 µl | 0.25 | CARBARYL | E | 0.06 | 0.088 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.352 | ER05005.1, Ch348200 | ER | Ch | Ch | 05005.1 | 348200 | 348200 | 05005.1 |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.34 | 0.016971 | 0.34 | 0.024 | 0.017791
CARBARYL | 2001 | 82680GCM35 | 2013-05-07 | 2010-10-01 | 2050-09-30 | ug/L | 0.328 | ERA, ChemService | 0507-12-05.1, 348200 | ERA 0507-12-05.1: 20 µl & ChemService 348200: 20 µl | 0.25 | CARBARYL | E | 0.06 | 0.082 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.328 | ER05005.1, Ch348200 | ER | Ch | Ch | 05005.1 | 348200 | 348200 | 05005.1 |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.34 | 0.016971 | 0.34 | 0.024 | 0.017791
CARBARYL | 2001 | 82680GCM35 | 2012-11-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.494 | ERA, Spex Organics | 0507-12-05.1, T1120530009 | ERA 0507-12-05.1: 40 µl & Spex Organics T1120530009: 40 µl | 0.5 | CARBARYL | E | 0.06 | 0.247 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.494 | ER05005.1, SpT110009 | ER | Sp | Sp | 05005.1 | T110009 | T110009 | 05005.1 | T110009 | T110009 | Y | Estimated Values | Y | 2 | Y | 2 | 0.533 | 0.055154 | 0.533 | 0.078 | 0.057821
CARBARYL | 2001 | 82680GCM35 | 2013-03-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.572 | ERA, Spex Organics | 0507-12-05.1, T1120530009 | ERA 0507-12-05.1: 80 µl & Spex Organics T1120530009: 80 µl | 1 | CARBARYL | E | 0.06 | 0.572 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.572 | ER05005.1, SpT110009 | ER | Sp | Sp | 05005.1 | T110009 | T110009 | 05005.1 | T110009 | T110009 | Y | Estimated Values | Y | 2 | Y | 2 | 0.533 | 0.055154 | 0.533 | 0.078 | 0.057821
CARBARYL | 2001 | 82680GCM35 | 2011-03-01 | 2010-10-01 | 2050-09-30 | ug/L | 0.4907 | ERA | 0618-10-02 LS 2001#2 | ERA 0618-10-02 LS 2001#2: 20 µl | 0.34237 | CARBARYL | E | 0.06 | 0.168 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.4907 | ERA 0618-10-02 LS 2001#2 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 9 | 0.68257 | 0.22609 | 0.55202 | 0.37283 | 0.27638
CARBARYL | 2001 | 82680GCM35 | 2011-03-15 | 2010-10-01 | 2050-09-30 | ug/L | 1.09 | ERA | 0618-10-02 LS 2001#2 | ERA 0618-10-02 LS 2001#2: 80 µl | 1.3669 | CARBARYL | E | 0.06 | 1.49 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.09 | ERA 0618-10-02 LS 2001#2 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 9 | 0.68257 | 0.22609 | 0.55202 | 0.37283 | 0.27638
CARBARYL | 2001 | 82680GCM35 | 2011-05-18 | 2010-10-01 | 2050-09-30 | ug/L | 0.5437 | ERA | 0618-10-02 LS 2001#2 | ERA 0618-10-02 LS 2001#2: 50 µl | 0.88283 | CARBARYL | E | 0.06 | 0.48 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5437 | ERA 0618-10-02 LS 2001#2 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 9 | 0.68257 | 0.22609 | 0.55202 | 0.37283 | 0.27638
CARBARYL | 2001 | 82680GCM35 | 2011-06-28 | 2010-10-01 | 2050-09-30 | ug/L | 0.90714 | ERA | 0618-10-02 LS 2001#2 | ERA 0618-10-02 LS 2001#2: 50 µl | 0.87198 | CARBARYL | E | 0.06 | 0.791 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90714 | ERA 0618-10-02 LS 2001#2 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 9 | 0.68257 | 0.22609 | 0.55202 | 0.37283 | 0.27638
CARBARYL | 2001 | 82680GCM35 | 2011-08-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.51445 | ERA | 0618-10-02 LS 2001#2 | ERA 0618-10-02 LS 2001#2: 80 µl | 1.384 | CARBARYL | E | 0.06 | 0.712 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.51445 | ERA 0618-10-02 LS 2001#2 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 9 | 0.68257 | 0.22609 | 0.55202 | 0.37283 | 0.27638
CARBARYL | 2001 | 82680GCM35 | 2011-09-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.55202 | ERA | 0618-10-02 LS 2001#2 | ERA 0618-10-02 LS 2001#2: 20 µl | 0.346 | CARBARYL | E | 0.06 | 0.191 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.55202 | ERA 0618-10-02 LS 2001#2 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 9 | 0.68257 | 0.22609 | 0.55202 | 0.37283 | 0.27638
CARBARYL | 2001 | 82680GCM35 | 2011-11-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.88728 | ERA | 0618-10-02 LS 2001#2 | ERA 0618-10-02 LS 2001#2: 20 µl | 0.346 | CARBARYL | E | 0.06 | 0.307 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88728 | ERA 0618-10-02 LS 2001#2 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 9 | 0.68257 | 0.22609 | 0.55202 | 0.37283 | 0.27638
CARBARYL | 2001 | 82680GCM35 | 2012-02-16 | 2010-10-01 | 2050-09-30 | ug/L | 0.69653 | ERA | 0618-10-02 LS 2001#2 | ERA 0618-10-02 LS 2001#2: 20 µl | 0.346 | CARBARYL | E | 0.06 | 0.241 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69653 | ERA 0618-10-02 LS 2001#2 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 9 | 0.68257 | 0.22609 | 0.55202 | 0.37283 | 0.27638
CARBARYL | 2001 | 82680GCM35 | 2012-05-05 | 2010-10-01 | 2050-09-30 | ug/L | 0.46127 | ERA | 0618-10-02 LS 2001#2 | ERA 0618-10-02 LS 2001#2: 50 µl | 0.865 | CARBARYL | E | 0.06 | 0.399 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.46127 | ERA 0618-10-02 LS 2001#2 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 9 | 0.68257 | 0.22609 | 0.55202 | 0.37283 | 0.27638
CARBARYL | 2001 | 82680GCM35 | 2012-09-25 | 2010-10-01 | 2050-09-30 | ug/L | 0.39 | NSI, ChemService | 062112-01Pest, 348200 | NSI 062112-01Pest: 40 µl & ChemService 348200: 40 µl | 0.5 | CARBARYL | E | 0.06 | 0.195 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.39 | NS062Pest, Ch348200 | NS | Ch | Ch | 062Pest | 348200 | 348200 | 062Pest |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.313 | 0.10889 | 0.313 | 0.154 | 0.11416
CARBARYL | 2001 | 82680GCM35 | 2013-03-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.236 | NSI, ChemService | 062112-01Pest, 348200 | NSI 062112-01Pest: 80 µl & ChemService 348200: 80 µl | 1 | CARBARYL | E | 0.06 | 0.236 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.236 | NS062Pest, Ch348200 | NS | Ch | Ch | 062Pest | 348200 | 348200 | 062Pest |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.313 | 0.10889 | 0.313 | 0.154 | 0.11416
CARBARYL | 2001 | 82680GCM35 | 2012-11-28 | 2010-10-01 | 2050-09-30 | ug/L | 0.616 | NSI, Spex Organics | 062112-01Pest, T1120530009 | NSI 062112-01Pest: 20 µl & Spex Organics T1120530009: 20 µl | 0.25 | CARBARYL | E | 0.06 | 0.154 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.616 | NS062Pest, SpT110009 | NS | Sp | Sp | 062Pest | T110009 | T110009 | 062Pest | T110009 | T110009 | Y | Estimated Values | Y | 2 | Y | 1 | 0.616 |  | 0.616 | 0 | 0
CARBARYL | 2001 | 82680GCM35 | 2008-05-01 | 2006-10-01 | 2008-09-30 | ug/L | 1.6387 | NWQL | PSP3SP140C | NWQL PSP3SP140C: 50 µl | 0.051261 | CARBARYL | E | 0.06 | 0.084 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.6387 | NWQL PSP3SP140C | [9 empty] | Y | Estimated Values | Y | 1 | Y | 3 | 1.4387 | 0.28506 | 1.5651 | 0.5264 | 0.39022
CARBARYL | 2001 | 82680GCM35 | 2008-06-25 | 2006-10-01 | 2008-09-30 | ug/L | 1.1123 | NWQL | PSP3SP140C | NWQL PSP3SP140C: 50 µl | 0.050347 | CARBARYL | E | 0.06 | 0.056 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.1123 | NWQL PSP3SP140C | [9 empty] | Y | Estimated Values | Y | 1 | Y | 3 | 1.4387 | 0.28506 | 1.5651 | 0.5264 | 0.39022
CARBARYL | 2001 | 82680GCM35 | 2008-08-19 | 2006-10-01 | 2008-09-30 | ug/L | 1.5651 | NWQL | PSP3SP140C | NWQL PSP3SP140C: 50 µl | 0.049198 | CARBARYL | E | 0.06 | 0.077 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.5651 | NWQL PSP3SP140C | [9 empty] | Y | Estimated Values | Y | 1 | Y | 3 | 1.4387 | 0.28506 | 1.5651 | 0.5264 | 0.39022
CARBARYL | 2001 | 82680GCM35 | 2009-04-08 | 2008-10-01 | 2009-09-30 | ug/L | 1.7832 | NWQL | PSP3SP140D | NWQL PSP3SP140D: 50 µl | 0.051031 | CARBARYL | E | 0.2 | 0.091 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.7832 | NWQL PSP3SP140D | [9 empty] | Y | Estimated Values | Y | 1 | Y | 4 | 1.5411 | 0.26371 | 1.5687 | 0.44305 | 0.32843
CARBARYL | 2001 | 82680GCM35 | 2009-04-14 | 2008-10-01 | 2009-09-30 | ug/L | 1.7421 | NWQL | PSP3SP140D | NWQL PSP3SP140D: 50 µl | 0.04994 | CARBARYL | E | 0.2 | 0.087 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.7421 | NWQL PSP3SP140D | [9 empty] | Y | Estimated Values | Y | 1 | Y | 4 | 1.5411 | 0.26371 | 1.5687 | 0.44305 | 0.32843
CARBARYL | 2001 | 82680GCM35 | 2009-06-24 | 2008-10-01 | 2009-09-30 | ug/L | 1.2438 | NWQL | PSP3SP140D | NWQL PSP3SP140D: 50 µl | 0.049845 | CARBARYL | E | 0.2 | 0.062 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.2438 | NWQL PSP3SP140D | [9 empty] | Y | Estimated Values | Y | 1 | Y | 4 | 1.5411 | 0.26371 | 1.5687 | 0.44305 | 0.32843
CARBARYL | 2001 | 82680GCM35 | 2009-08-21 | 2008-10-01 | 2009-09-30 | ug/L | 1.3954 | NWQL | PSP3SP140D | NWQL PSP3SP140D: 50 µl | 0.050165 | CARBARYL | E | 0.2 | 0.07 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.3954 | NWQL PSP3SP140D | [9 empty] | Y | Estimated Values | Y | 1 | Y | 4 | 1.5411 | 0.26371 | 1.5687 | 0.44305 | 0.32843
CARBARYL | 2001 | 82680GCM35 | 2010-06-24 | 2009-10-01 | 2010-09-30 | ug/L | 1.8086 | NWQL | PSP3SP142A | NWQL PSP3SP142A: 40 µl | 0.039809 | CARBARYL | E | 0.06 | 0.072 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.8086 | NWQL PSP3SP142A | [9 empty] | Y | Estimated Values | Y | 1 | Y | 3 | 1.4419 | 0.47934 | 1.6177 | 0.90909 | 0.6739
CARBARYL | 2001 | 82680GCM35 | 2010-07-14 | 2009-10-01 | 2010-09-30 | ug/L | 1.6177 | NWQL | PSP3SP142A | NWQL PSP3SP142A: 40 µl | 0.0408 | CARBARYL | E | 0.06 | 0.066 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.6177 | NWQL PSP3SP142A | [9 empty] | Y | Estimated Values | Y | 1 | Y | 3 | 1.4419 | 0.47934 | 1.6177 | 0.90909 | 0.6739
CARBARYL | 2001 | 82680GCM35 | 2010-07-28 | 2009-10-01 | 2010-09-30 | ug/L | 0.89955 | NWQL | PSP3SP142A | NWQL PSP3SP142A: 40 µl | 0.04002 | CARBARYL | E | 0.06 | 0.036 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.89955 | NWQL PSP3SP142A | [9 empty] | Y | Estimated Values | Y | 1 | Y | 3 | 1.4419 | 0.47934 | 1.6177 | 0.90909 | 0.6739
CARBARYL | 2001 | 82680GCM35 | 2009-01-14 | 2008-10-01 | 2009-09-30 | ug/L | 0.64835 | Protocol | D1080911003 | Protocol D1080911003: 40 µl | 0.20976 | CARBARYL | E | 0.2 | 0.136 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64835 | Protocol D1080911003 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.5643 | 0.069882 | 0.58757 | 0.10908 | 0.080862
CARBARYL | 2001 | 82680GCM35 | 2009-03-23 | 2008-10-01 | 2009-09-30 | ug/L | 0.58757 | Protocol | D1080911003 | Protocol D1080911003: 25 µl | 0.13615 | CARBARYL | E | 0.2 | 0.08 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.58757 | Protocol D1080911003 | [9 empty] | Y | Estimated Values | Y | 1 | Y | 5 | 0.5643 | 0.069882 | 0.58757 | 0.10908 | 0.080862
CARBARYL | 2001 | 82680GCM35 | 2009-06-04 | 2008-10-01 | 2009-09-30 | ug/L | 0.60194 | Protocol | D1080911003 | Protocol D1080911003: 40 µl | 0.206 | CARBARYL | E | 0.2 | 0.124 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60194 | Protocol D1080911003 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.5643 | 0.069882 | 0.58757 | 0.10908 | 0.080862
CARBARYL | 2001 | 82680GCM35 | 2009-07-22 | 2008-10-01 | 2009-09-30 | ug/L | 0.49077 | Protocol | D1080911003 | Protocol D1080911003: 25 µl | 0.12837 | CARBARYL | E | 0.2 | 0.063 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.49077 | Protocol D1080911003 | [9 empty] | Y | Estimated Values | Y | 1 | Y | 5 | 0.5643 | 0.069882 | 0.58757 | 0.10908 | 0.080862
CARBARYL | 2001 | 82680GCM35 | 2009-10-27 | 2009-10-01 | 2010-09-30 | ug/L | 0.49285 | Protocol | D1080911003 | Protocol D1080911003: 25 µl | 0.12783 | CARBARYL | E | 0.06 | 0.063 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.49285 | Protocol D1080911003 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.5643 | 0.069882 | 0.58757 | 0.10908 | 0.080862
CARBARYL | 2001 | 82680GCM35 | 2013-08-28 | 2010-10-01 | 2050-09-30 | ug/L | 0.57 | Spex Organics, Accu | T1130517007, 213041078 | Spex Organics T1130517007: 100 µl & Accu 213041078: 100 µl | 1 | CARBARYL | E | 0.06 | 0.57 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57 | SpT117007, Ac2131078 | Sp | Ac | Ac | T117007 | 2131078 | 2131078 | T117007 | 2131078 | 2131078 | Y | Estimated Values | Y | 2 | Y | 1 | 0.57 |  | 0.57 | 0 | 0
CARBARYL | 2001 | 82680GCM35 | 2013-12-18 | 2010-10-01 | 2050-09-30 | ug/L | 1.01 | Spex Organics, ERA | T1130517007, 0318-13-02.1 | Spex Organics T1130517007: 20 µl & ERA 0318-13-02.1: 20 µl | 0.2 | CARBARYL | E | 0.06 | 0.202 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.01 | SpT117007, ER03102.1 | Sp | ER | ER | T117007 | 03102.1 | 03102.1 | T117007 | 03102.1 | 03102.1 | Y | Estimated Values | Y | 2 | Y | 1 | 1.01 |  | 1.01 | 0 | 0
CARBARYL | 2001 | 82680GCM35 | 2008-11-13 | 2008-10-01 | 2009-09-30 | ug/L | 1.2637 | Supelco | LB60730 | Supelco LB60730: 25 µl | 0.12899 | CARBARYL | E | 0.2 | 0.163 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.2637 | Supelco LB60730 | [9 empty] | Y | Estimated Values | Y | 1 | Y | 5 | 1.1066 | 0.16707 | 1.154 | 0.23593 | 0.1749
CARBARYL | 2001 | 82680GCM35 | 2009-03-24 | 2008-10-01 | 2009-09-30 | ug/L | 1.154 | Supelco | LB60730 | Supelco LB60730: 40 µl | 0.2201 | CARBARYL | E | 0.2 | 0.254 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.154 | Supelco LB60730 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 1.1066 | 0.16707 | 1.154 | 0.23593 | 0.1749
CARBARYL | 2001 | 82680GCM35 | 2009-04-23 | 2008-10-01 | 2009-09-30 | ug/L | 1.2411 | Supelco | LB60730 | Supelco LB60730: 25 µl | 0.13134 | CARBARYL | E | 0.2 | 0.163 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.2411 | Supelco LB60730 | [9 empty] | Y | Estimated Values | Y | 1 | Y | 5 | 1.1066 | 0.16707 | 1.154 | 0.23593 | 0.1749
CARBARYL | 2001 | 82680GCM35 | 2009-07-31 | 2008-10-01 | 2009-09-30 | ug/L | 0.86921 | Supelco | LB60730 | Supelco LB60730: 40 µl | 0.20593 | CARBARYL | E | 0.2 | 0.179 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86921 | Supelco LB60730 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 1.1066 | 0.16707 | 1.154 | 0.23593 | 0.1749
CARBARYL | 2001 | 82680GCM35 | 2009-09-10 | 2008-10-01 | 2009-09-30 | ug/L | 1.0052 | Supelco | LB60730 | Supelco LB60730: 25 µl | 0.13132 | CARBARYL | E | 0.2 | 0.132 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.0052 | Supelco LB60730 | [9 empty] | Y | Estimated Values | Y | 1 | Y | 5 | 1.1066 | 0.16707 | 1.154 | 0.23593 | 0.1749
CARBARYL | 2001 | 82680GCM35 | 2011-02-15 | 2010-10-01 | 2050-09-30 | ug/L | 0.98753 | Ultra | CG-2391 | Ultra CG-2391: 50 µl | 0.85365 | CARBARYL | E | 0.06 | 0.843 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98753 | Ultra CG-2391 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 9 | 0.878 | 0.16709 | 0.91069 | 0.2303 | 0.17072
CARBARYL | 2001 | 82680GCM35 | 2011-04-14 | 2010-10-01 | 2050-09-30 | ug/L | 0.91069 | Ultra | CG-2391 | Ultra CG-2391: 50 µl | 0.86198 | CARBARYL | E | 0.06 | 0.785 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91069 | Ultra CG-2391 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 9 | 0.878 | 0.16709 | 0.91069 | 0.2303 | 0.17072
CARBARYL | 2001 | 82680GCM35 | 2011-05-25 | 2010-10-01 | 2050-09-30 | ug/L | 1.1246 | Ultra | CG-2391 | Ultra CG-2391: 50 µl | 0.85984 | CARBARYL | E | 0.06 | 0.967 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1246 | Ultra CG-2391 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 9 | 0.878 | 0.16709 | 0.91069 | 0.2303 | 0.17072
CARBARYL | 2001 | 82680GCM35 | 2011-08-03 | 2010-10-01 | 2050-09-30 | ug/L | 0.91908 | Ultra | CG-2391 | Ultra CG-2391: 20 µl | 0.346 | CARBARYL | E | 0.06 | 0.318 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91908 | Ultra CG-2391 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 9 | 0.878 | 0.16709 | 0.91069 | 0.2303 | 0.17072
CARBARYL | 2001 | 82680GCM35 | 2011-08-11 | 2010-10-01 | 2050-09-30 | ug/L | 1.0723 | Ultra | CG-2391 | Ultra CG-2391: 20 µl | 0.346 | CARBARYL | E | 0.06 | 0.371 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0723 | Ultra CG-2391 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 9 | 0.878 | 0.16709 | 0.91069 | 0.2303 | 0.17072
CARBARYL | 2001 | 82680GCM35 | 2011-09-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.75723 | Ultra | CG-2391 | Ultra CG-2391: 20 µl | 0.346 | CARBARYL | E | 0.06 | 0.262 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75723 | Ultra CG-2391 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 9 | 0.878 | 0.16709 | 0.91069 | 0.2303 | 0.17072
CARBARYL | 2001 | 82680GCM35 | 2011-11-03 | 2010-10-01 | 2050-09-30 | ug/L | 0.65665 | Ultra | CG-2391 | Ultra CG-2391: 50 µl | 0.865 | CARBARYL | E | 0.06 | 0.568 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65665 | Ultra CG-2391 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 9 | 0.878 | 0.16709 | 0.91069 | 0.2303 | 0.17072
CARBARYL | 2001 | 82680GCM35 | 2011-12-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.7948 | Ultra | CG-2391 | Ultra CG-2391: 80 µl | 1.384 | CARBARYL | E | 0.06 | 1.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7948 | Ultra CG-2391 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 9 | 0.878 | 0.16709 | 0.91069 | 0.2303 | 0.17072
CARBARYL | 2001 | 82680GCM35 | 2012-05-04 | 2010-10-01 | 2050-09-30 | ug/L | 0.67919 | Ultra | CG-2391 | Ultra CG-2391: 20 µl | 0.346 | CARBARYL | E | 0.06 | 0.235 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67919 | Ultra CG-2391 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 9 | 0.878 | 0.16709 | 0.91069 | 0.2303 | 0.17072