## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2001 | 04040GCM35 | 2013-12-17 | 2012-10-01 | 2050-09-30 | ug/L | 0.51542 | Abs, ChemService | 041613, 1466000 | Abs 041613: 50 µl & ChemService 1466000: 50 µl | 0.1005 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.01 | 0.0518 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.51542 | Ab041613, Ch1466000 | Ab | Ch | Ch | 041613 | 1466000 | 1466000 |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.51542 |  | 0.51542 | 0 | 0
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2001 | 04040GCM35 | 2013-08-17 | 2012-10-01 | 2050-09-30 | ug/L | 0.77612 | Abs, Spex Organics | 041613, T1130517007 | Abs 041613: 20 µl & Spex Organics T1130517007: 20 µl | 0.0402 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.01 | 0.0312 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77612 | Ab041613, SpT117007 | Ab | Sp | Sp | 041613 | T117007 | T117007 |  | T117007 | T117007 | Y | Estimated Values | Y | 2 | Y | 1 | 0.77612 |  | 0.77612 | 0 | 0
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2001 | 04040GCM35 | 2010-01-05 | 2009-10-01 | 2010-09-30 | ug/L | 0.91236 | Abs | 090409Pest | Abs 090409Pest: 25 µl | 0.095248 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.014 | 0.0869 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91236 | Abs 090409Pest | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 1.0237 | 0.21331 | 0.95289 | 0.15843 | 0.11744
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2001 | 04040GCM35 | 2010-06-18 | 2009-10-01 | 2010-09-30 | ug/L | 0.98704 | Abs | 090409Pest | Abs 090409Pest: 80 µl | 0.29685 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.014 | 0.293 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98704 | Abs 090409Pest | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 1.0237 | 0.21331 | 0.95289 | 0.15843 | 0.11744
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2001 | 04040GCM35 | 2010-07-20 | 2009-10-01 | 2010-09-30 | ug/L | 1.426 | Abs | 090409Pest | Abs 090409Pest: 25 µl | 0.095372 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.014 | 0.136 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.426 | Abs 090409Pest | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 1.0237 | 0.21331 | 0.95289 | 0.15843 | 0.11744
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2001 | 04040GCM35 | 2010-07-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.91875 | Abs | 090409Pest | Abs 090409Pest: 25 µl | 0.096545 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.014 | 0.0887 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91875 | Abs 090409Pest | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 1.0237 | 0.21331 | 0.95289 | 0.15843 | 0.11744
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2001 | 04040GCM35 | 2010-08-13 | 2009-10-01 | 2010-09-30 | ug/L | 0.82702 | Abs | 090409Pest | Abs 090409Pest: 80 µl | 0.30108 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.014 | 0.249 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82702 | Abs 090409Pest | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 1.0237 | 0.21331 | 0.95289 | 0.15843 | 0.11744
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2001 | 04040GCM35 | 2010-09-22 | 2009-10-01 | 2010-09-30 | ug/L | 1.0708 | Abs | 090409Pest | Abs 090409Pest: 25 µl | 0.095257 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.014 | 0.102 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0708 | Abs 090409Pest | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 1.0237 | 0.21331 | 0.95289 | 0.15843 | 0.11744
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2001 | 04040GCM35 | 2012-07-24 | 2010-10-01 | 2012-09-30 | ug/L | 0.61089 | Accu, Abs | 212051201, 052212 | Accu 212051201: 20 µl & Abs 052212: 20 µl | 0.0992 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.006 | 0.0606 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61089 | Ac2121201, Ab052212 | Ac | Ab | Ab | 2121201 | 052212 | 052212 | 2121201 |  |  | Y | Estimated Values | Y | 2 | Y | 3 | 0.54385 | 0.082933 | 0.56956 | 0.15978 | 0.11844
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2001 | 04040GCM35 | 2012-11-27 | 2012-10-01 | 2050-09-30 | ug/L | 0.56956 | Accu, Abs | 212051201, 052212 | Accu 212051201: 40 µl & Abs 052212: 40 µl | 0.1984 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.01 | 0.113 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56956 | Ac2121201, Ab052212 | Ac | Ab | Ab | 2121201 | 052212 | 052212 | 2121201 |  |  | Y | Estimated Values | Y | 2 | Y | 3 | 0.54385 | 0.082933 | 0.56956 | 0.15978 | 0.11844
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2001 | 04040GCM35 | 2013-01-29 | 2012-10-01 | 2050-09-30 | ug/L | 0.45111 | Accu, Abs | 212051201, 052212 | Accu 212051201: 80 µl & Abs 052212: 80 µl | 0.3968 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.01 | 0.179 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.45111 | Ac2121201, Ab052212 | Ac | Ab | Ab | 2121201 | 052212 | 052212 | 2121201 |  |  | Y | Estimated Values | Y | 2 | Y | 3 | 0.54385 | 0.082933 | 0.56956 | 0.15978 | 0.11844
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2001 | 04040GCM35 | 2013-03-19 | 2012-10-01 | 2050-09-30 | ug/L | 0.66835 | Accu, NSI | 212051201, 062112-01Pest | Accu 212051201: 20 µl & NSI 062112-01Pest: 20 µl | 0.0992 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.01 | 0.0663 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66835 | Ac2121201, NS062Pest | Ac | NS | NS | 2121201 | 062Pest | 062Pest | 2121201 | 062Pest | 062Pest | Y | Estimated Values | Y | 2 | Y | 2 | 0.61139 | 0.080547 | 0.61139 | 0.11391 | 0.084441
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2001 | 04040GCM35 | 2013-05-14 | 2012-10-01 | 2050-09-30 | ug/L | 0.55444 | Accu, NSI | 212051201, 062112-01Pest | Accu 212051201: 40 µl & NSI 062112-01Pest: 40 µl | 0.1984 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.01 | 0.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.55444 | Ac2121201, NS062Pest | Ac | NS | NS | 2121201 | 062Pest | 062Pest | 2121201 | 062Pest | 062Pest | Y | Estimated Values | Y | 2 | Y | 2 | 0.61139 | 0.080547 | 0.61139 | 0.11391 | 0.084441
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2001 | 04040GCM35 | 2012-09-01 | 2010-10-01 | 2012-09-30 | ug/L | 0.79335 | Accu, Spex Organics | 212051201, T1120530009 | Accu 212051201: 20 µl & Spex Organics T1120530009: 20 µl | 0.0992 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.006 | 0.0787 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79335 | Ac2121201, SpT110009 | Ac | Sp | Sp | 2121201 | T110009 | T110009 | 2121201 | T110009 | T110009 | Y | Estimated Values | Y | 2 | Y | 1 | 0.79335 |  | 0.79335 | 0 | 0
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2001 | 04040GCM35 | 2013-10-21 | 2012-10-01 | 2050-09-30 | ug/L | 0.57711 | Accu, Abs | 213041078, 041613 | Accu 213041078: 20 µl & Abs 041613: 20 µl | 0.0402 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.01 | 0.0232 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57711 | Ac2131078, Ab041613 | Ac | Ab | Ab | 2131078 | 041613 | 041613 | 2131078 |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.57711 |  | 0.57711 | 0 | 0
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2001 | 04040GCM35 | 2013-05-22 | 2012-10-01 | 2050-09-30 | ug/L | 0.661 | Accu, NSI | 213041078, 042313Pest | Accu 213041078: 50 µl & NSI 042313Pest: 50 µl | 0.1 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.01 | 0.0661 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.661 | Ac2131078, NS042Pest | Ac | NS | NS | 2131078 | 042Pest | 042Pest | 2131078 | 042Pest | 042Pest | Y | Estimated Values | Y | 2 | Y | 1 | 0.661 |  | 0.661 | 0 | 0
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2001 | 04040GCM35 | 2012-07-16 | 2010-10-01 | 2012-09-30 | ug/L | 0.53427 | Accu | 212051201 | Accu 212051201: 40 µl | 0.1984 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.006 | 0.106 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.53427 | Accu 212051201 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 1 | 0.53427 |  | 0.53427 | 0 | 0
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2001 | 04040GCM35 | 2008-04-24 | 2006-10-01 | 2009-09-30 | ug/L | 0.71113 | Accu | B7070210 | Accu B7070210: 25 µl | 0.28687 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.014 | 0.204 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71113 | Accu B7070210 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.58606 | 0.17646 | 0.66728 | 0.18273 | 0.13545
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2001 | 04040GCM35 | 2008-04-24 | 2006-10-01 | 2009-09-30 | ug/L | 0.516 | Accu | B7070210 | Accu B7070210: 25 µl | 0.28876 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.014 | 0.149 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.516 | Accu B7070210 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.58606 | 0.17646 | 0.66728 | 0.18273 | 0.13545
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2001 | 04040GCM35 | 2008-05-06 | 2006-10-01 | 2009-09-30 | ug/L | 0.65579 | Accu | B7070210 | Accu B7070210: 25 µl | 0.276 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.014 | 0.181 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65579 | Accu B7070210 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.58606 | 0.17646 | 0.66728 | 0.18273 | 0.13545
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2001 | 04040GCM35 | 2008-06-10 | 2006-10-01 | 2009-09-30 | ug/L | 0.67876 | Accu | B7070210 | Accu B7070210: 25 µl | 0.28582 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.014 | 0.194 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67876 | Accu B7070210 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.58606 | 0.17646 | 0.66728 | 0.18273 | 0.13545
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2001 | 04040GCM35 | 2008-08-01 | 2006-10-01 | 2009-09-30 | ug/L | 0.25593 | Accu | B7070210 | Accu B7070210: 25 µl | 0.27742 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.014 | 0.071 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.25593 | Accu B7070210 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.58606 | 0.17646 | 0.66728 | 0.18273 | 0.13545
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2001 | 04040GCM35 | 2008-09-23 | 2006-10-01 | 2009-09-30 | ug/L | 0.69873 | Accu | B7070210 | Accu B7070210: 25 µl | 0.27478 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.014 | 0.192 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69873 | Accu B7070210 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.58606 | 0.17646 | 0.66728 | 0.18273 | 0.13545
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2001 | 04040GCM35 | 2013-06-13 | 2012-10-01 | 2050-09-30 | ug/L | 0.674 | ChemService, NSI | 1466000, 042313Pest | ChemService 1466000: 50 µl & NSI 042313Pest: 50 µl | 0.1 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.01 | 0.0674 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.674 | Ch1466000, NS042Pest | Ch | NS | NS | 1466000 | 042Pest | 042Pest |  | 042Pest | 042Pest | Y | Estimated Values | Y | 2 | Y | 1 | 0.674 |  | 0.674 | 0 | 0
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2001 | 04040GCM35 | 2013-11-26 | 2012-10-01 | 2050-09-30 | ug/L | 0.71393 | ERA, Abs | 0318-13-02.1, 041613 | ERA 0318-13-02.1: 20 µl & Abs 041613: 20 µl | 0.0402 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.01 | 0.0287 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71393 | ER03102.1, Ab041613 | ER | Ab | Ab | 03102.1 | 041613 | 041613 | 03102.1 |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.71393 |  | 0.71393 | 0 | 0
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2001 | 04040GCM35 | 2013-08-01 | 2012-10-01 | 2050-09-30 | ug/L | 0.491 | ERA, NSI | 0318-13-02.1, 042313Pest | ERA 0318-13-02.1: 100 µl & NSI 042313Pest: 100 µl | 0.2 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.01 | 0.0982 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.491 | ER03102.1, NS042Pest | ER | NS | NS | 03102.1 | 042Pest | 042Pest | 03102.1 | 042Pest | 042Pest | Y | Estimated Values | Y | 2 | Y | 1 | 0.491 |  | 0.491 | 0 | 0
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2001 | 04040GCM35 | 2012-12-06 | 2012-10-01 | 2050-09-30 | ug/L | 0.6746 | ERA, ChemService | 0507-12-05.1, 348200 | ERA 0507-12-05.1: 20 µl & ChemService 348200: 20 µl | 0.1008 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.01 | 0.068 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6746 | ER05005.1, Ch348200 | ER | Ch | Ch | 05005.1 | 348200 | 348200 | 05005.1 |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.60367 | 0.10031 | 0.60367 | 0.14187 | 0.10516
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2001 | 04040GCM35 | 2013-05-07 | 2012-10-01 | 2050-09-30 | ug/L | 0.53274 | ERA, ChemService | 0507-12-05.1, 348200 | ERA 0507-12-05.1: 20 µl & ChemService 348200: 20 µl | 0.1008 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.01 | 0.0537 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.53274 | ER05005.1, Ch348200 | ER | Ch | Ch | 05005.1 | 348200 | 348200 | 05005.1 |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.60367 | 0.10031 | 0.60367 | 0.14187 | 0.10516
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2001 | 04040GCM35 | 2012-09-22 | 2010-10-01 | 2012-09-30 | ug/L | 0.6131 | ERA, NSI | 0507-12-05.1, 062112-01Pest | ERA 0507-12-05.1: 20 µl & NSI 062112-01Pest: 20 µl | 0.1008 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.006 | 0.0618 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6131 | ER05005.1, NS062Pest | ER | NS | NS | 05005.1 | 062Pest | 062Pest | 05005.1 | 062Pest | 062Pest | Y | Estimated Values | Y | 2 | Y | 1 | 0.6131 |  | 0.6131 | 0 | 0
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2001 | 04040GCM35 | 2012-11-08 | 2012-10-01 | 2050-09-30 | ug/L | 0.49603 | ERA, Spex Organics | 0507-12-05.1, T1120530009 | ERA 0507-12-05.1: 40 µl & Spex Organics T1120530009: 40 µl | 0.2016 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.01 | 0.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.49603 | ER05005.1, SpT110009 | ER | Sp | Sp | 05005.1 | T110009 | T110009 | 05005.1 | T110009 | T110009 | Y | Estimated Values | Y | 2 | Y | 2 | 0.45139 | 0.063135 | 0.45139 | 0.089286 | 0.066187
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2001 | 04040GCM35 | 2013-03-19 | 2012-10-01 | 2050-09-30 | ug/L | 0.40675 | ERA, Spex Organics | 0507-12-05.1, T1120530009 | ERA 0507-12-05.1: 80 µl & Spex Organics T1120530009: 80 µl | 0.4032 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.01 | 0.164 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.40675 | ER05005.1, SpT110009 | ER | Sp | Sp | 05005.1 | T110009 | T110009 | 05005.1 | T110009 | T110009 | Y | Estimated Values | Y | 2 | Y | 2 | 0.45139 | 0.063135 | 0.45139 | 0.089286 | 0.066187
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2001 | 04040GCM35 | 2011-02-10 | 2010-10-01 | 2012-09-30 | ug/L | 0.93457 | NSI | 070810-01 | NSI 070810-01: 20 µl | 0.20972 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.006 | 0.196 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93457 | NSI 070810-01 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 10 | 0.52684 | 0.17449 | 0.49085 | 0.17082 | 0.12663
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2001 | 04040GCM35 | 2011-03-15 | 2010-10-01 | 2012-09-30 | ug/L | 0.67547 | NSI | 070810-01 | NSI 070810-01: 50 µl | 0.53 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.006 | 0.358 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67547 | NSI 070810-01 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 10 | 0.52684 | 0.17449 | 0.49085 | 0.17082 | 0.12663
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2001 | 04040GCM35 | 2011-05-17 | 2010-10-01 | 2012-09-30 | ug/L | 0.50524 | NSI | 070810-01 | NSI 070810-01: 80 µl | 0.86692 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.006 | 0.438 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.50524 | NSI 070810-01 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 10 | 0.52684 | 0.17449 | 0.49085 | 0.17082 | 0.12663
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2001 | 04040GCM35 | 2011-06-10 | 2010-10-01 | 2012-09-30 | ug/L | 0.46639 | NSI | 070810-01 | NSI 070810-01: 20 µl | 0.21441 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.006 | 0.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.46639 | NSI 070810-01 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 10 | 0.52684 | 0.17449 | 0.49085 | 0.17082 | 0.12663
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2001 | 04040GCM35 | 2011-08-02 | 2010-10-01 | 2012-09-30 | ug/L | 0.39127 | NSI | 070810-01 | NSI 070810-01: 80 µl | 0.8664 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.006 | 0.339 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.39127 | NSI 070810-01 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 10 | 0.52684 | 0.17449 | 0.49085 | 0.17082 | 0.12663
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2001 | 04040GCM35 | 2011-09-10 | 2010-10-01 | 2012-09-30 | ug/L | 0.47645 | NSI | 070810-01 | NSI 070810-01: 50 µl | 0.5415 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.006 | 0.258 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.47645 | NSI 070810-01 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 10 | 0.52684 | 0.17449 | 0.49085 | 0.17082 | 0.12663
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2001 | 04040GCM35 | 2011-11-17 | 2010-10-01 | 2012-09-30 | ug/L | 0.40536 | NSI | 070810-01 | NSI 070810-01: 20 µl | 0.2166 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.006 | 0.0878 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.40536 | NSI 070810-01 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 10 | 0.52684 | 0.17449 | 0.49085 | 0.17082 | 0.12663
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2001 | 04040GCM35 | 2012-01-21 | 2010-10-01 | 2012-09-30 | ug/L | 0.31856 | NSI | 070810-01 | NSI 070810-01: 80 µl | 0.8664 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.006 | 0.276 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.31856 | NSI 070810-01 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 10 | 0.52684 | 0.17449 | 0.49085 | 0.17082 | 0.12663
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2001 | 04040GCM35 | 2012-05-05 | 2010-10-01 | 2012-09-30 | ug/L | 0.51893 | NSI | 070810-01 | NSI 070810-01: 50 µl | 0.5415 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.006 | 0.281 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.51893 | NSI 070810-01 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 10 | 0.52684 | 0.17449 | 0.49085 | 0.17082 | 0.12663
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2001 | 04040GCM35 | 2012-06-22 | 2010-10-01 | 2012-09-30 | ug/L | 0.57618 | NSI | 070810-01 | NSI 070810-01: 50 µl | 0.5415 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.006 | 0.312 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57618 | NSI 070810-01 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 10 | 0.52684 | 0.17449 | 0.49085 | 0.17082 | 0.12663
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2001 | 04040GCM35 | 2008-05-01 | 2006-10-01 | 2009-09-30 | ug/L | 0.60475 | NWQL | PSP3SP140C | NWQL PSP3SP140C: 50 µl | 0.051261 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.014 | 0.031 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60475 | NWQL PSP3SP140C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.68461 | 0.12894 | 0.61572 | 0.22862 | 0.16947
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2001 | 04040GCM35 | 2008-06-25 | 2006-10-01 | 2009-09-30 | ug/L | 0.61572 | NWQL | PSP3SP140C | NWQL PSP3SP140C: 50 µl | 0.050347 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.014 | 0.031 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61572 | NWQL PSP3SP140C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.68461 | 0.12894 | 0.61572 | 0.22862 | 0.16947
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2001 | 04040GCM35 | 2008-08-19 | 2006-10-01 | 2009-09-30 | ug/L | 0.83337 | NWQL | PSP3SP140C | NWQL PSP3SP140C: 50 µl | 0.049198 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.014 | 0.041 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83337 | NWQL PSP3SP140C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.68461 | 0.12894 | 0.61572 | 0.22862 | 0.16947
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2001 | 04040GCM35 | 2009-04-08 | 2006-10-01 | 2009-09-30 | ug/L | 0.88182 | NWQL | PSP3SP140D | NWQL PSP3SP140D: 50 µl | 0.051031 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.014 | 0.045 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88182 | NWQL PSP3SP140D | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.81566 | 0.048209 | 0.8017 | 0.07148 | 0.052987
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2001 | 04040GCM35 | 2009-04-14 | 2006-10-01 | 2009-09-30 | ug/L | 0.82098 | NWQL | PSP3SP140D | NWQL PSP3SP140D: 50 µl | 0.04994 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.014 | 0.041 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82098 | NWQL PSP3SP140D | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.81566 | 0.048209 | 0.8017 | 0.07148 | 0.052987
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2001 | 04040GCM35 | 2009-06-24 | 2006-10-01 | 2009-09-30 | ug/L | 0.78242 | NWQL | PSP3SP140D | NWQL PSP3SP140D: 50 µl | 0.049845 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.014 | 0.039 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78242 | NWQL PSP3SP140D | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.81566 | 0.048209 | 0.8017 | 0.07148 | 0.052987
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2001 | 04040GCM35 | 2009-08-21 | 2006-10-01 | 2009-09-30 | ug/L | 0.77743 | NWQL | PSP3SP140D | NWQL PSP3SP140D: 50 µl | 0.050165 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.014 | 0.039 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77743 | NWQL PSP3SP140D | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.81566 | 0.048209 | 0.8017 | 0.07148 | 0.052987
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2001 | 04040GCM35 | 2010-06-24 | 2009-10-01 | 2010-09-30 | ug/L | 0.82394 | NWQL | PSP3SP142A | NWQL PSP3SP142A: 40 µl | 0.039809 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.014 | 0.0328 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82394 | NWQL PSP3SP142A | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.6591 | 0.18611 | 0.69608 | 0.36666 | 0.27181
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2001 | 04040GCM35 | 2010-07-14 | 2009-10-01 | 2010-09-30 | ug/L | 0.69608 | NWQL | PSP3SP142A | NWQL PSP3SP142A: 40 µl | 0.0408 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.014 | 0.0284 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69608 | NWQL PSP3SP142A | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.6591 | 0.18611 | 0.69608 | 0.36666 | 0.27181
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2001 | 04040GCM35 | 2010-07-28 | 2009-10-01 | 2010-09-30 | ug/L | 0.45727 | NWQL | PSP3SP142A | NWQL PSP3SP142A: 40 µl | 0.04002 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.014 | 0.0183 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.45727 | NWQL PSP3SP142A | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.6591 | 0.18611 | 0.69608 | 0.36666 | 0.27181
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2001 | 04040GCM35 | 2008-11-13 | 2006-10-01 | 2009-09-30 | ug/L | 0.98294 | Supelco | LB60730 | Supelco LB60730: 25 µl | 0.078337 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.014 | 0.077 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98294 | Supelco LB60730 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.79815 | 0.15208 | 0.81492 | 0.095479 | 0.070778
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2001 | 04040GCM35 | 2009-03-24 | 2006-10-01 | 2009-09-30 | ug/L | 0.86032 | Supelco | LB60730 | Supelco LB60730: 40 µl | 0.13367 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.014 | 0.115 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86033 | Supelco LB60730 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.79815 | 0.15208 | 0.81492 | 0.095479 | 0.070778
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2001 | 04040GCM35 | 2009-04-23 | 2006-10-01 | 2009-09-30 | ug/L | 0.81492 | Supelco | LB60730 | Supelco LB60730: 25 µl | 0.079763 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.014 | 0.065 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81492 | Supelco LB60730 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.79815 | 0.15208 | 0.81492 | 0.095479 | 0.070778
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2001 | 04040GCM35 | 2009-07-31 | 2006-10-01 | 2009-09-30 | ug/L | 0.5677 | Supelco | LB60730 | Supelco LB60730: 40 µl | 0.12507 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.014 | 0.071 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5677 | Supelco LB60730 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.79815 | 0.15208 | 0.81492 | 0.095479 | 0.070778
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2001 | 04040GCM35 | 2009-09-10 | 2006-10-01 | 2009-09-30 | ug/L | 0.76485 | Supelco | LB60730 | Supelco LB60730: 25 µl | 0.079755 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.014 | 0.061 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76485 | Supelco LB60730 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.79815 | 0.15208 | 0.81492 | 0.095479 | 0.070778
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2001 | 04040GCM35 | 2011-02-25 | 2010-10-01 | 2012-09-30 | ug/L | 0.74179 | Supelco | LB77170 | Supelco LB77170: 80 µl | 0.87761 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.006 | 0.651 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74179 | Supelco LB77170 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 8 | 0.57032 | 0.14875 | 0.53949 | 0.25342 | 0.18786
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2001 | 04040GCM35 | 2011-03-23 | 2010-10-01 | 2012-09-30 | ug/L | 0.69342 | Supelco | LB77170 | Supelco LB77170: 20 µl | 0.2192 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.006 | 0.152 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69342 | Supelco LB77170 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 8 | 0.57032 | 0.14875 | 0.53949 | 0.25342 | 0.18786
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2001 | 04040GCM35 | 2011-06-23 | 2010-10-01 | 2012-09-30 | ug/L | 0.76008 | Supelco | LB77170 | Supelco LB77170: 50 µl | 0.54994 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.006 | 0.418 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76008 | Supelco LB77170 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 8 | 0.57032 | 0.14875 | 0.53949 | 0.25342 | 0.18786
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2001 | 04040GCM35 | 2011-08-18 | 2010-10-01 | 2012-09-30 | ug/L | 0.47016 | Supelco | LB77170 | Supelco LB77170: 50 µl | 0.5445 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.006 | 0.256 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.47016 | Supelco LB77170 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 8 | 0.57032 | 0.14875 | 0.53949 | 0.25342 | 0.18786
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2001 | 04040GCM35 | 2011-09-17 | 2010-10-01 | 2012-09-30 | ug/L | 0.45822 | Supelco | LB77170 | Supelco LB77170: 20 µl | 0.2178 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.006 | 0.0998 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.45822 | Supelco LB77170 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 8 | 0.57032 | 0.14875 | 0.53949 | 0.25342 | 0.18786
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2001 | 04040GCM35 | 2011-12-10 | 2010-10-01 | 2012-09-30 | ug/L | 0.35996 | Supelco | LB77170 | Supelco LB77170: 50 µl | 0.5445 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.006 | 0.196 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.35996 | Supelco LB77170 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 8 | 0.57032 | 0.14875 | 0.53949 | 0.25342 | 0.18786
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2001 | 04040GCM35 | 2012-02-23 | 2010-10-01 | 2012-09-30 | ug/L | 0.48668 | Supelco | LB77170 | Supelco LB77170: 20 µl | 0.2178 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.006 | 0.106 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.48669 | Supelco LB77170 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 8 | 0.57032 | 0.14875 | 0.53949 | 0.25342 | 0.18786
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2001 | 04040GCM35 | 2012-05-08 | 2010-10-01 | 2012-09-30 | ug/L | 0.59229 | Supelco | LB77170 | Supelco LB77170: 20 µl | 0.2178 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.006 | 0.129 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59229 | Supelco LB77170 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 8 | 0.57032 | 0.14875 | 0.53949 | 0.25342 | 0.18786