## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
DESULFINYLFIPRONIL | 2001 | 62170GCM31 | 2009-12-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.83223 | Accu | 209081259 | Accu 209081259: 25 µl | 0.085793 | DESULFINYLFIPRONIL | . | 0.012 | 0.0714 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83223 | Accu 209081259 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.78592 | 0.075558 | 0.83223 | 0.11015 | 0.081657
DESULFINYLFIPRONIL | 2001 | 62170GCM31 | 2010-06-24 | 2009-10-01 | 2010-09-30 | ug/L | 0.83712 | Accu | 209081259 | Accu 209081259: 25 µl | 0.086965 | DESULFINYLFIPRONIL | . | 0.012 | 0.0728 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83712 | Accu 209081259 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.78592 | 0.075558 | 0.83223 | 0.11015 | 0.081657
DESULFINYLFIPRONIL | 2001 | 62170GCM31 | 2010-07-06 | 2009-10-01 | 2010-09-30 | ug/L | 0.84986 | Accu | 209081259 | Accu 209081259: 80 µl | 0.28475 | DESULFINYLFIPRONIL | . | 0.012 | 0.242 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84986 | Accu 209081259 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.78592 | 0.075558 | 0.83223 | 0.11015 | 0.081657
DESULFINYLFIPRONIL | 2001 | 62170GCM31 | 2010-10-27 | 2010-10-01 | 2011-09-30 | ug/L | 0.72696 | Accu | 209081259 | Accu 209081259: 25 µl | 0.085287 | DESULFINYLFIPRONIL | . | 0.012 | 0.062 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72696 | Accu 209081259 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.78592 | 0.075558 | 0.83223 | 0.11015 | 0.081657
DESULFINYLFIPRONIL | 2001 | 62170GCM31 | 2010-12-01 | 2010-10-01 | 2011-09-30 | ug/L | 0.68343 | Accu | 209081259 | Accu 209081259: 80 µl | 0.2824 | DESULFINYLFIPRONIL | . | 0.012 | 0.193 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68343 | Accu 209081259 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.78592 | 0.075558 | 0.83223 | 0.11015 | 0.081657
DESULFINYLFIPRONIL | 2001 | 62170GCM31 | 2008-04-24 | 2003-10-01 | 2009-09-30 | ug/L | 0.98072 | Accu | B7070210 | Accu B7070210: 25 µl | 0.085652 | DESULFINYLFIPRONIL | . | 0.012 | 0.084 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98072 | Accu B7070210 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.99311 | 0.040145 | 0.98789 | 0.082282 | 0.060995
DESULFINYLFIPRONIL | 2001 | 62170GCM31 | 2008-04-24 | 2003-10-01 | 2009-09-30 | ug/L | 1.0439 | Accu | B7070210 | Accu B7070210: 25 µl | 0.086216 | DESULFINYLFIPRONIL | . | 0.012 | 0.09 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0439 | Accu B7070210 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.99311 | 0.040145 | 0.98789 | 0.082282 | 0.060995
DESULFINYLFIPRONIL | 2001 | 62170GCM31 | 2008-05-06 | 2003-10-01 | 2009-09-30 | ug/L | 0.99506 | Accu | B7070210 | Accu B7070210: 25 µl | 0.082407 | DESULFINYLFIPRONIL | . | 0.012 | 0.082 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99506 | Accu B7070210 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.99311 | 0.040145 | 0.98789 | 0.082282 | 0.060995
DESULFINYLFIPRONIL | 2001 | 62170GCM31 | 2008-06-10 | 2003-10-01 | 2009-09-30 | ug/L | 0.94917 | Accu | B7070210 | Accu B7070210: 25 µl | 0.085337 | DESULFINYLFIPRONIL | . | 0.012 | 0.081 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94917 | Accu B7070210 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.99311 | 0.040145 | 0.98789 | 0.082282 | 0.060995
DESULFINYLFIPRONIL | 2001 | 62170GCM31 | 2008-08-01 | 2003-10-01 | 2009-09-30 | ug/L | 0.95375 | Accu | B7070210 | Accu B7070210: 25 µl | 0.082831 | DESULFINYLFIPRONIL | . | 0.012 | 0.079 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95375 | Accu B7070210 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.99311 | 0.040145 | 0.98789 | 0.082282 | 0.060995
DESULFINYLFIPRONIL | 2001 | 62170GCM31 | 2008-09-23 | 2003-10-01 | 2009-09-30 | ug/L | 1.036 | Accu | B7070210 | Accu B7070210: 25 µl | 0.082043 | DESULFINYLFIPRONIL | . | 0.012 | 0.085 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.036 | Accu B7070210 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.99311 | 0.040145 | 0.98789 | 0.082282 | 0.060995
DESULFINYLFIPRONIL | 2001 | 62170GCM31 | 2008-05-01 | 2003-10-01 | 2009-09-30 | ug/L | 1.0924 | NWQL | PSP3SP140C | NWQL PSP3SP140C: 50 µl | 0.051261 | DESULFINYLFIPRONIL | . | 0.012 | 0.056 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0924 | NWQL PSP3SP140C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.1088 | 0.16419 | 1.0924 | 0.32716 | 0.24252
DESULFINYLFIPRONIL | 2001 | 62170GCM31 | 2008-06-25 | 2003-10-01 | 2009-09-30 | ug/L | 0.95338 | NWQL | PSP3SP140C | NWQL PSP3SP140C: 50 µl | 0.050347 | DESULFINYLFIPRONIL | . | 0.012 | 0.048 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95338 | NWQL PSP3SP140C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.1088 | 0.16419 | 1.0924 | 0.32716 | 0.24252
DESULFINYLFIPRONIL | 2001 | 62170GCM31 | 2008-08-19 | 2003-10-01 | 2009-09-30 | ug/L | 1.2805 | NWQL | PSP3SP140C | NWQL PSP3SP140C: 50 µl | 0.049198 | DESULFINYLFIPRONIL | . | 0.012 | 0.063 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2805 | NWQL PSP3SP140C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.1088 | 0.16419 | 1.0924 | 0.32716 | 0.24252
DESULFINYLFIPRONIL | 2001 | 62170GCM31 | 2009-04-08 | 2003-10-01 | 2009-09-30 | ug/L | 1.4893 | NWQL | PSP3SP140D | NWQL PSP3SP140D: 50 µl | 0.051031 | DESULFINYLFIPRONIL | . | 0.012 | 0.076 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4893 | NWQL PSP3SP140D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.3177 | 0.19412 | 1.3227 | 0.33562 | 0.24879
DESULFINYLFIPRONIL | 2001 | 62170GCM31 | 2009-04-14 | 2003-10-01 | 2009-09-30 | ug/L | 1.4818 | NWQL | PSP3SP140D | NWQL PSP3SP140D: 50 µl | 0.04994 | DESULFINYLFIPRONIL | . | 0.012 | 0.074 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4818 | NWQL PSP3SP140D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.3177 | 0.19412 | 1.3227 | 0.33562 | 0.24879
DESULFINYLFIPRONIL | 2001 | 62170GCM31 | 2009-06-24 | 2003-10-01 | 2009-09-30 | ug/L | 1.1636 | NWQL | PSP3SP140D | NWQL PSP3SP140D: 50 µl | 0.049845 | DESULFINYLFIPRONIL | . | 0.012 | 0.058 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1636 | NWQL PSP3SP140D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.3177 | 0.19412 | 1.3227 | 0.33562 | 0.24879
DESULFINYLFIPRONIL | 2001 | 62170GCM31 | 2009-08-21 | 2003-10-01 | 2009-09-30 | ug/L | 1.1362 | NWQL | PSP3SP140D | NWQL PSP3SP140D: 50 µl | 0.050165 | DESULFINYLFIPRONIL | . | 0.012 | 0.057 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1362 | NWQL PSP3SP140D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.3177 | 0.19412 | 1.3227 | 0.33562 | 0.24879
DESULFINYLFIPRONIL | 2001 | 62170GCM31 | 2010-06-24 | 2009-10-01 | 2010-09-30 | ug/L | 1.4117 | NWQL | PSP3SP142A | NWQL PSP3SP142A: 40 µl | 0.039809 | DESULFINYLFIPRONIL | . | 0.012 | 0.0562 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4117 | NWQL PSP3SP142A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.1109 | 0.34643 | 1.1887 | 0.67961 | 0.50379
DESULFINYLFIPRONIL | 2001 | 62170GCM31 | 2010-07-14 | 2009-10-01 | 2010-09-30 | ug/L | 1.1887 | NWQL | PSP3SP142A | NWQL PSP3SP142A: 40 µl | 0.0408 | DESULFINYLFIPRONIL | . | 0.012 | 0.0485 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1887 | NWQL PSP3SP142A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.1109 | 0.34643 | 1.1887 | 0.67961 | 0.50379
DESULFINYLFIPRONIL | 2001 | 62170GCM31 | 2010-07-28 | 2009-10-01 | 2010-09-30 | ug/L | 0.73213 | NWQL | PSP3SP142A | NWQL PSP3SP142A: 40 µl | 0.04002 | DESULFINYLFIPRONIL | E | 0.012 | 0.0293 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73213 | NWQL PSP3SP142A | [9 empty] | Y | Estimated Values | Y | 2 |  | 3 | 1.1109 | 0.34643 | 1.1887 | 0.67961 | 0.50379
DESULFINYLFIPRONIL | 2001 | 62170GCM31 | 2009-01-14 | 2003-10-01 | 2009-09-30 | ug/L | 0.15051 | Protocol | D1080911003 | Protocol D1080911003: 40 µl | 0.11295 | DESULFINYLFIPRONIL | . | 0.012 | 0.017 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.15051 | Protocol D1080911003 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.16633 | 0.018556 | 0.17129 | 0.023095 | 0.01712
DESULFINYLFIPRONIL | 2001 | 62170GCM31 | 2009-03-23 | 2003-10-01 | 2009-09-30 | ug/L | 0.19096 | Protocol | D1080911003 | Protocol D1080911003: 25 µl | 0.073314 | DESULFINYLFIPRONIL | . | 0.012 | 0.014 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.19096 | Protocol D1080911003 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.16633 | 0.018556 | 0.17129 | 0.023095 | 0.01712
DESULFINYLFIPRONIL | 2001 | 62170GCM31 | 2009-06-04 | 2003-10-01 | 2009-09-30 | ug/L | 0.17129 | Protocol | D1080911003 | Protocol D1080911003: 40 µl | 0.11092 | DESULFINYLFIPRONIL | . | 0.012 | 0.019 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.17129 | Protocol D1080911003 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.16633 | 0.018556 | 0.17129 | 0.023095 | 0.01712
DESULFINYLFIPRONIL | 2001 | 62170GCM31 | 2009-07-22 | 2003-10-01 | 2009-09-30 | ug/L | 0.17361 | Protocol | D1080911003 | Protocol D1080911003: 25 µl | 0.069122 | DESULFINYLFIPRONIL | E | 0.012 | 0.012 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.17361 | Protocol D1080911003 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.16633 | 0.018556 | 0.17129 | 0.023095 | 0.01712
DESULFINYLFIPRONIL | 2001 | 62170GCM31 | 2009-10-27 | 2009-10-01 | 2010-09-30 | ug/L | 0.14529 | Protocol | D1080911003 | Protocol D1080911003: 25 µl | 0.06883 | DESULFINYLFIPRONIL | E | 0.012 | 0.01 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.14529 | Protocol D1080911003 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.16633 | 0.018556 | 0.17129 | 0.023095 | 0.01712