## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
DESULFINYLFIPRONIL AMIDE | 2001 | 62169GCM31 | 2008-05-01 | 2004-10-01 | 2009-09-30 | ug/L | 1.1705 | NWQL | PSP3SP140C | NWQL PSP3SP140C: 50 µl | 0.051261 | DESULFINYLFIPRONIL_AMIDE | E | 0.029 | 0.06 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1705 | NWQL PSP3SP140C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 1.2803 | 0.12112 | 1.2602 | 0.23972 | 0.1777
DESULFINYLFIPRONIL AMIDE | 2001 | 62169GCM31 | 2008-06-25 | 2004-10-01 | 2009-09-30 | ug/L | 1.4102 | NWQL | PSP3SP140C | NWQL PSP3SP140C: 50 µl | 0.050347 | DESULFINYLFIPRONIL_AMIDE | E | 0.029 | 0.071 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4102 | NWQL PSP3SP140C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 1.2803 | 0.12112 | 1.2602 | 0.23972 | 0.1777
DESULFINYLFIPRONIL AMIDE | 2001 | 62169GCM31 | 2008-08-19 | 2004-10-01 | 2009-09-30 | ug/L | 1.2602 | NWQL | PSP3SP140C | NWQL PSP3SP140C: 50 µl | 0.049198 | DESULFINYLFIPRONIL_AMIDE | E | 0.029 | 0.062 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2602 | NWQL PSP3SP140C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 1.2803 | 0.12112 | 1.2602 | 0.23972 | 0.1777
DESULFINYLFIPRONIL AMIDE | 2001 | 62169GCM31 | 2009-04-08 | 2004-10-01 | 2009-09-30 | ug/L | 1.3913 | NWQL | PSP3SP140D | NWQL PSP3SP140D: 50 µl | 0.051031 | DESULFINYLFIPRONIL_AMIDE | E | 0.029 | 0.071 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3913 | NWQL PSP3SP140D | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 1.3429 | 0.12732 | 1.3364 | 0.20056 | 0.14867
DESULFINYLFIPRONIL AMIDE | 2001 | 62169GCM31 | 2009-04-14 | 2004-10-01 | 2009-09-30 | ug/L | 1.2815 | NWQL | PSP3SP140D | NWQL PSP3SP140D: 50 µl | 0.04994 | DESULFINYLFIPRONIL_AMIDE | E | 0.029 | 0.064 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2815 | NWQL PSP3SP140D | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 1.3429 | 0.12732 | 1.3364 | 0.20056 | 0.14867
DESULFINYLFIPRONIL AMIDE | 2001 | 62169GCM31 | 2009-06-24 | 2004-10-01 | 2009-09-30 | ug/L | 1.2037 | NWQL | PSP3SP140D | NWQL PSP3SP140D: 50 µl | 0.049845 | DESULFINYLFIPRONIL_AMIDE | E | 0.029 | 0.06 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2037 | NWQL PSP3SP140D | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 1.3429 | 0.12732 | 1.3364 | 0.20056 | 0.14867
DESULFINYLFIPRONIL AMIDE | 2001 | 62169GCM31 | 2009-08-21 | 2004-10-01 | 2009-09-30 | ug/L | 1.495 | NWQL | PSP3SP140D | NWQL PSP3SP140D: 50 µl | 0.050165 | DESULFINYLFIPRONIL_AMIDE | E | 0.029 | 0.075 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4951 | NWQL PSP3SP140D | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 1.3429 | 0.12732 | 1.3364 | 0.20056 | 0.14867
DESULFINYLFIPRONIL AMIDE | 2001 | 62169GCM31 | 2010-06-24 | 2009-10-01 | 2010-09-30 | ug/L | 1.2836 | NWQL | PSP3SP142A | NWQL PSP3SP142A: 40 µl | 0.039809 | DESULFINYLFIPRONIL_AMIDE | E | 0.029 | 0.0511 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2836 | NWQL PSP3SP142A | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.95711 | 0.29273 | 0.86957 | 0.56549 | 0.41919
DESULFINYLFIPRONIL AMIDE | 2001 | 62169GCM31 | 2010-07-14 | 2009-10-01 | 2010-09-30 | ug/L | 0.71814 | NWQL | PSP3SP142A | NWQL PSP3SP142A: 40 µl | 0.0408 | DESULFINYLFIPRONIL_AMIDE | E | 0.029 | 0.0293 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71814 | NWQL PSP3SP142A | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.95711 | 0.29273 | 0.86957 | 0.56549 | 0.41919
DESULFINYLFIPRONIL AMIDE | 2001 | 62169GCM31 | 2010-07-28 | 2009-10-01 | 2010-09-30 | ug/L | 0.86957 | NWQL | PSP3SP142A | NWQL PSP3SP142A: 40 µl | 0.04002 | DESULFINYLFIPRONIL_AMIDE | E | 0.029 | 0.0348 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86957 | NWQL PSP3SP142A | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.95711 | 0.29273 | 0.86957 | 0.56549 | 0.41919