## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
DIAZINON | 2001 | 39572GCM35 | 2010-01-05 | 2009-10-01 | 2010-09-30 | ug/L | 1.1526 | Abs | 090409Pest | Abs 090409Pest: 25 µl | 0.024815 | DIAZINON | . | 0.005 | 0.0286 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1526 | Abs 090409Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.1106 | 0.17183 | 1.1011 | 0.23647 | 0.17529
DIAZINON | 2001 | 39572GCM35 | 2010-06-18 | 2009-10-01 | 2010-09-30 | ug/L | 0.97238 | Abs | 090409Pest | Abs 090409Pest: 80 µl | 0.077336 | DIAZINON | . | 0.005 | 0.0752 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97238 | Abs 090409Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.1106 | 0.17183 | 1.1011 | 0.23647 | 0.17529
DIAZINON | 2001 | 39572GCM35 | 2010-07-20 | 2009-10-01 | 2010-09-30 | ug/L | 1.3764 | Abs | 090409Pest | Abs 090409Pest: 25 µl | 0.024847 | DIAZINON | . | 0.005 | 0.0342 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3764 | Abs 090409Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.1106 | 0.17183 | 1.1011 | 0.23647 | 0.17529
DIAZINON | 2001 | 39572GCM35 | 2010-07-21 | 2009-10-01 | 2010-09-30 | ug/L | 1.0496 | Abs | 090409Pest | Abs 090409Pest: 25 µl | 0.025152 | DIAZINON | . | 0.005 | 0.0264 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0496 | Abs 090409Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.1106 | 0.17183 | 1.1011 | 0.23647 | 0.17529
DIAZINON | 2001 | 39572GCM35 | 2010-08-13 | 2009-10-01 | 2010-09-30 | ug/L | 0.90389 | Abs | 090409Pest | Abs 090409Pest: 80 µl | 0.078439 | DIAZINON | . | 0.005 | 0.0709 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90389 | Abs 090409Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.1106 | 0.17183 | 1.1011 | 0.23647 | 0.17529
DIAZINON | 2001 | 39572GCM35 | 2010-09-22 | 2009-10-01 | 2010-09-30 | ug/L | 1.2088 | Abs | 090409Pest | Abs 090409Pest: 25 µl | 0.024817 | DIAZINON | . | 0.005 | 0.03 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2088 | Abs 090409Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.1106 | 0.17183 | 1.1011 | 0.23647 | 0.17529
DIAZINON | 2001 | 39572GCM35 | 2012-07-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.85069 | Accu, Abs | 212051201, 052212 | Accu 212051201: 20 µl & Abs 052212: 20 µl | 0.04032 | DIAZINON | . | 0.006 | 0.0343 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85069 | Ac2121201, Ab052212 | Ac | Ab | Ab | 2121201 | 052212 | 052212 | 2121201 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.854 | 0.012727 | 0.85069 | 0.024802 | 0.018385
DIAZINON | 2001 | 39572GCM35 | 2012-11-27 | 2010-10-01 | 2050-09-30 | ug/L | 0.86806 | Accu, Abs | 212051201, 052212 | Accu 212051201: 40 µl & Abs 052212: 40 µl | 0.08064 | DIAZINON | . | 0.006 | 0.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86806 | Ac2121201, Ab052212 | Ac | Ab | Ab | 2121201 | 052212 | 052212 | 2121201 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.854 | 0.012727 | 0.85069 | 0.024802 | 0.018385
DIAZINON | 2001 | 39572GCM35 | 2013-01-29 | 2010-10-01 | 2050-09-30 | ug/L | 0.84325 | Accu, Abs | 212051201, 052212 | Accu 212051201: 80 µl & Abs 052212: 80 µl | 0.16128 | DIAZINON | . | 0.006 | 0.136 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84325 | Ac2121201, Ab052212 | Ac | Ab | Ab | 2121201 | 052212 | 052212 | 2121201 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.854 | 0.012727 | 0.85069 | 0.024802 | 0.018385
DIAZINON | 2001 | 39572GCM35 | 2013-03-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.93254 | Accu, NSI | 212051201, 062112-01Pest | Accu 212051201: 20 µl & NSI 062112-01Pest: 20 µl | 0.04032 | DIAZINON | . | 0.006 | 0.0376 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93254 | Ac2121201, NS062Pest | Ac | NS | NS | 2121201 | 062Pest | 062Pest | 2121201 | 062Pest | 062Pest | Y | Recoverable Result | Y | 2 |  | 2 | 0.84821 | 0.11925 | 0.84821 | 0.16865 | 0.12502
DIAZINON | 2001 | 39572GCM35 | 2013-05-14 | 2010-10-01 | 2050-09-30 | ug/L | 0.76389 | Accu, NSI | 212051201, 062112-01Pest | Accu 212051201: 40 µl & NSI 062112-01Pest: 40 µl | 0.08064 | DIAZINON | . | 0.006 | 0.0616 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76389 | Ac2121201, NS062Pest | Ac | NS | NS | 2121201 | 062Pest | 062Pest | 2121201 | 062Pest | 062Pest | Y | Recoverable Result | Y | 2 |  | 2 | 0.84821 | 0.11925 | 0.84821 | 0.16865 | 0.12502
DIAZINON | 2001 | 39572GCM35 | 2012-09-01 | 2010-10-01 | 2050-09-30 | ug/L | 0.95238 | Accu, Spex Organics | 212051201, T1120530009 | Accu 212051201: 20 µl & Spex Organics T1120530009: 20 µl | 0.04032 | DIAZINON | . | 0.006 | 0.0384 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95238 | Ac2121201, SpT110009 | Ac | Sp | Sp | 2121201 | T110009 | T110009 | 2121201 | T110009 | T110009 | Y | Recoverable Result | Y | 2 |  | 1 | 0.95238 |  | 0.95238 | 0 | 0
DIAZINON | 2001 | 39572GCM35 | 2013-10-21 | 2010-10-01 | 2050-09-30 | ug/L | 0.82669 | Accu, Abs | 213041078, 041613 | Accu 213041078: 20 µl & Abs 041613: 20 µl | 0.02008 | DIAZINON | . | 0.006 | 0.0166 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82669 | Ac2131078, Ab041613 | Ac | Ab | Ab | 2131078 | 041613 | 041613 | 2131078 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.82669 |  | 0.82669 | 0 | 0
DIAZINON | 2001 | 39572GCM35 | 2013-05-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.98805 | Accu, NSI | 213041078, 042313Pest | Accu 213041078: 50 µl & NSI 042313Pest: 50 µl | 0.0502 | DIAZINON | . | 0.006 | 0.0496 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98805 | Ac2131078, NS042Pest | Ac | NS | NS | 2131078 | 042Pest | 042Pest | 2131078 | 042Pest | 042Pest | Y | Recoverable Result | Y | 2 |  | 1 | 0.98805 |  | 0.98805 | 0 | 0
DIAZINON | 2001 | 39572GCM35 | 2012-07-16 | 2010-10-01 | 2050-09-30 | ug/L | 0.89286 | Accu | 212051201 | Accu 212051201: 40 µl | 0.08064 | DIAZINON | . | 0.006 | 0.072 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89286 | Accu 212051201 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.89286 |  | 0.89286 | 0 | 0
DIAZINON | 2001 | 39572GCM35 | 2013-07-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.828 | ChemService, ERA | 1466000, 0318-13-02.1 | ChemService 1466000: 50 µl & ERA 0318-13-02.1: 50 µl | 0.05 | DIAZINON | . | 0.006 | 0.0414 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.828 | Ch1466000, ER03102.1 | Ch | ER | ER | 1466000 | 03102.1 | 03102.1 |  | 03102.1 | 03102.1 | Y | Recoverable Result | Y | 2 |  | 1 | 0.828 |  | 0.828 | 0 | 0
DIAZINON | 2001 | 39572GCM35 | 2008-10-31 | 2003-10-01 | 2009-09-30 | ug/L | 0.94936 | Crescent | 08HH018 | Crescent 08HH018: 25 µl | 0.1738 | DIAZINON | . | 0.005 | 0.165 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94936 | Crescent 08HH018 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.1113 | 0.24512 | 1.013 | 0.030982 | 0.022967
DIAZINON | 2001 | 39572GCM35 | 2009-01-20 | 2003-10-01 | 2009-09-30 | ug/L | 1.013 | Crescent | 08HH018 | Crescent 08HH018: 40 µl | 0.28135 | DIAZINON | . | 0.005 | 0.285 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.013 | Crescent 08HH018 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.1113 | 0.24512 | 1.013 | 0.030982 | 0.022967
DIAZINON | 2001 | 39572GCM35 | 2009-03-20 | 2003-10-01 | 2009-09-30 | ug/L | 1.5458 | Crescent | 08HH018 | Crescent 08HH018: 25 µl | 0.17661 | DIAZINON | . | 0.005 | 0.273 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.5458 | Crescent 08HH018 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.1113 | 0.24512 | 1.013 | 0.030982 | 0.022967
DIAZINON | 2001 | 39572GCM35 | 2009-06-10 | 2003-10-01 | 2009-09-30 | ug/L | 1.0087 | Crescent | 08HH018 | Crescent 08HH018: 25 µl | 0.17547 | DIAZINON | . | 0.005 | 0.177 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0087 | Crescent 08HH018 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.1113 | 0.24512 | 1.013 | 0.030982 | 0.022967
DIAZINON | 2001 | 39572GCM35 | 2009-08-28 | 2003-10-01 | 2009-09-30 | ug/L | 1.0397 | Crescent | 08HH018 | Crescent 08HH018: 40 µl | 0.27701 | DIAZINON | . | 0.005 | 0.288 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0397 | Crescent 08HH018 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.1113 | 0.24512 | 1.013 | 0.030982 | 0.022967
DIAZINON | 2001 | 39572GCM35 | 2013-11-26 | 2010-10-01 | 2050-09-30 | ug/L | 0.935 | ERA, Abs | 0318-13-02.1, 041613 | ERA 0318-13-02.1: 20 µl & Abs 041613: 20 µl | 0.02 | DIAZINON | . | 0.006 | 0.0187 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.935 | ER03102.1, Ab041613 | ER | Ab | Ab | 03102.1 | 041613 | 041613 | 03102.1 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.935 |  | 0.935 | 0 | 0
DIAZINON | 2001 | 39572GCM35 | 2013-08-01 | 2010-10-01 | 2050-09-30 | ug/L | 0.867 | ERA, NSI | 0318-13-02.1, 042313Pest | ERA 0318-13-02.1: 100 µl & NSI 042313Pest: 100 µl | 0.1 | DIAZINON | . | 0.006 | 0.0867 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.867 | ER03102.1, NS042Pest | ER | NS | NS | 03102.1 | 042Pest | 042Pest | 03102.1 | 042Pest | 042Pest | Y | Recoverable Result | Y | 2 |  | 1 | 0.867 |  | 0.867 | 0 | 0
DIAZINON | 2001 | 39572GCM35 | 2012-12-06 | 2010-10-01 | 2050-09-30 | ug/L | 0.97277 | ERA, ChemService | 0507-12-05.1, 348200 | ERA 0507-12-05.1: 20 µl & ChemService 348200: 20 µl | 0.0404 | DIAZINON | . | 0.006 | 0.0393 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97277 | ER05005.1, Ch348200 | ER | Ch | Ch | 05005.1 | 348200 | 348200 | 05005.1 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.89109 | 0.11552 | 0.89109 | 0.16337 | 0.1211
DIAZINON | 2001 | 39572GCM35 | 2013-05-07 | 2010-10-01 | 2050-09-30 | ug/L | 0.80941 | ERA, ChemService | 0507-12-05.1, 348200 | ERA 0507-12-05.1: 20 µl & ChemService 348200: 20 µl | 0.0404 | DIAZINON | . | 0.006 | 0.0327 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80941 | ER05005.1, Ch348200 | ER | Ch | Ch | 05005.1 | 348200 | 348200 | 05005.1 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.89109 | 0.11552 | 0.89109 | 0.16337 | 0.1211
DIAZINON | 2001 | 39572GCM35 | 2012-09-22 | 2010-10-01 | 2050-09-30 | ug/L | 1.0074 | ERA, NSI | 0507-12-05.1, 062112-01Pest | ERA 0507-12-05.1: 20 µl & NSI 062112-01Pest: 20 µl | 0.0404 | DIAZINON | . | 0.006 | 0.0407 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0074 | ER05005.1, NS062Pest | ER | NS | NS | 05005.1 | 062Pest | 062Pest | 05005.1 | 062Pest | 062Pest | Y | Recoverable Result | Y | 2 |  | 1 | 1.0074 |  | 1.0074 | 0 | 0
DIAZINON | 2001 | 39572GCM35 | 2012-11-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.8651 | ERA, Spex Organics | 0507-12-05.1, T1120530009 | ERA 0507-12-05.1: 40 µl & Spex Organics T1120530009: 40 µl | 0.0808 | DIAZINON | . | 0.006 | 0.0699 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8651 | ER05005.1, SpT110009 | ER | Sp | Sp | 05005.1 | T110009 | T110009 | 05005.1 | T110009 | T110009 | Y | Recoverable Result | Y | 2 |  | 2 | 0.84097 | 0.03413 | 0.84097 | 0.048267 | 0.03578
DIAZINON | 2001 | 39572GCM35 | 2013-03-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.81683 | ERA, Spex Organics | 0507-12-05.1, T1120530009 | ERA 0507-12-05.1: 80 µl & Spex Organics T1120530009: 80 µl | 0.1616 | DIAZINON | . | 0.006 | 0.132 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81683 | ER05005.1, SpT110009 | ER | Sp | Sp | 05005.1 | T110009 | T110009 | 05005.1 | T110009 | T110009 | Y | Recoverable Result | Y | 2 |  | 2 | 0.84097 | 0.03413 | 0.84097 | 0.048267 | 0.03578
DIAZINON | 2001 | 39572GCM35 | 2011-02-10 | 2010-10-01 | 2050-09-30 | ug/L | 1.0844 | NSI | 070810-01 | NSI 070810-01: 20 µl | 0.0096824 | DIAZINON | . | 0.006 | 0.0105 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0844 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.95282 | 0.09708 | 0.93 | 0.091896 | 0.068121
DIAZINON | 2001 | 39572GCM35 | 2011-03-15 | 2010-10-01 | 2050-09-30 | ug/L | 0.78058 | NSI | 070810-01 | NSI 070810-01: 50 µl | 0.024469 | DIAZINON | . | 0.006 | 0.0191 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78058 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.95282 | 0.09708 | 0.93 | 0.091896 | 0.068121
DIAZINON | 2001 | 39572GCM35 | 2011-05-17 | 2010-10-01 | 2050-09-30 | ug/L | 1.0069 | NSI | 070810-01 | NSI 070810-01: 80 µl | 0.040024 | DIAZINON | . | 0.006 | 0.0403 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0069 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.95282 | 0.09708 | 0.93 | 0.091896 | 0.068121
DIAZINON | 2001 | 39572GCM35 | 2011-06-10 | 2010-10-01 | 2050-09-30 | ug/L | 1.1213 | NSI | 070810-01 | NSI 070810-01: 20 µl | 0.009899 | DIAZINON | . | 0.006 | 0.0111 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1213 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.95282 | 0.09708 | 0.93 | 0.091896 | 0.068121
DIAZINON | 2001 | 39572GCM35 | 2011-08-02 | 2010-10-01 | 2050-09-30 | ug/L | 0.915 | NSI | 070810-01 | NSI 070810-01: 80 µl | 0.04 | DIAZINON | . | 0.006 | 0.0366 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.915 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.95282 | 0.09708 | 0.93 | 0.091896 | 0.068121
DIAZINON | 2001 | 39572GCM35 | 2011-09-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.928 | NSI | 070810-01 | NSI 070810-01: 50 µl | 0.025 | DIAZINON | . | 0.006 | 0.0232 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.928 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.95282 | 0.09708 | 0.93 | 0.091896 | 0.068121
DIAZINON | 2001 | 39572GCM35 | 2011-11-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.9 | NSI | 070810-01 | NSI 070810-01: 20 µl | 0.01 | DIAZINON | . | 0.006 | 0.009 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.95282 | 0.09708 | 0.93 | 0.091896 | 0.068121
DIAZINON | 2001 | 39572GCM35 | 2012-01-21 | 2010-10-01 | 2050-09-30 | ug/L | 0.92 | NSI | 070810-01 | NSI 070810-01: 80 µl | 0.04 | DIAZINON | . | 0.006 | 0.0368 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.95282 | 0.09708 | 0.93 | 0.091896 | 0.068121
DIAZINON | 2001 | 39572GCM35 | 2012-05-05 | 2010-10-01 | 2050-09-30 | ug/L | 0.932 | NSI | 070810-01 | NSI 070810-01: 50 µl | 0.025 | DIAZINON | . | 0.006 | 0.0233 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.932 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.95282 | 0.09708 | 0.93 | 0.091896 | 0.068121
DIAZINON | 2001 | 39572GCM35 | 2012-06-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.94 | NSI | 070810-01 | NSI 070810-01: 50 µl | 0.025 | DIAZINON | . | 0.006 | 0.0235 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.95282 | 0.09708 | 0.93 | 0.091896 | 0.068121
DIAZINON | 2001 | 39572GCM35 | 2008-11-21 | 2003-10-01 | 2009-09-30 | ug/L | 1.0828 | NSI | 081108-01Pest | NSI 081108-01Pest: 40 µl | 0.2789 | DIAZINON | . | 0.005 | 0.302 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0828 | NSI 081108-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.0537 | 0.10551 | 1.0828 | 0.086345 | 0.064007
DIAZINON | 2001 | 39572GCM35 | 2009-03-23 | 2003-10-01 | 2009-09-30 | ug/L | 1.1526 | NSI | 081108-01Pest | NSI 081108-01Pest: 25 µl | 0.1926 | DIAZINON | . | 0.005 | 0.222 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1526 | NSI 081108-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.0537 | 0.10551 | 1.0828 | 0.086345 | 0.064007
DIAZINON | 2001 | 39572GCM35 | 2009-05-01 | 2003-10-01 | 2009-09-30 | ug/L | 1.0321 | NSI | 081108-01Pest | NSI 081108-01Pest: 40 µl | 0.27711 | DIAZINON | . | 0.005 | 0.286 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0321 | NSI 081108-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.0537 | 0.10551 | 1.0828 | 0.086345 | 0.064007
DIAZINON | 2001 | 39572GCM35 | 2009-07-30 | 2003-10-01 | 2009-09-30 | ug/L | 1.1184 | NSI | 081108-01Pest | NSI 081108-01Pest: 25 µl | 0.17257 | DIAZINON | . | 0.005 | 0.193 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1184 | NSI 081108-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.0537 | 0.10551 | 1.0828 | 0.086345 | 0.064007
DIAZINON | 2001 | 39572GCM35 | 2009-09-25 | 2003-10-01 | 2009-09-30 | ug/L | 0.88269 | NSI | 081108-01Pest | NSI 081108-01Pest: 25 µl | 0.17333 | DIAZINON | . | 0.005 | 0.153 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88269 | NSI 081108-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.0537 | 0.10551 | 1.0828 | 0.086345 | 0.064007
DIAZINON | 2001 | 39572GCM35 | 2008-05-01 | 2003-10-01 | 2009-09-30 | ug/L | 1.19 | NWQL | PSP3SP140C | NWQL PSP3SP140C: 50 µl | 0.051261 | DIAZINON | . | 0.005 | 0.061 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.19 | NWQL PSP3SP140C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.1408 | 0.11173 | 1.19 | 0.2066 | 0.15315
DIAZINON | 2001 | 39572GCM35 | 2008-06-25 | 2003-10-01 | 2009-09-30 | ug/L | 1.013 | NWQL | PSP3SP140C | NWQL PSP3SP140C: 50 µl | 0.050347 | DIAZINON | . | 0.005 | 0.051 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.013 | NWQL PSP3SP140C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.1408 | 0.11173 | 1.19 | 0.2066 | 0.15315
DIAZINON | 2001 | 39572GCM35 | 2008-08-19 | 2003-10-01 | 2009-09-30 | ug/L | 1.2196 | NWQL | PSP3SP140C | NWQL PSP3SP140C: 50 µl | 0.049198 | DIAZINON | . | 0.005 | 0.06 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2196 | NWQL PSP3SP140C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.1408 | 0.11173 | 1.19 | 0.2066 | 0.15315
DIAZINON | 2001 | 39572GCM35 | 2009-04-08 | 2003-10-01 | 2009-09-30 | ug/L | 1.2541 | NWQL | PSP3SP140D | NWQL PSP3SP140D: 50 µl | 0.051031 | DIAZINON | . | 0.005 | 0.064 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2541 | NWQL PSP3SP140D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.2389 | 0.10591 | 1.2151 | 0.15808 | 0.11718
DIAZINON | 2001 | 39572GCM35 | 2009-04-14 | 2003-10-01 | 2009-09-30 | ug/L | 1.3817 | NWQL | PSP3SP140D | NWQL PSP3SP140D: 50 µl | 0.04994 | DIAZINON | . | 0.005 | 0.069 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3817 | NWQL PSP3SP140D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.2389 | 0.10591 | 1.2151 | 0.15808 | 0.11718
DIAZINON | 2001 | 39572GCM35 | 2009-06-24 | 2003-10-01 | 2009-09-30 | ug/L | 1.1435 | NWQL | PSP3SP140D | NWQL PSP3SP140D: 50 µl | 0.049845 | DIAZINON | . | 0.005 | 0.057 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1435 | NWQL PSP3SP140D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.2389 | 0.10591 | 1.2151 | 0.15808 | 0.11718
DIAZINON | 2001 | 39572GCM35 | 2009-08-21 | 2003-10-01 | 2009-09-30 | ug/L | 1.1761 | NWQL | PSP3SP140D | NWQL PSP3SP140D: 50 µl | 0.050165 | DIAZINON | . | 0.005 | 0.059 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1761 | NWQL PSP3SP140D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.2389 | 0.10591 | 1.2151 | 0.15808 | 0.11718
DIAZINON | 2001 | 39572GCM35 | 2010-06-24 | 2009-10-01 | 2010-09-30 | ug/L | 1.4972 | NWQL | PSP3SP142A | NWQL PSP3SP142A: 40 µl | 0.039809 | DIAZINON | . | 0.005 | 0.0596 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4972 | NWQL PSP3SP142A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.2575 | 0.28866 | 1.3382 | 0.56012 | 0.41521
DIAZINON | 2001 | 39572GCM35 | 2010-07-14 | 2009-10-01 | 2010-09-30 | ug/L | 1.3382 | NWQL | PSP3SP142A | NWQL PSP3SP142A: 40 µl | 0.0408 | DIAZINON | . | 0.005 | 0.0546 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3382 | NWQL PSP3SP142A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.2575 | 0.28866 | 1.3382 | 0.56012 | 0.41521
DIAZINON | 2001 | 39572GCM35 | 2010-07-28 | 2009-10-01 | 2010-09-30 | ug/L | 0.93703 | NWQL | PSP3SP142A | NWQL PSP3SP142A: 40 µl | 0.04002 | DIAZINON | . | 0.005 | 0.0375 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93703 | NWQL PSP3SP142A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.2575 | 0.28866 | 1.3382 | 0.56012 | 0.41521
DIAZINON | 2001 | 39572GCM35 | 2013-08-28 | 2010-10-01 | 2050-09-30 | ug/L | 0.8994 | Spex Organics, Accu | T1130517007, 213041078 | Spex Organics T1130517007: 100 µl & Accu 213041078: 100 µl | 0.1004 | DIAZINON | . | 0.006 | 0.0903 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8994 | SpT117007, Ac2131078 | Sp | Ac | Ac | T117007 | 2131078 | 2131078 | T117007 | 2131078 | 2131078 | Y | Recoverable Result | Y | 2 |  | 1 | 0.8994 |  | 0.8994 | 0 | 0
DIAZINON | 2001 | 39572GCM35 | 2013-12-18 | 2010-10-01 | 2050-09-30 | ug/L | 1.005 | Spex Organics, ERA | T1130517007, 0318-13-02.1 | Spex Organics T1130517007: 20 µl & ERA 0318-13-02.1: 20 µl | 0.02 | DIAZINON | . | 0.006 | 0.0201 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.005 | SpT117007, ER03102.1 | Sp | ER | ER | T117007 | 03102.1 | 03102.1 | T117007 | 03102.1 | 03102.1 | Y | Recoverable Result | Y | 2 |  | 1 | 1.005 |  | 1.005 | 0 | 0
DIAZINON | 2001 | 39572GCM35 | 2011-02-25 | 2010-10-01 | 2050-09-30 | ug/L | 0.93128 | Supelco | LB77170 | Supelco LB77170: 80 µl | 0.040375 | DIAZINON | . | 0.006 | 0.0376 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93128 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.96816 | 0.12652 | 1.008 | 0.11663 | 0.086455
DIAZINON | 2001 | 39572GCM35 | 2011-03-23 | 2010-10-01 | 2050-09-30 | ug/L | 0.96187 | Supelco | LB77170 | Supelco LB77170: 20 µl | 0.010084 | DIAZINON | . | 0.006 | 0.0097 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96187 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.96816 | 0.12652 | 1.008 | 0.11663 | 0.086455
DIAZINON | 2001 | 39572GCM35 | 2011-06-23 | 2010-10-01 | 2050-09-30 | ug/L | 0.71935 | Supelco | LB77170 | Supelco LB77170: 50 µl | 0.0253 | DIAZINON | . | 0.006 | 0.0182 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71935 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.96816 | 0.12652 | 1.008 | 0.11663 | 0.086455
DIAZINON | 2001 | 39572GCM35 | 2011-07-12 | 2010-10-01 | 2050-09-30 | ug/L | 1.059 | Supelco | LB77170 | Supelco LB77170: 80 µl | 0.040322 | DIAZINON | . | 0.006 | 0.0427 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.059 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.96816 | 0.12652 | 1.008 | 0.11663 | 0.086455
DIAZINON | 2001 | 39572GCM35 | 2011-08-18 | 2010-10-01 | 2050-09-30 | ug/L | 1.1218 | Supelco | LB77170 | Supelco LB77170: 50 µl | 0.02505 | DIAZINON | . | 0.006 | 0.0281 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1218 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.96816 | 0.12652 | 1.008 | 0.11663 | 0.086455
DIAZINON | 2001 | 39572GCM35 | 2011-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 1.008 | Supelco | LB77170 | Supelco LB77170: 20 µl | 0.01002 | DIAZINON | . | 0.006 | 0.0101 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.008 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.96816 | 0.12652 | 1.008 | 0.11663 | 0.086455
DIAZINON | 2001 | 39572GCM35 | 2011-12-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.82635 | Supelco | LB77170 | Supelco LB77170: 50 µl | 0.02505 | DIAZINON | E | 0.006 | 0.0207 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82635 | Supelco LB77170 | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 0.96816 | 0.12652 | 1.008 | 0.11663 | 0.086455
DIAZINON | 2001 | 39572GCM35 | 2012-02-23 | 2010-10-01 | 2050-09-30 | ug/L | 1.0379 | Supelco | LB77170 | Supelco LB77170: 20 µl | 0.01002 | DIAZINON | . | 0.006 | 0.0104 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0379 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.96816 | 0.12652 | 1.008 | 0.11663 | 0.086455
DIAZINON | 2001 | 39572GCM35 | 2012-05-08 | 2010-10-01 | 2050-09-30 | ug/L | 1.0479 | Supelco | LB77170 | Supelco LB77170: 20 µl | 0.01002 | DIAZINON | . | 0.006 | 0.0105 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0479 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.96816 | 0.12652 | 1.008 | 0.11663 | 0.086455
DIAZINON | 2001 | 39572GCM35 | 2008-04-24 | 2003-10-01 | 2009-09-30 | ug/L | 1.0316 | Ultra | CD-2090 | Ultra CD-2090: 25 µl | 0.2307 | DIAZINON | . | 0.005 | 0.238 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0316 | Ultra CD-2090 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.93899 | 0.073639 | 0.93975 | 0.083714 | 0.062056
DIAZINON | 2001 | 39572GCM35 | 2008-04-29 | 2003-10-01 | 2009-09-30 | ug/L | 0.99301 | Ultra | CD-2090 | Ultra CD-2090: 25 µl | 0.22356 | DIAZINON | . | 0.005 | 0.222 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99301 | Ultra CD-2090 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.93899 | 0.073639 | 0.93975 | 0.083714 | 0.062056
DIAZINON | 2001 | 39572GCM35 | 2008-05-06 | 2003-10-01 | 2009-09-30 | ug/L | 0.95825 | Ultra | CD-2090 | Ultra CD-2090: 25 µl | 0.22124 | DIAZINON | . | 0.005 | 0.212 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95825 | Ultra CD-2090 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.93899 | 0.073639 | 0.93975 | 0.083714 | 0.062056
DIAZINON | 2001 | 39572GCM35 | 2008-07-10 | 2003-10-01 | 2009-09-30 | ug/L | 0.82048 | Ultra | CD-2090 | Ultra CD-2090: 25 µl | 0.2206 | DIAZINON | . | 0.005 | 0.181 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82048 | Ultra CD-2090 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.93899 | 0.073639 | 0.93975 | 0.083714 | 0.062056
DIAZINON | 2001 | 39572GCM35 | 2008-08-04 | 2003-10-01 | 2009-09-30 | ug/L | 0.90929 | Ultra | CD-2090 | Ultra CD-2090: 25 µl | 0.21995 | DIAZINON | . | 0.005 | 0.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90929 | Ultra CD-2090 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.93899 | 0.073639 | 0.93975 | 0.083714 | 0.062056
DIAZINON | 2001 | 39572GCM35 | 2008-09-24 | 2003-10-01 | 2009-09-30 | ug/L | 0.92126 | Ultra | CD-2090 | Ultra CD-2090: 25 µl | 0.22578 | DIAZINON | . | 0.005 | 0.208 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92126 | Ultra CD-2090 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.93899 | 0.073639 | 0.93975 | 0.083714 | 0.062056