## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
EPTC | 2001 | 82668GCM35 | 2010-01-05 | 2009-10-01 | 2010-09-30 | ug/L | 1.3091 | Abs | 090409Pest | Abs 090409Pest: 25 µl | 0.0080209 | EPTC | . | 0.002 | 0.0105 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3091 | Abs 090409Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.2456 | 0.10684 | 1.2272 | 0.14162 | 0.10498
EPTC | 2001 | 82668GCM35 | 2010-06-18 | 2009-10-01 | 2010-09-30 | ug/L | 1.1281 | Abs | 090409Pest | Abs 090409Pest: 80 µl | 0.024998 | EPTC | . | 0.002 | 0.0282 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1281 | Abs 090409Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.2456 | 0.10684 | 1.2272 | 0.14162 | 0.10498
EPTC | 2001 | 82668GCM35 | 2010-07-20 | 2009-10-01 | 2010-09-30 | ug/L | 1.1829 | Abs | 090409Pest | Abs 090409Pest: 25 µl | 0.0080313 | EPTC | . | 0.002 | 0.0095 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1829 | Abs 090409Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.2456 | 0.10684 | 1.2272 | 0.14162 | 0.10498
EPTC | 2001 | 82668GCM35 | 2010-07-21 | 2009-10-01 | 2010-09-30 | ug/L | 1.4145 | Abs | 090409Pest | Abs 090409Pest: 25 µl | 0.0081301 | EPTC | . | 0.002 | 0.0115 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4145 | Abs 090409Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.2456 | 0.10684 | 1.2272 | 0.14162 | 0.10498
EPTC | 2001 | 82668GCM35 | 2010-08-13 | 2009-10-01 | 2010-09-30 | ug/L | 1.1675 | Abs | 090409Pest | Abs 090409Pest: 80 µl | 0.025354 | EPTC | . | 0.002 | 0.0296 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1675 | Abs 090409Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.2456 | 0.10684 | 1.2272 | 0.14162 | 0.10498
EPTC | 2001 | 82668GCM35 | 2010-09-22 | 2009-10-01 | 2010-09-30 | ug/L | 1.2716 | Abs | 090409Pest | Abs 090409Pest: 25 µl | 0.0080217 | EPTC | . | 0.002 | 0.0102 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2716 | Abs 090409Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.2456 | 0.10684 | 1.2272 | 0.14162 | 0.10498
EPTC | 2001 | 82668GCM35 | 2012-07-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.90999 | Accu, Abs | 212051201, 052212 | Accu 212051201: 20 µl & Abs 052212: 20 µl | 0.02022 | EPTC | . | 0.0056 | 0.0184 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90999 | Ac2121201, Ab052212 | Ac | Ab | Ab | 2121201 | 052212 | 052212 | 2121201 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.93266 | 0.026585 | 0.92606 | 0.051929 | 0.038494
EPTC | 2001 | 82668GCM35 | 2012-11-27 | 2010-10-01 | 2050-09-30 | ug/L | 0.96192 | Accu, Abs | 212051201, 052212 | Accu 212051201: 40 µl & Abs 052212: 40 µl | 0.04044 | EPTC | . | 0.0056 | 0.0389 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96192 | Ac2121201, Ab052212 | Ac | Ab | Ab | 2121201 | 052212 | 052212 | 2121201 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.93266 | 0.026585 | 0.92606 | 0.051929 | 0.038494
EPTC | 2001 | 82668GCM35 | 2013-01-29 | 2010-10-01 | 2050-09-30 | ug/L | 0.92606 | Accu, Abs | 212051201, 052212 | Accu 212051201: 80 µl & Abs 052212: 80 µl | 0.08088 | EPTC | . | 0.0056 | 0.0749 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92606 | Ac2121201, Ab052212 | Ac | Ab | Ab | 2121201 | 052212 | 052212 | 2121201 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.93266 | 0.026585 | 0.92606 | 0.051929 | 0.038494
EPTC | 2001 | 82668GCM35 | 2013-03-19 | 2010-10-01 | 2050-09-30 | ug/L | 1.088 | Accu, NSI | 212051201, 062112-01Pest | Accu 212051201: 20 µl & NSI 062112-01Pest: 20 µl | 0.02022 | EPTC | . | 0.0056 | 0.022 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.088 | Ac2121201, NS062Pest | Ac | NS | NS | 2121201 | 062Pest | 062Pest | 2121201 | 062Pest | 062Pest | Y | Recoverable Result | Y | 2 |  | 2 | 1.0386 | 0.069941 | 1.0386 | 0.098912 | 0.073322
EPTC | 2001 | 82668GCM35 | 2013-05-14 | 2010-10-01 | 2050-09-30 | ug/L | 0.98912 | Accu, NSI | 212051201, 062112-01Pest | Accu 212051201: 40 µl & NSI 062112-01Pest: 40 µl | 0.04044 | EPTC | . | 0.0056 | 0.04 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98912 | Ac2121201, NS062Pest | Ac | NS | NS | 2121201 | 062Pest | 062Pest | 2121201 | 062Pest | 062Pest | Y | Recoverable Result | Y | 2 |  | 2 | 1.0386 | 0.069941 | 1.0386 | 0.098912 | 0.073322
EPTC | 2001 | 82668GCM35 | 2012-09-01 | 2010-10-01 | 2050-09-30 | ug/L | 0.9545 | Accu, Spex Organics | 212051201, T1120530009 | Accu 212051201: 20 µl & Spex Organics T1120530009: 20 µl | 0.02022 | EPTC | . | 0.0056 | 0.0193 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9545 | Ac2121201, SpT110009 | Ac | Sp | Sp | 2121201 | T110009 | T110009 | 2121201 | T110009 | T110009 | Y | Recoverable Result | Y | 2 |  | 1 | 0.9545 |  | 0.9545 | 0 | 0
EPTC | 2001 | 82668GCM35 | 2013-10-21 | 2010-10-01 | 2050-09-30 | ug/L | 0.94148 | Accu, Abs | 213041078, 041613 | Accu 213041078: 20 µl & Abs 041613: 20 µl | 0.01179 | EPTC | . | 0.0056 | 0.0111 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94148 | Ac2131078, Ab041613 | Ac | Ab | Ab | 2131078 | 041613 | 041613 | 2131078 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.94148 |  | 0.94148 | 0 | 0
EPTC | 2001 | 82668GCM35 | 2013-05-22 | 2010-10-01 | 2050-09-30 | ug/L | 1.0483 | Accu, NSI | 213041078, 042313Pest | Accu 213041078: 50 µl & NSI 042313Pest: 50 µl | 0.029475 | EPTC | . | 0.0056 | 0.0309 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0483 | Ac2131078, NS042Pest | Ac | NS | NS | 2131078 | 042Pest | 042Pest | 2131078 | 042Pest | 042Pest | Y | Recoverable Result | Y | 2 |  | 1 | 1.0483 |  | 1.0483 | 0 | 0
EPTC | 2001 | 82668GCM35 | 2012-07-16 | 2010-10-01 | 2050-09-30 | ug/L | 0.92977 | Accu | 212051201 | Accu 212051201: 40 µl | 0.04044 | EPTC | . | 0.0056 | 0.0376 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92977 | Accu 212051201 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.92977 |  | 0.92977 | 0 | 0
EPTC | 2001 | 82668GCM35 | 2013-07-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.54153 | ChemService, ERA | 1466000, 0318-13-02.1 | ChemService 1466000: 50 µl & ERA 0318-13-02.1: 50 µl | 0.0301 | EPTC | . | 0.0056 | 0.0163 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.54153 | Ch1466000, ER03102.1 | Ch | ER | ER | 1466000 | 03102.1 | 03102.1 |  | 03102.1 | 03102.1 | Y | Recoverable Result | Y | 2 |  | 1 | 0.54153 |  | 0.54153 | 0 | 0
EPTC | 2001 | 82668GCM35 | 2008-10-31 | 2006-10-01 | 2009-09-30 | ug/L | 1.0811 | Crescent | 08HH018 | Crescent 08HH018: 25 µl | 0.047175 | EPTC | . | 0.002 | 0.051 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0811 | Crescent 08HH018 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.272 | 0.40911 | 1.0869 | 0.073676 | 0.054615
EPTC | 2001 | 82668GCM35 | 2009-01-20 | 2006-10-01 | 2009-09-30 | ug/L | 1.0869 | Crescent | 08HH018 | Crescent 08HH018: 40 µl | 0.076367 | EPTC | . | 0.002 | 0.083 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0869 | Crescent 08HH018 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.272 | 0.40911 | 1.0869 | 0.073676 | 0.054615
EPTC | 2001 | 82668GCM35 | 2009-03-20 | 2006-10-01 | 2009-09-30 | ug/L | 3.004 | Crescent | 08HH018 | Crescent 08HH018: 25 µl | 0.047936 | EPTC | . | 0.002 | 0.144 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 2 | Crescent 08HH018 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.272 | 0.40911 | 1.0869 | 0.073676 | 0.054615 | 2
EPTC | 2001 | 82668GCM35 | 2009-06-10 | 2006-10-01 | 2009-09-30 | ug/L | 1.1548 | Crescent | 08HH018 | Crescent 08HH018: 25 µl | 0.047629 | EPTC | . | 0.002 | 0.055 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1548 | Crescent 08HH018 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.272 | 0.40911 | 1.0869 | 0.073676 | 0.054615
EPTC | 2001 | 82668GCM35 | 2009-08-28 | 2006-10-01 | 2009-09-30 | ug/L | 1.0374 | Crescent | 08HH018 | Crescent 08HH018: 40 µl | 0.075188 | EPTC | . | 0.002 | 0.078 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0374 | Crescent 08HH018 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.272 | 0.40911 | 1.0869 | 0.073676 | 0.054615
EPTC | 2001 | 82668GCM35 | 2013-11-26 | 2010-10-01 | 2050-09-30 | ug/L | 0.81395 | ERA, Abs | 0318-13-02.1, 041613 | ERA 0318-13-02.1: 20 µl & Abs 041613: 20 µl | 0.01204 | EPTC | . | 0.0056 | 0.0098 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81395 | ER03102.1, Ab041613 | ER | Ab | Ab | 03102.1 | 041613 | 041613 | 03102.1 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.81395 |  | 0.81395 | 0 | 0
EPTC | 2001 | 82668GCM35 | 2013-08-01 | 2010-10-01 | 2050-09-30 | ug/L | 0.60797 | ERA, NSI | 0318-13-02.1, 042313Pest | ERA 0318-13-02.1: 100 µl & NSI 042313Pest: 100 µl | 0.0602 | EPTC | . | 0.0056 | 0.0366 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60797 | ER03102.1, NS042Pest | ER | NS | NS | 03102.1 | 042Pest | 042Pest | 03102.1 | 042Pest | 042Pest | Y | Recoverable Result | Y | 2 |  | 1 | 0.60797 |  | 0.60797 | 0 | 0
EPTC | 2001 | 82668GCM35 | 2012-12-06 | 2010-10-01 | 2050-09-30 | ug/L | 1.0099 | ERA, ChemService | 0507-12-05.1, 348200 | ERA 0507-12-05.1: 20 µl & ChemService 348200: 20 µl | 0.0202 | EPTC | . | 0.0056 | 0.0204 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0099 | ER05005.1, Ch348200 | ER | Ch | Ch | 05005.1 | 348200 | 348200 | 05005.1 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.93069 | 0.11202 | 0.93069 | 0.15842 | 0.11743
EPTC | 2001 | 82668GCM35 | 2013-05-07 | 2010-10-01 | 2050-09-30 | ug/L | 0.85149 | ERA, ChemService | 0507-12-05.1, 348200 | ERA 0507-12-05.1: 20 µl & ChemService 348200: 20 µl | 0.0202 | EPTC | . | 0.0056 | 0.0172 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85149 | ER05005.1, Ch348200 | ER | Ch | Ch | 05005.1 | 348200 | 348200 | 05005.1 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.93069 | 0.11202 | 0.93069 | 0.15842 | 0.11743
EPTC | 2001 | 82668GCM35 | 2012-09-22 | 2010-10-01 | 2050-09-30 | ug/L | 1.0099 | ERA, NSI | 0507-12-05.1, 062112-01Pest | ERA 0507-12-05.1: 20 µl & NSI 062112-01Pest: 20 µl | 0.0202 | EPTC | . | 0.0056 | 0.0204 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0099 | ER05005.1, NS062Pest | ER | NS | NS | 05005.1 | 062Pest | 062Pest | 05005.1 | 062Pest | 062Pest | Y | Recoverable Result | Y | 2 |  | 1 | 1.0099 |  | 1.0099 | 0 | 0
EPTC | 2001 | 82668GCM35 | 2012-11-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.94307 | ERA, Spex Organics | 0507-12-05.1, T1120530009 | ERA 0507-12-05.1: 40 µl & Spex Organics T1120530009: 40 µl | 0.0404 | EPTC | . | 0.0056 | 0.0381 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94307 | ER05005.1, SpT110009 | ER | Sp | Sp | 05005.1 | T110009 | T110009 | 05005.1 | T110009 | T110009 | Y | Recoverable Result | Y | 2 |  | 2 | 0.94616 | 0.0043757 | 0.94616 | 0.0061881 | 0.0045872
EPTC | 2001 | 82668GCM35 | 2013-03-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.94926 | ERA, Spex Organics | 0507-12-05.1, T1120530009 | ERA 0507-12-05.1: 80 µl & Spex Organics T1120530009: 80 µl | 0.0808 | EPTC | . | 0.0056 | 0.0767 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94926 | ER05005.1, SpT110009 | ER | Sp | Sp | 05005.1 | T110009 | T110009 | 05005.1 | T110009 | T110009 | Y | Recoverable Result | Y | 2 |  | 2 | 0.94616 | 0.0043757 | 0.94616 | 0.0061881 | 0.0045872
EPTC | 2001 | 82668GCM35 | 2011-02-10 | 2010-10-01 | 2050-09-30 | ug/L | 1.3943 | NSI | 070810-01 | NSI 070810-01: 20 µl | 0.003873 | EPTC | . | 0.0056 | 0.0054 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.3943 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 1 |  | 10 | 1.0944 | 0.13037 | 1.06 | 0.045968 | 0.034076
EPTC | 2001 | 82668GCM35 | 2011-03-15 | 2010-10-01 | 2050-09-30 | ug/L | 1.083 | NSI | 070810-01 | NSI 070810-01: 50 µl | 0.0097876 | EPTC | . | 0.0056 | 0.0106 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.083 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.0944 | 0.13037 | 1.06 | 0.045968 | 0.034076
EPTC | 2001 | 82668GCM35 | 2011-05-17 | 2010-10-01 | 2050-09-30 | ug/L | 1.243 | NSI | 070810-01 | NSI 070810-01: 80 µl | 0.01601 | EPTC | . | 0.0056 | 0.0199 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.243 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.0944 | 0.13037 | 1.06 | 0.045968 | 0.034076
EPTC | 2001 | 82668GCM35 | 2011-06-10 | 2010-10-01 | 2050-09-30 | ug/L | 1.086 | NSI | 070810-01 | NSI 070810-01: 20 µl | 0.0039596 | EPTC | . | 0.0056 | 0.0043 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.086 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 1 |  | 10 | 1.0944 | 0.13037 | 1.06 | 0.045968 | 0.034076
EPTC | 2001 | 82668GCM35 | 2011-08-02 | 2010-10-01 | 2050-09-30 | ug/L | 0.95 | NSI | 070810-01 | NSI 070810-01: 80 µl | 0.016 | EPTC | . | 0.0056 | 0.0152 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.0944 | 0.13037 | 1.06 | 0.045968 | 0.034076
EPTC | 2001 | 82668GCM35 | 2011-09-10 | 2010-10-01 | 2050-09-30 | ug/L | 1.07 | NSI | 070810-01 | NSI 070810-01: 50 µl | 0.01 | EPTC | . | 0.0056 | 0.0107 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.07 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.0944 | 0.13037 | 1.06 | 0.045968 | 0.034076
EPTC | 2001 | 82668GCM35 | 2011-11-17 | 2010-10-01 | 2050-09-30 | ug/L | 1.05 | NSI | 070810-01 | NSI 070810-01: 20 µl | 0.004 | EPTC | . | 0.0056 | 0.0042 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.05 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 1 |  | 10 | 1.0944 | 0.13037 | 1.06 | 0.045968 | 0.034076
EPTC | 2001 | 82668GCM35 | 2012-01-21 | 2010-10-01 | 2050-09-30 | ug/L | 0.9875 | NSI | 070810-01 | NSI 070810-01: 80 µl | 0.016 | EPTC | . | 0.0056 | 0.0158 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9875 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.0944 | 0.13037 | 1.06 | 0.045968 | 0.034076
EPTC | 2001 | 82668GCM35 | 2012-05-05 | 2010-10-01 | 2050-09-30 | ug/L | 1.04 | NSI | 070810-01 | NSI 070810-01: 50 µl | 0.01 | EPTC | . | 0.0056 | 0.0104 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.04 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.0944 | 0.13037 | 1.06 | 0.045968 | 0.034076
EPTC | 2001 | 82668GCM35 | 2012-06-22 | 2010-10-01 | 2050-09-30 | ug/L | 1.04 | NSI | 070810-01 | NSI 070810-01: 50 µl | 0.01 | EPTC | . | 0.0056 | 0.0104 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.04 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.0944 | 0.13037 | 1.06 | 0.045968 | 0.034076
EPTC | 2001 | 82668GCM35 | 2008-11-21 | 2006-10-01 | 2009-09-30 | ug/L | 1.193 | NSI | 081108-01Pest | NSI 081108-01Pest: 40 µl | 0.076281 | EPTC | . | 0.002 | 0.091 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.193 | NSI 081108-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.0432 | 0.13114 | 1.0423 | 0.10302 | 0.076364
EPTC | 2001 | 82668GCM35 | 2009-03-23 | 2006-10-01 | 2009-09-30 | ug/L | 1.12 | NSI | 081108-01Pest | NSI 081108-01Pest: 25 µl | 0.052678 | EPTC | . | 0.002 | 0.059 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.12 | NSI 081108-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.0432 | 0.13114 | 1.0423 | 0.10302 | 0.076364
EPTC | 2001 | 82668GCM35 | 2009-05-01 | 2006-10-01 | 2009-09-30 | ug/L | 1.0423 | NSI | 081108-01Pest | NSI 081108-01Pest: 40 µl | 0.075792 | EPTC | . | 0.002 | 0.079 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0423 | NSI 081108-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.0432 | 0.13114 | 1.0423 | 0.10302 | 0.076364
EPTC | 2001 | 82668GCM35 | 2009-07-30 | 2006-10-01 | 2009-09-30 | ug/L | 1.017 | NSI | 081108-01Pest | NSI 081108-01Pest: 25 µl | 0.047198 | EPTC | . | 0.002 | 0.048 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.017 | NSI 081108-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.0432 | 0.13114 | 1.0423 | 0.10302 | 0.076364
EPTC | 2001 | 82668GCM35 | 2009-09-25 | 2006-10-01 | 2009-09-30 | ug/L | 0.84375 | NSI | 081108-01Pest | NSI 081108-01Pest: 25 µl | 0.047407 | EPTC | . | 0.002 | 0.04 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84375 | NSI 081108-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.0432 | 0.13114 | 1.0423 | 0.10302 | 0.076364
EPTC | 2001 | 82668GCM35 | 2008-05-01 | 2006-10-01 | 2009-09-30 | ug/L | 1.0339 | NWQL | PSP3SP140C | NWQL PSP3SP140C: 50 µl | 0.051261 | EPTC | . | 0.002 | 0.053 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0339 | NWQL PSP3SP140C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.1222 | 0.12105 | 1.0725 | 0.22629 | 0.16774
EPTC | 2001 | 82668GCM35 | 2008-06-25 | 2006-10-01 | 2009-09-30 | ug/L | 1.0725 | NWQL | PSP3SP140C | NWQL PSP3SP140C: 50 µl | 0.050347 | EPTC | . | 0.002 | 0.054 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0725 | NWQL PSP3SP140C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.1222 | 0.12105 | 1.0725 | 0.22629 | 0.16774
EPTC | 2001 | 82668GCM35 | 2008-08-19 | 2006-10-01 | 2009-09-30 | ug/L | 1.2602 | NWQL | PSP3SP140C | NWQL PSP3SP140C: 50 µl | 0.049198 | EPTC | . | 0.002 | 0.062 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2602 | NWQL PSP3SP140C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.1222 | 0.12105 | 1.0725 | 0.22629 | 0.16774
EPTC | 2001 | 82668GCM35 | 2009-04-08 | 2006-10-01 | 2009-09-30 | ug/L | 1.0386 | NWQL | PSP3SP140D | NWQL PSP3SP140D: 50 µl | 0.051031 | EPTC | . | 0.002 | 0.053 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0386 | NWQL PSP3SP140D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.055 | 0.046965 | 1.061 | 0.074689 | 0.055366
EPTC | 2001 | 82668GCM35 | 2009-04-14 | 2006-10-01 | 2009-09-30 | ug/L | 1.1013 | NWQL | PSP3SP140D | NWQL PSP3SP140D: 50 µl | 0.04994 | EPTC | . | 0.002 | 0.055 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1013 | NWQL PSP3SP140D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.055 | 0.046965 | 1.061 | 0.074689 | 0.055366
EPTC | 2001 | 82668GCM35 | 2009-06-24 | 2006-10-01 | 2009-09-30 | ug/L | 1.0833 | NWQL | PSP3SP140D | NWQL PSP3SP140D: 50 µl | 0.049845 | EPTC | . | 0.002 | 0.054 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0833 | NWQL PSP3SP140D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.055 | 0.046965 | 1.061 | 0.074689 | 0.055366
EPTC | 2001 | 82668GCM35 | 2009-08-21 | 2006-10-01 | 2009-09-30 | ug/L | 0.9967 | NWQL | PSP3SP140D | NWQL PSP3SP140D: 50 µl | 0.050165 | EPTC | . | 0.002 | 0.05 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9967 | NWQL PSP3SP140D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.055 | 0.046965 | 1.061 | 0.074689 | 0.055366
EPTC | 2001 | 82668GCM35 | 2010-06-24 | 2009-10-01 | 2010-09-30 | ug/L | 1.2434 | NWQL | PSP3SP142A | NWQL PSP3SP142A: 40 µl | 0.039809 | EPTC | . | 0.002 | 0.0495 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2434 | NWQL PSP3SP142A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.2207 | 0.087107 | 1.2434 | 0.16969 | 0.12579
EPTC | 2001 | 82668GCM35 | 2010-07-14 | 2009-10-01 | 2010-09-30 | ug/L | 1.2941 | NWQL | PSP3SP142A | NWQL PSP3SP142A: 40 µl | 0.0408 | EPTC | . | 0.002 | 0.0528 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2941 | NWQL PSP3SP142A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.2207 | 0.087107 | 1.2434 | 0.16969 | 0.12579
EPTC | 2001 | 82668GCM35 | 2010-07-28 | 2009-10-01 | 2010-09-30 | ug/L | 1.1244 | NWQL | PSP3SP142A | NWQL PSP3SP142A: 40 µl | 0.04002 | EPTC | . | 0.002 | 0.045 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1244 | NWQL PSP3SP142A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.2207 | 0.087107 | 1.2434 | 0.16969 | 0.12579
EPTC | 2001 | 82668GCM35 | 2013-08-28 | 2010-10-01 | 2050-09-30 | ug/L | 0.94317 | Spex Organics, Accu | T1130517007, 213041078 | Spex Organics T1130517007: 100 µl & Accu 213041078: 100 µl | 0.05895 | EPTC | . | 0.0056 | 0.0556 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94317 | SpT117007, Ac2131078 | Sp | Ac | Ac | T117007 | 2131078 | 2131078 | T117007 | 2131078 | 2131078 | Y | Recoverable Result | Y | 2 |  | 1 | 0.94317 |  | 0.94317 | 0 | 0
EPTC | 2001 | 82668GCM35 | 2013-12-18 | 2010-10-01 | 2050-09-30 | ug/L | 0.7309 | Spex Organics, ERA | T1130517007, 0318-13-02.1 | Spex Organics T1130517007: 20 µl & ERA 0318-13-02.1: 20 µl | 0.01204 | EPTC | . | 0.0056 | 0.0088 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7309 | SpT117007, ER03102.1 | Sp | ER | ER | T117007 | 03102.1 | 03102.1 | T117007 | 03102.1 | 03102.1 | Y | Recoverable Result | Y | 2 |  | 1 | 0.7309 |  | 0.7309 | 0 | 0
EPTC | 2001 | 82668GCM35 | 2011-02-25 | 2010-10-01 | 2050-09-30 | ug/L | 1.0433 | Supelco | LB77170 | Supelco LB77170: 80 µl | 0.016198 | EPTC | . | 0.0056 | 0.0169 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0433 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 1.0656 | 0.1068 | 1.0448 | 0.17413 | 0.12908
EPTC | 2001 | 82668GCM35 | 2011-03-23 | 2010-10-01 | 2050-09-30 | ug/L | 1.2358 | Supelco | LB77170 | Supelco LB77170: 20 µl | 0.0040459 | EPTC | . | 0.0056 | 0.005 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.2358 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 1 |  | 9 | 1.0656 | 0.1068 | 1.0448 | 0.17413 | 0.12908
EPTC | 2001 | 82668GCM35 | 2011-06-23 | 2010-10-01 | 2050-09-30 | ug/L | 0.93592 | Supelco | LB77170 | Supelco LB77170: 50 µl | 0.01015 | EPTC | . | 0.0056 | 0.0095 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93591 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 1.0656 | 0.1068 | 1.0448 | 0.17413 | 0.12908
EPTC | 2001 | 82668GCM35 | 2011-07-12 | 2010-10-01 | 2050-09-30 | ug/L | 1.0571 | Supelco | LB77170 | Supelco LB77170: 80 µl | 0.016177 | EPTC | . | 0.0056 | 0.0171 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.057 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 1.0656 | 0.1068 | 1.0448 | 0.17413 | 0.12908
EPTC | 2001 | 82668GCM35 | 2011-08-18 | 2010-10-01 | 2050-09-30 | ug/L | 1.1741 | Supelco | LB77170 | Supelco LB77170: 50 µl | 0.01005 | EPTC | . | 0.0056 | 0.0118 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1741 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 1.0656 | 0.1068 | 1.0448 | 0.17413 | 0.12908
EPTC | 2001 | 82668GCM35 | 2011-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.99503 | Supelco | LB77170 | Supelco LB77170: 20 µl | 0.00402 | EPTC | . | 0.0056 | 0.004 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.99502 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 1 |  | 9 | 1.0656 | 0.1068 | 1.0448 | 0.17413 | 0.12908
EPTC | 2001 | 82668GCM35 | 2011-12-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.93532 | Supelco | LB77170 | Supelco LB77170: 50 µl | 0.01005 | EPTC | E | 0.0056 | 0.0094 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93532 | Supelco LB77170 | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 1.0656 | 0.1068 | 1.0448 | 0.17413 | 0.12908
EPTC | 2001 | 82668GCM35 | 2012-02-23 | 2010-10-01 | 2050-09-30 | ug/L | 1.1692 | Supelco | LB77170 | Supelco LB77170: 20 µl | 0.00402 | EPTC | . | 0.0056 | 0.0047 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.1692 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 1 |  | 9 | 1.0656 | 0.1068 | 1.0448 | 0.17413 | 0.12908
EPTC | 2001 | 82668GCM35 | 2012-05-08 | 2010-10-01 | 2050-09-30 | ug/L | 1.0448 | Supelco | LB77170 | Supelco LB77170: 20 µl | 0.00402 | EPTC | . | 0.0056 | 0.0042 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.0448 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 1 |  | 9 | 1.0656 | 0.1068 | 1.0448 | 0.17413 | 0.12908
EPTC | 2001 | 82668GCM35 | 2008-04-24 | 2006-10-01 | 2009-09-30 | ug/L | 0.99628 | Ultra | CD-2090 | Ultra CD-2090: 25 µl | 0.18368 | EPTC | . | 0.002 | 0.183 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99628 | Ultra CD-2090 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0187 | 0.038276 | 1.0178 | 0.076673 | 0.056837
EPTC | 2001 | 82668GCM35 | 2008-04-29 | 2006-10-01 | 2009-09-30 | ug/L | 1.0393 | Ultra | CD-2090 | Ultra CD-2090: 25 µl | 0.178 | EPTC | . | 0.002 | 0.185 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0393 | Ultra CD-2090 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0187 | 0.038276 | 1.0178 | 0.076673 | 0.056837
EPTC | 2001 | 82668GCM35 | 2008-05-06 | 2006-10-01 | 2009-09-30 | ug/L | 1.0559 | Ultra | CD-2090 | Ultra CD-2090: 25 µl | 0.17615 | EPTC | . | 0.002 | 0.186 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0559 | Ultra CD-2090 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0187 | 0.038276 | 1.0178 | 0.076673 | 0.056837
EPTC | 2001 | 82668GCM35 | 2008-07-10 | 2006-10-01 | 2009-09-30 | ug/L | 0.97926 | Ultra | CD-2090 | Ultra CD-2090: 25 µl | 0.17564 | EPTC | . | 0.002 | 0.172 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97926 | Ultra CD-2090 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0187 | 0.038276 | 1.0178 | 0.076673 | 0.056837
EPTC | 2001 | 82668GCM35 | 2008-08-04 | 2006-10-01 | 2009-09-30 | ug/L | 1.0621 | Ultra | CD-2090 | Ultra CD-2090: 25 µl | 0.17512 | EPTC | . | 0.002 | 0.186 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0621 | Ultra CD-2090 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0187 | 0.038276 | 1.0178 | 0.076673 | 0.056837
EPTC | 2001 | 82668GCM35 | 2008-09-24 | 2006-10-01 | 2009-09-30 | ug/L | 0.97906 | Ultra | CD-2090 | Ultra CD-2090: 25 µl | 0.17976 | EPTC | . | 0.002 | 0.176 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97906 | Ultra CD-2090 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0187 | 0.038276 | 1.0178 | 0.076673 | 0.056837