## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
ETHALFLURALIN | 2001 | 82663GCM35 | 2010-01-05 | 2009-10-01 | 2010-09-30 | ug/L | 1.0432 | Abs | 090409Pest | Abs 090409Pest: 25 µl | 0.057901 | ETHALFLURALIN | . | 0.006 | 0.0604 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0432 | Abs 090409Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0563 | 0.12698 | 1.014 | 0.16289 | 0.12075
ETHALFLURALIN | 2001 | 82663GCM35 | 2010-06-18 | 2009-10-01 | 2010-09-30 | ug/L | 0.95317 | Abs | 090409Pest | Abs 090409Pest: 80 µl | 0.18045 | ETHALFLURALIN | . | 0.006 | 0.172 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95317 | Abs 090409Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0563 | 0.12698 | 1.014 | 0.16289 | 0.12075
ETHALFLURALIN | 2001 | 82663GCM35 | 2010-07-20 | 2009-10-01 | 2010-09-30 | ug/L | 1.2816 | Abs | 090409Pest | Abs 090409Pest: 25 µl | 0.057976 | ETHALFLURALIN | . | 0.006 | 0.0743 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2816 | Abs 090409Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0563 | 0.12698 | 1.014 | 0.16289 | 0.12075
ETHALFLURALIN | 2001 | 82663GCM35 | 2010-07-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.98485 | Abs | 090409Pest | Abs 090409Pest: 25 µl | 0.058689 | ETHALFLURALIN | . | 0.006 | 0.0578 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98485 | Abs 090409Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0563 | 0.12698 | 1.014 | 0.16289 | 0.12075
ETHALFLURALIN | 2001 | 82663GCM35 | 2010-08-13 | 2009-10-01 | 2010-09-30 | ug/L | 0.95616 | Abs | 090409Pest | Abs 090409Pest: 80 µl | 0.18302 | ETHALFLURALIN | . | 0.006 | 0.175 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95616 | Abs 090409Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0563 | 0.12698 | 1.014 | 0.16289 | 0.12075
ETHALFLURALIN | 2001 | 82663GCM35 | 2010-09-22 | 2009-10-01 | 2010-09-30 | ug/L | 1.119 | Abs | 090409Pest | Abs 090409Pest: 25 µl | 0.057906 | ETHALFLURALIN | . | 0.006 | 0.0648 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.119 | Abs 090409Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0563 | 0.12698 | 1.014 | 0.16289 | 0.12075
ETHALFLURALIN | 2001 | 82663GCM35 | 2012-07-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.80268 | Accu, Abs | 212051201, 052212 | Accu 212051201: 20 µl & Abs 052212: 20 µl | 0.04024 | ETHALFLURALIN | . | 0.006 | 0.0323 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80268 | Ac2121201, Ab052212 | Ac | Ab | Ab | 2121201 | 052212 | 052212 | 2121201 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.78405 | 0.068408 | 0.80268 | 0.13295 | 0.098556
ETHALFLURALIN | 2001 | 82663GCM35 | 2012-11-27 | 2010-10-01 | 2050-09-30 | ug/L | 0.8412 | Accu, Abs | 212051201, 052212 | Accu 212051201: 40 µl & Abs 052212: 40 µl | 0.08048 | ETHALFLURALIN | . | 0.006 | 0.0677 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8412 | Ac2121201, Ab052212 | Ac | Ab | Ab | 2121201 | 052212 | 052212 | 2121201 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.78405 | 0.068408 | 0.80268 | 0.13295 | 0.098556
ETHALFLURALIN | 2001 | 82663GCM35 | 2013-01-29 | 2010-10-01 | 2050-09-30 | ug/L | 0.70825 | Accu, Abs | 212051201, 052212 | Accu 212051201: 80 µl & Abs 052212: 80 µl | 0.16096 | ETHALFLURALIN | . | 0.006 | 0.114 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70825 | Ac2121201, Ab052212 | Ac | Ab | Ab | 2121201 | 052212 | 052212 | 2121201 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.78405 | 0.068408 | 0.80268 | 0.13295 | 0.098556
ETHALFLURALIN | 2001 | 82663GCM35 | 2013-03-19 | 2010-10-01 | 2050-09-30 | ug/L | 1.1133 | Accu, NSI | 212051201, 062112-01Pest | Accu 212051201: 20 µl & NSI 062112-01Pest: 20 µl | 0.04024 | ETHALFLURALIN | . | 0.006 | 0.0448 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1133 | Ac2121201, NS062Pest | Ac | NS | NS | 2121201 | 062Pest | 062Pest | 2121201 | 062Pest | 062Pest | Y | Recoverable Result | Y | 2 |  | 2 | 0.94682 | 0.23547 | 0.94682 | 0.333 | 0.24685
ETHALFLURALIN | 2001 | 82663GCM35 | 2013-05-14 | 2010-10-01 | 2050-09-30 | ug/L | 0.78032 | Accu, NSI | 212051201, 062112-01Pest | Accu 212051201: 40 µl & NSI 062112-01Pest: 40 µl | 0.08048 | ETHALFLURALIN | . | 0.006 | 0.0628 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78032 | Ac2121201, NS062Pest | Ac | NS | NS | 2121201 | 062Pest | 062Pest | 2121201 | 062Pest | 062Pest | Y | Recoverable Result | Y | 2 |  | 2 | 0.94682 | 0.23547 | 0.94682 | 0.333 | 0.24685
ETHALFLURALIN | 2001 | 82663GCM35 | 2012-09-01 | 2010-10-01 | 2050-09-30 | ug/L | 1.081 | Accu, Spex Organics | 212051201, T1120530009 | Accu 212051201: 20 µl & Spex Organics T1120530009: 20 µl | 0.04024 | ETHALFLURALIN | . | 0.006 | 0.0435 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.081 | Ac2121201, SpT110009 | Ac | Sp | Sp | 2121201 | T110009 | T110009 | 2121201 | T110009 | T110009 | Y | Recoverable Result | Y | 2 |  | 1 | 1.081 |  | 1.081 | 0 | 0
ETHALFLURALIN | 2001 | 82663GCM35 | 2013-10-21 | 2010-10-01 | 2050-09-30 | ug/L | 0.99736 | Accu, Abs | 213041078, 041613 | Accu 213041078: 20 µl & Abs 041613: 20 µl | 0.03028 | ETHALFLURALIN | . | 0.006 | 0.0302 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99736 | Ac2131078, Ab041613 | Ac | Ab | Ab | 2131078 | 041613 | 041613 | 2131078 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.99736 |  | 0.99736 | 0 | 0
ETHALFLURALIN | 2001 | 82663GCM35 | 2013-05-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.95905 | Accu, NSI | 213041078, 042313Pest | Accu 213041078: 50 µl & NSI 042313Pest: 50 µl | 0.0757 | ETHALFLURALIN | . | 0.006 | 0.0726 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95905 | Ac2131078, NS042Pest | Ac | NS | NS | 2131078 | 042Pest | 042Pest | 2131078 | 042Pest | 042Pest | Y | Recoverable Result | Y | 2 |  | 1 | 0.95905 |  | 0.95905 | 0 | 0
ETHALFLURALIN | 2001 | 82663GCM35 | 2012-07-16 | 2010-10-01 | 2050-09-30 | ug/L | 0.68961 | Accu | 212051201 | Accu 212051201: 40 µl | 0.08048 | ETHALFLURALIN | . | 0.006 | 0.0555 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68961 | Accu 212051201 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.68961 |  | 0.68961 | 0 | 0
ETHALFLURALIN | 2001 | 82663GCM35 | 2013-07-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.79737 | ChemService, ERA | 1466000, 0318-13-02.1 | ChemService 1466000: 50 µl & ERA 0318-13-02.1: 50 µl | 0.076 | ETHALFLURALIN | . | 0.006 | 0.0606 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79737 | Ch1466000, ER03102.1 | Ch | ER | ER | 1466000 | 03102.1 | 03102.1 |  | 03102.1 | 03102.1 | Y | Recoverable Result | Y | 2 |  | 1 | 0.79737 |  | 0.79737 | 0 | 0
ETHALFLURALIN | 2001 | 82663GCM35 | 2008-10-31 | 2003-10-01 | 2009-09-30 | ug/L | 0.73093 | Crescent | 08HH018 | Crescent 08HH018: 25 µl | 0.067037 | ETHALFLURALIN | . | 0.009 | 0.049 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73094 | Crescent 08HH018 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.94433 | 0.38107 | 0.7581 | 0.1629 | 0.12076
ETHALFLURALIN | 2001 | 82663GCM35 | 2009-01-20 | 2003-10-01 | 2009-09-30 | ug/L | 0.89384 | Crescent | 08HH018 | Crescent 08HH018: 40 µl | 0.10852 | ETHALFLURALIN | . | 0.009 | 0.097 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89384 | Crescent 08HH018 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.94433 | 0.38107 | 0.7581 | 0.1629 | 0.12076
ETHALFLURALIN | 2001 | 82663GCM35 | 2009-03-20 | 2003-10-01 | 2009-09-30 | ug/L | 1.6148 | Crescent | 08HH018 | Crescent 08HH018: 25 µl | 0.06812 | ETHALFLURALIN | . | 0.009 | 0.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.6148 | Crescent 08HH018 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.94433 | 0.38107 | 0.7581 | 0.1629 | 0.12076
ETHALFLURALIN | 2001 | 82663GCM35 | 2009-06-10 | 2003-10-01 | 2009-09-30 | ug/L | 0.72397 | Crescent | 08HH018 | Crescent 08HH018: 25 µl | 0.067683 | ETHALFLURALIN | . | 0.009 | 0.049 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72397 | Crescent 08HH018 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.94433 | 0.38107 | 0.7581 | 0.1629 | 0.12076
ETHALFLURALIN | 2001 | 82663GCM35 | 2009-08-28 | 2003-10-01 | 2009-09-30 | ug/L | 0.7581 | Crescent | 08HH018 | Crescent 08HH018: 40 µl | 0.10685 | ETHALFLURALIN | . | 0.009 | 0.081 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7581 | Crescent 08HH018 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.94433 | 0.38107 | 0.7581 | 0.1629 | 0.12076
ETHALFLURALIN | 2001 | 82663GCM35 | 2013-11-26 | 2010-10-01 | 2050-09-30 | ug/L | 1.0493 | ERA, Abs | 0318-13-02.1, 041613 | ERA 0318-13-02.1: 20 µl & Abs 041613: 20 µl | 0.0304 | ETHALFLURALIN | . | 0.006 | 0.0319 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0493 | ER03102.1, Ab041613 | ER | Ab | Ab | 03102.1 | 041613 | 041613 | 03102.1 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.0493 |  | 1.0493 | 0 | 0
ETHALFLURALIN | 2001 | 82663GCM35 | 2013-08-01 | 2010-10-01 | 2050-09-30 | ug/L | 0.78947 | ERA, NSI | 0318-13-02.1, 042313Pest | ERA 0318-13-02.1: 100 µl & NSI 042313Pest: 100 µl | 0.152 | ETHALFLURALIN | . | 0.006 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78947 | ER03102.1, NS042Pest | ER | NS | NS | 03102.1 | 042Pest | 042Pest | 03102.1 | 042Pest | 042Pest | Y | Recoverable Result | Y | 2 |  | 1 | 0.78947 |  | 0.78947 | 0 | 0
ETHALFLURALIN | 2001 | 82663GCM35 | 2012-12-06 | 2010-10-01 | 2050-09-30 | ug/L | 0.97549 | ERA, ChemService | 0507-12-05.1, 348200 | ERA 0507-12-05.1: 20 µl & ChemService 348200: 20 µl | 0.0408 | ETHALFLURALIN | . | 0.006 | 0.0398 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97549 | ER05005.1, Ch348200 | ER | Ch | Ch | 05005.1 | 348200 | 348200 | 05005.1 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.91912 | 0.079723 | 0.91912 | 0.11275 | 0.083577
ETHALFLURALIN | 2001 | 82663GCM35 | 2013-05-07 | 2010-10-01 | 2050-09-30 | ug/L | 0.86275 | ERA, ChemService | 0507-12-05.1, 348200 | ERA 0507-12-05.1: 20 µl & ChemService 348200: 20 µl | 0.0408 | ETHALFLURALIN | . | 0.006 | 0.0352 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86275 | ER05005.1, Ch348200 | ER | Ch | Ch | 05005.1 | 348200 | 348200 | 05005.1 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.91912 | 0.079723 | 0.91912 | 0.11275 | 0.083577
ETHALFLURALIN | 2001 | 82663GCM35 | 2012-09-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.86029 | ERA, NSI | 0507-12-05.1, 062112-01Pest | ERA 0507-12-05.1: 20 µl & NSI 062112-01Pest: 20 µl | 0.0408 | ETHALFLURALIN | . | 0.006 | 0.0351 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86029 | ER05005.1, NS062Pest | ER | NS | NS | 05005.1 | 062Pest | 062Pest | 05005.1 | 062Pest | 062Pest | Y | Recoverable Result | Y | 2 |  | 1 | 0.86029 |  | 0.86029 | 0 | 0
ETHALFLURALIN | 2001 | 82663GCM35 | 2012-11-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.77819 | ERA, Spex Organics | 0507-12-05.1, T1120530009 | ERA 0507-12-05.1: 40 µl & Spex Organics T1120530009: 40 µl | 0.0816 | ETHALFLURALIN | . | 0.006 | 0.0635 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77819 | ER05005.1, SpT110009 | ER | Sp | Sp | 05005.1 | T110009 | T110009 | 05005.1 | T110009 | T110009 | Y | Recoverable Result | Y | 2 |  | 2 | 0.74755 | 0.043328 | 0.74755 | 0.061275 | 0.045422
ETHALFLURALIN | 2001 | 82663GCM35 | 2013-03-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.71691 | ERA, Spex Organics | 0507-12-05.1, T1120530009 | ERA 0507-12-05.1: 80 µl & Spex Organics T1120530009: 80 µl | 0.1632 | ETHALFLURALIN | . | 0.006 | 0.117 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71691 | ER05005.1, SpT110009 | ER | Sp | Sp | 05005.1 | T110009 | T110009 | 05005.1 | T110009 | T110009 | Y | Recoverable Result | Y | 2 |  | 2 | 0.74755 | 0.043328 | 0.74755 | 0.061275 | 0.045422
ETHALFLURALIN | 2001 | 82663GCM35 | 2011-02-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.96445 | NSI | 070810-01 | NSI 070810-01: 20 µl | 0.039504 | ETHALFLURALIN | . | 0.006 | 0.0381 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96445 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.79319 | 0.076322 | 0.80258 | 0.04372 | 0.032409
ETHALFLURALIN | 2001 | 82663GCM35 | 2011-03-15 | 2010-10-01 | 2050-09-30 | ug/L | 0.7793 | NSI | 070810-01 | NSI 070810-01: 50 µl | 0.099834 | ETHALFLURALIN | . | 0.006 | 0.0778 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7793 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.79319 | 0.076322 | 0.80258 | 0.04372 | 0.032409
ETHALFLURALIN | 2001 | 82663GCM35 | 2011-05-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.80221 | NSI | 070810-01 | NSI 070810-01: 80 µl | 0.1633 | ETHALFLURALIN | . | 0.006 | 0.131 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80221 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.79319 | 0.076322 | 0.80258 | 0.04372 | 0.032409
ETHALFLURALIN | 2001 | 82663GCM35 | 2011-06-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.76755 | NSI | 070810-01 | NSI 070810-01: 20 µl | 0.040388 | ETHALFLURALIN | . | 0.006 | 0.031 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76755 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.79319 | 0.076322 | 0.80258 | 0.04372 | 0.032409
ETHALFLURALIN | 2001 | 82663GCM35 | 2011-08-02 | 2010-10-01 | 2050-09-30 | ug/L | 0.68627 | NSI | 070810-01 | NSI 070810-01: 80 µl | 0.1632 | ETHALFLURALIN | . | 0.006 | 0.112 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68627 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.79319 | 0.076322 | 0.80258 | 0.04372 | 0.032409
ETHALFLURALIN | 2001 | 82663GCM35 | 2011-09-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.80784 | NSI | 070810-01 | NSI 070810-01: 50 µl | 0.102 | ETHALFLURALIN | . | 0.006 | 0.0824 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80784 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.79319 | 0.076322 | 0.80258 | 0.04372 | 0.032409
ETHALFLURALIN | 2001 | 82663GCM35 | 2011-11-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.81127 | NSI | 070810-01 | NSI 070810-01: 20 µl | 0.0408 | ETHALFLURALIN | . | 0.006 | 0.0331 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81127 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.79319 | 0.076322 | 0.80258 | 0.04372 | 0.032409
ETHALFLURALIN | 2001 | 82663GCM35 | 2012-01-21 | 2010-10-01 | 2050-09-30 | ug/L | 0.81495 | NSI | 070810-01 | NSI 070810-01: 80 µl | 0.1632 | ETHALFLURALIN | . | 0.006 | 0.133 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81495 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.79319 | 0.076322 | 0.80258 | 0.04372 | 0.032409
ETHALFLURALIN | 2001 | 82663GCM35 | 2012-05-05 | 2010-10-01 | 2050-09-30 | ug/L | 0.80294 | NSI | 070810-01 | NSI 070810-01: 50 µl | 0.102 | ETHALFLURALIN | . | 0.006 | 0.0819 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80294 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.79319 | 0.076322 | 0.80258 | 0.04372 | 0.032409
ETHALFLURALIN | 2001 | 82663GCM35 | 2012-06-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.6951 | NSI | 070810-01 | NSI 070810-01: 50 µl | 0.102 | ETHALFLURALIN | . | 0.006 | 0.0709 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6951 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.79319 | 0.076322 | 0.80258 | 0.04372 | 0.032409
ETHALFLURALIN | 2001 | 82663GCM35 | 2008-11-21 | 2003-10-01 | 2009-09-30 | ug/L | 1.076 | NSI | 081108-01Pest | NSI 081108-01Pest: 40 µl | 0.10687 | ETHALFLURALIN | . | 0.009 | 0.115 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.076 | NSI 081108-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.87449 | 0.20808 | 0.81662 | 0.36974 | 0.27409
ETHALFLURALIN | 2001 | 82663GCM35 | 2009-03-23 | 2003-10-01 | 2009-09-30 | ug/L | 1.1111 | NSI | 081108-01Pest | NSI 081108-01Pest: 25 µl | 0.073804 | ETHALFLURALIN | . | 0.009 | 0.082 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1111 | NSI 081108-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.87449 | 0.20808 | 0.81662 | 0.36974 | 0.27409
ETHALFLURALIN | 2001 | 82663GCM35 | 2009-05-01 | 2003-10-01 | 2009-09-30 | ug/L | 0.7063 | NSI | 081108-01Pest | NSI 081108-01Pest: 40 µl | 0.10619 | ETHALFLURALIN | . | 0.009 | 0.075 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7063 | NSI 081108-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.87449 | 0.20808 | 0.81662 | 0.36974 | 0.27409
ETHALFLURALIN | 2001 | 82663GCM35 | 2009-07-30 | 2003-10-01 | 2009-09-30 | ug/L | 0.81662 | NSI | 081108-01Pest | NSI 081108-01Pest: 25 µl | 0.066126 | ETHALFLURALIN | . | 0.009 | 0.054 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81662 | NSI 081108-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.87449 | 0.20808 | 0.81662 | 0.36974 | 0.27409
ETHALFLURALIN | 2001 | 82663GCM35 | 2009-09-25 | 2003-10-01 | 2009-09-30 | ug/L | 0.66245 | NSI | 081108-01Pest | NSI 081108-01Pest: 25 µl | 0.06642 | ETHALFLURALIN | . | 0.009 | 0.044 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66245 | NSI 081108-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.87449 | 0.20808 | 0.81662 | 0.36974 | 0.27409
ETHALFLURALIN | 2001 | 82663GCM35 | 2008-05-01 | 2003-10-01 | 2009-09-30 | ug/L | 0.95589 | NWQL | PSP3SP140C | NWQL PSP3SP140C: 50 µl | 0.051261 | ETHALFLURALIN | . | 0.009 | 0.049 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95589 | NWQL PSP3SP140C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.9427 | 0.1619 | 0.95589 | 0.32299 | 0.23943
ETHALFLURALIN | 2001 | 82663GCM35 | 2008-06-25 | 2003-10-01 | 2009-09-30 | ug/L | 0.77462 | NWQL | PSP3SP140C | NWQL PSP3SP140C: 50 µl | 0.050347 | ETHALFLURALIN | . | 0.009 | 0.039 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77462 | NWQL PSP3SP140C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.9427 | 0.1619 | 0.95589 | 0.32299 | 0.23943
ETHALFLURALIN | 2001 | 82663GCM35 | 2008-08-19 | 2003-10-01 | 2009-09-30 | ug/L | 1.0976 | NWQL | PSP3SP140C | NWQL PSP3SP140C: 50 µl | 0.049198 | ETHALFLURALIN | . | 0.009 | 0.054 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0976 | NWQL PSP3SP140C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.9427 | 0.1619 | 0.95589 | 0.32299 | 0.23943
ETHALFLURALIN | 2001 | 82663GCM35 | 2009-04-08 | 2003-10-01 | 2009-09-30 | ug/L | 0.92101 | NWQL | PSP3SP140D | NWQL PSP3SP140D: 50 µl | 0.051031 | ETHALFLURALIN | . | 0.009 | 0.047 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92101 | NWQL PSP3SP140D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.91541 | 0.14708 | 0.90902 | 0.1915 | 0.14196
ETHALFLURALIN | 2001 | 82663GCM35 | 2009-04-14 | 2003-10-01 | 2009-09-30 | ug/L | 1.1013 | NWQL | PSP3SP140D | NWQL PSP3SP140D: 50 µl | 0.04994 | ETHALFLURALIN | . | 0.009 | 0.055 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1013 | NWQL PSP3SP140D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.91541 | 0.14708 | 0.90902 | 0.1915 | 0.14196
ETHALFLURALIN | 2001 | 82663GCM35 | 2009-06-24 | 2003-10-01 | 2009-09-30 | ug/L | 0.74229 | NWQL | PSP3SP140D | NWQL PSP3SP140D: 50 µl | 0.049845 | ETHALFLURALIN | . | 0.009 | 0.037 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74229 | NWQL PSP3SP140D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.91541 | 0.14708 | 0.90902 | 0.1915 | 0.14196
ETHALFLURALIN | 2001 | 82663GCM35 | 2009-08-21 | 2003-10-01 | 2009-09-30 | ug/L | 0.89703 | NWQL | PSP3SP140D | NWQL PSP3SP140D: 50 µl | 0.050165 | ETHALFLURALIN | . | 0.009 | 0.045 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89703 | NWQL PSP3SP140D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.91541 | 0.14708 | 0.90902 | 0.1915 | 0.14196
ETHALFLURALIN | 2001 | 82663GCM35 | 2010-06-24 | 2009-10-01 | 2010-09-30 | ug/L | 1.5273 | NWQL | PSP3SP142A | NWQL PSP3SP142A: 40 µl | 0.039809 | ETHALFLURALIN | . | 0.006 | 0.0608 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.5273 | NWQL PSP3SP142A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.2635 | 0.29686 | 1.3211 | 0.58527 | 0.43385
ETHALFLURALIN | 2001 | 82663GCM35 | 2010-07-14 | 2009-10-01 | 2010-09-30 | ug/L | 1.3211 | NWQL | PSP3SP142A | NWQL PSP3SP142A: 40 µl | 0.0408 | ETHALFLURALIN | . | 0.006 | 0.0539 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3211 | NWQL PSP3SP142A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.2635 | 0.29686 | 1.3211 | 0.58527 | 0.43385
ETHALFLURALIN | 2001 | 82663GCM35 | 2010-07-28 | 2009-10-01 | 2010-09-30 | ug/L | 0.94203 | NWQL | PSP3SP142A | NWQL PSP3SP142A: 40 µl | 0.04002 | ETHALFLURALIN | . | 0.006 | 0.0377 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94203 | NWQL PSP3SP142A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.2635 | 0.29686 | 1.3211 | 0.58527 | 0.43385
ETHALFLURALIN | 2001 | 82663GCM35 | 2008-02-04 | 2003-10-01 | 2009-09-30 | ug/L | 0.64882 | Protocol | F1070629011 | Protocol F1070629011: 25 µl | 0.14642 | ETHALFLURALIN | . | 0.009 | 0.095 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64882 | Protocol F1070629011 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.771 | 0.078283 | 0.77571 | 0.05537 | 0.041046
ETHALFLURALIN | 2001 | 82663GCM35 | 2008-05-01 | 2003-10-01 | 2009-09-30 | ug/L | 0.79736 | Protocol | F1070629011 | Protocol F1070629011: 25 µl | 0.14548 | ETHALFLURALIN | . | 0.009 | 0.116 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79736 | Protocol F1070629011 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.771 | 0.078283 | 0.77571 | 0.05537 | 0.041046
ETHALFLURALIN | 2001 | 82663GCM35 | 2008-06-10 | 2003-10-01 | 2009-09-30 | ug/L | 0.74199 | Protocol | F1070629011 | Protocol F1070629011: 25 µl | 0.14421 | ETHALFLURALIN | . | 0.009 | 0.107 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74199 | Protocol F1070629011 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.771 | 0.078283 | 0.77571 | 0.05537 | 0.041046
ETHALFLURALIN | 2001 | 82663GCM35 | 2008-07-11 | 2003-10-01 | 2009-09-30 | ug/L | 0.7958 | Protocol | F1070629011 | Protocol F1070629011: 25 µl | 0.14325 | ETHALFLURALIN | . | 0.009 | 0.114 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7958 | Protocol F1070629011 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.771 | 0.078283 | 0.77571 | 0.05537 | 0.041046
ETHALFLURALIN | 2001 | 82663GCM35 | 2008-08-21 | 2003-10-01 | 2009-09-30 | ug/L | 0.88643 | Protocol | F1070629011 | Protocol F1070629011: 25 µl | 0.14214 | ETHALFLURALIN | . | 0.009 | 0.126 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88643 | Protocol F1070629011 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.771 | 0.078283 | 0.77571 | 0.05537 | 0.041046
ETHALFLURALIN | 2001 | 82663GCM35 | 2008-10-02 | 2003-10-01 | 2009-09-30 | ug/L | 0.75562 | Protocol | F1070629011 | Protocol F1070629011: 25 µl | 0.14558 | ETHALFLURALIN | . | 0.009 | 0.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75562 | Protocol F1070629011 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.771 | 0.078283 | 0.77571 | 0.05537 | 0.041046
ETHALFLURALIN | 2001 | 82663GCM35 | 2013-08-28 | 2010-10-01 | 2050-09-30 | ug/L | 0.71995 | Spex Organics, Accu | T1130517007, 213041078 | Spex Organics T1130517007: 100 µl & Accu 213041078: 100 µl | 0.1514 | ETHALFLURALIN | . | 0.006 | 0.109 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71995 | SpT117007, Ac2131078 | Sp | Ac | Ac | T117007 | 2131078 | 2131078 | T117007 | 2131078 | 2131078 | Y | Recoverable Result | Y | 2 |  | 1 | 0.71995 |  | 0.71995 | 0 | 0
ETHALFLURALIN | 2001 | 82663GCM35 | 2013-12-18 | 2010-10-01 | 2050-09-30 | ug/L | 1.1513 | Spex Organics, ERA | T1130517007, 0318-13-02.1 | Spex Organics T1130517007: 20 µl & ERA 0318-13-02.1: 20 µl | 0.0304 | ETHALFLURALIN | . | 0.006 | 0.035 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1513 | SpT117007, ER03102.1 | Sp | ER | ER | T117007 | 03102.1 | 03102.1 | T117007 | 03102.1 | 03102.1 | Y | Recoverable Result | Y | 2 |  | 1 | 1.1513 |  | 1.1513 | 0 | 0
ETHALFLURALIN | 2001 | 82663GCM35 | 2011-02-25 | 2010-10-01 | 2050-09-30 | ug/L | 0.78854 | Supelco | LB77170 | Supelco LB77170: 80 µl | 0.16359 | ETHALFLURALIN | . | 0.006 | 0.129 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78854 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.87015 | 0.1088 | 0.86634 | 0.079544 | 0.058965
ETHALFLURALIN | 2001 | 82663GCM35 | 2011-03-23 | 2010-10-01 | 2050-09-30 | ug/L | 0.86634 | Supelco | LB77170 | Supelco LB77170: 20 µl | 0.040862 | ETHALFLURALIN | . | 0.006 | 0.0354 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86634 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.87015 | 0.1088 | 0.86634 | 0.079544 | 0.058965
ETHALFLURALIN | 2001 | 82663GCM35 | 2011-06-23 | 2010-10-01 | 2050-09-30 | ug/L | 0.70331 | Supelco | LB77170 | Supelco LB77170: 50 µl | 0.10251 | ETHALFLURALIN | . | 0.006 | 0.0721 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70331 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.87015 | 0.1088 | 0.86634 | 0.079544 | 0.058965
ETHALFLURALIN | 2001 | 82663GCM35 | 2011-07-12 | 2010-10-01 | 2050-09-30 | ug/L | 0.89974 | Supelco | LB77170 | Supelco LB77170: 80 µl | 0.16338 | ETHALFLURALIN | . | 0.006 | 0.147 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89974 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.87015 | 0.1088 | 0.86634 | 0.079544 | 0.058965
ETHALFLURALIN | 2001 | 82663GCM35 | 2011-08-18 | 2010-10-01 | 2050-09-30 | ug/L | 1.1034 | Supelco | LB77170 | Supelco LB77170: 50 µl | 0.1015 | ETHALFLURALIN | . | 0.006 | 0.112 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1034 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.87015 | 0.1088 | 0.86634 | 0.079544 | 0.058965
ETHALFLURALIN | 2001 | 82663GCM35 | 2011-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.88424 | Supelco | LB77170 | Supelco LB77170: 20 µl | 0.0406 | ETHALFLURALIN | . | 0.006 | 0.0359 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88424 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.87015 | 0.1088 | 0.86634 | 0.079544 | 0.058965
ETHALFLURALIN | 2001 | 82663GCM35 | 2011-12-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.9133 | Supelco | LB77170 | Supelco LB77170: 50 µl | 0.1015 | ETHALFLURALIN | . | 0.006 | 0.0927 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9133 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.87015 | 0.1088 | 0.86634 | 0.079544 | 0.058965
ETHALFLURALIN | 2001 | 82663GCM35 | 2012-02-23 | 2010-10-01 | 2050-09-30 | ug/L | 0.8202 | Supelco | LB77170 | Supelco LB77170: 20 µl | 0.0406 | ETHALFLURALIN | . | 0.006 | 0.0333 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8202 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.87015 | 0.1088 | 0.86634 | 0.079544 | 0.058965
ETHALFLURALIN | 2001 | 82663GCM35 | 2012-05-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.85222 | Supelco | LB77170 | Supelco LB77170: 20 µl | 0.0406 | ETHALFLURALIN | . | 0.006 | 0.0346 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85222 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.87015 | 0.1088 | 0.86634 | 0.079544 | 0.058965