## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
FONOFOS | 2001 | 04095GCM35 | 2010-01-05 | 2009-10-01 | 2010-09-30 | ug/L | 1.0479 | Abs | 090409Pest | Abs 090409Pest: 25 µl | 0.020804 | FONOFOS | . | 0.0044 | 0.0218 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0479 | Abs 090409Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.96791 | 0.099834 | 0.9766 | 0.18871 | 0.13989
FONOFOS | 2001 | 04095GCM35 | 2010-06-18 | 2009-10-01 | 2010-09-30 | ug/L | 0.85753 | Abs | 090409Pest | Abs 090409Pest: 80 µl | 0.064837 | FONOFOS | . | 0.0044 | 0.0556 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85753 | Abs 090409Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.96791 | 0.099834 | 0.9766 | 0.18871 | 0.13989
FONOFOS | 2001 | 04095GCM35 | 2010-07-20 | 2009-10-01 | 2010-09-30 | ug/L | 1.0897 | Abs | 090409Pest | Abs 090409Pest: 25 µl | 0.020831 | FONOFOS | . | 0.0044 | 0.0227 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0897 | Abs 090409Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.96791 | 0.099834 | 0.9766 | 0.18871 | 0.13989
FONOFOS | 2001 | 04095GCM35 | 2010-07-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.92947 | Abs | 090409Pest | Abs 090409Pest: 25 µl | 0.021087 | FONOFOS | . | 0.0044 | 0.0196 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92946 | Abs 090409Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.96791 | 0.099834 | 0.9766 | 0.18871 | 0.13989
FONOFOS | 2001 | 04095GCM35 | 2010-08-13 | 2009-10-01 | 2010-09-30 | ug/L | 0.85916 | Abs | 090409Pest | Abs 090409Pest: 80 µl | 0.065762 | FONOFOS | . | 0.0044 | 0.0565 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85916 | Abs 090409Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.96791 | 0.099834 | 0.9766 | 0.18871 | 0.13989
FONOFOS | 2001 | 04095GCM35 | 2010-09-22 | 2009-10-01 | 2010-09-30 | ug/L | 1.0237 | Abs | 090409Pest | Abs 090409Pest: 25 µl | 0.020806 | FONOFOS | . | 0.0044 | 0.0213 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0237 | Abs 090409Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.96791 | 0.099834 | 0.9766 | 0.18871 | 0.13989
FONOFOS | 2001 | 04095GCM35 | 2012-07-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.61368 | Accu, Abs | 212051201, 052212 | Accu 212051201: 20 µl & Abs 052212: 20 µl | 0.03976 | FONOFOS | . | 0.0048 | 0.0244 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61368 | Ac2121201, Ab052212 | Ac | Ab | Ab | 2121201 | 052212 | 052212 | 2121201 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.66273 | 0.043798 | 0.67656 | 0.084256 | 0.062458
FONOFOS | 2001 | 04095GCM35 | 2012-11-27 | 2010-10-01 | 2050-09-30 | ug/L | 0.67656 | Accu, Abs | 212051201, 052212 | Accu 212051201: 40 µl & Abs 052212: 40 µl | 0.07952 | FONOFOS | . | 0.0048 | 0.0538 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67656 | Ac2121201, Ab052212 | Ac | Ab | Ab | 2121201 | 052212 | 052212 | 2121201 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.66273 | 0.043798 | 0.67656 | 0.084256 | 0.062458
FONOFOS | 2001 | 04095GCM35 | 2013-01-29 | 2010-10-01 | 2050-09-30 | ug/L | 0.69794 | Accu, Abs | 212051201, 052212 | Accu 212051201: 80 µl & Abs 052212: 80 µl | 0.15904 | FONOFOS | . | 0.0048 | 0.111 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69794 | Ac2121201, Ab052212 | Ac | Ab | Ab | 2121201 | 052212 | 052212 | 2121201 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.66273 | 0.043798 | 0.67656 | 0.084256 | 0.062458
FONOFOS | 2001 | 04095GCM35 | 2013-03-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.7168 | Accu, NSI | 212051201, 062112-01Pest | Accu 212051201: 20 µl & NSI 062112-01Pest: 20 µl | 0.03976 | FONOFOS | . | 0.0048 | 0.0285 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7168 | Ac2121201, NS062Pest | Ac | NS | NS | 2121201 | 062Pest | 062Pest | 2121201 | 062Pest | 062Pest | Y | Recoverable Result | Y | 2 |  | 2 | 0.64386 | 0.10315 | 0.64386 | 0.14588 | 0.10814
FONOFOS | 2001 | 04095GCM35 | 2013-05-14 | 2010-10-01 | 2050-09-30 | ug/L | 0.57093 | Accu, NSI | 212051201, 062112-01Pest | Accu 212051201: 40 µl & NSI 062112-01Pest: 40 µl | 0.07952 | FONOFOS | . | 0.0048 | 0.0454 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57093 | Ac2121201, NS062Pest | Ac | NS | NS | 2121201 | 062Pest | 062Pest | 2121201 | 062Pest | 062Pest | Y | Recoverable Result | Y | 2 |  | 2 | 0.64386 | 0.10315 | 0.64386 | 0.14588 | 0.10814
FONOFOS | 2001 | 04095GCM35 | 2012-09-01 | 2010-10-01 | 2050-09-30 | ug/L | 0.84256 | Accu, Spex Organics | 212051201, T1120530009 | Accu 212051201: 20 µl & Spex Organics T1120530009: 20 µl | 0.03976 | FONOFOS | . | 0.0048 | 0.0335 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84256 | Ac2121201, SpT110009 | Ac | Sp | Sp | 2121201 | T110009 | T110009 | 2121201 | T110009 | T110009 | Y | Recoverable Result | Y | 2 |  | 1 | 0.84256 |  | 0.84256 | 0 | 0
FONOFOS | 2001 | 04095GCM35 | 2013-10-21 | 2010-10-01 | 2050-09-30 | ug/L | 0.88832 | Accu, Abs | 213041078, 041613 | Accu 213041078: 20 µl & Abs 041613: 20 µl | 0.010244 | FONOFOS | . | 0.0048 | 0.0091 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88832 | Ac2131078, Ab041613 | Ac | Ab | Ab | 2131078 | 041613 | 041613 | 2131078 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.88832 |  | 0.88832 | 0 | 0
FONOFOS | 2001 | 04095GCM35 | 2013-05-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.81609 | Accu, NSI | 213041078, 042313Pest | Accu 213041078: 50 µl & NSI 042313Pest: 50 µl | 0.02561 | FONOFOS | . | 0.0048 | 0.0209 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81609 | Ac2131078, NS042Pest | Ac | NS | NS | 2131078 | 042Pest | 042Pest | 2131078 | 042Pest | 042Pest | Y | Recoverable Result | Y | 2 |  | 1 | 0.81609 |  | 0.81609 | 0 | 0
FONOFOS | 2001 | 04095GCM35 | 2012-07-16 | 2010-10-01 | 2050-09-30 | ug/L | 0.63003 | Accu | 212051201 | Accu 212051201: 40 µl | 0.07952 | FONOFOS | . | 0.0048 | 0.0501 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63003 | Accu 212051201 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.63003 |  | 0.63003 | 0 | 0
FONOFOS | 2001 | 04095GCM35 | 2013-07-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.12195 | ChemService, ERA | 1466000, 0318-13-02.1 | ChemService 1466000: 50 µl & ERA 0318-13-02.1: 50 µl | 0.0246 | FONOFOS | . | 0.0048 | 0.003 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.12195 | Ch1466000, ER03102.1 | Ch | ER | ER | 1466000 | 03102.1 | 03102.1 |  | 03102.1 | 03102.1 | Y | Recoverable Result | Y | 2 |  | 1 | 0.12195 |  | 0.12195 | 0 | 0
FONOFOS | 2001 | 04095GCM35 | 2008-10-31 | 2007-10-01 | 2009-09-30 | ug/L | 0.81534 | Crescent | 08HH018 | Crescent 08HH018: 25 µl | 0.1018 | FONOFOS | . | 0.01 | 0.083 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81534 | Crescent 08HH018 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.1494 | 0.46924 | 0.977 | 0.15809 | 0.11719
FONOFOS | 2001 | 04095GCM35 | 2009-01-20 | 2007-10-01 | 2009-09-30 | ug/L | 0.977 | Crescent | 08HH018 | Crescent 08HH018: 40 µl | 0.16479 | FONOFOS | . | 0.01 | 0.161 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.977 | Crescent 08HH018 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.1494 | 0.46924 | 0.977 | 0.15809 | 0.11719
FONOFOS | 2001 | 04095GCM35 | 2009-03-20 | 2007-10-01 | 2009-09-30 | ug/L | 1.9721 | Crescent | 08HH018 | Crescent 08HH018: 25 µl | 0.10344 | FONOFOS | . | 0.01 | 0.204 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.9721 | Crescent 08HH018 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.1494 | 0.46924 | 0.977 | 0.15809 | 0.11719
FONOFOS | 2001 | 04095GCM35 | 2009-06-10 | 2007-10-01 | 2009-09-30 | ug/L | 1.0703 | Crescent | 08HH018 | Crescent 08HH018: 25 µl | 0.10278 | FONOFOS | . | 0.01 | 0.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0703 | Crescent 08HH018 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.1494 | 0.46924 | 0.977 | 0.15809 | 0.11719
FONOFOS | 2001 | 04095GCM35 | 2009-08-28 | 2007-10-01 | 2009-09-30 | ug/L | 0.91219 | Crescent | 08HH018 | Crescent 08HH018: 40 µl | 0.16225 | FONOFOS | . | 0.01 | 0.148 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91219 | Crescent 08HH018 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.1494 | 0.46924 | 0.977 | 0.15809 | 0.11719
FONOFOS | 2001 | 04095GCM35 | 2013-11-26 | 2010-10-01 | 2050-09-30 | ug/L | 0.26423 | ERA, Abs | 0318-13-02.1, 041613 | ERA 0318-13-02.1: 20 µl & Abs 041613: 20 µl | 0.00984 | FONOFOS | . | 0.0048 | 0.0026 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.26423 | ER03102.1, Ab041613 | ER | Ab | Ab | 03102.1 | 041613 | 041613 | 03102.1 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.26423 |  | 0.26423 | 0 | 0
FONOFOS | 2001 | 04095GCM35 | 2013-08-01 | 2010-10-01 | 2050-09-30 | ug/L | 0.11179 | ERA, NSI | 0318-13-02.1, 042313Pest | ERA 0318-13-02.1: 100 µl & NSI 042313Pest: 100 µl | 0.0492 | FONOFOS | . | 0.0048 | 0.0055 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.11179 | ER03102.1, NS042Pest | ER | NS | NS | 03102.1 | 042Pest | 042Pest | 03102.1 | 042Pest | 042Pest | Y | Recoverable Result | Y | 2 |  | 1 | 0.11179 |  | 0.11179 | 0 | 0
FONOFOS | 2001 | 04095GCM35 | 2012-12-06 | 2010-10-01 | 2050-09-30 | ug/L | 0.69307 | ERA, ChemService | 0507-12-05.1, 348200 | ERA 0507-12-05.1: 20 µl & ChemService 348200: 20 µl | 0.0404 | FONOFOS | . | 0.0048 | 0.028 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69307 | ER05005.1, Ch348200 | ER | Ch | Ch | 05005.1 | 348200 | 348200 | 05005.1 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.55569 | 0.19428 | 0.55569 | 0.27475 | 0.20367
FONOFOS | 2001 | 04095GCM35 | 2013-05-07 | 2010-10-01 | 2050-09-30 | ug/L | 0.41832 | ERA, ChemService | 0507-12-05.1, 348200 | ERA 0507-12-05.1: 20 µl & ChemService 348200: 20 µl | 0.0404 | FONOFOS | . | 0.0048 | 0.0169 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.41832 | ER05005.1, Ch348200 | ER | Ch | Ch | 05005.1 | 348200 | 348200 | 05005.1 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.55569 | 0.19428 | 0.55569 | 0.27475 | 0.20367
FONOFOS | 2001 | 04095GCM35 | 2012-09-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.69554 | ERA, NSI | 0507-12-05.1, 062112-01Pest | ERA 0507-12-05.1: 20 µl & NSI 062112-01Pest: 20 µl | 0.0404 | FONOFOS | . | 0.0048 | 0.0281 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69554 | ER05005.1, NS062Pest | ER | NS | NS | 05005.1 | 062Pest | 062Pest | 05005.1 | 062Pest | 062Pest | Y | Recoverable Result | Y | 2 |  | 1 | 0.69554 |  | 0.69554 | 0 | 0
FONOFOS | 2001 | 04095GCM35 | 2012-11-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.74257 | ERA, Spex Organics | 0507-12-05.1, T1120530009 | ERA 0507-12-05.1: 40 µl & Spex Organics T1120530009: 40 µl | 0.0808 | FONOFOS | . | 0.0048 | 0.06 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74257 | ER05005.1, SpT110009 | ER | Sp | Sp | 05005.1 | T110009 | T110009 | 05005.1 | T110009 | T110009 | Y | Recoverable Result | Y | 2 |  | 2 | 0.71473 | 0.039381 | 0.71473 | 0.055693 | 0.041285
FONOFOS | 2001 | 04095GCM35 | 2013-03-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.68688 | ERA, Spex Organics | 0507-12-05.1, T1120530009 | ERA 0507-12-05.1: 80 µl & Spex Organics T1120530009: 80 µl | 0.1616 | FONOFOS | . | 0.0048 | 0.111 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68688 | ER05005.1, SpT110009 | ER | Sp | Sp | 05005.1 | T110009 | T110009 | 05005.1 | T110009 | T110009 | Y | Recoverable Result | Y | 2 |  | 2 | 0.71473 | 0.039381 | 0.71473 | 0.055693 | 0.041285
FONOFOS | 2001 | 04095GCM35 | 2011-02-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.70586 | NSI | 070810-01 | NSI 070810-01: 20 µl | 0.086561 | FONOFOS | . | 0.0048 | 0.0611 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70586 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.73978 | 0.065267 | 0.77041 | 0.077213 | 0.057237
FONOFOS | 2001 | 04095GCM35 | 2011-03-15 | 2010-10-01 | 2050-09-30 | ug/L | 0.76342 | NSI | 070810-01 | NSI 070810-01: 50 µl | 0.21875 | FONOFOS | . | 0.0048 | 0.167 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76342 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.73978 | 0.065267 | 0.77041 | 0.077213 | 0.057237
FONOFOS | 2001 | 04095GCM35 | 2011-05-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.7993 | NSI | 070810-01 | NSI 070810-01: 80 µl | 0.35781 | FONOFOS | . | 0.0048 | 0.286 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7993 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.73978 | 0.065267 | 0.77041 | 0.077213 | 0.057237
FONOFOS | 2001 | 04095GCM35 | 2011-06-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.78307 | NSI | 070810-01 | NSI 070810-01: 20 µl | 0.088497 | FONOFOS | . | 0.0048 | 0.0693 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78307 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.73978 | 0.065267 | 0.77041 | 0.077213 | 0.057237
FONOFOS | 2001 | 04095GCM35 | 2011-08-02 | 2010-10-01 | 2050-09-30 | ug/L | 0.80817 | NSI | 070810-01 | NSI 070810-01: 80 µl | 0.3576 | FONOFOS | . | 0.0048 | 0.289 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80817 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.73978 | 0.065267 | 0.77041 | 0.077213 | 0.057237
FONOFOS | 2001 | 04095GCM35 | 2011-09-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.783 | NSI | 070810-01 | NSI 070810-01: 50 µl | 0.2235 | FONOFOS | . | 0.0048 | 0.175 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.783 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.73978 | 0.065267 | 0.77041 | 0.077213 | 0.057237
FONOFOS | 2001 | 04095GCM35 | 2011-11-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.64877 | NSI | 070810-01 | NSI 070810-01: 20 µl | 0.0894 | FONOFOS | . | 0.0048 | 0.058 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64877 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.73978 | 0.065267 | 0.77041 | 0.077213 | 0.057237
FONOFOS | 2001 | 04095GCM35 | 2012-01-21 | 2010-10-01 | 2050-09-30 | ug/L | 0.77741 | NSI | 070810-01 | NSI 070810-01: 80 µl | 0.3576 | FONOFOS | . | 0.0048 | 0.278 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7774 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.73978 | 0.065267 | 0.77041 | 0.077213 | 0.057237
FONOFOS | 2001 | 04095GCM35 | 2012-05-05 | 2010-10-01 | 2050-09-30 | ug/L | 0.62192 | NSI | 070810-01 | NSI 070810-01: 50 µl | 0.2235 | FONOFOS | . | 0.0048 | 0.139 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62192 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.73978 | 0.065267 | 0.77041 | 0.077213 | 0.057237
FONOFOS | 2001 | 04095GCM35 | 2012-06-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.70694 | NSI | 070810-01 | NSI 070810-01: 50 µl | 0.2235 | FONOFOS | . | 0.0048 | 0.158 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70694 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.73978 | 0.065267 | 0.77041 | 0.077213 | 0.057237
FONOFOS | 2001 | 04095GCM35 | 2008-11-21 | 2007-10-01 | 2009-09-30 | ug/L | 0.95717 | NSI | 081108-01Pest | NSI 081108-01Pest: 40 µl | 0.16925 | FONOFOS | . | 0.01 | 0.162 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95717 | NSI 081108-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.87015 | 0.16115 | 0.89794 | 0.078634 | 0.058291
FONOFOS | 2001 | 04095GCM35 | 2009-03-23 | 2007-10-01 | 2009-09-30 | ug/L | 1.0181 | NSI | 081108-01Pest | NSI 081108-01Pest: 25 µl | 0.11688 | FONOFOS | . | 0.01 | 0.119 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0181 | NSI 081108-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.87015 | 0.16115 | 0.89794 | 0.078634 | 0.058291
FONOFOS | 2001 | 04095GCM35 | 2009-05-01 | 2007-10-01 | 2009-09-30 | ug/L | 0.89794 | NSI | 081108-01Pest | NSI 081108-01Pest: 40 µl | 0.16816 | FONOFOS | . | 0.01 | 0.151 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89794 | NSI 081108-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.87015 | 0.16115 | 0.89794 | 0.078634 | 0.058291
FONOFOS | 2001 | 04095GCM35 | 2009-07-30 | 2007-10-01 | 2009-09-30 | ug/L | 0.87854 | NSI | 081108-01Pest | NSI 081108-01Pest: 25 µl | 0.10472 | FONOFOS | . | 0.01 | 0.092 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87853 | NSI 081108-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.87015 | 0.16115 | 0.89794 | 0.078634 | 0.058291
FONOFOS | 2001 | 04095GCM35 | 2009-09-25 | 2007-10-01 | 2009-09-30 | ug/L | 0.59894 | NSI | 081108-01Pest | NSI 081108-01Pest: 25 µl | 0.10519 | FONOFOS | . | 0.01 | 0.063 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59894 | NSI 081108-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.87015 | 0.16115 | 0.89794 | 0.078634 | 0.058291
FONOFOS | 2001 | 04095GCM35 | 2008-05-01 | 2007-10-01 | 2009-09-30 | ug/L | 1.0729 | NWQL | PSP3SP140C | NWQL PSP3SP140C: 50 µl | 0.051261 | FONOFOS | . | 0.01 | 0.055 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0729 | NWQL PSP3SP140C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.0686 | 0.13291 | 1.0729 | 0.26572 | 0.19698
FONOFOS | 2001 | 04095GCM35 | 2008-06-25 | 2007-10-01 | 2009-09-30 | ug/L | 0.93351 | NWQL | PSP3SP140C | NWQL PSP3SP140C: 50 µl | 0.050347 | FONOFOS | . | 0.01 | 0.047 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93351 | NWQL PSP3SP140C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.0686 | 0.13291 | 1.0729 | 0.26572 | 0.19698
FONOFOS | 2001 | 04095GCM35 | 2008-08-19 | 2007-10-01 | 2009-09-30 | ug/L | 1.1992 | NWQL | PSP3SP140C | NWQL PSP3SP140C: 50 µl | 0.049198 | FONOFOS | . | 0.01 | 0.059 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1992 | NWQL PSP3SP140C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.0686 | 0.13291 | 1.0729 | 0.26572 | 0.19698
FONOFOS | 2001 | 04095GCM35 | 2009-04-08 | 2007-10-01 | 2009-09-30 | ug/L | 1.1366 | NWQL | PSP3SP140D | NWQL PSP3SP140D: 50 µl | 0.051031 | FONOFOS | . | 0.01 | 0.058 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1366 | NWQL PSP3SP140D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1396 | 0.14131 | 1.13 | 0.17896 | 0.13266
FONOFOS | 2001 | 04095GCM35 | 2009-04-14 | 2007-10-01 | 2009-09-30 | ug/L | 1.3216 | NWQL | PSP3SP140D | NWQL PSP3SP140D: 50 µl | 0.04994 | FONOFOS | . | 0.01 | 0.066 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3216 | NWQL PSP3SP140D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1396 | 0.14131 | 1.13 | 0.17896 | 0.13266
FONOFOS | 2001 | 04095GCM35 | 2009-06-24 | 2007-10-01 | 2009-09-30 | ug/L | 1.1235 | NWQL | PSP3SP140D | NWQL PSP3SP140D: 50 µl | 0.049845 | FONOFOS | . | 0.01 | 0.056 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1235 | NWQL PSP3SP140D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1396 | 0.14131 | 1.13 | 0.17896 | 0.13266
FONOFOS | 2001 | 04095GCM35 | 2009-08-21 | 2007-10-01 | 2009-09-30 | ug/L | 0.97677 | NWQL | PSP3SP140D | NWQL PSP3SP140D: 50 µl | 0.050165 | FONOFOS | . | 0.01 | 0.049 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97677 | NWQL PSP3SP140D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1396 | 0.14131 | 1.13 | 0.17896 | 0.13266
FONOFOS | 2001 | 04095GCM35 | 2010-06-24 | 2009-10-01 | 2010-09-30 | ug/L | 1.4092 | NWQL | PSP3SP142A | NWQL PSP3SP142A: 40 µl | 0.039809 | FONOFOS | . | 0.0044 | 0.0561 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4092 | NWQL PSP3SP142A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.1377 | 0.28718 | 1.1667 | 0.57215 | 0.42413
FONOFOS | 2001 | 04095GCM35 | 2010-07-14 | 2009-10-01 | 2010-09-30 | ug/L | 1.1667 | NWQL | PSP3SP142A | NWQL PSP3SP142A: 40 µl | 0.0408 | FONOFOS | . | 0.0044 | 0.0476 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1667 | NWQL PSP3SP142A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.1377 | 0.28718 | 1.1667 | 0.57215 | 0.42413
FONOFOS | 2001 | 04095GCM35 | 2010-07-28 | 2009-10-01 | 2010-09-30 | ug/L | 0.83708 | NWQL | PSP3SP142A | NWQL PSP3SP142A: 40 µl | 0.04002 | FONOFOS | . | 0.0044 | 0.0335 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83708 | NWQL PSP3SP142A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.1377 | 0.28718 | 1.1667 | 0.57215 | 0.42413
FONOFOS | 2001 | 04095GCM35 | 2013-08-28 | 2010-10-01 | 2050-09-30 | ug/L | 1.0172 | Spex Organics, Accu | T1130517007, 213041078 | Spex Organics T1130517007: 100 µl & Accu 213041078: 100 µl | 0.05122 | FONOFOS | . | 0.0048 | 0.0521 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0172 | SpT117007, Ac2131078 | Sp | Ac | Ac | T117007 | 2131078 | 2131078 | T117007 | 2131078 | 2131078 | Y | Recoverable Result | Y | 2 |  | 1 | 1.0172 |  | 1.0172 | 0 | 0
FONOFOS | 2001 | 04095GCM35 | 2013-12-18 | 2010-10-01 | 2050-09-30 | ug/L | 0.29472 | Spex Organics, ERA | T1130517007, 0318-13-02.1 | Spex Organics T1130517007: 20 µl & ERA 0318-13-02.1: 20 µl | 0.00984 | FONOFOS | . | 0.0048 | 0.0029 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.29472 | SpT117007, ER03102.1 | Sp | ER | ER | T117007 | 03102.1 | 03102.1 | T117007 | 03102.1 | 03102.1 | Y | Recoverable Result | Y | 2 |  | 1 | 0.29472 |  | 0.29472 | 0 | 0
FONOFOS | 2001 | 04095GCM35 | 2011-02-25 | 2010-10-01 | 2050-09-30 | ug/L | 0.87025 | Supelco | LB77170 | Supelco LB77170: 80 µl | 0.35967 | FONOFOS | . | 0.0048 | 0.313 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87025 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.77532 | 0.092033 | 0.74838 | 0.16917 | 0.1254
FONOFOS | 2001 | 04095GCM35 | 2011-03-23 | 2010-10-01 | 2050-09-30 | ug/L | 0.669 | Supelco | LB77170 | Supelco LB77170: 20 µl | 0.089835 | FONOFOS | . | 0.0048 | 0.0601 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66901 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.77532 | 0.092033 | 0.74838 | 0.16917 | 0.1254
FONOFOS | 2001 | 04095GCM35 | 2011-06-23 | 2010-10-01 | 2050-09-30 | ug/L | 0.9007 | Supelco | LB77170 | Supelco LB77170: 50 µl | 0.22538 | FONOFOS | . | 0.0048 | 0.203 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9007 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.77532 | 0.092033 | 0.74838 | 0.16917 | 0.1254
FONOFOS | 2001 | 04095GCM35 | 2011-07-12 | 2010-10-01 | 2050-09-30 | ug/L | 0.8185 | Supelco | LB77170 | Supelco LB77170: 80 µl | 0.3592 | FONOFOS | . | 0.0048 | 0.294 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8185 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.77532 | 0.092033 | 0.74838 | 0.16917 | 0.1254
FONOFOS | 2001 | 04095GCM35 | 2011-08-18 | 2010-10-01 | 2050-09-30 | ug/L | 0.86937 | Supelco | LB77170 | Supelco LB77170: 50 µl | 0.22315 | FONOFOS | . | 0.0048 | 0.194 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86937 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.77532 | 0.092033 | 0.74838 | 0.16917 | 0.1254
FONOFOS | 2001 | 04095GCM35 | 2011-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.7002 | Supelco | LB77170 | Supelco LB77170: 20 µl | 0.08926 | FONOFOS | . | 0.0048 | 0.0625 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7002 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.77532 | 0.092033 | 0.74838 | 0.16917 | 0.1254
FONOFOS | 2001 | 04095GCM35 | 2011-12-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.74838 | Supelco | LB77170 | Supelco LB77170: 50 µl | 0.22315 | FONOFOS | E | 0.0048 | 0.167 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74838 | Supelco LB77170 | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 0.77532 | 0.092033 | 0.74838 | 0.16917 | 0.1254
FONOFOS | 2001 | 04095GCM35 | 2012-02-23 | 2010-10-01 | 2050-09-30 | ug/L | 0.74277 | Supelco | LB77170 | Supelco LB77170: 20 µl | 0.08926 | FONOFOS | . | 0.0048 | 0.0663 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74277 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.77532 | 0.092033 | 0.74838 | 0.16917 | 0.1254
FONOFOS | 2001 | 04095GCM35 | 2012-05-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.65875 | Supelco | LB77170 | Supelco LB77170: 20 µl | 0.08926 | FONOFOS | . | 0.0048 | 0.0588 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65875 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.77532 | 0.092033 | 0.74838 | 0.16917 | 0.1254
FONOFOS | 2001 | 04095GCM35 | 2008-04-24 | 2007-10-01 | 2009-09-30 | ug/L | 1.4479 | Ultra | CD-2090 | Ultra CD-2090: 25 µl | 0.01036 | FONOFOS | E | 0.01 | 0.015 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4479 | Ultra CD-2090 | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 1.1267 | 0.16586 | 1.1015 | 0.097953 | 0.072612
FONOFOS | 2001 | 04095GCM35 | 2008-04-29 | 2007-10-01 | 2009-09-30 | ug/L | 1.0957 | Ultra | CD-2090 | Ultra CD-2090: 25 µl | 0.010039 | FONOFOS | . | 0.01 | 0.011 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0957 | Ultra CD-2090 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.1267 | 0.16586 | 1.1015 | 0.097953 | 0.072612
FONOFOS | 2001 | 04095GCM35 | 2008-05-06 | 2007-10-01 | 2009-09-30 | ug/L | 1.1072 | Ultra | CD-2090 | Ultra CD-2090: 25 µl | 0.0099346 | FONOFOS | . | 0.01 | 0.011 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.1072 | Ultra CD-2090 | [9 empty] | Y | Recoverable Result | Y | 1 |  | 6 | 1.1267 | 0.16586 | 1.1015 | 0.097953 | 0.072612
FONOFOS | 2001 | 04095GCM35 | 2008-07-10 | 2007-10-01 | 2009-09-30 | ug/L | 1.1104 | Ultra | CD-2090 | Ultra CD-2090: 25 µl | 0.0099061 | FONOFOS | . | 0.01 | 0.011 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.1104 | Ultra CD-2090 | [9 empty] | Y | Recoverable Result | Y | 1 |  | 6 | 1.1267 | 0.16586 | 1.1015 | 0.097953 | 0.072612
FONOFOS | 2001 | 04095GCM35 | 2008-08-04 | 2007-10-01 | 2009-09-30 | ug/L | 1.0125 | Ultra | CD-2090 | Ultra CD-2090: 25 µl | 0.0098768 | FONOFOS | . | 0.01 | 0.01 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.0125 | Ultra CD-2090 | [9 empty] | Y | Recoverable Result | Y | 1 |  | 6 | 1.1267 | 0.16586 | 1.1015 | 0.097953 | 0.072612
FONOFOS | 2001 | 04095GCM35 | 2008-09-24 | 2007-10-01 | 2009-09-30 | ug/L | 0.98633 | Ultra | CD-2090 | Ultra CD-2090: 25 µl | 0.010139 | FONOFOS | . | 0.01 | 0.01 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98633 | Ultra CD-2090 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.1267 | 0.16586 | 1.1015 | 0.097953 | 0.072612