## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
MOLINATE | 2001 | 82671GCM35 | 2010-01-05 | 2009-10-01 | 2010-09-30 | ug/L | 1.5293 | Abs | 090409Pest | Abs 090409Pest: 25 µl | 0.0060156 | MOLINATE | . | 0.0026 | 0.0092 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.5294 | Abs 090409Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.3682 | 0.22239 | 1.2794 | 0.32924 | 0.24406
MOLINATE | 2001 | 82671GCM35 | 2010-06-18 | 2009-10-01 | 2010-09-30 | ug/L | 1.2001 | Abs | 090409Pest | Abs 090409Pest: 80 µl | 0.018748 | MOLINATE | . | 0.0026 | 0.0225 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2001 | Abs 090409Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.3682 | 0.22239 | 1.2794 | 0.32924 | 0.24406
MOLINATE | 2001 | 82671GCM35 | 2010-07-20 | 2009-10-01 | 2010-09-30 | ug/L | 1.7432 | Abs | 090409Pest | Abs 090409Pest: 25 µl | 0.0060235 | MOLINATE | . | 0.0026 | 0.0105 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.7432 | Abs 090409Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.3682 | 0.22239 | 1.2794 | 0.32924 | 0.24406
MOLINATE | 2001 | 82671GCM35 | 2010-07-21 | 2009-10-01 | 2010-09-30 | ug/L | 1.2956 | Abs | 090409Pest | Abs 090409Pest: 25 µl | 0.0060976 | MOLINATE | . | 0.0026 | 0.0079 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2956 | Abs 090409Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.3682 | 0.22239 | 1.2794 | 0.32924 | 0.24406
MOLINATE | 2001 | 82671GCM35 | 2010-08-13 | 2009-10-01 | 2010-09-30 | ug/L | 1.178 | Abs | 090409Pest | Abs 090409Pest: 80 µl | 0.019016 | MOLINATE | . | 0.0026 | 0.0224 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.178 | Abs 090409Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.3682 | 0.22239 | 1.2794 | 0.32924 | 0.24406
MOLINATE | 2001 | 82671GCM35 | 2010-09-22 | 2009-10-01 | 2010-09-30 | ug/L | 1.2632 | Abs | 090409Pest | Abs 090409Pest: 25 µl | 0.0060162 | MOLINATE | . | 0.0026 | 0.0076 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2633 | Abs 090409Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.3682 | 0.22239 | 1.2794 | 0.32924 | 0.24406
MOLINATE | 2001 | 82671GCM35 | 2012-07-24 | 2010-10-01 | 2012-09-30 | ug/L | 0.86241 | Accu, Abs | 212051201, 052212 | Accu 212051201: 20 µl & Abs 052212: 20 µl | 0.04012 | MOLINATE | . | 0.004 | 0.0346 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86241 | Ac2121201, Ab052212 | Ac | Ab | Ab | 2121201 | 052212 | 052212 | 2121201 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.86906 | 0.043997 | 0.86241 | 0.087238 | 0.064669
MOLINATE | 2001 | 82671GCM35 | 2012-11-27 | 2012-10-01 | 2050-09-30 | ug/L | 0.916 | Accu, Abs | 212051201, 052212 | Accu 212051201: 40 µl & Abs 052212: 40 µl | 0.08024 | MOLINATE | . | 0.008 | 0.0735 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.916 | Ac2121201, Ab052212 | Ac | Ab | Ab | 2121201 | 052212 | 052212 | 2121201 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.86906 | 0.043997 | 0.86241 | 0.087238 | 0.064669
MOLINATE | 2001 | 82671GCM35 | 2013-01-29 | 2012-10-01 | 2050-09-30 | ug/L | 0.82876 | Accu, Abs | 212051201, 052212 | Accu 212051201: 80 µl & Abs 052212: 80 µl | 0.16048 | MOLINATE | . | 0.008 | 0.133 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82876 | Ac2121201, Ab052212 | Ac | Ab | Ab | 2121201 | 052212 | 052212 | 2121201 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.86906 | 0.043997 | 0.86241 | 0.087238 | 0.064669
MOLINATE | 2001 | 82671GCM35 | 2013-03-19 | 2012-10-01 | 2050-09-30 | ug/L | 1.0693 | Accu, NSI | 212051201, 062112-01Pest | Accu 212051201: 20 µl & NSI 062112-01Pest: 20 µl | 0.04012 | MOLINATE | . | 0.008 | 0.0429 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0693 | Ac2121201, NS062Pest | Ac | NS | NS | 2121201 | 062Pest | 062Pest | 2121201 | 062Pest | 062Pest | Y | Recoverable Result | Y | 2 |  | 2 | 0.98642 | 0.1172 | 0.98642 | 0.16575 | 0.12287
MOLINATE | 2001 | 82671GCM35 | 2013-05-14 | 2012-10-01 | 2050-09-30 | ug/L | 0.90354 | Accu, NSI | 212051201, 062112-01Pest | Accu 212051201: 40 µl & NSI 062112-01Pest: 40 µl | 0.08024 | MOLINATE | . | 0.008 | 0.0725 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90354 | Ac2121201, NS062Pest | Ac | NS | NS | 2121201 | 062Pest | 062Pest | 2121201 | 062Pest | 062Pest | Y | Recoverable Result | Y | 2 |  | 2 | 0.98642 | 0.1172 | 0.98642 | 0.16575 | 0.12287
MOLINATE | 2001 | 82671GCM35 | 2012-09-01 | 2010-10-01 | 2012-09-30 | ug/L | 1.0219 | Accu, Spex Organics | 212051201, T1120530009 | Accu 212051201: 20 µl & Spex Organics T1120530009: 20 µl | 0.04012 | MOLINATE | . | 0.004 | 0.041 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0219 | Ac2121201, SpT110009 | Ac | Sp | Sp | 2121201 | T110009 | T110009 | 2121201 | T110009 | T110009 | Y | Recoverable Result | Y | 2 |  | 1 | 1.0219 |  | 1.0219 | 0 | 0
MOLINATE | 2001 | 82671GCM35 | 2013-10-21 | 2012-10-01 | 2050-09-30 | ug/L | 0.97319 | Accu, Abs | 213041078, 041613 | Accu 213041078: 20 µl & Abs 041613: 20 µl | 0.02014 | MOLINATE | . | 0.008 | 0.0196 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97319 | Ac2131078, Ab041613 | Ac | Ab | Ab | 2131078 | 041613 | 041613 | 2131078 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.97319 |  | 0.97319 | 0 | 0
MOLINATE | 2001 | 82671GCM35 | 2013-05-22 | 2012-10-01 | 2050-09-30 | ug/L | 1.0387 | Accu, NSI | 213041078, 042313Pest | Accu 213041078: 50 µl & NSI 042313Pest: 50 µl | 0.05035 | MOLINATE | . | 0.008 | 0.0523 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0387 | Ac2131078, NS042Pest | Ac | NS | NS | 2131078 | 042Pest | 042Pest | 2131078 | 042Pest | 042Pest | Y | Recoverable Result | Y | 2 |  | 1 | 1.0387 |  | 1.0387 | 0 | 0
MOLINATE | 2001 | 82671GCM35 | 2012-07-16 | 2010-10-01 | 2012-09-30 | ug/L | 0.83624 | Accu | 212051201 | Accu 212051201: 40 µl | 0.08024 | MOLINATE | . | 0.004 | 0.0671 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83624 | Accu 212051201 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.83624 |  | 0.83624 | 0 | 0
MOLINATE | 2001 | 82671GCM35 | 2013-07-17 | 2012-10-01 | 2050-09-30 | ug/L | 0.534 | ChemService, ERA | 1466000, 0318-13-02.1 | ChemService 1466000: 50 µl & ERA 0318-13-02.1: 50 µl | 0.05 | MOLINATE | . | 0.008 | 0.0267 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.534 | Ch1466000, ER03102.1 | Ch | ER | ER | 1466000 | 03102.1 | 03102.1 |  | 03102.1 | 03102.1 | Y | Recoverable Result | Y | 2 |  | 1 | 0.534 |  | 0.534 | 0 | 0
MOLINATE | 2001 | 82671GCM35 | 2008-10-31 | 2008-10-01 | 2009-09-30 | ug/L | 1.2083 | Crescent | 08HH018 | Crescent 08HH018: 25 µl | 0.012414 | MOLINATE | . | 0.002 | 0.015 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2083 | Crescent 08HH018 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.3482 | 0.36976 | 1.2083 | 0.13207 | 0.097902
MOLINATE | 2001 | 82671GCM35 | 2009-01-20 | 2008-10-01 | 2009-09-30 | ug/L | 1.1445 | Crescent | 08HH018 | Crescent 08HH018: 40 µl | 0.020097 | MOLINATE | . | 0.002 | 0.023 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1445 | Crescent 08HH018 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.3482 | 0.36976 | 1.2083 | 0.13207 | 0.097902
MOLINATE | 2001 | 82671GCM35 | 2009-03-20 | 2008-10-01 | 2009-09-30 | ug/L | 8.8785 | Crescent | 08HH018 | Crescent 08HH018: 25 µl | 0.012615 | MOLINATE | . | 0.002 | 0.112 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 2 | Crescent 08HH018 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.3482 | 0.36976 | 1.2083 | 0.13207 | 0.097902 | 2
MOLINATE | 2001 | 82671GCM35 | 2009-06-10 | 2008-10-01 | 2009-09-30 | ug/L | 1.2765 | Crescent | 08HH018 | Crescent 08HH018: 25 µl | 0.012534 | MOLINATE | . | 0.002 | 0.016 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2765 | Crescent 08HH018 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.3482 | 0.36976 | 1.2083 | 0.13207 | 0.097902
MOLINATE | 2001 | 82671GCM35 | 2009-08-28 | 2008-10-01 | 2009-09-30 | ug/L | 1.1119 | Crescent | 08HH018 | Crescent 08HH018: 40 µl | 0.019786 | MOLINATE | . | 0.002 | 0.022 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1119 | Crescent 08HH018 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.3482 | 0.36976 | 1.2083 | 0.13207 | 0.097902
MOLINATE | 2001 | 82671GCM35 | 2013-11-26 | 2012-10-01 | 2050-09-30 | ug/L | 0.645 | ERA, Abs | 0318-13-02.1, 041613 | ERA 0318-13-02.1: 20 µl & Abs 041613: 20 µl | 0.02 | MOLINATE | . | 0.008 | 0.0129 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.645 | ER03102.1, Ab041613 | ER | Ab | Ab | 03102.1 | 041613 | 041613 | 03102.1 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.645 |  | 0.645 | 0 | 0
MOLINATE | 2001 | 82671GCM35 | 2013-08-01 | 2012-10-01 | 2050-09-30 | ug/L | 0.557 | ERA, NSI | 0318-13-02.1, 042313Pest | ERA 0318-13-02.1: 100 µl & NSI 042313Pest: 100 µl | 0.1 | MOLINATE | . | 0.008 | 0.0557 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.557 | ER03102.1, NS042Pest | ER | NS | NS | 03102.1 | 042Pest | 042Pest | 03102.1 | 042Pest | 042Pest | Y | Recoverable Result | Y | 2 |  | 1 | 0.557 |  | 0.557 | 0 | 0
MOLINATE | 2001 | 82671GCM35 | 2012-12-06 | 2012-10-01 | 2050-09-30 | ug/L | 0.98 | ERA, ChemService | 0507-12-05.1, 348200 | ERA 0507-12-05.1: 20 µl & ChemService 348200: 20 µl | 0.04 | MOLINATE | . | 0.008 | 0.0392 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98 | ER05005.1, Ch348200 | ER | Ch | Ch | 05005.1 | 348200 | 348200 | 05005.1 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.91375 | 0.093692 | 0.91375 | 0.1325 | 0.098221
MOLINATE | 2001 | 82671GCM35 | 2013-05-07 | 2012-10-01 | 2050-09-30 | ug/L | 0.8475 | ERA, ChemService | 0507-12-05.1, 348200 | ERA 0507-12-05.1: 20 µl & ChemService 348200: 20 µl | 0.04 | MOLINATE | . | 0.008 | 0.0339 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8475 | ER05005.1, Ch348200 | ER | Ch | Ch | 05005.1 | 348200 | 348200 | 05005.1 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.91375 | 0.093692 | 0.91375 | 0.1325 | 0.098221
MOLINATE | 2001 | 82671GCM35 | 2012-09-22 | 2010-10-01 | 2012-09-30 | ug/L | 0.925 | ERA, NSI | 0507-12-05.1, 062112-01Pest | ERA 0507-12-05.1: 20 µl & NSI 062112-01Pest: 20 µl | 0.04 | MOLINATE | . | 0.004 | 0.037 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.925 | ER05005.1, NS062Pest | ER | NS | NS | 05005.1 | 062Pest | 062Pest | 05005.1 | 062Pest | 062Pest | Y | Recoverable Result | Y | 2 |  | 1 | 0.925 |  | 0.925 | 0 | 0
MOLINATE | 2001 | 82671GCM35 | 2012-11-08 | 2012-10-01 | 2050-09-30 | ug/L | 0.895 | ERA, Spex Organics | 0507-12-05.1, T1120530009 | ERA 0507-12-05.1: 40 µl & Spex Organics T1120530009: 40 µl | 0.08 | MOLINATE | . | 0.008 | 0.0716 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.895 | ER05005.1, SpT110009 | ER | Sp | Sp | 05005.1 | T110009 | T110009 | 05005.1 | T110009 | T110009 | Y | Recoverable Result | Y | 2 |  | 2 | 0.88812 | 0.0097227 | 0.88812 | 0.01375 | 0.010193
MOLINATE | 2001 | 82671GCM35 | 2013-03-19 | 2012-10-01 | 2050-09-30 | ug/L | 0.88125 | ERA, Spex Organics | 0507-12-05.1, T1120530009 | ERA 0507-12-05.1: 80 µl & Spex Organics T1120530009: 80 µl | 0.16 | MOLINATE | . | 0.008 | 0.141 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88125 | ER05005.1, SpT110009 | ER | Sp | Sp | 05005.1 | T110009 | T110009 | 05005.1 | T110009 | T110009 | Y | Recoverable Result | Y | 2 |  | 2 | 0.88812 | 0.0097227 | 0.88812 | 0.01375 | 0.010193
MOLINATE | 2001 | 82671GCM35 | 2011-02-10 | 2010-10-01 | 2012-09-30 | ug/L | 1.26 | NSI | 070810-01 | NSI 070810-01: 20 µl | 0.0048412 | MOLINATE | . | 0.004 | 0.0061 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.26 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.0507 | 0.12173 | 1.044 | 0.11834 | 0.087727
MOLINATE | 2001 | 82671GCM35 | 2011-03-15 | 2010-10-01 | 2012-09-30 | ug/L | 0.85823 | NSI | 070810-01 | NSI 070810-01: 50 µl | 0.012235 | MOLINATE | . | 0.004 | 0.0105 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85823 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.0507 | 0.12173 | 1.044 | 0.11834 | 0.087727
MOLINATE | 2001 | 82671GCM35 | 2011-05-17 | 2010-10-01 | 2012-09-30 | ug/L | 1.0943 | NSI | 070810-01 | NSI 070810-01: 80 µl | 0.020012 | MOLINATE | . | 0.004 | 0.0219 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0943 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.0507 | 0.12173 | 1.044 | 0.11834 | 0.087727
MOLINATE | 2001 | 82671GCM35 | 2011-06-10 | 2010-10-01 | 2012-09-30 | ug/L | 1.2122 | NSI | 070810-01 | NSI 070810-01: 20 µl | 0.0049495 | MOLINATE | . | 0.004 | 0.006 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2122 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.0507 | 0.12173 | 1.044 | 0.11834 | 0.087727
MOLINATE | 2001 | 82671GCM35 | 2011-08-02 | 2010-10-01 | 2012-09-30 | ug/L | 0.925 | NSI | 070810-01 | NSI 070810-01: 80 µl | 0.02 | MOLINATE | . | 0.004 | 0.0185 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.925 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.0507 | 0.12173 | 1.044 | 0.11834 | 0.087727
MOLINATE | 2001 | 82671GCM35 | 2011-09-10 | 2010-10-01 | 2012-09-30 | ug/L | 1.048 | NSI | 070810-01 | NSI 070810-01: 50 µl | 0.0125 | MOLINATE | . | 0.004 | 0.0131 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.048 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.0507 | 0.12173 | 1.044 | 0.11834 | 0.087727
MOLINATE | 2001 | 82671GCM35 | 2011-11-17 | 2010-10-01 | 2012-09-30 | ug/L | 1.04 | NSI | 070810-01 | NSI 070810-01: 20 µl | 0.005 | MOLINATE | . | 0.004 | 0.0052 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.04 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.0507 | 0.12173 | 1.044 | 0.11834 | 0.087727
MOLINATE | 2001 | 82671GCM35 | 2012-01-21 | 2010-10-01 | 2012-09-30 | ug/L | 1.085 | NSI | 070810-01 | NSI 070810-01: 80 µl | 0.02 | MOLINATE | . | 0.004 | 0.0217 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.085 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.0507 | 0.12173 | 1.044 | 0.11834 | 0.087727
MOLINATE | 2001 | 82671GCM35 | 2012-05-05 | 2010-10-01 | 2012-09-30 | ug/L | 0.976 | NSI | 070810-01 | NSI 070810-01: 50 µl | 0.0125 | MOLINATE | . | 0.004 | 0.0122 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.976 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.0507 | 0.12173 | 1.044 | 0.11834 | 0.087727
MOLINATE | 2001 | 82671GCM35 | 2012-06-22 | 2010-10-01 | 2012-09-30 | ug/L | 1.008 | NSI | 070810-01 | NSI 070810-01: 50 µl | 0.0125 | MOLINATE | . | 0.004 | 0.0126 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.008 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 1.0507 | 0.12173 | 1.044 | 0.11834 | 0.087727
MOLINATE | 2001 | 82671GCM35 | 2008-11-21 | 2008-10-01 | 2009-09-30 | ug/L | 1.3634 | NSI | 081108-01Pest | NSI 081108-01Pest: 40 µl | 0.01907 | MOLINATE | . | 0.002 | 0.026 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3634 | NSI 081108-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.1585 | 0.17198 | 1.1083 | 0.18912 | 0.14019
MOLINATE | 2001 | 82671GCM35 | 2009-03-23 | 2008-10-01 | 2009-09-30 | ug/L | 1.2909 | NSI | 081108-01Pest | NSI 081108-01Pest: 25 µl | 0.013169 | MOLINATE | . | 0.002 | 0.017 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2909 | NSI 081108-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.1585 | 0.17198 | 1.1083 | 0.18912 | 0.14019
MOLINATE | 2001 | 82671GCM35 | 2009-05-01 | 2008-10-01 | 2009-09-30 | ug/L | 1.1083 | NSI | 081108-01Pest | NSI 081108-01Pest: 40 µl | 0.018948 | MOLINATE | . | 0.002 | 0.021 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1083 | NSI 081108-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.1585 | 0.17198 | 1.1083 | 0.18912 | 0.14019
MOLINATE | 2001 | 82671GCM35 | 2009-07-30 | 2008-10-01 | 2009-09-30 | ug/L | 1.1018 | NSI | 081108-01Pest | NSI 081108-01Pest: 25 µl | 0.011799 | MOLINATE | . | 0.002 | 0.013 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1018 | NSI 081108-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.1585 | 0.17198 | 1.1083 | 0.18912 | 0.14019
MOLINATE | 2001 | 82671GCM35 | 2009-09-25 | 2008-10-01 | 2009-09-30 | ug/L | 0.92812 | NSI | 081108-01Pest | NSI 081108-01Pest: 25 µl | 0.011852 | MOLINATE | . | 0.002 | 0.011 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92812 | NSI 081108-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.1585 | 0.17198 | 1.1083 | 0.18912 | 0.14019
MOLINATE | 2001 | 82671GCM35 | 2008-05-01 | 2006-10-01 | 2008-09-30 | ug/L | 1.0339 | NWQL | PSP3SP140C | NWQL PSP3SP140C: 50 µl | 0.051261 | MOLINATE | . | 0.002 | 0.053 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0339 | NWQL PSP3SP140C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.1222 | 0.12105 | 1.0725 | 0.22629 | 0.16774
MOLINATE | 2001 | 82671GCM35 | 2008-06-25 | 2006-10-01 | 2008-09-30 | ug/L | 1.0725 | NWQL | PSP3SP140C | NWQL PSP3SP140C: 50 µl | 0.050347 | MOLINATE | . | 0.002 | 0.054 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0725 | NWQL PSP3SP140C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.1222 | 0.12105 | 1.0725 | 0.22629 | 0.16774
MOLINATE | 2001 | 82671GCM35 | 2008-08-19 | 2006-10-01 | 2008-09-30 | ug/L | 1.2602 | NWQL | PSP3SP140C | NWQL PSP3SP140C: 50 µl | 0.049198 | MOLINATE | . | 0.002 | 0.062 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2602 | NWQL PSP3SP140C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.1222 | 0.12105 | 1.0725 | 0.22629 | 0.16774
MOLINATE | 2001 | 82671GCM35 | 2009-04-08 | 2008-10-01 | 2009-09-30 | ug/L | 1.0582 | NWQL | PSP3SP140D | NWQL PSP3SP140D: 50 µl | 0.051031 | MOLINATE | . | 0.002 | 0.054 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0582 | NWQL PSP3SP140D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0949 | 0.0577 | 1.0908 | 0.095055 | 0.070463
MOLINATE | 2001 | 82671GCM35 | 2009-04-14 | 2008-10-01 | 2009-09-30 | ug/L | 1.1614 | NWQL | PSP3SP140D | NWQL PSP3SP140D: 50 µl | 0.04994 | MOLINATE | . | 0.002 | 0.058 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1614 | NWQL PSP3SP140D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0949 | 0.0577 | 1.0908 | 0.095055 | 0.070463
MOLINATE | 2001 | 82671GCM35 | 2009-06-24 | 2008-10-01 | 2009-09-30 | ug/L | 1.1235 | NWQL | PSP3SP140D | NWQL PSP3SP140D: 50 µl | 0.049845 | MOLINATE | . | 0.002 | 0.056 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1235 | NWQL PSP3SP140D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0949 | 0.0577 | 1.0908 | 0.095055 | 0.070463
MOLINATE | 2001 | 82671GCM35 | 2009-08-21 | 2008-10-01 | 2009-09-30 | ug/L | 1.0366 | NWQL | PSP3SP140D | NWQL PSP3SP140D: 50 µl | 0.050165 | MOLINATE | . | 0.002 | 0.052 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0366 | NWQL PSP3SP140D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0949 | 0.0577 | 1.0908 | 0.095055 | 0.070463
MOLINATE | 2001 | 82671GCM35 | 2010-06-24 | 2009-10-01 | 2010-09-30 | ug/L | 1.4042 | NWQL | PSP3SP142A | NWQL PSP3SP142A: 40 µl | 0.039809 | MOLINATE | . | 0.0026 | 0.0559 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4042 | NWQL PSP3SP142A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.2598 | 0.19197 | 1.3333 | 0.36223 | 0.26852
MOLINATE | 2001 | 82671GCM35 | 2010-07-14 | 2009-10-01 | 2010-09-30 | ug/L | 1.3333 | NWQL | PSP3SP142A | NWQL PSP3SP142A: 40 µl | 0.0408 | MOLINATE | . | 0.0026 | 0.0544 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3333 | NWQL PSP3SP142A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.2598 | 0.19197 | 1.3333 | 0.36223 | 0.26852
MOLINATE | 2001 | 82671GCM35 | 2010-07-28 | 2009-10-01 | 2010-09-30 | ug/L | 1.042 | NWQL | PSP3SP142A | NWQL PSP3SP142A: 40 µl | 0.04002 | MOLINATE | . | 0.0026 | 0.0417 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.042 | NWQL PSP3SP142A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.2598 | 0.19197 | 1.3333 | 0.36223 | 0.26852
MOLINATE | 2001 | 82671GCM35 | 2013-08-28 | 2012-10-01 | 2050-09-30 | ug/L | 0.97915 | Spex Organics, Accu | T1130517007, 213041078 | Spex Organics T1130517007: 100 µl & Accu 213041078: 100 µl | 0.1007 | MOLINATE | . | 0.008 | 0.0986 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97915 | SpT117007, Ac2131078 | Sp | Ac | Ac | T117007 | 2131078 | 2131078 | T117007 | 2131078 | 2131078 | Y | Recoverable Result | Y | 2 |  | 1 | 0.97915 |  | 0.97915 | 0 | 0
MOLINATE | 2001 | 82671GCM35 | 2013-12-18 | 2012-10-01 | 2050-09-30 | ug/L | 0.745 | Spex Organics, ERA | T1130517007, 0318-13-02.1 | Spex Organics T1130517007: 20 µl & ERA 0318-13-02.1: 20 µl | 0.02 | MOLINATE | . | 0.008 | 0.0149 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.745 | SpT117007, ER03102.1 | Sp | ER | ER | T117007 | 03102.1 | 03102.1 | T117007 | 03102.1 | 03102.1 | Y | Recoverable Result | Y | 2 |  | 1 | 0.745 |  | 0.745 | 0 | 0
MOLINATE | 2001 | 82671GCM35 | 2011-02-25 | 2010-10-01 | 2012-09-30 | ug/L | 0.94306 | Supelco | LB77170 | Supelco LB77170: 80 µl | 0.020147 | MOLINATE | . | 0.004 | 0.019 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94306 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.079 | 0.15054 | 1.0368 | 0.21786 | 0.1615
MOLINATE | 2001 | 82671GCM35 | 2011-03-23 | 2010-10-01 | 2012-09-30 | ug/L | 0.9936 | Supelco | LB77170 | Supelco LB77170: 20 µl | 0.0050322 | MOLINATE | . | 0.004 | 0.005 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9936 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.079 | 0.15054 | 1.0368 | 0.21786 | 0.1615
MOLINATE | 2001 | 82671GCM35 | 2011-06-23 | 2010-10-01 | 2012-09-30 | ug/L | 0.97426 | Supelco | LB77170 | Supelco LB77170: 50 µl | 0.012625 | MOLINATE | . | 0.004 | 0.0123 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97426 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.079 | 0.15054 | 1.0368 | 0.21786 | 0.1615
MOLINATE | 2001 | 82671GCM35 | 2011-07-12 | 2010-10-01 | 2012-09-30 | ug/L | 1.153 | Supelco | LB77170 | Supelco LB77170: 80 µl | 0.020121 | MOLINATE | . | 0.004 | 0.0232 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.153 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.079 | 0.15054 | 1.0368 | 0.21786 | 0.1615
MOLINATE | 2001 | 82671GCM35 | 2011-08-18 | 2010-10-01 | 2012-09-30 | ug/L | 1.2 | Supelco | LB77170 | Supelco LB77170: 50 µl | 0.0125 | MOLINATE | . | 0.004 | 0.015 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.079 | 0.15054 | 1.0368 | 0.21786 | 0.1615
MOLINATE | 2001 | 82671GCM35 | 2011-09-17 | 2010-10-01 | 2012-09-30 | ug/L | 1.08 | Supelco | LB77170 | Supelco LB77170: 20 µl | 0.005 | MOLINATE | . | 0.004 | 0.0054 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.08 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.079 | 0.15054 | 1.0368 | 0.21786 | 0.1615
MOLINATE | 2001 | 82671GCM35 | 2011-12-10 | 2010-10-01 | 2012-09-30 | ug/L | 0.928 | Supelco | LB77170 | Supelco LB77170: 50 µl | 0.0125 | MOLINATE | E | 0.004 | 0.0116 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.928 | Supelco LB77170 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 1.079 | 0.15054 | 1.0368 | 0.21786 | 0.1615
MOLINATE | 2001 | 82671GCM35 | 2012-02-23 | 2010-10-01 | 2012-09-30 | ug/L | 1.36 | Supelco | LB77170 | Supelco LB77170: 20 µl | 0.005 | MOLINATE | . | 0.004 | 0.0068 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.36 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.079 | 0.15054 | 1.0368 | 0.21786 | 0.1615
MOLINATE | 2001 | 82671GCM35 | 2008-04-24 | 2006-10-01 | 2008-09-30 | ug/L | 1.0291 | Ultra | CD-2090 | Ultra CD-2090: 25 µl | 0.21184 | MOLINATE | . | 0.002 | 0.218 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0291 | Ultra CD-2090 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.99062 | 0.057242 | 1.0083 | 0.049501 | 0.036695
MOLINATE | 2001 | 82671GCM35 | 2008-04-29 | 2006-10-01 | 2008-09-30 | ug/L | 1.0278 | Ultra | CD-2090 | Ultra CD-2090: 25 µl | 0.20529 | MOLINATE | . | 0.002 | 0.211 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0278 | Ultra CD-2090 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.99062 | 0.057242 | 1.0083 | 0.049501 | 0.036695
MOLINATE | 2001 | 82671GCM35 | 2008-05-06 | 2006-10-01 | 2008-09-30 | ug/L | 0.97957 | Ultra | CD-2090 | Ultra CD-2090: 25 µl | 0.20315 | MOLINATE | . | 0.002 | 0.199 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97957 | Ultra CD-2090 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.99062 | 0.057242 | 1.0083 | 0.049501 | 0.036695
MOLINATE | 2001 | 82671GCM35 | 2008-07-10 | 2006-10-01 | 2008-09-30 | ug/L | 0.88365 | Ultra | CD-2090 | Ultra CD-2090: 25 µl | 0.20257 | MOLINATE | . | 0.002 | 0.179 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88365 | Ultra CD-2090 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.99062 | 0.057242 | 1.0083 | 0.049501 | 0.036695
MOLINATE | 2001 | 82671GCM35 | 2008-08-04 | 2006-10-01 | 2008-09-30 | ug/L | 1.0348 | Ultra | CD-2090 | Ultra CD-2090: 25 µl | 0.20197 | MOLINATE | . | 0.002 | 0.209 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0348 | Ultra CD-2090 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.99062 | 0.057242 | 1.0083 | 0.049501 | 0.036695
MOLINATE | 2001 | 82671GCM35 | 2008-09-24 | 2006-10-01 | 2008-09-30 | ug/L | 0.9888 | Ultra | CD-2090 | Ultra CD-2090: 25 µl | 0.20732 | MOLINATE | . | 0.002 | 0.205 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9888 | Ultra CD-2090 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.99062 | 0.057242 | 1.0083 | 0.049501 | 0.036695