## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
PARATHION-METHYL | 2001 | 82667GCM35 | 2013-12-17 | 2010-10-01 | 2050-09-30 | ug/L | 1.528 | Abs, ChemService | 041613, 1466000 | Abs 041613: 50 µl & ChemService 1466000: 50 µl | 0.025 | PARATHION-METHYL | . | 0.008 | 0.0382 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.528 | Ab041613, Ch1466000 | Ab | Ch | Ch | 041613 | 1466000 | 1466000 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.528 |  | 1.528 | 0 | 0
PARATHION-METHYL | 2001 | 82667GCM35 | 2013-08-17 | 2010-10-01 | 2050-09-30 | ug/L | 1.33 | Abs, Spex Organics | 041613, T1130517007 | Abs 041613: 20 µl & Spex Organics T1130517007: 20 µl | 0.01 | PARATHION-METHYL | . | 0.008 | 0.0133 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.33 | Ab041613, SpT117007 | Ab | Sp | Sp | 041613 | T117007 | T117007 |  | T117007 | T117007 | Y | Recoverable Result | Y | 2 |  | 1 | 1.33 |  | 1.33 | 0 | 0
PARATHION-METHYL | 2001 | 82667GCM35 | 2012-08-05 | 2010-10-01 | 2050-09-30 | ug/L | 1.1791 | Abs, ChemService | 052212, 348200 | Abs 052212: 20 µl & ChemService 348200: 20 µl | 0.0402 | PARATHION-METHYL | E | 0.008 | 0.0474 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1791 | Ab052212, Ch348200 | Ab | Ch | Ch | 052212 | 348200 | 348200 |  |  |  | Y | Estimated Values | Y | 2 |  | 1 | 1.1791 |  | 1.1791 | 0 | 0
PARATHION-METHYL | 2001 | 82667GCM35 | 2013-04-03 | 2010-10-01 | 2050-09-30 | ug/L | 0.87313 | Abs, Spex Organics | 052212, T1120530009 | Abs 052212: 40 µl & Spex Organics T1120530009: 40 µl | 0.0804 | PARATHION-METHYL | E | 0.008 | 0.0702 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87313 | Ab052212, SpT110009 | Ab | Sp | Sp | 052212 | T110009 | T110009 |  | T110009 | T110009 | Y | Estimated Values | Y | 2 |  | 1 | 0.87313 |  | 0.87313 | 0 | 0
PARATHION-METHYL | 2001 | 82667GCM35 | 2012-06-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.96766 | Abs | 052212 | Abs 052212: 20 µl | 0.0402 | PARATHION-METHYL | . | 0.008 | 0.0389 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96766 | Abs 052212 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.96766 |  | 0.96766 | 0 | 0
PARATHION-METHYL | 2001 | 82667GCM35 | 2010-01-05 | 2009-10-01 | 2010-09-30 | ug/L | 0.743 | Abs | 090409Pest | Abs 090409Pest: 25 µl | 0.061911 | PARATHION-METHYL | . | 0.008 | 0.046 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.743 | Abs 090409Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.85573 | 0.085383 | 0.85126 | 0.1288 | 0.095476
PARATHION-METHYL | 2001 | 82667GCM35 | 2010-06-18 | 2009-10-01 | 2010-09-30 | ug/L | 0.89142 | Abs | 090409Pest | Abs 090409Pest: 80 µl | 0.19295 | PARATHION-METHYL | . | 0.008 | 0.172 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89142 | Abs 090409Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.85573 | 0.085383 | 0.85126 | 0.1288 | 0.095476
PARATHION-METHYL | 2001 | 82667GCM35 | 2010-07-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.92593 | Abs | 090409Pest | Abs 090409Pest: 25 µl | 0.061992 | PARATHION-METHYL | . | 0.008 | 0.0574 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92593 | Abs 090409Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.85573 | 0.085383 | 0.85126 | 0.1288 | 0.095476
PARATHION-METHYL | 2001 | 82667GCM35 | 2010-07-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.8111 | Abs | 090409Pest | Abs 090409Pest: 25 µl | 0.062754 | PARATHION-METHYL | . | 0.008 | 0.0509 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8111 | Abs 090409Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.85573 | 0.085383 | 0.85126 | 0.1288 | 0.095476
PARATHION-METHYL | 2001 | 82667GCM35 | 2010-08-13 | 2009-10-01 | 2010-09-30 | ug/L | 0.79713 | Abs | 090409Pest | Abs 090409Pest: 80 µl | 0.1957 | PARATHION-METHYL | . | 0.008 | 0.156 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79713 | Abs 090409Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.85573 | 0.085383 | 0.85126 | 0.1288 | 0.095476
PARATHION-METHYL | 2001 | 82667GCM35 | 2010-09-22 | 2009-10-01 | 2010-09-30 | ug/L | 0.96581 | Abs | 090409Pest | Abs 090409Pest: 25 µl | 0.061917 | PARATHION-METHYL | . | 0.008 | 0.0598 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96581 | Abs 090409Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.85573 | 0.085383 | 0.85126 | 0.1288 | 0.095476
PARATHION-METHYL | 2001 | 82667GCM35 | 2012-07-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.97512 | Accu, Abs | 212051201, 052212 | Accu 212051201: 20 µl & Abs 052212: 20 µl | 0.0402 | PARATHION-METHYL | . | 0.008 | 0.0392 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97512 | Ac2121201, Ab052212 | Ac | Ab | Ab | 2121201 | 052212 | 052212 | 2121201 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.86692 | 0.11864 | 0.88557 | 0.23507 | 0.17426
PARATHION-METHYL | 2001 | 82667GCM35 | 2012-11-27 | 2010-10-01 | 2050-09-30 | ug/L | 0.88557 | Accu, Abs | 212051201, 052212 | Accu 212051201: 40 µl & Abs 052212: 40 µl | 0.0804 | PARATHION-METHYL | . | 0.008 | 0.0712 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88557 | Ac2121201, Ab052212 | Ac | Ab | Ab | 2121201 | 052212 | 052212 | 2121201 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.86692 | 0.11864 | 0.88557 | 0.23507 | 0.17426
PARATHION-METHYL | 2001 | 82667GCM35 | 2013-01-29 | 2010-10-01 | 2050-09-30 | ug/L | 0.74005 | Accu, Abs | 212051201, 052212 | Accu 212051201: 80 µl & Abs 052212: 80 µl | 0.1608 | PARATHION-METHYL | . | 0.008 | 0.119 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74005 | Ac2121201, Ab052212 | Ac | Ab | Ab | 2121201 | 052212 | 052212 | 2121201 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.86692 | 0.11864 | 0.88557 | 0.23507 | 0.17426
PARATHION-METHYL | 2001 | 82667GCM35 | 2013-03-19 | 2010-10-01 | 2050-09-30 | ug/L | 1.28 | Accu, NSI | 212051201, 062112-01Pest | Accu 212051201: 20 µl & NSI 062112-01Pest: 20 µl | 0.04 | PARATHION-METHYL | . | 0.008 | 0.0512 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.28 | Ac2121201, NS062Pest | Ac | NS | NS | 2121201 | 062Pest | 062Pest | 2121201 | 062Pest | 062Pest | Y | Recoverable Result | Y | 2 |  | 2 | 1.0737 | 0.29168 | 1.0737 | 0.4125 | 0.30578
PARATHION-METHYL | 2001 | 82667GCM35 | 2013-05-14 | 2010-10-01 | 2050-09-30 | ug/L | 0.8675 | Accu, NSI | 212051201, 062112-01Pest | Accu 212051201: 40 µl & NSI 062112-01Pest: 40 µl | 0.08 | PARATHION-METHYL | . | 0.008 | 0.0694 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8675 | Ac2121201, NS062Pest | Ac | NS | NS | 2121201 | 062Pest | 062Pest | 2121201 | 062Pest | 062Pest | Y | Recoverable Result | Y | 2 |  | 2 | 1.0737 | 0.29168 | 1.0737 | 0.4125 | 0.30578
PARATHION-METHYL | 2001 | 82667GCM35 | 2013-10-21 | 2010-10-01 | 2050-09-30 | ug/L | 1.26 | Accu, Abs | 213041078, 041613 | Accu 213041078: 20 µl & Abs 041613: 20 µl | 0.01 | PARATHION-METHYL | . | 0.008 | 0.0126 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.26 | Ac2131078, Ab041613 | Ac | Ab | Ab | 2131078 | 041613 | 041613 | 2131078 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.26 |  | 1.26 | 0 | 0
PARATHION-METHYL | 2001 | 82667GCM35 | 2013-05-22 | 2010-10-01 | 2050-09-30 | ug/L | 1.348 | Accu, NSI | 213041078, 042313Pest | Accu 213041078: 50 µl & NSI 042313Pest: 50 µl | 0.025 | PARATHION-METHYL | . | 0.008 | 0.0337 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.348 | Ac2131078, NS042Pest | Ac | NS | NS | 2131078 | 042Pest | 042Pest | 2131078 | 042Pest | 042Pest | Y | Recoverable Result | Y | 2 |  | 1 | 1.348 |  | 1.348 | 0 | 0
PARATHION-METHYL | 2001 | 82667GCM35 | 2013-06-13 | 2010-10-01 | 2050-09-30 | ug/L | 1.224 | ChemService, NSI | 1466000, 042313Pest | ChemService 1466000: 50 µl & NSI 042313Pest: 50 µl | 0.025 | PARATHION-METHYL | . | 0.008 | 0.0306 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.224 | Ch1466000, NS042Pest | Ch | NS | NS | 1466000 | 042Pest | 042Pest |  | 042Pest | 042Pest | Y | Recoverable Result | Y | 2 |  | 1 | 1.224 |  | 1.224 | 0 | 0
PARATHION-METHYL | 2001 | 82667GCM35 | 2008-10-31 | 2006-10-01 | 2009-09-30 | ug/L | 1.0472 | Crescent | 08HH018 | Crescent 08HH018: 25 µl | 0.012414 | PARATHION-METHYL | . | 0.008 | 0.013 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0472 | Crescent 08HH018 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.3606 | 0.3747 | 1.1968 | 0.17034 | 0.12627
PARATHION-METHYL | 2001 | 82667GCM35 | 2009-01-20 | 2006-10-01 | 2009-09-30 | ug/L | 1.1942 | Crescent | 08HH018 | Crescent 08HH018: 40 µl | 0.020097 | PARATHION-METHYL | . | 0.008 | 0.024 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1942 | Crescent 08HH018 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.3606 | 0.3747 | 1.1968 | 0.17034 | 0.12627
PARATHION-METHYL | 2001 | 82667GCM35 | 2009-03-20 | 2006-10-01 | 2009-09-30 | ug/L | 7.3723 | Crescent | 08HH018 | Crescent 08HH018: 25 µl | 0.012615 | PARATHION-METHYL | . | 0.008 | 0.093 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 2 | Crescent 08HH018 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.3606 | 0.3747 | 1.1968 | 0.17034 | 0.12627 | 2
PARATHION-METHYL | 2001 | 82667GCM35 | 2009-06-10 | 2006-10-01 | 2009-09-30 | ug/L | 1.1968 | Crescent | 08HH018 | Crescent 08HH018: 25 µl | 0.012534 | PARATHION-METHYL | . | 0.008 | 0.015 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1968 | Crescent 08HH018 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.3606 | 0.3747 | 1.1968 | 0.17034 | 0.12627
PARATHION-METHYL | 2001 | 82667GCM35 | 2009-08-28 | 2006-10-01 | 2009-09-30 | ug/L | 1.3646 | Crescent | 08HH018 | Crescent 08HH018: 40 µl | 0.019786 | PARATHION-METHYL | E | 0.008 | 0.027 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3646 | Crescent 08HH018 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 1.3606 | 0.3747 | 1.1968 | 0.17034 | 0.12627
PARATHION-METHYL | 2001 | 82667GCM35 | 2013-11-26 | 2010-10-01 | 2050-09-30 | ug/L | 1.5 | ERA, Abs | 0318-13-02.1, 041613 | ERA 0318-13-02.1: 20 µl & Abs 041613: 20 µl | 0.01 | PARATHION-METHYL | . | 0.008 | 0.015 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.5 | ER03102.1, Ab041613 | ER | Ab | Ab | 03102.1 | 041613 | 041613 | 03102.1 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.5 |  | 1.5 | 0 | 0
PARATHION-METHYL | 2001 | 82667GCM35 | 2013-08-01 | 2010-10-01 | 2050-09-30 | ug/L | 1.138 | ERA, NSI | 0318-13-02.1, 042313Pest | ERA 0318-13-02.1: 100 µl & NSI 042313Pest: 100 µl | 0.05 | PARATHION-METHYL | . | 0.008 | 0.0569 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.138 | ER03102.1, NS042Pest | ER | NS | NS | 03102.1 | 042Pest | 042Pest | 03102.1 | 042Pest | 042Pest | Y | Recoverable Result | Y | 2 |  | 1 | 1.138 |  | 1.138 | 0 | 0
PARATHION-METHYL | 2001 | 82667GCM35 | 2012-09-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.985 | ERA, NSI | 0507-12-05.1, 062112-01Pest | ERA 0507-12-05.1: 20 µl & NSI 062112-01Pest: 20 µl | 0.04 | PARATHION-METHYL | . | 0.008 | 0.0394 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.985 | ER05005.1, NS062Pest | ER | NS | NS | 05005.1 | 062Pest | 062Pest | 05005.1 | 062Pest | 062Pest | Y | Recoverable Result | Y | 2 |  | 1 | 0.985 |  | 0.985 | 0 | 0
PARATHION-METHYL | 2001 | 82667GCM35 | 2012-09-25 | 2010-10-01 | 2050-09-30 | ug/L | 0.955 | NSI, ChemService | 062112-01Pest, 348200 | NSI 062112-01Pest: 40 µl & ChemService 348200: 40 µl | 0.08 | PARATHION-METHYL | . | 0.008 | 0.0764 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.955 | NS062Pest, Ch348200 | NS | Ch | Ch | 062Pest | 348200 | 348200 | 062Pest |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.8275 | 0.18031 | 0.8275 | 0.255 | 0.18903
PARATHION-METHYL | 2001 | 82667GCM35 | 2013-03-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.7 | NSI, ChemService | 062112-01Pest, 348200 | NSI 062112-01Pest: 80 µl & ChemService 348200: 80 µl | 0.16 | PARATHION-METHYL | . | 0.008 | 0.112 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7 | NS062Pest, Ch348200 | NS | Ch | Ch | 062Pest | 348200 | 348200 | 062Pest |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.8275 | 0.18031 | 0.8275 | 0.255 | 0.18903
PARATHION-METHYL | 2001 | 82667GCM35 | 2012-11-28 | 2010-10-01 | 2050-09-30 | ug/L | 0.9175 | NSI, Spex Organics | 062112-01Pest, T1120530009 | NSI 062112-01Pest: 20 µl & Spex Organics T1120530009: 20 µl | 0.04 | PARATHION-METHYL | . | 0.008 | 0.0367 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9175 | NS062Pest, SpT110009 | NS | Sp | Sp | 062Pest | T110009 | T110009 | 062Pest | T110009 | T110009 | Y | Recoverable Result | Y | 2 |  | 1 | 0.9175 |  | 0.9175 | 0 | 0
PARATHION-METHYL | 2001 | 82667GCM35 | 2011-02-10 | 2010-10-01 | 2050-09-30 | ug/L | 1.0783 | NSI | 070810-01 | NSI 070810-01: 20 µl | 0.037374 | PARATHION-METHYL | . | 0.008 | 0.0403 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0783 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.81313 | 0.11586 | 0.78174 | 0.13238 | 0.098134
PARATHION-METHYL | 2001 | 82667GCM35 | 2011-03-15 | 2010-10-01 | 2050-09-30 | ug/L | 0.68819 | NSI | 070810-01 | NSI 070810-01: 50 µl | 0.09445 | PARATHION-METHYL | . | 0.008 | 0.065 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68819 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.81313 | 0.11586 | 0.78174 | 0.13238 | 0.098134
PARATHION-METHYL | 2001 | 82667GCM35 | 2011-05-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.76379 | NSI | 070810-01 | NSI 070810-01: 80 µl | 0.15449 | PARATHION-METHYL | . | 0.008 | 0.118 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76379 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.81313 | 0.11586 | 0.78174 | 0.13238 | 0.098134
PARATHION-METHYL | 2001 | 82667GCM35 | 2011-06-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.7956 | NSI | 070810-01 | NSI 070810-01: 20 µl | 0.03821 | PARATHION-METHYL | . | 0.008 | 0.0304 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7956 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.81313 | 0.11586 | 0.78174 | 0.13238 | 0.098134
PARATHION-METHYL | 2001 | 82667GCM35 | 2011-08-02 | 2010-10-01 | 2050-09-30 | ug/L | 0.73187 | NSI | 070810-01 | NSI 070810-01: 80 µl | 0.1544 | PARATHION-METHYL | E | 0.008 | 0.113 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73187 | NSI 070810-01 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.81313 | 0.11586 | 0.78174 | 0.13238 | 0.098134
PARATHION-METHYL | 2001 | 82667GCM35 | 2011-09-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.70052 | NSI | 070810-01 | NSI 070810-01: 50 µl | 0.0965 | PARATHION-METHYL | . | 0.008 | 0.0676 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70052 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.81313 | 0.11586 | 0.78174 | 0.13238 | 0.098134
PARATHION-METHYL | 2001 | 82667GCM35 | 2011-11-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.89896 | NSI | 070810-01 | NSI 070810-01: 20 µl | 0.0386 | PARATHION-METHYL | . | 0.008 | 0.0347 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89896 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.81313 | 0.11586 | 0.78174 | 0.13238 | 0.098134
PARATHION-METHYL | 2001 | 82667GCM35 | 2012-01-21 | 2010-10-01 | 2050-09-30 | ug/L | 0.84197 | NSI | 070810-01 | NSI 070810-01: 80 µl | 0.1544 | PARATHION-METHYL | . | 0.008 | 0.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84197 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.81313 | 0.11586 | 0.78174 | 0.13238 | 0.098134
PARATHION-METHYL | 2001 | 82667GCM35 | 2012-05-05 | 2010-10-01 | 2050-09-30 | ug/L | 0.86425 | NSI | 070810-01 | NSI 070810-01: 50 µl | 0.0965 | PARATHION-METHYL | . | 0.008 | 0.0834 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86425 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.81313 | 0.11586 | 0.78174 | 0.13238 | 0.098134
PARATHION-METHYL | 2001 | 82667GCM35 | 2012-06-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.76788 | NSI | 070810-01 | NSI 070810-01: 50 µl | 0.0965 | PARATHION-METHYL | . | 0.008 | 0.0741 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76788 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.81313 | 0.11586 | 0.78174 | 0.13238 | 0.098134
PARATHION-METHYL | 2001 | 82667GCM35 | 2008-11-21 | 2006-10-01 | 2009-09-30 | ug/L | 1.4037 | NSI | 081108-01Pest | NSI 081108-01Pest: 40 µl | 0.02066 | PARATHION-METHYL | . | 0.008 | 0.029 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4037 | NSI 081108-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.3285 | 0.17787 | 1.4037 | 0.23988 | 0.17782
PARATHION-METHYL | 2001 | 82667GCM35 | 2009-03-23 | 2006-10-01 | 2009-09-30 | ug/L | 1.542 | NSI | 081108-01Pest | NSI 081108-01Pest: 25 µl | 0.014267 | PARATHION-METHYL | . | 0.008 | 0.022 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.542 | NSI 081108-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.3285 | 0.17787 | 1.4037 | 0.23988 | 0.17782
PARATHION-METHYL | 2001 | 82667GCM35 | 2009-05-01 | 2006-10-01 | 2009-09-30 | ug/L | 1.1205 | NSI | 081108-01Pest | NSI 081108-01Pest: 40 µl | 0.020527 | PARATHION-METHYL | . | 0.008 | 0.023 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1205 | NSI 081108-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.3285 | 0.17787 | 1.4037 | 0.23988 | 0.17782
PARATHION-METHYL | 2001 | 82667GCM35 | 2009-07-30 | 2006-10-01 | 2009-09-30 | ug/L | 1.4082 | NSI | 081108-01Pest | NSI 081108-01Pest: 25 µl | 0.012783 | PARATHION-METHYL | . | 0.008 | 0.018 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4082 | NSI 081108-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.3285 | 0.17787 | 1.4037 | 0.23988 | 0.17782
PARATHION-METHYL | 2001 | 82667GCM35 | 2009-09-25 | 2006-10-01 | 2009-09-30 | ug/L | 1.1683 | NSI | 081108-01Pest | NSI 081108-01Pest: 25 µl | 0.01284 | PARATHION-METHYL | . | 0.008 | 0.015 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1683 | NSI 081108-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.3285 | 0.17787 | 1.4037 | 0.23988 | 0.17782
PARATHION-METHYL | 2001 | 82667GCM35 | 2008-05-01 | 2006-10-01 | 2009-09-30 | ug/L | 0.91688 | NWQL | PSP3SP140C | NWQL PSP3SP140C: 50 µl | 0.051261 | PARATHION-METHYL | . | 0.008 | 0.047 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91688 | NWQL PSP3SP140C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.90937 | 0.13116 | 0.91688 | 0.26201 | 0.19422
PARATHION-METHYL | 2001 | 82667GCM35 | 2008-06-25 | 2006-10-01 | 2009-09-30 | ug/L | 0.77462 | NWQL | PSP3SP140C | NWQL PSP3SP140C: 50 µl | 0.050347 | PARATHION-METHYL | . | 0.008 | 0.039 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77462 | NWQL PSP3SP140C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.90937 | 0.13116 | 0.91688 | 0.26201 | 0.19422
PARATHION-METHYL | 2001 | 82667GCM35 | 2008-08-19 | 2006-10-01 | 2009-09-30 | ug/L | 1.0366 | NWQL | PSP3SP140C | NWQL PSP3SP140C: 50 µl | 0.049198 | PARATHION-METHYL | . | 0.008 | 0.051 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0366 | NWQL PSP3SP140C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.90937 | 0.13116 | 0.91688 | 0.26201 | 0.19422
PARATHION-METHYL | 2001 | 82667GCM35 | 2009-04-08 | 2006-10-01 | 2009-09-30 | ug/L | 0.9602 | NWQL | PSP3SP140D | NWQL PSP3SP140D: 50 µl | 0.051031 | PARATHION-METHYL | . | 0.008 | 0.049 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9602 | NWQL PSP3SP140D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.97521 | 0.14689 | 0.96849 | 0.18774 | 0.13917
PARATHION-METHYL | 2001 | 82667GCM35 | 2009-04-14 | 2006-10-01 | 2009-09-30 | ug/L | 1.1614 | NWQL | PSP3SP140D | NWQL PSP3SP140D: 50 µl | 0.04994 | PARATHION-METHYL | . | 0.008 | 0.058 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1614 | NWQL PSP3SP140D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.97521 | 0.14689 | 0.96849 | 0.18774 | 0.13917
PARATHION-METHYL | 2001 | 82667GCM35 | 2009-06-24 | 2006-10-01 | 2009-09-30 | ug/L | 0.80248 | NWQL | PSP3SP140D | NWQL PSP3SP140D: 50 µl | 0.049845 | PARATHION-METHYL | . | 0.008 | 0.04 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80248 | NWQL PSP3SP140D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.97521 | 0.14689 | 0.96849 | 0.18774 | 0.13917
PARATHION-METHYL | 2001 | 82667GCM35 | 2009-08-21 | 2006-10-01 | 2009-09-30 | ug/L | 0.97677 | NWQL | PSP3SP140D | NWQL PSP3SP140D: 50 µl | 0.050165 | PARATHION-METHYL | . | 0.008 | 0.049 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97677 | NWQL PSP3SP140D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.97521 | 0.14689 | 0.96849 | 0.18774 | 0.13917
PARATHION-METHYL | 2001 | 82667GCM35 | 2010-06-24 | 2009-10-01 | 2010-09-30 | ug/L | 1.4469 | NWQL | PSP3SP142A | NWQL PSP3SP142A: 40 µl | 0.039809 | PARATHION-METHYL | . | 0.008 | 0.0576 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4469 | NWQL PSP3SP142A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.1254 | 0.33022 | 1.1422 | 0.65981 | 0.48911
PARATHION-METHYL | 2001 | 82667GCM35 | 2010-07-14 | 2009-10-01 | 2010-09-30 | ug/L | 1.1422 | NWQL | PSP3SP142A | NWQL PSP3SP142A: 40 µl | 0.0408 | PARATHION-METHYL | . | 0.008 | 0.0466 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1422 | NWQL PSP3SP142A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.1254 | 0.33022 | 1.1422 | 0.65981 | 0.48911
PARATHION-METHYL | 2001 | 82667GCM35 | 2010-07-28 | 2009-10-01 | 2010-09-30 | ug/L | 0.78711 | NWQL | PSP3SP142A | NWQL PSP3SP142A: 40 µl | 0.04002 | PARATHION-METHYL | . | 0.008 | 0.0315 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78711 | NWQL PSP3SP142A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.1254 | 0.33022 | 1.1422 | 0.65981 | 0.48911
PARATHION-METHYL | 2001 | 82667GCM35 | 2008-02-04 | 2006-10-01 | 2009-09-30 | ug/L | 0.80726 | Protocol | F1070629011 | Protocol F1070629011: 25 µl | 0.053267 | PARATHION-METHYL | . | 0.008 | 0.043 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80726 | Protocol F1070629011 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.80556 | 0.080075 | 0.80659 | 0.068574 | 0.050833
PARATHION-METHYL | 2001 | 82667GCM35 | 2008-05-01 | 2006-10-01 | 2009-09-30 | ug/L | 0.86916 | Protocol | F1070629011 | Protocol F1070629011: 25 µl | 0.052925 | PARATHION-METHYL | . | 0.008 | 0.046 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86916 | Protocol F1070629011 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.80556 | 0.080075 | 0.80659 | 0.068574 | 0.050833
PARATHION-METHYL | 2001 | 82667GCM35 | 2008-06-10 | 2006-10-01 | 2009-09-30 | ug/L | 0.80059 | Protocol | F1070629011 | Protocol F1070629011: 25 µl | 0.052462 | PARATHION-METHYL | . | 0.008 | 0.042 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80059 | Protocol F1070629011 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.80556 | 0.080075 | 0.80659 | 0.068574 | 0.050833
PARATHION-METHYL | 2001 | 82667GCM35 | 2008-07-11 | 2006-10-01 | 2009-09-30 | ug/L | 0.80592 | Protocol | F1070629011 | Protocol F1070629011: 25 µl | 0.052114 | PARATHION-METHYL | . | 0.008 | 0.042 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80592 | Protocol F1070629011 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.80556 | 0.080075 | 0.80659 | 0.068574 | 0.050833
PARATHION-METHYL | 2001 | 82667GCM35 | 2008-08-21 | 2006-10-01 | 2009-09-30 | ug/L | 0.88957 | Protocol | F1070629011 | Protocol F1070629011: 25 µl | 0.051711 | PARATHION-METHYL | . | 0.008 | 0.046 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88957 | Protocol F1070629011 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.80556 | 0.080075 | 0.80659 | 0.068574 | 0.050833
PARATHION-METHYL | 2001 | 82667GCM35 | 2008-10-02 | 2006-10-01 | 2009-09-30 | ug/L | 0.66089 | Protocol | F1070629011 | Protocol F1070629011: 25 µl | 0.052959 | PARATHION-METHYL | . | 0.008 | 0.035 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66089 | Protocol F1070629011 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.80556 | 0.080075 | 0.80659 | 0.068574 | 0.050833
PARATHION-METHYL | 2001 | 82667GCM35 | 2011-02-25 | 2010-10-01 | 2050-09-30 | ug/L | 0.73181 | Supelco | LB77170 | Supelco LB77170: 80 µl | 0.15578 | PARATHION-METHYL | . | 0.008 | 0.114 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73181 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.82396 | 0.13352 | 0.84584 | 0.13594 | 0.10077
PARATHION-METHYL | 2001 | 82667GCM35 | 2011-03-23 | 2010-10-01 | 2050-09-30 | ug/L | 0.67337 | Supelco | LB77170 | Supelco LB77170: 20 µl | 0.038909 | PARATHION-METHYL | . | 0.008 | 0.0262 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67337 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.82396 | 0.13352 | 0.84584 | 0.13594 | 0.10077
PARATHION-METHYL | 2001 | 82667GCM35 | 2011-06-23 | 2010-10-01 | 2050-09-30 | ug/L | 0.62797 | Supelco | LB77170 | Supelco LB77170: 50 µl | 0.097616 | PARATHION-METHYL | . | 0.008 | 0.0613 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62797 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.82396 | 0.13352 | 0.84584 | 0.13594 | 0.10077
PARATHION-METHYL | 2001 | 82667GCM35 | 2011-07-12 | 2010-10-01 | 2050-09-30 | ug/L | 0.86776 | Supelco | LB77170 | Supelco LB77170: 80 µl | 0.15557 | PARATHION-METHYL | . | 0.008 | 0.135 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86776 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.82396 | 0.13352 | 0.84584 | 0.13594 | 0.10077
PARATHION-METHYL | 2001 | 82667GCM35 | 2011-08-18 | 2010-10-01 | 2050-09-30 | ug/L | 1.076 | Supelco | LB77170 | Supelco LB77170: 50 µl | 0.09665 | PARATHION-METHYL | . | 0.008 | 0.104 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.076 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.82396 | 0.13352 | 0.84584 | 0.13594 | 0.10077
PARATHION-METHYL | 2001 | 82667GCM35 | 2011-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.84584 | Supelco | LB77170 | Supelco LB77170: 20 µl | 0.03866 | PARATHION-METHYL | . | 0.008 | 0.0327 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84584 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.82396 | 0.13352 | 0.84584 | 0.13594 | 0.10077
PARATHION-METHYL | 2001 | 82667GCM35 | 2011-12-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.84428 | Supelco | LB77170 | Supelco LB77170: 50 µl | 0.09665 | PARATHION-METHYL | E | 0.008 | 0.0816 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84428 | Supelco LB77170 | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 0.82396 | 0.13352 | 0.84584 | 0.13594 | 0.10077
PARATHION-METHYL | 2001 | 82667GCM35 | 2012-02-23 | 2010-10-01 | 2050-09-30 | ug/L | 0.84584 | Supelco | LB77170 | Supelco LB77170: 20 µl | 0.03866 | PARATHION-METHYL | . | 0.008 | 0.0327 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84584 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.82396 | 0.13352 | 0.84584 | 0.13594 | 0.10077
PARATHION-METHYL | 2001 | 82667GCM35 | 2012-05-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.90274 | Supelco | LB77170 | Supelco LB77170: 20 µl | 0.03866 | PARATHION-METHYL | . | 0.008 | 0.0349 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90274 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.82396 | 0.13352 | 0.84584 | 0.13594 | 0.10077