## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
PENDIMETHALIN | 2001 | 82683GCM35 | 2013-12-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.7907 | Abs, ChemService | 041613, 1466000 | Abs 041613: 50 µl & ChemService 1466000: 50 µl | 0.1505 | PENDIMETHALIN | . | 0.012 | 0.119 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7907 | Ab041613, Ch1466000 | Ab | Ch | Ch | 041613 | 1466000 | 1466000 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.7907 |  | 0.7907 | 0 | 0
PENDIMETHALIN | 2001 | 82683GCM35 | 2013-08-17 | 2010-10-01 | 2050-09-30 | ug/L | 1.0116 | Abs, Spex Organics | 041613, T1130517007 | Abs 041613: 20 µl & Spex Organics T1130517007: 20 µl | 0.0602 | PENDIMETHALIN | . | 0.012 | 0.0609 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0116 | Ab041613, SpT117007 | Ab | Sp | Sp | 041613 | T117007 | T117007 |  | T117007 | T117007 | Y | Recoverable Result | Y | 2 |  | 1 | 1.0116 |  | 1.0116 | 0 | 0
PENDIMETHALIN | 2001 | 82683GCM35 | 2012-08-05 | 2010-10-01 | 2050-09-30 | ug/L | 0.94059 | Abs, ChemService | 052212, 348200 | Abs 052212: 20 µl & ChemService 348200: 20 µl | 0.0606 | PENDIMETHALIN | . | 0.012 | 0.057 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94059 | Ab052212, Ch348200 | Ab | Ch | Ch | 052212 | 348200 | 348200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.94059 |  | 0.94059 | 0 | 0
PENDIMETHALIN | 2001 | 82683GCM35 | 2013-04-03 | 2010-10-01 | 2050-09-30 | ug/L | 0.72112 | Abs, Spex Organics | 052212, T1120530009 | Abs 052212: 40 µl & Spex Organics T1120530009: 40 µl | 0.1212 | PENDIMETHALIN | E | 0.012 | 0.0874 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72112 | Ab052212, SpT110009 | Ab | Sp | Sp | 052212 | T110009 | T110009 |  | T110009 | T110009 | Y | Estimated Values | Y | 2 |  | 1 | 0.72112 |  | 0.72112 | 0 | 0
PENDIMETHALIN | 2001 | 82683GCM35 | 2012-06-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.83498 | Abs | 052212 | Abs 052212: 20 µl | 0.0606 | PENDIMETHALIN | . | 0.012 | 0.0506 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83498 | Abs 052212 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.83498 |  | 0.83498 | 0 | 0
PENDIMETHALIN | 2001 | 82683GCM35 | 2010-01-05 | 2009-10-01 | 2010-09-30 | ug/L | 0.72026 | Abs | 090409Pest | Abs 090409Pest: 25 µl | 0.065671 | PENDIMETHALIN | . | 0.012 | 0.0473 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72026 | Abs 090409Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.77126 | 0.13262 | 0.78748 | 0.13004 | 0.096395
PENDIMETHALIN | 2001 | 82683GCM35 | 2010-06-18 | 2009-10-01 | 2010-09-30 | ug/L | 0.75733 | Abs | 090409Pest | Abs 090409Pest: 80 µl | 0.20467 | PENDIMETHALIN | . | 0.012 | 0.155 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75733 | Abs 090409Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.77126 | 0.13262 | 0.78748 | 0.13004 | 0.096395
PENDIMETHALIN | 2001 | 82683GCM35 | 2010-07-20 | 2009-10-01 | 2010-09-30 | ug/L | 0.54747 | Abs | 090409Pest | Abs 090409Pest: 25 µl | 0.065756 | PENDIMETHALIN | . | 0.012 | 0.036 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.54748 | Abs 090409Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.77126 | 0.13262 | 0.78748 | 0.13004 | 0.096395
PENDIMETHALIN | 2001 | 82683GCM35 | 2010-07-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.8503 | Abs | 090409Pest | Abs 090409Pest: 25 µl | 0.066565 | PENDIMETHALIN | . | 0.012 | 0.0566 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8503 | Abs 090409Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.77126 | 0.13262 | 0.78748 | 0.13004 | 0.096395
PENDIMETHALIN | 2001 | 82683GCM35 | 2010-08-13 | 2009-10-01 | 2010-09-30 | ug/L | 0.93455 | Abs | 090409Pest | Abs 090409Pest: 80 µl | 0.20759 | PENDIMETHALIN | . | 0.012 | 0.194 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93455 | Abs 090409Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.77126 | 0.13262 | 0.78748 | 0.13004 | 0.096395
PENDIMETHALIN | 2001 | 82683GCM35 | 2010-09-22 | 2009-10-01 | 2010-09-30 | ug/L | 0.81763 | Abs | 090409Pest | Abs 090409Pest: 25 µl | 0.065677 | PENDIMETHALIN | . | 0.012 | 0.0537 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81763 | Abs 090409Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.77126 | 0.13262 | 0.78748 | 0.13004 | 0.096395
PENDIMETHALIN | 2001 | 82683GCM35 | 2012-07-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.79043 | Accu, Abs | 212051201, 052212 | Accu 212051201: 20 µl & Abs 052212: 20 µl | 0.0606 | PENDIMETHALIN | . | 0.012 | 0.0479 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79043 | Ac2121201, Ab052212 | Ac | Ab | Ab | 2121201 | 052212 | 052212 | 2121201 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.73322 | 0.066629 | 0.74917 | 0.13036 | 0.096637
PENDIMETHALIN | 2001 | 82683GCM35 | 2012-11-27 | 2010-10-01 | 2050-09-30 | ug/L | 0.74918 | Accu, Abs | 212051201, 052212 | Accu 212051201: 40 µl & Abs 052212: 40 µl | 0.1212 | PENDIMETHALIN | . | 0.012 | 0.0908 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74917 | Ac2121201, Ab052212 | Ac | Ab | Ab | 2121201 | 052212 | 052212 | 2121201 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.73322 | 0.066629 | 0.74917 | 0.13036 | 0.096637
PENDIMETHALIN | 2001 | 82683GCM35 | 2013-01-29 | 2010-10-01 | 2050-09-30 | ug/L | 0.66007 | Accu, Abs | 212051201, 052212 | Accu 212051201: 80 µl & Abs 052212: 80 µl | 0.2424 | PENDIMETHALIN | . | 0.012 | 0.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66007 | Ac2121201, Ab052212 | Ac | Ab | Ab | 2121201 | 052212 | 052212 | 2121201 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.73322 | 0.066629 | 0.74917 | 0.13036 | 0.096637
PENDIMETHALIN | 2001 | 82683GCM35 | 2013-03-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.965 | Accu, NSI | 212051201, 062112-01Pest | Accu 212051201: 20 µl & NSI 062112-01Pest: 20 µl | 0.06 | PENDIMETHALIN | . | 0.012 | 0.0579 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.965 | Ac2121201, NS062Pest | Ac | NS | NS | 2121201 | 062Pest | 062Pest | 2121201 | 062Pest | 062Pest | Y | Recoverable Result | Y | 2 |  | 2 | 0.81542 | 0.21154 | 0.81542 | 0.29917 | 0.22177
PENDIMETHALIN | 2001 | 82683GCM35 | 2013-05-14 | 2010-10-01 | 2050-09-30 | ug/L | 0.66583 | Accu, NSI | 212051201, 062112-01Pest | Accu 212051201: 40 µl & NSI 062112-01Pest: 40 µl | 0.12 | PENDIMETHALIN | . | 0.012 | 0.0799 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66583 | Ac2121201, NS062Pest | Ac | NS | NS | 2121201 | 062Pest | 062Pest | 2121201 | 062Pest | 062Pest | Y | Recoverable Result | Y | 2 |  | 2 | 0.81542 | 0.21154 | 0.81542 | 0.29917 | 0.22177
PENDIMETHALIN | 2001 | 82683GCM35 | 2013-10-21 | 2010-10-01 | 2050-09-30 | ug/L | 0.82558 | Accu, Abs | 213041078, 041613 | Accu 213041078: 20 µl & Abs 041613: 20 µl | 0.0602 | PENDIMETHALIN | . | 0.012 | 0.0497 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82558 | Ac2131078, Ab041613 | Ac | Ab | Ab | 2131078 | 041613 | 041613 | 2131078 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.82558 |  | 0.82558 | 0 | 0
PENDIMETHALIN | 2001 | 82683GCM35 | 2013-05-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.7 | Accu, NSI | 213041078, 042313Pest | Accu 213041078: 50 µl & NSI 042313Pest: 50 µl | 0.15 | PENDIMETHALIN | . | 0.012 | 0.105 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7 | Ac2131078, NS042Pest | Ac | NS | NS | 2131078 | 042Pest | 042Pest | 2131078 | 042Pest | 042Pest | Y | Recoverable Result | Y | 2 |  | 1 | 0.7 |  | 0.7 | 0 | 0
PENDIMETHALIN | 2001 | 82683GCM35 | 2008-04-24 | 2007-10-01 | 2009-09-30 | ug/L | 0.77463 | Accu | B7070210 | Accu B7070210: 25 µl | 0.28917 | PENDIMETHALIN | . | 0.012 | 0.224 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77463 | Accu B7070210 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.6879 | 0.10333 | 0.69691 | 0.18458 | 0.13683
PENDIMETHALIN | 2001 | 82683GCM35 | 2008-04-24 | 2007-10-01 | 2009-09-30 | ug/L | 0.80392 | Accu | B7070210 | Accu B7070210: 25 µl | 0.29107 | PENDIMETHALIN | . | 0.012 | 0.234 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80392 | Accu B7070210 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.6879 | 0.10333 | 0.69691 | 0.18458 | 0.13683
PENDIMETHALIN | 2001 | 82683GCM35 | 2008-05-06 | 2007-10-01 | 2009-09-30 | ug/L | 0.75841 | Accu | B7070210 | Accu B7070210: 25 µl | 0.27822 | PENDIMETHALIN | . | 0.012 | 0.211 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75841 | Accu B7070210 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.6879 | 0.10333 | 0.69691 | 0.18458 | 0.13683
PENDIMETHALIN | 2001 | 82683GCM35 | 2008-06-10 | 2007-10-01 | 2009-09-30 | ug/L | 0.59005 | Accu | B7070210 | Accu B7070210: 25 µl | 0.28811 | PENDIMETHALIN | . | 0.012 | 0.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59005 | Accu B7070210 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.6879 | 0.10333 | 0.69691 | 0.18458 | 0.13683
PENDIMETHALIN | 2001 | 82683GCM35 | 2008-08-01 | 2007-10-01 | 2009-09-30 | ug/L | 0.565 | Accu | B7070210 | Accu B7070210: 25 µl | 0.27965 | PENDIMETHALIN | . | 0.012 | 0.158 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.565 | Accu B7070210 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.6879 | 0.10333 | 0.69691 | 0.18458 | 0.13683
PENDIMETHALIN | 2001 | 82683GCM35 | 2008-09-23 | 2007-10-01 | 2009-09-30 | ug/L | 0.63541 | Accu | B7070210 | Accu B7070210: 25 µl | 0.27699 | PENDIMETHALIN | . | 0.012 | 0.176 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6354 | Accu B7070210 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.6879 | 0.10333 | 0.69691 | 0.18458 | 0.13683
PENDIMETHALIN | 2001 | 82683GCM35 | 2013-06-13 | 2010-10-01 | 2050-09-30 | ug/L | 0.78 | ChemService, NSI | 1466000, 042313Pest | ChemService 1466000: 50 µl & NSI 042313Pest: 50 µl | 0.15 | PENDIMETHALIN | . | 0.012 | 0.117 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78 | Ch1466000, NS042Pest | Ch | NS | NS | 1466000 | 042Pest | 042Pest |  | 042Pest | 042Pest | Y | Recoverable Result | Y | 2 |  | 1 | 0.78 |  | 0.78 | 0 | 0
PENDIMETHALIN | 2001 | 82683GCM35 | 2013-11-26 | 2010-10-01 | 2050-09-30 | ug/L | 0.86379 | ERA, Abs | 0318-13-02.1, 041613 | ERA 0318-13-02.1: 20 µl & Abs 041613: 20 µl | 0.0602 | PENDIMETHALIN | . | 0.012 | 0.052 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86379 | ER03102.1, Ab041613 | ER | Ab | Ab | 03102.1 | 041613 | 041613 | 03102.1 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.86379 |  | 0.86379 | 0 | 0
PENDIMETHALIN | 2001 | 82683GCM35 | 2013-08-01 | 2010-10-01 | 2050-09-30 | ug/L | 0.75333 | ERA, NSI | 0318-13-02.1, 042313Pest | ERA 0318-13-02.1: 100 µl & NSI 042313Pest: 100 µl | 0.3 | PENDIMETHALIN | . | 0.012 | 0.226 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75333 | ER03102.1, NS042Pest | ER | NS | NS | 03102.1 | 042Pest | 042Pest | 03102.1 | 042Pest | 042Pest | Y | Recoverable Result | Y | 2 |  | 1 | 0.75333 |  | 0.75333 | 0 | 0
PENDIMETHALIN | 2001 | 82683GCM35 | 2012-09-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.815 | ERA, NSI | 0507-12-05.1, 062112-01Pest | ERA 0507-12-05.1: 20 µl & NSI 062112-01Pest: 20 µl | 0.06 | PENDIMETHALIN | . | 0.012 | 0.0489 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.815 | ER05005.1, NS062Pest | ER | NS | NS | 05005.1 | 062Pest | 062Pest | 05005.1 | 062Pest | 062Pest | Y | Recoverable Result | Y | 2 |  | 1 | 0.815 |  | 0.815 | 0 | 0
PENDIMETHALIN | 2001 | 82683GCM35 | 2012-09-25 | 2010-10-01 | 2050-09-30 | ug/L | 0.79167 | NSI, ChemService | 062112-01Pest, 348200 | NSI 062112-01Pest: 40 µl & ChemService 348200: 40 µl | 0.12 | PENDIMETHALIN | . | 0.012 | 0.095 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79167 | NS062Pest, Ch348200 | NS | Ch | Ch | 062Pest | 348200 | 348200 | 062Pest |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.775 | 0.02357 | 0.775 | 0.033333 | 0.02471
PENDIMETHALIN | 2001 | 82683GCM35 | 2013-03-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.75833 | NSI, ChemService | 062112-01Pest, 348200 | NSI 062112-01Pest: 80 µl & ChemService 348200: 80 µl | 0.24 | PENDIMETHALIN | E | 0.012 | 0.182 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75833 | NS062Pest, Ch348200 | NS | Ch | Ch | 062Pest | 348200 | 348200 | 062Pest |  |  | Y | Estimated Values | Y | 2 |  | 2 | 0.775 | 0.02357 | 0.775 | 0.033333 | 0.02471
PENDIMETHALIN | 2001 | 82683GCM35 | 2012-11-28 | 2010-10-01 | 2050-09-30 | ug/L | 0.84333 | NSI, Spex Organics | 062112-01Pest, T1120530009 | NSI 062112-01Pest: 20 µl & Spex Organics T1120530009: 20 µl | 0.06 | PENDIMETHALIN | . | 0.012 | 0.0506 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84333 | NS062Pest, SpT110009 | NS | Sp | Sp | 062Pest | T110009 | T110009 | 062Pest | T110009 | T110009 | Y | Recoverable Result | Y | 2 |  | 1 | 0.84333 |  | 0.84333 | 0 | 0
PENDIMETHALIN | 2001 | 82683GCM35 | 2011-02-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.71966 | NSI | 070810-01 | NSI 070810-01: 20 µl | 0.054609 | PENDIMETHALIN | . | 0.012 | 0.0393 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71966 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.72313 | 0.078019 | 0.74325 | 0.13493 | 0.10002
PENDIMETHALIN | 2001 | 82683GCM35 | 2011-03-15 | 2010-10-01 | 2050-09-30 | ug/L | 0.65939 | NSI | 070810-01 | NSI 070810-01: 50 µl | 0.13801 | PENDIMETHALIN | . | 0.012 | 0.091 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65939 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.72313 | 0.078019 | 0.74325 | 0.13493 | 0.10002
PENDIMETHALIN | 2001 | 82683GCM35 | 2011-05-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.68221 | NSI | 070810-01 | NSI 070810-01: 80 µl | 0.22574 | PENDIMETHALIN | . | 0.012 | 0.154 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68221 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.72313 | 0.078019 | 0.74325 | 0.13493 | 0.10002
PENDIMETHALIN | 2001 | 82683GCM35 | 2011-06-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.63227 | NSI | 070810-01 | NSI 070810-01: 20 µl | 0.05583 | PENDIMETHALIN | . | 0.012 | 0.0353 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63227 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.72313 | 0.078019 | 0.74325 | 0.13493 | 0.10002
PENDIMETHALIN | 2001 | 82683GCM35 | 2011-08-02 | 2010-10-01 | 2050-09-30 | ug/L | 0.80674 | NSI | 070810-01 | NSI 070810-01: 80 µl | 0.2256 | PENDIMETHALIN | . | 0.012 | 0.182 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80674 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.72313 | 0.078019 | 0.74325 | 0.13493 | 0.10002
PENDIMETHALIN | 2001 | 82683GCM35 | 2011-09-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.79433 | NSI | 070810-01 | NSI 070810-01: 50 µl | 0.141 | PENDIMETHALIN | . | 0.012 | 0.112 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79433 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.72313 | 0.078019 | 0.74325 | 0.13493 | 0.10002
PENDIMETHALIN | 2001 | 82683GCM35 | 2011-11-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.79965 | NSI | 070810-01 | NSI 070810-01: 20 µl | 0.0564 | PENDIMETHALIN | . | 0.012 | 0.0451 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79965 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.72313 | 0.078019 | 0.74325 | 0.13493 | 0.10002
PENDIMETHALIN | 2001 | 82683GCM35 | 2012-01-21 | 2010-10-01 | 2050-09-30 | ug/L | 0.76684 | NSI | 070810-01 | NSI 070810-01: 80 µl | 0.2256 | PENDIMETHALIN | . | 0.012 | 0.173 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76684 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.72313 | 0.078019 | 0.74325 | 0.13493 | 0.10002
PENDIMETHALIN | 2001 | 82683GCM35 | 2012-05-05 | 2010-10-01 | 2050-09-30 | ug/L | 0.78014 | NSI | 070810-01 | NSI 070810-01: 50 µl | 0.141 | PENDIMETHALIN | . | 0.012 | 0.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78014 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.72313 | 0.078019 | 0.74325 | 0.13493 | 0.10002
PENDIMETHALIN | 2001 | 82683GCM35 | 2012-06-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.59007 | NSI | 070810-01 | NSI 070810-01: 50 µl | 0.141 | PENDIMETHALIN | . | 0.012 | 0.0832 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59007 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.72313 | 0.078019 | 0.74325 | 0.13493 | 0.10002
PENDIMETHALIN | 2001 | 82683GCM35 | 2008-05-01 | 2007-10-01 | 2009-09-30 | ug/L | 0.79983 | NWQL | PSP3SP140C | NWQL PSP3SP140C: 50 µl | 0.051261 | PENDIMETHALIN | . | 0.012 | 0.041 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79983 | NWQL PSP3SP140C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.80892 | 0.022188 | 0.79983 | 0.04149 | 0.030756
PENDIMETHALIN | 2001 | 82683GCM35 | 2008-06-25 | 2007-10-01 | 2009-09-30 | ug/L | 0.8342 | NWQL | PSP3SP140C | NWQL PSP3SP140C: 50 µl | 0.050347 | PENDIMETHALIN | . | 0.012 | 0.042 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8342 | NWQL PSP3SP140C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.80892 | 0.022188 | 0.79983 | 0.04149 | 0.030756
PENDIMETHALIN | 2001 | 82683GCM35 | 2008-08-19 | 2007-10-01 | 2009-09-30 | ug/L | 0.79271 | NWQL | PSP3SP140C | NWQL PSP3SP140C: 50 µl | 0.049198 | PENDIMETHALIN | . | 0.012 | 0.039 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79271 | NWQL PSP3SP140C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.80892 | 0.022188 | 0.79983 | 0.04149 | 0.030756
PENDIMETHALIN | 2001 | 82683GCM35 | 2009-04-08 | 2007-10-01 | 2009-09-30 | ug/L | 0.68586 | NWQL | PSP3SP140D | NWQL PSP3SP140D: 50 µl | 0.051031 | PENDIMETHALIN | . | 0.012 | 0.035 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68586 | NWQL PSP3SP140D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.77651 | 0.10041 | 0.76158 | 0.16499 | 0.12231
PENDIMETHALIN | 2001 | 82683GCM35 | 2009-04-14 | 2007-10-01 | 2009-09-30 | ug/L | 0.82098 | NWQL | PSP3SP140D | NWQL PSP3SP140D: 50 µl | 0.04994 | PENDIMETHALIN | . | 0.012 | 0.041 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82098 | NWQL PSP3SP140D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.77651 | 0.10041 | 0.76158 | 0.16499 | 0.12231
PENDIMETHALIN | 2001 | 82683GCM35 | 2009-06-24 | 2007-10-01 | 2009-09-30 | ug/L | 0.70217 | NWQL | PSP3SP140D | NWQL PSP3SP140D: 50 µl | 0.049845 | PENDIMETHALIN | . | 0.012 | 0.035 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70217 | NWQL PSP3SP140D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.77651 | 0.10041 | 0.76158 | 0.16499 | 0.12231
PENDIMETHALIN | 2001 | 82683GCM35 | 2009-08-21 | 2007-10-01 | 2009-09-30 | ug/L | 0.89703 | NWQL | PSP3SP140D | NWQL PSP3SP140D: 50 µl | 0.050165 | PENDIMETHALIN | . | 0.012 | 0.045 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89703 | NWQL PSP3SP140D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.77651 | 0.10041 | 0.76158 | 0.16499 | 0.12231
PENDIMETHALIN | 2001 | 82683GCM35 | 2010-06-24 | 2009-10-01 | 2010-09-30 | ug/L | 0.86915 | NWQL | PSP3SP142A | NWQL PSP3SP142A: 40 µl | 0.039809 | PENDIMETHALIN | . | 0.012 | 0.0346 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86915 | NWQL PSP3SP142A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.83652 | 0.11776 | 0.86915 | 0.22865 | 0.16949
PENDIMETHALIN | 2001 | 82683GCM35 | 2010-07-14 | 2009-10-01 | 2010-09-30 | ug/L | 0.70589 | NWQL | PSP3SP142A | NWQL PSP3SP142A: 40 µl | 0.0408 | PENDIMETHALIN | . | 0.012 | 0.0288 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70589 | NWQL PSP3SP142A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.83652 | 0.11776 | 0.86915 | 0.22865 | 0.16949
PENDIMETHALIN | 2001 | 82683GCM35 | 2010-07-28 | 2009-10-01 | 2010-09-30 | ug/L | 0.93453 | NWQL | PSP3SP142A | NWQL PSP3SP142A: 40 µl | 0.04002 | PENDIMETHALIN | . | 0.012 | 0.0374 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93453 | NWQL PSP3SP142A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.83652 | 0.11776 | 0.86915 | 0.22865 | 0.16949
PENDIMETHALIN | 2001 | 82683GCM35 | 2009-01-14 | 2007-10-01 | 2009-09-30 | ug/L | 0.95751 | Protocol | D1080911003 | Protocol D1080911003: 40 µl | 0.32271 | PENDIMETHALIN | . | 0.012 | 0.309 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95751 | Protocol D1080911003 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.81337 | 0.11215 | 0.73927 | 0.17456 | 0.1294
PENDIMETHALIN | 2001 | 82683GCM35 | 2009-03-23 | 2007-10-01 | 2009-09-30 | ug/L | 0.72087 | Protocol | D1080911003 | Protocol D1080911003: 25 µl | 0.20947 | PENDIMETHALIN | . | 0.012 | 0.151 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72087 | Protocol D1080911003 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.81337 | 0.11215 | 0.73927 | 0.17456 | 0.1294
PENDIMETHALIN | 2001 | 82683GCM35 | 2009-06-04 | 2007-10-01 | 2009-09-30 | ug/L | 0.91189 | Protocol | D1080911003 | Protocol D1080911003: 40 µl | 0.31693 | PENDIMETHALIN | . | 0.012 | 0.289 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91189 | Protocol D1080911003 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.81337 | 0.11215 | 0.73927 | 0.17456 | 0.1294
PENDIMETHALIN | 2001 | 82683GCM35 | 2009-07-22 | 2007-10-01 | 2009-09-30 | ug/L | 0.73927 | Protocol | D1080911003 | Protocol D1080911003: 25 µl | 0.19749 | PENDIMETHALIN | . | 0.012 | 0.146 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73927 | Protocol D1080911003 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.81337 | 0.11215 | 0.73927 | 0.17456 | 0.1294
PENDIMETHALIN | 2001 | 82683GCM35 | 2009-10-27 | 2009-10-01 | 2010-09-30 | ug/L | 0.73733 | Protocol | D1080911003 | Protocol D1080911003: 25 µl | 0.19666 | PENDIMETHALIN | . | 0.012 | 0.145 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73733 | Protocol D1080911003 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.81337 | 0.11215 | 0.73927 | 0.17456 | 0.1294
PENDIMETHALIN | 2001 | 82683GCM35 | 2008-11-13 | 2007-10-01 | 2009-09-30 | ug/L | 0.76562 | Supelco | LB60730 | Supelco LB60730: 25 µl | 0.19853 | PENDIMETHALIN | . | 0.012 | 0.152 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76562 | Supelco LB60730 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.69081 | 0.06203 | 0.69959 | 0.019629 | 0.014551
PENDIMETHALIN | 2001 | 82683GCM35 | 2009-03-24 | 2007-10-01 | 2009-09-30 | ug/L | 0.69959 | Supelco | LB60730 | Supelco LB60730: 40 µl | 0.33877 | PENDIMETHALIN | . | 0.012 | 0.237 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69959 | Supelco LB60730 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.69081 | 0.06203 | 0.69959 | 0.019629 | 0.014551
PENDIMETHALIN | 2001 | 82683GCM35 | 2009-04-23 | 2007-10-01 | 2009-09-30 | ug/L | 0.7074 | Supelco | LB60730 | Supelco LB60730: 25 µl | 0.20215 | PENDIMETHALIN | . | 0.012 | 0.143 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7074 | Supelco LB60730 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.69081 | 0.06203 | 0.69959 | 0.019629 | 0.014551
PENDIMETHALIN | 2001 | 82683GCM35 | 2009-07-31 | 2007-10-01 | 2009-09-30 | ug/L | 0.68778 | Supelco | LB60730 | Supelco LB60730: 40 µl | 0.31696 | PENDIMETHALIN | . | 0.012 | 0.218 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68778 | Supelco LB60730 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.69081 | 0.06203 | 0.69959 | 0.019629 | 0.014551
PENDIMETHALIN | 2001 | 82683GCM35 | 2009-09-10 | 2007-10-01 | 2009-09-30 | ug/L | 0.59369 | Supelco | LB60730 | Supelco LB60730: 25 µl | 0.20213 | PENDIMETHALIN | . | 0.012 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59369 | Supelco LB60730 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.69081 | 0.06203 | 0.69959 | 0.019629 | 0.014551
PENDIMETHALIN | 2001 | 82683GCM35 | 2011-02-25 | 2010-10-01 | 2050-09-30 | ug/L | 0.73406 | Supelco | LB77170 | Supelco LB77170: 80 µl | 0.2275 | PENDIMETHALIN | . | 0.012 | 0.167 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73406 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.76371 | 0.13618 | 0.76201 | 0.12141 | 0.09
PENDIMETHALIN | 2001 | 82683GCM35 | 2011-03-23 | 2010-10-01 | 2050-09-30 | ug/L | 0.76201 | Supelco | LB77170 | Supelco LB77170: 20 µl | 0.056824 | PENDIMETHALIN | . | 0.012 | 0.0433 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76201 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.76371 | 0.13618 | 0.76201 | 0.12141 | 0.09
PENDIMETHALIN | 2001 | 82683GCM35 | 2011-06-23 | 2010-10-01 | 2050-09-30 | ug/L | 0.45805 | Supelco | LB77170 | Supelco LB77170: 50 µl | 0.14256 | PENDIMETHALIN | E | 0.012 | 0.0653 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.45805 | Supelco LB77170 | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 0.76371 | 0.13618 | 0.76201 | 0.12141 | 0.09
PENDIMETHALIN | 2001 | 82683GCM35 | 2011-07-12 | 2010-10-01 | 2050-09-30 | ug/L | 0.75703 | Supelco | LB77170 | Supelco LB77170: 80 µl | 0.2272 | PENDIMETHALIN | . | 0.012 | 0.172 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75703 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.76371 | 0.13618 | 0.76201 | 0.12141 | 0.09
PENDIMETHALIN | 2001 | 82683GCM35 | 2011-08-18 | 2010-10-01 | 2050-09-30 | ug/L | 0.92101 | Supelco | LB77170 | Supelco LB77170: 50 µl | 0.14115 | PENDIMETHALIN | . | 0.012 | 0.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92101 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.76371 | 0.13618 | 0.76201 | 0.12141 | 0.09
PENDIMETHALIN | 2001 | 82683GCM35 | 2011-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.85547 | Supelco | LB77170 | Supelco LB77170: 20 µl | 0.05646 | PENDIMETHALIN | . | 0.012 | 0.0483 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85547 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.76371 | 0.13618 | 0.76201 | 0.12141 | 0.09
PENDIMETHALIN | 2001 | 82683GCM35 | 2011-12-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.81474 | Supelco | LB77170 | Supelco LB77170: 50 µl | 0.14115 | PENDIMETHALIN | E | 0.012 | 0.115 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81474 | Supelco LB77170 | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 0.76371 | 0.13618 | 0.76201 | 0.12141 | 0.09
PENDIMETHALIN | 2001 | 82683GCM35 | 2012-02-23 | 2010-10-01 | 2050-09-30 | ug/L | 0.8785 | Supelco | LB77170 | Supelco LB77170: 20 µl | 0.05646 | PENDIMETHALIN | . | 0.012 | 0.0496 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8785 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.76371 | 0.13618 | 0.76201 | 0.12141 | 0.09
PENDIMETHALIN | 2001 | 82683GCM35 | 2012-05-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.69253 | Supelco | LB77170 | Supelco LB77170: 20 µl | 0.05646 | PENDIMETHALIN | . | 0.012 | 0.0391 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69253 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.76371 | 0.13618 | 0.76201 | 0.12141 | 0.09