## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
PHORATE | 2001 | 82664GCM35 | 2013-12-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.61 | Abs, ChemService | 041613, 1466000 | Abs 041613: 50 µl & ChemService 1466000: 50 µl | 0.1 | PHORATE | . | 0.02 | 0.061 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61 | Ab041613, Ch1466000 | Ab | Ch | Ch | 041613 | 1466000 | 1466000 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.61 |  | 0.61 | 0 | 0
PHORATE | 2001 | 82664GCM35 | 2013-08-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.225 | Abs, Spex Organics | 041613, T1130517007 | Abs 041613: 20 µl & Spex Organics T1130517007: 20 µl | 0.04 | PHORATE | . | 0.02 | 0.009 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.225 | Ab041613, SpT117007 | Ab | Sp | Sp | 041613 | T117007 | T117007 |  | T117007 | T117007 | Y | Recoverable Result | Y | 2 |  | 1 | 0.225 |  | 0.225 | 0 | 0
PHORATE | 2001 | 82664GCM35 | 2012-08-05 | 2010-10-01 | 2050-09-30 | ug/L | 0.23333 | Abs, ChemService | 052212, 348200 | Abs 052212: 20 µl & ChemService 348200: 20 µl | 0.06 | PHORATE | . | 0.02 | 0.014 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.23333 | Ab052212, Ch348200 | Ab | Ch | Ch | 052212 | 348200 | 348200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.23333 |  | 0.23333 | 0 | 0
PHORATE | 2001 | 82664GCM35 | 2013-04-03 | 2010-10-01 | 2050-09-30 | ug/L | 0.033333 | Abs, Spex Organics | 052212, T1120530009 | Abs 052212: 40 µl & Spex Organics T1120530009: 40 µl | 0.12 | PHORATE | . | 0.02 | 0.004 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.033333 | Ab052212, SpT110009 | Ab | Sp | Sp | 052212 | T110009 | T110009 |  | T110009 | T110009 | Y | Recoverable Result | Y | 2 |  | 1 | 0.033333 |  | 0.033333 | 0 | 0
PHORATE | 2001 | 82664GCM35 | 2012-09-01 | 2010-10-01 | 2050-09-30 | ug/L | 0.6 | Accu, Spex Organics | 212051201, T1120530009 | Accu 212051201: 20 µl & Spex Organics T1120530009: 20 µl | 0.06 | PHORATE | . | 0.02 | 0.036 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6 | Ac2121201, SpT110009 | Ac | Sp | Sp | 2121201 | T110009 | T110009 | 2121201 | T110009 | T110009 | Y | Recoverable Result | Y | 2 |  | 1 | 0.6 |  | 0.6 | 0 | 0
PHORATE | 2001 | 82664GCM35 | 2009-12-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.56693 | Accu | 209081259 | Accu 209081259: 25 µl | 0.097013 | PHORATE | . | 0.02 | 0.055 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56693 | Accu 209081259 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.68568 | 0.17955 | 0.63977 | 0.29371 | 0.21772
PHORATE | 2001 | 82664GCM35 | 2010-06-24 | 2009-10-01 | 2010-09-30 | ug/L | 0.47794 | Accu | 209081259 | Accu 209081259: 25 µl | 0.098338 | PHORATE | . | 0.02 | 0.047 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.47794 | Accu 209081259 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.68568 | 0.17955 | 0.63977 | 0.29371 | 0.21772
PHORATE | 2001 | 82664GCM35 | 2010-07-06 | 2009-10-01 | 2010-09-30 | ug/L | 0.63977 | Accu | 209081259 | Accu 209081259: 80 µl | 0.32199 | PHORATE | . | 0.02 | 0.206 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63977 | Accu 209081259 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.68568 | 0.17955 | 0.63977 | 0.29371 | 0.21772
PHORATE | 2001 | 82664GCM35 | 2010-10-27 | 2010-10-01 | 2050-09-30 | ug/L | 0.86064 | Accu | 209081259 | Accu 209081259: 25 µl | 0.09644 | PHORATE | . | 0.02 | 0.083 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86064 | Accu 209081259 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.68568 | 0.17955 | 0.63977 | 0.29371 | 0.21772
PHORATE | 2001 | 82664GCM35 | 2010-12-01 | 2010-10-01 | 2050-09-30 | ug/L | 0.88309 | Accu | 209081259 | Accu 209081259: 80 µl | 0.31933 | PHORATE | . | 0.02 | 0.282 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88309 | Accu 209081259 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.68568 | 0.17955 | 0.63977 | 0.29371 | 0.21772
PHORATE | 2001 | 82664GCM35 | 2008-04-24 | 2007-10-01 | 2008-09-30 | ug/L | 0.58841 | Accu | B7070210 | Accu B7070210: 25 µl | 0.17335 | PHORATE | . | 0.04 | 0.102 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58841 | Accu B7070210 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.59828 | 0.10851 | 0.58081 | 0.087522 | 0.064879
PHORATE | 2001 | 82664GCM35 | 2008-04-24 | 2007-10-01 | 2008-09-30 | ug/L | 0.78514 | Accu | B7070210 | Accu B7070210: 25 µl | 0.17449 | PHORATE | . | 0.04 | 0.137 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78514 | Accu B7070210 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.59828 | 0.10851 | 0.58081 | 0.087522 | 0.064879
PHORATE | 2001 | 82664GCM35 | 2008-05-06 | 2007-10-01 | 2008-09-30 | ug/L | 0.63556 | Accu | B7070210 | Accu B7070210: 25 µl | 0.16678 | PHORATE | . | 0.04 | 0.106 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63556 | Accu B7070210 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.59828 | 0.10851 | 0.58081 | 0.087522 | 0.064879
PHORATE | 2001 | 82664GCM35 | 2008-06-10 | 2007-10-01 | 2008-09-30 | ug/L | 0.57321 | Accu | B7070210 | Accu B7070210: 25 µl | 0.17271 | PHORATE | . | 0.04 | 0.099 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57321 | Accu B7070210 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.59828 | 0.10851 | 0.58081 | 0.087522 | 0.064879
PHORATE | 2001 | 82664GCM35 | 2008-08-01 | 2007-10-01 | 2008-09-30 | ug/L | 0.45932 | Accu | B7070210 | Accu B7070210: 25 µl | 0.16764 | PHORATE | . | 0.04 | 0.077 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.45932 | Accu B7070210 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.59828 | 0.10851 | 0.58081 | 0.087522 | 0.064879
PHORATE | 2001 | 82664GCM35 | 2008-09-23 | 2007-10-01 | 2008-09-30 | ug/L | 0.54804 | Accu | B7070210 | Accu B7070210: 25 µl | 0.16605 | PHORATE | . | 0.04 | 0.091 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.54804 | Accu B7070210 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.59828 | 0.10851 | 0.58081 | 0.087522 | 0.064879
PHORATE | 2001 | 82664GCM35 | 2013-06-13 | 2010-10-01 | 2050-09-30 | ug/L | 0.02 | ChemService, NSI | 1466000, 042313Pest | ChemService 1466000: 50 µl & NSI 042313Pest: 50 µl | 0.1 | PHORATE | . | 0.02 | 0.002 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.02 | Ch1466000, NS042Pest | Ch | NS | NS | 1466000 | 042Pest | 042Pest |  | 042Pest | 042Pest | Y | Recoverable Result | Y | 2 |  | 1 | 0.02 |  | 0.02 | 0 | 0
PHORATE | 2001 | 82664GCM35 | 2010-01-07 | 2009-10-01 | 2010-09-30 | ug/L | 0.66625 | ChemService | 430-43B | ChemService 430-43B: 25 µl | 0.09606 | PHORATE | . | 0.02 | 0.064 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66625 | ChemService 430-43B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.80353 | 0.24313 | 0.71364 | 0.30531 | 0.22632
PHORATE | 2001 | 82664GCM35 | 2010-06-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.54557 | ChemService | 430-43B | ChemService 430-43B: 25 µl | 0.09898 | PHORATE | . | 0.02 | 0.054 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.54557 | ChemService 430-43B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.80353 | 0.24313 | 0.71364 | 0.30531 | 0.22632
PHORATE | 2001 | 82664GCM35 | 2010-07-19 | 2009-10-01 | 2010-09-30 | ug/L | 0.72213 | ChemService | 430-43B | ChemService 430-43B: 25 µl | 0.099705 | PHORATE | . | 0.02 | 0.072 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72213 | ChemService 430-43B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.80353 | 0.24313 | 0.71364 | 0.30531 | 0.22632
PHORATE | 2001 | 82664GCM35 | 2010-07-22 | 2009-10-01 | 2010-09-30 | ug/L | 0.70515 | ChemService | 430-43B | ChemService 430-43B: 80 µl | 0.31483 | PHORATE | . | 0.02 | 0.222 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70515 | ChemService 430-43B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.80353 | 0.24313 | 0.71364 | 0.30531 | 0.22632
PHORATE | 2001 | 82664GCM35 | 2010-11-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.97156 | ChemService | 430-43B | ChemService 430-43B: 25 µl | 0.09881 | PHORATE | E | 0.02 | 0.096 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97156 | ChemService 430-43B | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.80353 | 0.24313 | 0.71364 | 0.30531 | 0.22632
PHORATE | 2001 | 82664GCM35 | 2010-12-02 | 2010-10-01 | 2050-09-30 | ug/L | 1.2105 | ChemService | 430-43B | ChemService 430-43B: 80 µl | 0.32879 | PHORATE | . | 0.02 | 0.398 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2105 | ChemService 430-43B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.80353 | 0.24313 | 0.71364 | 0.30531 | 0.22632
PHORATE | 2001 | 82664GCM35 | 2012-12-06 | 2010-10-01 | 2050-09-30 | ug/L | 0.21667 | ERA, ChemService | 0507-12-05.1, 348200 | ERA 0507-12-05.1: 20 µl & ChemService 348200: 20 µl | 0.06 | PHORATE | . | 0.02 | 0.013 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.21667 | ER05005.1, Ch348200 | ER | Ch | Ch | 05005.1 | 348200 | 348200 | 05005.1 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.21667 |  | 0.21667 | 0 | 0
PHORATE | 2001 | 82664GCM35 | 2012-11-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.6 | ERA, Spex Organics | 0507-12-05.1, T1120530009 | ERA 0507-12-05.1: 40 µl & Spex Organics T1120530009: 40 µl | 0.12 | PHORATE | . | 0.02 | 0.072 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6 | ER05005.1, SpT110009 | ER | Sp | Sp | 05005.1 | T110009 | T110009 | 05005.1 | T110009 | T110009 | Y | Recoverable Result | Y | 2 |  | 2 | 0.45208 | 0.20919 | 0.45208 | 0.29583 | 0.2193
PHORATE | 2001 | 82664GCM35 | 2013-03-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.30417 | ERA, Spex Organics | 0507-12-05.1, T1120530009 | ERA 0507-12-05.1: 80 µl & Spex Organics T1120530009: 80 µl | 0.24 | PHORATE | . | 0.02 | 0.073 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.30417 | ER05005.1, SpT110009 | ER | Sp | Sp | 05005.1 | T110009 | T110009 | 05005.1 | T110009 | T110009 | Y | Recoverable Result | Y | 2 |  | 2 | 0.45208 | 0.20919 | 0.45208 | 0.29583 | 0.2193
PHORATE | 2001 | 82664GCM35 | 2011-03-01 | 2010-10-01 | 2050-09-30 | ug/L | 0.53377 | ERA | 0618-10-02 LS 2001#2 | ERA 0618-10-02 LS 2001#2: 20 µl | 0.084306 | PHORATE | . | 0.02 | 0.045 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.53377 | ERA 0618-10-02 LS 2001#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.67872 | 0.074688 | 0.6762 | 0.046948 | 0.034802
PHORATE | 2001 | 82664GCM35 | 2011-03-15 | 2010-10-01 | 2050-09-30 | ug/L | 0.79324 | ERA | 0618-10-02 LS 2001#2 | ERA 0618-10-02 LS 2001#2: 80 µl | 0.33659 | PHORATE | . | 0.02 | 0.267 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79324 | ERA 0618-10-02 LS 2001#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.67872 | 0.074688 | 0.6762 | 0.046948 | 0.034802
PHORATE | 2001 | 82664GCM35 | 2011-05-18 | 2010-10-01 | 2050-09-30 | ug/L | 0.6762 | ERA | 0618-10-02 LS 2001#2 | ERA 0618-10-02 LS 2001#2: 50 µl | 0.21739 | PHORATE | . | 0.02 | 0.147 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6762 | ERA 0618-10-02 LS 2001#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.67872 | 0.074688 | 0.6762 | 0.046948 | 0.034802
PHORATE | 2001 | 82664GCM35 | 2011-06-28 | 2010-10-01 | 2050-09-30 | ug/L | 0.69859 | ERA | 0618-10-02 LS 2001#2 | ERA 0618-10-02 LS 2001#2: 50 µl | 0.21472 | PHORATE | . | 0.02 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69859 | ERA 0618-10-02 LS 2001#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.67872 | 0.074688 | 0.6762 | 0.046948 | 0.034802
PHORATE | 2001 | 82664GCM35 | 2011-08-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.75411 | ERA | 0618-10-02 LS 2001#2 | ERA 0618-10-02 LS 2001#2: 80 µl | 0.3408 | PHORATE | . | 0.02 | 0.257 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75411 | ERA 0618-10-02 LS 2001#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.67872 | 0.074688 | 0.6762 | 0.046948 | 0.034802
PHORATE | 2001 | 82664GCM35 | 2011-09-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.70423 | ERA | 0618-10-02 LS 2001#2 | ERA 0618-10-02 LS 2001#2: 20 µl | 0.0852 | PHORATE | . | 0.02 | 0.06 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70423 | ERA 0618-10-02 LS 2001#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.67872 | 0.074688 | 0.6762 | 0.046948 | 0.034802
PHORATE | 2001 | 82664GCM35 | 2011-11-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.66901 | ERA | 0618-10-02 LS 2001#2 | ERA 0618-10-02 LS 2001#2: 20 µl | 0.0852 | PHORATE | . | 0.02 | 0.057 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66901 | ERA 0618-10-02 LS 2001#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.67872 | 0.074688 | 0.6762 | 0.046948 | 0.034802
PHORATE | 2001 | 82664GCM35 | 2012-02-16 | 2010-10-01 | 2050-09-30 | ug/L | 0.62207 | ERA | 0618-10-02 LS 2001#2 | ERA 0618-10-02 LS 2001#2: 20 µl | 0.0852 | PHORATE | . | 0.02 | 0.053 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62207 | ERA 0618-10-02 LS 2001#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.67872 | 0.074688 | 0.6762 | 0.046948 | 0.034802
PHORATE | 2001 | 82664GCM35 | 2012-05-05 | 2010-10-01 | 2050-09-30 | ug/L | 0.65728 | ERA | 0618-10-02 LS 2001#2 | ERA 0618-10-02 LS 2001#2: 50 µl | 0.213 | PHORATE | . | 0.02 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65728 | ERA 0618-10-02 LS 2001#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.67872 | 0.074688 | 0.6762 | 0.046948 | 0.034802
PHORATE | 2001 | 82664GCM35 | 2012-09-25 | 2010-10-01 | 2050-09-30 | ug/L | 0.30833 | NSI, ChemService | 062112-01Pest, 348200 | NSI 062112-01Pest: 40 µl & ChemService 348200: 40 µl | 0.12 | PHORATE | . | 0.02 | 0.037 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.30833 | NS062Pest, Ch348200 | NS | Ch | Ch | 062Pest | 348200 | 348200 | 062Pest |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.30833 |  | 0.30833 | 0 | 0
PHORATE | 2001 | 82664GCM35 | 2012-11-28 | 2010-10-01 | 2050-09-30 | ug/L | 0.3 | NSI, Spex Organics | 062112-01Pest, T1120530009 | NSI 062112-01Pest: 20 µl & Spex Organics T1120530009: 20 µl | 0.06 | PHORATE | . | 0.02 | 0.018 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.3 | NS062Pest, SpT110009 | NS | Sp | Sp | 062Pest | T110009 | T110009 | 062Pest | T110009 | T110009 | Y | Recoverable Result | Y | 2 |  | 1 | 0.3 |  | 0.3 | 0 | 0
PHORATE | 2001 | 82664GCM35 | 2008-05-01 | 2007-10-01 | 2008-09-30 | ug/L | 0.99491 | NWQL | PSP3SP140C | NWQL PSP3SP140C: 50 µl | 0.051261 | PHORATE | . | 0.04 | 0.051 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99491 | NWQL PSP3SP140C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.84823 | 0.17437 | 0.89434 | 0.33946 | 0.25164
PHORATE | 2001 | 82664GCM35 | 2008-06-25 | 2007-10-01 | 2008-09-30 | ug/L | 0.65545 | NWQL | PSP3SP140C | NWQL PSP3SP140C: 50 µl | 0.050347 | PHORATE | E | 0.04 | 0.033 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65545 | NWQL PSP3SP140C | [9 empty] | Y | Estimated Values | Y | 2 |  | 3 | 0.84823 | 0.17437 | 0.89434 | 0.33946 | 0.25164
PHORATE | 2001 | 82664GCM35 | 2008-08-19 | 2007-10-01 | 2008-09-30 | ug/L | 0.89434 | NWQL | PSP3SP140C | NWQL PSP3SP140C: 50 µl | 0.049198 | PHORATE | . | 0.04 | 0.044 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89434 | NWQL PSP3SP140C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.84823 | 0.17437 | 0.89434 | 0.33946 | 0.25164
PHORATE | 2001 | 82664GCM35 | 2009-04-08 | 2008-10-01 | 2009-09-30 | ug/L | 0.9798 | NWQL | PSP3SP140D | NWQL PSP3SP140D: 50 µl | 0.051031 | PHORATE | . | 0.02 | 0.05 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9798 | NWQL PSP3SP140D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.90539 | 0.14422 | 0.95133 | 0.19024 | 0.14102
PHORATE | 2001 | 82664GCM35 | 2009-04-14 | 2008-10-01 | 2009-09-30 | ug/L | 1.0212 | NWQL | PSP3SP140D | NWQL PSP3SP140D: 50 µl | 0.04994 | PHORATE | . | 0.02 | 0.051 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0212 | NWQL PSP3SP140D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.90539 | 0.14422 | 0.95133 | 0.19024 | 0.14102
PHORATE | 2001 | 82664GCM35 | 2009-06-24 | 2008-10-01 | 2009-09-30 | ug/L | 0.92285 | NWQL | PSP3SP140D | NWQL PSP3SP140D: 50 µl | 0.049845 | PHORATE | . | 0.02 | 0.046 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92285 | NWQL PSP3SP140D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.90539 | 0.14422 | 0.95133 | 0.19024 | 0.14102
PHORATE | 2001 | 82664GCM35 | 2009-08-21 | 2008-10-01 | 2009-09-30 | ug/L | 0.69769 | NWQL | PSP3SP140D | NWQL PSP3SP140D: 50 µl | 0.050165 | PHORATE | . | 0.02 | 0.035 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69769 | NWQL PSP3SP140D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.90539 | 0.14422 | 0.95133 | 0.19024 | 0.14102
PHORATE | 2001 | 82664GCM35 | 2010-06-24 | 2009-10-01 | 2010-09-30 | ug/L | 1.1806 | NWQL | PSP3SP142A | NWQL PSP3SP142A: 40 µl | 0.039809 | PHORATE | . | 0.02 | 0.047 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1806 | NWQL PSP3SP142A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.93675 | 0.28418 | 1.0049 | 0.55595 | 0.41212
PHORATE | 2001 | 82664GCM35 | 2010-07-14 | 2009-10-01 | 2010-09-30 | ug/L | 1.0049 | NWQL | PSP3SP142A | NWQL PSP3SP142A: 40 µl | 0.0408 | PHORATE | . | 0.02 | 0.041 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0049 | NWQL PSP3SP142A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.93675 | 0.28418 | 1.0049 | 0.55595 | 0.41212
PHORATE | 2001 | 82664GCM35 | 2010-07-28 | 2009-10-01 | 2010-09-30 | ug/L | 0.62469 | NWQL | PSP3SP142A | NWQL PSP3SP142A: 40 µl | 0.04002 | PHORATE | . | 0.02 | 0.025 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62469 | NWQL PSP3SP142A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.93675 | 0.28418 | 1.0049 | 0.55595 | 0.41212
PHORATE | 2001 | 82664GCM35 | 2009-01-14 | 2008-10-01 | 2009-09-30 | ug/L | 0.94548 | Protocol | D1080911003 | Protocol D1080911003: 40 µl | 0.17346 | PHORATE | . | 0.02 | 0.164 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94548 | Protocol D1080911003 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.91542 | 0.16247 | 0.90595 | 0.1259 | 0.093327
PHORATE | 2001 | 82664GCM35 | 2009-03-23 | 2008-10-01 | 2009-09-30 | ug/L | 0.90595 | Protocol | D1080911003 | Protocol D1080911003: 25 µl | 0.11259 | PHORATE | . | 0.02 | 0.102 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90595 | Protocol D1080911003 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.91542 | 0.16247 | 0.90595 | 0.1259 | 0.093327
PHORATE | 2001 | 82664GCM35 | 2009-06-04 | 2008-10-01 | 2009-09-30 | ug/L | 1.1682 | Protocol | D1080911003 | Protocol D1080911003: 40 µl | 0.17035 | PHORATE | . | 0.02 | 0.199 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1682 | Protocol D1080911003 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.91542 | 0.16247 | 0.90595 | 0.1259 | 0.093327
PHORATE | 2001 | 82664GCM35 | 2009-07-22 | 2008-10-01 | 2009-09-30 | ug/L | 0.81958 | Protocol | D1080911003 | Protocol D1080911003: 25 µl | 0.10615 | PHORATE | . | 0.02 | 0.087 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81958 | Protocol D1080911003 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.91542 | 0.16247 | 0.90595 | 0.1259 | 0.093327
PHORATE | 2001 | 82664GCM35 | 2009-10-27 | 2009-10-01 | 2010-09-30 | ug/L | 0.73792 | Protocol | D1080911003 | Protocol D1080911003: 25 µl | 0.1057 | PHORATE | . | 0.02 | 0.078 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73792 | Protocol D1080911003 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.91542 | 0.16247 | 0.90595 | 0.1259 | 0.093327
PHORATE | 2001 | 82664GCM35 | 2013-08-28 | 2010-10-01 | 2050-09-30 | ug/L | 0.64 | Spex Organics, Accu | T1130517007, 213041078 | Spex Organics T1130517007: 100 µl & Accu 213041078: 100 µl | 0.2 | PHORATE | . | 0.02 | 0.128 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64 | SpT117007, Ac2131078 | Sp | Ac | Ac | T117007 | 2131078 | 2131078 | T117007 | 2131078 | 2131078 | Y | Recoverable Result | Y | 2 |  | 1 | 0.64 |  | 0.64 | 0 | 0
PHORATE | 2001 | 82664GCM35 | 2013-12-18 | 2010-10-01 | 2050-09-30 | ug/L | 0.7 | Spex Organics, ERA | T1130517007, 0318-13-02.1 | Spex Organics T1130517007: 20 µl & ERA 0318-13-02.1: 20 µl | 0.04 | PHORATE | . | 0.02 | 0.028 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7 | SpT117007, ER03102.1 | Sp | ER | ER | T117007 | 03102.1 | 03102.1 | T117007 | 03102.1 | 03102.1 | Y | Recoverable Result | Y | 2 |  | 1 | 0.7 |  | 0.7 | 0 | 0
PHORATE | 2001 | 82664GCM35 | 2008-11-13 | 2008-10-01 | 2009-09-30 | ug/L | 0.85932 | Supelco | LB60730 | Supelco LB60730: 25 µl | 0.1059 | PHORATE | . | 0.02 | 0.091 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85932 | Supelco LB60730 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.72886 | 0.14676 | 0.80244 | 0.21325 | 0.15808
PHORATE | 2001 | 82664GCM35 | 2009-03-24 | 2008-10-01 | 2009-09-30 | ug/L | 0.80244 | Supelco | LB60730 | Supelco LB60730: 40 µl | 0.1807 | PHORATE | . | 0.02 | 0.145 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80244 | Supelco LB60730 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.72886 | 0.14676 | 0.80244 | 0.21325 | 0.15808
PHORATE | 2001 | 82664GCM35 | 2009-04-23 | 2008-10-01 | 2009-09-30 | ug/L | 0.83468 | Supelco | LB60730 | Supelco LB60730: 25 µl | 0.10783 | PHORATE | . | 0.02 | 0.09 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83468 | Supelco LB60730 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.72886 | 0.14676 | 0.80244 | 0.21325 | 0.15808
PHORATE | 2001 | 82664GCM35 | 2009-07-31 | 2008-10-01 | 2009-09-30 | ug/L | 0.52641 | Supelco | LB60730 | Supelco LB60730: 40 µl | 0.16907 | PHORATE | . | 0.02 | 0.089 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.52641 | Supelco LB60730 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.72886 | 0.14676 | 0.80244 | 0.21325 | 0.15808
PHORATE | 2001 | 82664GCM35 | 2009-09-10 | 2008-10-01 | 2009-09-30 | ug/L | 0.62144 | Supelco | LB60730 | Supelco LB60730: 25 µl | 0.10781 | PHORATE | . | 0.02 | 0.067 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62144 | Supelco LB60730 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.72886 | 0.14676 | 0.80244 | 0.21325 | 0.15808
PHORATE | 2001 | 82664GCM35 | 2011-02-15 | 2010-10-01 | 2050-09-30 | ug/L | 0.56085 | Ultra | CG-2391 | Ultra CG-2391: 50 µl | 0.21218 | PHORATE | . | 0.02 | 0.119 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56085 | Ultra CG-2391 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.40505 | 0.10589 | 0.43023 | 0.14238 | 0.10555
PHORATE | 2001 | 82664GCM35 | 2011-04-14 | 2010-10-01 | 2050-09-30 | ug/L | 0.27538 | Ultra | CG-2391 | Ultra CG-2391: 50 µl | 0.21425 | PHORATE | . | 0.02 | 0.059 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.27538 | Ultra CG-2391 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.40505 | 0.10589 | 0.43023 | 0.14238 | 0.10555
PHORATE | 2001 | 82664GCM35 | 2011-05-25 | 2010-10-01 | 2050-09-30 | ug/L | 0.47727 | Ultra | CG-2391 | Ultra CG-2391: 50 µl | 0.21372 | PHORATE | . | 0.02 | 0.102 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.47727 | Ultra CG-2391 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.40505 | 0.10589 | 0.43023 | 0.14238 | 0.10555
PHORATE | 2001 | 82664GCM35 | 2011-08-03 | 2010-10-01 | 2050-09-30 | ug/L | 0.43023 | Ultra | CG-2391 | Ultra CG-2391: 20 µl | 0.086 | PHORATE | . | 0.02 | 0.037 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.43023 | Ultra CG-2391 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.40505 | 0.10589 | 0.43023 | 0.14238 | 0.10555
PHORATE | 2001 | 82664GCM35 | 2011-08-11 | 2010-10-01 | 2050-09-30 | ug/L | 0.48837 | Ultra | CG-2391 | Ultra CG-2391: 20 µl | 0.086 | PHORATE | . | 0.02 | 0.042 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.48837 | Ultra CG-2391 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.40505 | 0.10589 | 0.43023 | 0.14238 | 0.10555
PHORATE | 2001 | 82664GCM35 | 2011-09-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.40698 | Ultra | CG-2391 | Ultra CG-2391: 20 µl | 0.086 | PHORATE | . | 0.02 | 0.035 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.40698 | Ultra CG-2391 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.40505 | 0.10589 | 0.43023 | 0.14238 | 0.10555
PHORATE | 2001 | 82664GCM35 | 2011-11-03 | 2010-10-01 | 2050-09-30 | ug/L | 0.33488 | Ultra | CG-2391 | Ultra CG-2391: 50 µl | 0.215 | PHORATE | . | 0.02 | 0.072 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.33488 | Ultra CG-2391 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.40505 | 0.10589 | 0.43023 | 0.14238 | 0.10555
PHORATE | 2001 | 82664GCM35 | 2011-12-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.43895 | Ultra | CG-2391 | Ultra CG-2391: 80 µl | 0.344 | PHORATE | . | 0.02 | 0.151 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.43895 | Ultra CG-2391 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.40505 | 0.10589 | 0.43023 | 0.14238 | 0.10555
PHORATE | 2001 | 82664GCM35 | 2012-05-04 | 2010-10-01 | 2050-09-30 | ug/L | 0.23256 | Ultra | CG-2391 | Ultra CG-2391: 20 µl | 0.086 | PHORATE | . | 0.02 | 0.02 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.23256 | Ultra CG-2391 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.40505 | 0.10589 | 0.43023 | 0.14238 | 0.10555