## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
PROPACHLOR | 2001 | 04024GCM35 | 2010-01-05 | 2009-10-01 | 2010-09-30 | ug/L | 1.2801 | Abs | 090409Pest | Abs 090409Pest: 25 µl | 0.052887 | PROPACHLOR | . | 0.006 | 0.0677 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2801 | Abs 090409Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.1914 | 0.11232 | 1.184 | 0.19108 | 0.14165
PROPACHLOR | 2001 | 04024GCM35 | 2010-06-18 | 2009-10-01 | 2010-09-30 | ug/L | 1.2195 | Abs | 090409Pest | Abs 090409Pest: 80 µl | 0.16483 | PROPACHLOR | . | 0.006 | 0.201 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2195 | Abs 090409Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.1914 | 0.11232 | 1.184 | 0.19108 | 0.14165
PROPACHLOR | 2001 | 04024GCM35 | 2010-07-20 | 2009-10-01 | 2010-09-30 | ug/L | 1.3502 | Abs | 090409Pest | Abs 090409Pest: 25 µl | 0.052956 | PROPACHLOR | . | 0.006 | 0.0715 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3502 | Abs 090409Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.1914 | 0.11232 | 1.184 | 0.19108 | 0.14165
PROPACHLOR | 2001 | 04024GCM35 | 2010-07-21 | 2009-10-01 | 2010-09-30 | ug/L | 1.0614 | Abs | 090409Pest | Abs 090409Pest: 25 µl | 0.053608 | PROPACHLOR | . | 0.006 | 0.0569 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0614 | Abs 090409Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.1914 | 0.11232 | 1.184 | 0.19108 | 0.14165
PROPACHLOR | 2001 | 04024GCM35 | 2010-08-13 | 2009-10-01 | 2010-09-30 | ug/L | 1.1485 | Abs | 090409Pest | Abs 090409Pest: 80 µl | 0.16718 | PROPACHLOR | . | 0.006 | 0.192 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1485 | Abs 090409Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.1914 | 0.11232 | 1.184 | 0.19108 | 0.14165
PROPACHLOR | 2001 | 04024GCM35 | 2010-09-22 | 2009-10-01 | 2010-09-30 | ug/L | 1.089 | Abs | 090409Pest | Abs 090409Pest: 25 µl | 0.052893 | PROPACHLOR | . | 0.006 | 0.0576 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.089 | Abs 090409Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.1914 | 0.11232 | 1.184 | 0.19108 | 0.14165
PROPACHLOR | 2001 | 04024GCM35 | 2012-07-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.938 | Accu, Abs | 212051201, 052212 | Accu 212051201: 20 µl & Abs 052212: 20 µl | 0.05032 | PROPACHLOR | . | 0.006 | 0.0472 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.938 | Ac2121201, Ab052212 | Ac | Ab | Ab | 2121201 | 052212 | 052212 | 2121201 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.92375 | 0.097662 | 0.938 | 0.19376 | 0.14363
PROPACHLOR | 2001 | 04024GCM35 | 2012-11-27 | 2010-10-01 | 2050-09-30 | ug/L | 1.0135 | Accu, Abs | 212051201, 052212 | Accu 212051201: 40 µl & Abs 052212: 40 µl | 0.10064 | PROPACHLOR | . | 0.006 | 0.102 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0135 | Ac2121201, Ab052212 | Ac | Ab | Ab | 2121201 | 052212 | 052212 | 2121201 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.92375 | 0.097662 | 0.938 | 0.19376 | 0.14363
PROPACHLOR | 2001 | 04024GCM35 | 2013-01-29 | 2010-10-01 | 2050-09-30 | ug/L | 0.81975 | Accu, Abs | 212051201, 052212 | Accu 212051201: 80 µl & Abs 052212: 80 µl | 0.20128 | PROPACHLOR | . | 0.006 | 0.165 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81975 | Ac2121201, Ab052212 | Ac | Ab | Ab | 2121201 | 052212 | 052212 | 2121201 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.92375 | 0.097662 | 0.938 | 0.19376 | 0.14363
PROPACHLOR | 2001 | 04024GCM35 | 2013-03-19 | 2010-10-01 | 2050-09-30 | ug/L | 1.1248 | Accu, NSI | 212051201, 062112-01Pest | Accu 212051201: 20 µl & NSI 062112-01Pest: 20 µl | 0.05032 | PROPACHLOR | . | 0.006 | 0.0566 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1248 | Ac2121201, NS062Pest | Ac | NS | NS | 2121201 | 062Pest | 062Pest | 2121201 | 062Pest | 062Pest | Y | Recoverable Result | Y | 2 |  | 2 | 0.97675 | 0.20938 | 0.97675 | 0.2961 | 0.2195
PROPACHLOR | 2001 | 04024GCM35 | 2013-05-14 | 2010-10-01 | 2050-09-30 | ug/L | 0.8287 | Accu, NSI | 212051201, 062112-01Pest | Accu 212051201: 40 µl & NSI 062112-01Pest: 40 µl | 0.10064 | PROPACHLOR | . | 0.006 | 0.0834 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8287 | Ac2121201, NS062Pest | Ac | NS | NS | 2121201 | 062Pest | 062Pest | 2121201 | 062Pest | 062Pest | Y | Recoverable Result | Y | 2 |  | 2 | 0.97675 | 0.20938 | 0.97675 | 0.2961 | 0.2195
PROPACHLOR | 2001 | 04024GCM35 | 2012-09-01 | 2010-10-01 | 2050-09-30 | ug/L | 1.2699 | Accu, Spex Organics | 212051201, T1120530009 | Accu 212051201: 20 µl & Spex Organics T1120530009: 20 µl | 0.05032 | PROPACHLOR | . | 0.006 | 0.0639 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2699 | Ac2121201, SpT110009 | Ac | Sp | Sp | 2121201 | T110009 | T110009 | 2121201 | T110009 | T110009 | Y | Recoverable Result | Y | 2 |  | 1 | 1.2699 |  | 1.2699 | 0 | 0
PROPACHLOR | 2001 | 04024GCM35 | 2013-10-21 | 2010-10-01 | 2050-09-30 | ug/L | 1.063 | Accu, Abs | 213041078, 041613 | Accu 213041078: 20 µl & Abs 041613: 20 µl | 0.01016 | PROPACHLOR | . | 0.006 | 0.0108 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.063 | Ac2131078, Ab041613 | Ac | Ab | Ab | 2131078 | 041613 | 041613 | 2131078 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.063 |  | 1.063 | 0 | 0
PROPACHLOR | 2001 | 04024GCM35 | 2013-05-22 | 2010-10-01 | 2050-09-30 | ug/L | 1.2126 | Accu, NSI | 213041078, 042313Pest | Accu 213041078: 50 µl & NSI 042313Pest: 50 µl | 0.0254 | PROPACHLOR | . | 0.006 | 0.0308 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2126 | Ac2131078, NS042Pest | Ac | NS | NS | 2131078 | 042Pest | 042Pest | 2131078 | 042Pest | 042Pest | Y | Recoverable Result | Y | 2 |  | 1 | 1.2126 |  | 1.2126 | 0 | 0
PROPACHLOR | 2001 | 04024GCM35 | 2012-07-16 | 2010-10-01 | 2050-09-30 | ug/L | 0.85056 | Accu | 212051201 | Accu 212051201: 40 µl | 0.10064 | PROPACHLOR | . | 0.006 | 0.0856 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85056 | Accu 212051201 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.85056 |  | 0.85056 | 0 | 0
PROPACHLOR | 2001 | 04024GCM35 | 2013-07-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.97053 | ChemService, ERA | 1466000, 0318-13-02.1 | ChemService 1466000: 50 µl & ERA 0318-13-02.1: 50 µl | 0.02545 | PROPACHLOR | . | 0.006 | 0.0247 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97053 | Ch1466000, ER03102.1 | Ch | ER | ER | 1466000 | 03102.1 | 03102.1 |  | 03102.1 | 03102.1 | Y | Recoverable Result | Y | 2 |  | 1 | 0.97053 |  | 0.97053 | 0 | 0
PROPACHLOR | 2001 | 04024GCM35 | 2008-10-31 | 2008-10-01 | 2009-09-30 | ug/L | 1.1651 | Crescent | 08HH018 | Crescent 08HH018: 25 µl | 0.06952 | PROPACHLOR | . | 0.012 | 0.081 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1651 | Crescent 08HH018 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.366 | 0.36175 | 1.2351 | 0.14561 | 0.10794
PROPACHLOR | 2001 | 04024GCM35 | 2009-01-20 | 2008-10-01 | 2009-09-30 | ug/L | 1.2351 | Crescent | 08HH018 | Crescent 08HH018: 40 µl | 0.11254 | PROPACHLOR | . | 0.012 | 0.139 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2351 | Crescent 08HH018 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.366 | 0.36175 | 1.2351 | 0.14561 | 0.10794
PROPACHLOR | 2001 | 04024GCM35 | 2009-03-20 | 2008-10-01 | 2009-09-30 | ug/L | 2.5763 | Crescent | 08HH018 | Crescent 08HH018: 25 µl | 0.070643 | PROPACHLOR | . | 0.012 | 0.182 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 2 | Crescent 08HH018 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.366 | 0.36175 | 1.2351 | 0.14561 | 0.10794 | 2
PROPACHLOR | 2001 | 04024GCM35 | 2009-06-10 | 2008-10-01 | 2009-09-30 | ug/L | 1.3107 | Crescent | 08HH018 | Crescent 08HH018: 25 µl | 0.07019 | PROPACHLOR | . | 0.012 | 0.092 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3107 | Crescent 08HH018 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.366 | 0.36175 | 1.2351 | 0.14561 | 0.10794
PROPACHLOR | 2001 | 04024GCM35 | 2009-08-28 | 2008-10-01 | 2009-09-30 | ug/L | 1.1191 | Crescent | 08HH018 | Crescent 08HH018: 40 µl | 0.1108 | PROPACHLOR | . | 0.012 | 0.124 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1191 | Crescent 08HH018 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.366 | 0.36175 | 1.2351 | 0.14561 | 0.10794
PROPACHLOR | 2001 | 04024GCM35 | 2013-11-26 | 2010-10-01 | 2050-09-30 | ug/L | 1.336 | ERA, Abs | 0318-13-02.1, 041613 | ERA 0318-13-02.1: 20 µl & Abs 041613: 20 µl | 0.01018 | PROPACHLOR | . | 0.006 | 0.0136 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.336 | ER03102.1, Ab041613 | ER | Ab | Ab | 03102.1 | 041613 | 041613 | 03102.1 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.336 |  | 1.336 | 0 | 0
PROPACHLOR | 2001 | 04024GCM35 | 2013-08-01 | 2010-10-01 | 2050-09-30 | ug/L | 1.0196 | ERA, NSI | 0318-13-02.1, 042313Pest | ERA 0318-13-02.1: 100 µl & NSI 042313Pest: 100 µl | 0.0509 | PROPACHLOR | . | 0.006 | 0.0519 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0196 | ER03102.1, NS042Pest | ER | NS | NS | 03102.1 | 042Pest | 042Pest | 03102.1 | 042Pest | 042Pest | Y | Recoverable Result | Y | 2 |  | 1 | 1.0196 |  | 1.0196 | 0 | 0
PROPACHLOR | 2001 | 04024GCM35 | 2012-12-06 | 2010-10-01 | 2050-09-30 | ug/L | 1.1333 | ERA, ChemService | 0507-12-05.1, 348200 | ERA 0507-12-05.1: 20 µl & ChemService 348200: 20 µl | 0.051 | PROPACHLOR | . | 0.006 | 0.0578 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1333 | ER05005.1, Ch348200 | ER | Ch | Ch | 05005.1 | 348200 | 348200 | 05005.1 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0392 | 0.1331 | 1.0392 | 0.18824 | 0.13954
PROPACHLOR | 2001 | 04024GCM35 | 2013-05-07 | 2010-10-01 | 2050-09-30 | ug/L | 0.9451 | ERA, ChemService | 0507-12-05.1, 348200 | ERA 0507-12-05.1: 20 µl & ChemService 348200: 20 µl | 0.051 | PROPACHLOR | . | 0.006 | 0.0482 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9451 | ER05005.1, Ch348200 | ER | Ch | Ch | 05005.1 | 348200 | 348200 | 05005.1 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0392 | 0.1331 | 1.0392 | 0.18824 | 0.13954
PROPACHLOR | 2001 | 04024GCM35 | 2012-09-22 | 2010-10-01 | 2050-09-30 | ug/L | 1.0431 | ERA, NSI | 0507-12-05.1, 062112-01Pest | ERA 0507-12-05.1: 20 µl & NSI 062112-01Pest: 20 µl | 0.051 | PROPACHLOR | . | 0.006 | 0.0532 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0431 | ER05005.1, NS062Pest | ER | NS | NS | 05005.1 | 062Pest | 062Pest | 05005.1 | 062Pest | 062Pest | Y | Recoverable Result | Y | 2 |  | 1 | 1.0431 |  | 1.0431 | 0 | 0
PROPACHLOR | 2001 | 04024GCM35 | 2012-11-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.9902 | ERA, Spex Organics | 0507-12-05.1, T1120530009 | ERA 0507-12-05.1: 40 µl & Spex Organics T1120530009: 40 µl | 0.102 | PROPACHLOR | . | 0.006 | 0.101 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9902 | ER05005.1, SpT110009 | ER | Sp | Sp | 05005.1 | T110009 | T110009 | 05005.1 | T110009 | T110009 | Y | Recoverable Result | Y | 2 |  | 2 | 0.95588 | 0.048527 | 0.95588 | 0.068627 | 0.050873
PROPACHLOR | 2001 | 04024GCM35 | 2013-03-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.92157 | ERA, Spex Organics | 0507-12-05.1, T1120530009 | ERA 0507-12-05.1: 80 µl & Spex Organics T1120530009: 80 µl | 0.204 | PROPACHLOR | . | 0.006 | 0.188 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92157 | ER05005.1, SpT110009 | ER | Sp | Sp | 05005.1 | T110009 | T110009 | 05005.1 | T110009 | T110009 | Y | Recoverable Result | Y | 2 |  | 2 | 0.95588 | 0.048527 | 0.95588 | 0.068627 | 0.050873
PROPACHLOR | 2001 | 04024GCM35 | 2011-02-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.89906 | NSI | 070810-01 | NSI 070810-01: 20 µl | 0.026917 | PROPACHLOR | . | 0.006 | 0.0242 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89906 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.88278 | 0.067702 | 0.87581 | 0.065719 | 0.048717
PROPACHLOR | 2001 | 04024GCM35 | 2011-03-15 | 2010-10-01 | 2050-09-30 | ug/L | 0.835 | NSI | 070810-01 | NSI 070810-01: 50 µl | 0.068024 | PROPACHLOR | . | 0.006 | 0.0568 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.835 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.88278 | 0.067702 | 0.87581 | 0.065719 | 0.048717
PROPACHLOR | 2001 | 04024GCM35 | 2011-05-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.98862 | NSI | 070810-01 | NSI 070810-01: 80 µl | 0.11127 | PROPACHLOR | . | 0.006 | 0.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98861 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.88278 | 0.067702 | 0.87581 | 0.065719 | 0.048717
PROPACHLOR | 2001 | 04024GCM35 | 2011-06-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.99203 | NSI | 070810-01 | NSI 070810-01: 20 µl | 0.027519 | PROPACHLOR | . | 0.006 | 0.0273 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99203 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.88278 | 0.067702 | 0.87581 | 0.065719 | 0.048717
PROPACHLOR | 2001 | 04024GCM35 | 2011-08-02 | 2010-10-01 | 2050-09-30 | ug/L | 0.81475 | NSI | 070810-01 | NSI 070810-01: 80 µl | 0.1112 | PROPACHLOR | . | 0.006 | 0.0906 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81475 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.88278 | 0.067702 | 0.87581 | 0.065719 | 0.048717
PROPACHLOR | 2001 | 04024GCM35 | 2011-09-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.90072 | NSI | 070810-01 | NSI 070810-01: 50 µl | 0.0695 | PROPACHLOR | . | 0.006 | 0.0626 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90072 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.88278 | 0.067702 | 0.87581 | 0.065719 | 0.048717
PROPACHLOR | 2001 | 04024GCM35 | 2011-11-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.78417 | NSI | 070810-01 | NSI 070810-01: 20 µl | 0.0278 | PROPACHLOR | . | 0.006 | 0.0218 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78417 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.88278 | 0.067702 | 0.87581 | 0.065719 | 0.048717
PROPACHLOR | 2001 | 04024GCM35 | 2012-01-21 | 2010-10-01 | 2050-09-30 | ug/L | 0.86241 | NSI | 070810-01 | NSI 070810-01: 80 µl | 0.1112 | PROPACHLOR | . | 0.006 | 0.0959 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86241 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.88278 | 0.067702 | 0.87581 | 0.065719 | 0.048717
PROPACHLOR | 2001 | 04024GCM35 | 2012-05-05 | 2010-10-01 | 2050-09-30 | ug/L | 0.88921 | NSI | 070810-01 | NSI 070810-01: 50 µl | 0.0695 | PROPACHLOR | . | 0.006 | 0.0618 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88921 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.88278 | 0.067702 | 0.87581 | 0.065719 | 0.048717
PROPACHLOR | 2001 | 04024GCM35 | 2012-06-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.86187 | NSI | 070810-01 | NSI 070810-01: 50 µl | 0.0695 | PROPACHLOR | . | 0.006 | 0.0599 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86187 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.88278 | 0.067702 | 0.87581 | 0.065719 | 0.048717
PROPACHLOR | 2001 | 04024GCM35 | 2008-11-21 | 2008-10-01 | 2009-09-30 | ug/L | 1.3777 | NSI | 081108-01Pest | NSI 081108-01Pest: 40 µl | 0.11323 | PROPACHLOR | . | 0.012 | 0.156 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3777 | NSI 081108-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.1607 | 0.21003 | 1.12 | 0.32642 | 0.24197
PROPACHLOR | 2001 | 04024GCM35 | 2009-03-23 | 2008-10-01 | 2009-09-30 | ug/L | 1.3684 | NSI | 081108-01Pest | NSI 081108-01Pest: 25 µl | 0.078194 | PROPACHLOR | . | 0.012 | 0.107 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3684 | NSI 081108-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.1607 | 0.21003 | 1.12 | 0.32642 | 0.24197
PROPACHLOR | 2001 | 04024GCM35 | 2009-05-01 | 2008-10-01 | 2009-09-30 | ug/L | 1.12 | NSI | 081108-01Pest | NSI 081108-01Pest: 40 µl | 0.1125 | PROPACHLOR | . | 0.012 | 0.126 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.12 | NSI 081108-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.1607 | 0.21003 | 1.12 | 0.32642 | 0.24197
PROPACHLOR | 2001 | 04024GCM35 | 2009-07-30 | 2008-10-01 | 2009-09-30 | ug/L | 1.042 | NSI | 081108-01Pest | NSI 081108-01Pest: 25 µl | 0.070059 | PROPACHLOR | . | 0.012 | 0.073 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.042 | NSI 081108-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.1607 | 0.21003 | 1.12 | 0.32642 | 0.24197
PROPACHLOR | 2001 | 04024GCM35 | 2009-09-25 | 2008-10-01 | 2009-09-30 | ug/L | 0.89526 | NSI | 081108-01Pest | NSI 081108-01Pest: 25 µl | 0.07037 | PROPACHLOR | . | 0.012 | 0.063 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89526 | NSI 081108-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.1607 | 0.21003 | 1.12 | 0.32642 | 0.24197
PROPACHLOR | 2001 | 04024GCM35 | 2008-05-01 | 2007-10-01 | 2008-09-30 | ug/L | 1.151 | NWQL | PSP3SP140C | NWQL PSP3SP140C: 50 µl | 0.051261 | PROPACHLOR | . | 0.006 | 0.059 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.151 | NWQL PSP3SP140C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.2425 | 0.2299 | 1.151 | 0.43158 | 0.31992
PROPACHLOR | 2001 | 04024GCM35 | 2008-06-25 | 2007-10-01 | 2008-09-30 | ug/L | 1.0725 | NWQL | PSP3SP140C | NWQL PSP3SP140C: 50 µl | 0.050347 | PROPACHLOR | . | 0.006 | 0.054 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0725 | NWQL PSP3SP140C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.2425 | 0.2299 | 1.151 | 0.43158 | 0.31992
PROPACHLOR | 2001 | 04024GCM35 | 2008-08-19 | 2007-10-01 | 2008-09-30 | ug/L | 1.5041 | NWQL | PSP3SP140C | NWQL PSP3SP140C: 50 µl | 0.049198 | PROPACHLOR | . | 0.006 | 0.074 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.5041 | NWQL PSP3SP140C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.2425 | 0.2299 | 1.151 | 0.43158 | 0.31992
PROPACHLOR | 2001 | 04024GCM35 | 2009-04-08 | 2008-10-01 | 2009-09-30 | ug/L | 1.1758 | NWQL | PSP3SP140D | NWQL PSP3SP140D: 50 µl | 0.051031 | PROPACHLOR | . | 0.012 | 0.06 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1758 | NWQL PSP3SP140D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.2194 | 0.11235 | 1.2098 | 0.16667 | 0.12355
PROPACHLOR | 2001 | 04024GCM35 | 2009-04-14 | 2008-10-01 | 2009-09-30 | ug/L | 1.3616 | NWQL | PSP3SP140D | NWQL PSP3SP140D: 50 µl | 0.04994 | PROPACHLOR | . | 0.012 | 0.068 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3616 | NWQL PSP3SP140D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.2194 | 0.11235 | 1.2098 | 0.16667 | 0.12355
PROPACHLOR | 2001 | 04024GCM35 | 2009-06-24 | 2008-10-01 | 2009-09-30 | ug/L | 1.2438 | NWQL | PSP3SP140D | NWQL PSP3SP140D: 50 µl | 0.049845 | PROPACHLOR | . | 0.012 | 0.062 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2438 | NWQL PSP3SP140D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.2194 | 0.11235 | 1.2098 | 0.16667 | 0.12355
PROPACHLOR | 2001 | 04024GCM35 | 2009-08-21 | 2008-10-01 | 2009-09-30 | ug/L | 1.0964 | NWQL | PSP3SP140D | NWQL PSP3SP140D: 50 µl | 0.050165 | PROPACHLOR | . | 0.012 | 0.055 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0964 | NWQL PSP3SP140D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.2194 | 0.11235 | 1.2098 | 0.16667 | 0.12355
PROPACHLOR | 2001 | 04024GCM35 | 2010-06-24 | 2009-10-01 | 2010-09-30 | ug/L | 2.198 | NWQL | PSP3SP142A | NWQL PSP3SP142A: 40 µl | 0.039809 | PROPACHLOR | . | 0.006 | 0.0875 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 2 | NWQL PSP3SP142A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.555 | 0.47085 | 1.603 | 0.93803 | 0.69535 | 2
PROPACHLOR | 2001 | 04024GCM35 | 2010-07-14 | 2009-10-01 | 2010-09-30 | ug/L | 1.603 | NWQL | PSP3SP142A | NWQL PSP3SP142A: 40 µl | 0.0408 | PROPACHLOR | . | 0.006 | 0.0654 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.603 | NWQL PSP3SP142A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.555 | 0.47085 | 1.603 | 0.93803 | 0.69535
PROPACHLOR | 2001 | 04024GCM35 | 2010-07-28 | 2009-10-01 | 2010-09-30 | ug/L | 1.062 | NWQL | PSP3SP142A | NWQL PSP3SP142A: 40 µl | 0.04002 | PROPACHLOR | . | 0.006 | 0.0425 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.062 | NWQL PSP3SP142A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.555 | 0.47085 | 1.603 | 0.93803 | 0.69535
PROPACHLOR | 2001 | 04024GCM35 | 2008-02-04 | 2007-10-01 | 2008-09-30 | ug/L | 0.93715 | Protocol | F1070629011 | Protocol F1070629011: 25 µl | 0.23049 | PROPACHLOR | . | 0.006 | 0.216 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93715 | Protocol F1070629011 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.94873 | 0.10672 | 0.95546 | 0.10349 | 0.076717
PROPACHLOR | 2001 | 04024GCM35 | 2008-05-01 | 2007-10-01 | 2008-09-30 | ug/L | 0.97377 | Protocol | F1070629011 | Protocol F1070629011: 25 µl | 0.22901 | PROPACHLOR | . | 0.006 | 0.223 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97377 | Protocol F1070629011 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.94873 | 0.10672 | 0.95546 | 0.10349 | 0.076717
PROPACHLOR | 2001 | 04024GCM35 | 2008-06-10 | 2007-10-01 | 2008-09-30 | ug/L | 0.88986 | Protocol | F1070629011 | Protocol F1070629011: 25 µl | 0.227 | PROPACHLOR | . | 0.006 | 0.202 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88986 | Protocol F1070629011 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.94873 | 0.10672 | 0.95546 | 0.10349 | 0.076717
PROPACHLOR | 2001 | 04024GCM35 | 2008-07-11 | 2007-10-01 | 2008-09-30 | ug/L | 0.99335 | Protocol | F1070629011 | Protocol F1070629011: 25 µl | 0.2255 | PROPACHLOR | . | 0.006 | 0.224 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99335 | Protocol F1070629011 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.94873 | 0.10672 | 0.95546 | 0.10349 | 0.076717
PROPACHLOR | 2001 | 04024GCM35 | 2008-08-21 | 2007-10-01 | 2008-09-30 | ug/L | 1.1084 | Protocol | F1070629011 | Protocol F1070629011: 25 µl | 0.22375 | PROPACHLOR | . | 0.006 | 0.248 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1084 | Protocol F1070629011 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.94873 | 0.10672 | 0.95546 | 0.10349 | 0.076717
PROPACHLOR | 2001 | 04024GCM35 | 2008-10-02 | 2008-10-01 | 2009-09-30 | ug/L | 0.78986 | Protocol | F1070629011 | Protocol F1070629011: 25 µl | 0.22916 | PROPACHLOR | . | 0.012 | 0.181 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78986 | Protocol F1070629011 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.94873 | 0.10672 | 0.95546 | 0.10349 | 0.076717
PROPACHLOR | 2001 | 04024GCM35 | 2013-08-28 | 2010-10-01 | 2050-09-30 | ug/L | 0.95276 | Spex Organics, Accu | T1130517007, 213041078 | Spex Organics T1130517007: 100 µl & Accu 213041078: 100 µl | 0.0508 | PROPACHLOR | . | 0.006 | 0.0484 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95276 | SpT117007, Ac2131078 | Sp | Ac | Ac | T117007 | 2131078 | 2131078 | T117007 | 2131078 | 2131078 | Y | Recoverable Result | Y | 2 |  | 1 | 0.95276 |  | 0.95276 | 0 | 0
PROPACHLOR | 2001 | 04024GCM35 | 2013-12-18 | 2010-10-01 | 2050-09-30 | ug/L | 1.5128 | Spex Organics, ERA | T1130517007, 0318-13-02.1 | Spex Organics T1130517007: 20 µl & ERA 0318-13-02.1: 20 µl | 0.01018 | PROPACHLOR | . | 0.006 | 0.0154 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.5128 | SpT117007, ER03102.1 | Sp | ER | ER | T117007 | 03102.1 | 03102.1 | T117007 | 03102.1 | 03102.1 | Y | Recoverable Result | Y | 2 |  | 1 | 1.5128 |  | 1.5128 | 0 | 0
PROPACHLOR | 2001 | 04024GCM35 | 2011-02-25 | 2010-10-01 | 2050-09-30 | ug/L | 0.91057 | Supelco | LB77170 | Supelco LB77170: 80 µl | 0.11202 | PROPACHLOR | . | 0.006 | 0.102 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91057 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 1.0167 | 0.13925 | 0.98561 | 0.11101 | 0.082292
PROPACHLOR | 2001 | 04024GCM35 | 2011-03-23 | 2010-10-01 | 2050-09-30 | ug/L | 0.87208 | Supelco | LB77170 | Supelco LB77170: 20 µl | 0.027979 | PROPACHLOR | . | 0.006 | 0.0244 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87208 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 1.0167 | 0.13925 | 0.98561 | 0.11101 | 0.082292
PROPACHLOR | 2001 | 04024GCM35 | 2011-06-23 | 2010-10-01 | 2050-09-30 | ug/L | 0.9032 | Supelco | LB77170 | Supelco LB77170: 50 µl | 0.070195 | PROPACHLOR | . | 0.006 | 0.0634 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9032 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 1.0167 | 0.13925 | 0.98561 | 0.11101 | 0.082292
PROPACHLOR | 2001 | 04024GCM35 | 2011-07-12 | 2010-10-01 | 2050-09-30 | ug/L | 1.1442 | Supelco | LB77170 | Supelco LB77170: 80 µl | 0.11187 | PROPACHLOR | . | 0.006 | 0.128 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1442 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 1.0167 | 0.13925 | 0.98561 | 0.11101 | 0.082292
PROPACHLOR | 2001 | 04024GCM35 | 2011-08-18 | 2010-10-01 | 2050-09-30 | ug/L | 1.3194 | Supelco | LB77170 | Supelco LB77170: 50 µl | 0.0695 | PROPACHLOR | . | 0.006 | 0.0917 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3194 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 1.0167 | 0.13925 | 0.98561 | 0.11101 | 0.082292
PROPACHLOR | 2001 | 04024GCM35 | 2011-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.98561 | Supelco | LB77170 | Supelco LB77170: 20 µl | 0.0278 | PROPACHLOR | . | 0.006 | 0.0274 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98561 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 1.0167 | 0.13925 | 0.98561 | 0.11101 | 0.082292
PROPACHLOR | 2001 | 04024GCM35 | 2011-12-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.98273 | Supelco | LB77170 | Supelco LB77170: 50 µl | 0.0695 | PROPACHLOR | . | 0.006 | 0.0683 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98273 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 1.0167 | 0.13925 | 0.98561 | 0.11101 | 0.082292
PROPACHLOR | 2001 | 04024GCM35 | 2012-02-23 | 2010-10-01 | 2050-09-30 | ug/L | 1.0108 | Supelco | LB77170 | Supelco LB77170: 20 µl | 0.0278 | PROPACHLOR | . | 0.006 | 0.0281 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0108 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 1.0167 | 0.13925 | 0.98561 | 0.11101 | 0.082292
PROPACHLOR | 2001 | 04024GCM35 | 2012-05-08 | 2010-10-01 | 2050-09-30 | ug/L | 1.0216 | Supelco | LB77170 | Supelco LB77170: 20 µl | 0.0278 | PROPACHLOR | . | 0.006 | 0.0284 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0216 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 1.0167 | 0.13925 | 0.98561 | 0.11101 | 0.082292