## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
PROPYZAMIDE (PRONAMIDE) | 2001 | 82676GCM35 | 2010-01-05 | 2009-10-01 | 2010-09-30 | ug/L | 1.1606 | Abs | 090409Pest | Abs 090409Pest: 25 µl | 0.011029 | PROPYZAMIDE_(PRONAMIDE) | . | 0.0036 | 0.0128 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1606 | Abs 090409Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0652 | 0.13366 | 1.0539 | 0.18015 | 0.13354
PROPYZAMIDE (PRONAMIDE) | 2001 | 82676GCM35 | 2010-06-18 | 2009-10-01 | 2010-09-30 | ug/L | 0.98046 | Abs | 090409Pest | Abs 090409Pest: 80 µl | 0.034372 | PROPYZAMIDE_(PRONAMIDE) | . | 0.0036 | 0.0337 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98046 | Abs 090409Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0652 | 0.13366 | 1.0539 | 0.18015 | 0.13354
PROPYZAMIDE (PRONAMIDE) | 2001 | 82676GCM35 | 2010-07-20 | 2009-10-01 | 2010-09-30 | ug/L | 1.2587 | Abs | 090409Pest | Abs 090409Pest: 25 µl | 0.011043 | PROPYZAMIDE_(PRONAMIDE) | . | 0.0036 | 0.0139 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2587 | Abs 090409Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0652 | 0.13366 | 1.0539 | 0.18015 | 0.13354
PROPYZAMIDE (PRONAMIDE) | 2001 | 82676GCM35 | 2010-07-21 | 2009-10-01 | 2010-09-30 | ug/L | 1.0198 | Abs | 090409Pest | Abs 090409Pest: 25 µl | 0.011179 | PROPYZAMIDE_(PRONAMIDE) | . | 0.0036 | 0.0114 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0198 | Abs 090409Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0652 | 0.13366 | 1.0539 | 0.18015 | 0.13354
PROPYZAMIDE (PRONAMIDE) | 2001 | 82676GCM35 | 2010-08-13 | 2009-10-01 | 2010-09-30 | ug/L | 0.88349 | Abs | 090409Pest | Abs 090409Pest: 80 µl | 0.034862 | PROPYZAMIDE_(PRONAMIDE) | . | 0.0036 | 0.0308 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88349 | Abs 090409Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0652 | 0.13366 | 1.0539 | 0.18015 | 0.13354
PROPYZAMIDE (PRONAMIDE) | 2001 | 82676GCM35 | 2010-09-22 | 2009-10-01 | 2010-09-30 | ug/L | 1.088 | Abs | 090409Pest | Abs 090409Pest: 25 µl | 0.01103 | PROPYZAMIDE_(PRONAMIDE) | . | 0.0036 | 0.012 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.088 | Abs 090409Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0652 | 0.13366 | 1.0539 | 0.18015 | 0.13354
PROPYZAMIDE (PRONAMIDE) | 2001 | 82676GCM35 | 2012-07-24 | 2010-10-01 | 2012-09-30 | ug/L | 0.80629 | Accu, Abs | 212051201, 052212 | Accu 212051201: 20 µl & Abs 052212: 20 µl | 0.04006 | PROPYZAMIDE_(PRONAMIDE) | . | 0.0036 | 0.0323 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80629 | Ac2121201, Ab052212 | Ac | Ab | Ab | 2121201 | 052212 | 052212 | 2121201 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.83874 | 0.028788 | 0.84873 | 0.054918 | 0.04071
PROPYZAMIDE (PRONAMIDE) | 2001 | 82676GCM35 | 2012-11-27 | 2012-10-01 | 2050-09-30 | ug/L | 0.86121 | Accu, Abs | 212051201, 052212 | Accu 212051201: 40 µl & Abs 052212: 40 µl | 0.08012 | PROPYZAMIDE_(PRONAMIDE) | . | 0.008 | 0.069 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86121 | Ac2121201, Ab052212 | Ac | Ab | Ab | 2121201 | 052212 | 052212 | 2121201 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.83874 | 0.028788 | 0.84873 | 0.054918 | 0.04071
PROPYZAMIDE (PRONAMIDE) | 2001 | 82676GCM35 | 2013-01-29 | 2012-10-01 | 2050-09-30 | ug/L | 0.84873 | Accu, Abs | 212051201, 052212 | Accu 212051201: 80 µl & Abs 052212: 80 µl | 0.16024 | PROPYZAMIDE_(PRONAMIDE) | . | 0.008 | 0.136 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84873 | Ac2121201, Ab052212 | Ac | Ab | Ab | 2121201 | 052212 | 052212 | 2121201 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.83874 | 0.028788 | 0.84873 | 0.054918 | 0.04071
PROPYZAMIDE (PRONAMIDE) | 2001 | 82676GCM35 | 2013-03-19 | 2012-10-01 | 2050-09-30 | ug/L | 0.98852 | Accu, NSI | 212051201, 062112-01Pest | Accu 212051201: 20 µl & NSI 062112-01Pest: 20 µl | 0.04006 | PROPYZAMIDE_(PRONAMIDE) | . | 0.008 | 0.0396 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98852 | Ac2121201, NS062Pest | Ac | NS | NS | 2121201 | 062Pest | 062Pest | 2121201 | 062Pest | 062Pest | Y | Recoverable Result | Y | 2 |  | 2 | 0.88742 | 0.14297 | 0.88742 | 0.2022 | 0.14989
PROPYZAMIDE (PRONAMIDE) | 2001 | 82676GCM35 | 2013-05-14 | 2012-10-01 | 2050-09-30 | ug/L | 0.78632 | Accu, NSI | 212051201, 062112-01Pest | Accu 212051201: 40 µl & NSI 062112-01Pest: 40 µl | 0.08012 | PROPYZAMIDE_(PRONAMIDE) | . | 0.008 | 0.063 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78632 | Ac2121201, NS062Pest | Ac | NS | NS | 2121201 | 062Pest | 062Pest | 2121201 | 062Pest | 062Pest | Y | Recoverable Result | Y | 2 |  | 2 | 0.88742 | 0.14297 | 0.88742 | 0.2022 | 0.14989
PROPYZAMIDE (PRONAMIDE) | 2001 | 82676GCM35 | 2012-09-01 | 2010-10-01 | 2012-09-30 | ug/L | 0.96605 | Accu, Spex Organics | 212051201, T1120530009 | Accu 212051201: 20 µl & Spex Organics T1120530009: 20 µl | 0.04006 | PROPYZAMIDE_(PRONAMIDE) | . | 0.0036 | 0.0387 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96605 | Ac2121201, SpT110009 | Ac | Sp | Sp | 2121201 | T110009 | T110009 | 2121201 | T110009 | T110009 | Y | Recoverable Result | Y | 2 |  | 1 | 0.96605 |  | 0.96605 | 0 | 0
PROPYZAMIDE (PRONAMIDE) | 2001 | 82676GCM35 | 2013-10-21 | 2012-10-01 | 2050-09-30 | ug/L | 0.99156 | Accu, Abs | 213041078, 041613 | Accu 213041078: 20 µl & Abs 041613: 20 µl | 0.010186 | PROPYZAMIDE_(PRONAMIDE) | . | 0.008 | 0.0101 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99156 | Ac2131078, Ab041613 | Ac | Ab | Ab | 2131078 | 041613 | 041613 | 2131078 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.99156 |  | 0.99156 | 0 | 0
PROPYZAMIDE (PRONAMIDE) | 2001 | 82676GCM35 | 2013-05-22 | 2012-10-01 | 2050-09-30 | ug/L | 1.0642 | Accu, NSI | 213041078, 042313Pest | Accu 213041078: 50 µl & NSI 042313Pest: 50 µl | 0.025465 | PROPYZAMIDE_(PRONAMIDE) | . | 0.008 | 0.0271 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0642 | Ac2131078, NS042Pest | Ac | NS | NS | 2131078 | 042Pest | 042Pest | 2131078 | 042Pest | 042Pest | Y | Recoverable Result | Y | 2 |  | 1 | 1.0642 |  | 1.0642 | 0 | 0
PROPYZAMIDE (PRONAMIDE) | 2001 | 82676GCM35 | 2012-07-16 | 2010-10-01 | 2012-09-30 | ug/L | 0.78882 | Accu | 212051201 | Accu 212051201: 40 µl | 0.08012 | PROPYZAMIDE_(PRONAMIDE) | . | 0.0036 | 0.0632 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78882 | Accu 212051201 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.78882 |  | 0.78882 | 0 | 0
PROPYZAMIDE (PRONAMIDE) | 2001 | 82676GCM35 | 2013-07-17 | 2012-10-01 | 2050-09-30 | ug/L | 0.97787 | ChemService, ERA | 1466000, 0318-13-02.1 | ChemService 1466000: 50 µl & ERA 0318-13-02.1: 50 µl | 0.02485 | PROPYZAMIDE_(PRONAMIDE) | . | 0.008 | 0.0243 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97787 | Ch1466000, ER03102.1 | Ch | ER | ER | 1466000 | 03102.1 | 03102.1 |  | 03102.1 | 03102.1 | Y | Recoverable Result | Y | 2 |  | 1 | 0.97787 |  | 0.97787 | 0 | 0
PROPYZAMIDE (PRONAMIDE) | 2001 | 82676GCM35 | 2008-10-31 | 2003-10-01 | 2009-09-30 | ug/L | 1.2083 | Crescent | 08HH018 | Crescent 08HH018: 25 µl | 0.0099315 | PROPYZAMIDE_(PRONAMIDE) | . | 0.004 | 0.012 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2083 | Crescent 08HH018 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.3724 | 0.37088 | 1.2083 | 0.19589 | 0.14521
PROPYZAMIDE (PRONAMIDE) | 2001 | 82676GCM35 | 2009-01-20 | 2003-10-01 | 2009-09-30 | ug/L | 1.0574 | Crescent | 08HH018 | Crescent 08HH018: 40 µl | 0.016077 | PROPYZAMIDE_(PRONAMIDE) | . | 0.004 | 0.017 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0574 | Crescent 08HH018 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.3724 | 0.37088 | 1.2083 | 0.19589 | 0.14521
PROPYZAMIDE (PRONAMIDE) | 2001 | 82676GCM35 | 2009-03-20 | 2003-10-01 | 2009-09-30 | ug/L | 10.8999 | Crescent | 08HH018 | Crescent 08HH018: 25 µl | 0.010092 | PROPYZAMIDE_(PRONAMIDE) | . | 0.004 | 0.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 2 | Crescent 08HH018 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.3724 | 0.37088 | 1.2083 | 0.19589 | 0.14521 | 2
PROPYZAMIDE (PRONAMIDE) | 2001 | 82676GCM35 | 2009-06-10 | 2003-10-01 | 2009-09-30 | ug/L | 1.3962 | Crescent | 08HH018 | Crescent 08HH018: 25 µl | 0.010027 | PROPYZAMIDE_(PRONAMIDE) | . | 0.004 | 0.014 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3962 | Crescent 08HH018 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.3724 | 0.37088 | 1.2083 | 0.19589 | 0.14521
PROPYZAMIDE (PRONAMIDE) | 2001 | 82676GCM35 | 2009-08-28 | 2003-10-01 | 2009-09-30 | ug/L | 1.2003 | Crescent | 08HH018 | Crescent 08HH018: 40 µl | 0.015829 | PROPYZAMIDE_(PRONAMIDE) | . | 0.004 | 0.019 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2003 | Crescent 08HH018 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.3724 | 0.37088 | 1.2083 | 0.19589 | 0.14521
PROPYZAMIDE (PRONAMIDE) | 2001 | 82676GCM35 | 2013-11-26 | 2012-10-01 | 2050-09-30 | ug/L | 1.1268 | ERA, Abs | 0318-13-02.1, 041613 | ERA 0318-13-02.1: 20 µl & Abs 041613: 20 µl | 0.00994 | PROPYZAMIDE_(PRONAMIDE) | . | 0.008 | 0.0112 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1268 | ER03102.1, Ab041613 | ER | Ab | Ab | 03102.1 | 041613 | 041613 | 03102.1 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.1268 |  | 1.1268 | 0 | 0
PROPYZAMIDE (PRONAMIDE) | 2001 | 82676GCM35 | 2013-08-01 | 2012-10-01 | 2050-09-30 | ug/L | 1.006 | ERA, NSI | 0318-13-02.1, 042313Pest | ERA 0318-13-02.1: 100 µl & NSI 042313Pest: 100 µl | 0.0497 | PROPYZAMIDE_(PRONAMIDE) | . | 0.008 | 0.05 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.006 | ER03102.1, NS042Pest | ER | NS | NS | 03102.1 | 042Pest | 042Pest | 03102.1 | 042Pest | 042Pest | Y | Recoverable Result | Y | 2 |  | 1 | 1.006 |  | 1.006 | 0 | 0
PROPYZAMIDE (PRONAMIDE) | 2001 | 82676GCM35 | 2012-12-06 | 2012-10-01 | 2050-09-30 | ug/L | 0.867 | ERA, ChemService | 0507-12-05.1, 348200 | ERA 0507-12-05.1: 20 µl & ChemService 348200: 20 µl | 0.0406 | PROPYZAMIDE_(PRONAMIDE) | . | 0.008 | 0.0352 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.867 | ER05005.1, Ch348200 | ER | Ch | Ch | 05005.1 | 348200 | 348200 | 05005.1 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.80788 | 0.083599 | 0.80788 | 0.11823 | 0.08764
PROPYZAMIDE (PRONAMIDE) | 2001 | 82676GCM35 | 2013-05-07 | 2012-10-01 | 2050-09-30 | ug/L | 0.74877 | ERA, ChemService | 0507-12-05.1, 348200 | ERA 0507-12-05.1: 20 µl & ChemService 348200: 20 µl | 0.0406 | PROPYZAMIDE_(PRONAMIDE) | . | 0.008 | 0.0304 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74877 | ER05005.1, Ch348200 | ER | Ch | Ch | 05005.1 | 348200 | 348200 | 05005.1 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.80788 | 0.083599 | 0.80788 | 0.11823 | 0.08764
PROPYZAMIDE (PRONAMIDE) | 2001 | 82676GCM35 | 2012-09-22 | 2010-10-01 | 2012-09-30 | ug/L | 0.81527 | ERA, NSI | 0507-12-05.1, 062112-01Pest | ERA 0507-12-05.1: 20 µl & NSI 062112-01Pest: 20 µl | 0.0406 | PROPYZAMIDE_(PRONAMIDE) | . | 0.0036 | 0.0331 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81527 | ER05005.1, NS062Pest | ER | NS | NS | 05005.1 | 062Pest | 062Pest | 05005.1 | 062Pest | 062Pest | Y | Recoverable Result | Y | 2 |  | 1 | 0.81527 |  | 0.81527 | 0 | 0
PROPYZAMIDE (PRONAMIDE) | 2001 | 82676GCM35 | 2012-11-08 | 2012-10-01 | 2050-09-30 | ug/L | 0.77094 | ERA, Spex Organics | 0507-12-05.1, T1120530009 | ERA 0507-12-05.1: 40 µl & Spex Organics T1120530009: 40 µl | 0.0812 | PROPYZAMIDE_(PRONAMIDE) | . | 0.008 | 0.0626 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77094 | ER05005.1, SpT110009 | ER | Sp | Sp | 05005.1 | T110009 | T110009 | 05005.1 | T110009 | T110009 | Y | Recoverable Result | Y | 2 |  | 2 | 0.76108 | 0.013933 | 0.76108 | 0.019704 | 0.014607
PROPYZAMIDE (PRONAMIDE) | 2001 | 82676GCM35 | 2013-03-19 | 2012-10-01 | 2050-09-30 | ug/L | 0.75123 | ERA, Spex Organics | 0507-12-05.1, T1120530009 | ERA 0507-12-05.1: 80 µl & Spex Organics T1120530009: 80 µl | 0.1624 | PROPYZAMIDE_(PRONAMIDE) | . | 0.008 | 0.122 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75123 | ER05005.1, SpT110009 | ER | Sp | Sp | 05005.1 | T110009 | T110009 | 05005.1 | T110009 | T110009 | Y | Recoverable Result | Y | 2 |  | 2 | 0.76108 | 0.013933 | 0.76108 | 0.019704 | 0.014607
PROPYZAMIDE (PRONAMIDE) | 2001 | 82676GCM35 | 2011-02-10 | 2010-10-01 | 2012-09-30 | ug/L | 1.1017 | NSI | 070810-01 | NSI 070810-01: 20 µl | 0.0087142 | PROPYZAMIDE_(PRONAMIDE) | . | 0.0036 | 0.0096 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1017 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.98601 | 0.10994 | 0.93833 | 0.15521 | 0.11506
PROPYZAMIDE (PRONAMIDE) | 2001 | 82676GCM35 | 2011-03-15 | 2010-10-01 | 2012-09-30 | ug/L | 0.86731 | NSI | 070810-01 | NSI 070810-01: 50 µl | 0.022022 | PROPYZAMIDE_(PRONAMIDE) | . | 0.0036 | 0.0191 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86731 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.98601 | 0.10994 | 0.93833 | 0.15521 | 0.11506
PROPYZAMIDE (PRONAMIDE) | 2001 | 82676GCM35 | 2011-05-17 | 2010-10-01 | 2012-09-30 | ug/L | 1.2048 | NSI | 070810-01 | NSI 070810-01: 80 µl | 0.036022 | PROPYZAMIDE_(PRONAMIDE) | . | 0.0036 | 0.0434 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2048 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.98601 | 0.10994 | 0.93833 | 0.15521 | 0.11506
PROPYZAMIDE (PRONAMIDE) | 2001 | 82676GCM35 | 2011-06-10 | 2010-10-01 | 2012-09-30 | ug/L | 1.0663 | NSI | 070810-01 | NSI 070810-01: 20 µl | 0.0089091 | PROPYZAMIDE_(PRONAMIDE) | . | 0.0036 | 0.0095 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0663 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.98601 | 0.10994 | 0.93833 | 0.15521 | 0.11506
PROPYZAMIDE (PRONAMIDE) | 2001 | 82676GCM35 | 2011-08-02 | 2010-10-01 | 2012-09-30 | ug/L | 0.91667 | NSI | 070810-01 | NSI 070810-01: 80 µl | 0.036 | PROPYZAMIDE_(PRONAMIDE) | . | 0.0036 | 0.033 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91667 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.98601 | 0.10994 | 0.93833 | 0.15521 | 0.11506
PROPYZAMIDE (PRONAMIDE) | 2001 | 82676GCM35 | 2011-09-10 | 2010-10-01 | 2012-09-30 | ug/L | 0.91111 | NSI | 070810-01 | NSI 070810-01: 50 µl | 0.0225 | PROPYZAMIDE_(PRONAMIDE) | . | 0.0036 | 0.0205 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91111 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.98601 | 0.10994 | 0.93833 | 0.15521 | 0.11506
PROPYZAMIDE (PRONAMIDE) | 2001 | 82676GCM35 | 2011-11-17 | 2010-10-01 | 2012-09-30 | ug/L | 0.88889 | NSI | 070810-01 | NSI 070810-01: 20 µl | 0.009 | PROPYZAMIDE_(PRONAMIDE) | . | 0.0036 | 0.008 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88889 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.98601 | 0.10994 | 0.93833 | 0.15521 | 0.11506
PROPYZAMIDE (PRONAMIDE) | 2001 | 82676GCM35 | 2012-01-21 | 2010-10-01 | 2012-09-30 | ug/L | 0.91667 | NSI | 070810-01 | NSI 070810-01: 80 µl | 0.036 | PROPYZAMIDE_(PRONAMIDE) | . | 0.0036 | 0.033 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91667 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.98601 | 0.10994 | 0.93833 | 0.15521 | 0.11506
PROPYZAMIDE (PRONAMIDE) | 2001 | 82676GCM35 | 2012-05-05 | 2010-10-01 | 2012-09-30 | ug/L | 1.0267 | NSI | 070810-01 | NSI 070810-01: 50 µl | 0.0225 | PROPYZAMIDE_(PRONAMIDE) | . | 0.0036 | 0.0231 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0267 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.98601 | 0.10994 | 0.93833 | 0.15521 | 0.11506
PROPYZAMIDE (PRONAMIDE) | 2001 | 82676GCM35 | 2012-06-22 | 2010-10-01 | 2012-09-30 | ug/L | 0.96 | NSI | 070810-01 | NSI 070810-01: 50 µl | 0.0225 | PROPYZAMIDE_(PRONAMIDE) | . | 0.0036 | 0.0216 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.98601 | 0.10994 | 0.93833 | 0.15521 | 0.11506
PROPYZAMIDE (PRONAMIDE) | 2001 | 82676GCM35 | 2008-11-21 | 2003-10-01 | 2009-09-30 | ug/L | 1.6081 | NSI | 081108-01Pest | NSI 081108-01Pest: 40 µl | 0.014303 | PROPYZAMIDE_(PRONAMIDE) | . | 0.004 | 0.023 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.6081 | NSI 081108-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.4638 | 0.2641 | 1.4074 | 0.25209 | 0.18688
PROPYZAMIDE (PRONAMIDE) | 2001 | 82676GCM35 | 2009-03-23 | 2003-10-01 | 2009-09-30 | ug/L | 1.8224 | NSI | 081108-01Pest | NSI 081108-01Pest: 25 µl | 0.0098771 | PROPYZAMIDE_(PRONAMIDE) | . | 0.004 | 0.018 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.8224 | NSI 081108-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.4638 | 0.2641 | 1.4074 | 0.25209 | 0.18688
PROPYZAMIDE (PRONAMIDE) | 2001 | 82676GCM35 | 2009-05-01 | 2003-10-01 | 2009-09-30 | ug/L | 1.4074 | NSI | 081108-01Pest | NSI 081108-01Pest: 40 µl | 0.014211 | PROPYZAMIDE_(PRONAMIDE) | . | 0.004 | 0.02 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4074 | NSI 081108-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.4638 | 0.2641 | 1.4074 | 0.25209 | 0.18688
PROPYZAMIDE (PRONAMIDE) | 2001 | 82676GCM35 | 2009-07-30 | 2003-10-01 | 2009-09-30 | ug/L | 1.356 | NSI | 081108-01Pest | NSI 081108-01Pest: 25 µl | 0.0088496 | PROPYZAMIDE_(PRONAMIDE) | . | 0.004 | 0.012 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.356 | NSI 081108-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.4638 | 0.2641 | 1.4074 | 0.25209 | 0.18688
PROPYZAMIDE (PRONAMIDE) | 2001 | 82676GCM35 | 2009-09-25 | 2003-10-01 | 2009-09-30 | ug/L | 1.125 | NSI | 081108-01Pest | NSI 081108-01Pest: 25 µl | 0.0088889 | PROPYZAMIDE_(PRONAMIDE) | . | 0.004 | 0.01 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.125 | NSI 081108-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.4638 | 0.2641 | 1.4074 | 0.25209 | 0.18688
PROPYZAMIDE (PRONAMIDE) | 2001 | 82676GCM35 | 2008-05-01 | 2003-10-01 | 2009-09-30 | ug/L | 1.0729 | NWQL | PSP3SP140C | NWQL PSP3SP140C: 50 µl | 0.051261 | PROPYZAMIDE_(PRONAMIDE) | . | 0.004 | 0.055 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0729 | NWQL PSP3SP140C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.0418 | 0.13512 | 1.0729 | 0.26479 | 0.19629
PROPYZAMIDE (PRONAMIDE) | 2001 | 82676GCM35 | 2008-06-25 | 2003-10-01 | 2009-09-30 | ug/L | 0.89379 | NWQL | PSP3SP140C | NWQL PSP3SP140C: 50 µl | 0.050347 | PROPYZAMIDE_(PRONAMIDE) | . | 0.004 | 0.045 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89379 | NWQL PSP3SP140C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.0418 | 0.13512 | 1.0729 | 0.26479 | 0.19629
PROPYZAMIDE (PRONAMIDE) | 2001 | 82676GCM35 | 2008-08-19 | 2003-10-01 | 2009-09-30 | ug/L | 1.1586 | NWQL | PSP3SP140C | NWQL PSP3SP140C: 50 µl | 0.049198 | PROPYZAMIDE_(PRONAMIDE) | . | 0.004 | 0.057 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1586 | NWQL PSP3SP140C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.0418 | 0.13512 | 1.0729 | 0.26479 | 0.19629
PROPYZAMIDE (PRONAMIDE) | 2001 | 82676GCM35 | 2009-04-08 | 2003-10-01 | 2009-09-30 | ug/L | 1.1366 | NWQL | PSP3SP140D | NWQL PSP3SP140D: 50 µl | 0.051031 | PROPYZAMIDE_(PRONAMIDE) | . | 0.004 | 0.058 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1366 | NWQL PSP3SP140D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1095 | 0.15775 | 1.0698 | 0.23914 | 0.17727
PROPYZAMIDE (PRONAMIDE) | 2001 | 82676GCM35 | 2009-04-14 | 2003-10-01 | 2009-09-30 | ug/L | 1.3216 | NWQL | PSP3SP140D | NWQL PSP3SP140D: 50 µl | 0.04994 | PROPYZAMIDE_(PRONAMIDE) | . | 0.004 | 0.066 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3216 | NWQL PSP3SP140D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1095 | 0.15775 | 1.0698 | 0.23914 | 0.17727
PROPYZAMIDE (PRONAMIDE) | 2001 | 82676GCM35 | 2009-06-24 | 2003-10-01 | 2009-09-30 | ug/L | 1.0031 | NWQL | PSP3SP140D | NWQL PSP3SP140D: 50 µl | 0.049845 | PROPYZAMIDE_(PRONAMIDE) | . | 0.004 | 0.05 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0031 | NWQL PSP3SP140D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1095 | 0.15775 | 1.0698 | 0.23914 | 0.17727
PROPYZAMIDE (PRONAMIDE) | 2001 | 82676GCM35 | 2009-08-21 | 2003-10-01 | 2009-09-30 | ug/L | 0.97677 | NWQL | PSP3SP140D | NWQL PSP3SP140D: 50 µl | 0.050165 | PROPYZAMIDE_(PRONAMIDE) | . | 0.004 | 0.049 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97677 | NWQL PSP3SP140D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1095 | 0.15775 | 1.0698 | 0.23914 | 0.17727
PROPYZAMIDE (PRONAMIDE) | 2001 | 82676GCM35 | 2010-06-24 | 2009-10-01 | 2010-09-30 | ug/L | 1.4745 | NWQL | PSP3SP142A | NWQL PSP3SP142A: 40 µl | 0.039809 | PROPYZAMIDE_(PRONAMIDE) | . | 0.0036 | 0.0587 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4745 | NWQL PSP3SP142A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.1387 | 0.34399 | 1.1544 | 0.68744 | 0.50959
PROPYZAMIDE (PRONAMIDE) | 2001 | 82676GCM35 | 2010-07-14 | 2009-10-01 | 2010-09-30 | ug/L | 1.1544 | NWQL | PSP3SP142A | NWQL PSP3SP142A: 40 µl | 0.0408 | PROPYZAMIDE_(PRONAMIDE) | . | 0.0036 | 0.0471 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1544 | NWQL PSP3SP142A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.1387 | 0.34399 | 1.1544 | 0.68744 | 0.50959
PROPYZAMIDE (PRONAMIDE) | 2001 | 82676GCM35 | 2010-07-28 | 2009-10-01 | 2010-09-30 | ug/L | 0.78711 | NWQL | PSP3SP142A | NWQL PSP3SP142A: 40 µl | 0.04002 | PROPYZAMIDE_(PRONAMIDE) | . | 0.0036 | 0.0315 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78711 | NWQL PSP3SP142A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.1387 | 0.34399 | 1.1544 | 0.68744 | 0.50959
PROPYZAMIDE (PRONAMIDE) | 2001 | 82676GCM35 | 2013-08-28 | 2012-10-01 | 2050-09-30 | ug/L | 1.023 | Spex Organics, Accu | T1130517007, 213041078 | Spex Organics T1130517007: 100 µl & Accu 213041078: 100 µl | 0.05093 | PROPYZAMIDE_(PRONAMIDE) | . | 0.008 | 0.0521 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.023 | SpT117007, Ac2131078 | Sp | Ac | Ac | T117007 | 2131078 | 2131078 | T117007 | 2131078 | 2131078 | Y | Recoverable Result | Y | 2 |  | 1 | 1.023 |  | 1.023 | 0 | 0
PROPYZAMIDE (PRONAMIDE) | 2001 | 82676GCM35 | 2013-12-18 | 2012-10-01 | 2050-09-30 | ug/L | 1.2877 | Spex Organics, ERA | T1130517007, 0318-13-02.1 | Spex Organics T1130517007: 20 µl & ERA 0318-13-02.1: 20 µl | 0.00994 | PROPYZAMIDE_(PRONAMIDE) | . | 0.008 | 0.0128 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2877 | SpT117007, ER03102.1 | Sp | ER | ER | T117007 | 03102.1 | 03102.1 | T117007 | 03102.1 | 03102.1 | Y | Recoverable Result | Y | 2 |  | 1 | 1.2877 |  | 1.2877 | 0 | 0
PROPYZAMIDE (PRONAMIDE) | 2001 | 82676GCM35 | 2011-02-25 | 2010-10-01 | 2012-09-30 | ug/L | 1.0148 | Supelco | LB77170 | Supelco LB77170: 80 µl | 0.036265 | PROPYZAMIDE_(PRONAMIDE) | . | 0.0036 | 0.0368 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0148 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 1.0198 | 0.16984 | 0.96048 | 0.18889 | 0.14002
PROPYZAMIDE (PRONAMIDE) | 2001 | 82676GCM35 | 2011-03-23 | 2010-10-01 | 2012-09-30 | ug/L | 0.96048 | Supelco | LB77170 | Supelco LB77170: 20 µl | 0.009058 | PROPYZAMIDE_(PRONAMIDE) | . | 0.0036 | 0.0087 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96048 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 1.0198 | 0.16984 | 0.96048 | 0.18889 | 0.14002
PROPYZAMIDE (PRONAMIDE) | 2001 | 82676GCM35 | 2011-06-23 | 2010-10-01 | 2012-09-30 | ug/L | 0.77008 | Supelco | LB77170 | Supelco LB77170: 50 µl | 0.022725 | PROPYZAMIDE_(PRONAMIDE) | . | 0.0036 | 0.0175 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77008 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 1.0198 | 0.16984 | 0.96048 | 0.18889 | 0.14002
PROPYZAMIDE (PRONAMIDE) | 2001 | 82676GCM35 | 2011-07-12 | 2010-10-01 | 2012-09-30 | ug/L | 1.2508 | Supelco | LB77170 | Supelco LB77170: 80 µl | 0.036217 | PROPYZAMIDE_(PRONAMIDE) | . | 0.0036 | 0.0453 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2508 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 1.0198 | 0.16984 | 0.96048 | 0.18889 | 0.14002
PROPYZAMIDE (PRONAMIDE) | 2001 | 82676GCM35 | 2011-08-18 | 2010-10-01 | 2012-09-30 | ug/L | 1.28 | Supelco | LB77170 | Supelco LB77170: 50 µl | 0.0225 | PROPYZAMIDE_(PRONAMIDE) | . | 0.0036 | 0.0288 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.28 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 1.0198 | 0.16984 | 0.96048 | 0.18889 | 0.14002
PROPYZAMIDE (PRONAMIDE) | 2001 | 82676GCM35 | 2011-09-17 | 2010-10-01 | 2012-09-30 | ug/L | 0.94444 | Supelco | LB77170 | Supelco LB77170: 20 µl | 0.009 | PROPYZAMIDE_(PRONAMIDE) | . | 0.0036 | 0.0085 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94444 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 1.0198 | 0.16984 | 0.96048 | 0.18889 | 0.14002
PROPYZAMIDE (PRONAMIDE) | 2001 | 82676GCM35 | 2011-12-10 | 2010-10-01 | 2012-09-30 | ug/L | 0.88 | Supelco | LB77170 | Supelco LB77170: 50 µl | 0.0225 | PROPYZAMIDE_(PRONAMIDE) | E | 0.0036 | 0.0198 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88 | Supelco LB77170 | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 1.0198 | 0.16984 | 0.96048 | 0.18889 | 0.14002
PROPYZAMIDE (PRONAMIDE) | 2001 | 82676GCM35 | 2012-02-23 | 2010-10-01 | 2012-09-30 | ug/L | 0.94444 | Supelco | LB77170 | Supelco LB77170: 20 µl | 0.009 | PROPYZAMIDE_(PRONAMIDE) | . | 0.0036 | 0.0085 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94444 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 1.0198 | 0.16984 | 0.96048 | 0.18889 | 0.14002
PROPYZAMIDE (PRONAMIDE) | 2001 | 82676GCM35 | 2012-05-08 | 2010-10-01 | 2012-09-30 | ug/L | 1.1333 | Supelco | LB77170 | Supelco LB77170: 20 µl | 0.009 | PROPYZAMIDE_(PRONAMIDE) | . | 0.0036 | 0.0102 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1333 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 1.0198 | 0.16984 | 0.96048 | 0.18889 | 0.14002