## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
SIMAZINE | 2001 | 04035GCM35 | 2012-08-05 | 2010-10-01 | 2050-09-30 | ug/L | 0.91722 | Abs, ChemService | 052212, 348200 | Abs 052212: 20 µl & ChemService 348200: 20 µl | 0.0302 | SIMAZINE | . | 0.006 | 0.0277 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91722 | Ab052212, Ch348200 | Ab | Ch | Ch | 052212 | 348200 | 348200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.91722 |  | 0.91722 | 0 | 0
SIMAZINE | 2001 | 04035GCM35 | 2013-04-03 | 2010-10-01 | 2050-09-30 | ug/L | 1.0844 | Abs, Spex Organics | 052212, T1120530009 | Abs 052212: 40 µl & Spex Organics T1120530009: 40 µl | 0.0604 | SIMAZINE | . | 0.006 | 0.0655 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0844 | Ab052212, SpT110009 | Ab | Sp | Sp | 052212 | T110009 | T110009 |  | T110009 | T110009 | Y | Recoverable Result | Y | 2 |  | 1 | 1.0844 |  | 1.0844 | 0 | 0
SIMAZINE | 2001 | 04035GCM35 | 2012-06-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.80795 | Abs | 052212 | Abs 052212: 20 µl | 0.0302 | SIMAZINE | . | 0.006 | 0.0244 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80795 | Abs 052212 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.80795 |  | 0.80795 | 0 | 0
SIMAZINE | 2001 | 04035GCM35 | 2010-01-05 | 2009-10-01 | 2010-09-30 | ug/L | 1.2105 | Abs | 090409Pest | Abs 090409Pest: 25 µl | 0.15365 | SIMAZINE | . | 0.006 | 0.186 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2105 | Abs 090409Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.1413 | 0.17331 | 1.1562 | 0.14329 | 0.10622
SIMAZINE | 2001 | 04035GCM35 | 2010-06-18 | 2009-10-01 | 2010-09-30 | ug/L | 1.1862 | Abs | 090409Pest | Abs 090409Pest: 80 µl | 0.47886 | SIMAZINE | . | 0.006 | 0.568 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1862 | Abs 090409Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.1413 | 0.17331 | 1.1562 | 0.14329 | 0.10622
SIMAZINE | 2001 | 04035GCM35 | 2010-07-20 | 2009-10-01 | 2010-09-30 | ug/L | 1.391 | Abs | 090409Pest | Abs 090409Pest: 25 µl | 0.15385 | SIMAZINE | . | 0.006 | 0.214 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.391 | Abs 090409Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.1413 | 0.17331 | 1.1562 | 0.14329 | 0.10622
SIMAZINE | 2001 | 04035GCM35 | 2010-07-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.86682 | Abs | 090409Pest | Abs 090409Pest: 25 µl | 0.15574 | SIMAZINE | . | 0.006 | 0.135 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86682 | Abs 090409Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.1413 | 0.17331 | 1.1562 | 0.14329 | 0.10622
SIMAZINE | 2001 | 04035GCM35 | 2010-08-13 | 2009-10-01 | 2010-09-30 | ug/L | 1.1262 | Abs | 090409Pest | Abs 090409Pest: 80 µl | 0.48569 | SIMAZINE | . | 0.006 | 0.547 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1262 | Abs 090409Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.1413 | 0.17331 | 1.1562 | 0.14329 | 0.10622
SIMAZINE | 2001 | 04035GCM35 | 2010-09-22 | 2009-10-01 | 2010-09-30 | ug/L | 1.0673 | Abs | 090409Pest | Abs 090409Pest: 25 µl | 0.15366 | SIMAZINE | . | 0.006 | 0.164 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0673 | Abs 090409Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.1413 | 0.17331 | 1.1562 | 0.14329 | 0.10622
SIMAZINE | 2001 | 04035GCM35 | 2012-07-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.76821 | Accu, Abs | 212051201, 052212 | Accu 212051201: 20 µl & Abs 052212: 20 µl | 0.0302 | SIMAZINE | . | 0.006 | 0.0232 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76821 | Ac2121201, Ab052212 | Ac | Ab | Ab | 2121201 | 052212 | 052212 | 2121201 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.83664 | 0.064915 | 0.84437 | 0.12914 | 0.095729
SIMAZINE | 2001 | 04035GCM35 | 2012-11-27 | 2010-10-01 | 2050-09-30 | ug/L | 0.89735 | Accu, Abs | 212051201, 052212 | Accu 212051201: 40 µl & Abs 052212: 40 µl | 0.0604 | SIMAZINE | . | 0.006 | 0.0542 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89735 | Ac2121201, Ab052212 | Ac | Ab | Ab | 2121201 | 052212 | 052212 | 2121201 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.83664 | 0.064915 | 0.84437 | 0.12914 | 0.095729
SIMAZINE | 2001 | 04035GCM35 | 2013-01-29 | 2010-10-01 | 2050-09-30 | ug/L | 0.84437 | Accu, Abs | 212051201, 052212 | Accu 212051201: 80 µl & Abs 052212: 80 µl | 0.1208 | SIMAZINE | . | 0.006 | 0.102 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84437 | Ac2121201, Ab052212 | Ac | Ab | Ab | 2121201 | 052212 | 052212 | 2121201 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.83664 | 0.064915 | 0.84437 | 0.12914 | 0.095729
SIMAZINE | 2001 | 04035GCM35 | 2013-03-19 | 2010-10-01 | 2050-09-30 | ug/L | 1.0533 | Accu, NSI | 212051201, 062112-01Pest | Accu 212051201: 20 µl & NSI 062112-01Pest: 20 µl | 0.03 | SIMAZINE | . | 0.006 | 0.0316 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0533 | Ac2121201, NS062Pest | Ac | NS | NS | 2121201 | 062Pest | 062Pest | 2121201 | 062Pest | 062Pest | Y | Recoverable Result | Y | 2 |  | 2 | 0.925 | 0.18149 | 0.925 | 0.25667 | 0.19026
SIMAZINE | 2001 | 04035GCM35 | 2013-05-14 | 2010-10-01 | 2050-09-30 | ug/L | 0.79667 | Accu, NSI | 212051201, 062112-01Pest | Accu 212051201: 40 µl & NSI 062112-01Pest: 40 µl | 0.06 | SIMAZINE | . | 0.006 | 0.0478 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79667 | Ac2121201, NS062Pest | Ac | NS | NS | 2121201 | 062Pest | 062Pest | 2121201 | 062Pest | 062Pest | Y | Recoverable Result | Y | 2 |  | 2 | 0.925 | 0.18149 | 0.925 | 0.25667 | 0.19026
SIMAZINE | 2001 | 04035GCM35 | 2013-10-21 | 2010-10-01 | 2050-09-30 | ug/L | 0.77938 | Accu, Abs | 213041078, 041613 | Accu 213041078: 20 µl & Abs 041613: 20 µl | 0.05004 | SIMAZINE | . | 0.006 | 0.039 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77938 | Ac2131078, Ab041613 | Ac | Ab | Ab | 2131078 | 041613 | 041613 | 2131078 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.77938 |  | 0.77938 | 0 | 0
SIMAZINE | 2001 | 04035GCM35 | 2013-05-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.90328 | Accu, NSI | 213041078, 042313Pest | Accu 213041078: 50 µl & NSI 042313Pest: 50 µl | 0.1251 | SIMAZINE | . | 0.006 | 0.113 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90328 | Ac2131078, NS042Pest | Ac | NS | NS | 2131078 | 042Pest | 042Pest | 2131078 | 042Pest | 042Pest | Y | Recoverable Result | Y | 2 |  | 1 | 0.90328 |  | 0.90328 | 0 | 0
SIMAZINE | 2001 | 04035GCM35 | 2008-04-24 | 2006-10-01 | 2008-09-30 | ug/L | 1.1734 | Accu | B7070210 | Accu B7070210: 25 µl | 0.0025568 | SIMAZINE | E | 0.006 | 0.003 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.1733 | Accu B7070210 | [9 empty] | Y | Estimated Values | Y | 1 |  | 6 | 0.99487 | 0.21066 | 0.99115 | 0.36448 | 0.27018
SIMAZINE | 2001 | 04035GCM35 | 2008-04-24 | 2006-10-01 | 2008-09-30 | ug/L | 1.1657 | Accu | B7070210 | Accu B7070210: 25 µl | 0.0025736 | SIMAZINE | E | 0.006 | 0.003 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.1657 | Accu B7070210 | [9 empty] | Y | Estimated Values | Y | 1 |  | 6 | 0.99487 | 0.21066 | 0.99115 | 0.36448 | 0.27018
SIMAZINE | 2001 | 04035GCM35 | 2008-05-06 | 2006-10-01 | 2008-09-30 | ug/L | 1.2196 | Accu | B7070210 | Accu B7070210: 25 µl | 0.0024599 | SIMAZINE | E | 0.006 | 0.003 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.2196 | Accu B7070210 | [9 empty] | Y | Estimated Values | Y | 1 |  | 6 | 0.99487 | 0.21066 | 0.99115 | 0.36448 | 0.27018
SIMAZINE | 2001 | 04035GCM35 | 2008-06-10 | 2006-10-01 | 2008-09-30 | ug/L | 0.78512 | Accu | B7070210 | Accu B7070210: 25 µl | 0.0025474 | SIMAZINE | E | 0.006 | 0.002 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.78511 | Accu B7070210 | [9 empty] | Y | Estimated Values | Y | 1 |  | 6 | 0.99487 | 0.21066 | 0.99115 | 0.36448 | 0.27018
SIMAZINE | 2001 | 04035GCM35 | 2008-08-01 | 2006-10-01 | 2008-09-30 | ug/L | 0.80888 | Accu | B7070210 | Accu B7070210: 25 µl | 0.0024726 | SIMAZINE | E | 0.006 | 0.002 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.80887 | Accu B7070210 | [9 empty] | Y | Estimated Values | Y | 1 |  | 6 | 0.99487 | 0.21066 | 0.99115 | 0.36448 | 0.27018
SIMAZINE | 2001 | 04035GCM35 | 2008-09-23 | 2006-10-01 | 2008-09-30 | ug/L | 0.81664 | Accu | B7070210 | Accu B7070210: 25 µl | 0.0024491 | SIMAZINE | E | 0.006 | 0.002 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.81663 | Accu B7070210 | [9 empty] | Y | Estimated Values | Y | 1 |  | 6 | 0.99487 | 0.21066 | 0.99115 | 0.36448 | 0.27018
SIMAZINE | 2001 | 04035GCM35 | 2013-07-17 | 2010-10-01 | 2050-09-30 | ug/L | 1.119 | ChemService, ERA | 1466000, 0318-13-02.1 | ChemService 1466000: 50 µl & ERA 0318-13-02.1: 50 µl | 0.126 | SIMAZINE | . | 0.006 | 0.141 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.119 | Ch1466000, ER03102.1 | Ch | ER | ER | 1466000 | 03102.1 | 03102.1 |  | 03102.1 | 03102.1 | Y | Recoverable Result | Y | 2 |  | 1 | 1.119 |  | 1.119 | 0 | 0
SIMAZINE | 2001 | 04035GCM35 | 2008-10-31 | 2008-10-01 | 2009-09-30 | ug/L | 1.1162 | Crescent | 08HH018 | Crescent 08HH018: 25 µl | 0.1738 | SIMAZINE | . | 0.01 | 0.194 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1162 | Crescent 08HH018 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.312 | 0.2809 | 1.231 | 0.074416 | 0.055164
SIMAZINE | 2001 | 04035GCM35 | 2009-01-20 | 2008-10-01 | 2009-09-30 | ug/L | 1.2404 | Crescent | 08HH018 | Crescent 08HH018: 40 µl | 0.28135 | SIMAZINE | . | 0.01 | 0.349 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2404 | Crescent 08HH018 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.312 | 0.2809 | 1.231 | 0.074416 | 0.055164
SIMAZINE | 2001 | 04035GCM35 | 2009-03-20 | 2008-10-01 | 2009-09-30 | ug/L | 1.8063 | Crescent | 08HH018 | Crescent 08HH018: 25 µl | 0.17661 | SIMAZINE | . | 0.01 | 0.319 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.8063 | Crescent 08HH018 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.312 | 0.2809 | 1.231 | 0.074416 | 0.055164
SIMAZINE | 2001 | 04035GCM35 | 2009-06-10 | 2008-10-01 | 2009-09-30 | ug/L | 1.231 | Crescent | 08HH018 | Crescent 08HH018: 25 µl | 0.17547 | SIMAZINE | . | 0.01 | 0.216 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.231 | Crescent 08HH018 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.312 | 0.2809 | 1.231 | 0.074416 | 0.055164
SIMAZINE | 2001 | 04035GCM35 | 2009-08-28 | 2008-10-01 | 2009-09-30 | ug/L | 1.166 | Crescent | 08HH018 | Crescent 08HH018: 40 µl | 0.27701 | SIMAZINE | . | 0.01 | 0.323 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.166 | Crescent 08HH018 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.312 | 0.2809 | 1.231 | 0.074416 | 0.055164
SIMAZINE | 2001 | 04035GCM35 | 2013-11-26 | 2010-10-01 | 2050-09-30 | ug/L | 1.2421 | ERA, Abs | 0318-13-02.1, 041613 | ERA 0318-13-02.1: 20 µl & Abs 041613: 20 µl | 0.0504 | SIMAZINE | . | 0.006 | 0.0626 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2421 | ER03102.1, Ab041613 | ER | Ab | Ab | 03102.1 | 041613 | 041613 | 03102.1 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.2421 |  | 1.2421 | 0 | 0
SIMAZINE | 2001 | 04035GCM35 | 2013-08-01 | 2010-10-01 | 2050-09-30 | ug/L | 1.1786 | ERA, NSI | 0318-13-02.1, 042313Pest | ERA 0318-13-02.1: 100 µl & NSI 042313Pest: 100 µl | 0.252 | SIMAZINE | . | 0.006 | 0.297 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1786 | ER03102.1, NS042Pest | ER | NS | NS | 03102.1 | 042Pest | 042Pest | 03102.1 | 042Pest | 042Pest | Y | Recoverable Result | Y | 2 |  | 1 | 1.1786 |  | 1.1786 | 0 | 0
SIMAZINE | 2001 | 04035GCM35 | 2012-09-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.89333 | ERA, NSI | 0507-12-05.1, 062112-01Pest | ERA 0507-12-05.1: 20 µl & NSI 062112-01Pest: 20 µl | 0.03 | SIMAZINE | . | 0.006 | 0.0268 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89333 | ER05005.1, NS062Pest | ER | NS | NS | 05005.1 | 062Pest | 062Pest | 05005.1 | 062Pest | 062Pest | Y | Recoverable Result | Y | 2 |  | 1 | 0.89333 |  | 0.89333 | 0 | 0
SIMAZINE | 2001 | 04035GCM35 | 2012-09-25 | 2010-10-01 | 2050-09-30 | ug/L | 1.115 | NSI, ChemService | 062112-01Pest, 348200 | NSI 062112-01Pest: 40 µl & ChemService 348200: 40 µl | 0.06 | SIMAZINE | . | 0.006 | 0.0669 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.115 | NS062Pest, Ch348200 | NS | Ch | Ch | 062Pest | 348200 | 348200 | 062Pest |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0408 | 0.10489 | 1.0408 | 0.14833 | 0.10996
SIMAZINE | 2001 | 04035GCM35 | 2013-03-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.96667 | NSI, ChemService | 062112-01Pest, 348200 | NSI 062112-01Pest: 80 µl & ChemService 348200: 80 µl | 0.12 | SIMAZINE | . | 0.006 | 0.116 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96667 | NS062Pest, Ch348200 | NS | Ch | Ch | 062Pest | 348200 | 348200 | 062Pest |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0408 | 0.10489 | 1.0408 | 0.14833 | 0.10996
SIMAZINE | 2001 | 04035GCM35 | 2012-11-28 | 2010-10-01 | 2050-09-30 | ug/L | 1.1 | NSI, Spex Organics | 062112-01Pest, T1120530009 | NSI 062112-01Pest: 20 µl & Spex Organics T1120530009: 20 µl | 0.03 | SIMAZINE | . | 0.006 | 0.033 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1 | NS062Pest, SpT110009 | NS | Sp | Sp | 062Pest | T110009 | T110009 | 062Pest | T110009 | T110009 | Y | Recoverable Result | Y | 2 |  | 1 | 1.1 |  | 1.1 | 0 | 0
SIMAZINE | 2001 | 04035GCM35 | 2011-02-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.92025 | NSI | 070810-01 | NSI 070810-01: 20 µl | 0.060418 | SIMAZINE | . | 0.006 | 0.0556 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92025 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.8973 | 0.079615 | 0.91205 | 0.13003 | 0.096393
SIMAZINE | 2001 | 04035GCM35 | 2011-03-15 | 2010-10-01 | 2050-09-30 | ug/L | 0.85797 | NSI | 070810-01 | NSI 070810-01: 50 µl | 0.15269 | SIMAZINE | . | 0.006 | 0.131 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85797 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.8973 | 0.079615 | 0.91205 | 0.13003 | 0.096393
SIMAZINE | 2001 | 04035GCM35 | 2011-05-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.95696 | NSI | 070810-01 | NSI 070810-01: 80 µl | 0.24975 | SIMAZINE | . | 0.006 | 0.239 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95696 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.8973 | 0.079615 | 0.91205 | 0.13003 | 0.096393
SIMAZINE | 2001 | 04035GCM35 | 2011-06-10 | 2010-10-01 | 2050-09-30 | ug/L | 1.0151 | NSI | 070810-01 | NSI 070810-01: 20 µl | 0.06177 | SIMAZINE | . | 0.006 | 0.0627 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0151 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.8973 | 0.079615 | 0.91205 | 0.13003 | 0.096393
SIMAZINE | 2001 | 04035GCM35 | 2011-08-02 | 2010-10-01 | 2050-09-30 | ug/L | 0.96955 | NSI | 070810-01 | NSI 070810-01: 80 µl | 0.2496 | SIMAZINE | . | 0.006 | 0.242 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96955 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.8973 | 0.079615 | 0.91205 | 0.13003 | 0.096393
SIMAZINE | 2001 | 04035GCM35 | 2011-09-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.90385 | NSI | 070810-01 | NSI 070810-01: 50 µl | 0.156 | SIMAZINE | . | 0.006 | 0.141 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90385 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.8973 | 0.079615 | 0.91205 | 0.13003 | 0.096393
SIMAZINE | 2001 | 04035GCM35 | 2011-11-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.82692 | NSI | 070810-01 | NSI 070810-01: 20 µl | 0.0624 | SIMAZINE | . | 0.006 | 0.0516 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82692 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.8973 | 0.079615 | 0.91205 | 0.13003 | 0.096393
SIMAZINE | 2001 | 04035GCM35 | 2012-01-21 | 2010-10-01 | 2050-09-30 | ug/L | 0.94551 | NSI | 070810-01 | NSI 070810-01: 80 µl | 0.2496 | SIMAZINE | . | 0.006 | 0.236 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94551 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.8973 | 0.079615 | 0.91205 | 0.13003 | 0.096393
SIMAZINE | 2001 | 04035GCM35 | 2012-05-05 | 2010-10-01 | 2050-09-30 | ug/L | 0.76282 | NSI | 070810-01 | NSI 070810-01: 50 µl | 0.156 | SIMAZINE | . | 0.006 | 0.119 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76282 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.8973 | 0.079615 | 0.91205 | 0.13003 | 0.096393
SIMAZINE | 2001 | 04035GCM35 | 2012-06-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.8141 | NSI | 070810-01 | NSI 070810-01: 50 µl | 0.156 | SIMAZINE | . | 0.006 | 0.127 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8141 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.8973 | 0.079615 | 0.91205 | 0.13003 | 0.096393
SIMAZINE | 2001 | 04035GCM35 | 2008-11-21 | 2008-10-01 | 2009-09-30 | ug/L | 1.403 | NSI | 081108-01Pest | NSI 081108-01Pest: 40 µl | 0.28367 | SIMAZINE | . | 0.01 | 0.398 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.403 | NSI 081108-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.2529 | 0.18784 | 1.2276 | 0.18377 | 0.13623
SIMAZINE | 2001 | 04035GCM35 | 2009-03-23 | 2008-10-01 | 2009-09-30 | ug/L | 1.4446 | NSI | 081108-01Pest | NSI 081108-01Pest: 25 µl | 0.1959 | SIMAZINE | . | 0.01 | 0.283 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4446 | NSI 081108-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.2529 | 0.18784 | 1.2276 | 0.18377 | 0.13623
SIMAZINE | 2001 | 04035GCM35 | 2009-05-01 | 2008-10-01 | 2009-09-30 | ug/L | 1.2276 | NSI | 081108-01Pest | NSI 081108-01Pest: 40 µl | 0.28185 | SIMAZINE | . | 0.01 | 0.346 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2276 | NSI 081108-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.2529 | 0.18784 | 1.2276 | 0.18377 | 0.13623
SIMAZINE | 2001 | 04035GCM35 | 2009-07-30 | 2008-10-01 | 2009-09-30 | ug/L | 1.2193 | NSI | 081108-01Pest | NSI 081108-01Pest: 25 µl | 0.17552 | SIMAZINE | . | 0.01 | 0.214 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2193 | NSI 081108-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.2529 | 0.18784 | 1.2276 | 0.18377 | 0.13623
SIMAZINE | 2001 | 04035GCM35 | 2009-09-25 | 2008-10-01 | 2009-09-30 | ug/L | 0.96996 | NSI | 081108-01Pest | NSI 081108-01Pest: 25 µl | 0.1763 | SIMAZINE | . | 0.01 | 0.171 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96996 | NSI 081108-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.2529 | 0.18784 | 1.2276 | 0.18377 | 0.13623
SIMAZINE | 2001 | 04035GCM35 | 2008-05-01 | 2006-10-01 | 2008-09-30 | ug/L | 1.19 | NWQL | PSP3SP140C | NWQL PSP3SP140C: 50 µl | 0.051261 | SIMAZINE | . | 0.006 | 0.061 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.19 | NWQL PSP3SP140C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.1949 | 0.16456 | 1.19 | 0.32902 | 0.2439
SIMAZINE | 2001 | 04035GCM35 | 2008-06-25 | 2006-10-01 | 2008-09-30 | ug/L | 1.0328 | NWQL | PSP3SP140C | NWQL PSP3SP140C: 50 µl | 0.050347 | SIMAZINE | . | 0.006 | 0.052 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0328 | NWQL PSP3SP140C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.1949 | 0.16456 | 1.19 | 0.32902 | 0.2439
SIMAZINE | 2001 | 04035GCM35 | 2008-08-19 | 2006-10-01 | 2008-09-30 | ug/L | 1.3618 | NWQL | PSP3SP140C | NWQL PSP3SP140C: 50 µl | 0.049198 | SIMAZINE | . | 0.006 | 0.067 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3618 | NWQL PSP3SP140C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.1949 | 0.16456 | 1.19 | 0.32902 | 0.2439
SIMAZINE | 2001 | 04035GCM35 | 2009-04-08 | 2008-10-01 | 2009-09-30 | ug/L | 1.3129 | NWQL | PSP3SP140D | NWQL PSP3SP140D: 50 µl | 0.051031 | SIMAZINE | . | 0.01 | 0.067 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3129 | NWQL PSP3SP140D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.2586 | 0.12112 | 1.2483 | 0.19736 | 0.1463
SIMAZINE | 2001 | 04035GCM35 | 2009-04-14 | 2008-10-01 | 2009-09-30 | ug/L | 1.4017 | NWQL | PSP3SP140D | NWQL PSP3SP140D: 50 µl | 0.04994 | SIMAZINE | . | 0.01 | 0.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4017 | NWQL PSP3SP140D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.2586 | 0.12112 | 1.2483 | 0.19736 | 0.1463
SIMAZINE | 2001 | 04035GCM35 | 2009-06-24 | 2008-10-01 | 2009-09-30 | ug/L | 1.1837 | NWQL | PSP3SP140D | NWQL PSP3SP140D: 50 µl | 0.049845 | SIMAZINE | . | 0.01 | 0.059 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1837 | NWQL PSP3SP140D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.2586 | 0.12112 | 1.2483 | 0.19736 | 0.1463
SIMAZINE | 2001 | 04035GCM35 | 2009-08-21 | 2008-10-01 | 2009-09-30 | ug/L | 1.1362 | NWQL | PSP3SP140D | NWQL PSP3SP140D: 50 µl | 0.050165 | SIMAZINE | . | 0.01 | 0.057 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1362 | NWQL PSP3SP140D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.2586 | 0.12112 | 1.2483 | 0.19736 | 0.1463
SIMAZINE | 2001 | 04035GCM35 | 2010-06-24 | 2009-10-01 | 2010-09-30 | ug/L | 1.6956 | NWQL | PSP3SP142A | NWQL PSP3SP142A: 40 µl | 0.039809 | SIMAZINE | . | 0.006 | 0.0675 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.6956 | NWQL PSP3SP142A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.3604 | 0.38854 | 1.451 | 0.76107 | 0.56417
SIMAZINE | 2001 | 04035GCM35 | 2010-07-14 | 2009-10-01 | 2010-09-30 | ug/L | 1.451 | NWQL | PSP3SP142A | NWQL PSP3SP142A: 40 µl | 0.0408 | SIMAZINE | . | 0.006 | 0.0592 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.451 | NWQL PSP3SP142A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.3604 | 0.38854 | 1.451 | 0.76107 | 0.56417
SIMAZINE | 2001 | 04035GCM35 | 2010-07-28 | 2009-10-01 | 2010-09-30 | ug/L | 0.93453 | NWQL | PSP3SP142A | NWQL PSP3SP142A: 40 µl | 0.04002 | SIMAZINE | . | 0.006 | 0.0374 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93453 | NWQL PSP3SP142A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.3604 | 0.38854 | 1.451 | 0.76107 | 0.56417
SIMAZINE | 2001 | 04035GCM35 | 2013-08-28 | 2010-10-01 | 2050-09-30 | ug/L | 0.9992 | Spex Organics, Accu | T1130517007, 213041078 | Spex Organics T1130517007: 100 µl & Accu 213041078: 100 µl | 0.2502 | SIMAZINE | . | 0.006 | 0.25 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9992 | SpT117007, Ac2131078 | Sp | Ac | Ac | T117007 | 2131078 | 2131078 | T117007 | 2131078 | 2131078 | Y | Recoverable Result | Y | 2 |  | 1 | 0.9992 |  | 0.9992 | 0 | 0
SIMAZINE | 2001 | 04035GCM35 | 2013-12-18 | 2010-10-01 | 2050-09-30 | ug/L | 1.5933 | Spex Organics, ERA | T1130517007, 0318-13-02.1 | Spex Organics T1130517007: 20 µl & ERA 0318-13-02.1: 20 µl | 0.0504 | SIMAZINE | . | 0.006 | 0.0803 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.5933 | SpT117007, ER03102.1 | Sp | ER | ER | T117007 | 03102.1 | 03102.1 | T117007 | 03102.1 | 03102.1 | Y | Recoverable Result | Y | 2 |  | 1 | 1.5933 |  | 1.5933 | 0 | 0
SIMAZINE | 2001 | 04035GCM35 | 2011-02-25 | 2010-10-01 | 2050-09-30 | ug/L | 0.87498 | Supelco | LB77170 | Supelco LB77170: 80 µl | 0.25144 | SIMAZINE | . | 0.006 | 0.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87498 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.87014 | 0.13159 | 0.87498 | 0.18698 | 0.1386
SIMAZINE | 2001 | 04035GCM35 | 2011-03-23 | 2010-10-01 | 2050-09-30 | ug/L | 0.71654 | Supelco | LB77170 | Supelco LB77170: 20 µl | 0.062802 | SIMAZINE | . | 0.006 | 0.045 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71654 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.87014 | 0.13159 | 0.87498 | 0.18698 | 0.1386
SIMAZINE | 2001 | 04035GCM35 | 2011-06-23 | 2010-10-01 | 2050-09-30 | ug/L | 0.74892 | Supelco | LB77170 | Supelco LB77170: 50 µl | 0.15756 | SIMAZINE | . | 0.006 | 0.118 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74892 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.87014 | 0.13159 | 0.87498 | 0.18698 | 0.1386
SIMAZINE | 2001 | 04035GCM35 | 2011-07-12 | 2010-10-01 | 2050-09-30 | ug/L | 0.98763 | Supelco | LB77170 | Supelco LB77170: 80 µl | 0.25111 | SIMAZINE | . | 0.006 | 0.248 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98763 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.87014 | 0.13159 | 0.87498 | 0.18698 | 0.1386
SIMAZINE | 2001 | 04035GCM35 | 2011-08-18 | 2010-10-01 | 2050-09-30 | ug/L | 1.1154 | Supelco | LB77170 | Supelco LB77170: 50 µl | 0.156 | SIMAZINE | . | 0.006 | 0.174 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1154 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.87014 | 0.13159 | 0.87498 | 0.18698 | 0.1386
SIMAZINE | 2001 | 04035GCM35 | 2011-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.88141 | Supelco | LB77170 | Supelco LB77170: 20 µl | 0.0624 | SIMAZINE | . | 0.006 | 0.055 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88141 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.87014 | 0.13159 | 0.87498 | 0.18698 | 0.1386
SIMAZINE | 2001 | 04035GCM35 | 2011-12-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.9359 | Supelco | LB77170 | Supelco LB77170: 50 µl | 0.156 | SIMAZINE | E | 0.006 | 0.146 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9359 | Supelco LB77170 | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 0.87014 | 0.13159 | 0.87498 | 0.18698 | 0.1386
SIMAZINE | 2001 | 04035GCM35 | 2012-02-23 | 2010-10-01 | 2050-09-30 | ug/L | 0.84615 | Supelco | LB77170 | Supelco LB77170: 20 µl | 0.0624 | SIMAZINE | . | 0.006 | 0.0528 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84615 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.87014 | 0.13159 | 0.87498 | 0.18698 | 0.1386
SIMAZINE | 2001 | 04035GCM35 | 2012-05-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.72436 | Supelco | LB77170 | Supelco LB77170: 20 µl | 0.0624 | SIMAZINE | . | 0.006 | 0.0452 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72436 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.87014 | 0.13159 | 0.87498 | 0.18698 | 0.1386
SIMAZINE | 2001 | 04035GCM35 | 2008-04-24 | 2006-10-01 | 2008-09-30 | ug/L | 1.1891 | Ultra | CD-2090 | Ultra CD-2090: 25 µl | 0.28676 | SIMAZINE | . | 0.006 | 0.341 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1891 | Ultra CD-2090 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.1697 | 0.10278 | 1.1855 | 0.081003 | 0.060047
SIMAZINE | 2001 | 04035GCM35 | 2008-04-29 | 2006-10-01 | 2008-09-30 | ug/L | 1.2955 | Ultra | CD-2090 | Ultra CD-2090: 25 µl | 0.27789 | SIMAZINE | . | 0.006 | 0.36 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2955 | Ultra CD-2090 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.1697 | 0.10278 | 1.1855 | 0.081003 | 0.060047
SIMAZINE | 2001 | 04035GCM35 | 2008-05-06 | 2006-10-01 | 2008-09-30 | ug/L | 1.1818 | Ultra | CD-2090 | Ultra CD-2090: 25 µl | 0.275 | SIMAZINE | . | 0.006 | 0.325 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1818 | Ultra CD-2090 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.1697 | 0.10278 | 1.1855 | 0.081003 | 0.060047
SIMAZINE | 2001 | 04035GCM35 | 2008-07-10 | 2006-10-01 | 2008-09-30 | ug/L | 0.9883 | Ultra | CD-2090 | Ultra CD-2090: 25 µl | 0.27421 | SIMAZINE | . | 0.006 | 0.271 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9883 | Ultra CD-2090 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.1697 | 0.10278 | 1.1855 | 0.081003 | 0.060047
SIMAZINE | 2001 | 04035GCM35 | 2008-08-04 | 2006-10-01 | 2008-09-30 | ug/L | 1.1412 | Ultra | CD-2090 | Ultra CD-2090: 25 µl | 0.2734 | SIMAZINE | . | 0.006 | 0.312 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1412 | Ultra CD-2090 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.1697 | 0.10278 | 1.1855 | 0.081003 | 0.060047
SIMAZINE | 2001 | 04035GCM35 | 2008-09-24 | 2006-10-01 | 2008-09-30 | ug/L | 1.2222 | Ultra | CD-2090 | Ultra CD-2090: 25 µl | 0.28064 | SIMAZINE | . | 0.006 | 0.343 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2222 | Ultra CD-2090 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.1697 | 0.10278 | 1.1855 | 0.081003 | 0.060047