## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
TEBUTHIURON | 2001 | 82670GCM35 | 2013-12-17 | 2010-10-01 | 2050-09-30 | ug/L | 1.264 | Abs, ChemService | 041613, 1466000 | Abs 041613: 50 µl & ChemService 1466000: 50 µl | 0.125 | TEBUTHIURON | E | 0.028 | 0.158 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.264 | Ab041613, Ch1466000 | Ab | Ch | Ch | 041613 | 1466000 | 1466000 |  |  |  | Y | Estimated Values | Y | 2 |  | 1 | 1.264 |  | 1.264 | 0 | 0
TEBUTHIURON | 2001 | 82670GCM35 | 2013-08-17 | 2010-10-01 | 2050-09-30 | ug/L | 2.12 | Abs, Spex Organics | 041613, T1130517007 | Abs 041613: 20 µl & Spex Organics T1130517007: 20 µl | 0.05 | TEBUTHIURON | E | 0.028 | 0.106 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 2 | Ab041613, SpT117007 | Ab | Sp | Sp | 041613 | T117007 | T117007 |  | T117007 | T117007 | Y | Estimated Values | Y | 2 |  | 1 | 2 |  | 2 | 0 | 0 | 2
TEBUTHIURON | 2001 | 82670GCM35 | 2012-08-05 | 2010-10-01 | 2050-09-30 | ug/L | 0.87429 | Abs, ChemService | 052212, 348200 | Abs 052212: 20 µl & ChemService 348200: 20 µl | 0.07 | TEBUTHIURON | E | 0.028 | 0.0612 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87429 | Ab052212, Ch348200 | Ab | Ch | Ch | 052212 | 348200 | 348200 |  |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.87429 |  | 0.87429 | 0 | 0
TEBUTHIURON | 2001 | 82670GCM35 | 2013-04-03 | 2010-10-01 | 2050-09-30 | ug/L | 1.5 | Abs, Spex Organics | 052212, T1120530009 | Abs 052212: 40 µl & Spex Organics T1120530009: 40 µl | 0.14 | TEBUTHIURON | E | 0.028 | 0.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.5 | Ab052212, SpT110009 | Ab | Sp | Sp | 052212 | T110009 | T110009 |  | T110009 | T110009 | Y | Estimated Values | Y | 2 |  | 1 | 1.5 |  | 1.5 | 0 | 0
TEBUTHIURON | 2001 | 82670GCM35 | 2012-09-01 | 2010-10-01 | 2050-09-30 | ug/L | 1.6286 | Accu, Spex Organics | 212051201, T1120530009 | Accu 212051201: 20 µl & Spex Organics T1120530009: 20 µl | 0.07 | TEBUTHIURON | . | 0.028 | 0.114 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.6286 | Ac2121201, SpT110009 | Ac | Sp | Sp | 2121201 | T110009 | T110009 | 2121201 | T110009 | T110009 | Y | Recoverable Result | Y | 2 |  | 1 | 1.6286 |  | 1.6286 | 0 | 0
TEBUTHIURON | 2001 | 82670GCM35 | 2009-12-30 | 2009-10-01 | 2010-09-30 | ug/L | 1.6861 | Accu | 209081259 | Accu 209081259: 25 µl | 0.044779 | TEBUTHIURON | . | 0.028 | 0.0755 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.6861 | Accu 209081259 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.8698 | 0.15124 | 1.9336 | 0.27079 | 0.20074
TEBUTHIURON | 2001 | 82670GCM35 | 2010-06-24 | 2009-10-01 | 2010-09-30 | ug/L | 2.5556 | Accu | 209081259 | Accu 209081259: 25 µl | 0.045391 | TEBUTHIURON | . | 0.028 | 0.116 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 2 | Accu 209081259 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.8698 | 0.15124 | 1.9336 | 0.27079 | 0.20074 | 2
TEBUTHIURON | 2001 | 82670GCM35 | 2010-07-06 | 2009-10-01 | 2010-09-30 | ug/L | 1.7292 | Accu | 209081259 | Accu 209081259: 80 µl | 0.14862 | TEBUTHIURON | . | 0.028 | 0.257 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.7292 | Accu 209081259 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.8698 | 0.15124 | 1.9336 | 0.27079 | 0.20074
TEBUTHIURON | 2001 | 82670GCM35 | 2010-10-27 | 2010-10-01 | 2050-09-30 | ug/L | 2.6508 | Accu | 209081259 | Accu 209081259: 25 µl | 0.044515 | TEBUTHIURON | . | 0.028 | 0.118 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 2 | Accu 209081259 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.8698 | 0.15124 | 1.9336 | 0.27079 | 0.20074 | 2
TEBUTHIURON | 2001 | 82670GCM35 | 2010-12-01 | 2010-10-01 | 2050-09-30 | ug/L | 1.9336 | Accu | 209081259 | Accu 209081259: 80 µl | 0.1474 | TEBUTHIURON | . | 0.028 | 0.285 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.9336 | Accu 209081259 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.8698 | 0.15124 | 1.9336 | 0.27079 | 0.20074
TEBUTHIURON | 2001 | 82670GCM35 | 2008-04-24 | 2003-10-01 | 2008-09-30 | ug/L | 1.0203 | Accu | B7070210 | Accu B7070210: 25 µl | 0.12349 | TEBUTHIURON | . | 0.016 | 0.126 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0203 | Accu B7070210 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.2404 | 0.34549 | 1.2268 | 0.34457 | 0.25542
TEBUTHIURON | 2001 | 82670GCM35 | 2008-04-24 | 2003-10-01 | 2008-09-30 | ug/L | 1.1263 | Accu | B7070210 | Accu B7070210: 25 µl | 0.12431 | TEBUTHIURON | E | 0.016 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1263 | Accu B7070210 | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 1.2404 | 0.34549 | 1.2268 | 0.34457 | 0.25542
TEBUTHIURON | 2001 | 82670GCM35 | 2008-05-06 | 2003-10-01 | 2008-09-30 | ug/L | 0.79957 | Accu | B7070210 | Accu B7070210: 25 µl | 0.11881 | TEBUTHIURON | . | 0.016 | 0.095 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79957 | Accu B7070210 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.2404 | 0.34549 | 1.2268 | 0.34457 | 0.25542
TEBUTHIURON | 2001 | 82670GCM35 | 2008-06-10 | 2003-10-01 | 2008-09-30 | ug/L | 1.8043 | Accu | B7070210 | Accu B7070210: 25 µl | 0.12304 | TEBUTHIURON | . | 0.016 | 0.222 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.8043 | Accu B7070210 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.2404 | 0.34549 | 1.2268 | 0.34457 | 0.25542
TEBUTHIURON | 2001 | 82670GCM35 | 2008-08-01 | 2003-10-01 | 2008-09-30 | ug/L | 1.3649 | Accu | B7070210 | Accu B7070210: 25 µl | 0.11942 | TEBUTHIURON | . | 0.016 | 0.163 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3649 | Accu B7070210 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.2404 | 0.34549 | 1.2268 | 0.34457 | 0.25542
TEBUTHIURON | 2001 | 82670GCM35 | 2008-09-23 | 2003-10-01 | 2008-09-30 | ug/L | 1.3273 | Accu | B7070210 | Accu B7070210: 25 µl | 0.11829 | TEBUTHIURON | . | 0.016 | 0.157 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3273 | Accu B7070210 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.2404 | 0.34549 | 1.2268 | 0.34457 | 0.25542
TEBUTHIURON | 2001 | 82670GCM35 | 2013-07-17 | 2010-10-01 | 2050-09-30 | ug/L | 1.048 | ChemService, ERA | 1466000, 0318-13-02.1 | ChemService 1466000: 50 µl & ERA 0318-13-02.1: 50 µl | 0.125 | TEBUTHIURON | E | 0.028 | 0.131 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.048 | Ch1466000, ER03102.1 | Ch | ER | ER | 1466000 | 03102.1 | 03102.1 |  | 03102.1 | 03102.1 | Y | Estimated Values | Y | 2 |  | 1 | 1.048 |  | 1.048 | 0 | 0
TEBUTHIURON | 2001 | 82670GCM35 | 2013-06-13 | 2010-10-01 | 2050-09-30 | ug/L | 1.248 | ChemService, NSI | 1466000, 042313Pest | ChemService 1466000: 50 µl & NSI 042313Pest: 50 µl | 0.125 | TEBUTHIURON | . | 0.028 | 0.156 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.248 | Ch1466000, NS042Pest | Ch | NS | NS | 1466000 | 042Pest | 042Pest |  | 042Pest | 042Pest | Y | Recoverable Result | Y | 2 |  | 1 | 1.248 |  | 1.248 | 0 | 0
TEBUTHIURON | 2001 | 82670GCM35 | 2010-01-07 | 2009-10-01 | 2010-09-30 | ug/L | 1.5223 | ChemService | 430-43B | ChemService 430-43B: 25 µl | 0.043619 | TEBUTHIURON | . | 0.028 | 0.0664 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.5223 | ChemService 430-43B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.8908 | 0.19014 | 1.988 | 0.1533 | 0.11364
TEBUTHIURON | 2001 | 82670GCM35 | 2010-06-25 | 2009-10-01 | 2010-09-30 | ug/L | 2.6477 | ChemService | 430-43B | ChemService 430-43B: 25 µl | 0.044945 | TEBUTHIURON | . | 0.028 | 0.119 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 2 | ChemService 430-43B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.8908 | 0.19014 | 1.988 | 0.1533 | 0.11364 | 2
TEBUTHIURON | 2001 | 82670GCM35 | 2010-07-19 | 2009-10-01 | 2010-09-30 | ug/L | 2.2066 | ChemService | 430-43B | ChemService 430-43B: 25 µl | 0.045274 | TEBUTHIURON | . | 0.028 | 0.0999 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 2 | ChemService 430-43B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.8908 | 0.19014 | 1.988 | 0.1533 | 0.11364 | 2
TEBUTHIURON | 2001 | 82670GCM35 | 2010-07-22 | 2009-10-01 | 2010-09-30 | ug/L | 1.8467 | ChemService | 430-43B | ChemService 430-43B: 80 µl | 0.14296 | TEBUTHIURON | . | 0.028 | 0.264 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.8467 | ChemService 430-43B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.8908 | 0.19014 | 1.988 | 0.1533 | 0.11364
TEBUTHIURON | 2001 | 82670GCM35 | 2010-11-17 | 2010-10-01 | 2050-09-30 | ug/L | 2.3848 | ChemService | 430-43B | ChemService 430-43B: 25 µl | 0.044868 | TEBUTHIURON | . | 0.028 | 0.107 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 2 | ChemService 430-43B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.8908 | 0.19014 | 1.988 | 0.1533 | 0.11364 | 2
TEBUTHIURON | 2001 | 82670GCM35 | 2010-12-02 | 2010-10-01 | 2050-09-30 | ug/L | 1.9759 | ChemService | 430-43B | ChemService 430-43B: 80 µl | 0.1493 | TEBUTHIURON | . | 0.028 | 0.295 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.9759 | ChemService 430-43B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.8908 | 0.19014 | 1.988 | 0.1533 | 0.11364
TEBUTHIURON | 2001 | 82670GCM35 | 2012-12-06 | 2010-10-01 | 2050-09-30 | ug/L | 0.74 | ERA, ChemService | 0507-12-05.1, 348200 | ERA 0507-12-05.1: 20 µl & ChemService 348200: 20 µl | 0.07 | TEBUTHIURON | . | 0.028 | 0.0518 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74 | ER05005.1, Ch348200 | ER | Ch | Ch | 05005.1 | 348200 | 348200 | 05005.1 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.765 | 0.035355 | 0.765 | 0.05 | 0.037064
TEBUTHIURON | 2001 | 82670GCM35 | 2013-05-07 | 2010-10-01 | 2050-09-30 | ug/L | 0.79 | ERA, ChemService | 0507-12-05.1, 348200 | ERA 0507-12-05.1: 20 µl & ChemService 348200: 20 µl | 0.07 | TEBUTHIURON | . | 0.028 | 0.0553 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79 | ER05005.1, Ch348200 | ER | Ch | Ch | 05005.1 | 348200 | 348200 | 05005.1 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.765 | 0.035355 | 0.765 | 0.05 | 0.037064
TEBUTHIURON | 2001 | 82670GCM35 | 2012-11-08 | 2010-10-01 | 2050-09-30 | ug/L | 1.2357 | ERA, Spex Organics | 0507-12-05.1, T1120530009 | ERA 0507-12-05.1: 40 µl & Spex Organics T1120530009: 40 µl | 0.14 | TEBUTHIURON | . | 0.028 | 0.173 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2357 | ER05005.1, SpT110009 | ER | Sp | Sp | 05005.1 | T110009 | T110009 | 05005.1 | T110009 | T110009 | Y | Recoverable Result | Y | 2 |  | 2 | 1.2018 | 0.047982 | 1.2018 | 0.067857 | 0.050302
TEBUTHIURON | 2001 | 82670GCM35 | 2013-03-19 | 2010-10-01 | 2050-09-30 | ug/L | 1.1679 | ERA, Spex Organics | 0507-12-05.1, T1120530009 | ERA 0507-12-05.1: 80 µl & Spex Organics T1120530009: 80 µl | 0.28 | TEBUTHIURON | . | 0.028 | 0.327 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1679 | ER05005.1, SpT110009 | ER | Sp | Sp | 05005.1 | T110009 | T110009 | 05005.1 | T110009 | T110009 | Y | Recoverable Result | Y | 2 |  | 2 | 1.2018 | 0.047982 | 1.2018 | 0.067857 | 0.050302
TEBUTHIURON | 2001 | 82670GCM35 | 2011-03-01 | 2010-10-01 | 2050-09-30 | ug/L | 2.0863 | ERA | 0618-10-02 LS 2001#2 | ERA 0618-10-02 LS 2001#2: 20 µl | 0.019652 | TEBUTHIURON | E | 0.028 | 0.041 | MICROGRAMS PER LITER |  |  | < Reporting Level | 2 | ERA 0618-10-02 LS 2001#2 | [9 empty] | Y | Estimated Values | Y | 1 |  | 9 | 1.7422 | 0.31705 | 1.9537 | 0.58006 | 0.42999 | 2
TEBUTHIURON | 2001 | 82670GCM35 | 2011-03-15 | 2010-10-01 | 2050-09-30 | ug/L | 2.0648 | ERA | 0618-10-02 LS 2001#2 | ERA 0618-10-02 LS 2001#2: 80 µl | 0.078459 | TEBUTHIURON | . | 0.028 | 0.162 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 2 | ERA 0618-10-02 LS 2001#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 1.7422 | 0.31705 | 1.9537 | 0.58006 | 0.42999 | 2
TEBUTHIURON | 2001 | 82670GCM35 | 2011-05-18 | 2010-10-01 | 2050-09-30 | ug/L | 1.9537 | ERA | 0618-10-02 LS 2001#2 | ERA 0618-10-02 LS 2001#2: 50 µl | 0.050674 | TEBUTHIURON | E | 0.028 | 0.099 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.9537 | ERA 0618-10-02 LS 2001#2 | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 1.7422 | 0.31705 | 1.9537 | 0.58006 | 0.42999
TEBUTHIURON | 2001 | 82670GCM35 | 2011-06-28 | 2010-10-01 | 2050-09-30 | ug/L | 1.7003 | ERA | 0618-10-02 LS 2001#2 | ERA 0618-10-02 LS 2001#2: 50 µl | 0.05005 | TEBUTHIURON | . | 0.028 | 0.0851 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.7003 | ERA 0618-10-02 LS 2001#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 1.7422 | 0.31705 | 1.9537 | 0.58006 | 0.42999
TEBUTHIURON | 2001 | 82670GCM35 | 2011-08-19 | 2010-10-01 | 2050-09-30 | ug/L | 1.2714 | ERA | 0618-10-02 LS 2001#2 | ERA 0618-10-02 LS 2001#2: 80 µl | 0.07944 | TEBUTHIURON | . | 0.028 | 0.101 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2714 | ERA 0618-10-02 LS 2001#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 1.7422 | 0.31705 | 1.9537 | 0.58006 | 0.42999
TEBUTHIURON | 2001 | 82670GCM35 | 2011-09-24 | 2010-10-01 | 2050-09-30 | ug/L | 3.0514 | ERA | 0618-10-02 LS 2001#2 | ERA 0618-10-02 LS 2001#2: 20 µl | 0.01986 | TEBUTHIURON | E | 0.028 | 0.0606 | MICROGRAMS PER LITER |  |  | < Reporting Level | 2 | ERA 0618-10-02 LS 2001#2 | [9 empty] | Y | Estimated Values | Y | 1 |  | 9 | 1.7422 | 0.31705 | 1.9537 | 0.58006 | 0.42999 | 2
TEBUTHIURON | 2001 | 82670GCM35 | 2011-11-19 | 2010-10-01 | 2050-09-30 | ug/L | 1.3343 | ERA | 0618-10-02 LS 2001#2 | ERA 0618-10-02 LS 2001#2: 20 µl | 0.01986 | TEBUTHIURON | E | 0.028 | 0.0265 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.3343 | ERA 0618-10-02 LS 2001#2 | [9 empty] | Y | Estimated Values | Y | 1 |  | 9 | 1.7422 | 0.31705 | 1.9537 | 0.58006 | 0.42999
TEBUTHIURON | 2001 | 82670GCM35 | 2012-02-16 | 2010-10-01 | 2050-09-30 | ug/L | 1.4199 | ERA | 0618-10-02 LS 2001#2 | ERA 0618-10-02 LS 2001#2: 20 µl | 0.01986 | TEBUTHIURON | . | 0.028 | 0.0282 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.4199 | ERA 0618-10-02 LS 2001#2 | [9 empty] | Y | Recoverable Result | Y | 1 |  | 9 | 1.7422 | 0.31705 | 1.9537 | 0.58006 | 0.42999
TEBUTHIURON | 2001 | 82670GCM35 | 2012-05-05 | 2010-10-01 | 2050-09-30 | ug/L | 2.0745 | ERA | 0618-10-02 LS 2001#2 | ERA 0618-10-02 LS 2001#2: 50 µl | 0.04965 | TEBUTHIURON | E | 0.028 | 0.103 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 2 | ERA 0618-10-02 LS 2001#2 | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 1.7422 | 0.31705 | 1.9537 | 0.58006 | 0.42999 | 2
TEBUTHIURON | 2001 | 82670GCM35 | 2012-09-25 | 2010-10-01 | 2050-09-30 | ug/L | 0.54571 | NSI, ChemService | 062112-01Pest, 348200 | NSI 062112-01Pest: 40 µl & ChemService 348200: 40 µl | 0.14 | TEBUTHIURON | . | 0.028 | 0.0764 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.54571 | NS062Pest, Ch348200 | NS | Ch | Ch | 062Pest | 348200 | 348200 | 062Pest |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.63536 | 0.12677 | 0.63536 | 0.17929 | 0.1329
TEBUTHIURON | 2001 | 82670GCM35 | 2013-03-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.725 | NSI, ChemService | 062112-01Pest, 348200 | NSI 062112-01Pest: 80 µl & ChemService 348200: 80 µl | 0.28 | TEBUTHIURON | . | 0.028 | 0.203 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.725 | NS062Pest, Ch348200 | NS | Ch | Ch | 062Pest | 348200 | 348200 | 062Pest |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.63536 | 0.12677 | 0.63536 | 0.17929 | 0.1329
TEBUTHIURON | 2001 | 82670GCM35 | 2012-11-28 | 2010-10-01 | 2050-09-30 | ug/L | 1.21 | NSI, Spex Organics | 062112-01Pest, T1120530009 | NSI 062112-01Pest: 20 µl & Spex Organics T1120530009: 20 µl | 0.07 | TEBUTHIURON | . | 0.028 | 0.0847 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.21 | NS062Pest, SpT110009 | NS | Sp | Sp | 062Pest | T110009 | T110009 | 062Pest | T110009 | T110009 | Y | Recoverable Result | Y | 2 |  | 1 | 1.21 |  | 1.21 | 0 | 0
TEBUTHIURON | 2001 | 82670GCM35 | 2008-05-01 | 2003-10-01 | 2008-09-30 | ug/L | 0.95589 | NWQL | PSP3SP140C | NWQL PSP3SP140C: 50 µl | 0.051261 | TEBUTHIURON | E | 0.016 | 0.049 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95589 | NWQL PSP3SP140C | [9 empty] | Y | Estimated Values | Y | 2 |  | 3 | 1.462 | 0.52279 | 1.4301 | 1.0441 | 0.77399
TEBUTHIURON | 2001 | 82670GCM35 | 2008-06-25 | 2003-10-01 | 2008-09-30 | ug/L | 1.4301 | NWQL | PSP3SP140C | NWQL PSP3SP140C: 50 µl | 0.050347 | TEBUTHIURON | . | 0.016 | 0.072 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4301 | NWQL PSP3SP140C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.462 | 0.52279 | 1.4301 | 1.0441 | 0.77399
TEBUTHIURON | 2001 | 82670GCM35 | 2008-08-19 | 2003-10-01 | 2008-09-30 | ug/L | 2.3375 | NWQL | PSP3SP140C | NWQL PSP3SP140C: 50 µl | 0.049198 | TEBUTHIURON | E | 0.016 | 0.115 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 2 | NWQL PSP3SP140C | [9 empty] | Y | Estimated Values | Y | 2 |  | 3 | 1.462 | 0.52279 | 1.4301 | 1.0441 | 0.77399 | 2
TEBUTHIURON | 2001 | 82670GCM35 | 2009-04-08 | 2008-10-01 | 2009-09-30 | ug/L | 1.744 | NWQL | PSP3SP140D | NWQL PSP3SP140D: 50 µl | 0.051031 | TEBUTHIURON | . | 0.02 | 0.089 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.744 | NWQL PSP3SP140D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.671 | 0.23015 | 1.683 | 0.33571 | 0.24886
TEBUTHIURON | 2001 | 82670GCM35 | 2009-04-14 | 2008-10-01 | 2009-09-30 | ug/L | 1.6219 | NWQL | PSP3SP140D | NWQL PSP3SP140D: 50 µl | 0.04994 | TEBUTHIURON | . | 0.02 | 0.081 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.6219 | NWQL PSP3SP140D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.671 | 0.23015 | 1.683 | 0.33571 | 0.24886
TEBUTHIURON | 2001 | 82670GCM35 | 2009-06-24 | 2008-10-01 | 2009-09-30 | ug/L | 1.3843 | NWQL | PSP3SP140D | NWQL PSP3SP140D: 50 µl | 0.049845 | TEBUTHIURON | . | 0.02 | 0.069 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3843 | NWQL PSP3SP140D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.671 | 0.23015 | 1.683 | 0.33571 | 0.24886
TEBUTHIURON | 2001 | 82670GCM35 | 2009-08-21 | 2008-10-01 | 2009-09-30 | ug/L | 1.9336 | NWQL | PSP3SP140D | NWQL PSP3SP140D: 50 µl | 0.050165 | TEBUTHIURON | . | 0.02 | 0.097 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.9336 | NWQL PSP3SP140D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.671 | 0.23015 | 1.683 | 0.33571 | 0.24886
TEBUTHIURON | 2001 | 82670GCM35 | 2010-06-24 | 2009-10-01 | 2010-09-30 | ug/L | 3.3661 | NWQL | PSP3SP142A | NWQL PSP3SP142A: 40 µl | 0.039809 | TEBUTHIURON | . | 0.028 | 0.134 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 2 | NWQL PSP3SP142A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.9755 | 0.042414 | 2 | 0.073463 | 0.054458 | 2
TEBUTHIURON | 2001 | 82670GCM35 | 2010-07-14 | 2009-10-01 | 2010-09-30 | ug/L | 2.9167 | NWQL | PSP3SP142A | NWQL PSP3SP142A: 40 µl | 0.0408 | TEBUTHIURON | . | 0.028 | 0.119 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 2 | NWQL PSP3SP142A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.9755 | 0.042414 | 2 | 0.073463 | 0.054458 | 2
TEBUTHIURON | 2001 | 82670GCM35 | 2010-07-28 | 2009-10-01 | 2010-09-30 | ug/L | 1.9265 | NWQL | PSP3SP142A | NWQL PSP3SP142A: 40 µl | 0.04002 | TEBUTHIURON | . | 0.028 | 0.0771 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.9265 | NWQL PSP3SP142A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.9755 | 0.042414 | 2 | 0.073463 | 0.054458
TEBUTHIURON | 2001 | 82670GCM35 | 2009-01-14 | 2008-10-01 | 2009-09-30 | ug/L | 3.1401 | Protocol | D1080911003 | Protocol D1080911003: 40 µl | 0.024203 | TEBUTHIURON | . | 0.02 | 0.076 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 2 | Protocol D1080911003 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.9797 | 0.045439 | 2 | 0 | 0 | 2
TEBUTHIURON | 2001 | 82670GCM35 | 2009-03-23 | 2008-10-01 | 2009-09-30 | ug/L | 2.5461 | Protocol | D1080911003 | Protocol D1080911003: 25 µl | 0.01571 | TEBUTHIURON | . | 0.02 | 0.04 | MICROGRAMS PER LITER |  |  | < Reporting Level | 2 | Protocol D1080911003 | [9 empty] | Y | Recoverable Result | Y | 1 |  | 5 | 1.9797 | 0.045439 | 2 | 0 | 0 | 2
TEBUTHIURON | 2001 | 82670GCM35 | 2009-06-04 | 2008-10-01 | 2009-09-30 | ug/L | 2.2298 | Protocol | D1080911003 | Protocol D1080911003: 40 µl | 0.023769 | TEBUTHIURON | . | 0.02 | 0.053 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 2 | Protocol D1080911003 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.9797 | 0.045439 | 2 | 0 | 0 | 2
TEBUTHIURON | 2001 | 82670GCM35 | 2009-07-22 | 2008-10-01 | 2009-09-30 | ug/L | 2.0929 | Protocol | D1080911003 | Protocol D1080911003: 25 µl | 0.014812 | TEBUTHIURON | . | 0.02 | 0.031 | MICROGRAMS PER LITER |  |  | < Reporting Level | 2 | Protocol D1080911003 | [9 empty] | Y | Recoverable Result | Y | 1 |  | 5 | 1.9797 | 0.045439 | 2 | 0 | 0 | 2
TEBUTHIURON | 2001 | 82670GCM35 | 2009-10-27 | 2009-10-01 | 2010-09-30 | ug/L | 1.8984 | Protocol | D1080911003 | Protocol D1080911003: 25 µl | 0.014749 | TEBUTHIURON | . | 0.028 | 0.028 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.8984 | Protocol D1080911003 | [9 empty] | Y | Recoverable Result | Y | 1 |  | 5 | 1.9797 | 0.045439 | 2 | 0 | 0
TEBUTHIURON | 2001 | 82670GCM35 | 2013-08-28 | 2010-10-01 | 2050-09-30 | ug/L | 1.028 | Spex Organics, Accu | T1130517007, 213041078 | Spex Organics T1130517007: 100 µl & Accu 213041078: 100 µl | 0.25 | TEBUTHIURON | . | 0.028 | 0.257 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.028 | SpT117007, Ac2131078 | Sp | Ac | Ac | T117007 | 2131078 | 2131078 | T117007 | 2131078 | 2131078 | Y | Recoverable Result | Y | 2 |  | 1 | 1.028 |  | 1.028 | 0 | 0
TEBUTHIURON | 2001 | 82670GCM35 | 2013-12-18 | 2010-10-01 | 2050-09-30 | ug/L | 2.18 | Spex Organics, ERA | T1130517007, 0318-13-02.1 | Spex Organics T1130517007: 20 µl & ERA 0318-13-02.1: 20 µl | 0.05 | TEBUTHIURON | E | 0.028 | 0.109 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 2 | SpT117007, ER03102.1 | Sp | ER | ER | T117007 | 03102.1 | 03102.1 | T117007 | 03102.1 | 03102.1 | Y | Estimated Values | Y | 2 |  | 1 | 2 |  | 2 | 0 | 0 | 2
TEBUTHIURON | 2001 | 82670GCM35 | 2008-11-13 | 2008-10-01 | 2009-09-30 | ug/L | 2.2179 | Supelco | LB60730 | Supelco LB60730: 25 µl | 0.015781 | TEBUTHIURON | . | 0.02 | 0.035 | MICROGRAMS PER LITER |  |  | < Reporting Level | 2 | Supelco LB60730 | [9 empty] | Y | Recoverable Result | Y | 1 |  | 5 | 1.7347 | 0.36627 | 1.8197 | 0.25743 | 0.19083 | 2
TEBUTHIURON | 2001 | 82670GCM35 | 2009-03-24 | 2008-10-01 | 2009-09-30 | ug/L | 1.8197 | Supelco | LB60730 | Supelco LB60730: 40 µl | 0.026928 | TEBUTHIURON | . | 0.02 | 0.049 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.8197 | Supelco LB60730 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.7347 | 0.36627 | 1.8197 | 0.25743 | 0.19083
TEBUTHIURON | 2001 | 82670GCM35 | 2009-04-23 | 2008-10-01 | 2009-09-30 | ug/L | 1.7426 | Supelco | LB60730 | Supelco LB60730: 25 µl | 0.016068 | TEBUTHIURON | . | 0.02 | 0.028 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.7426 | Supelco LB60730 | [9 empty] | Y | Recoverable Result | Y | 1 |  | 5 | 1.7347 | 0.36627 | 1.8197 | 0.25743 | 0.19083
TEBUTHIURON | 2001 | 82670GCM35 | 2009-07-31 | 2008-10-01 | 2009-09-30 | ug/L | 1.1113 | Supelco | LB60730 | Supelco LB60730: 40 µl | 0.025195 | TEBUTHIURON | . | 0.02 | 0.028 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1113 | Supelco LB60730 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.7347 | 0.36627 | 1.8197 | 0.25743 | 0.19083
TEBUTHIURON | 2001 | 82670GCM35 | 2009-09-10 | 2008-10-01 | 2009-09-30 | ug/L | 2.2407 | Supelco | LB60730 | Supelco LB60730: 25 µl | 0.016067 | TEBUTHIURON | . | 0.02 | 0.036 | MICROGRAMS PER LITER |  |  | < Reporting Level | 2 | Supelco LB60730 | [9 empty] | Y | Recoverable Result | Y | 1 |  | 5 | 1.7347 | 0.36627 | 1.8197 | 0.25743 | 0.19083 | 2
TEBUTHIURON | 2001 | 82670GCM35 | 2011-02-15 | 2010-10-01 | 2050-09-30 | ug/L | 1.5605 | Ultra | CG-2391 | Ultra CG-2391: 50 µl | 0.049344 | TEBUTHIURON | . | 0.028 | 0.077 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.5605 | Ultra CG-2391 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 1.5844 | 0.2981 | 1.53 | 0.55753 | 0.41329
TEBUTHIURON | 2001 | 82670GCM35 | 2011-04-14 | 2010-10-01 | 2050-09-30 | ug/L | 1.8725 | Ultra | CG-2391 | Ultra CG-2391: 50 µl | 0.049826 | TEBUTHIURON | . | 0.028 | 0.0933 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.8725 | Ultra CG-2391 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 1.5844 | 0.2981 | 1.53 | 0.55753 | 0.41329
TEBUTHIURON | 2001 | 82670GCM35 | 2011-05-25 | 2010-10-01 | 2050-09-30 | ug/L | 2.7967 | Ultra | CG-2391 | Ultra CG-2391: 50 µl | 0.049702 | TEBUTHIURON | E | 0.028 | 0.139 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 2 | Ultra CG-2391 | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 1.5844 | 0.2981 | 1.53 | 0.55753 | 0.41329 | 2
TEBUTHIURON | 2001 | 82670GCM35 | 2011-08-03 | 2010-10-01 | 2050-09-30 | ug/L | 1.53 | Ultra | CG-2391 | Ultra CG-2391: 20 µl | 0.02 | TEBUTHIURON | E | 0.028 | 0.0306 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.53 | Ultra CG-2391 | [9 empty] | Y | Estimated Values | Y | 1 |  | 9 | 1.5844 | 0.2981 | 1.53 | 0.55753 | 0.41329
TEBUTHIURON | 2001 | 82670GCM35 | 2011-08-11 | 2010-10-01 | 2050-09-30 | ug/L | 2.02 | Ultra | CG-2391 | Ultra CG-2391: 20 µl | 0.02 | TEBUTHIURON | E | 0.028 | 0.0404 | MICROGRAMS PER LITER |  |  | < Reporting Level | 2 | Ultra CG-2391 | [9 empty] | Y | Estimated Values | Y | 1 |  | 9 | 1.5844 | 0.2981 | 1.53 | 0.55753 | 0.41329 | 2
TEBUTHIURON | 2001 | 82670GCM35 | 2011-09-10 | 2010-10-01 | 2050-09-30 | ug/L | 1.315 | Ultra | CG-2391 | Ultra CG-2391: 20 µl | 0.02 | TEBUTHIURON | E | 0.028 | 0.0263 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.315 | Ultra CG-2391 | [9 empty] | Y | Estimated Values | Y | 1 |  | 9 | 1.5844 | 0.2981 | 1.53 | 0.55753 | 0.41329
TEBUTHIURON | 2001 | 82670GCM35 | 2011-11-03 | 2010-10-01 | 2050-09-30 | ug/L | 1.282 | Ultra | CG-2391 | Ultra CG-2391: 50 µl | 0.05 | TEBUTHIURON | . | 0.028 | 0.0641 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.282 | Ultra CG-2391 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 1.5844 | 0.2981 | 1.53 | 0.55753 | 0.41329
TEBUTHIURON | 2001 | 82670GCM35 | 2011-12-17 | 2010-10-01 | 2050-09-30 | ug/L | 1.3 | Ultra | CG-2391 | Ultra CG-2391: 80 µl | 0.08 | TEBUTHIURON | . | 0.028 | 0.104 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3 | Ultra CG-2391 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 1.5844 | 0.2981 | 1.53 | 0.55753 | 0.41329
TEBUTHIURON | 2001 | 82670GCM35 | 2012-05-04 | 2010-10-01 | 2050-09-30 | ug/L | 1.4 | Ultra | CG-2391 | Ultra CG-2391: 20 µl | 0.02 | TEBUTHIURON | . | 0.028 | 0.028 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.4 | Ultra CG-2391 | [9 empty] | Y | Recoverable Result | Y | 1 |  | 9 | 1.5844 | 0.2981 | 1.53 | 0.55753 | 0.41329