## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
TRI-ALLATE | 2001 | 82678GCM35 | 2010-01-05 | 2009-10-01 | 2010-09-30 | ug/L | 1.3109 | Abs | 090409Pest | Abs 090409Pest: 25 µl | 0.0070182 | TRI-ALLATE | . | 0.006 | 0.0092 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3109 | Abs 090409Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.2042 | 0.15722 | 1.2317 | 0.27764 | 0.20581
TRI-ALLATE | 2001 | 82678GCM35 | 2010-06-18 | 2009-10-01 | 2010-09-30 | ug/L | 1.0332 | Abs | 090409Pest | Abs 090409Pest: 80 µl | 0.021873 | TRI-ALLATE | . | 0.006 | 0.0226 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0332 | Abs 090409Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.2042 | 0.15722 | 1.2317 | 0.27764 | 0.20581
TRI-ALLATE | 2001 | 82678GCM35 | 2010-07-20 | 2009-10-01 | 2010-09-30 | ug/L | 1.3945 | Abs | 090409Pest | Abs 090409Pest: 25 µl | 0.0070274 | TRI-ALLATE | . | 0.006 | 0.0098 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3945 | Abs 090409Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.2042 | 0.15722 | 1.2317 | 0.27764 | 0.20581
TRI-ALLATE | 2001 | 82678GCM35 | 2010-07-21 | 2009-10-01 | 2010-09-30 | ug/L | 1.1527 | Abs | 090409Pest | Abs 090409Pest: 25 µl | 0.0071138 | TRI-ALLATE | . | 0.006 | 0.0082 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1527 | Abs 090409Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.2042 | 0.15722 | 1.2317 | 0.27764 | 0.20581
TRI-ALLATE | 2001 | 82678GCM35 | 2010-08-13 | 2009-10-01 | 2010-09-30 | ug/L | 1.0232 | Abs | 090409Pest | Abs 090409Pest: 80 µl | 0.022185 | TRI-ALLATE | . | 0.006 | 0.0227 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0232 | Abs 090409Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.2042 | 0.15722 | 1.2317 | 0.27764 | 0.20581
TRI-ALLATE | 2001 | 82678GCM35 | 2010-09-22 | 2009-10-01 | 2010-09-30 | ug/L | 1.3107 | Abs | 090409Pest | Abs 090409Pest: 25 µl | 0.007019 | TRI-ALLATE | . | 0.006 | 0.0092 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3107 | Abs 090409Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.2042 | 0.15722 | 1.2317 | 0.27764 | 0.20581
TRI-ALLATE | 2001 | 82678GCM35 | 2012-07-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.79508 | Accu, Abs | 212051201, 052212 | Accu 212051201: 20 µl & Abs 052212: 20 µl | 0.03006 | TRI-ALLATE | . | 0.0046 | 0.0239 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79508 | Ac2121201, Ab052212 | Ac | Ab | Ab | 2121201 | 052212 | 052212 | 2121201 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.82363 | 0.068259 | 0.79508 | 0.12725 | 0.094326
TRI-ALLATE | 2001 | 82678GCM35 | 2012-11-27 | 2010-10-01 | 2050-09-30 | ug/L | 0.90153 | Accu, Abs | 212051201, 052212 | Accu 212051201: 40 µl & Abs 052212: 40 µl | 0.06012 | TRI-ALLATE | . | 0.0046 | 0.0542 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90153 | Ac2121201, Ab052212 | Ac | Ab | Ab | 2121201 | 052212 | 052212 | 2121201 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.82363 | 0.068259 | 0.79508 | 0.12725 | 0.094326
TRI-ALLATE | 2001 | 82678GCM35 | 2013-01-29 | 2010-10-01 | 2050-09-30 | ug/L | 0.77428 | Accu, Abs | 212051201, 052212 | Accu 212051201: 80 µl & Abs 052212: 80 µl | 0.12024 | TRI-ALLATE | . | 0.0046 | 0.0931 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77428 | Ac2121201, Ab052212 | Ac | Ab | Ab | 2121201 | 052212 | 052212 | 2121201 |  |  | Y | Recoverable Result | Y | 2 |  | 3 | 0.82363 | 0.068259 | 0.79508 | 0.12725 | 0.094326
TRI-ALLATE | 2001 | 82678GCM35 | 2013-03-19 | 2010-10-01 | 2050-09-30 | ug/L | 1.2409 | Accu, NSI | 212051201, 062112-01Pest | Accu 212051201: 20 µl & NSI 062112-01Pest: 20 µl | 0.03006 | TRI-ALLATE | . | 0.0046 | 0.0373 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2409 | Ac2121201, NS062Pest | Ac | NS | NS | 2121201 | 062Pest | 062Pest | 2121201 | 062Pest | 062Pest | Y | Recoverable Result | Y | 2 |  | 2 | 1.0945 | 0.207 | 1.0945 | 0.29275 | 0.21701
TRI-ALLATE | 2001 | 82678GCM35 | 2013-05-14 | 2010-10-01 | 2050-09-30 | ug/L | 0.9481 | Accu, NSI | 212051201, 062112-01Pest | Accu 212051201: 40 µl & NSI 062112-01Pest: 40 µl | 0.06012 | TRI-ALLATE | . | 0.0046 | 0.057 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9481 | Ac2121201, NS062Pest | Ac | NS | NS | 2121201 | 062Pest | 062Pest | 2121201 | 062Pest | 062Pest | Y | Recoverable Result | Y | 2 |  | 2 | 1.0945 | 0.207 | 1.0945 | 0.29275 | 0.21701
TRI-ALLATE | 2001 | 82678GCM35 | 2012-09-01 | 2010-10-01 | 2050-09-30 | ug/L | 1.0279 | Accu, Spex Organics | 212051201, T1120530009 | Accu 212051201: 20 µl & Spex Organics T1120530009: 20 µl | 0.03006 | TRI-ALLATE | . | 0.0046 | 0.0309 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0279 | Ac2121201, SpT110009 | Ac | Sp | Sp | 2121201 | T110009 | T110009 | 2121201 | T110009 | T110009 | Y | Recoverable Result | Y | 2 |  | 1 | 1.0279 |  | 1.0279 | 0 | 0
TRI-ALLATE | 2001 | 82678GCM35 | 2013-10-21 | 2010-10-01 | 2050-09-30 | ug/L | 1.2147 | Accu, Abs | 213041078, 041613 | Accu 213041078: 20 µl & Abs 041613: 20 µl | 0.007656 | TRI-ALLATE | . | 0.0046 | 0.0093 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2147 | Ac2131078, Ab041613 | Ac | Ab | Ab | 2131078 | 041613 | 041613 | 2131078 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.2147 |  | 1.2147 | 0 | 0
TRI-ALLATE | 2001 | 82678GCM35 | 2013-05-22 | 2010-10-01 | 2050-09-30 | ug/L | 1.2382 | Accu, NSI | 213041078, 042313Pest | Accu 213041078: 50 µl & NSI 042313Pest: 50 µl | 0.01914 | TRI-ALLATE | . | 0.0046 | 0.0237 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2382 | Ac2131078, NS042Pest | Ac | NS | NS | 2131078 | 042Pest | 042Pest | 2131078 | 042Pest | 042Pest | Y | Recoverable Result | Y | 2 |  | 1 | 1.2382 |  | 1.2382 | 0 | 0
TRI-ALLATE | 2001 | 82678GCM35 | 2012-07-16 | 2010-10-01 | 2050-09-30 | ug/L | 0.7485 | Accu | 212051201 | Accu 212051201: 40 µl | 0.06012 | TRI-ALLATE | . | 0.0046 | 0.045 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7485 | Accu 212051201 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.7485 |  | 0.7485 | 0 | 0
TRI-ALLATE | 2001 | 82678GCM35 | 2013-07-17 | 2010-10-01 | 2050-09-30 | ug/L | 1.2559 | ChemService, ERA | 1466000, 0318-13-02.1 | ChemService 1466000: 50 µl & ERA 0318-13-02.1: 50 µl | 0.01895 | TRI-ALLATE | . | 0.0046 | 0.0238 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2559 | Ch1466000, ER03102.1 | Ch | ER | ER | 1466000 | 03102.1 | 03102.1 |  | 03102.1 | 03102.1 | Y | Recoverable Result | Y | 2 |  | 1 | 1.2559 |  | 1.2559 | 0 | 0
TRI-ALLATE | 2001 | 82678GCM35 | 2008-10-31 | 2004-10-01 | 2009-09-30 | ug/L | 1.1076 | Crescent | 08HH018 | Crescent 08HH018: 25 µl | 0.0099315 | TRI-ALLATE | . | 0.006 | 0.011 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1076 | Crescent 08HH018 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.3721 | 0.38682 | 1.1372 | 0.37635 | 0.27898
TRI-ALLATE | 2001 | 82678GCM35 | 2009-01-20 | 2004-10-01 | 2009-09-30 | ug/L | 1.1196 | Crescent | 08HH018 | Crescent 08HH018: 40 µl | 0.016077 | TRI-ALLATE | . | 0.006 | 0.018 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1196 | Crescent 08HH018 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.3721 | 0.38682 | 1.1372 | 0.37635 | 0.27898
TRI-ALLATE | 2001 | 82678GCM35 | 2009-03-20 | 2004-10-01 | 2009-09-30 | ug/L | 10.8999 | Crescent | 08HH018 | Crescent 08HH018: 25 µl | 0.010092 | TRI-ALLATE | . | 0.006 | 0.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 2 | Crescent 08HH018 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.3721 | 0.38682 | 1.1372 | 0.37635 | 0.27898 | 2
TRI-ALLATE | 2001 | 82678GCM35 | 2009-06-10 | 2004-10-01 | 2009-09-30 | ug/L | 1.4959 | Crescent | 08HH018 | Crescent 08HH018: 25 µl | 0.010027 | TRI-ALLATE | . | 0.006 | 0.015 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4959 | Crescent 08HH018 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.3721 | 0.38682 | 1.1372 | 0.37635 | 0.27898
TRI-ALLATE | 2001 | 82678GCM35 | 2009-08-28 | 2004-10-01 | 2009-09-30 | ug/L | 1.1372 | Crescent | 08HH018 | Crescent 08HH018: 40 µl | 0.015829 | TRI-ALLATE | . | 0.006 | 0.018 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1372 | Crescent 08HH018 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.3721 | 0.38682 | 1.1372 | 0.37635 | 0.27898
TRI-ALLATE | 2001 | 82678GCM35 | 2013-11-26 | 2010-10-01 | 2050-09-30 | ug/L | 1.3061 | ERA, Abs | 0318-13-02.1, 041613 | ERA 0318-13-02.1: 20 µl & Abs 041613: 20 µl | 0.00758 | TRI-ALLATE | . | 0.0046 | 0.0099 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3061 | ER03102.1, Ab041613 | ER | Ab | Ab | 03102.1 | 041613 | 041613 | 03102.1 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.3061 |  | 1.3061 | 0 | 0
TRI-ALLATE | 2001 | 82678GCM35 | 2013-08-01 | 2010-10-01 | 2050-09-30 | ug/L | 1.1636 | ERA, NSI | 0318-13-02.1, 042313Pest | ERA 0318-13-02.1: 100 µl & NSI 042313Pest: 100 µl | 0.0379 | TRI-ALLATE | . | 0.0046 | 0.0441 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1636 | ER03102.1, NS042Pest | ER | NS | NS | 03102.1 | 042Pest | 042Pest | 03102.1 | 042Pest | 042Pest | Y | Recoverable Result | Y | 2 |  | 1 | 1.1636 |  | 1.1636 | 0 | 0
TRI-ALLATE | 2001 | 82678GCM35 | 2012-12-06 | 2010-10-01 | 2050-09-30 | ug/L | 0.9281 | ERA, ChemService | 0507-12-05.1, 348200 | ERA 0507-12-05.1: 20 µl & ChemService 348200: 20 µl | 0.0306 | TRI-ALLATE | . | 0.0046 | 0.0284 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9281 | ER05005.1, Ch348200 | ER | Ch | Ch | 05005.1 | 348200 | 348200 | 05005.1 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.95425 | 0.036973 | 0.95425 | 0.052288 | 0.03876
TRI-ALLATE | 2001 | 82678GCM35 | 2013-05-07 | 2010-10-01 | 2050-09-30 | ug/L | 0.98039 | ERA, ChemService | 0507-12-05.1, 348200 | ERA 0507-12-05.1: 20 µl & ChemService 348200: 20 µl | 0.0306 | TRI-ALLATE | . | 0.0046 | 0.03 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98039 | ER05005.1, Ch348200 | ER | Ch | Ch | 05005.1 | 348200 | 348200 | 05005.1 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.95425 | 0.036973 | 0.95425 | 0.052288 | 0.03876
TRI-ALLATE | 2001 | 82678GCM35 | 2012-09-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.92157 | ERA, NSI | 0507-12-05.1, 062112-01Pest | ERA 0507-12-05.1: 20 µl & NSI 062112-01Pest: 20 µl | 0.0306 | TRI-ALLATE | . | 0.0046 | 0.0282 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92157 | ER05005.1, NS062Pest | ER | NS | NS | 05005.1 | 062Pest | 062Pest | 05005.1 | 062Pest | 062Pest | Y | Recoverable Result | Y | 2 |  | 1 | 0.92157 |  | 0.92157 | 0 | 0
TRI-ALLATE | 2001 | 82678GCM35 | 2012-11-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.89379 | ERA, Spex Organics | 0507-12-05.1, T1120530009 | ERA 0507-12-05.1: 40 µl & Spex Organics T1120530009: 40 µl | 0.0612 | TRI-ALLATE | . | 0.0046 | 0.0547 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89379 | ER05005.1, SpT110009 | ER | Sp | Sp | 05005.1 | T110009 | T110009 | 05005.1 | T110009 | T110009 | Y | Recoverable Result | Y | 2 |  | 2 | 0.96569 | 0.10168 | 0.96569 | 0.14379 | 0.10659
TRI-ALLATE | 2001 | 82678GCM35 | 2013-03-19 | 2010-10-01 | 2050-09-30 | ug/L | 1.0376 | ERA, Spex Organics | 0507-12-05.1, T1120530009 | ERA 0507-12-05.1: 80 µl & Spex Organics T1120530009: 80 µl | 0.1224 | TRI-ALLATE | . | 0.0046 | 0.127 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0376 | ER05005.1, SpT110009 | ER | Sp | Sp | 05005.1 | T110009 | T110009 | 05005.1 | T110009 | T110009 | Y | Recoverable Result | Y | 2 |  | 2 | 0.96569 | 0.10168 | 0.96569 | 0.14379 | 0.10659
TRI-ALLATE | 2001 | 82678GCM35 | 2011-02-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.95589 | NSI | 070810-01 | NSI 070810-01: 20 µl | 0.018203 | TRI-ALLATE | . | 0.0046 | 0.0174 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95589 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.86372 | 0.09838 | 0.84043 | 0.11124 | 0.082462
TRI-ALLATE | 2001 | 82678GCM35 | 2011-03-15 | 2010-10-01 | 2050-09-30 | ug/L | 0.83692 | NSI | 070810-01 | NSI 070810-01: 50 µl | 0.046002 | TRI-ALLATE | . | 0.0046 | 0.0385 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83692 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.86372 | 0.09838 | 0.84043 | 0.11124 | 0.082462
TRI-ALLATE | 2001 | 82678GCM35 | 2011-05-17 | 2010-10-01 | 2050-09-30 | ug/L | 1.0858 | NSI | 070810-01 | NSI 070810-01: 80 µl | 0.075245 | TRI-ALLATE | . | 0.0046 | 0.0817 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0858 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.86372 | 0.09838 | 0.84043 | 0.11124 | 0.082462
TRI-ALLATE | 2001 | 82678GCM35 | 2011-06-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.90273 | NSI | 070810-01 | NSI 070810-01: 20 µl | 0.01861 | TRI-ALLATE | . | 0.0046 | 0.0168 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90273 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.86372 | 0.09838 | 0.84043 | 0.11124 | 0.082462
TRI-ALLATE | 2001 | 82678GCM35 | 2011-08-02 | 2010-10-01 | 2050-09-30 | ug/L | 0.75798 | NSI | 070810-01 | NSI 070810-01: 80 µl | 0.0752 | TRI-ALLATE | . | 0.0046 | 0.057 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75798 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.86372 | 0.09838 | 0.84043 | 0.11124 | 0.082462
TRI-ALLATE | 2001 | 82678GCM35 | 2011-09-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.79149 | NSI | 070810-01 | NSI 070810-01: 50 µl | 0.047 | TRI-ALLATE | . | 0.0046 | 0.0372 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79149 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.86372 | 0.09838 | 0.84043 | 0.11124 | 0.082462
TRI-ALLATE | 2001 | 82678GCM35 | 2011-11-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.76596 | NSI | 070810-01 | NSI 070810-01: 20 µl | 0.0188 | TRI-ALLATE | . | 0.0046 | 0.0144 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76596 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.86372 | 0.09838 | 0.84043 | 0.11124 | 0.082462
TRI-ALLATE | 2001 | 82678GCM35 | 2012-01-21 | 2010-10-01 | 2050-09-30 | ug/L | 0.84043 | NSI | 070810-01 | NSI 070810-01: 80 µl | 0.0752 | TRI-ALLATE | . | 0.0046 | 0.0632 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84043 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.86372 | 0.09838 | 0.84043 | 0.11124 | 0.082462
TRI-ALLATE | 2001 | 82678GCM35 | 2012-05-05 | 2010-10-01 | 2050-09-30 | ug/L | 0.85957 | NSI | 070810-01 | NSI 070810-01: 50 µl | 0.047 | TRI-ALLATE | . | 0.0046 | 0.0404 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85957 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.86372 | 0.09838 | 0.84043 | 0.11124 | 0.082462
TRI-ALLATE | 2001 | 82678GCM35 | 2012-06-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.84043 | NSI | 070810-01 | NSI 070810-01: 50 µl | 0.047 | TRI-ALLATE | . | 0.0046 | 0.0395 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84043 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.86372 | 0.09838 | 0.84043 | 0.11124 | 0.082462
TRI-ALLATE | 2001 | 82678GCM35 | 2008-11-21 | 2004-10-01 | 2009-09-30 | ug/L | 1.3843 | NSI | 081108-01Pest | NSI 081108-01Pest: 40 µl | 0.015892 | TRI-ALLATE | . | 0.006 | 0.022 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3844 | NSI 081108-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.2608 | 0.21373 | 1.33 | 0.16395 | 0.12153
TRI-ALLATE | 2001 | 82678GCM35 | 2009-03-23 | 2004-10-01 | 2009-09-30 | ug/L | 1.4579 | NSI | 081108-01Pest | NSI 081108-01Pest: 25 µl | 0.010974 | TRI-ALLATE | . | 0.006 | 0.016 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4579 | NSI 081108-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.2608 | 0.21373 | 1.33 | 0.16395 | 0.12153
TRI-ALLATE | 2001 | 82678GCM35 | 2009-05-01 | 2004-10-01 | 2009-09-30 | ug/L | 1.33 | NSI | 081108-01Pest | NSI 081108-01Pest: 40 µl | 0.01579 | TRI-ALLATE | . | 0.006 | 0.021 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.33 | NSI 081108-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.2608 | 0.21373 | 1.33 | 0.16395 | 0.12153
TRI-ALLATE | 2001 | 82678GCM35 | 2009-07-30 | 2004-10-01 | 2009-09-30 | ug/L | 1.2204 | NSI | 081108-01Pest | NSI 081108-01Pest: 25 µl | 0.0098328 | TRI-ALLATE | . | 0.006 | 0.012 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2204 | NSI 081108-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.2608 | 0.21373 | 1.33 | 0.16395 | 0.12153
TRI-ALLATE | 2001 | 82678GCM35 | 2009-09-25 | 2004-10-01 | 2009-09-30 | ug/L | 0.91125 | NSI | 081108-01Pest | NSI 081108-01Pest: 25 µl | 0.0098765 | TRI-ALLATE | . | 0.006 | 0.009 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91125 | NSI 081108-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.2608 | 0.21373 | 1.33 | 0.16395 | 0.12153
TRI-ALLATE | 2001 | 82678GCM35 | 2008-05-01 | 2004-10-01 | 2009-09-30 | ug/L | 1.112 | NWQL | PSP3SP140C | NWQL PSP3SP140C: 50 µl | 0.051261 | TRI-ALLATE | . | 0.006 | 0.057 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.112 | NWQL PSP3SP140C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.1485 | 0.13772 | 1.112 | 0.26804 | 0.19869
TRI-ALLATE | 2001 | 82678GCM35 | 2008-06-25 | 2004-10-01 | 2009-09-30 | ug/L | 1.0328 | NWQL | PSP3SP140C | NWQL PSP3SP140C: 50 µl | 0.050347 | TRI-ALLATE | . | 0.006 | 0.052 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0328 | NWQL PSP3SP140C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.1485 | 0.13772 | 1.112 | 0.26804 | 0.19869
TRI-ALLATE | 2001 | 82678GCM35 | 2008-08-19 | 2004-10-01 | 2009-09-30 | ug/L | 1.3009 | NWQL | PSP3SP140C | NWQL PSP3SP140C: 50 µl | 0.049198 | TRI-ALLATE | . | 0.006 | 0.064 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3009 | NWQL PSP3SP140C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.1485 | 0.13772 | 1.112 | 0.26804 | 0.19869
TRI-ALLATE | 2001 | 82678GCM35 | 2009-04-08 | 2004-10-01 | 2009-09-30 | ug/L | 1.1366 | NWQL | PSP3SP140D | NWQL PSP3SP140D: 50 µl | 0.051031 | TRI-ALLATE | . | 0.006 | 0.058 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1366 | NWQL PSP3SP140D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1847 | 0.1361 | 1.2002 | 0.21614 | 0.16022
TRI-ALLATE | 2001 | 82678GCM35 | 2009-04-14 | 2004-10-01 | 2009-09-30 | ug/L | 1.3216 | NWQL | PSP3SP140D | NWQL PSP3SP140D: 50 µl | 0.04994 | TRI-ALLATE | . | 0.006 | 0.066 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3216 | NWQL PSP3SP140D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1847 | 0.1361 | 1.2002 | 0.21614 | 0.16022
TRI-ALLATE | 2001 | 82678GCM35 | 2009-06-24 | 2004-10-01 | 2009-09-30 | ug/L | 1.2639 | NWQL | PSP3SP140D | NWQL PSP3SP140D: 50 µl | 0.049845 | TRI-ALLATE | . | 0.006 | 0.063 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2639 | NWQL PSP3SP140D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1847 | 0.1361 | 1.2002 | 0.21614 | 0.16022
TRI-ALLATE | 2001 | 82678GCM35 | 2009-08-21 | 2004-10-01 | 2009-09-30 | ug/L | 1.0166 | NWQL | PSP3SP140D | NWQL PSP3SP140D: 50 µl | 0.050165 | TRI-ALLATE | . | 0.006 | 0.051 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0166 | NWQL PSP3SP140D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1847 | 0.1361 | 1.2002 | 0.21614 | 0.16022
TRI-ALLATE | 2001 | 82678GCM35 | 2010-06-24 | 2009-10-01 | 2010-09-30 | ug/L | 1.3942 | NWQL | PSP3SP142A | NWQL PSP3SP142A: 40 µl | 0.039809 | TRI-ALLATE | . | 0.006 | 0.0555 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3942 | NWQL PSP3SP142A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.1633 | 0.25043 | 1.1985 | 0.49711 | 0.3685
TRI-ALLATE | 2001 | 82678GCM35 | 2010-07-14 | 2009-10-01 | 2010-09-30 | ug/L | 1.1985 | NWQL | PSP3SP142A | NWQL PSP3SP142A: 40 µl | 0.0408 | TRI-ALLATE | . | 0.006 | 0.0489 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1985 | NWQL PSP3SP142A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.1633 | 0.25043 | 1.1985 | 0.49711 | 0.3685
TRI-ALLATE | 2001 | 82678GCM35 | 2010-07-28 | 2009-10-01 | 2010-09-30 | ug/L | 0.89705 | NWQL | PSP3SP142A | NWQL PSP3SP142A: 40 µl | 0.04002 | TRI-ALLATE | . | 0.006 | 0.0359 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89705 | NWQL PSP3SP142A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.1633 | 0.25043 | 1.1985 | 0.49711 | 0.3685
TRI-ALLATE | 2001 | 82678GCM35 | 2008-02-04 | 2004-10-01 | 2009-09-30 | ug/L | 0.84408 | Protocol | F1070629011 | Protocol F1070629011: 25 µl | 0.15046 | TRI-ALLATE | . | 0.006 | 0.127 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84408 | Protocol F1070629011 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.8826 | 0.069172 | 0.86021 | 0.054064 | 0.040077
TRI-ALLATE | 2001 | 82678GCM35 | 2008-05-01 | 2004-10-01 | 2009-09-30 | ug/L | 0.89636 | Protocol | F1070629011 | Protocol F1070629011: 25 µl | 0.14949 | TRI-ALLATE | . | 0.006 | 0.134 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89636 | Protocol F1070629011 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.8826 | 0.069172 | 0.86021 | 0.054064 | 0.040077
TRI-ALLATE | 2001 | 82678GCM35 | 2008-06-10 | 2004-10-01 | 2009-09-30 | ug/L | 0.8233 | Protocol | F1070629011 | Protocol F1070629011: 25 µl | 0.14819 | TRI-ALLATE | . | 0.006 | 0.122 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8233 | Protocol F1070629011 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.8826 | 0.069172 | 0.86021 | 0.054064 | 0.040077
TRI-ALLATE | 2001 | 82678GCM35 | 2008-07-11 | 2004-10-01 | 2009-09-30 | ug/L | 0.87633 | Protocol | F1070629011 | Protocol F1070629011: 25 µl | 0.1472 | TRI-ALLATE | . | 0.006 | 0.129 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87633 | Protocol F1070629011 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.8826 | 0.069172 | 0.86021 | 0.054064 | 0.040077
TRI-ALLATE | 2001 | 82678GCM35 | 2008-08-21 | 2004-10-01 | 2009-09-30 | ug/L | 1.0133 | Protocol | F1070629011 | Protocol F1070629011: 25 µl | 0.14606 | TRI-ALLATE | . | 0.006 | 0.148 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0133 | Protocol F1070629011 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.8826 | 0.069172 | 0.86021 | 0.054064 | 0.040077
TRI-ALLATE | 2001 | 82678GCM35 | 2008-10-02 | 2004-10-01 | 2009-09-30 | ug/L | 0.8423 | Protocol | F1070629011 | Protocol F1070629011: 25 µl | 0.14959 | TRI-ALLATE | . | 0.006 | 0.126 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8423 | Protocol F1070629011 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.8826 | 0.069172 | 0.86021 | 0.054064 | 0.040077
TRI-ALLATE | 2001 | 82678GCM35 | 2013-08-28 | 2010-10-01 | 2050-09-30 | ug/L | 1.2226 | Spex Organics, Accu | T1130517007, 213041078 | Spex Organics T1130517007: 100 µl & Accu 213041078: 100 µl | 0.03828 | TRI-ALLATE | . | 0.0046 | 0.0468 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2226 | SpT117007, Ac2131078 | Sp | Ac | Ac | T117007 | 2131078 | 2131078 | T117007 | 2131078 | 2131078 | Y | Recoverable Result | Y | 2 |  | 1 | 1.2226 |  | 1.2226 | 0 | 0
TRI-ALLATE | 2001 | 82678GCM35 | 2013-12-18 | 2010-10-01 | 2050-09-30 | ug/L | 1.504 | Spex Organics, ERA | T1130517007, 0318-13-02.1 | Spex Organics T1130517007: 20 µl & ERA 0318-13-02.1: 20 µl | 0.00758 | TRI-ALLATE | . | 0.0046 | 0.0114 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.504 | SpT117007, ER03102.1 | Sp | ER | ER | T117007 | 03102.1 | 03102.1 | T117007 | 03102.1 | 03102.1 | Y | Recoverable Result | Y | 2 |  | 1 | 1.504 |  | 1.504 | 0 | 0
TRI-ALLATE | 2001 | 82678GCM35 | 2011-02-25 | 2010-10-01 | 2050-09-30 | ug/L | 0.86505 | Supelco | LB77170 | Supelco LB77170: 80 µl | 0.075834 | TRI-ALLATE | . | 0.0046 | 0.0656 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86505 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.87717 | 0.096715 | 0.86505 | 0.12752 | 0.094532
TRI-ALLATE | 2001 | 82678GCM35 | 2011-03-23 | 2010-10-01 | 2050-09-30 | ug/L | 0.88167 | Supelco | LB77170 | Supelco LB77170: 20 µl | 0.018941 | TRI-ALLATE | . | 0.0046 | 0.0167 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88168 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.87717 | 0.096715 | 0.86505 | 0.12752 | 0.094532
TRI-ALLATE | 2001 | 82678GCM35 | 2011-06-23 | 2010-10-01 | 2050-09-30 | ug/L | 0.76809 | Supelco | LB77170 | Supelco LB77170: 50 µl | 0.047521 | TRI-ALLATE | . | 0.0046 | 0.0365 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76809 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.87717 | 0.096715 | 0.86505 | 0.12752 | 0.094532
TRI-ALLATE | 2001 | 82678GCM35 | 2011-07-12 | 2010-10-01 | 2050-09-30 | ug/L | 1.0035 | Supelco | LB77170 | Supelco LB77170: 80 µl | 0.075734 | TRI-ALLATE | . | 0.0046 | 0.076 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0035 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.87717 | 0.096715 | 0.86505 | 0.12752 | 0.094532
TRI-ALLATE | 2001 | 82678GCM35 | 2011-08-18 | 2010-10-01 | 2050-09-30 | ug/L | 1.0244 | Supelco | LB77170 | Supelco LB77170: 50 µl | 0.04705 | TRI-ALLATE | . | 0.0046 | 0.0482 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0244 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.87717 | 0.096715 | 0.86505 | 0.12752 | 0.094532
TRI-ALLATE | 2001 | 82678GCM35 | 2011-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.80765 | Supelco | LB77170 | Supelco LB77170: 20 µl | 0.01882 | TRI-ALLATE | . | 0.0046 | 0.0152 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80765 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.87717 | 0.096715 | 0.86505 | 0.12752 | 0.094532
TRI-ALLATE | 2001 | 82678GCM35 | 2011-12-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.74814 | Supelco | LB77170 | Supelco LB77170: 50 µl | 0.04705 | TRI-ALLATE | . | 0.0046 | 0.0352 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74814 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.87717 | 0.096715 | 0.86505 | 0.12752 | 0.094532
TRI-ALLATE | 2001 | 82678GCM35 | 2012-02-23 | 2010-10-01 | 2050-09-30 | ug/L | 0.86079 | Supelco | LB77170 | Supelco LB77170: 20 µl | 0.01882 | TRI-ALLATE | . | 0.0046 | 0.0162 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86079 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.87717 | 0.096715 | 0.86505 | 0.12752 | 0.094532
TRI-ALLATE | 2001 | 82678GCM35 | 2012-05-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.93518 | Supelco | LB77170 | Supelco LB77170: 20 µl | 0.01882 | TRI-ALLATE | . | 0.0046 | 0.0176 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93518 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.87717 | 0.096715 | 0.86505 | 0.12752 | 0.094532