## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
TRIFLURALIN | 2001 | 82661GCM35 | 2013-12-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.72692 | Abs, ChemService | 041613, 1466000 | Abs 041613: 50 µl & ChemService 1466000: 50 µl | 0.13 | TRIFLURALIN | . | 0.018 | 0.0945 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72692 | Ab041613, Ch1466000 | Ab | Ch | Ch | 041613 | 1466000 | 1466000 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.72692 |  | 0.72692 | 0 | 0
TRIFLURALIN | 2001 | 82661GCM35 | 2013-08-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.91923 | Abs, Spex Organics | 041613, T1130517007 | Abs 041613: 20 µl & Spex Organics T1130517007: 20 µl | 0.052 | TRIFLURALIN | . | 0.018 | 0.0478 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91923 | Ab041613, SpT117007 | Ab | Sp | Sp | 041613 | T117007 | T117007 |  | T117007 | T117007 | Y | Recoverable Result | Y | 2 |  | 1 | 0.91923 |  | 0.91923 | 0 | 0
TRIFLURALIN | 2001 | 82661GCM35 | 2012-08-05 | 2010-10-01 | 2050-09-30 | ug/L | 0.47167 | Abs, ChemService | 052212, 348200 | Abs 052212: 20 µl & ChemService 348200: 20 µl | 0.06 | TRIFLURALIN | . | 0.018 | 0.0283 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.47167 | Ab052212, Ch348200 | Ab | Ch | Ch | 052212 | 348200 | 348200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.47167 |  | 0.47167 | 0 | 0
TRIFLURALIN | 2001 | 82661GCM35 | 2013-04-03 | 2010-10-01 | 2050-09-30 | ug/L | 0.68667 | Abs, Spex Organics | 052212, T1120530009 | Abs 052212: 40 µl & Spex Organics T1120530009: 40 µl | 0.12 | TRIFLURALIN | . | 0.018 | 0.0824 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68667 | Ab052212, SpT110009 | Ab | Sp | Sp | 052212 | T110009 | T110009 |  | T110009 | T110009 | Y | Recoverable Result | Y | 2 |  | 1 | 0.68667 |  | 0.68667 | 0 | 0
TRIFLURALIN | 2001 | 82661GCM35 | 2010-01-05 | 2009-10-01 | 2010-09-30 | ug/L | 1.0728 | Abs | 090409Pest | Abs 090409Pest: 25 µl | 0.029828 | TRIFLURALIN | . | 0.018 | 0.032 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0728 | Abs 090409Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.9605 | 0.16037 | 0.97743 | 0.23699 | 0.17568
TRIFLURALIN | 2001 | 82661GCM35 | 2010-06-18 | 2009-10-01 | 2010-09-30 | ug/L | 0.83585 | Abs | 090409Pest | Abs 090409Pest: 80 µl | 0.09296 | TRIFLURALIN | . | 0.018 | 0.0777 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83585 | Abs 090409Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.9605 | 0.16037 | 0.97743 | 0.23699 | 0.17568
TRIFLURALIN | 2001 | 82661GCM35 | 2010-07-20 | 2009-10-01 | 2010-09-30 | ug/L | 1.1719 | Abs | 090409Pest | Abs 090409Pest: 25 µl | 0.029867 | TRIFLURALIN | . | 0.018 | 0.035 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1719 | Abs 090409Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.9605 | 0.16037 | 0.97743 | 0.23699 | 0.17568
TRIFLURALIN | 2001 | 82661GCM35 | 2010-07-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.95589 | Abs | 090409Pest | Abs 090409Pest: 25 µl | 0.030234 | TRIFLURALIN | . | 0.018 | 0.0289 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95589 | Abs 090409Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.9605 | 0.16037 | 0.97743 | 0.23699 | 0.17568
TRIFLURALIN | 2001 | 82661GCM35 | 2010-08-13 | 2009-10-01 | 2010-09-30 | ug/L | 0.72758 | Abs | 090409Pest | Abs 090409Pest: 80 µl | 0.094285 | TRIFLURALIN | . | 0.018 | 0.0686 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72758 | Abs 090409Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.9605 | 0.16037 | 0.97743 | 0.23699 | 0.17568
TRIFLURALIN | 2001 | 82661GCM35 | 2010-09-22 | 2009-10-01 | 2010-09-30 | ug/L | 0.99898 | Abs | 090409Pest | Abs 090409Pest: 25 µl | 0.02983 | TRIFLURALIN | . | 0.018 | 0.0298 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99898 | Abs 090409Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.9605 | 0.16037 | 0.97743 | 0.23699 | 0.17568
TRIFLURALIN | 2001 | 82661GCM35 | 2012-09-01 | 2010-10-01 | 2050-09-30 | ug/L | 0.94667 | Accu, Spex Organics | 212051201, T1120530009 | Accu 212051201: 20 µl & Spex Organics T1120530009: 20 µl | 0.06 | TRIFLURALIN | . | 0.018 | 0.0568 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94667 | Ac2121201, SpT110009 | Ac | Sp | Sp | 2121201 | T110009 | T110009 | 2121201 | T110009 | T110009 | Y | Recoverable Result | Y | 2 |  | 1 | 0.94667 |  | 0.94667 | 0 | 0
TRIFLURALIN | 2001 | 82661GCM35 | 2013-07-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.61769 | ChemService, ERA | 1466000, 0318-13-02.1 | ChemService 1466000: 50 µl & ERA 0318-13-02.1: 50 µl | 0.13 | TRIFLURALIN | . | 0.018 | 0.0803 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61769 | Ch1466000, ER03102.1 | Ch | ER | ER | 1466000 | 03102.1 | 03102.1 |  | 03102.1 | 03102.1 | Y | Recoverable Result | Y | 2 |  | 1 | 0.61769 |  | 0.61769 | 0 | 0
TRIFLURALIN | 2001 | 82661GCM35 | 2013-06-13 | 2010-10-01 | 2050-09-30 | ug/L | 0.67154 | ChemService, NSI | 1466000, 042313Pest | ChemService 1466000: 50 µl & NSI 042313Pest: 50 µl | 0.13 | TRIFLURALIN | . | 0.018 | 0.0873 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67154 | Ch1466000, NS042Pest | Ch | NS | NS | 1466000 | 042Pest | 042Pest |  | 042Pest | 042Pest | Y | Recoverable Result | Y | 2 |  | 1 | 0.67154 |  | 0.67154 | 0 | 0
TRIFLURALIN | 2001 | 82661GCM35 | 2008-10-31 | 2008-10-01 | 2009-09-30 | ug/L | 0.71796 | Crescent | 08HH018 | Crescent 08HH018: 25 µl | 0.057106 | TRIFLURALIN | . | 0.012 | 0.041 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71796 | Crescent 08HH018 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.97071 | 0.43813 | 0.74711 | 0.19102 | 0.1416
TRIFLURALIN | 2001 | 82661GCM35 | 2009-01-20 | 2008-10-01 | 2009-09-30 | ug/L | 0.91948 | Crescent | 08HH018 | Crescent 08HH018: 40 µl | 0.092444 | TRIFLURALIN | . | 0.012 | 0.085 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91948 | Crescent 08HH018 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.97071 | 0.43813 | 0.74711 | 0.19102 | 0.1416
TRIFLURALIN | 2001 | 82661GCM35 | 2009-03-20 | 2008-10-01 | 2009-09-30 | ug/L | 1.7405 | Crescent | 08HH018 | Crescent 08HH018: 25 µl | 0.058028 | TRIFLURALIN | . | 0.012 | 0.101 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.7405 | Crescent 08HH018 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.97071 | 0.43813 | 0.74711 | 0.19102 | 0.1416
TRIFLURALIN | 2001 | 82661GCM35 | 2009-06-10 | 2008-10-01 | 2009-09-30 | ug/L | 0.72846 | Crescent | 08HH018 | Crescent 08HH018: 25 µl | 0.057656 | TRIFLURALIN | . | 0.012 | 0.042 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72846 | Crescent 08HH018 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.97071 | 0.43813 | 0.74711 | 0.19102 | 0.1416
TRIFLURALIN | 2001 | 82661GCM35 | 2009-08-28 | 2008-10-01 | 2009-09-30 | ug/L | 0.74711 | Crescent | 08HH018 | Crescent 08HH018: 40 µl | 0.091017 | TRIFLURALIN | . | 0.012 | 0.068 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74711 | Crescent 08HH018 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.97071 | 0.43813 | 0.74711 | 0.19102 | 0.1416
TRIFLURALIN | 2001 | 82661GCM35 | 2012-12-06 | 2010-10-01 | 2050-09-30 | ug/L | 0.48 | ERA, ChemService | 0507-12-05.1, 348200 | ERA 0507-12-05.1: 20 µl & ChemService 348200: 20 µl | 0.06 | TRIFLURALIN | . | 0.018 | 0.0288 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.48 | ER05005.1, Ch348200 | ER | Ch | Ch | 05005.1 | 348200 | 348200 | 05005.1 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.44333 | 0.051854 | 0.44333 | 0.073333 | 0.054361
TRIFLURALIN | 2001 | 82661GCM35 | 2013-05-07 | 2010-10-01 | 2050-09-30 | ug/L | 0.40667 | ERA, ChemService | 0507-12-05.1, 348200 | ERA 0507-12-05.1: 20 µl & ChemService 348200: 20 µl | 0.06 | TRIFLURALIN | . | 0.018 | 0.0244 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.40667 | ER05005.1, Ch348200 | ER | Ch | Ch | 05005.1 | 348200 | 348200 | 05005.1 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.44333 | 0.051854 | 0.44333 | 0.073333 | 0.054361
TRIFLURALIN | 2001 | 82661GCM35 | 2012-11-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.73083 | ERA, Spex Organics | 0507-12-05.1, T1120530009 | ERA 0507-12-05.1: 40 µl & Spex Organics T1120530009: 40 µl | 0.12 | TRIFLURALIN | . | 0.018 | 0.0877 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73083 | ER05005.1, SpT110009 | ER | Sp | Sp | 05005.1 | T110009 | T110009 | 05005.1 | T110009 | T110009 | Y | Recoverable Result | Y | 2 |  | 2 | 0.68208 | 0.068943 | 0.68208 | 0.0975 | 0.072276
TRIFLURALIN | 2001 | 82661GCM35 | 2013-03-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.63333 | ERA, Spex Organics | 0507-12-05.1, T1120530009 | ERA 0507-12-05.1: 80 µl & Spex Organics T1120530009: 80 µl | 0.24 | TRIFLURALIN | . | 0.018 | 0.152 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63333 | ER05005.1, SpT110009 | ER | Sp | Sp | 05005.1 | T110009 | T110009 | 05005.1 | T110009 | T110009 | Y | Recoverable Result | Y | 2 |  | 2 | 0.68208 | 0.068943 | 0.68208 | 0.0975 | 0.072276
TRIFLURALIN | 2001 | 82661GCM35 | 2012-09-25 | 2010-10-01 | 2050-09-30 | ug/L | 0.385 | NSI, ChemService | 062112-01Pest, 348200 | NSI 062112-01Pest: 40 µl & ChemService 348200: 40 µl | 0.12 | TRIFLURALIN | . | 0.018 | 0.0462 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.385 | NS062Pest, Ch348200 | NS | Ch | Ch | 062Pest | 348200 | 348200 | 062Pest |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.34958 | 0.050087 | 0.34958 | 0.070833 | 0.052508
TRIFLURALIN | 2001 | 82661GCM35 | 2013-03-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.31417 | NSI, ChemService | 062112-01Pest, 348200 | NSI 062112-01Pest: 80 µl & ChemService 348200: 80 µl | 0.24 | TRIFLURALIN | . | 0.018 | 0.0754 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.31417 | NS062Pest, Ch348200 | NS | Ch | Ch | 062Pest | 348200 | 348200 | 062Pest |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.34958 | 0.050087 | 0.34958 | 0.070833 | 0.052508
TRIFLURALIN | 2001 | 82661GCM35 | 2012-11-28 | 2010-10-01 | 2050-09-30 | ug/L | 0.83167 | NSI, Spex Organics | 062112-01Pest, T1120530009 | NSI 062112-01Pest: 20 µl & Spex Organics T1120530009: 20 µl | 0.06 | TRIFLURALIN | . | 0.018 | 0.0499 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83167 | NS062Pest, SpT110009 | NS | Sp | Sp | 062Pest | T110009 | T110009 | 062Pest | T110009 | T110009 | Y | Recoverable Result | Y | 2 |  | 1 | 0.83167 |  | 0.83167 | 0 | 0
TRIFLURALIN | 2001 | 82661GCM35 | 2011-02-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.93598 | NSI | 070810-01 | NSI 070810-01: 20 µl | 0.077459 | TRIFLURALIN | . | 0.018 | 0.0725 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93598 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.72907 | 0.096244 | 0.71853 | 0.10875 | 0.080615
TRIFLURALIN | 2001 | 82661GCM35 | 2011-03-15 | 2010-10-01 | 2050-09-30 | ug/L | 0.67943 | NSI | 070810-01 | NSI 070810-01: 50 µl | 0.19575 | TRIFLURALIN | . | 0.018 | 0.133 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67943 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.72907 | 0.096244 | 0.71853 | 0.10875 | 0.080615
TRIFLURALIN | 2001 | 82661GCM35 | 2011-05-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.74018 | NSI | 070810-01 | NSI 070810-01: 80 µl | 0.32019 | TRIFLURALIN | . | 0.018 | 0.237 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74018 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.72907 | 0.096244 | 0.71853 | 0.10875 | 0.080615
TRIFLURALIN | 2001 | 82661GCM35 | 2011-06-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.81952 | NSI | 070810-01 | NSI 070810-01: 20 µl | 0.079192 | TRIFLURALIN | . | 0.018 | 0.0649 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81953 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.72907 | 0.096244 | 0.71853 | 0.10875 | 0.080615
TRIFLURALIN | 2001 | 82661GCM35 | 2011-08-02 | 2010-10-01 | 2050-09-30 | ug/L | 0.65 | NSI | 070810-01 | NSI 070810-01: 80 µl | 0.32 | TRIFLURALIN | . | 0.018 | 0.208 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.72907 | 0.096244 | 0.71853 | 0.10875 | 0.080615
TRIFLURALIN | 2001 | 82661GCM35 | 2011-09-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.755 | NSI | 070810-01 | NSI 070810-01: 50 µl | 0.2 | TRIFLURALIN | . | 0.018 | 0.151 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.755 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.72907 | 0.096244 | 0.71853 | 0.10875 | 0.080615
TRIFLURALIN | 2001 | 82661GCM35 | 2011-11-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.75875 | NSI | 070810-01 | NSI 070810-01: 20 µl | 0.08 | TRIFLURALIN | . | 0.018 | 0.0607 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75875 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.72907 | 0.096244 | 0.71853 | 0.10875 | 0.080615
TRIFLURALIN | 2001 | 82661GCM35 | 2012-01-21 | 2010-10-01 | 2050-09-30 | ug/L | 0.69688 | NSI | 070810-01 | NSI 070810-01: 80 µl | 0.32 | TRIFLURALIN | . | 0.018 | 0.223 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69688 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.72907 | 0.096244 | 0.71853 | 0.10875 | 0.080615
TRIFLURALIN | 2001 | 82661GCM35 | 2012-05-05 | 2010-10-01 | 2050-09-30 | ug/L | 0.64 | NSI | 070810-01 | NSI 070810-01: 50 µl | 0.2 | TRIFLURALIN | . | 0.018 | 0.128 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.72907 | 0.096244 | 0.71853 | 0.10875 | 0.080615
TRIFLURALIN | 2001 | 82661GCM35 | 2012-06-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.615 | NSI | 070810-01 | NSI 070810-01: 50 µl | 0.2 | TRIFLURALIN | . | 0.018 | 0.123 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.615 | NSI 070810-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.72907 | 0.096244 | 0.71853 | 0.10875 | 0.080615
TRIFLURALIN | 2001 | 82661GCM35 | 2008-11-21 | 2008-10-01 | 2009-09-30 | ug/L | 1.0662 | NSI | 081108-01Pest | NSI 081108-01Pest: 40 µl | 0.090981 | TRIFLURALIN | . | 0.012 | 0.097 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0662 | NSI 081108-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.85459 | 0.21589 | 0.78162 | 0.35817 | 0.26551
TRIFLURALIN | 2001 | 82661GCM35 | 2009-03-23 | 2008-10-01 | 2009-09-30 | ug/L | 1.0982 | NSI | 081108-01Pest | NSI 081108-01Pest: 25 µl | 0.062829 | TRIFLURALIN | . | 0.012 | 0.069 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0982 | NSI 081108-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.85459 | 0.21589 | 0.78162 | 0.35817 | 0.26551
TRIFLURALIN | 2001 | 82661GCM35 | 2009-05-01 | 2008-10-01 | 2009-09-30 | ug/L | 0.70798 | NSI | 081108-01Pest | NSI 081108-01Pest: 40 µl | 0.090398 | TRIFLURALIN | . | 0.012 | 0.064 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70798 | NSI 081108-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.85459 | 0.21589 | 0.78162 | 0.35817 | 0.26551
TRIFLURALIN | 2001 | 82661GCM35 | 2009-07-30 | 2008-10-01 | 2009-09-30 | ug/L | 0.78162 | NSI | 081108-01Pest | NSI 081108-01Pest: 25 µl | 0.056293 | TRIFLURALIN | . | 0.012 | 0.044 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78162 | NSI 081108-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.85459 | 0.21589 | 0.78162 | 0.35817 | 0.26551
TRIFLURALIN | 2001 | 82661GCM35 | 2009-09-25 | 2008-10-01 | 2009-09-30 | ug/L | 0.619 | NSI | 081108-01Pest | NSI 081108-01Pest: 25 µl | 0.056543 | TRIFLURALIN | . | 0.012 | 0.035 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.619 | NSI 081108-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.85459 | 0.21589 | 0.78162 | 0.35817 | 0.26551
TRIFLURALIN | 2001 | 82661GCM35 | 2008-05-01 | 2007-10-01 | 2008-09-30 | ug/L | 0.91688 | NWQL | PSP3SP140C | NWQL PSP3SP140C: 50 µl | 0.051261 | TRIFLURALIN | . | 0.006 | 0.047 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91688 | NWQL PSP3SP140C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.87596 | 0.14487 | 0.91688 | 0.28094 | 0.20826
TRIFLURALIN | 2001 | 82661GCM35 | 2008-06-25 | 2007-10-01 | 2008-09-30 | ug/L | 0.71503 | NWQL | PSP3SP140C | NWQL PSP3SP140C: 50 µl | 0.050347 | TRIFLURALIN | . | 0.006 | 0.036 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71503 | NWQL PSP3SP140C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.87596 | 0.14487 | 0.91688 | 0.28094 | 0.20826
TRIFLURALIN | 2001 | 82661GCM35 | 2008-08-19 | 2007-10-01 | 2008-09-30 | ug/L | 0.99597 | NWQL | PSP3SP140C | NWQL PSP3SP140C: 50 µl | 0.049198 | TRIFLURALIN | . | 0.006 | 0.049 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99597 | NWQL PSP3SP140C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.87596 | 0.14487 | 0.91688 | 0.28094 | 0.20826
TRIFLURALIN | 2001 | 82661GCM35 | 2009-04-08 | 2008-10-01 | 2009-09-30 | ug/L | 0.88182 | NWQL | PSP3SP140D | NWQL PSP3SP140D: 50 µl | 0.051031 | TRIFLURALIN | . | 0.012 | 0.045 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88182 | NWQL PSP3SP140D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.86065 | 0.16834 | 0.83959 | 0.24182 | 0.17926
TRIFLURALIN | 2001 | 82661GCM35 | 2009-04-14 | 2008-10-01 | 2009-09-30 | ug/L | 1.0813 | NWQL | PSP3SP140D | NWQL PSP3SP140D: 50 µl | 0.04994 | TRIFLURALIN | . | 0.012 | 0.054 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0813 | NWQL PSP3SP140D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.86065 | 0.16834 | 0.83959 | 0.24182 | 0.17926
TRIFLURALIN | 2001 | 82661GCM35 | 2009-06-24 | 2008-10-01 | 2009-09-30 | ug/L | 0.68211 | NWQL | PSP3SP140D | NWQL PSP3SP140D: 50 µl | 0.049845 | TRIFLURALIN | . | 0.012 | 0.034 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68211 | NWQL PSP3SP140D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.86065 | 0.16834 | 0.83959 | 0.24182 | 0.17926
TRIFLURALIN | 2001 | 82661GCM35 | 2009-08-21 | 2008-10-01 | 2009-09-30 | ug/L | 0.79736 | NWQL | PSP3SP140D | NWQL PSP3SP140D: 50 µl | 0.050165 | TRIFLURALIN | . | 0.012 | 0.04 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79736 | NWQL PSP3SP140D | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.86065 | 0.16834 | 0.83959 | 0.24182 | 0.17926
TRIFLURALIN | 2001 | 82661GCM35 | 2010-06-24 | 2009-10-01 | 2010-09-30 | ug/L | 1.2711 | NWQL | PSP3SP142A | NWQL PSP3SP142A: 40 µl | 0.039809 | TRIFLURALIN | . | 0.018 | 0.0506 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2711 | NWQL PSP3SP142A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.086 | 0.21208 | 1.1324 | 0.4165 | 0.30875
TRIFLURALIN | 2001 | 82661GCM35 | 2010-07-14 | 2009-10-01 | 2010-09-30 | ug/L | 1.1324 | NWQL | PSP3SP142A | NWQL PSP3SP142A: 40 µl | 0.0408 | TRIFLURALIN | . | 0.018 | 0.0462 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1324 | NWQL PSP3SP142A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.086 | 0.21208 | 1.1324 | 0.4165 | 0.30875
TRIFLURALIN | 2001 | 82661GCM35 | 2010-07-28 | 2009-10-01 | 2010-09-30 | ug/L | 0.85457 | NWQL | PSP3SP142A | NWQL PSP3SP142A: 40 µl | 0.04002 | TRIFLURALIN | . | 0.018 | 0.0342 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85457 | NWQL PSP3SP142A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.086 | 0.21208 | 1.1324 | 0.4165 | 0.30875
TRIFLURALIN | 2001 | 82661GCM35 | 2008-02-04 | 2007-10-01 | 2008-09-30 | ug/L | 0.90913 | Protocol | F1070629011 | Protocol F1070629011: 25 µl | 0.015399 | TRIFLURALIN | . | 0.006 | 0.014 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90913 | Protocol F1070629011 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0978 | 0.15324 | 1.0781 | 0.20571 | 0.15249
TRIFLURALIN | 2001 | 82661GCM35 | 2008-05-01 | 2007-10-01 | 2008-09-30 | ug/L | 1.1111 | Protocol | F1070629011 | Protocol F1070629011: 25 µl | 0.015301 | TRIFLURALIN | . | 0.006 | 0.017 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1111 | Protocol F1070629011 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0978 | 0.15324 | 1.0781 | 0.20571 | 0.15249
TRIFLURALIN | 2001 | 82661GCM35 | 2008-06-10 | 2007-10-01 | 2008-09-30 | ug/L | 0.98902 | Protocol | F1070629011 | Protocol F1070629011: 25 µl | 0.015167 | TRIFLURALIN | . | 0.006 | 0.015 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98902 | Protocol F1070629011 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0978 | 0.15324 | 1.0781 | 0.20571 | 0.15249
TRIFLURALIN | 2001 | 82661GCM35 | 2008-07-11 | 2007-10-01 | 2008-09-30 | ug/L | 1.1947 | Protocol | F1070629011 | Protocol F1070629011: 25 µl | 0.015066 | TRIFLURALIN | . | 0.006 | 0.018 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1947 | Protocol F1070629011 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0978 | 0.15324 | 1.0781 | 0.20571 | 0.15249
TRIFLURALIN | 2001 | 82661GCM35 | 2008-08-21 | 2007-10-01 | 2008-09-30 | ug/L | 1.3378 | Protocol | F1070629011 | Protocol F1070629011: 25 µl | 0.014949 | TRIFLURALIN | . | 0.006 | 0.02 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3378 | Protocol F1070629011 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0978 | 0.15324 | 1.0781 | 0.20571 | 0.15249
TRIFLURALIN | 2001 | 82661GCM35 | 2008-10-02 | 2008-10-01 | 2009-09-30 | ug/L | 1.045 | Protocol | F1070629011 | Protocol F1070629011: 25 µl | 0.015311 | TRIFLURALIN | . | 0.012 | 0.016 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.045 | Protocol F1070629011 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0978 | 0.15324 | 1.0781 | 0.20571 | 0.15249
TRIFLURALIN | 2001 | 82661GCM35 | 2013-08-28 | 2010-10-01 | 2050-09-30 | ug/L | 0.56538 | Spex Organics, Accu | T1130517007, 213041078 | Spex Organics T1130517007: 100 µl & Accu 213041078: 100 µl | 0.26 | TRIFLURALIN | . | 0.018 | 0.147 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56538 | SpT117007, Ac2131078 | Sp | Ac | Ac | T117007 | 2131078 | 2131078 | T117007 | 2131078 | 2131078 | Y | Recoverable Result | Y | 2 |  | 1 | 0.56538 |  | 0.56538 | 0 | 0
TRIFLURALIN | 2001 | 82661GCM35 | 2013-12-18 | 2010-10-01 | 2050-09-30 | ug/L | 1.0019 | Spex Organics, ERA | T1130517007, 0318-13-02.1 | Spex Organics T1130517007: 20 µl & ERA 0318-13-02.1: 20 µl | 0.052 | TRIFLURALIN | . | 0.018 | 0.0521 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0019 | SpT117007, ER03102.1 | Sp | ER | ER | T117007 | 03102.1 | 03102.1 | T117007 | 03102.1 | 03102.1 | Y | Recoverable Result | Y | 2 |  | 1 | 1.0019 |  | 1.0019 | 0 | 0
TRIFLURALIN | 2001 | 82661GCM35 | 2011-02-25 | 2010-10-01 | 2050-09-30 | ug/L | 0.76685 | Supelco | LB77170 | Supelco LB77170: 80 µl | 0.3234 | TRIFLURALIN | . | 0.018 | 0.248 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76685 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.72654 | 0.084478 | 0.7338 | 0.067281 | 0.049875
TRIFLURALIN | 2001 | 82661GCM35 | 2011-03-23 | 2010-10-01 | 2050-09-30 | ug/L | 0.73536 | Supelco | LB77170 | Supelco LB77170: 20 µl | 0.080777 | TRIFLURALIN | . | 0.018 | 0.0594 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73536 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.72654 | 0.084478 | 0.7338 | 0.067281 | 0.049875
TRIFLURALIN | 2001 | 82661GCM35 | 2011-06-23 | 2010-10-01 | 2050-09-30 | ug/L | 0.56746 | Supelco | LB77170 | Supelco LB77170: 50 µl | 0.20266 | TRIFLURALIN | E | 0.018 | 0.115 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56746 | Supelco LB77170 | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 0.72654 | 0.084478 | 0.7338 | 0.067281 | 0.049875
TRIFLURALIN | 2001 | 82661GCM35 | 2011-07-12 | 2010-10-01 | 2050-09-30 | ug/L | 0.7338 | Supelco | LB77170 | Supelco LB77170: 80 µl | 0.32298 | TRIFLURALIN | . | 0.018 | 0.237 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7338 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.72654 | 0.084478 | 0.7338 | 0.067281 | 0.049875
TRIFLURALIN | 2001 | 82661GCM35 | 2011-08-18 | 2010-10-01 | 2050-09-30 | ug/L | 0.88712 | Supelco | LB77170 | Supelco LB77170: 50 µl | 0.20065 | TRIFLURALIN | . | 0.018 | 0.178 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88712 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.72654 | 0.084478 | 0.7338 | 0.067281 | 0.049875
TRIFLURALIN | 2001 | 82661GCM35 | 2011-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.76252 | Supelco | LB77170 | Supelco LB77170: 20 µl | 0.08026 | TRIFLURALIN | . | 0.018 | 0.0612 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76252 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.72654 | 0.084478 | 0.7338 | 0.067281 | 0.049875
TRIFLURALIN | 2001 | 82661GCM35 | 2011-12-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.69275 | Supelco | LB77170 | Supelco LB77170: 50 µl | 0.20065 | TRIFLURALIN | E | 0.018 | 0.139 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69275 | Supelco LB77170 | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 0.72654 | 0.084478 | 0.7338 | 0.067281 | 0.049875
TRIFLURALIN | 2001 | 82661GCM35 | 2012-02-23 | 2010-10-01 | 2050-09-30 | ug/L | 0.69773 | Supelco | LB77170 | Supelco LB77170: 20 µl | 0.08026 | TRIFLURALIN | E | 0.018 | 0.056 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69773 | Supelco LB77170 | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 0.72654 | 0.084478 | 0.7338 | 0.067281 | 0.049875
TRIFLURALIN | 2001 | 82661GCM35 | 2012-05-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.69524 | Supelco | LB77170 | Supelco LB77170: 20 µl | 0.08026 | TRIFLURALIN | . | 0.018 | 0.0558 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69524 | Supelco LB77170 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.72654 | 0.084478 | 0.7338 | 0.067281 | 0.049875