## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
1,1,2-TRICHLOROETHANE | 2021 | 34511GCM66 | 2009-01-27 | 2007-10-01 | 2009-09-30 | ug/L | 0.96875 | Abs | 080408VOC | Abs 080408VOC: 40 µl | 0.16 | 1,1,2-TRICHLOROETHANE | . | 0.06 | 0.155 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96875 | Abs 080408VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.126 | 0.1005 | 1.1437 | 0.15 | 0.11119
1,1,2-TRICHLOROETHANE | 2021 | 34511GCM66 | 2009-03-14 | 2007-10-01 | 2009-09-30 | ug/L | 1.1875 | Abs | 080408VOC | Abs 080408VOC: 20 µl | 0.08 | 1,1,2-TRICHLOROETHANE | E | 0.06 | 0.095 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1875 | Abs 080408VOC | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 1.126 | 0.1005 | 1.1437 | 0.15 | 0.11119
1,1,2-TRICHLOROETHANE | 2021 | 34511GCM66 | 2009-04-21 | 2007-10-01 | 2009-09-30 | ug/L | 1.225 | Abs | 080408VOC | Abs 080408VOC: 40 µl | 0.16 | 1,1,2-TRICHLOROETHANE | . | 0.06 | 0.196 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.225 | Abs 080408VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.126 | 0.1005 | 1.1437 | 0.15 | 0.11119
1,1,2-TRICHLOROETHANE | 2021 | 34511GCM66 | 2009-06-09 | 2007-10-01 | 2009-09-30 | ug/L | 1.2125 | Abs | 080408VOC | Abs 080408VOC: 20 µl | 0.08 | 1,1,2-TRICHLOROETHANE | E | 0.06 | 0.097 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2125 | Abs 080408VOC | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 1.126 | 0.1005 | 1.1437 | 0.15 | 0.11119
1,1,2-TRICHLOROETHANE | 2021 | 34511GCM66 | 2009-07-17 | 2007-10-01 | 2009-09-30 | ug/L | 1.1 | Abs | 080408VOC | Abs 080408VOC: 20 µl | 0.08 | 1,1,2-TRICHLOROETHANE | E | 0.06 | 0.088 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1 | Abs 080408VOC | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 1.126 | 0.1005 | 1.1437 | 0.15 | 0.11119
1,1,2-TRICHLOROETHANE | 2021 | 34511GCM66 | 2009-08-29 | 2007-10-01 | 2009-09-30 | ug/L | 1.0625 | Abs | 080408VOC | Abs 080408VOC: 20 µl | 0.08 | 1,1,2-TRICHLOROETHANE | E | 0.06 | 0.085 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0625 | Abs 080408VOC | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 1.126 | 0.1005 | 1.1437 | 0.15 | 0.11119
1,1,2-TRICHLOROETHANE | 2021 | 34511GCM66 | 2013-01-19 | 2011-10-01 | 2050-09-30 | ug/L | 1.0299 | Accu, Abs | 212051193, 051712 | Accu 212051193: 40 µl & Abs 051712: 40 µl | 1.9904 | 1,1,2-TRICHLOROETHANE | . | 0.046 | 2.05 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0299 | Ac2121193, Ab051712 | Ac | Ab | Ab | 2121193 | 051712 | 051712 | 2121193 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.0299 |  | 1.0299 | 0 | 0
1,1,2-TRICHLOROETHANE | 2021 | 34511GCM66 | 2013-06-08 | 2011-10-01 | 2050-09-30 | ug/L | 1.0272 | Accu, Abs | 213041120, 051413 | Accu 213041120: 10 µl & Abs 051413: 10 µl | 0.06912 | 1,1,2-TRICHLOROETHANE | . | 0.046 | 0.071 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0272 | Ac2131120, Ab051413 | Ac | Ab | Ab | 2131120 | 051413 | 051413 | 2131120 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.0272 |  | 1.0272 | 0 | 0
1,1,2-TRICHLOROETHANE | 2021 | 34511GCM66 | 2013-11-01 | 2011-10-01 | 2050-09-30 | ug/L | 0.96933 | Accu, ChemService | 213041120, 1530700 | Accu 213041120: 20 µl & ChemService 1530700: 20 µl | 0.13824 | 1,1,2-TRICHLOROETHANE | . | 0.046 | 0.134 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96933 | Ac2131120, Ch1530700 | Ac | Ch | Ch | 2131120 | 1530700 | 1530700 | 2131120 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.98958 | 0.028644 | 0.98958 | 0.040509 | 0.030029
1,1,2-TRICHLOROETHANE | 2021 | 34511GCM66 | 2013-12-31 | 2011-10-01 | 2050-09-30 | ug/L | 1.0098 | Accu, ChemService | 213041120, 1530700 | Accu 213041120: 10 µl & ChemService 1530700: 10 µl | 0.06912 | 1,1,2-TRICHLOROETHANE | . | 0.046 | 0.0698 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0098 | Ac2131120, Ch1530700 | Ac | Ch | Ch | 2131120 | 1530700 | 1530700 | 2131120 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.98958 | 0.028644 | 0.98958 | 0.040509 | 0.030029
1,1,2-TRICHLOROETHANE | 2021 | 34511GCM66 | 2009-11-10 | 2009-10-01 | 2010-09-30 | ug/L | 1.1302 | Accu | 209081198 | Accu 209081198: 10 µl | 0.11856 | 1,1,2-TRICHLOROETHANE | . | 0.046 | 0.134 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1302 | Accu 209081198 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0635 | 0.1483 | 1.0304 | 0.15042 | 0.1115
1,1,2-TRICHLOROETHANE | 2021 | 34511GCM66 | 2009-12-24 | 2009-10-01 | 2010-09-30 | ug/L | 1.0768 | Accu | 209081198 | Accu 209081198: 30 µl | 0.35568 | 1,1,2-TRICHLOROETHANE | . | 0.046 | 0.383 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0768 | Accu 209081198 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0635 | 0.1483 | 1.0304 | 0.15042 | 0.1115
1,1,2-TRICHLOROETHANE | 2021 | 34511GCM66 | 2010-02-19 | 2009-10-01 | 2010-09-30 | ug/L | 1.3917 | Accu | 209081198 | Accu 209081198: 10 µl | 0.11856 | 1,1,2-TRICHLOROETHANE | . | 0.046 | 0.165 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3917 | Accu 209081198 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0635 | 0.1483 | 1.0304 | 0.15042 | 0.1115
1,1,2-TRICHLOROETHANE | 2021 | 34511GCM66 | 2010-03-26 | 2009-10-01 | 2010-09-30 | ug/L | 0.94186 | Accu | 209081198 | Accu 209081198: 30 µl | 0.35568 | 1,1,2-TRICHLOROETHANE | . | 0.046 | 0.335 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94186 | Accu 209081198 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0635 | 0.1483 | 1.0304 | 0.15042 | 0.1115
1,1,2-TRICHLOROETHANE | 2021 | 34511GCM66 | 2010-05-05 | 2009-10-01 | 2010-09-30 | ug/L | 0.94467 | Accu | 209081198 | Accu 209081198: 10 µl | 0.11856 | 1,1,2-TRICHLOROETHANE | . | 0.046 | 0.112 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94467 | Accu 209081198 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0635 | 0.1483 | 1.0304 | 0.15042 | 0.1115
1,1,2-TRICHLOROETHANE | 2021 | 34511GCM66 | 2010-06-17 | 2009-10-01 | 2010-09-30 | ug/L | 1.0234 | Accu | 209081198 | Accu 209081198: 30 µl | 0.35568 | 1,1,2-TRICHLOROETHANE | . | 0.046 | 0.364 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0234 | Accu 209081198 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0635 | 0.1483 | 1.0304 | 0.15042 | 0.1115
1,1,2-TRICHLOROETHANE | 2021 | 34511GCM66 | 2010-07-16 | 2009-10-01 | 2010-09-30 | ug/L | 1.0374 | Accu | 209081198 | Accu 209081198: 10 µl | 0.11856 | 1,1,2-TRICHLOROETHANE | . | 0.046 | 0.123 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0374 | Accu 209081198 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0635 | 0.1483 | 1.0304 | 0.15042 | 0.1115
1,1,2-TRICHLOROETHANE | 2021 | 34511GCM66 | 2010-09-01 | 2009-10-01 | 2010-09-30 | ug/L | 0.96154 | Accu | 209081198 | Accu 209081198: 10 µl | 0.11856 | 1,1,2-TRICHLOROETHANE | . | 0.046 | 0.114 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96154 | Accu 209081198 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0635 | 0.1483 | 1.0304 | 0.15042 | 0.1115
1,1,2-TRICHLOROETHANE | 2021 | 34511GCM66 | 2013-05-22 | 2011-10-01 | 2050-09-30 | ug/L | 1.0952 | Crescent, Accu | 04CC151, 213041120 | Crescent 04CC151: 10 µl & Accu 213041120: 10 µl | 0.06912 | 1,1,2-TRICHLOROETHANE | . | 0.046 | 0.0757 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0952 | Cr04CC151, Ac2131120 | Cr | Ac | Ac | 04CC151 | 2131120 | 2131120 |  | 2131120 | 2131120 | Y | Recoverable Result | Y | 2 |  | 1 | 1.0952 |  | 1.0952 | 0 | 0
1,1,2-TRICHLOROETHANE | 2021 | 34511GCM66 | 2013-09-17 | 2011-10-01 | 2050-09-30 | ug/L | 0.95571 | Crescent, Supelco | 04CC151, LC00154 | Crescent 04CC151: 10 µl & Supelco LC00154: 10 µl | 0.07 | 1,1,2-TRICHLOROETHANE | . | 0.046 | 0.0669 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95571 | Cr04CC151, SuLC00154 | Cr | Su | Su | 04CC151 | LC00154 | LC00154 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0207 | 0.091924 | 1.0207 | 0.13 | 0.096368
1,1,2-TRICHLOROETHANE | 2021 | 34511GCM66 | 2013-09-17 | 2011-10-01 | 2050-09-30 | ug/L | 1.0857 | Crescent, Supelco | 04CC151, LC00154 | Crescent 04CC151: 20 µl & Supelco LC00154: 20 µl | 0.14 | 1,1,2-TRICHLOROETHANE | . | 0.046 | 0.152 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0857 | Cr04CC151, SuLC00154 | Cr | Su | Su | 04CC151 | LC00154 | LC00154 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0207 | 0.091924 | 1.0207 | 0.13 | 0.096368
1,1,2-TRICHLOROETHANE | 2021 | 34511GCM66 | 2012-07-19 | 2011-10-01 | 2050-09-30 | ug/L | 1.0732 | Crescent, Accu | 05BB048, 212051193 | Crescent 05BB048: 10 µl & Accu 212051193: 10 µl | 0.4976 | 1,1,2-TRICHLOROETHANE | . | 0.046 | 0.534 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0732 | Cr05BB048, Ac2121193 | Cr | Ac | Ac | 05BB048 | 2121193 | 2121193 |  | 2121193 | 2121193 | Y | Recoverable Result | Y | 2 |  | 2 | 1.0269 | 0.065368 | 1.0269 | 0.092444 | 0.068528
1,1,2-TRICHLOROETHANE | 2021 | 34511GCM66 | 2012-11-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.98071 | Crescent, Accu | 05BB048, 212051193 | Crescent 05BB048: 20 µl & Accu 212051193: 20 µl | 0.9952 | 1,1,2-TRICHLOROETHANE | . | 0.046 | 0.976 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98071 | Cr05BB048, Ac2121193 | Cr | Ac | Ac | 05BB048 | 2121193 | 2121193 |  | 2121193 | 2121193 | Y | Recoverable Result | Y | 2 |  | 2 | 1.0269 | 0.065368 | 1.0269 | 0.092444 | 0.068528
1,1,2-TRICHLOROETHANE | 2021 | 34511GCM66 | 2013-12-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.90422 | NSI, Accu | 053013, 213041120 | NSI 053013: 20 µl & Accu 213041120: 20 µl | 0.13824 | 1,1,2-TRICHLOROETHANE | . | 0.046 | 0.125 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90422 | NS053013, Ac2131120 | NS | Ac | Ac | 053013 | 2131120 | 2131120 |  | 2131120 | 2131120 | Y | Recoverable Result | Y | 2 |  | 1 | 0.90422 |  | 0.90422 | 0 | 0
1,1,2-TRICHLOROETHANE | 2021 | 34511GCM66 | 2013-07-24 | 2011-10-01 | 2050-09-30 | ug/L | 0.95 | NSI, Supelco | 053013, LC00154 | NSI 053013: 20 µl & Supelco LC00154: 20 µl | 0.14 | 1,1,2-TRICHLOROETHANE | . | 0.046 | 0.133 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95 | NS053013, SuLC00154 | NS | Su | Su | 053013 | LC00154 | LC00154 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.95 |  | 0.95 | 0 | 0
1,1,2-TRICHLOROETHANE | 2021 | 34511GCM66 | 2013-02-28 | 2011-10-01 | 2050-09-30 | ug/L | 0.96061 | NSI, Accu | 062112-01VOA, 212051193 | NSI 062112-01VOA: 10 µl & Accu 212051193: 10 µl | 0.4976 | 1,1,2-TRICHLOROETHANE | . | 0.046 | 0.478 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96061 | NS0621VOA, Ac2121193 | NS | Ac | Ac | 0621VOA | 2121193 | 2121193 | 0621VOA | 2121193 | 2121193 | Y | Recoverable Result | Y | 2 |  | 1 | 0.96061 |  | 0.96061 | 0 | 0
1,1,2-TRICHLOROETHANE | 2021 | 34511GCM66 | 2012-09-11 | 2011-10-01 | 2050-09-30 | ug/L | 0.96177 | NSI, Supelco | 062112-01VOA, LB92787 | NSI 062112-01VOA: 20 µl & Supelco LB92787: 20 µl | 0.9992 | 1,1,2-TRICHLOROETHANE | . | 0.046 | 0.961 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96177 | NS0621VOA, SuLB92787 | NS | Su | Su | 0621VOA | LB92787 | LB92787 | 0621VOA |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.92874 | 0.046706 | 0.92874 | 0.066053 | 0.048964
1,1,2-TRICHLOROETHANE | 2021 | 34511GCM66 | 2012-12-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.89572 | NSI, Supelco | 062112-01VOA, LB92787 | NSI 062112-01VOA: 40 µl & Supelco LB92787: 40 µl | 1.9984 | 1,1,2-TRICHLOROETHANE | . | 0.046 | 1.79 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89572 | NS0621VOA, SuLB92787 | NS | Su | Su | 0621VOA | LB92787 | LB92787 | 0621VOA |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.92874 | 0.046706 | 0.92874 | 0.066053 | 0.048964
1,1,2-TRICHLOROETHANE | 2021 | 34511GCM66 | 2010-11-05 | 2010-10-01 | 2011-09-30 | ug/L | 1.1216 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.148 | 1,1,2-TRICHLOROETHANE | . | 0.028 | 0.166 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1216 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.0053 | 0.068988 | 0.99155 | 0.099662 | 0.073879
1,1,2-TRICHLOROETHANE | 2021 | 34511GCM66 | 2011-01-22 | 2010-10-01 | 2011-09-30 | ug/L | 0.90878 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.296 | 1,1,2-TRICHLOROETHANE | . | 0.028 | 0.269 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90878 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.0053 | 0.068988 | 0.99155 | 0.099662 | 0.073879
1,1,2-TRICHLOROETHANE | 2021 | 34511GCM66 | 2011-03-01 | 2010-10-01 | 2011-09-30 | ug/L | 1.0608 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.148 | 1,1,2-TRICHLOROETHANE | . | 0.028 | 0.157 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0608 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.0053 | 0.068988 | 0.99155 | 0.099662 | 0.073879
1,1,2-TRICHLOROETHANE | 2021 | 34511GCM66 | 2011-04-13 | 2010-10-01 | 2011-09-30 | ug/L | 0.97635 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.296 | 1,1,2-TRICHLOROETHANE | . | 0.028 | 0.289 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97635 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.0053 | 0.068988 | 0.99155 | 0.099662 | 0.073879
1,1,2-TRICHLOROETHANE | 2021 | 34511GCM66 | 2011-05-03 | 2010-10-01 | 2011-09-30 | ug/L | 0.94595 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.148 | 1,1,2-TRICHLOROETHANE | . | 0.028 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94595 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.0053 | 0.068988 | 0.99155 | 0.099662 | 0.073879
1,1,2-TRICHLOROETHANE | 2021 | 34511GCM66 | 2011-06-10 | 2010-10-01 | 2011-09-30 | ug/L | 0.96959 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.296 | 1,1,2-TRICHLOROETHANE | . | 0.028 | 0.287 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96959 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.0053 | 0.068988 | 0.99155 | 0.099662 | 0.073879
1,1,2-TRICHLOROETHANE | 2021 | 34511GCM66 | 2011-09-17 | 2010-10-01 | 2011-09-30 | ug/L | 1.027 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.148 | 1,1,2-TRICHLOROETHANE | . | 0.028 | 0.152 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.027 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.0053 | 0.068988 | 0.99155 | 0.099662 | 0.073879
1,1,2-TRICHLOROETHANE | 2021 | 34511GCM66 | 2011-10-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.97973 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.148 | 1,1,2-TRICHLOROETHANE | . | 0.046 | 0.145 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97973 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.0053 | 0.068988 | 0.99155 | 0.099662 | 0.073879
1,1,2-TRICHLOROETHANE | 2021 | 34511GCM66 | 2011-11-24 | 2011-10-01 | 2050-09-30 | ug/L | 0.91554 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.296 | 1,1,2-TRICHLOROETHANE | . | 0.046 | 0.271 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91554 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.0053 | 0.068988 | 0.99155 | 0.099662 | 0.073879
1,1,2-TRICHLOROETHANE | 2021 | 34511GCM66 | 2012-03-10 | 2011-10-01 | 2050-09-30 | ug/L | 1.1014 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.148 | 1,1,2-TRICHLOROETHANE | . | 0.046 | 0.163 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1014 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.0053 | 0.068988 | 0.99155 | 0.099662 | 0.073879
1,1,2-TRICHLOROETHANE | 2021 | 34511GCM66 | 2012-05-08 | 2011-10-01 | 2050-09-30 | ug/L | 1.0034 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.296 | 1,1,2-TRICHLOROETHANE | . | 0.046 | 0.297 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0034 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.0053 | 0.068988 | 0.99155 | 0.099662 | 0.073879
1,1,2-TRICHLOROETHANE | 2021 | 34511GCM66 | 2012-05-25 | 2011-10-01 | 2050-09-30 | ug/L | 1.0541 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.296 | 1,1,2-TRICHLOROETHANE | . | 0.046 | 0.312 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0541 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.0053 | 0.068988 | 0.99155 | 0.099662 | 0.073879
1,1,2-TRICHLOROETHANE | 2021 | 34511GCM66 | 2009-10-22 | 2009-10-01 | 2010-09-30 | ug/L | 1.2917 | Restek | A069860 | Restek A069860: 10 µl | 0.12 | 1,1,2-TRICHLOROETHANE | . | 0.046 | 0.155 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2917 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 1.0586 | 0.1338 | 1.05 | 0.17222 | 0.12767
1,1,2-TRICHLOROETHANE | 2021 | 34511GCM66 | 2009-12-04 | 2009-10-01 | 2010-09-30 | ug/L | 1.1389 | Restek | A069860 | Restek A069860: 30 µl | 0.36 | 1,1,2-TRICHLOROETHANE | . | 0.046 | 0.41 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1389 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 1.0586 | 0.1338 | 1.05 | 0.17222 | 0.12767
1,1,2-TRICHLOROETHANE | 2021 | 34511GCM66 | 2010-01-26 | 2009-10-01 | 2010-09-30 | ug/L | 0.96667 | Restek | A069860 | Restek A069860: 10 µl | 0.12 | 1,1,2-TRICHLOROETHANE | . | 0.046 | 0.116 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96667 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 1.0586 | 0.1338 | 1.05 | 0.17222 | 0.12767
1,1,2-TRICHLOROETHANE | 2021 | 34511GCM66 | 2010-03-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.87778 | Restek | A069860 | Restek A069860: 30 µl | 0.36 | 1,1,2-TRICHLOROETHANE | . | 0.046 | 0.316 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87778 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 1.0586 | 0.1338 | 1.05 | 0.17222 | 0.12767
1,1,2-TRICHLOROETHANE | 2021 | 34511GCM66 | 2010-04-13 | 2009-10-01 | 2010-09-30 | ug/L | 1.1333 | Restek | A069860 | Restek A069860: 10 µl | 0.12 | 1,1,2-TRICHLOROETHANE | . | 0.046 | 0.136 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1333 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 1.0586 | 0.1338 | 1.05 | 0.17222 | 0.12767
1,1,2-TRICHLOROETHANE | 2021 | 34511GCM66 | 2010-05-22 | 2009-10-01 | 2010-09-30 | ug/L | 0.90833 | Restek | A069860 | Restek A069860: 30 µl | 0.36 | 1,1,2-TRICHLOROETHANE | . | 0.046 | 0.327 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90833 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 1.0586 | 0.1338 | 1.05 | 0.17222 | 0.12767
1,1,2-TRICHLOROETHANE | 2021 | 34511GCM66 | 2010-07-09 | 2009-10-01 | 2010-09-30 | ug/L | 1.1583 | Restek | A069860 | Restek A069860: 10 µl | 0.12 | 1,1,2-TRICHLOROETHANE | . | 0.046 | 0.139 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1583 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 1.0586 | 0.1338 | 1.05 | 0.17222 | 0.12767
1,1,2-TRICHLOROETHANE | 2021 | 34511GCM66 | 2010-08-11 | 2009-10-01 | 2010-09-30 | ug/L | 1.0028 | Restek | A069860 | Restek A069860: 30 µl | 0.36 | 1,1,2-TRICHLOROETHANE | . | 0.046 | 0.361 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0028 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 1.0586 | 0.1338 | 1.05 | 0.17222 | 0.12767
1,1,2-TRICHLOROETHANE | 2021 | 34511GCM66 | 2010-09-21 | 2009-10-01 | 2010-09-30 | ug/L | 1.05 | Restek | A069860 | Restek A069860: 10 µl | 0.12 | 1,1,2-TRICHLOROETHANE | . | 0.046 | 0.126 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.05 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 1.0586 | 0.1338 | 1.05 | 0.17222 | 0.12767
1,1,2-TRICHLOROETHANE | 2021 | 34511GCM66 | 2012-07-30 | 2011-10-01 | 2050-09-30 | ug/L | 1.1209 | Supelco, Abs | LB92787, 051712 | Supelco LB92787: 20 µl & Abs 051712: 20 µl | 0.9992 | 1,1,2-TRICHLOROETHANE | . | 0.046 | 1.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1209 | SuLB92787, Ab051712 | Su | Ab | Ab | LB92787 | 051712 | 051712 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.1209 |  | 1.1209 | 0 | 0
1,1,2-TRICHLOROETHANE | 2021 | 34511GCM66 | 2013-03-29 | 2011-10-01 | 2050-09-30 | ug/L | 1.0268 | Supelco, ChemService | LB92787, 472200 | Supelco LB92787: 10 µl & ChemService 472200: 10 µl | 0.4996 | 1,1,2-TRICHLOROETHANE | . | 0.046 | 0.513 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0268 | SuLB92787, Ch472200 | Su | Ch | Ch | LB92787 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.1079 | 0.11464 | 1.1079 | 0.16213 | 0.12019
1,1,2-TRICHLOROETHANE | 2021 | 34511GCM66 | 2013-05-03 | 2011-10-01 | 2050-09-30 | ug/L | 1.189 | Supelco, ChemService | LB92787, 472200 | Supelco LB92787: 10 µl & ChemService 472200: 10 µl | 0.4996 | 1,1,2-TRICHLOROETHANE | . | 0.046 | 0.594 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.189 | SuLB92787, Ch472200 | Su | Ch | Ch | LB92787 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.1079 | 0.11464 | 1.1079 | 0.16213 | 0.12019
1,1,2-TRICHLOROETHANE | 2021 | 34511GCM66 | 2013-08-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.91429 | Supelco, Abs | LC00154, 051413 | Supelco LC00154: 20 µl & Abs 051413: 20 µl | 0.14 | 1,1,2-TRICHLOROETHANE | . | 0.046 | 0.128 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91429 | SuLC00154, Ab051413 | Su | Ab | Ab | LC00154 | 051413 | 051413 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.96857 | 0.076772 | 0.96857 | 0.10857 | 0.080483
1,1,2-TRICHLOROETHANE | 2021 | 34511GCM66 | 2013-12-12 | 2011-10-01 | 2050-09-30 | ug/L | 1.0229 | Supelco, Abs | LC00154, 051413 | Supelco LC00154: 10 µl & Abs 051413: 10 µl | 0.07 | 1,1,2-TRICHLOROETHANE | . | 0.046 | 0.0716 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0229 | SuLC00154, Ab051413 | Su | Ab | Ab | LC00154 | 051413 | 051413 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.96857 | 0.076772 | 0.96857 | 0.10857 | 0.080483
1,1,2-TRICHLOROETHANE | 2021 | 34511GCM66 | 2013-09-17 | 2011-10-01 | 2050-09-30 | ug/L | 1 | Supelco, ChemService | LC00154, 1530700 | Supelco LC00154: 20 µl & ChemService 1530700: 20 µl | 0.14 | 1,1,2-TRICHLOROETHANE | . | 0.046 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | SuLC00154, Ch1530700 | Su | Ch | Ch | LC00154 | 1530700 | 1530700 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1 |  | 1 | 0 | 0
1,1,2-TRICHLOROETHANE | 2021 | 34511GCM66 | 2009-02-18 | 2007-10-01 | 2009-09-30 | ug/L | 1.2687 | Ultra | CE-2869 | Ultra CE-2869: 20 µl | 0.0804 | 1,1,2-TRICHLOROETHANE | . | 0.06 | 0.102 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2687 | Ultra CE-2869 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.1982 | 0.1909 | 1.1412 | 0.16791 | 0.12447
1,1,2-TRICHLOROETHANE | 2021 | 34511GCM66 | 2009-03-31 | 2007-10-01 | 2009-09-30 | ug/L | 1.5423 | Ultra | CE-2869 | Ultra CE-2869: 20 µl | 0.0804 | 1,1,2-TRICHLOROETHANE | . | 0.06 | 0.124 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.5423 | Ultra CE-2869 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.1982 | 0.1909 | 1.1412 | 0.16791 | 0.12447
1,1,2-TRICHLOROETHANE | 2021 | 34511GCM66 | 2009-05-13 | 2007-10-01 | 2009-09-30 | ug/L | 1.1692 | Ultra | CE-2869 | Ultra CE-2869: 20 µl | 0.0804 | 1,1,2-TRICHLOROETHANE | E | 0.06 | 0.094 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1692 | Ultra CE-2869 | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 1.1982 | 0.1909 | 1.1412 | 0.16791 | 0.12447
1,1,2-TRICHLOROETHANE | 2021 | 34511GCM66 | 2009-06-17 | 2007-10-01 | 2009-09-30 | ug/L | 1.1132 | Ultra | CE-2869 | Ultra CE-2869: 40 µl | 0.1608 | 1,1,2-TRICHLOROETHANE | . | 0.06 | 0.179 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1132 | Ultra CE-2869 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.1982 | 0.1909 | 1.1412 | 0.16791 | 0.12447
1,1,2-TRICHLOROETHANE | 2021 | 34511GCM66 | 2009-06-30 | 2007-10-01 | 2009-09-30 | ug/L | 1.1007 | Ultra | CE-2869 | Ultra CE-2869: 40 µl | 0.1608 | 1,1,2-TRICHLOROETHANE | . | 0.06 | 0.177 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1007 | Ultra CE-2869 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.1982 | 0.1909 | 1.1412 | 0.16791 | 0.12447
1,1,2-TRICHLOROETHANE | 2021 | 34511GCM66 | 2009-08-11 | 2007-10-01 | 2009-09-30 | ug/L | 0.99502 | Ultra | CE-2869 | Ultra CE-2869: 20 µl | 0.0804 | 1,1,2-TRICHLOROETHANE | E | 0.06 | 0.08 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99502 | Ultra CE-2869 | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 1.1982 | 0.1909 | 1.1412 | 0.16791 | 0.12447