## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
1,1-DICHLOROETHANE | 2021 | 34496GCM66 | 2013-01-19 | 2010-10-01 | 2050-09-30 | ug/L | 1.1159 | Accu, Abs | 212051193, 051712 | Accu 212051193: 40 µl & Abs 051712: 40 µl | 1.9984 | 1,1-DICHLOROETHANE | . | 0.044 | 2.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1159 | Ac2121193, Ab051712 | Ac | Ab | Ab | 2121193 | 051712 | 051712 | 2121193 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.1159 |  | 1.1159 | 0 | 0
1,1-DICHLOROETHANE | 2021 | 34496GCM66 | 2013-06-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.9709 | Accu, Abs | 213041120, 051413 | Accu 213041120: 10 µl & Abs 051413: 10 µl | 0.07972 | 1,1-DICHLOROETHANE | . | 0.044 | 0.0774 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9709 | Ac2131120, Ab051413 | Ac | Ab | Ab | 2131120 | 051413 | 051413 | 2131120 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.9709 |  | 0.9709 | 0 | 0
1,1-DICHLOROETHANE | 2021 | 34496GCM66 | 2013-11-01 | 2010-10-01 | 2050-09-30 | ug/L | 0.97215 | Accu, ChemService | 213041120, 1530700 | Accu 213041120: 20 µl & ChemService 1530700: 20 µl | 0.15944 | 1,1-DICHLOROETHANE | . | 0.044 | 0.155 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97215 | Ac2131120, Ch1530700 | Ac | Ch | Ch | 2131120 | 1530700 | 1530700 | 2131120 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.93452 | 0.053219 | 0.93452 | 0.075263 | 0.055792
1,1-DICHLOROETHANE | 2021 | 34496GCM66 | 2013-12-31 | 2010-10-01 | 2050-09-30 | ug/L | 0.89689 | Accu, ChemService | 213041120, 1530700 | Accu 213041120: 10 µl & ChemService 1530700: 10 µl | 0.07972 | 1,1-DICHLOROETHANE | . | 0.044 | 0.0715 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89689 | Ac2131120, Ch1530700 | Ac | Ch | Ch | 2131120 | 1530700 | 1530700 | 2131120 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.93452 | 0.053219 | 0.93452 | 0.075263 | 0.055792
1,1-DICHLOROETHANE | 2021 | 34496GCM66 | 2009-01-27 | 2007-10-01 | 2009-09-30 | ug/L | 1.0813 | ChemService | 406-110C | ChemService 406-110C: 20 µl | 0.16 | 1,1-DICHLOROETHANE | . | 0.04 | 0.173 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0812 | ChemService 406-110C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 1.1375 | 0.054367 | 1.1125 | 0.1 | 0.074129
1,1-DICHLOROETHANE | 2021 | 34496GCM66 | 2009-02-27 | 2007-10-01 | 2009-09-30 | ug/L | 1.1125 | ChemService | 406-110C | ChemService 406-110C: 40 µl | 0.32 | 1,1-DICHLOROETHANE | . | 0.04 | 0.356 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1125 | ChemService 406-110C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 1.1375 | 0.054367 | 1.1125 | 0.1 | 0.074129
1,1-DICHLOROETHANE | 2021 | 34496GCM66 | 2009-04-11 | 2007-10-01 | 2009-09-30 | ug/L | 1.1812 | ChemService | 406-110C | ChemService 406-110C: 20 µl | 0.16 | 1,1-DICHLOROETHANE | . | 0.04 | 0.189 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1812 | ChemService 406-110C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 1.1375 | 0.054367 | 1.1125 | 0.1 | 0.074129
1,1-DICHLOROETHANE | 2021 | 34496GCM66 | 2009-05-22 | 2007-10-01 | 2009-09-30 | ug/L | 1.0875 | ChemService | 406-110C | ChemService 406-110C: 20 µl | 0.16 | 1,1-DICHLOROETHANE | . | 0.04 | 0.174 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0875 | ChemService 406-110C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 1.1375 | 0.054367 | 1.1125 | 0.1 | 0.074129
1,1-DICHLOROETHANE | 2021 | 34496GCM66 | 2009-06-23 | 2007-10-01 | 2009-09-30 | ug/L | 1.2125 | ChemService | 406-110C | ChemService 406-110C: 20 µl | 0.16 | 1,1-DICHLOROETHANE | . | 0.04 | 0.194 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2125 | ChemService 406-110C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 1.1375 | 0.054367 | 1.1125 | 0.1 | 0.074129
1,1-DICHLOROETHANE | 2021 | 34496GCM66 | 2009-08-04 | 2007-10-01 | 2009-09-30 | ug/L | 1.1 | ChemService | 406-110C | ChemService 406-110C: 40 µl | 0.32 | 1,1-DICHLOROETHANE | . | 0.04 | 0.352 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1 | ChemService 406-110C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 1.1375 | 0.054367 | 1.1125 | 0.1 | 0.074129
1,1-DICHLOROETHANE | 2021 | 34496GCM66 | 2009-09-11 | 2007-10-01 | 2009-09-30 | ug/L | 1.1875 | ChemService | 406-110C | ChemService 406-110C: 20 µl | 0.16 | 1,1-DICHLOROETHANE | . | 0.04 | 0.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1875 | ChemService 406-110C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 1.1375 | 0.054367 | 1.1125 | 0.1 | 0.074129
1,1-DICHLOROETHANE | 2021 | 34496GCM66 | 2013-05-22 | 2010-10-01 | 2050-09-30 | ug/L | 1.1089 | Crescent, Accu | 04CC151, 213041120 | Crescent 04CC151: 10 µl & Accu 213041120: 10 µl | 0.07972 | 1,1-DICHLOROETHANE | . | 0.044 | 0.0884 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1089 | Cr04CC151, Ac2131120 | Cr | Ac | Ac | 04CC151 | 2131120 | 2131120 |  | 2131120 | 2131120 | Y | Recoverable Result | Y | 2 |  | 1 | 1.1089 |  | 1.1089 | 0 | 0
1,1-DICHLOROETHANE | 2021 | 34496GCM66 | 2013-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.97769 | Crescent, Supelco | 04CC151, LC00154 | Crescent 04CC151: 10 µl & Supelco LC00154: 10 µl | 0.0762 | 1,1-DICHLOROETHANE | . | 0.044 | 0.0745 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97769 | Cr04CC151, SuLC00154 | Cr | Su | Su | 04CC151 | LC00154 | LC00154 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.99081 | 0.018559 | 0.99081 | 0.026247 | 0.019456
1,1-DICHLOROETHANE | 2021 | 34496GCM66 | 2013-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 1.0039 | Crescent, Supelco | 04CC151, LC00154 | Crescent 04CC151: 20 µl & Supelco LC00154: 20 µl | 0.1524 | 1,1-DICHLOROETHANE | . | 0.044 | 0.153 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0039 | Cr04CC151, SuLC00154 | Cr | Su | Su | 04CC151 | LC00154 | LC00154 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.99081 | 0.018559 | 0.99081 | 0.026247 | 0.019456
1,1-DICHLOROETHANE | 2021 | 34496GCM66 | 2012-07-19 | 2010-10-01 | 2050-09-30 | ug/L | 1.1609 | Crescent, Accu | 05BB048, 212051193 | Crescent 05BB048: 10 µl & Accu 212051193: 10 µl | 0.4996 | 1,1-DICHLOROETHANE | . | 0.044 | 0.58 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1609 | Cr05BB048, Ac2121193 | Cr | Ac | Ac | 05BB048 | 2121193 | 2121193 |  | 2121193 | 2121193 | Y | Recoverable Result | Y | 2 |  | 2 | 1.0809 | 0.11323 | 1.0809 | 0.16013 | 0.1187
1,1-DICHLOROETHANE | 2021 | 34496GCM66 | 2012-11-08 | 2010-10-01 | 2050-09-30 | ug/L | 1.0008 | Crescent, Accu | 05BB048, 212051193 | Crescent 05BB048: 20 µl & Accu 212051193: 20 µl | 0.9992 | 1,1-DICHLOROETHANE | . | 0.044 | 1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0008 | Cr05BB048, Ac2121193 | Cr | Ac | Ac | 05BB048 | 2121193 | 2121193 |  | 2121193 | 2121193 | Y | Recoverable Result | Y | 2 |  | 2 | 1.0809 | 0.11323 | 1.0809 | 0.16013 | 0.1187
1,1-DICHLOROETHANE | 2021 | 34496GCM66 | 2013-12-12 | 2010-10-01 | 2050-09-30 | ug/L | 1.06 | NSI, Accu | 053013, 213041120 | NSI 053013: 20 µl & Accu 213041120: 20 µl | 0.15944 | 1,1-DICHLOROETHANE | . | 0.044 | 0.169 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.06 | NS053013, Ac2131120 | NS | Ac | Ac | 053013 | 2131120 | 2131120 |  | 2131120 | 2131120 | Y | Recoverable Result | Y | 2 |  | 1 | 1.06 |  | 1.06 | 0 | 0
1,1-DICHLOROETHANE | 2021 | 34496GCM66 | 2013-07-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.9252 | NSI, Supelco | 053013, LC00154 | NSI 053013: 20 µl & Supelco LC00154: 20 µl | 0.1524 | 1,1-DICHLOROETHANE | . | 0.044 | 0.141 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9252 | NS053013, SuLC00154 | NS | Su | Su | 053013 | LC00154 | LC00154 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.9252 |  | 0.9252 | 0 | 0
1,1-DICHLOROETHANE | 2021 | 34496GCM66 | 2013-02-28 | 2010-10-01 | 2050-09-30 | ug/L | 1.0228 | NSI, Accu | 062112-01VOA, 212051193 | NSI 062112-01VOA: 10 µl & Accu 212051193: 10 µl | 0.4996 | 1,1-DICHLOROETHANE | . | 0.044 | 0.511 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0228 | NS0621VOA, Ac2121193 | NS | Ac | Ac | 0621VOA | 2121193 | 2121193 | 0621VOA | 2121193 | 2121193 | Y | Recoverable Result | Y | 2 |  | 1 | 1.0228 |  | 1.0228 | 0 | 0
1,1-DICHLOROETHANE | 2021 | 34496GCM66 | 2012-09-11 | 2010-10-01 | 2050-09-30 | ug/L | 0.99241 | NSI, Supelco | 062112-01VOA, LB92787 | NSI 062112-01VOA: 20 µl & Supelco LB92787: 20 µl | 1.0016 | 1,1-DICHLOROETHANE | . | 0.044 | 0.994 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99241 | NS0621VOA, SuLB92787 | NS | Su | Su | 0621VOA | LB92787 | LB92787 | 0621VOA |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.9979 | 0.0077657 | 0.9979 | 0.010982 | 0.0081412
1,1-DICHLOROETHANE | 2021 | 34496GCM66 | 2012-12-22 | 2010-10-01 | 2050-09-30 | ug/L | 1.0034 | NSI, Supelco | 062112-01VOA, LB92787 | NSI 062112-01VOA: 40 µl & Supelco LB92787: 40 µl | 2.0032 | 1,1-DICHLOROETHANE | . | 0.044 | 2.01 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0034 | NS0621VOA, SuLB92787 | NS | Su | Su | 0621VOA | LB92787 | LB92787 | 0621VOA |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.9979 | 0.0077657 | 0.9979 | 0.010982 | 0.0081412
1,1-DICHLOROETHANE | 2021 | 34496GCM66 | 2010-11-05 | 2010-10-01 | 2050-09-30 | ug/L | 1.0727 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.22 | 1,1-DICHLOROETHANE | . | 0.044 | 0.236 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0727 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.0492 | 0.065672 | 1.05 | 0.11932 | 0.088449
1,1-DICHLOROETHANE | 2021 | 34496GCM66 | 2011-01-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.98409 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.44 | 1,1-DICHLOROETHANE | . | 0.044 | 0.433 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98409 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.0492 | 0.065672 | 1.05 | 0.11932 | 0.088449
1,1-DICHLOROETHANE | 2021 | 34496GCM66 | 2011-03-01 | 2010-10-01 | 2050-09-30 | ug/L | 1.1409 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.22 | 1,1-DICHLOROETHANE | . | 0.044 | 0.251 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1409 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.0492 | 0.065672 | 1.05 | 0.11932 | 0.088449
1,1-DICHLOROETHANE | 2021 | 34496GCM66 | 2011-04-13 | 2010-10-01 | 2050-09-30 | ug/L | 1.0364 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.44 | 1,1-DICHLOROETHANE | . | 0.044 | 0.456 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0364 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.0492 | 0.065672 | 1.05 | 0.11932 | 0.088449
1,1-DICHLOROETHANE | 2021 | 34496GCM66 | 2011-05-03 | 2010-10-01 | 2050-09-30 | ug/L | 1.0636 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.22 | 1,1-DICHLOROETHANE | . | 0.044 | 0.234 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0636 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.0492 | 0.065672 | 1.05 | 0.11932 | 0.088449
1,1-DICHLOROETHANE | 2021 | 34496GCM66 | 2011-06-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.95909 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.44 | 1,1-DICHLOROETHANE | . | 0.044 | 0.422 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95909 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.0492 | 0.065672 | 1.05 | 0.11932 | 0.088449
1,1-DICHLOROETHANE | 2021 | 34496GCM66 | 2011-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.98182 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.22 | 1,1-DICHLOROETHANE | . | 0.044 | 0.216 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98182 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.0492 | 0.065672 | 1.05 | 0.11932 | 0.088449
1,1-DICHLOROETHANE | 2021 | 34496GCM66 | 2011-10-18 | 2010-10-01 | 2050-09-30 | ug/L | 1.0818 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.22 | 1,1-DICHLOROETHANE | . | 0.044 | 0.238 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0818 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.0492 | 0.065672 | 1.05 | 0.11932 | 0.088449
1,1-DICHLOROETHANE | 2021 | 34496GCM66 | 2011-11-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.98636 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.44 | 1,1-DICHLOROETHANE | . | 0.044 | 0.434 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98636 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.0492 | 0.065672 | 1.05 | 0.11932 | 0.088449
1,1-DICHLOROETHANE | 2021 | 34496GCM66 | 2012-03-10 | 2010-10-01 | 2050-09-30 | ug/L | 1.1273 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.22 | 1,1-DICHLOROETHANE | . | 0.044 | 0.248 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1273 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.0492 | 0.065672 | 1.05 | 0.11932 | 0.088449
1,1-DICHLOROETHANE | 2021 | 34496GCM66 | 2012-05-08 | 2010-10-01 | 2050-09-30 | ug/L | 1.0136 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.44 | 1,1-DICHLOROETHANE | . | 0.044 | 0.446 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0136 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.0492 | 0.065672 | 1.05 | 0.11932 | 0.088449
1,1-DICHLOROETHANE | 2021 | 34496GCM66 | 2012-05-25 | 2010-10-01 | 2050-09-30 | ug/L | 1.1432 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.44 | 1,1-DICHLOROETHANE | . | 0.044 | 0.503 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1432 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.0492 | 0.065672 | 1.05 | 0.11932 | 0.088449
1,1-DICHLOROETHANE | 2021 | 34496GCM66 | 2009-02-12 | 2007-10-01 | 2009-09-30 | ug/L | 1.1062 | NSI | 081108-01VOC | NSI 081108-01VOC: 20 µl | 0.16 | 1,1-DICHLOROETHANE | . | 0.04 | 0.177 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1062 | NSI 081108-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0453 | 0.10413 | 1.0203 | 0.125 | 0.092661
1,1-DICHLOROETHANE | 2021 | 34496GCM66 | 2009-04-08 | 2007-10-01 | 2009-09-30 | ug/L | 0.98125 | NSI | 081108-01VOC | NSI 081108-01VOC: 40 µl | 0.32 | 1,1-DICHLOROETHANE | . | 0.04 | 0.314 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98125 | NSI 081108-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0453 | 0.10413 | 1.0203 | 0.125 | 0.092661
1,1-DICHLOROETHANE | 2021 | 34496GCM66 | 2009-05-06 | 2007-10-01 | 2009-09-30 | ug/L | 1.0031 | NSI | 081108-01VOC | NSI 081108-01VOC: 40 µl | 0.32 | 1,1-DICHLOROETHANE | . | 0.04 | 0.321 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0031 | NSI 081108-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0453 | 0.10413 | 1.0203 | 0.125 | 0.092661
1,1-DICHLOROETHANE | 2021 | 34496GCM66 | 2009-06-06 | 2007-10-01 | 2009-09-30 | ug/L | 1.0375 | NSI | 081108-01VOC | NSI 081108-01VOC: 20 µl | 0.16 | 1,1-DICHLOROETHANE | . | 0.04 | 0.166 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0375 | NSI 081108-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0453 | 0.10413 | 1.0203 | 0.125 | 0.092661
1,1-DICHLOROETHANE | 2021 | 34496GCM66 | 2009-07-09 | 2007-10-01 | 2009-09-30 | ug/L | 1.2188 | NSI | 081108-01VOC | NSI 081108-01VOC: 20 µl | 0.16 | 1,1-DICHLOROETHANE | . | 0.04 | 0.195 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2188 | NSI 081108-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0453 | 0.10413 | 1.0203 | 0.125 | 0.092661
1,1-DICHLOROETHANE | 2021 | 34496GCM66 | 2009-08-27 | 2007-10-01 | 2009-09-30 | ug/L | 0.925 | NSI | 081108-01VOC | NSI 081108-01VOC: 20 µl | 0.16 | 1,1-DICHLOROETHANE | . | 0.04 | 0.148 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.925 | NSI 081108-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0453 | 0.10413 | 1.0203 | 0.125 | 0.092661
1,1-DICHLOROETHANE | 2021 | 34496GCM66 | 2009-11-04 | 2009-10-01 | 2010-09-30 | ug/L | 1.2475 | Spex Organics | C1090901006 | Spex Organics C1090901006: 10 µl | 0.04 | 1,1-DICHLOROETHANE | E | 0.044 | 0.0499 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.2475 | Spex Organics C1090901006 | [9 empty] | Y | Estimated Values | Y | 1 |  | 8 | 1.2494 | 0.037179 | 1.2488 | 0.052083 | 0.038609
1,1-DICHLOROETHANE | 2021 | 34496GCM66 | 2009-12-15 | 2009-10-01 | 2010-09-30 | ug/L | 1.2167 | Spex Organics | C1090901006 | Spex Organics C1090901006: 30 µl | 0.12 | 1,1-DICHLOROETHANE | . | 0.044 | 0.146 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2167 | Spex Organics C1090901006 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.2494 | 0.037179 | 1.2488 | 0.052083 | 0.038609
1,1-DICHLOROETHANE | 2021 | 34496GCM66 | 2010-02-09 | 2009-10-01 | 2010-09-30 | ug/L | 1.25 | Spex Organics | C1090901006 | Spex Organics C1090901006: 10 µl | 0.04 | 1,1-DICHLOROETHANE | . | 0.044 | 0.05 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.25 | Spex Organics C1090901006 | [9 empty] | Y | Recoverable Result | Y | 1 |  | 8 | 1.2494 | 0.037179 | 1.2488 | 0.052083 | 0.038609
1,1-DICHLOROETHANE | 2021 | 34496GCM66 | 2010-03-17 | 2009-10-01 | 2010-09-30 | ug/L | 1.25 | Spex Organics | C1090901006 | Spex Organics C1090901006: 30 µl | 0.12 | 1,1-DICHLOROETHANE | . | 0.044 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.25 | Spex Organics C1090901006 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.2494 | 0.037179 | 1.2488 | 0.052083 | 0.038609
1,1-DICHLOROETHANE | 2021 | 34496GCM66 | 2010-04-27 | 2009-10-01 | 2010-09-30 | ug/L | 1.21 | Spex Organics | C1090901006 | Spex Organics C1090901006: 10 µl | 0.04 | 1,1-DICHLOROETHANE | E | 0.044 | 0.0484 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.21 | Spex Organics C1090901006 | [9 empty] | Y | Estimated Values | Y | 1 |  | 8 | 1.2494 | 0.037179 | 1.2488 | 0.052083 | 0.038609
1,1-DICHLOROETHANE | 2021 | 34496GCM66 | 2010-06-09 | 2009-10-01 | 2010-09-30 | ug/L | 1.2167 | Spex Organics | C1090901006 | Spex Organics C1090901006: 30 µl | 0.12 | 1,1-DICHLOROETHANE | . | 0.044 | 0.146 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2167 | Spex Organics C1090901006 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.2494 | 0.037179 | 1.2488 | 0.052083 | 0.038609
1,1-DICHLOROETHANE | 2021 | 34496GCM66 | 2010-07-09 | 2009-10-01 | 2010-09-30 | ug/L | 1.2875 | Spex Organics | C1090901006 | Spex Organics C1090901006: 10 µl | 0.04 | 1,1-DICHLOROETHANE | . | 0.044 | 0.0515 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.2875 | Spex Organics C1090901006 | [9 empty] | Y | Recoverable Result | Y | 1 |  | 8 | 1.2494 | 0.037179 | 1.2488 | 0.052083 | 0.038609
1,1-DICHLOROETHANE | 2021 | 34496GCM66 | 2010-08-21 | 2009-10-01 | 2010-09-30 | ug/L | 1.3167 | Spex Organics | C1090901006 | Spex Organics C1090901006: 30 µl | 0.12 | 1,1-DICHLOROETHANE | . | 0.044 | 0.158 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3167 | Spex Organics C1090901006 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.2494 | 0.037179 | 1.2488 | 0.052083 | 0.038609
1,1-DICHLOROETHANE | 2021 | 34496GCM66 | 2012-07-30 | 2010-10-01 | 2050-09-30 | ug/L | 1.1681 | Supelco, Abs | LB92787, 051712 | Supelco LB92787: 20 µl & Abs 051712: 20 µl | 1.0016 | 1,1-DICHLOROETHANE | . | 0.044 | 1.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1681 | SuLB92787, Ab051712 | Su | Ab | Ab | LB92787 | 051712 | 051712 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.1681 |  | 1.1681 | 0 | 0
1,1-DICHLOROETHANE | 2021 | 34496GCM66 | 2013-03-29 | 2010-10-01 | 2050-09-30 | ug/L | 1.1202 | Supelco, ChemService | LB92787, 472200 | Supelco LB92787: 10 µl & ChemService 472200: 10 µl | 0.5008 | 1,1-DICHLOROETHANE | . | 0.044 | 0.561 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1202 | SuLB92787, Ch472200 | Su | Ch | Ch | LB92787 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.1522 | 0.045183 | 1.1522 | 0.063898 | 0.047367
1,1-DICHLOROETHANE | 2021 | 34496GCM66 | 2013-05-03 | 2010-10-01 | 2050-09-30 | ug/L | 1.1841 | Supelco, ChemService | LB92787, 472200 | Supelco LB92787: 10 µl & ChemService 472200: 10 µl | 0.5008 | 1,1-DICHLOROETHANE | . | 0.044 | 0.593 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1841 | SuLB92787, Ch472200 | Su | Ch | Ch | LB92787 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.1522 | 0.045183 | 1.1522 | 0.063898 | 0.047367
1,1-DICHLOROETHANE | 2021 | 34496GCM66 | 2013-08-06 | 2010-10-01 | 2050-09-30 | ug/L | 0.99081 | Supelco, Abs | LC00154, 051413 | Supelco LC00154: 20 µl & Abs 051413: 20 µl | 0.1524 | 1,1-DICHLOROETHANE | . | 0.044 | 0.151 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99081 | SuLC00154, Ab051413 | Su | Ab | Ab | LC00154 | 051413 | 051413 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0164 | 0.036191 | 1.0164 | 0.051181 | 0.03794
1,1-DICHLOROETHANE | 2021 | 34496GCM66 | 2013-12-12 | 2010-10-01 | 2050-09-30 | ug/L | 1.042 | Supelco, Abs | LC00154, 051413 | Supelco LC00154: 10 µl & Abs 051413: 10 µl | 0.0762 | 1,1-DICHLOROETHANE | . | 0.044 | 0.0794 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.042 | SuLC00154, Ab051413 | Su | Ab | Ab | LC00154 | 051413 | 051413 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0164 | 0.036191 | 1.0164 | 0.051181 | 0.03794
1,1-DICHLOROETHANE | 2021 | 34496GCM66 | 2013-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.99081 | Supelco, ChemService | LC00154, 1530700 | Supelco LC00154: 20 µl & ChemService 1530700: 20 µl | 0.1524 | 1,1-DICHLOROETHANE | . | 0.044 | 0.151 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99081 | SuLC00154, Ch1530700 | Su | Ch | Ch | LC00154 | 1530700 | 1530700 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.99081 |  | 0.99081 | 0 | 0