## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
1,2,3,5-TETRAMETHYLBENZENE | 2021 | 50000GCM66 | 2013-01-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.89792 | Accu, Abs | 212051193, 051712 | Accu 212051193: 40 µl & Abs 051712: 40 µl | 0.7896 | 1,2,3,5-TETRAMETHYLBENZENE | . | 0.08 | 0.709 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89792 | Ac2121193, Ab051712 | Ac | Ab | Ab | 2121193 | 051712 | 051712 | 2121193 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.89792 |  | 0.89792 | 0 | 0
1,2,3,5-TETRAMETHYLBENZENE | 2021 | 50000GCM66 | 2013-06-08 | 2010-10-01 | 2050-09-30 | ug/L | 1.0233 | Accu, Abs | 213041120, 051413 | Accu 213041120: 10 µl & Abs 051413: 10 µl | 0.0987 | 1,2,3,5-TETRAMETHYLBENZENE | . | 0.08 | 0.101 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0233 | Ac2131120, Ab051413 | Ac | Ab | Ab | 2131120 | 051413 | 051413 | 2131120 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.0233 |  | 1.0233 | 0 | 0
1,2,3,5-TETRAMETHYLBENZENE | 2021 | 50000GCM66 | 2013-11-01 | 2010-10-01 | 2050-09-30 | ug/L | 0.79534 | Accu, ChemService | 213041120, 1530700 | Accu 213041120: 20 µl & ChemService 1530700: 20 µl | 0.1974 | 1,2,3,5-TETRAMETHYLBENZENE | . | 0.08 | 0.157 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79534 | Ac2131120, Ch1530700 | Ac | Ch | Ch | 2131120 | 1530700 | 1530700 | 2131120 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0106 | 0.30448 | 1.0106 | 0.4306 | 0.3192
1,2,3,5-TETRAMETHYLBENZENE | 2021 | 50000GCM66 | 2013-12-31 | 2010-10-01 | 2050-09-30 | ug/L | 1.2259 | Accu, ChemService | 213041120, 1530700 | Accu 213041120: 10 µl & ChemService 1530700: 10 µl | 0.0987 | 1,2,3,5-TETRAMETHYLBENZENE | . | 0.08 | 0.121 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2259 | Ac2131120, Ch1530700 | Ac | Ch | Ch | 2131120 | 1530700 | 1530700 | 2131120 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0106 | 0.30448 | 1.0106 | 0.4306 | 0.3192
1,2,3,5-TETRAMETHYLBENZENE | 2021 | 50000GCM66 | 2009-11-10 | 2009-10-01 | 2010-09-30 | ug/L | 0.91819 | Accu | 209081198 | Accu 209081198: 10 µl | 0.15792 | 1,2,3,5-TETRAMETHYLBENZENE | . | 0.08 | 0.145 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91819 | Accu 209081198 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.87887 | 0.067052 | 0.89286 | 0.072822 | 0.053982
1,2,3,5-TETRAMETHYLBENZENE | 2021 | 50000GCM66 | 2009-12-24 | 2009-10-01 | 2010-09-30 | ug/L | 0.75144 | Accu | 209081198 | Accu 209081198: 30 µl | 0.47376 | 1,2,3,5-TETRAMETHYLBENZENE | . | 0.08 | 0.356 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75144 | Accu 209081198 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.87887 | 0.067052 | 0.89286 | 0.072822 | 0.053982
1,2,3,5-TETRAMETHYLBENZENE | 2021 | 50000GCM66 | 2010-02-19 | 2009-10-01 | 2010-09-30 | ug/L | 0.91819 | Accu | 209081198 | Accu 209081198: 10 µl | 0.15792 | 1,2,3,5-TETRAMETHYLBENZENE | . | 0.08 | 0.145 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91819 | Accu 209081198 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.87887 | 0.067052 | 0.89286 | 0.072822 | 0.053982
1,2,3,5-TETRAMETHYLBENZENE | 2021 | 50000GCM66 | 2010-03-26 | 2009-10-01 | 2010-09-30 | ug/L | 0.96673 | Accu | 209081198 | Accu 209081198: 30 µl | 0.47376 | 1,2,3,5-TETRAMETHYLBENZENE | . | 0.08 | 0.458 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96673 | Accu 209081198 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.87887 | 0.067052 | 0.89286 | 0.072822 | 0.053982
1,2,3,5-TETRAMETHYLBENZENE | 2021 | 50000GCM66 | 2010-05-05 | 2009-10-01 | 2010-09-30 | ug/L | 0.8612 | Accu | 209081198 | Accu 209081198: 10 µl | 0.15792 | 1,2,3,5-TETRAMETHYLBENZENE | . | 0.08 | 0.136 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8612 | Accu 209081198 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.87887 | 0.067052 | 0.89286 | 0.072822 | 0.053982
1,2,3,5-TETRAMETHYLBENZENE | 2021 | 50000GCM66 | 2010-06-17 | 2009-10-01 | 2010-09-30 | ug/L | 0.82953 | Accu | 209081198 | Accu 209081198: 30 µl | 0.47376 | 1,2,3,5-TETRAMETHYLBENZENE | . | 0.08 | 0.393 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82953 | Accu 209081198 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.87887 | 0.067052 | 0.89286 | 0.072822 | 0.053982
1,2,3,5-TETRAMETHYLBENZENE | 2021 | 50000GCM66 | 2010-07-16 | 2009-10-01 | 2010-09-30 | ug/L | 0.91819 | Accu | 209081198 | Accu 209081198: 10 µl | 0.15792 | 1,2,3,5-TETRAMETHYLBENZENE | . | 0.08 | 0.145 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91819 | Accu 209081198 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.87887 | 0.067052 | 0.89286 | 0.072822 | 0.053982
1,2,3,5-TETRAMETHYLBENZENE | 2021 | 50000GCM66 | 2010-09-01 | 2009-10-01 | 2010-09-30 | ug/L | 0.86753 | Accu | 209081198 | Accu 209081198: 10 µl | 0.15792 | 1,2,3,5-TETRAMETHYLBENZENE | . | 0.08 | 0.137 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86753 | Accu 209081198 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.87887 | 0.067052 | 0.89286 | 0.072822 | 0.053982
1,2,3,5-TETRAMETHYLBENZENE | 2021 | 50000GCM66 | 2013-05-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.8612 | Crescent, Accu | 04CC151, 213041120 | Crescent 04CC151: 10 µl & Accu 213041120: 10 µl | 0.0987 | 1,2,3,5-TETRAMETHYLBENZENE | . | 0.08 | 0.085 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8612 | Cr04CC151, Ac2131120 | Cr | Ac | Ac | 04CC151 | 2131120 | 2131120 |  | 2131120 | 2131120 | Y | Recoverable Result | Y | 2 |  | 1 | 0.8612 |  | 0.8612 | 0 | 0
1,2,3,5-TETRAMETHYLBENZENE | 2021 | 50000GCM66 | 2013-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.72 | Crescent, Supelco | 04CC151, LC00154 | Crescent 04CC151: 10 µl & Supelco LC00154: 10 µl | 0.1 | 1,2,3,5-TETRAMETHYLBENZENE | . | 0.08 | 0.072 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72 | Cr04CC151, SuLC00154 | Cr | Su | Su | 04CC151 | LC00154 | LC00154 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.705 | 0.021213 | 0.705 | 0.03 | 0.022239
1,2,3,5-TETRAMETHYLBENZENE | 2021 | 50000GCM66 | 2013-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.69 | Crescent, Supelco | 04CC151, LC00154 | Crescent 04CC151: 20 µl & Supelco LC00154: 20 µl | 0.2 | 1,2,3,5-TETRAMETHYLBENZENE | . | 0.08 | 0.138 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69 | Cr04CC151, SuLC00154 | Cr | Su | Su | 04CC151 | LC00154 | LC00154 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.705 | 0.021213 | 0.705 | 0.03 | 0.022239
1,2,3,5-TETRAMETHYLBENZENE | 2021 | 50000GCM66 | 2012-07-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.82573 | Crescent, Accu | 05BB048, 212051193 | Crescent 05BB048: 10 µl & Accu 212051193: 10 µl | 0.1974 | 1,2,3,5-TETRAMETHYLBENZENE | . | 0.08 | 0.163 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82573 | Cr05BB048, Ac2121193 | Cr | Ac | Ac | 05BB048 | 2121193 | 2121193 |  | 2121193 | 2121193 | Y | Recoverable Result | Y | 2 |  | 2 | 0.8498 | 0.03403 | 0.8498 | 0.048126 | 0.035675
1,2,3,5-TETRAMETHYLBENZENE | 2021 | 50000GCM66 | 2012-11-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.87386 | Crescent, Accu | 05BB048, 212051193 | Crescent 05BB048: 20 µl & Accu 212051193: 20 µl | 0.3948 | 1,2,3,5-TETRAMETHYLBENZENE | . | 0.08 | 0.345 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87386 | Cr05BB048, Ac2121193 | Cr | Ac | Ac | 05BB048 | 2121193 | 2121193 |  | 2121193 | 2121193 | Y | Recoverable Result | Y | 2 |  | 2 | 0.8498 | 0.03403 | 0.8498 | 0.048126 | 0.035675
1,2,3,5-TETRAMETHYLBENZENE | 2021 | 50000GCM66 | 2009-02-06 | 2008-10-01 | 2009-09-30 | ug/L | 0.84926 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 40 µl | 0.3768 | 1,2,3,5-TETRAMETHYLBENZENE | . | 0.08 | 0.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84926 | ERA 0804-08-02VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.83599 | 0.10313 | 0.83599 | 0.053079 | 0.039347
1,2,3,5-TETRAMETHYLBENZENE | 2021 | 50000GCM66 | 2009-03-14 | 2008-10-01 | 2009-09-30 | ug/L | 0.84926 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 20 µl | 0.1884 | 1,2,3,5-TETRAMETHYLBENZENE | . | 0.08 | 0.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84926 | ERA 0804-08-02VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.83599 | 0.10313 | 0.83599 | 0.053079 | 0.039347
1,2,3,5-TETRAMETHYLBENZENE | 2021 | 50000GCM66 | 2009-04-25 | 2008-10-01 | 2009-09-30 | ug/L | 1.0085 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 20 µl | 0.1884 | 1,2,3,5-TETRAMETHYLBENZENE | . | 0.08 | 0.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0085 | ERA 0804-08-02VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.83599 | 0.10313 | 0.83599 | 0.053079 | 0.039347
1,2,3,5-TETRAMETHYLBENZENE | 2021 | 50000GCM66 | 2009-06-17 | 2008-10-01 | 2009-09-30 | ug/L | 0.69002 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 20 µl | 0.1884 | 1,2,3,5-TETRAMETHYLBENZENE | . | 0.08 | 0.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69002 | ERA 0804-08-02VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.83599 | 0.10313 | 0.83599 | 0.053079 | 0.039347
1,2,3,5-TETRAMETHYLBENZENE | 2021 | 50000GCM66 | 2009-07-25 | 2008-10-01 | 2009-09-30 | ug/L | 0.82272 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 40 µl | 0.3768 | 1,2,3,5-TETRAMETHYLBENZENE | . | 0.08 | 0.31 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82272 | ERA 0804-08-02VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.83599 | 0.10313 | 0.83599 | 0.053079 | 0.039347
1,2,3,5-TETRAMETHYLBENZENE | 2021 | 50000GCM66 | 2009-09-05 | 2008-10-01 | 2009-09-30 | ug/L | 0.79618 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 20 µl | 0.1884 | 1,2,3,5-TETRAMETHYLBENZENE | . | 0.08 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79618 | ERA 0804-08-02VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.83599 | 0.10313 | 0.83599 | 0.053079 | 0.039347
1,2,3,5-TETRAMETHYLBENZENE | 2021 | 50000GCM66 | 2013-12-12 | 2010-10-01 | 2050-09-30 | ug/L | 0.86626 | NSI, Accu | 053013, 213041120 | NSI 053013: 20 µl & Accu 213041120: 20 µl | 0.1974 | 1,2,3,5-TETRAMETHYLBENZENE | . | 0.08 | 0.171 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86626 | NS053013, Ac2131120 | NS | Ac | Ac | 053013 | 2131120 | 2131120 |  | 2131120 | 2131120 | Y | Recoverable Result | Y | 2 |  | 1 | 0.86626 |  | 0.86626 | 0 | 0
1,2,3,5-TETRAMETHYLBENZENE | 2021 | 50000GCM66 | 2013-07-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.885 | NSI, Supelco | 053013, LC00154 | NSI 053013: 20 µl & Supelco LC00154: 20 µl | 0.2 | 1,2,3,5-TETRAMETHYLBENZENE | . | 0.08 | 0.177 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.885 | NS053013, SuLC00154 | NS | Su | Su | 053013 | LC00154 | LC00154 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.885 |  | 0.885 | 0 | 0
1,2,3,5-TETRAMETHYLBENZENE | 2021 | 50000GCM66 | 2013-02-28 | 2010-10-01 | 2050-09-30 | ug/L | 0.84093 | NSI, Accu | 062112-01VOA, 212051193 | NSI 062112-01VOA: 10 µl & Accu 212051193: 10 µl | 0.1974 | 1,2,3,5-TETRAMETHYLBENZENE | . | 0.08 | 0.166 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84093 | NS0621VOA, Ac2121193 | NS | Ac | Ac | 0621VOA | 2121193 | 2121193 | 0621VOA | 2121193 | 2121193 | Y | Recoverable Result | Y | 2 |  | 1 | 0.84093 |  | 0.84093 | 0 | 0
1,2,3,5-TETRAMETHYLBENZENE | 2021 | 50000GCM66 | 2012-09-11 | 2010-10-01 | 2050-09-30 | ug/L | 0.7675 | NSI, Supelco | 062112-01VOA, LB92787 | NSI 062112-01VOA: 20 µl & Supelco LB92787: 20 µl | 0.4 | 1,2,3,5-TETRAMETHYLBENZENE | . | 0.08 | 0.307 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7675 | NS0621VOA, SuLB92787 | NS | Su | Su | 0621VOA | LB92787 | LB92787 | 0621VOA |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.85875 | 0.12905 | 0.85875 | 0.1825 | 0.13529
1,2,3,5-TETRAMETHYLBENZENE | 2021 | 50000GCM66 | 2012-12-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.95 | NSI, Supelco | 062112-01VOA, LB92787 | NSI 062112-01VOA: 40 µl & Supelco LB92787: 40 µl | 0.8 | 1,2,3,5-TETRAMETHYLBENZENE | . | 0.08 | 0.76 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95 | NS0621VOA, SuLB92787 | NS | Su | Su | 0621VOA | LB92787 | LB92787 | 0621VOA |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.85875 | 0.12905 | 0.85875 | 0.1825 | 0.13529
1,2,3,5-TETRAMETHYLBENZENE | 2021 | 50000GCM66 | 2008-12-20 | 2008-10-01 | 2009-09-30 | ug/L | 0.72222 | NSI | 021408-01 | NSI 021408-01: 20 µl | 0.18 | 1,2,3,5-TETRAMETHYLBENZENE | . | 0.08 | 0.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72222 | NSI 021408-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.72222 |  | 0.72222 | 0 | 0
1,2,3,5-TETRAMETHYLBENZENE | 2021 | 50000GCM66 | 2010-11-05 | 2010-10-01 | 2050-09-30 | ug/L | 0.86957 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.092 | 1,2,3,5-TETRAMETHYLBENZENE | . | 0.08 | 0.08 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86957 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.85326 | 0.07886 | 0.86413 | 0.10054 | 0.074532
1,2,3,5-TETRAMETHYLBENZENE | 2021 | 50000GCM66 | 2011-01-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.90761 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.184 | 1,2,3,5-TETRAMETHYLBENZENE | . | 0.08 | 0.167 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90761 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.85326 | 0.07886 | 0.86413 | 0.10054 | 0.074532
1,2,3,5-TETRAMETHYLBENZENE | 2021 | 50000GCM66 | 2011-03-01 | 2010-10-01 | 2050-09-30 | ug/L | 0.86957 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.092 | 1,2,3,5-TETRAMETHYLBENZENE | . | 0.08 | 0.08 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86957 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.85326 | 0.07886 | 0.86413 | 0.10054 | 0.074532
1,2,3,5-TETRAMETHYLBENZENE | 2021 | 50000GCM66 | 2011-04-13 | 2010-10-01 | 2050-09-30 | ug/L | 0.68478 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.184 | 1,2,3,5-TETRAMETHYLBENZENE | . | 0.08 | 0.126 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68478 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.85326 | 0.07886 | 0.86413 | 0.10054 | 0.074532
1,2,3,5-TETRAMETHYLBENZENE | 2021 | 50000GCM66 | 2011-05-03 | 2010-10-01 | 2050-09-30 | ug/L | 0.82609 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.092 | 1,2,3,5-TETRAMETHYLBENZENE | . | 0.08 | 0.076 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82609 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.85326 | 0.07886 | 0.86413 | 0.10054 | 0.074532
1,2,3,5-TETRAMETHYLBENZENE | 2021 | 50000GCM66 | 2011-06-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.8587 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.184 | 1,2,3,5-TETRAMETHYLBENZENE | . | 0.08 | 0.158 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8587 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.85326 | 0.07886 | 0.86413 | 0.10054 | 0.074532
1,2,3,5-TETRAMETHYLBENZENE | 2021 | 50000GCM66 | 2011-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.91304 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.092 | 1,2,3,5-TETRAMETHYLBENZENE | . | 0.08 | 0.084 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91304 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.85326 | 0.07886 | 0.86413 | 0.10054 | 0.074532
1,2,3,5-TETRAMETHYLBENZENE | 2021 | 50000GCM66 | 2011-10-18 | 2010-10-01 | 2050-09-30 | ug/L | 0.93478 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.092 | 1,2,3,5-TETRAMETHYLBENZENE | . | 0.08 | 0.086 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93478 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.85326 | 0.07886 | 0.86413 | 0.10054 | 0.074532
1,2,3,5-TETRAMETHYLBENZENE | 2021 | 50000GCM66 | 2011-11-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.97283 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.184 | 1,2,3,5-TETRAMETHYLBENZENE | . | 0.08 | 0.179 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97283 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.85326 | 0.07886 | 0.86413 | 0.10054 | 0.074532
1,2,3,5-TETRAMETHYLBENZENE | 2021 | 50000GCM66 | 2012-03-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.79348 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.092 | 1,2,3,5-TETRAMETHYLBENZENE | . | 0.08 | 0.073 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79348 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.85326 | 0.07886 | 0.86413 | 0.10054 | 0.074532
1,2,3,5-TETRAMETHYLBENZENE | 2021 | 50000GCM66 | 2012-05-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.84239 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.184 | 1,2,3,5-TETRAMETHYLBENZENE | . | 0.08 | 0.155 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84239 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.85326 | 0.07886 | 0.86413 | 0.10054 | 0.074532
1,2,3,5-TETRAMETHYLBENZENE | 2021 | 50000GCM66 | 2012-05-25 | 2010-10-01 | 2050-09-30 | ug/L | 0.7663 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.184 | 1,2,3,5-TETRAMETHYLBENZENE | . | 0.08 | 0.141 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7663 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.85326 | 0.07886 | 0.86413 | 0.10054 | 0.074532
1,2,3,5-TETRAMETHYLBENZENE | 2021 | 50000GCM66 | 2009-10-22 | 2009-10-01 | 2010-09-30 | ug/L | 0.71795 | Restek | A069860 | Restek A069860: 10 µl | 0.156 | 1,2,3,5-TETRAMETHYLBENZENE | . | 0.08 | 0.112 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71795 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.77802 | 0.075208 | 0.77778 | 0.10256 | 0.07603
1,2,3,5-TETRAMETHYLBENZENE | 2021 | 50000GCM66 | 2009-12-04 | 2009-10-01 | 2010-09-30 | ug/L | 0.72009 | Restek | A069860 | Restek A069860: 30 µl | 0.468 | 1,2,3,5-TETRAMETHYLBENZENE | . | 0.08 | 0.337 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72009 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.77802 | 0.075208 | 0.77778 | 0.10256 | 0.07603
1,2,3,5-TETRAMETHYLBENZENE | 2021 | 50000GCM66 | 2010-01-26 | 2009-10-01 | 2010-09-30 | ug/L | 0.74359 | Restek | A069860 | Restek A069860: 10 µl | 0.156 | 1,2,3,5-TETRAMETHYLBENZENE | . | 0.08 | 0.116 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74359 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.77802 | 0.075208 | 0.77778 | 0.10256 | 0.07603
1,2,3,5-TETRAMETHYLBENZENE | 2021 | 50000GCM66 | 2010-03-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.82265 | Restek | A069860 | Restek A069860: 30 µl | 0.468 | 1,2,3,5-TETRAMETHYLBENZENE | . | 0.08 | 0.385 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82265 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.77802 | 0.075208 | 0.77778 | 0.10256 | 0.07603
1,2,3,5-TETRAMETHYLBENZENE | 2021 | 50000GCM66 | 2010-04-13 | 2009-10-01 | 2010-09-30 | ug/L | 0.79487 | Restek | A069860 | Restek A069860: 10 µl | 0.156 | 1,2,3,5-TETRAMETHYLBENZENE | . | 0.08 | 0.124 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79487 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.77802 | 0.075208 | 0.77778 | 0.10256 | 0.07603
1,2,3,5-TETRAMETHYLBENZENE | 2021 | 50000GCM66 | 2010-05-22 | 2009-10-01 | 2010-09-30 | ug/L | 0.77778 | Restek | A069860 | Restek A069860: 30 µl | 0.468 | 1,2,3,5-TETRAMETHYLBENZENE | . | 0.08 | 0.364 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77778 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.77802 | 0.075208 | 0.77778 | 0.10256 | 0.07603
1,2,3,5-TETRAMETHYLBENZENE | 2021 | 50000GCM66 | 2010-07-09 | 2009-10-01 | 2010-09-30 | ug/L | 0.91026 | Restek | A069860 | Restek A069860: 10 µl | 0.156 | 1,2,3,5-TETRAMETHYLBENZENE | . | 0.08 | 0.142 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91026 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.77802 | 0.075208 | 0.77778 | 0.10256 | 0.07603
1,2,3,5-TETRAMETHYLBENZENE | 2021 | 50000GCM66 | 2010-08-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.84829 | Restek | A069860 | Restek A069860: 30 µl | 0.468 | 1,2,3,5-TETRAMETHYLBENZENE | . | 0.08 | 0.397 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84829 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.77802 | 0.075208 | 0.77778 | 0.10256 | 0.07603
1,2,3,5-TETRAMETHYLBENZENE | 2021 | 50000GCM66 | 2010-09-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.66667 | Restek | A069860 | Restek A069860: 10 µl | 0.156 | 1,2,3,5-TETRAMETHYLBENZENE | . | 0.08 | 0.104 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66667 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.77802 | 0.075208 | 0.77778 | 0.10256 | 0.07603
1,2,3,5-TETRAMETHYLBENZENE | 2021 | 50000GCM66 | 2012-07-30 | 2010-10-01 | 2050-09-30 | ug/L | 0.8075 | Supelco, Abs | LB92787, 051712 | Supelco LB92787: 20 µl & Abs 051712: 20 µl | 0.4 | 1,2,3,5-TETRAMETHYLBENZENE | . | 0.08 | 0.323 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8075 | SuLB92787, Ab051712 | Su | Ab | Ab | LB92787 | 051712 | 051712 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.8075 |  | 0.8075 | 0 | 0
1,2,3,5-TETRAMETHYLBENZENE | 2021 | 50000GCM66 | 2013-03-29 | 2010-10-01 | 2050-09-30 | ug/L | 0.78 | Supelco, ChemService | LB92787, 472200 | Supelco LB92787: 10 µl & ChemService 472200: 10 µl | 0.2 | 1,2,3,5-TETRAMETHYLBENZENE | . | 0.08 | 0.156 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78 | SuLB92787, Ch472200 | Su | Ch | Ch | LB92787 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.695 | 0.12021 | 0.695 | 0.17 | 0.12602
1,2,3,5-TETRAMETHYLBENZENE | 2021 | 50000GCM66 | 2013-05-03 | 2010-10-01 | 2050-09-30 | ug/L | 0.61 | Supelco, ChemService | LB92787, 472200 | Supelco LB92787: 10 µl & ChemService 472200: 10 µl | 0.2 | 1,2,3,5-TETRAMETHYLBENZENE | . | 0.08 | 0.122 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61 | SuLB92787, Ch472200 | Su | Ch | Ch | LB92787 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.695 | 0.12021 | 0.695 | 0.17 | 0.12602
1,2,3,5-TETRAMETHYLBENZENE | 2021 | 50000GCM66 | 2013-08-06 | 2010-10-01 | 2050-09-30 | ug/L | 0.64 | Supelco, Abs | LC00154, 051413 | Supelco LC00154: 20 µl & Abs 051413: 20 µl | 0.2 | 1,2,3,5-TETRAMETHYLBENZENE | . | 0.08 | 0.128 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64 | SuLC00154, Ab051413 | Su | Ab | Ab | LC00154 | 051413 | 051413 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.78 | 0.19799 | 0.78 | 0.28 | 0.20756
1,2,3,5-TETRAMETHYLBENZENE | 2021 | 50000GCM66 | 2013-12-12 | 2010-10-01 | 2050-09-30 | ug/L | 0.92 | Supelco, Abs | LC00154, 051413 | Supelco LC00154: 10 µl & Abs 051413: 10 µl | 0.1 | 1,2,3,5-TETRAMETHYLBENZENE | . | 0.08 | 0.092 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92 | SuLC00154, Ab051413 | Su | Ab | Ab | LC00154 | 051413 | 051413 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.78 | 0.19799 | 0.78 | 0.28 | 0.20756
1,2,3,5-TETRAMETHYLBENZENE | 2021 | 50000GCM66 | 2013-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.74 | Supelco, ChemService | LC00154, 1530700 | Supelco LC00154: 20 µl & ChemService 1530700: 20 µl | 0.2 | 1,2,3,5-TETRAMETHYLBENZENE | . | 0.08 | 0.148 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74 | SuLC00154, Ch1530700 | Su | Ch | Ch | LC00154 | 1530700 | 1530700 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.74 |  | 0.74 | 0 | 0
1,2,3,5-TETRAMETHYLBENZENE | 2021 | 50000GCM66 | 2009-02-27 | 2008-10-01 | 2009-09-30 | ug/L | 0.84746 | Supelco | LB60727 | Supelco LB60727: 20 µl | 0.1888 | 1,2,3,5-TETRAMETHYLBENZENE | . | 0.08 | 0.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84746 | Supelco LB60727 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.80332 | 0.0704 | 0.79449 | 0.10593 | 0.078526
1,2,3,5-TETRAMETHYLBENZENE | 2021 | 50000GCM66 | 2009-04-08 | 2008-10-01 | 2009-09-30 | ug/L | 0.74153 | Supelco | LB60727 | Supelco LB60727: 40 µl | 0.3776 | 1,2,3,5-TETRAMETHYLBENZENE | . | 0.08 | 0.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74153 | Supelco LB60727 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.80332 | 0.0704 | 0.79449 | 0.10593 | 0.078526
1,2,3,5-TETRAMETHYLBENZENE | 2021 | 50000GCM66 | 2009-05-16 | 2008-10-01 | 2009-09-30 | ug/L | 0.84746 | Supelco | LB60727 | Supelco LB60727: 20 µl | 0.1888 | 1,2,3,5-TETRAMETHYLBENZENE | . | 0.08 | 0.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84746 | Supelco LB60727 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.80332 | 0.0704 | 0.79449 | 0.10593 | 0.078526
1,2,3,5-TETRAMETHYLBENZENE | 2021 | 50000GCM66 | 2009-07-08 | 2008-10-01 | 2009-09-30 | ug/L | 0.74153 | Supelco | LB60727 | Supelco LB60727: 40 µl | 0.3776 | 1,2,3,5-TETRAMETHYLBENZENE | . | 0.08 | 0.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74153 | Supelco LB60727 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.80332 | 0.0704 | 0.79449 | 0.10593 | 0.078526
1,2,3,5-TETRAMETHYLBENZENE | 2021 | 50000GCM66 | 2009-08-19 | 2008-10-01 | 2009-09-30 | ug/L | 0.90042 | Supelco | LB60727 | Supelco LB60727: 20 µl | 0.1888 | 1,2,3,5-TETRAMETHYLBENZENE | . | 0.08 | 0.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90042 | Supelco LB60727 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.80332 | 0.0704 | 0.79449 | 0.10593 | 0.078526
1,2,3,5-TETRAMETHYLBENZENE | 2021 | 50000GCM66 | 2009-09-26 | 2008-10-01 | 2009-09-30 | ug/L | 0.74153 | Supelco | LB60727 | Supelco LB60727: 20 µl | 0.1888 | 1,2,3,5-TETRAMETHYLBENZENE | . | 0.08 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74153 | Supelco LB60727 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.80332 | 0.0704 | 0.79449 | 0.10593 | 0.078526