## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
1,2,3-TRICHLOROBENZENE | 2021 | 77613GCM66 | 2009-01-27 | 2008-10-01 | 2009-09-30 | ug/L | 0.93254 | Abs | 080408VOC | Abs 080408VOC: 40 µl | 0.504 | 1,2,3-TRICHLOROBENZENE | . | 0.06 | 0.47 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93254 | Abs 080408VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.82011 | 0.068349 | 0.81349 | 0.099206 | 0.073541
1,2,3-TRICHLOROBENZENE | 2021 | 77613GCM66 | 2009-03-14 | 2008-10-01 | 2009-09-30 | ug/L | 0.75397 | Abs | 080408VOC | Abs 080408VOC: 20 µl | 0.252 | 1,2,3-TRICHLOROBENZENE | . | 0.06 | 0.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75397 | Abs 080408VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.82011 | 0.068349 | 0.81349 | 0.099206 | 0.073541
1,2,3-TRICHLOROBENZENE | 2021 | 77613GCM66 | 2009-04-21 | 2008-10-01 | 2009-09-30 | ug/L | 0.85317 | Abs | 080408VOC | Abs 080408VOC: 40 µl | 0.504 | 1,2,3-TRICHLOROBENZENE | . | 0.06 | 0.43 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85317 | Abs 080408VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.82011 | 0.068349 | 0.81349 | 0.099206 | 0.073541
1,2,3-TRICHLOROBENZENE | 2021 | 77613GCM66 | 2009-06-09 | 2008-10-01 | 2009-09-30 | ug/L | 0.83333 | Abs | 080408VOC | Abs 080408VOC: 20 µl | 0.252 | 1,2,3-TRICHLOROBENZENE | . | 0.06 | 0.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83333 | Abs 080408VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.82011 | 0.068349 | 0.81349 | 0.099206 | 0.073541
1,2,3-TRICHLOROBENZENE | 2021 | 77613GCM66 | 2009-07-17 | 2008-10-01 | 2009-09-30 | ug/L | 0.75397 | Abs | 080408VOC | Abs 080408VOC: 20 µl | 0.252 | 1,2,3-TRICHLOROBENZENE | . | 0.06 | 0.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75397 | Abs 080408VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.82011 | 0.068349 | 0.81349 | 0.099206 | 0.073541
1,2,3-TRICHLOROBENZENE | 2021 | 77613GCM66 | 2009-08-29 | 2008-10-01 | 2009-09-30 | ug/L | 0.79365 | Abs | 080408VOC | Abs 080408VOC: 20 µl | 0.252 | 1,2,3-TRICHLOROBENZENE | . | 0.06 | 0.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79365 | Abs 080408VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.82011 | 0.068349 | 0.81349 | 0.099206 | 0.073541
1,2,3-TRICHLOROBENZENE | 2021 | 77613GCM66 | 2013-01-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.92377 | Accu, Abs | 212051193, 051712 | Accu 212051193: 40 µl & Abs 051712: 40 µl | 1.2016 | 1,2,3-TRICHLOROBENZENE | . | 0.06 | 1.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92377 | Ac2121193, Ab051712 | Ac | Ab | Ab | 2121193 | 051712 | 051712 | 2121193 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.92377 |  | 0.92377 | 0 | 0
1,2,3-TRICHLOROBENZENE | 2021 | 77613GCM66 | 2013-06-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.89134 | Accu, Abs | 213041120, 051413 | Accu 213041120: 10 µl & Abs 051413: 10 µl | 0.07068 | 1,2,3-TRICHLOROBENZENE | . | 0.06 | 0.063 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89134 | Ac2131120, Ab051413 | Ac | Ab | Ab | 2131120 | 051413 | 051413 | 2131120 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.89134 |  | 0.89134 | 0 | 0
1,2,3-TRICHLOROBENZENE | 2021 | 77613GCM66 | 2013-11-01 | 2010-10-01 | 2050-09-30 | ug/L | 0.81353 | Accu, ChemService | 213041120, 1530700 | Accu 213041120: 20 µl & ChemService 1530700: 20 µl | 0.14136 | 1,2,3-TRICHLOROBENZENE | . | 0.06 | 0.115 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81353 | Ac2131120, Ch1530700 | Ac | Ch | Ch | 2131120 | 1530700 | 1530700 | 2131120 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.83829 | 0.035015 | 0.83829 | 0.049519 | 0.036708
1,2,3-TRICHLOROBENZENE | 2021 | 77613GCM66 | 2013-12-31 | 2010-10-01 | 2050-09-30 | ug/L | 0.86304 | Accu, ChemService | 213041120, 1530700 | Accu 213041120: 10 µl & ChemService 1530700: 10 µl | 0.07068 | 1,2,3-TRICHLOROBENZENE | . | 0.06 | 0.061 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86304 | Ac2131120, Ch1530700 | Ac | Ch | Ch | 2131120 | 1530700 | 1530700 | 2131120 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.83829 | 0.035015 | 0.83829 | 0.049519 | 0.036708
1,2,3-TRICHLOROBENZENE | 2021 | 77613GCM66 | 2009-11-10 | 2009-10-01 | 2010-09-30 | ug/L | 0.87413 | Accu | 209081198 | Accu 209081198: 10 µl | 0.12012 | 1,2,3-TRICHLOROBENZENE | . | 0.06 | 0.105 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87413 | Accu 209081198 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.90673 | 0.076426 | 0.94073 | 0.086025 | 0.06377
1,2,3-TRICHLOROBENZENE | 2021 | 77613GCM66 | 2009-12-24 | 2009-10-01 | 2010-09-30 | ug/L | 0.75203 | Accu | 209081198 | Accu 209081198: 30 µl | 0.36036 | 1,2,3-TRICHLOROBENZENE | . | 0.06 | 0.271 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75203 | Accu 209081198 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.90673 | 0.076426 | 0.94073 | 0.086025 | 0.06377
1,2,3-TRICHLOROBENZENE | 2021 | 77613GCM66 | 2010-02-19 | 2009-10-01 | 2010-09-30 | ug/L | 0.94905 | Accu | 209081198 | Accu 209081198: 10 µl | 0.12012 | 1,2,3-TRICHLOROBENZENE | . | 0.06 | 0.114 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94905 | Accu 209081198 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.90673 | 0.076426 | 0.94073 | 0.086025 | 0.06377
1,2,3-TRICHLOROBENZENE | 2021 | 77613GCM66 | 2010-03-26 | 2009-10-01 | 2010-09-30 | ug/L | 0.95183 | Accu | 209081198 | Accu 209081198: 30 µl | 0.36036 | 1,2,3-TRICHLOROBENZENE | . | 0.06 | 0.343 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95183 | Accu 209081198 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.90673 | 0.076426 | 0.94073 | 0.086025 | 0.06377
1,2,3-TRICHLOROBENZENE | 2021 | 77613GCM66 | 2010-05-05 | 2009-10-01 | 2010-09-30 | ug/L | 0.94073 | Accu | 209081198 | Accu 209081198: 10 µl | 0.12012 | 1,2,3-TRICHLOROBENZENE | . | 0.06 | 0.113 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94073 | Accu 209081198 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.90673 | 0.076426 | 0.94073 | 0.086025 | 0.06377
1,2,3-TRICHLOROBENZENE | 2021 | 77613GCM66 | 2010-06-17 | 2009-10-01 | 2010-09-30 | ug/L | 0.8547 | Accu | 209081198 | Accu 209081198: 30 µl | 0.36036 | 1,2,3-TRICHLOROBENZENE | . | 0.06 | 0.308 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8547 | Accu 209081198 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.90673 | 0.076426 | 0.94073 | 0.086025 | 0.06377
1,2,3-TRICHLOROBENZENE | 2021 | 77613GCM66 | 2010-07-16 | 2009-10-01 | 2010-09-30 | ug/L | 0.94073 | Accu | 209081198 | Accu 209081198: 10 µl | 0.12012 | 1,2,3-TRICHLOROBENZENE | . | 0.06 | 0.113 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94073 | Accu 209081198 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.90673 | 0.076426 | 0.94073 | 0.086025 | 0.06377
1,2,3-TRICHLOROBENZENE | 2021 | 77613GCM66 | 2010-09-01 | 2009-10-01 | 2010-09-30 | ug/L | 0.99068 | Accu | 209081198 | Accu 209081198: 10 µl | 0.12012 | 1,2,3-TRICHLOROBENZENE | . | 0.06 | 0.119 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99068 | Accu 209081198 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.90673 | 0.076426 | 0.94073 | 0.086025 | 0.06377
1,2,3-TRICHLOROBENZENE | 2021 | 77613GCM66 | 2013-05-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.86304 | Crescent, Accu | 04CC151, 213041120 | Crescent 04CC151: 10 µl & Accu 213041120: 10 µl | 0.07068 | 1,2,3-TRICHLOROBENZENE | . | 0.06 | 0.061 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86304 | Cr04CC151, Ac2131120 | Cr | Ac | Ac | 04CC151 | 2131120 | 2131120 |  | 2131120 | 2131120 | Y | Recoverable Result | Y | 2 |  | 1 | 0.86304 |  | 0.86304 | 0 | 0
1,2,3-TRICHLOROBENZENE | 2021 | 77613GCM66 | 2013-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.73314 | Crescent, Supelco | 04CC151, LC00154 | Crescent 04CC151: 10 µl & Supelco LC00154: 10 µl | 0.0682 | 1,2,3-TRICHLOROBENZENE | . | 0.06 | 0.05 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73314 | Cr04CC151, SuLC00154 | Cr | Su | Su | 04CC151 | LC00154 | LC00154 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.76613 | 0.046657 | 0.76613 | 0.065982 | 0.048912
1,2,3-TRICHLOROBENZENE | 2021 | 77613GCM66 | 2013-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.79912 | Crescent, Supelco | 04CC151, LC00154 | Crescent 04CC151: 20 µl & Supelco LC00154: 20 µl | 0.1364 | 1,2,3-TRICHLOROBENZENE | . | 0.06 | 0.109 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79912 | Cr04CC151, SuLC00154 | Cr | Su | Su | 04CC151 | LC00154 | LC00154 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.76613 | 0.046657 | 0.76613 | 0.065982 | 0.048912
1,2,3-TRICHLOROBENZENE | 2021 | 77613GCM66 | 2012-07-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.83222 | Crescent, Accu | 05BB048, 212051193 | Crescent 05BB048: 10 µl & Accu 212051193: 10 µl | 0.3004 | 1,2,3-TRICHLOROBENZENE | . | 0.06 | 0.25 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83222 | Cr05BB048, Ac2121193 | Cr | Ac | Ac | 05BB048 | 2121193 | 2121193 |  | 2121193 | 2121193 | Y | Recoverable Result | Y | 2 |  | 2 | 0.86551 | 0.047078 | 0.86551 | 0.066578 | 0.049354
1,2,3-TRICHLOROBENZENE | 2021 | 77613GCM66 | 2012-11-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.8988 | Crescent, Accu | 05BB048, 212051193 | Crescent 05BB048: 20 µl & Accu 212051193: 20 µl | 0.6008 | 1,2,3-TRICHLOROBENZENE | . | 0.06 | 0.54 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8988 | Cr05BB048, Ac2121193 | Cr | Ac | Ac | 05BB048 | 2121193 | 2121193 |  | 2121193 | 2121193 | Y | Recoverable Result | Y | 2 |  | 2 | 0.86551 | 0.047078 | 0.86551 | 0.066578 | 0.049354
1,2,3-TRICHLOROBENZENE | 2021 | 77613GCM66 | 2013-12-12 | 2010-10-01 | 2050-09-30 | ug/L | 0.8489 | NSI, Accu | 053013, 213041120 | NSI 053013: 20 µl & Accu 213041120: 20 µl | 0.14136 | 1,2,3-TRICHLOROBENZENE | . | 0.06 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8489 | NS053013, Ac2131120 | NS | Ac | Ac | 053013 | 2131120 | 2131120 |  | 2131120 | 2131120 | Y | Recoverable Result | Y | 2 |  | 1 | 0.8489 |  | 0.8489 | 0 | 0
1,2,3-TRICHLOROBENZENE | 2021 | 77613GCM66 | 2013-07-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.94575 | NSI, Supelco | 053013, LC00154 | NSI 053013: 20 µl & Supelco LC00154: 20 µl | 0.1364 | 1,2,3-TRICHLOROBENZENE | . | 0.06 | 0.129 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94575 | NS053013, SuLC00154 | NS | Su | Su | 053013 | LC00154 | LC00154 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.94575 |  | 0.94575 | 0 | 0
1,2,3-TRICHLOROBENZENE | 2021 | 77613GCM66 | 2013-02-28 | 2010-10-01 | 2050-09-30 | ug/L | 0.94541 | NSI, Accu | 062112-01VOA, 212051193 | NSI 062112-01VOA: 10 µl & Accu 212051193: 10 µl | 0.3004 | 1,2,3-TRICHLOROBENZENE | . | 0.06 | 0.284 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94541 | NS0621VOA, Ac2121193 | NS | Ac | Ac | 0621VOA | 2121193 | 2121193 | 0621VOA | 2121193 | 2121193 | Y | Recoverable Result | Y | 2 |  | 1 | 0.94541 |  | 0.94541 | 0 | 0
1,2,3-TRICHLOROBENZENE | 2021 | 77613GCM66 | 2012-09-11 | 2010-10-01 | 2050-09-30 | ug/L | 0.7613 | NSI, Supelco | 062112-01VOA, LB92787 | NSI 062112-01VOA: 20 µl & Supelco LB92787: 20 µl | 0.6016 | 1,2,3-TRICHLOROBENZENE | . | 0.06 | 0.458 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7613 | NS0621VOA, SuLB92787 | NS | Su | Su | 0621VOA | LB92787 | LB92787 | 0621VOA |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.81699 | 0.07875 | 0.81699 | 0.11137 | 0.082557
1,2,3-TRICHLOROBENZENE | 2021 | 77613GCM66 | 2012-12-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.87267 | NSI, Supelco | 062112-01VOA, LB92787 | NSI 062112-01VOA: 40 µl & Supelco LB92787: 40 µl | 1.2032 | 1,2,3-TRICHLOROBENZENE | . | 0.06 | 1.05 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87267 | NS0621VOA, SuLB92787 | NS | Su | Su | 0621VOA | LB92787 | LB92787 | 0621VOA |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.81699 | 0.07875 | 0.81699 | 0.11137 | 0.082557
1,2,3-TRICHLOROBENZENE | 2021 | 77613GCM66 | 2010-11-05 | 2010-10-01 | 2050-09-30 | ug/L | 0.91447 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.152 | 1,2,3-TRICHLOROBENZENE | . | 0.06 | 0.139 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91447 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.85581 | 0.084039 | 0.87171 | 0.10362 | 0.076811
1,2,3-TRICHLOROBENZENE | 2021 | 77613GCM66 | 2011-01-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.93092 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.304 | 1,2,3-TRICHLOROBENZENE | . | 0.06 | 0.283 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93092 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.85581 | 0.084039 | 0.87171 | 0.10362 | 0.076811
1,2,3-TRICHLOROBENZENE | 2021 | 77613GCM66 | 2011-03-01 | 2010-10-01 | 2050-09-30 | ug/L | 0.875 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.152 | 1,2,3-TRICHLOROBENZENE | . | 0.06 | 0.133 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.875 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.85581 | 0.084039 | 0.87171 | 0.10362 | 0.076811
1,2,3-TRICHLOROBENZENE | 2021 | 77613GCM66 | 2011-04-13 | 2010-10-01 | 2050-09-30 | ug/L | 0.69737 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.304 | 1,2,3-TRICHLOROBENZENE | . | 0.06 | 0.212 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69737 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.85581 | 0.084039 | 0.87171 | 0.10362 | 0.076811
1,2,3-TRICHLOROBENZENE | 2021 | 77613GCM66 | 2011-05-03 | 2010-10-01 | 2050-09-30 | ug/L | 0.72368 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.152 | 1,2,3-TRICHLOROBENZENE | . | 0.06 | 0.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72368 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.85581 | 0.084039 | 0.87171 | 0.10362 | 0.076811
1,2,3-TRICHLOROBENZENE | 2021 | 77613GCM66 | 2011-06-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.8125 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.304 | 1,2,3-TRICHLOROBENZENE | . | 0.06 | 0.247 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8125 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.85581 | 0.084039 | 0.87171 | 0.10362 | 0.076811
1,2,3-TRICHLOROBENZENE | 2021 | 77613GCM66 | 2011-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.82895 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.152 | 1,2,3-TRICHLOROBENZENE | . | 0.06 | 0.126 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82895 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.85581 | 0.084039 | 0.87171 | 0.10362 | 0.076811
1,2,3-TRICHLOROBENZENE | 2021 | 77613GCM66 | 2011-10-18 | 2010-10-01 | 2050-09-30 | ug/L | 0.81579 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.152 | 1,2,3-TRICHLOROBENZENE | . | 0.06 | 0.124 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81579 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.85581 | 0.084039 | 0.87171 | 0.10362 | 0.076811
1,2,3-TRICHLOROBENZENE | 2021 | 77613GCM66 | 2011-11-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.97697 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.304 | 1,2,3-TRICHLOROBENZENE | . | 0.06 | 0.297 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97697 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.85581 | 0.084039 | 0.87171 | 0.10362 | 0.076811
1,2,3-TRICHLOROBENZENE | 2021 | 77613GCM66 | 2012-03-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.92105 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.152 | 1,2,3-TRICHLOROBENZENE | . | 0.06 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92105 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.85581 | 0.084039 | 0.87171 | 0.10362 | 0.076811
1,2,3-TRICHLOROBENZENE | 2021 | 77613GCM66 | 2012-05-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.90461 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.304 | 1,2,3-TRICHLOROBENZENE | . | 0.06 | 0.275 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90461 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.85581 | 0.084039 | 0.87171 | 0.10362 | 0.076811
1,2,3-TRICHLOROBENZENE | 2021 | 77613GCM66 | 2012-05-25 | 2010-10-01 | 2050-09-30 | ug/L | 0.86842 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.304 | 1,2,3-TRICHLOROBENZENE | . | 0.06 | 0.264 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86842 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.85581 | 0.084039 | 0.87171 | 0.10362 | 0.076811
1,2,3-TRICHLOROBENZENE | 2021 | 77613GCM66 | 2009-10-22 | 2009-10-01 | 2010-09-30 | ug/L | 0.78814 | Restek | A069860 | Restek A069860: 10 µl | 0.118 | 1,2,3-TRICHLOROBENZENE | E | 0.06 | 0.093 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78814 | Restek A069860 | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 0.80885 | 0.039598 | 0.80226 | 0.045198 | 0.033505
1,2,3-TRICHLOROBENZENE | 2021 | 77613GCM66 | 2009-12-04 | 2009-10-01 | 2010-09-30 | ug/L | 0.76554 | Restek | A069860 | Restek A069860: 30 µl | 0.354 | 1,2,3-TRICHLOROBENZENE | . | 0.06 | 0.271 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76554 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.80885 | 0.039598 | 0.80226 | 0.045198 | 0.033505
1,2,3-TRICHLOROBENZENE | 2021 | 77613GCM66 | 2010-01-26 | 2009-10-01 | 2010-09-30 | ug/L | 0.79661 | Restek | A069860 | Restek A069860: 10 µl | 0.118 | 1,2,3-TRICHLOROBENZENE | . | 0.06 | 0.094 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79661 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.80885 | 0.039598 | 0.80226 | 0.045198 | 0.033505
1,2,3-TRICHLOROBENZENE | 2021 | 77613GCM66 | 2010-03-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.86158 | Restek | A069860 | Restek A069860: 30 µl | 0.354 | 1,2,3-TRICHLOROBENZENE | . | 0.06 | 0.305 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86158 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.80885 | 0.039598 | 0.80226 | 0.045198 | 0.033505
1,2,3-TRICHLOROBENZENE | 2021 | 77613GCM66 | 2010-04-13 | 2009-10-01 | 2010-09-30 | ug/L | 0.85593 | Restek | A069860 | Restek A069860: 10 µl | 0.118 | 1,2,3-TRICHLOROBENZENE | . | 0.06 | 0.101 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85593 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.80885 | 0.039598 | 0.80226 | 0.045198 | 0.033505
1,2,3-TRICHLOROBENZENE | 2021 | 77613GCM66 | 2010-05-22 | 2009-10-01 | 2010-09-30 | ug/L | 0.83333 | Restek | A069860 | Restek A069860: 30 µl | 0.354 | 1,2,3-TRICHLOROBENZENE | . | 0.06 | 0.295 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83333 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.80885 | 0.039598 | 0.80226 | 0.045198 | 0.033505
1,2,3-TRICHLOROBENZENE | 2021 | 77613GCM66 | 2010-07-09 | 2009-10-01 | 2010-09-30 | ug/L | 0.83051 | Restek | A069860 | Restek A069860: 10 µl | 0.118 | 1,2,3-TRICHLOROBENZENE | . | 0.06 | 0.098 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83051 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.80885 | 0.039598 | 0.80226 | 0.045198 | 0.033505
1,2,3-TRICHLOROBENZENE | 2021 | 77613GCM66 | 2010-08-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.80226 | Restek | A069860 | Restek A069860: 30 µl | 0.354 | 1,2,3-TRICHLOROBENZENE | . | 0.06 | 0.284 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80226 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.80885 | 0.039598 | 0.80226 | 0.045198 | 0.033505
1,2,3-TRICHLOROBENZENE | 2021 | 77613GCM66 | 2010-09-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.74576 | Restek | A069860 | Restek A069860: 10 µl | 0.118 | 1,2,3-TRICHLOROBENZENE | . | 0.06 | 0.088 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74576 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.80885 | 0.039598 | 0.80226 | 0.045198 | 0.033505
1,2,3-TRICHLOROBENZENE | 2021 | 77613GCM66 | 2012-07-30 | 2010-10-01 | 2050-09-30 | ug/L | 1.009 | Supelco, Abs | LB92787, 051712 | Supelco LB92787: 20 µl & Abs 051712: 20 µl | 0.6016 | 1,2,3-TRICHLOROBENZENE | . | 0.06 | 0.607 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.009 | SuLB92787, Ab051712 | Su | Ab | Ab | LB92787 | 051712 | 051712 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.009 |  | 1.009 | 0 | 0
1,2,3-TRICHLOROBENZENE | 2021 | 77613GCM66 | 2013-03-29 | 2010-10-01 | 2050-09-30 | ug/L | 0.92088 | Supelco, ChemService | LB92787, 472200 | Supelco LB92787: 10 µl & ChemService 472200: 10 µl | 0.3008 | 1,2,3-TRICHLOROBENZENE | . | 0.06 | 0.277 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92088 | SuLB92787, Ch472200 | Su | Ch | Ch | LB92787 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.84275 | 0.11049 | 0.84275 | 0.15625 | 0.11583
1,2,3-TRICHLOROBENZENE | 2021 | 77613GCM66 | 2013-05-03 | 2010-10-01 | 2050-09-30 | ug/L | 0.76463 | Supelco, ChemService | LB92787, 472200 | Supelco LB92787: 10 µl & ChemService 472200: 10 µl | 0.3008 | 1,2,3-TRICHLOROBENZENE | . | 0.06 | 0.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76463 | SuLB92787, Ch472200 | Su | Ch | Ch | LB92787 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.84275 | 0.11049 | 0.84275 | 0.15625 | 0.11583
1,2,3-TRICHLOROBENZENE | 2021 | 77613GCM66 | 2013-08-06 | 2010-10-01 | 2050-09-30 | ug/L | 0.73314 | Supelco, Abs | LC00154, 051413 | Supelco LC00154: 20 µl & Abs 051413: 20 µl | 0.1364 | 1,2,3-TRICHLOROBENZENE | . | 0.06 | 0.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73314 | SuLC00154, Ab051413 | Su | Ab | Ab | LC00154 | 051413 | 051413 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.87977 | 0.20736 | 0.87977 | 0.29326 | 0.21739
1,2,3-TRICHLOROBENZENE | 2021 | 77613GCM66 | 2013-12-12 | 2010-10-01 | 2050-09-30 | ug/L | 1.0264 | Supelco, Abs | LC00154, 051413 | Supelco LC00154: 10 µl & Abs 051413: 10 µl | 0.0682 | 1,2,3-TRICHLOROBENZENE | . | 0.06 | 0.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0264 | SuLC00154, Ab051413 | Su | Ab | Ab | LC00154 | 051413 | 051413 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.87977 | 0.20736 | 0.87977 | 0.29326 | 0.21739
1,2,3-TRICHLOROBENZENE | 2021 | 77613GCM66 | 2013-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.90176 | Supelco, ChemService | LC00154, 1530700 | Supelco LC00154: 20 µl & ChemService 1530700: 20 µl | 0.1364 | 1,2,3-TRICHLOROBENZENE | . | 0.06 | 0.123 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90176 | SuLC00154, Ch1530700 | Su | Ch | Ch | LC00154 | 1530700 | 1530700 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.90176 |  | 0.90176 | 0 | 0
1,2,3-TRICHLOROBENZENE | 2021 | 77613GCM66 | 2009-01-17 | 2008-10-01 | 2009-09-30 | ug/L | 1.4 | Ultra | CE-0471 | Ultra CE-0471: 20 µl | 0.2 | 1,2,3-TRICHLOROBENZENE | . | 0.06 | 0.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4 | Ultra CE-0471 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 1.4 |  | 1.4 | 0 | 0
1,2,3-TRICHLOROBENZENE | 2021 | 77613GCM66 | 2009-02-18 | 2008-10-01 | 2009-09-30 | ug/L | 1.0382 | Ultra | CE-2869 | Ultra CE-2869: 20 µl | 0.2408 | 1,2,3-TRICHLOROBENZENE | . | 0.06 | 0.25 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0382 | Ultra CE-2869 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.92054 | 0.10396 | 0.90324 | 0.16611 | 0.12314
1,2,3-TRICHLOROBENZENE | 2021 | 77613GCM66 | 2009-03-31 | 2008-10-01 | 2009-09-30 | ug/L | 1.0382 | Ultra | CE-2869 | Ultra CE-2869: 20 µl | 0.2408 | 1,2,3-TRICHLOROBENZENE | . | 0.06 | 0.25 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0382 | Ultra CE-2869 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.92054 | 0.10396 | 0.90324 | 0.16611 | 0.12314
1,2,3-TRICHLOROBENZENE | 2021 | 77613GCM66 | 2009-05-13 | 2008-10-01 | 2009-09-30 | ug/L | 0.91362 | Ultra | CE-2869 | Ultra CE-2869: 20 µl | 0.2408 | 1,2,3-TRICHLOROBENZENE | . | 0.06 | 0.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91362 | Ultra CE-2869 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.92054 | 0.10396 | 0.90324 | 0.16611 | 0.12314
1,2,3-TRICHLOROBENZENE | 2021 | 77613GCM66 | 2009-06-17 | 2008-10-01 | 2009-09-30 | ug/L | 0.76827 | Ultra | CE-2869 | Ultra CE-2869: 40 µl | 0.4816 | 1,2,3-TRICHLOROBENZENE | . | 0.06 | 0.37 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76827 | Ultra CE-2869 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.92054 | 0.10396 | 0.90324 | 0.16611 | 0.12314
1,2,3-TRICHLOROBENZENE | 2021 | 77613GCM66 | 2009-06-30 | 2008-10-01 | 2009-09-30 | ug/L | 0.89286 | Ultra | CE-2869 | Ultra CE-2869: 40 µl | 0.4816 | 1,2,3-TRICHLOROBENZENE | . | 0.06 | 0.43 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89286 | Ultra CE-2869 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.92054 | 0.10396 | 0.90324 | 0.16611 | 0.12314
1,2,3-TRICHLOROBENZENE | 2021 | 77613GCM66 | 2009-08-11 | 2008-10-01 | 2009-09-30 | ug/L | 0.87209 | Ultra | CE-2869 | Ultra CE-2869: 20 µl | 0.2408 | 1,2,3-TRICHLOROBENZENE | . | 0.06 | 0.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87209 | Ultra CE-2869 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.92054 | 0.10396 | 0.90324 | 0.16611 | 0.12314