## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
1,2,3-TRICHLOROPROPANE | 2021 | 77443GCM66 | 2013-11-15 | 2010-10-01 | 2050-09-30 | ug/L | 1.25 | Abs, Crescent | 051413, 04CC151 | Abs 051413: 10 µl & Crescent 04CC151: 10 µl | 0.36 | 1,2,3-TRICHLOROPROPANE | . | 0.12 | 0.45 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.25 | Ab051413, Cr04CC151 | Ab | Cr | Cr | 051413 | 04CC151 | 04CC151 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0806 | 0.23963 | 1.0806 | 0.33889 | 0.25121
1,2,3-TRICHLOROPROPANE | 2021 | 77443GCM66 | 2013-12-31 | 2010-10-01 | 2050-09-30 | ug/L | 0.91111 | Abs, Crescent | 051413, 04CC151 | Abs 051413: 20 µl & Crescent 04CC151: 20 µl | 0.72 | 1,2,3-TRICHLOROPROPANE | . | 0.12 | 0.656 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91111 | Ab051413, Cr04CC151 | Ab | Cr | Cr | 051413 | 04CC151 | 04CC151 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0806 | 0.23963 | 1.0806 | 0.33889 | 0.25121
1,2,3-TRICHLOROPROPANE | 2021 | 77443GCM66 | 2013-09-27 | 2010-10-01 | 2050-09-30 | ug/L | 0.91389 | Abs, NSI | 051413, 053013 | Abs 051413: 10 µl & NSI 053013: 10 µl | 0.36 | 1,2,3-TRICHLOROPROPANE | . | 0.12 | 0.329 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91389 | Ab051413, NS053013 | Ab | NS | NS | 051413 | 053013 | 053013 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.91389 |  | 0.91389 | 0 | 0
1,2,3-TRICHLOROPROPANE | 2021 | 77443GCM66 | 2012-06-12 | 2010-10-01 | 2050-09-30 | ug/L | 0.7625 | Abs | 051712 | Abs 051712: 20 µl | 0.8 | 1,2,3-TRICHLOROPROPANE | . | 0.12 | 0.61 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7625 | Abs 051712 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.895 | 0.18738 | 0.895 | 0.265 | 0.19644
1,2,3-TRICHLOROPROPANE | 2021 | 77443GCM66 | 2012-11-21 | 2010-10-01 | 2050-09-30 | ug/L | 1.0275 | Abs | 051712 | Abs 051712: 10 µl | 0.4 | 1,2,3-TRICHLOROPROPANE | . | 0.12 | 0.411 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0275 | Abs 051712 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.895 | 0.18738 | 0.895 | 0.265 | 0.19644
1,2,3-TRICHLOROPROPANE | 2021 | 77443GCM66 | 2009-11-14 | 2009-10-01 | 2010-09-30 | ug/L | 1.339 | Abs | 090809 | Abs 090809: 10 µl | 0.292 | 1,2,3-TRICHLOROPROPANE | . | 0.12 | 0.391 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.339 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0915 | 0.12045 | 1.0771 | 0.091324 | 0.067698
1,2,3-TRICHLOROPROPANE | 2021 | 77443GCM66 | 2010-01-26 | 2009-10-01 | 2010-09-30 | ug/L | 1.0502 | Abs | 090809 | Abs 090809: 30 µl | 0.876 | 1,2,3-TRICHLOROPROPANE | . | 0.12 | 0.92 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0502 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0915 | 0.12045 | 1.0771 | 0.091324 | 0.067698
1,2,3-TRICHLOROPROPANE | 2021 | 77443GCM66 | 2010-02-19 | 2009-10-01 | 2010-09-30 | ug/L | 1.0822 | Abs | 090809 | Abs 090809: 10 µl | 0.292 | 1,2,3-TRICHLOROPROPANE | . | 0.12 | 0.316 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0822 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0915 | 0.12045 | 1.0771 | 0.091324 | 0.067698
1,2,3-TRICHLOROPROPANE | 2021 | 77443GCM66 | 2010-04-02 | 2009-10-01 | 2010-09-30 | ug/L | 1.0776 | Abs | 090809 | Abs 090809: 30 µl | 0.876 | 1,2,3-TRICHLOROPROPANE | . | 0.12 | 0.944 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0776 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0915 | 0.12045 | 1.0771 | 0.091324 | 0.067698
1,2,3-TRICHLOROPROPANE | 2021 | 77443GCM66 | 2010-05-11 | 2009-10-01 | 2010-09-30 | ug/L | 1.0137 | Abs | 090809 | Abs 090809: 10 µl | 0.292 | 1,2,3-TRICHLOROPROPANE | . | 0.12 | 0.296 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0137 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0915 | 0.12045 | 1.0771 | 0.091324 | 0.067698
1,2,3-TRICHLOROPROPANE | 2021 | 77443GCM66 | 2010-06-24 | 2009-10-01 | 2010-09-30 | ug/L | 1.1644 | Abs | 090809 | Abs 090809: 30 µl | 0.876 | 1,2,3-TRICHLOROPROPANE | . | 0.12 | 1.02 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1644 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0915 | 0.12045 | 1.0771 | 0.091324 | 0.067698
1,2,3-TRICHLOROPROPANE | 2021 | 77443GCM66 | 2010-07-27 | 2009-10-01 | 2010-09-30 | ug/L | 0.92808 | Abs | 090809 | Abs 090809: 10 µl | 0.292 | 1,2,3-TRICHLOROPROPANE | . | 0.12 | 0.271 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92808 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0915 | 0.12045 | 1.0771 | 0.091324 | 0.067698
1,2,3-TRICHLOROPROPANE | 2021 | 77443GCM66 | 2010-09-08 | 2009-10-01 | 2010-09-30 | ug/L | 1.0765 | Abs | 090809 | Abs 090809: 30 µl | 0.876 | 1,2,3-TRICHLOROPROPANE | . | 0.12 | 0.943 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0765 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0915 | 0.12045 | 1.0771 | 0.091324 | 0.067698
1,2,3-TRICHLOROPROPANE | 2021 | 77443GCM66 | 2013-01-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.875 | Accu, Abs | 212051193, 051712 | Accu 212051193: 40 µl & Abs 051712: 40 µl | 1.6 | 1,2,3-TRICHLOROPROPANE | . | 0.12 | 1.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.875 | Ac2121193, Ab051712 | Ac | Ab | Ab | 2121193 | 051712 | 051712 | 2121193 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.875 |  | 0.875 | 0 | 0
1,2,3-TRICHLOROPROPANE | 2021 | 77443GCM66 | 2013-06-08 | 2010-10-01 | 2050-09-30 | ug/L | 1.0278 | Accu, Abs | 213041120, 051413 | Accu 213041120: 10 µl & Abs 051413: 10 µl | 0.36 | 1,2,3-TRICHLOROPROPANE | . | 0.12 | 0.37 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0278 | Ac2131120, Ab051413 | Ac | Ab | Ab | 2131120 | 051413 | 051413 | 2131120 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.0278 |  | 1.0278 | 0 | 0
1,2,3-TRICHLOROPROPANE | 2021 | 77443GCM66 | 2013-11-01 | 2010-10-01 | 2050-09-30 | ug/L | 0.89306 | Accu, ChemService | 213041120, 1530700 | Accu 213041120: 20 µl & ChemService 1530700: 20 µl | 0.72 | 1,2,3-TRICHLOROPROPANE | . | 0.12 | 0.643 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89306 | Ac2131120, Ch1530700 | Ac | Ch | Ch | 2131120 | 1530700 | 1530700 | 2131120 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.96319 | 0.099191 | 0.96319 | 0.14028 | 0.10399
1,2,3-TRICHLOROPROPANE | 2021 | 77443GCM66 | 2013-12-31 | 2010-10-01 | 2050-09-30 | ug/L | 1.0333 | Accu, ChemService | 213041120, 1530700 | Accu 213041120: 10 µl & ChemService 1530700: 10 µl | 0.36 | 1,2,3-TRICHLOROPROPANE | . | 0.12 | 0.372 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0333 | Ac2131120, Ch1530700 | Ac | Ch | Ch | 2131120 | 1530700 | 1530700 | 2131120 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.96319 | 0.099191 | 0.96319 | 0.14028 | 0.10399
1,2,3-TRICHLOROPROPANE | 2021 | 77443GCM66 | 2013-06-29 | 2010-10-01 | 2050-09-30 | ug/L | 0.90556 | ChemService, Crescent | 1530700, 04CC151 | ChemService 1530700: 10 µl & Crescent 04CC151: 10 µl | 0.36 | 1,2,3-TRICHLOROPROPANE | . | 0.12 | 0.326 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90556 | Ch1530700, Cr04CC151 | Ch | Cr | Cr | 1530700 | 04CC151 | 04CC151 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.90556 |  | 0.90556 | 0 | 0
1,2,3-TRICHLOROPROPANE | 2021 | 77443GCM66 | 2013-08-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.9 | ChemService, NSI | 1530700, 053013 | ChemService 1530700: 20 µl & NSI 053013: 20 µl | 0.72 | 1,2,3-TRICHLOROPROPANE | . | 0.12 | 0.648 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9 | Ch1530700, NS053013 | Ch | NS | NS | 1530700 | 053013 | 053013 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.9 |  | 0.9 | 0 | 0
1,2,3-TRICHLOROPROPANE | 2021 | 77443GCM66 | 2012-10-23 | 2010-10-01 | 2050-09-30 | ug/L | 0.91875 | Crescent, Abs | 05BB048, 051712 | Crescent 05BB048: 40 µl & Abs 051712: 40 µl | 1.6 | 1,2,3-TRICHLOROPROPANE | . | 0.12 | 1.47 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91875 | Cr05BB048, Ab051712 | Cr | Ab | Ab | 05BB048 | 051712 | 051712 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.91875 |  | 0.91875 | 0 | 0
1,2,3-TRICHLOROPROPANE | 2021 | 77443GCM66 | 2012-10-11 | 2010-10-01 | 2050-09-30 | ug/L | 1.2025 | Crescent, ChemService | 05BB048, 472200 | Crescent 05BB048: 10 µl & ChemService 472200: 10 µl | 0.4 | 1,2,3-TRICHLOROPROPANE | . | 0.12 | 0.481 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2025 | Cr05BB048, Ch472200 | Cr | Ch | Ch | 05BB048 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.17 | 0.045962 | 1.17 | 0.065 | 0.048184
1,2,3-TRICHLOROPROPANE | 2021 | 77443GCM66 | 2013-02-14 | 2010-10-01 | 2050-09-30 | ug/L | 1.1375 | Crescent, ChemService | 05BB048, 472200 | Crescent 05BB048: 40 µl & ChemService 472200: 40 µl | 1.6 | 1,2,3-TRICHLOROPROPANE | . | 0.12 | 1.82 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1375 | Cr05BB048, Ch472200 | Cr | Ch | Ch | 05BB048 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.17 | 0.045962 | 1.17 | 0.065 | 0.048184
1,2,3-TRICHLOROPROPANE | 2021 | 77443GCM66 | 2010-10-23 | 2010-10-01 | 2050-09-30 | ug/L | 1.0188 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 0.16 | 1,2,3-TRICHLOROPROPANE | . | 0.12 | 0.163 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0188 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.0491 | 0.072687 | 1.0437 | 0.13125 | 0.097294
1,2,3-TRICHLOROPROPANE | 2021 | 77443GCM66 | 2010-12-03 | 2010-10-01 | 2050-09-30 | ug/L | 1.1125 | Crescent | 06MM148 | Crescent 06MM148: 40 µl | 0.32 | 1,2,3-TRICHLOROPROPANE | . | 0.12 | 0.356 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1125 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.0491 | 0.072687 | 1.0437 | 0.13125 | 0.097294
1,2,3-TRICHLOROPROPANE | 2021 | 77443GCM66 | 2011-02-14 | 2010-10-01 | 2050-09-30 | ug/L | 1.175 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 0.16 | 1,2,3-TRICHLOROPROPANE | . | 0.12 | 0.188 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.175 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.0491 | 0.072687 | 1.0437 | 0.13125 | 0.097294
1,2,3-TRICHLOROPROPANE | 2021 | 77443GCM66 | 2011-03-26 | 2010-10-01 | 2050-09-30 | ug/L | 0.93125 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 0.16 | 1,2,3-TRICHLOROPROPANE | . | 0.12 | 0.149 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93125 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.0491 | 0.072687 | 1.0437 | 0.13125 | 0.097294
1,2,3-TRICHLOROPROPANE | 2021 | 77443GCM66 | 2011-05-10 | 2010-10-01 | 2050-09-30 | ug/L | 1.0219 | Crescent | 06MM148 | Crescent 06MM148: 40 µl | 0.32 | 1,2,3-TRICHLOROPROPANE | . | 0.12 | 0.327 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0219 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.0491 | 0.072687 | 1.0437 | 0.13125 | 0.097294
1,2,3-TRICHLOROPROPANE | 2021 | 77443GCM66 | 2011-06-18 | 2010-10-01 | 2050-09-30 | ug/L | 1.0437 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 0.16 | 1,2,3-TRICHLOROPROPANE | . | 0.12 | 0.167 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0437 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.0491 | 0.072687 | 1.0437 | 0.13125 | 0.097294
1,2,3-TRICHLOROPROPANE | 2021 | 77443GCM66 | 2011-08-10 | 2010-10-01 | 2050-09-30 | ug/L | 1.1156 | Crescent | 06MM148 | Crescent 06MM148: 40 µl | 0.32 | 1,2,3-TRICHLOROPROPANE | . | 0.12 | 0.357 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1156 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.0491 | 0.072687 | 1.0437 | 0.13125 | 0.097294
1,2,3-TRICHLOROPROPANE | 2021 | 77443GCM66 | 2011-10-24 | 2010-10-01 | 2050-09-30 | ug/L | 1.1062 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 0.16 | 1,2,3-TRICHLOROPROPANE | . | 0.12 | 0.177 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1062 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.0491 | 0.072687 | 1.0437 | 0.13125 | 0.097294
1,2,3-TRICHLOROPROPANE | 2021 | 77443GCM66 | 2011-12-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.97812 | Crescent | 06MM148 | Crescent 06MM148: 40 µl | 0.32 | 1,2,3-TRICHLOROPROPANE | . | 0.12 | 0.313 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97813 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.0491 | 0.072687 | 1.0437 | 0.13125 | 0.097294
1,2,3-TRICHLOROPROPANE | 2021 | 77443GCM66 | 2012-02-24 | 2010-10-01 | 2050-09-30 | ug/L | 1.0562 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 0.16 | 1,2,3-TRICHLOROPROPANE | . | 0.12 | 0.169 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0563 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.0491 | 0.072687 | 1.0437 | 0.13125 | 0.097294
1,2,3-TRICHLOROPROPANE | 2021 | 77443GCM66 | 2012-03-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.98125 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 0.16 | 1,2,3-TRICHLOROPROPANE | . | 0.12 | 0.157 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98125 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.0491 | 0.072687 | 1.0437 | 0.13125 | 0.097294
1,2,3-TRICHLOROPROPANE | 2021 | 77443GCM66 | 2009-02-06 | 2006-10-01 | 2009-09-30 | ug/L | 1.133 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 40 µl | 0.5384 | 1,2,3-TRICHLOROPROPANE | . | 0.12 | 0.61 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.133 | ERA 0804-08-02VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0835 | 0.08525 | 1.068 | 0.13001 | 0.096379
1,2,3-TRICHLOROPROPANE | 2021 | 77443GCM66 | 2009-03-14 | 2006-10-01 | 2009-09-30 | ug/L | 1.2259 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 20 µl | 0.2692 | 1,2,3-TRICHLOROPROPANE | . | 0.12 | 0.33 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2259 | ERA 0804-08-02VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0835 | 0.08525 | 1.068 | 0.13001 | 0.096379
1,2,3-TRICHLOROPROPANE | 2021 | 77443GCM66 | 2009-04-25 | 2006-10-01 | 2009-09-30 | ug/L | 1.0773 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 20 µl | 0.2692 | 1,2,3-TRICHLOROPROPANE | . | 0.12 | 0.29 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0773 | ERA 0804-08-02VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0835 | 0.08525 | 1.068 | 0.13001 | 0.096379
1,2,3-TRICHLOROPROPANE | 2021 | 77443GCM66 | 2009-06-17 | 2006-10-01 | 2009-09-30 | ug/L | 1.003 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 20 µl | 0.2692 | 1,2,3-TRICHLOROPROPANE | . | 0.12 | 0.27 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.003 | ERA 0804-08-02VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0835 | 0.08525 | 1.068 | 0.13001 | 0.096379
1,2,3-TRICHLOROPROPANE | 2021 | 77443GCM66 | 2009-07-25 | 2006-10-01 | 2009-09-30 | ug/L | 1.0587 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 40 µl | 0.5384 | 1,2,3-TRICHLOROPROPANE | . | 0.12 | 0.57 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0587 | ERA 0804-08-02VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0835 | 0.08525 | 1.068 | 0.13001 | 0.096379
1,2,3-TRICHLOROPROPANE | 2021 | 77443GCM66 | 2009-09-05 | 2006-10-01 | 2009-09-30 | ug/L | 1.003 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 20 µl | 0.2692 | 1,2,3-TRICHLOROPROPANE | . | 0.12 | 0.27 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.003 | ERA 0804-08-02VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0835 | 0.08525 | 1.068 | 0.13001 | 0.096379
1,2,3-TRICHLOROPROPANE | 2021 | 77443GCM66 | 2012-08-28 | 2010-10-01 | 2050-09-30 | ug/L | 0.8825 | NSI, ChemService | 062112-01VOA, 472200 | NSI 062112-01VOA: 20 µl & ChemService 472200: 20 µl | 0.8 | 1,2,3-TRICHLOROPROPANE | . | 0.12 | 0.706 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8825 | NS0621VOA, Ch472200 | NS | Ch | Ch | 0621VOA | 472200 | 472200 | 0621VOA |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.91625 | 0.04773 | 0.91625 | 0.0675 | 0.050037
1,2,3-TRICHLOROPROPANE | 2021 | 77443GCM66 | 2012-12-09 | 2010-10-01 | 2050-09-30 | ug/L | 0.95 | NSI, ChemService | 062112-01VOA, 472200 | NSI 062112-01VOA: 10 µl & ChemService 472200: 10 µl | 0.4 | 1,2,3-TRICHLOROPROPANE | . | 0.12 | 0.38 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95 | NS0621VOA, Ch472200 | NS | Ch | Ch | 0621VOA | 472200 | 472200 | 0621VOA |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.91625 | 0.04773 | 0.91625 | 0.0675 | 0.050037
1,2,3-TRICHLOROPROPANE | 2021 | 77443GCM66 | 2009-10-24 | 2009-10-01 | 2010-09-30 | ug/L | 1.0959 | NSI | 090909-01VOC | NSI 090909-01VOC: 10 µl | 0.292 | 1,2,3-TRICHLOROPROPANE | . | 0.12 | 0.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0959 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.1147 | 0.072211 | 1.1067 | 0.063927 | 0.047388
1,2,3-TRICHLOROPROPANE | 2021 | 77443GCM66 | 2009-12-11 | 2009-10-01 | 2010-09-30 | ug/L | 1.0845 | NSI | 090909-01VOC | NSI 090909-01VOC: 30 µl | 0.876 | 1,2,3-TRICHLOROPROPANE | . | 0.12 | 0.95 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0845 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.1147 | 0.072211 | 1.1067 | 0.063927 | 0.047388
1,2,3-TRICHLOROPROPANE | 2021 | 77443GCM66 | 2010-02-03 | 2009-10-01 | 2010-09-30 | ug/L | 1.1062 | NSI | 090909-01VOC | NSI 090909-01VOC: 10 µl | 0.292 | 1,2,3-TRICHLOROPROPANE | . | 0.12 | 0.323 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1062 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.1147 | 0.072211 | 1.1067 | 0.063927 | 0.047388
1,2,3-TRICHLOROPROPANE | 2021 | 77443GCM66 | 2010-03-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.9863 | NSI | 090909-01VOC | NSI 090909-01VOC: 30 µl | 0.876 | 1,2,3-TRICHLOROPROPANE | . | 0.12 | 0.864 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9863 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.1147 | 0.072211 | 1.1067 | 0.063927 | 0.047388
1,2,3-TRICHLOROPROPANE | 2021 | 77443GCM66 | 2010-04-21 | 2009-10-01 | 2010-09-30 | ug/L | 1.2295 | NSI | 090909-01VOC | NSI 090909-01VOC: 10 µl | 0.292 | 1,2,3-TRICHLOROPROPANE | . | 0.12 | 0.359 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2295 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.1147 | 0.072211 | 1.1067 | 0.063927 | 0.047388
1,2,3-TRICHLOROPROPANE | 2021 | 77443GCM66 | 2010-05-29 | 2009-10-01 | 2010-09-30 | ug/L | 1.1073 | NSI | 090909-01VOC | NSI 090909-01VOC: 30 µl | 0.876 | 1,2,3-TRICHLOROPROPANE | . | 0.12 | 0.97 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1073 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.1147 | 0.072211 | 1.1067 | 0.063927 | 0.047388
1,2,3-TRICHLOROPROPANE | 2021 | 77443GCM66 | 2010-07-09 | 2009-10-01 | 2010-09-30 | ug/L | 1.1884 | NSI | 090909-01VOC | NSI 090909-01VOC: 10 µl | 0.292 | 1,2,3-TRICHLOROPROPANE | . | 0.12 | 0.347 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1884 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.1147 | 0.072211 | 1.1067 | 0.063927 | 0.047388
1,2,3-TRICHLOROPROPANE | 2021 | 77443GCM66 | 2010-08-14 | 2009-10-01 | 2010-09-30 | ug/L | 1.1199 | NSI | 090909-01VOC | NSI 090909-01VOC: 30 µl | 0.876 | 1,2,3-TRICHLOROPROPANE | . | 0.12 | 0.981 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1199 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.1147 | 0.072211 | 1.1067 | 0.063927 | 0.047388
1,2,3-TRICHLOROPROPANE | 2021 | 77443GCM66 | 2010-11-16 | 2010-10-01 | 2050-09-30 | ug/L | 0.94737 | Restek | A075493 | Restek A075493: 40 µl | 0.304 | 1,2,3-TRICHLOROPROPANE | . | 0.12 | 0.288 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94737 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.91866 | 0.058254 | 0.90132 | 0.069079 | 0.051208
1,2,3-TRICHLOROPROPANE | 2021 | 77443GCM66 | 2011-01-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.90132 | Restek | A075493 | Restek A075493: 20 µl | 0.152 | 1,2,3-TRICHLOROPROPANE | . | 0.12 | 0.137 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90132 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.91866 | 0.058254 | 0.90132 | 0.069079 | 0.051208
1,2,3-TRICHLOROPROPANE | 2021 | 77443GCM66 | 2011-03-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.94408 | Restek | A075493 | Restek A075493: 40 µl | 0.304 | 1,2,3-TRICHLOROPROPANE | . | 0.12 | 0.287 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94408 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.91866 | 0.058254 | 0.90132 | 0.069079 | 0.051208
1,2,3-TRICHLOROPROPANE | 2021 | 77443GCM66 | 2011-04-21 | 2010-10-01 | 2050-09-30 | ug/L | 0.89474 | Restek | A075493 | Restek A075493: 20 µl | 0.152 | 1,2,3-TRICHLOROPROPANE | . | 0.12 | 0.136 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89474 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.91866 | 0.058254 | 0.90132 | 0.069079 | 0.051208
1,2,3-TRICHLOROPROPANE | 2021 | 77443GCM66 | 2011-05-28 | 2010-10-01 | 2050-09-30 | ug/L | 0.88816 | Restek | A075493 | Restek A075493: 40 µl | 0.304 | 1,2,3-TRICHLOROPROPANE | . | 0.12 | 0.27 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88816 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.91866 | 0.058254 | 0.90132 | 0.069079 | 0.051208
1,2,3-TRICHLOROPROPANE | 2021 | 77443GCM66 | 2011-07-20 | 2010-10-01 | 2050-09-30 | ug/L | 1.0526 | Restek | A075493 | Restek A075493: 20 µl | 0.152 | 1,2,3-TRICHLOROPROPANE | . | 0.12 | 0.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0526 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.91866 | 0.058254 | 0.90132 | 0.069079 | 0.051208
1,2,3-TRICHLOROPROPANE | 2021 | 77443GCM66 | 2011-09-03 | 2010-10-01 | 2050-09-30 | ug/L | 0.96053 | Restek | A075493 | Restek A075493: 20 µl | 0.152 | 1,2,3-TRICHLOROPROPANE | . | 0.12 | 0.146 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96053 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.91866 | 0.058254 | 0.90132 | 0.069079 | 0.051208
1,2,3-TRICHLOROPROPANE | 2021 | 77443GCM66 | 2011-11-18 | 2010-10-01 | 2050-09-30 | ug/L | 0.86184 | Restek | A075493 | Restek A075493: 40 µl | 0.304 | 1,2,3-TRICHLOROPROPANE | . | 0.12 | 0.262 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86184 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.91866 | 0.058254 | 0.90132 | 0.069079 | 0.051208
1,2,3-TRICHLOROPROPANE | 2021 | 77443GCM66 | 2012-01-26 | 2010-10-01 | 2050-09-30 | ug/L | 0.93421 | Restek | A075493 | Restek A075493: 20 µl | 0.152 | 1,2,3-TRICHLOROPROPANE | . | 0.12 | 0.142 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93421 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.91866 | 0.058254 | 0.90132 | 0.069079 | 0.051208
1,2,3-TRICHLOROPROPANE | 2021 | 77443GCM66 | 2012-02-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.87829 | Restek | A075493 | Restek A075493: 40 µl | 0.304 | 1,2,3-TRICHLOROPROPANE | . | 0.12 | 0.267 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87829 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.91866 | 0.058254 | 0.90132 | 0.069079 | 0.051208
1,2,3-TRICHLOROPROPANE | 2021 | 77443GCM66 | 2012-04-06 | 2010-10-01 | 2050-09-30 | ug/L | 0.84211 | Restek | A075493 | Restek A075493: 20 µl | 0.152 | 1,2,3-TRICHLOROPROPANE | . | 0.12 | 0.128 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84211 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.91866 | 0.058254 | 0.90132 | 0.069079 | 0.051208
1,2,3-TRICHLOROPROPANE | 2021 | 77443GCM66 | 2012-07-30 | 2010-10-01 | 2050-09-30 | ug/L | 1.0575 | Supelco, Abs | LB92787, 051712 | Supelco LB92787: 20 µl & Abs 051712: 20 µl | 0.8 | 1,2,3-TRICHLOROPROPANE | . | 0.12 | 0.846 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0575 | SuLB92787, Ab051712 | Su | Ab | Ab | LB92787 | 051712 | 051712 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.0575 |  | 1.0575 | 0 | 0
1,2,3-TRICHLOROPROPANE | 2021 | 77443GCM66 | 2013-03-29 | 2010-10-01 | 2050-09-30 | ug/L | 1 | Supelco, ChemService | LB92787, 472200 | Supelco LB92787: 10 µl & ChemService 472200: 10 µl | 0.4 | 1,2,3-TRICHLOROPROPANE | . | 0.12 | 0.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | SuLB92787, Ch472200 | Su | Ch | Ch | LB92787 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0063 | 0.0088388 | 1.0063 | 0.0125 | 0.0092661
1,2,3-TRICHLOROPROPANE | 2021 | 77443GCM66 | 2013-05-03 | 2010-10-01 | 2050-09-30 | ug/L | 1.0125 | Supelco, ChemService | LB92787, 472200 | Supelco LB92787: 10 µl & ChemService 472200: 10 µl | 0.4 | 1,2,3-TRICHLOROPROPANE | . | 0.12 | 0.405 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0125 | SuLB92787, Ch472200 | Su | Ch | Ch | LB92787 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0063 | 0.0088388 | 1.0063 | 0.0125 | 0.0092661
1,2,3-TRICHLOROPROPANE | 2021 | 77443GCM66 | 2013-08-06 | 2010-10-01 | 2050-09-30 | ug/L | 0.93889 | Supelco, Abs | LC00154, 051413 | Supelco LC00154: 20 µl & Abs 051413: 20 µl | 0.72 | 1,2,3-TRICHLOROPROPANE | . | 0.12 | 0.676 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93889 | SuLC00154, Ab051413 | Su | Ab | Ab | LC00154 | 051413 | 051413 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.99861 | 0.08446 | 0.99861 | 0.11944 | 0.088543
1,2,3-TRICHLOROPROPANE | 2021 | 77443GCM66 | 2013-12-12 | 2010-10-01 | 2050-09-30 | ug/L | 1.0583 | Supelco, Abs | LC00154, 051413 | Supelco LC00154: 10 µl & Abs 051413: 10 µl | 0.36 | 1,2,3-TRICHLOROPROPANE | . | 0.12 | 0.381 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0583 | SuLC00154, Ab051413 | Su | Ab | Ab | LC00154 | 051413 | 051413 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.99861 | 0.08446 | 0.99861 | 0.11944 | 0.088543
1,2,3-TRICHLOROPROPANE | 2021 | 77443GCM66 | 2013-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.95417 | Supelco, ChemService | LC00154, 1530700 | Supelco LC00154: 20 µl & ChemService 1530700: 20 µl | 0.72 | 1,2,3-TRICHLOROPROPANE | . | 0.12 | 0.687 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95417 | SuLC00154, Ch1530700 | Su | Ch | Ch | LC00154 | 1530700 | 1530700 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.95417 |  | 0.95417 | 0 | 0
1,2,3-TRICHLOROPROPANE | 2021 | 77443GCM66 | 2009-02-27 | 2006-10-01 | 2009-09-30 | ug/L | 1.0045 | Supelco | LB60727 | Supelco LB60727: 20 µl | 0.2688 | 1,2,3-TRICHLOROPROPANE | . | 0.12 | 0.27 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0045 | Supelco LB60727 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.97036 | 0.03413 | 0.97656 | 0.074405 | 0.055155
1,2,3-TRICHLOROPROPANE | 2021 | 77443GCM66 | 2009-04-08 | 2006-10-01 | 2009-09-30 | ug/L | 0.98586 | Supelco | LB60727 | Supelco LB60727: 40 µl | 0.5376 | 1,2,3-TRICHLOROPROPANE | . | 0.12 | 0.53 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98586 | Supelco LB60727 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.97036 | 0.03413 | 0.97656 | 0.074405 | 0.055155
1,2,3-TRICHLOROPROPANE | 2021 | 77443GCM66 | 2009-05-16 | 2006-10-01 | 2009-09-30 | ug/L | 0.93006 | Supelco | LB60727 | Supelco LB60727: 20 µl | 0.2688 | 1,2,3-TRICHLOROPROPANE | . | 0.12 | 0.25 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93006 | Supelco LB60727 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.97036 | 0.03413 | 0.97656 | 0.074405 | 0.055155
1,2,3-TRICHLOROPROPANE | 2021 | 77443GCM66 | 2009-07-08 | 2006-10-01 | 2009-09-30 | ug/L | 0.93006 | Supelco | LB60727 | Supelco LB60727: 40 µl | 0.5376 | 1,2,3-TRICHLOROPROPANE | . | 0.12 | 0.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93006 | Supelco LB60727 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.97036 | 0.03413 | 0.97656 | 0.074405 | 0.055155
1,2,3-TRICHLOROPROPANE | 2021 | 77443GCM66 | 2009-08-19 | 2006-10-01 | 2009-09-30 | ug/L | 0.96726 | Supelco | LB60727 | Supelco LB60727: 20 µl | 0.2688 | 1,2,3-TRICHLOROPROPANE | . | 0.12 | 0.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96726 | Supelco LB60727 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.97036 | 0.03413 | 0.97656 | 0.074405 | 0.055155
1,2,3-TRICHLOROPROPANE | 2021 | 77443GCM66 | 2009-09-26 | 2006-10-01 | 2009-09-30 | ug/L | 1.0045 | Supelco | LB60727 | Supelco LB60727: 20 µl | 0.2688 | 1,2,3-TRICHLOROPROPANE | . | 0.12 | 0.27 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0045 | Supelco LB60727 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.97036 | 0.03413 | 0.97656 | 0.074405 | 0.055155
1,2,3-TRICHLOROPROPANE | 2021 | 77443GCM66 | 2009-01-17 | 2006-10-01 | 2009-09-30 | ug/L | 0.92857 | Ultra | CE-0471 | Ultra CE-0471: 20 µl | 0.28 | 1,2,3-TRICHLOROPROPANE | . | 0.12 | 0.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92857 | Ultra CE-0471 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.92857 |  | 0.92857 | 0 | 0