## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
1,2,3-TRIMETHYLBENZENE | 2021 | 77221GCM66 | 2009-01-27 | 2006-10-01 | 2009-09-30 | ug/L | 1 | Abs | 080408VOC | Abs 080408VOC: 40 µl | 0.4 | 1,2,3-TRIMETHYLBENZENE | . | 0.08 | 0.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | Abs 080408VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.81667 | 0.10328 | 0.8 | 0.1 | 0.074129
1,2,3-TRIMETHYLBENZENE | 2021 | 77221GCM66 | 2009-03-14 | 2006-10-01 | 2009-09-30 | ug/L | 0.75 | Abs | 080408VOC | Abs 080408VOC: 20 µl | 0.2 | 1,2,3-TRIMETHYLBENZENE | . | 0.08 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75 | Abs 080408VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.81667 | 0.10328 | 0.8 | 0.1 | 0.074129
1,2,3-TRIMETHYLBENZENE | 2021 | 77221GCM66 | 2009-04-21 | 2006-10-01 | 2009-09-30 | ug/L | 0.85 | Abs | 080408VOC | Abs 080408VOC: 40 µl | 0.4 | 1,2,3-TRIMETHYLBENZENE | . | 0.08 | 0.34 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85 | Abs 080408VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.81667 | 0.10328 | 0.8 | 0.1 | 0.074129
1,2,3-TRIMETHYLBENZENE | 2021 | 77221GCM66 | 2009-06-09 | 2006-10-01 | 2009-09-30 | ug/L | 0.7 | Abs | 080408VOC | Abs 080408VOC: 20 µl | 0.2 | 1,2,3-TRIMETHYLBENZENE | . | 0.08 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7 | Abs 080408VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.81667 | 0.10328 | 0.8 | 0.1 | 0.074129
1,2,3-TRIMETHYLBENZENE | 2021 | 77221GCM66 | 2009-07-17 | 2006-10-01 | 2009-09-30 | ug/L | 0.8 | Abs | 080408VOC | Abs 080408VOC: 20 µl | 0.2 | 1,2,3-TRIMETHYLBENZENE | . | 0.08 | 0.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8 | Abs 080408VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.81667 | 0.10328 | 0.8 | 0.1 | 0.074129
1,2,3-TRIMETHYLBENZENE | 2021 | 77221GCM66 | 2009-08-29 | 2006-10-01 | 2009-09-30 | ug/L | 0.8 | Abs | 080408VOC | Abs 080408VOC: 20 µl | 0.2 | 1,2,3-TRIMETHYLBENZENE | . | 0.08 | 0.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8 | Abs 080408VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.81667 | 0.10328 | 0.8 | 0.1 | 0.074129
1,2,3-TRIMETHYLBENZENE | 2021 | 77221GCM66 | 2013-01-19 | 2010-10-01 | 2050-09-30 | ug/L | 1.0257 | Accu, Abs | 212051193, 051712 | Accu 212051193: 40 µl & Abs 051712: 40 µl | 1.1992 | 1,2,3-TRIMETHYLBENZENE | . | 0.06 | 1.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0257 | Ac2121193, Ab051712 | Ac | Ab | Ab | 2121193 | 051712 | 051712 | 2121193 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.0257 |  | 1.0257 | 0 | 0
1,2,3-TRIMETHYLBENZENE | 2021 | 77221GCM66 | 2013-06-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.81764 | Accu, Abs | 213041120, 051413 | Accu 213041120: 10 µl & Abs 051413: 10 µl | 0.08072 | 1,2,3-TRIMETHYLBENZENE | . | 0.06 | 0.066 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81764 | Ac2131120, Ab051413 | Ac | Ab | Ab | 2131120 | 051413 | 051413 | 2131120 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.81764 |  | 0.81764 | 0 | 0
1,2,3-TRIMETHYLBENZENE | 2021 | 77221GCM66 | 2013-11-01 | 2010-10-01 | 2050-09-30 | ug/L | 0.80525 | Accu, ChemService | 213041120, 1530700 | Accu 213041120: 20 µl & ChemService 1530700: 20 µl | 0.16144 | 1,2,3-TRIMETHYLBENZENE | . | 0.06 | 0.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80525 | Ac2131120, Ch1530700 | Ac | Ch | Ch | 2131120 | 1530700 | 1530700 | 2131120 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.861 | 0.07884 | 0.861 | 0.1115 | 0.082651
1,2,3-TRIMETHYLBENZENE | 2021 | 77221GCM66 | 2013-12-31 | 2010-10-01 | 2050-09-30 | ug/L | 0.91675 | Accu, ChemService | 213041120, 1530700 | Accu 213041120: 10 µl & ChemService 1530700: 10 µl | 0.08072 | 1,2,3-TRIMETHYLBENZENE | . | 0.06 | 0.074 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91675 | Ac2131120, Ch1530700 | Ac | Ch | Ch | 2131120 | 1530700 | 1530700 | 2131120 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.861 | 0.07884 | 0.861 | 0.1115 | 0.082651
1,2,3-TRIMETHYLBENZENE | 2021 | 77221GCM66 | 2009-11-10 | 2009-10-01 | 2010-09-30 | ug/L | 0.67973 | Accu | 209081198 | Accu 209081198: 10 µl | 0.10004 | 1,2,3-TRIMETHYLBENZENE | E | 0.06 | 0.068 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67973 | Accu 209081198 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.7851 | 0.053872 | 0.78469 | 0.029988 | 0.02223
1,2,3-TRIMETHYLBENZENE | 2021 | 77221GCM66 | 2009-12-24 | 2009-10-01 | 2010-09-30 | ug/L | 0.78635 | Accu | 209081198 | Accu 209081198: 30 µl | 0.30012 | 1,2,3-TRIMETHYLBENZENE | . | 0.06 | 0.236 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78635 | Accu 209081198 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.7851 | 0.053872 | 0.78469 | 0.029988 | 0.02223
1,2,3-TRIMETHYLBENZENE | 2021 | 77221GCM66 | 2010-02-19 | 2009-10-01 | 2010-09-30 | ug/L | 0.76969 | Accu | 209081198 | Accu 209081198: 10 µl | 0.10004 | 1,2,3-TRIMETHYLBENZENE | . | 0.06 | 0.077 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76969 | Accu 209081198 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.7851 | 0.053872 | 0.78469 | 0.029988 | 0.02223
1,2,3-TRIMETHYLBENZENE | 2021 | 77221GCM66 | 2010-03-26 | 2009-10-01 | 2010-09-30 | ug/L | 0.87298 | Accu | 209081198 | Accu 209081198: 30 µl | 0.30012 | 1,2,3-TRIMETHYLBENZENE | . | 0.06 | 0.262 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87298 | Accu 209081198 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.7851 | 0.053872 | 0.78469 | 0.029988 | 0.02223
1,2,3-TRIMETHYLBENZENE | 2021 | 77221GCM66 | 2010-05-05 | 2009-10-01 | 2010-09-30 | ug/L | 0.81967 | Accu | 209081198 | Accu 209081198: 10 µl | 0.10004 | 1,2,3-TRIMETHYLBENZENE | . | 0.06 | 0.082 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81967 | Accu 209081198 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.7851 | 0.053872 | 0.78469 | 0.029988 | 0.02223
1,2,3-TRIMETHYLBENZENE | 2021 | 77221GCM66 | 2010-06-17 | 2009-10-01 | 2010-09-30 | ug/L | 0.78302 | Accu | 209081198 | Accu 209081198: 30 µl | 0.30012 | 1,2,3-TRIMETHYLBENZENE | . | 0.06 | 0.235 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78302 | Accu 209081198 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.7851 | 0.053872 | 0.78469 | 0.029988 | 0.02223
1,2,3-TRIMETHYLBENZENE | 2021 | 77221GCM66 | 2010-07-16 | 2009-10-01 | 2010-09-30 | ug/L | 0.78968 | Accu | 209081198 | Accu 209081198: 10 µl | 0.10004 | 1,2,3-TRIMETHYLBENZENE | . | 0.06 | 0.079 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78968 | Accu 209081198 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.7851 | 0.053872 | 0.78469 | 0.029988 | 0.02223
1,2,3-TRIMETHYLBENZENE | 2021 | 77221GCM66 | 2010-09-01 | 2009-10-01 | 2010-09-30 | ug/L | 0.77969 | Accu | 209081198 | Accu 209081198: 10 µl | 0.10004 | 1,2,3-TRIMETHYLBENZENE | . | 0.06 | 0.078 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77969 | Accu 209081198 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.7851 | 0.053872 | 0.78469 | 0.029988 | 0.02223
1,2,3-TRIMETHYLBENZENE | 2021 | 77221GCM66 | 2013-05-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.91675 | Crescent, Accu | 04CC151, 213041120 | Crescent 04CC151: 10 µl & Accu 213041120: 10 µl | 0.08072 | 1,2,3-TRIMETHYLBENZENE | . | 0.06 | 0.074 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91675 | Cr04CC151, Ac2131120 | Cr | Ac | Ac | 04CC151 | 2131120 | 2131120 |  | 2131120 | 2131120 | Y | Recoverable Result | Y | 2 |  | 1 | 0.91675 |  | 0.91675 | 0 | 0
1,2,3-TRIMETHYLBENZENE | 2021 | 77221GCM66 | 2013-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.6875 | Crescent, Supelco | 04CC151, LC00154 | Crescent 04CC151: 10 µl & Supelco LC00154: 10 µl | 0.08 | 1,2,3-TRIMETHYLBENZENE | . | 0.06 | 0.055 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6875 | Cr04CC151, SuLC00154 | Cr | Su | Su | 04CC151 | LC00154 | LC00154 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.725 | 0.053033 | 0.725 | 0.075 | 0.055597
1,2,3-TRIMETHYLBENZENE | 2021 | 77221GCM66 | 2013-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.7625 | Crescent, Supelco | 04CC151, LC00154 | Crescent 04CC151: 20 µl & Supelco LC00154: 20 µl | 0.16 | 1,2,3-TRIMETHYLBENZENE | . | 0.06 | 0.122 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7625 | Cr04CC151, SuLC00154 | Cr | Su | Su | 04CC151 | LC00154 | LC00154 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.725 | 0.053033 | 0.725 | 0.075 | 0.055597
1,2,3-TRIMETHYLBENZENE | 2021 | 77221GCM66 | 2012-07-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.95397 | Crescent, Accu | 05BB048, 212051193 | Crescent 05BB048: 10 µl & Accu 212051193: 10 µl | 0.2998 | 1,2,3-TRIMETHYLBENZENE | . | 0.06 | 0.286 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95397 | Cr05BB048, Ac2121193 | Cr | Ac | Ac | 05BB048 | 2121193 | 2121193 |  | 2121193 | 2121193 | Y | Recoverable Result | Y | 2 |  | 2 | 0.9965 | 0.060144 | 0.9965 | 0.085057 | 0.063052
1,2,3-TRIMETHYLBENZENE | 2021 | 77221GCM66 | 2012-11-08 | 2010-10-01 | 2050-09-30 | ug/L | 1.039 | Crescent, Accu | 05BB048, 212051193 | Crescent 05BB048: 20 µl & Accu 212051193: 20 µl | 0.5996 | 1,2,3-TRIMETHYLBENZENE | . | 0.06 | 0.623 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.039 | Cr05BB048, Ac2121193 | Cr | Ac | Ac | 05BB048 | 2121193 | 2121193 |  | 2121193 | 2121193 | Y | Recoverable Result | Y | 2 |  | 2 | 0.9965 | 0.060144 | 0.9965 | 0.085057 | 0.063052
1,2,3-TRIMETHYLBENZENE | 2021 | 77221GCM66 | 2013-12-12 | 2010-10-01 | 2050-09-30 | ug/L | 0.89817 | NSI, Accu | 053013, 213041120 | NSI 053013: 20 µl & Accu 213041120: 20 µl | 0.16144 | 1,2,3-TRIMETHYLBENZENE | . | 0.06 | 0.145 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89817 | NS053013, Ac2131120 | NS | Ac | Ac | 053013 | 2131120 | 2131120 |  | 2131120 | 2131120 | Y | Recoverable Result | Y | 2 |  | 1 | 0.89817 |  | 0.89817 | 0 | 0
1,2,3-TRIMETHYLBENZENE | 2021 | 77221GCM66 | 2013-07-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.79375 | NSI, Supelco | 053013, LC00154 | NSI 053013: 20 µl & Supelco LC00154: 20 µl | 0.16 | 1,2,3-TRIMETHYLBENZENE | . | 0.06 | 0.127 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79375 | NS053013, SuLC00154 | NS | Su | Su | 053013 | LC00154 | LC00154 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.79375 |  | 0.79375 | 0 | 0
1,2,3-TRIMETHYLBENZENE | 2021 | 77221GCM66 | 2013-02-28 | 2010-10-01 | 2050-09-30 | ug/L | 0.91728 | NSI, Accu | 062112-01VOA, 212051193 | NSI 062112-01VOA: 10 µl & Accu 212051193: 10 µl | 0.2998 | 1,2,3-TRIMETHYLBENZENE | . | 0.06 | 0.275 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91728 | NS0621VOA, Ac2121193 | NS | Ac | Ac | 0621VOA | 2121193 | 2121193 | 0621VOA | 2121193 | 2121193 | Y | Recoverable Result | Y | 2 |  | 1 | 0.91728 |  | 0.91728 | 0 | 0
1,2,3-TRIMETHYLBENZENE | 2021 | 77221GCM66 | 2012-09-11 | 2010-10-01 | 2050-09-30 | ug/L | 0.99734 | NSI, Supelco | 062112-01VOA, LB92787 | NSI 062112-01VOA: 20 µl & Supelco LB92787: 20 µl | 0.6016 | 1,2,3-TRIMETHYLBENZENE | . | 0.06 | 0.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99734 | NS0621VOA, SuLB92787 | NS | Su | Su | 0621VOA | LB92787 | LB92787 | 0621VOA |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0638 | 0.09403 | 1.0638 | 0.13298 | 0.098576
1,2,3-TRIMETHYLBENZENE | 2021 | 77221GCM66 | 2012-12-22 | 2010-10-01 | 2050-09-30 | ug/L | 1.1303 | NSI, Supelco | 062112-01VOA, LB92787 | NSI 062112-01VOA: 40 µl & Supelco LB92787: 40 µl | 1.2032 | 1,2,3-TRIMETHYLBENZENE | . | 0.06 | 1.36 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1303 | NS0621VOA, SuLB92787 | NS | Su | Su | 0621VOA | LB92787 | LB92787 | 0621VOA |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0638 | 0.09403 | 1.0638 | 0.13298 | 0.098576
1,2,3-TRIMETHYLBENZENE | 2021 | 77221GCM66 | 2008-12-20 | 2006-10-01 | 2009-09-30 | ug/L | 0.84559 | NSI | 021408-01 | NSI 021408-01: 20 µl | 0.272 | 1,2,3-TRIMETHYLBENZENE | . | 0.08 | 0.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84559 | NSI 021408-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.84559 |  | 0.84559 | 0 | 0
1,2,3-TRIMETHYLBENZENE | 2021 | 77221GCM66 | 2010-11-05 | 2010-10-01 | 2050-09-30 | ug/L | 0.8625 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.16 | 1,2,3-TRIMETHYLBENZENE | . | 0.06 | 0.138 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8625 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.83854 | 0.10545 | 0.82812 | 0.12969 | 0.096136
1,2,3-TRIMETHYLBENZENE | 2021 | 77221GCM66 | 2011-01-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.97812 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.32 | 1,2,3-TRIMETHYLBENZENE | . | 0.06 | 0.313 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97813 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.83854 | 0.10545 | 0.82812 | 0.12969 | 0.096136
1,2,3-TRIMETHYLBENZENE | 2021 | 77221GCM66 | 2011-03-01 | 2010-10-01 | 2050-09-30 | ug/L | 0.825 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.16 | 1,2,3-TRIMETHYLBENZENE | . | 0.06 | 0.132 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.825 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.83854 | 0.10545 | 0.82812 | 0.12969 | 0.096136
1,2,3-TRIMETHYLBENZENE | 2021 | 77221GCM66 | 2011-04-13 | 2010-10-01 | 2050-09-30 | ug/L | 0.7 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.32 | 1,2,3-TRIMETHYLBENZENE | . | 0.06 | 0.224 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.83854 | 0.10545 | 0.82812 | 0.12969 | 0.096136
1,2,3-TRIMETHYLBENZENE | 2021 | 77221GCM66 | 2011-05-03 | 2010-10-01 | 2050-09-30 | ug/L | 0.725 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.16 | 1,2,3-TRIMETHYLBENZENE | . | 0.06 | 0.116 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.725 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.83854 | 0.10545 | 0.82812 | 0.12969 | 0.096136
1,2,3-TRIMETHYLBENZENE | 2021 | 77221GCM66 | 2011-06-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.75625 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.32 | 1,2,3-TRIMETHYLBENZENE | . | 0.06 | 0.242 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75625 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.83854 | 0.10545 | 0.82812 | 0.12969 | 0.096136
1,2,3-TRIMETHYLBENZENE | 2021 | 77221GCM66 | 2011-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.8125 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.16 | 1,2,3-TRIMETHYLBENZENE | . | 0.06 | 0.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8125 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.83854 | 0.10545 | 0.82812 | 0.12969 | 0.096136
1,2,3-TRIMETHYLBENZENE | 2021 | 77221GCM66 | 2011-10-18 | 2010-10-01 | 2050-09-30 | ug/L | 0.75 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.16 | 1,2,3-TRIMETHYLBENZENE | . | 0.06 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.83854 | 0.10545 | 0.82812 | 0.12969 | 0.096136
1,2,3-TRIMETHYLBENZENE | 2021 | 77221GCM66 | 2011-11-24 | 2010-10-01 | 2050-09-30 | ug/L | 1.0625 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.32 | 1,2,3-TRIMETHYLBENZENE | . | 0.06 | 0.34 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0625 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.83854 | 0.10545 | 0.82812 | 0.12969 | 0.096136
1,2,3-TRIMETHYLBENZENE | 2021 | 77221GCM66 | 2012-03-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.83125 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.16 | 1,2,3-TRIMETHYLBENZENE | . | 0.06 | 0.133 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83125 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.83854 | 0.10545 | 0.82812 | 0.12969 | 0.096136
1,2,3-TRIMETHYLBENZENE | 2021 | 77221GCM66 | 2012-05-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.90312 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.32 | 1,2,3-TRIMETHYLBENZENE | . | 0.06 | 0.289 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90312 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.83854 | 0.10545 | 0.82812 | 0.12969 | 0.096136
1,2,3-TRIMETHYLBENZENE | 2021 | 77221GCM66 | 2012-05-25 | 2010-10-01 | 2050-09-30 | ug/L | 0.85625 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.32 | 1,2,3-TRIMETHYLBENZENE | . | 0.06 | 0.274 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85625 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.83854 | 0.10545 | 0.82812 | 0.12969 | 0.096136
1,2,3-TRIMETHYLBENZENE | 2021 | 77221GCM66 | 2009-10-22 | 2009-10-01 | 2010-09-30 | ug/L | 0.6383 | Restek | A069860 | Restek A069860: 10 µl | 0.094 | 1,2,3-TRIMETHYLBENZENE | E | 0.06 | 0.06 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6383 | Restek A069860 | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 0.75729 | 0.087369 | 0.75532 | 0.11702 | 0.086747
1,2,3-TRIMETHYLBENZENE | 2021 | 77221GCM66 | 2009-12-04 | 2009-10-01 | 2010-09-30 | ug/L | 0.70213 | Restek | A069860 | Restek A069860: 30 µl | 0.282 | 1,2,3-TRIMETHYLBENZENE | . | 0.06 | 0.198 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70213 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.75729 | 0.087369 | 0.75532 | 0.11702 | 0.086747
1,2,3-TRIMETHYLBENZENE | 2021 | 77221GCM66 | 2010-01-26 | 2009-10-01 | 2010-09-30 | ug/L | 0.71277 | Restek | A069860 | Restek A069860: 10 µl | 0.094 | 1,2,3-TRIMETHYLBENZENE | . | 0.06 | 0.067 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71277 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.75729 | 0.087369 | 0.75532 | 0.11702 | 0.086747
1,2,3-TRIMETHYLBENZENE | 2021 | 77221GCM66 | 2010-03-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.87589 | Restek | A069860 | Restek A069860: 30 µl | 0.282 | 1,2,3-TRIMETHYLBENZENE | . | 0.06 | 0.247 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87589 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.75729 | 0.087369 | 0.75532 | 0.11702 | 0.086747
1,2,3-TRIMETHYLBENZENE | 2021 | 77221GCM66 | 2010-04-13 | 2009-10-01 | 2010-09-30 | ug/L | 0.75532 | Restek | A069860 | Restek A069860: 10 µl | 0.094 | 1,2,3-TRIMETHYLBENZENE | . | 0.06 | 0.071 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75532 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.75729 | 0.087369 | 0.75532 | 0.11702 | 0.086747
1,2,3-TRIMETHYLBENZENE | 2021 | 77221GCM66 | 2010-05-22 | 2009-10-01 | 2010-09-30 | ug/L | 0.87589 | Restek | A069860 | Restek A069860: 30 µl | 0.282 | 1,2,3-TRIMETHYLBENZENE | . | 0.06 | 0.247 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87589 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.75729 | 0.087369 | 0.75532 | 0.11702 | 0.086747
1,2,3-TRIMETHYLBENZENE | 2021 | 77221GCM66 | 2010-07-09 | 2009-10-01 | 2010-09-30 | ug/L | 0.7766 | Restek | A069860 | Restek A069860: 10 µl | 0.094 | 1,2,3-TRIMETHYLBENZENE | . | 0.06 | 0.073 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7766 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.75729 | 0.087369 | 0.75532 | 0.11702 | 0.086747
1,2,3-TRIMETHYLBENZENE | 2021 | 77221GCM66 | 2010-08-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.81915 | Restek | A069860 | Restek A069860: 30 µl | 0.282 | 1,2,3-TRIMETHYLBENZENE | . | 0.06 | 0.231 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81915 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.75729 | 0.087369 | 0.75532 | 0.11702 | 0.086747
1,2,3-TRIMETHYLBENZENE | 2021 | 77221GCM66 | 2010-09-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.65957 | Restek | A069860 | Restek A069860: 10 µl | 0.094 | 1,2,3-TRIMETHYLBENZENE | . | 0.06 | 0.062 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65957 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.75729 | 0.087369 | 0.75532 | 0.11702 | 0.086747
1,2,3-TRIMETHYLBENZENE | 2021 | 77221GCM66 | 2012-07-30 | 2010-10-01 | 2050-09-30 | ug/L | 0.93418 | Supelco, Abs | LB92787, 051712 | Supelco LB92787: 20 µl & Abs 051712: 20 µl | 0.6016 | 1,2,3-TRIMETHYLBENZENE | . | 0.06 | 0.562 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93418 | SuLB92787, Ab051712 | Su | Ab | Ab | LB92787 | 051712 | 051712 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.93418 |  | 0.93418 | 0 | 0
1,2,3-TRIMETHYLBENZENE | 2021 | 77221GCM66 | 2013-03-29 | 2010-10-01 | 2050-09-30 | ug/L | 0.82114 | Supelco, ChemService | LB92787, 472200 | Supelco LB92787: 10 µl & ChemService 472200: 10 µl | 0.3008 | 1,2,3-TRIMETHYLBENZENE | . | 0.06 | 0.247 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82114 | SuLB92787, Ch472200 | Su | Ch | Ch | LB92787 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.77294 | 0.068172 | 0.77294 | 0.09641 | 0.071467
1,2,3-TRIMETHYLBENZENE | 2021 | 77221GCM66 | 2013-05-03 | 2010-10-01 | 2050-09-30 | ug/L | 0.72473 | Supelco, ChemService | LB92787, 472200 | Supelco LB92787: 10 µl & ChemService 472200: 10 µl | 0.3008 | 1,2,3-TRIMETHYLBENZENE | . | 0.06 | 0.218 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72473 | SuLB92787, Ch472200 | Su | Ch | Ch | LB92787 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.77294 | 0.068172 | 0.77294 | 0.09641 | 0.071467
1,2,3-TRIMETHYLBENZENE | 2021 | 77221GCM66 | 2013-08-06 | 2010-10-01 | 2050-09-30 | ug/L | 0.6625 | Supelco, Abs | LC00154, 051413 | Supelco LC00154: 20 µl & Abs 051413: 20 µl | 0.16 | 1,2,3-TRIMETHYLBENZENE | . | 0.06 | 0.106 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6625 | SuLC00154, Ab051413 | Su | Ab | Ab | LC00154 | 051413 | 051413 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.74375 | 0.1149 | 0.74375 | 0.1625 | 0.12046
1,2,3-TRIMETHYLBENZENE | 2021 | 77221GCM66 | 2013-12-12 | 2010-10-01 | 2050-09-30 | ug/L | 0.825 | Supelco, Abs | LC00154, 051413 | Supelco LC00154: 10 µl & Abs 051413: 10 µl | 0.08 | 1,2,3-TRIMETHYLBENZENE | . | 0.06 | 0.066 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.825 | SuLC00154, Ab051413 | Su | Ab | Ab | LC00154 | 051413 | 051413 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.74375 | 0.1149 | 0.74375 | 0.1625 | 0.12046
1,2,3-TRIMETHYLBENZENE | 2021 | 77221GCM66 | 2013-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.70625 | Supelco, ChemService | LC00154, 1530700 | Supelco LC00154: 20 µl & ChemService 1530700: 20 µl | 0.16 | 1,2,3-TRIMETHYLBENZENE | . | 0.06 | 0.113 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70625 | SuLC00154, Ch1530700 | Su | Ch | Ch | LC00154 | 1530700 | 1530700 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.70625 |  | 0.70625 | 0 | 0
1,2,3-TRIMETHYLBENZENE | 2021 | 77221GCM66 | 2009-02-18 | 2006-10-01 | 2009-09-30 | ug/L | 0.9481 | Ultra | CE-2869 | Ultra CE-2869: 20 µl | 0.2004 | 1,2,3-TRIMETHYLBENZENE | . | 0.08 | 0.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9481 | Ultra CE-2869 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.87325 | 0.077305 | 0.88573 | 0.1497 | 0.11097
1,2,3-TRIMETHYLBENZENE | 2021 | 77221GCM66 | 2009-03-31 | 2006-10-01 | 2009-09-30 | ug/L | 0.8483 | Ultra | CE-2869 | Ultra CE-2869: 20 µl | 0.2004 | 1,2,3-TRIMETHYLBENZENE | . | 0.08 | 0.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8483 | Ultra CE-2869 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.87325 | 0.077305 | 0.88573 | 0.1497 | 0.11097
1,2,3-TRIMETHYLBENZENE | 2021 | 77221GCM66 | 2009-05-13 | 2006-10-01 | 2009-09-30 | ug/L | 0.9481 | Ultra | CE-2869 | Ultra CE-2869: 20 µl | 0.2004 | 1,2,3-TRIMETHYLBENZENE | . | 0.08 | 0.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9481 | Ultra CE-2869 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.87325 | 0.077305 | 0.88573 | 0.1497 | 0.11097
1,2,3-TRIMETHYLBENZENE | 2021 | 77221GCM66 | 2009-06-17 | 2006-10-01 | 2009-09-30 | ug/L | 0.77345 | Ultra | CE-2869 | Ultra CE-2869: 40 µl | 0.4008 | 1,2,3-TRIMETHYLBENZENE | . | 0.08 | 0.31 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77345 | Ultra CE-2869 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.87325 | 0.077305 | 0.88573 | 0.1497 | 0.11097
1,2,3-TRIMETHYLBENZENE | 2021 | 77221GCM66 | 2009-06-30 | 2006-10-01 | 2009-09-30 | ug/L | 0.92315 | Ultra | CE-2869 | Ultra CE-2869: 40 µl | 0.4008 | 1,2,3-TRIMETHYLBENZENE | . | 0.08 | 0.37 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92315 | Ultra CE-2869 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.87325 | 0.077305 | 0.88573 | 0.1497 | 0.11097
1,2,3-TRIMETHYLBENZENE | 2021 | 77221GCM66 | 2009-08-11 | 2006-10-01 | 2009-09-30 | ug/L | 0.7984 | Ultra | CE-2869 | Ultra CE-2869: 20 µl | 0.2004 | 1,2,3-TRIMETHYLBENZENE | . | 0.08 | 0.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7984 | Ultra CE-2869 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.87325 | 0.077305 | 0.88573 | 0.1497 | 0.11097