## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
1,2,4-TRICHLOROBENZENE | 2021 | 34551GCM66 | 2009-01-27 | 2008-10-01 | 2009-09-30 | ug/L | 0.9375 | Abs | 080408VOC | Abs 080408VOC: 40 µl | 0.224 | 1,2,4-TRICHLOROBENZENE | . | 0.04 | 0.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9375 | Abs 080408VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.8631 | 0.054065 | 0.87054 | 0.089286 | 0.066187
1,2,4-TRICHLOROBENZENE | 2021 | 34551GCM66 | 2009-03-14 | 2008-10-01 | 2009-09-30 | ug/L | 0.80357 | Abs | 080408VOC | Abs 080408VOC: 20 µl | 0.112 | 1,2,4-TRICHLOROBENZENE | E | 0.04 | 0.09 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80357 | Abs 080408VOC | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.8631 | 0.054065 | 0.87054 | 0.089286 | 0.066187
1,2,4-TRICHLOROBENZENE | 2021 | 34551GCM66 | 2009-04-21 | 2008-10-01 | 2009-09-30 | ug/L | 0.84821 | Abs | 080408VOC | Abs 080408VOC: 40 µl | 0.224 | 1,2,4-TRICHLOROBENZENE | . | 0.04 | 0.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84821 | Abs 080408VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.8631 | 0.054065 | 0.87054 | 0.089286 | 0.066187
1,2,4-TRICHLOROBENZENE | 2021 | 34551GCM66 | 2009-06-09 | 2008-10-01 | 2009-09-30 | ug/L | 0.89286 | Abs | 080408VOC | Abs 080408VOC: 20 µl | 0.112 | 1,2,4-TRICHLOROBENZENE | E | 0.04 | 0.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89286 | Abs 080408VOC | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.8631 | 0.054065 | 0.87054 | 0.089286 | 0.066187
1,2,4-TRICHLOROBENZENE | 2021 | 34551GCM66 | 2009-07-17 | 2008-10-01 | 2009-09-30 | ug/L | 0.89286 | Abs | 080408VOC | Abs 080408VOC: 20 µl | 0.112 | 1,2,4-TRICHLOROBENZENE | . | 0.04 | 0.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89286 | Abs 080408VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.8631 | 0.054065 | 0.87054 | 0.089286 | 0.066187
1,2,4-TRICHLOROBENZENE | 2021 | 34551GCM66 | 2009-08-29 | 2008-10-01 | 2009-09-30 | ug/L | 0.80357 | Abs | 080408VOC | Abs 080408VOC: 20 µl | 0.112 | 1,2,4-TRICHLOROBENZENE | E | 0.04 | 0.09 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80357 | Abs 080408VOC | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.8631 | 0.054065 | 0.87054 | 0.089286 | 0.066187
1,2,4-TRICHLOROBENZENE | 2021 | 34551GCM66 | 2013-01-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.94754 | Accu, Abs | 212051193, 051712 | Accu 212051193: 40 µl & Abs 051712: 40 µl | 0.63744 | 1,2,4-TRICHLOROBENZENE | . | 0.08 | 0.604 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94754 | Ac2121193, Ab051712 | Ac | Ab | Ab | 2121193 | 051712 | 051712 | 2121193 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.94754 |  | 0.94754 | 0 | 0
1,2,4-TRICHLOROBENZENE | 2021 | 34551GCM66 | 2013-06-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.91945 | Accu, Abs | 213041120, 051413 | Accu 213041120: 10 µl & Abs 051413: 10 µl | 0.10006 | 1,2,4-TRICHLOROBENZENE | . | 0.08 | 0.092 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91945 | Ac2131120, Ab051413 | Ac | Ab | Ab | 2131120 | 051413 | 051413 | 2131120 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.91945 |  | 0.91945 | 0 | 0
1,2,4-TRICHLOROBENZENE | 2021 | 34551GCM66 | 2013-11-01 | 2010-10-01 | 2050-09-30 | ug/L | 0.79452 | Accu, ChemService | 213041120, 1530700 | Accu 213041120: 20 µl & ChemService 1530700: 20 µl | 0.20012 | 1,2,4-TRICHLOROBENZENE | . | 0.08 | 0.159 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79452 | Ac2131120, Ch1530700 | Ac | Ch | Ch | 2131120 | 1530700 | 1530700 | 2131120 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.84699 | 0.074202 | 0.84699 | 0.10494 | 0.077789
1,2,4-TRICHLOROBENZENE | 2021 | 34551GCM66 | 2013-12-31 | 2010-10-01 | 2050-09-30 | ug/L | 0.89946 | Accu, ChemService | 213041120, 1530700 | Accu 213041120: 10 µl & ChemService 1530700: 10 µl | 0.10006 | 1,2,4-TRICHLOROBENZENE | . | 0.08 | 0.09 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89946 | Ac2131120, Ch1530700 | Ac | Ch | Ch | 2131120 | 1530700 | 1530700 | 2131120 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.84699 | 0.074202 | 0.84699 | 0.10494 | 0.077789
1,2,4-TRICHLOROBENZENE | 2021 | 34551GCM66 | 2013-05-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.8295 | Crescent, Accu | 04CC151, 213041120 | Crescent 04CC151: 10 µl & Accu 213041120: 10 µl | 0.10006 | 1,2,4-TRICHLOROBENZENE | . | 0.08 | 0.083 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8295 | Cr04CC151, Ac2131120 | Cr | Ac | Ac | 04CC151 | 2131120 | 2131120 |  | 2131120 | 2131120 | Y | Recoverable Result | Y | 2 |  | 1 | 0.8295 |  | 0.8295 | 0 | 0
1,2,4-TRICHLOROBENZENE | 2021 | 34551GCM66 | 2013-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.67708 | Crescent, Supelco | 04CC151, LC00154 | Crescent 04CC151: 10 µl & Supelco LC00154: 10 µl | 0.096 | 1,2,4-TRICHLOROBENZENE | . | 0.08 | 0.065 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67708 | Cr04CC151, SuLC00154 | Cr | Su | Su | 04CC151 | LC00154 | LC00154 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.71354 | 0.05156 | 0.71354 | 0.072917 | 0.054052
1,2,4-TRICHLOROBENZENE | 2021 | 34551GCM66 | 2013-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.75 | Crescent, Supelco | 04CC151, LC00154 | Crescent 04CC151: 20 µl & Supelco LC00154: 20 µl | 0.192 | 1,2,4-TRICHLOROBENZENE | . | 0.08 | 0.144 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75 | Cr04CC151, SuLC00154 | Cr | Su | Su | 04CC151 | LC00154 | LC00154 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.71354 | 0.05156 | 0.71354 | 0.072917 | 0.054052
1,2,4-TRICHLOROBENZENE | 2021 | 34551GCM66 | 2012-07-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.90361 | Crescent, Accu | 05BB048, 212051193 | Crescent 05BB048: 10 µl & Accu 212051193: 10 µl | 0.15936 | 1,2,4-TRICHLOROBENZENE | . | 0.08 | 0.144 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90361 | Cr05BB048, Ac2121193 | Cr | Ac | Ac | 05BB048 | 2121193 | 2121193 |  | 2121193 | 2121193 | Y | Recoverable Result | Y | 2 |  | 2 | 0.93813 | 0.048809 | 0.93813 | 0.069026 | 0.051168
1,2,4-TRICHLOROBENZENE | 2021 | 34551GCM66 | 2012-11-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.97264 | Crescent, Accu | 05BB048, 212051193 | Crescent 05BB048: 20 µl & Accu 212051193: 20 µl | 0.31872 | 1,2,4-TRICHLOROBENZENE | . | 0.08 | 0.31 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97264 | Cr05BB048, Ac2121193 | Cr | Ac | Ac | 05BB048 | 2121193 | 2121193 |  | 2121193 | 2121193 | Y | Recoverable Result | Y | 2 |  | 2 | 0.93813 | 0.048809 | 0.93813 | 0.069026 | 0.051168
1,2,4-TRICHLOROBENZENE | 2021 | 34551GCM66 | 2013-12-12 | 2010-10-01 | 2050-09-30 | ug/L | 0.78953 | NSI, Accu | 053013, 213041120 | NSI 053013: 20 µl & Accu 213041120: 20 µl | 0.20012 | 1,2,4-TRICHLOROBENZENE | . | 0.08 | 0.158 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78953 | NS053013, Ac2131120 | NS | Ac | Ac | 053013 | 2131120 | 2131120 |  | 2131120 | 2131120 | Y | Recoverable Result | Y | 2 |  | 1 | 0.78953 |  | 0.78953 | 0 | 0
1,2,4-TRICHLOROBENZENE | 2021 | 34551GCM66 | 2013-07-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.80208 | NSI, Supelco | 053013, LC00154 | NSI 053013: 20 µl & Supelco LC00154: 20 µl | 0.192 | 1,2,4-TRICHLOROBENZENE | . | 0.08 | 0.154 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80208 | NS053013, SuLC00154 | NS | Su | Su | 053013 | LC00154 | LC00154 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.80208 |  | 0.80208 | 0 | 0
1,2,4-TRICHLOROBENZENE | 2021 | 34551GCM66 | 2013-02-28 | 2010-10-01 | 2050-09-30 | ug/L | 1.0354 | NSI, Accu | 062112-01VOA, 212051193 | NSI 062112-01VOA: 10 µl & Accu 212051193: 10 µl | 0.15936 | 1,2,4-TRICHLOROBENZENE | . | 0.08 | 0.165 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0354 | NS0621VOA, Ac2121193 | NS | Ac | Ac | 0621VOA | 2121193 | 2121193 | 0621VOA | 2121193 | 2121193 | Y | Recoverable Result | Y | 2 |  | 1 | 1.0354 |  | 1.0354 | 0 | 0
1,2,4-TRICHLOROBENZENE | 2021 | 34551GCM66 | 2012-09-11 | 2010-10-01 | 2050-09-30 | ug/L | 0.72409 | NSI, Supelco | 062112-01VOA, LB92787 | NSI 062112-01VOA: 20 µl & Supelco LB92787: 20 µl | 0.3204 | 1,2,4-TRICHLOROBENZENE | . | 0.08 | 0.232 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72409 | NS0621VOA, SuLB92787 | NS | Su | Su | 0621VOA | LB92787 | LB92787 | 0621VOA |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.78105 | 0.080554 | 0.78105 | 0.11392 | 0.084448
1,2,4-TRICHLOROBENZENE | 2021 | 34551GCM66 | 2012-12-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.83802 | NSI, Supelco | 062112-01VOA, LB92787 | NSI 062112-01VOA: 40 µl & Supelco LB92787: 40 µl | 0.6408 | 1,2,4-TRICHLOROBENZENE | . | 0.08 | 0.537 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83801 | NS0621VOA, SuLB92787 | NS | Su | Su | 0621VOA | LB92787 | LB92787 | 0621VOA |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.78105 | 0.080554 | 0.78105 | 0.11392 | 0.084448
1,2,4-TRICHLOROBENZENE | 2021 | 34551GCM66 | 2008-12-20 | 2008-10-01 | 2009-09-30 | ug/L | 0.78767 | NSI | 021408-01 | NSI 021408-01: 20 µl | 0.292 | 1,2,4-TRICHLOROBENZENE | . | 0.04 | 0.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78767 | NSI 021408-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.78767 |  | 0.78767 | 0 | 0
1,2,4-TRICHLOROBENZENE | 2021 | 34551GCM66 | 2010-11-05 | 2010-10-01 | 2050-09-30 | ug/L | 0.93548 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.124 | 1,2,4-TRICHLOROBENZENE | . | 0.08 | 0.116 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93548 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.87466 | 0.061884 | 0.86089 | 0.076613 | 0.056792
1,2,4-TRICHLOROBENZENE | 2021 | 34551GCM66 | 2011-01-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.85081 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.248 | 1,2,4-TRICHLOROBENZENE | . | 0.08 | 0.211 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85081 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.87466 | 0.061884 | 0.86089 | 0.076613 | 0.056792
1,2,4-TRICHLOROBENZENE | 2021 | 34551GCM66 | 2011-03-01 | 2010-10-01 | 2050-09-30 | ug/L | 0.95161 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.124 | 1,2,4-TRICHLOROBENZENE | . | 0.08 | 0.118 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95161 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.87466 | 0.061884 | 0.86089 | 0.076613 | 0.056792
1,2,4-TRICHLOROBENZENE | 2021 | 34551GCM66 | 2011-04-13 | 2010-10-01 | 2050-09-30 | ug/L | 0.74597 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.248 | 1,2,4-TRICHLOROBENZENE | . | 0.08 | 0.185 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74597 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.87466 | 0.061884 | 0.86089 | 0.076613 | 0.056792
1,2,4-TRICHLOROBENZENE | 2021 | 34551GCM66 | 2011-05-03 | 2010-10-01 | 2050-09-30 | ug/L | 0.84677 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.124 | 1,2,4-TRICHLOROBENZENE | . | 0.08 | 0.105 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84677 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.87466 | 0.061884 | 0.86089 | 0.076613 | 0.056792
1,2,4-TRICHLOROBENZENE | 2021 | 34551GCM66 | 2011-06-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.82258 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.248 | 1,2,4-TRICHLOROBENZENE | . | 0.08 | 0.204 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82258 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.87466 | 0.061884 | 0.86089 | 0.076613 | 0.056792
1,2,4-TRICHLOROBENZENE | 2021 | 34551GCM66 | 2011-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.87903 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.124 | 1,2,4-TRICHLOROBENZENE | . | 0.08 | 0.109 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87903 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.87466 | 0.061884 | 0.86089 | 0.076613 | 0.056792
1,2,4-TRICHLOROBENZENE | 2021 | 34551GCM66 | 2011-10-18 | 2010-10-01 | 2050-09-30 | ug/L | 0.85484 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.124 | 1,2,4-TRICHLOROBENZENE | . | 0.08 | 0.106 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85484 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.87466 | 0.061884 | 0.86089 | 0.076613 | 0.056792
1,2,4-TRICHLOROBENZENE | 2021 | 34551GCM66 | 2011-11-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.97177 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.248 | 1,2,4-TRICHLOROBENZENE | . | 0.08 | 0.241 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97177 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.87466 | 0.061884 | 0.86089 | 0.076613 | 0.056792
1,2,4-TRICHLOROBENZENE | 2021 | 34551GCM66 | 2012-03-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.8629 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.124 | 1,2,4-TRICHLOROBENZENE | . | 0.08 | 0.107 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8629 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.87466 | 0.061884 | 0.86089 | 0.076613 | 0.056792
1,2,4-TRICHLOROBENZENE | 2021 | 34551GCM66 | 2012-05-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.91532 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.248 | 1,2,4-TRICHLOROBENZENE | . | 0.08 | 0.227 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91532 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.87466 | 0.061884 | 0.86089 | 0.076613 | 0.056792
1,2,4-TRICHLOROBENZENE | 2021 | 34551GCM66 | 2012-05-25 | 2010-10-01 | 2050-09-30 | ug/L | 0.85887 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.248 | 1,2,4-TRICHLOROBENZENE | . | 0.08 | 0.213 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85887 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.87466 | 0.061884 | 0.86089 | 0.076613 | 0.056792
1,2,4-TRICHLOROBENZENE | 2021 | 34551GCM66 | 2009-11-04 | 2009-10-01 | 2010-09-30 | ug/L | 0.975 | Spex Organics | C1090901006 | Spex Organics C1090901006: 10 µl | 0.08 | 1,2,4-TRICHLOROBENZENE | E | 0.08 | 0.078 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.975 | Spex Organics C1090901006 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.94063 | 0.068565 | 0.93333 | 0.09375 | 0.069496
1,2,4-TRICHLOROBENZENE | 2021 | 34551GCM66 | 2009-12-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.92917 | Spex Organics | C1090901006 | Spex Organics C1090901006: 30 µl | 0.24 | 1,2,4-TRICHLOROBENZENE | . | 0.08 | 0.223 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92917 | Spex Organics C1090901006 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.94063 | 0.068565 | 0.93333 | 0.09375 | 0.069496
1,2,4-TRICHLOROBENZENE | 2021 | 34551GCM66 | 2010-02-09 | 2009-10-01 | 2010-09-30 | ug/L | 0.9375 | Spex Organics | C1090901006 | Spex Organics C1090901006: 10 µl | 0.08 | 1,2,4-TRICHLOROBENZENE | E | 0.08 | 0.075 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9375 | Spex Organics C1090901006 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.94063 | 0.068565 | 0.93333 | 0.09375 | 0.069496
1,2,4-TRICHLOROBENZENE | 2021 | 34551GCM66 | 2010-03-17 | 2009-10-01 | 2010-09-30 | ug/L | 0.99167 | Spex Organics | C1090901006 | Spex Organics C1090901006: 30 µl | 0.24 | 1,2,4-TRICHLOROBENZENE | . | 0.08 | 0.238 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99167 | Spex Organics C1090901006 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.94063 | 0.068565 | 0.93333 | 0.09375 | 0.069496
1,2,4-TRICHLOROBENZENE | 2021 | 34551GCM66 | 2010-04-27 | 2009-10-01 | 2010-09-30 | ug/L | 0.85 | Spex Organics | C1090901006 | Spex Organics C1090901006: 10 µl | 0.08 | 1,2,4-TRICHLOROBENZENE | E | 0.08 | 0.068 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85 | Spex Organics C1090901006 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.94063 | 0.068565 | 0.93333 | 0.09375 | 0.069496
1,2,4-TRICHLOROBENZENE | 2021 | 34551GCM66 | 2010-06-09 | 2009-10-01 | 2010-09-30 | ug/L | 0.90833 | Spex Organics | C1090901006 | Spex Organics C1090901006: 30 µl | 0.24 | 1,2,4-TRICHLOROBENZENE | . | 0.08 | 0.218 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90833 | Spex Organics C1090901006 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.94063 | 0.068565 | 0.93333 | 0.09375 | 0.069496
1,2,4-TRICHLOROBENZENE | 2021 | 34551GCM66 | 2010-07-09 | 2009-10-01 | 2010-09-30 | ug/L | 1.0625 | Spex Organics | C1090901006 | Spex Organics C1090901006: 10 µl | 0.08 | 1,2,4-TRICHLOROBENZENE | . | 0.08 | 0.085 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0625 | Spex Organics C1090901006 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.94063 | 0.068565 | 0.93333 | 0.09375 | 0.069496
1,2,4-TRICHLOROBENZENE | 2021 | 34551GCM66 | 2010-08-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.87083 | Spex Organics | C1090901006 | Spex Organics C1090901006: 30 µl | 0.24 | 1,2,4-TRICHLOROBENZENE | . | 0.08 | 0.209 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87083 | Spex Organics C1090901006 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.94063 | 0.068565 | 0.93333 | 0.09375 | 0.069496
1,2,4-TRICHLOROBENZENE | 2021 | 34551GCM66 | 2012-07-30 | 2010-10-01 | 2050-09-30 | ug/L | 0.93633 | Supelco, Abs | LB92787, 051712 | Supelco LB92787: 20 µl & Abs 051712: 20 µl | 0.3204 | 1,2,4-TRICHLOROBENZENE | . | 0.08 | 0.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93633 | SuLB92787, Ab051712 | Su | Ab | Ab | LB92787 | 051712 | 051712 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.93633 |  | 0.93633 | 0 | 0
1,2,4-TRICHLOROBENZENE | 2021 | 34551GCM66 | 2013-03-29 | 2010-10-01 | 2050-09-30 | ug/L | 0.89263 | Supelco, ChemService | LB92787, 472200 | Supelco LB92787: 10 µl & ChemService 472200: 10 µl | 0.1602 | 1,2,4-TRICHLOROBENZENE | . | 0.08 | 0.143 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89263 | SuLB92787, Ch472200 | Su | Ch | Ch | LB92787 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.799 | 0.13242 | 0.799 | 0.18727 | 0.13882
1,2,4-TRICHLOROBENZENE | 2021 | 34551GCM66 | 2013-05-03 | 2010-10-01 | 2050-09-30 | ug/L | 0.70537 | Supelco, ChemService | LB92787, 472200 | Supelco LB92787: 10 µl & ChemService 472200: 10 µl | 0.1602 | 1,2,4-TRICHLOROBENZENE | . | 0.08 | 0.113 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70537 | SuLB92787, Ch472200 | Su | Ch | Ch | LB92787 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.799 | 0.13242 | 0.799 | 0.18727 | 0.13882
1,2,4-TRICHLOROBENZENE | 2021 | 34551GCM66 | 2013-08-06 | 2010-10-01 | 2050-09-30 | ug/L | 0.70833 | Supelco, Abs | LC00154, 051413 | Supelco LC00154: 20 µl & Abs 051413: 20 µl | 0.192 | 1,2,4-TRICHLOROBENZENE | . | 0.08 | 0.136 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70833 | SuLC00154, Ab051413 | Su | Ab | Ab | LC00154 | 051413 | 051413 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.79688 | 0.12522 | 0.79688 | 0.17708 | 0.13127
1,2,4-TRICHLOROBENZENE | 2021 | 34551GCM66 | 2013-12-12 | 2010-10-01 | 2050-09-30 | ug/L | 0.88542 | Supelco, Abs | LC00154, 051413 | Supelco LC00154: 10 µl & Abs 051413: 10 µl | 0.096 | 1,2,4-TRICHLOROBENZENE | . | 0.08 | 0.085 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88542 | SuLC00154, Ab051413 | Su | Ab | Ab | LC00154 | 051413 | 051413 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.79688 | 0.12522 | 0.79688 | 0.17708 | 0.13127
1,2,4-TRICHLOROBENZENE | 2021 | 34551GCM66 | 2013-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.80208 | Supelco, ChemService | LC00154, 1530700 | Supelco LC00154: 20 µl & ChemService 1530700: 20 µl | 0.192 | 1,2,4-TRICHLOROBENZENE | . | 0.08 | 0.154 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80208 | SuLC00154, Ch1530700 | Su | Ch | Ch | LC00154 | 1530700 | 1530700 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.80208 |  | 0.80208 | 0 | 0
1,2,4-TRICHLOROBENZENE | 2021 | 34551GCM66 | 2009-02-18 | 2008-10-01 | 2009-09-30 | ug/L | 0.99668 | Ultra | CE-2869 | Ultra CE-2869: 20 µl | 0.1204 | 1,2,4-TRICHLOROBENZENE | . | 0.04 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99668 | Ultra CE-2869 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.94823 | 0.099725 | 0.95515 | 0.083056 | 0.061569
1,2,4-TRICHLOROBENZENE | 2021 | 34551GCM66 | 2009-03-31 | 2008-10-01 | 2009-09-30 | ug/L | 1.0797 | Ultra | CE-2869 | Ultra CE-2869: 20 µl | 0.1204 | 1,2,4-TRICHLOROBENZENE | . | 0.04 | 0.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0797 | Ultra CE-2869 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.94823 | 0.099725 | 0.95515 | 0.083056 | 0.061569
1,2,4-TRICHLOROBENZENE | 2021 | 34551GCM66 | 2009-05-13 | 2008-10-01 | 2009-09-30 | ug/L | 0.99668 | Ultra | CE-2869 | Ultra CE-2869: 20 µl | 0.1204 | 1,2,4-TRICHLOROBENZENE | . | 0.04 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99668 | Ultra CE-2869 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.94823 | 0.099725 | 0.95515 | 0.083056 | 0.061569
1,2,4-TRICHLOROBENZENE | 2021 | 34551GCM66 | 2009-06-17 | 2008-10-01 | 2009-09-30 | ug/L | 0.78904 | Ultra | CE-2869 | Ultra CE-2869: 40 µl | 0.2408 | 1,2,4-TRICHLOROBENZENE | . | 0.04 | 0.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78904 | Ultra CE-2869 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.94823 | 0.099725 | 0.95515 | 0.083056 | 0.061569
1,2,4-TRICHLOROBENZENE | 2021 | 34551GCM66 | 2009-06-30 | 2008-10-01 | 2009-09-30 | ug/L | 0.91362 | Ultra | CE-2869 | Ultra CE-2869: 40 µl | 0.2408 | 1,2,4-TRICHLOROBENZENE | . | 0.04 | 0.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91362 | Ultra CE-2869 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.94823 | 0.099725 | 0.95515 | 0.083056 | 0.061569
1,2,4-TRICHLOROBENZENE | 2021 | 34551GCM66 | 2009-08-11 | 2008-10-01 | 2009-09-30 | ug/L | 0.91362 | Ultra | CE-2869 | Ultra CE-2869: 20 µl | 0.1204 | 1,2,4-TRICHLOROBENZENE | . | 0.04 | 0.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91362 | Ultra CE-2869 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.94823 | 0.099725 | 0.95515 | 0.083056 | 0.061569