## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
1,2-DIBROMO-3-CHLOROPROPANE | 2021 | 82625GCM66 | 2013-11-15 | 2011-10-01 | 2050-09-30 | ug/L | 1.0673 | Abs, Crescent | 051413, 04CC151 | Abs 051413: 10 µl & Crescent 04CC151: 10 µl | 0.55 | 1,2-DIBROMO-3-CHLOROPROPANE | . | 0.4 | 0.587 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0673 | Ab051413, Cr04CC151 | Ab | Cr | Cr | 051413 | 04CC151 | 04CC151 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.88818 | 0.25327 | 0.88818 | 0.35818 | 0.26552
1,2-DIBROMO-3-CHLOROPROPANE | 2021 | 82625GCM66 | 2013-12-31 | 2011-10-01 | 2050-09-30 | ug/L | 0.70909 | Abs, Crescent | 051413, 04CC151 | Abs 051413: 20 µl & Crescent 04CC151: 20 µl | 1.1 | 1,2-DIBROMO-3-CHLOROPROPANE | . | 0.4 | 0.78 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70909 | Ab051413, Cr04CC151 | Ab | Cr | Cr | 051413 | 04CC151 | 04CC151 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.88818 | 0.25327 | 0.88818 | 0.35818 | 0.26552
1,2-DIBROMO-3-CHLOROPROPANE | 2021 | 82625GCM66 | 2013-09-27 | 2011-10-01 | 2050-09-30 | ug/L | 0.89091 | Abs, NSI | 051413, 053013 | Abs 051413: 10 µl & NSI 053013: 10 µl | 0.55 | 1,2-DIBROMO-3-CHLOROPROPANE | . | 0.4 | 0.49 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89091 | Ab051413, NS053013 | Ab | NS | NS | 051413 | 053013 | 053013 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.89091 |  | 0.89091 | 0 | 0
1,2-DIBROMO-3-CHLOROPROPANE | 2021 | 82625GCM66 | 2012-06-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.6625 | Abs | 051712 | Abs 051712: 20 µl | 0.8 | 1,2-DIBROMO-3-CHLOROPROPANE | . | 0.4 | 0.53 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6625 | Abs 051712 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.8175 | 0.2192 | 0.8175 | 0.31 | 0.2298
1,2-DIBROMO-3-CHLOROPROPANE | 2021 | 82625GCM66 | 2012-11-21 | 2011-10-01 | 2050-09-30 | ug/L | 0.9725 | Abs | 051712 | Abs 051712: 10 µl | 0.4 | 1,2-DIBROMO-3-CHLOROPROPANE | . | 0.4 | 0.389 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9725 | Abs 051712 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.8175 | 0.2192 | 0.8175 | 0.31 | 0.2298
1,2-DIBROMO-3-CHLOROPROPANE | 2021 | 82625GCM66 | 2009-11-14 | 2009-10-01 | 2010-09-30 | ug/L | 0.85448 | Abs | 090809 | Abs 090809: 10 µl | 2.68 | 1,2-DIBROMO-3-CHLOROPROPANE | . | 0.34 | 2.29 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85448 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.90314 | 0.14398 | 0.96766 | 0.23197 | 0.17195
1,2-DIBROMO-3-CHLOROPROPANE | 2021 | 82625GCM66 | 2010-01-26 | 2009-10-01 | 2010-09-30 | ug/L | 0.99005 | Abs | 090809 | Abs 090809: 30 µl | 8.04 | 1,2-DIBROMO-3-CHLOROPROPANE | . | 0.34 | 7.96 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99005 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.90314 | 0.14398 | 0.96766 | 0.23197 | 0.17195
1,2-DIBROMO-3-CHLOROPROPANE | 2021 | 82625GCM66 | 2010-02-19 | 2009-10-01 | 2010-09-30 | ug/L | 1.0261 | Abs | 090809 | Abs 090809: 10 µl | 2.68 | 1,2-DIBROMO-3-CHLOROPROPANE | . | 0.34 | 2.75 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0261 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.90314 | 0.14398 | 0.96766 | 0.23197 | 0.17195
1,2-DIBROMO-3-CHLOROPROPANE | 2021 | 82625GCM66 | 2010-04-02 | 2009-10-01 | 2010-09-30 | ug/L | 1.0423 | Abs | 090809 | Abs 090809: 30 µl | 8.04 | 1,2-DIBROMO-3-CHLOROPROPANE | . | 0.34 | 8.38 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0423 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.90314 | 0.14398 | 0.96766 | 0.23197 | 0.17195
1,2-DIBROMO-3-CHLOROPROPANE | 2021 | 82625GCM66 | 2010-05-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.6791 | Abs | 090809 | Abs 090809: 10 µl | 2.68 | 1,2-DIBROMO-3-CHLOROPROPANE | . | 0.34 | 1.82 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6791 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.90314 | 0.14398 | 0.96766 | 0.23197 | 0.17195
1,2-DIBROMO-3-CHLOROPROPANE | 2021 | 82625GCM66 | 2010-06-24 | 2009-10-01 | 2010-09-30 | ug/L | 0.96766 | Abs | 090809 | Abs 090809: 30 µl | 8.04 | 1,2-DIBROMO-3-CHLOROPROPANE | . | 0.34 | 7.78 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96766 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.90314 | 0.14398 | 0.96766 | 0.23197 | 0.17195
1,2-DIBROMO-3-CHLOROPROPANE | 2021 | 82625GCM66 | 2010-07-27 | 2009-10-01 | 2010-09-30 | ug/L | 0.69776 | Abs | 090809 | Abs 090809: 10 µl | 2.68 | 1,2-DIBROMO-3-CHLOROPROPANE | . | 0.34 | 1.87 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69776 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.90314 | 0.14398 | 0.96766 | 0.23197 | 0.17195
1,2-DIBROMO-3-CHLOROPROPANE | 2021 | 82625GCM66 | 2010-09-08 | 2009-10-01 | 2010-09-30 | ug/L | 0.96766 | Abs | 090809 | Abs 090809: 30 µl | 8.04 | 1,2-DIBROMO-3-CHLOROPROPANE | . | 0.34 | 7.78 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96766 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.90314 | 0.14398 | 0.96766 | 0.23197 | 0.17195
1,2-DIBROMO-3-CHLOROPROPANE | 2021 | 82625GCM66 | 2013-01-19 | 2011-10-01 | 2050-09-30 | ug/L | 0.8375 | Accu, Abs | 212051193, 051712 | Accu 212051193: 40 µl & Abs 051712: 40 µl | 1.6 | 1,2-DIBROMO-3-CHLOROPROPANE | . | 0.4 | 1.34 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8375 | Ac2121193, Ab051712 | Ac | Ab | Ab | 2121193 | 051712 | 051712 | 2121193 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.8375 |  | 0.8375 | 0 | 0
1,2-DIBROMO-3-CHLOROPROPANE | 2021 | 82625GCM66 | 2013-06-08 | 2011-10-01 | 2050-09-30 | ug/L | 0.97455 | Accu, Abs | 213041120, 051413 | Accu 213041120: 10 µl & Abs 051413: 10 µl | 0.55 | 1,2-DIBROMO-3-CHLOROPROPANE | . | 0.4 | 0.536 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97455 | Ac2131120, Ab051413 | Ac | Ab | Ab | 2131120 | 051413 | 051413 | 2131120 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.97455 |  | 0.97455 | 0 | 0
1,2-DIBROMO-3-CHLOROPROPANE | 2021 | 82625GCM66 | 2013-11-01 | 2011-10-01 | 2050-09-30 | ug/L | 0.87546 | Accu, ChemService | 213041120, 1530700 | Accu 213041120: 20 µl & ChemService 1530700: 20 µl | 1.092 | 1,2-DIBROMO-3-CHLOROPROPANE | . | 0.4 | 0.956 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87546 | Ac2131120, Ch1530700 | Ac | Ch | Ch | 2131120 | 1530700 | 1530700 | 2131120 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.88736 | 0.016836 | 0.88736 | 0.02381 | 0.01765
1,2-DIBROMO-3-CHLOROPROPANE | 2021 | 82625GCM66 | 2013-12-31 | 2011-10-01 | 2050-09-30 | ug/L | 0.89927 | Accu, ChemService | 213041120, 1530700 | Accu 213041120: 10 µl & ChemService 1530700: 10 µl | 0.546 | 1,2-DIBROMO-3-CHLOROPROPANE | . | 0.4 | 0.491 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89927 | Ac2131120, Ch1530700 | Ac | Ch | Ch | 2131120 | 1530700 | 1530700 | 2131120 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.88736 | 0.016836 | 0.88736 | 0.02381 | 0.01765
1,2-DIBROMO-3-CHLOROPROPANE | 2021 | 82625GCM66 | 2013-06-29 | 2011-10-01 | 2050-09-30 | ug/L | 0.88095 | ChemService, Crescent | 1530700, 04CC151 | ChemService 1530700: 10 µl & Crescent 04CC151: 10 µl | 0.546 | 1,2-DIBROMO-3-CHLOROPROPANE | . | 0.4 | 0.481 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88095 | Ch1530700, Cr04CC151 | Ch | Cr | Cr | 1530700 | 04CC151 | 04CC151 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.88095 |  | 0.88095 | 0 | 0
1,2-DIBROMO-3-CHLOROPROPANE | 2021 | 82625GCM66 | 2013-08-22 | 2011-10-01 | 2050-09-30 | ug/L | 0.82326 | ChemService, NSI | 1530700, 053013 | ChemService 1530700: 20 µl & NSI 053013: 20 µl | 1.092 | 1,2-DIBROMO-3-CHLOROPROPANE | . | 0.4 | 0.899 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82326 | Ch1530700, NS053013 | Ch | NS | NS | 1530700 | 053013 | 053013 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.82326 |  | 0.82326 | 0 | 0
1,2-DIBROMO-3-CHLOROPROPANE | 2021 | 82625GCM66 | 2012-10-23 | 2011-10-01 | 2050-09-30 | ug/L | 0.58625 | Crescent, Abs | 05BB048, 051712 | Crescent 05BB048: 40 µl & Abs 051712: 40 µl | 1.6 | 1,2-DIBROMO-3-CHLOROPROPANE | . | 0.4 | 0.938 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58625 | Cr05BB048, Ab051712 | Cr | Ab | Ab | 05BB048 | 051712 | 051712 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.58625 |  | 0.58625 | 0 | 0
1,2-DIBROMO-3-CHLOROPROPANE | 2021 | 82625GCM66 | 2012-10-11 | 2011-10-01 | 2050-09-30 | ug/L | 1.0175 | Crescent, ChemService | 05BB048, 472200 | Crescent 05BB048: 10 µl & ChemService 472200: 10 µl | 0.4 | 1,2-DIBROMO-3-CHLOROPROPANE | . | 0.4 | 0.407 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0175 | Cr05BB048, Ch472200 | Cr | Ch | Ch | 05BB048 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.9525 | 0.091924 | 0.9525 | 0.13 | 0.096368
1,2-DIBROMO-3-CHLOROPROPANE | 2021 | 82625GCM66 | 2013-02-14 | 2011-10-01 | 2050-09-30 | ug/L | 0.8875 | Crescent, ChemService | 05BB048, 472200 | Crescent 05BB048: 40 µl & ChemService 472200: 40 µl | 1.6 | 1,2-DIBROMO-3-CHLOROPROPANE | . | 0.4 | 1.42 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8875 | Cr05BB048, Ch472200 | Cr | Ch | Ch | 05BB048 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.9525 | 0.091924 | 0.9525 | 0.13 | 0.096368
1,2-DIBROMO-3-CHLOROPROPANE | 2021 | 82625GCM66 | 2010-10-23 | 2010-10-01 | 2011-09-30 | ug/L | 0.73594 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 0.64 | 1,2-DIBROMO-3-CHLOROPROPANE | . | 0.4 | 0.471 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73594 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.87351 | 0.092882 | 0.90625 | 0.16875 | 0.12509
1,2-DIBROMO-3-CHLOROPROPANE | 2021 | 82625GCM66 | 2010-12-03 | 2010-10-01 | 2011-09-30 | ug/L | 0.89844 | Crescent | 06MM148 | Crescent 06MM148: 40 µl | 1.28 | 1,2-DIBROMO-3-CHLOROPROPANE | . | 0.4 | 1.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89844 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.87351 | 0.092882 | 0.90625 | 0.16875 | 0.12509
1,2-DIBROMO-3-CHLOROPROPANE | 2021 | 82625GCM66 | 2011-02-14 | 2010-10-01 | 2011-09-30 | ug/L | 0.91563 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 0.64 | 1,2-DIBROMO-3-CHLOROPROPANE | . | 0.4 | 0.586 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91563 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.87351 | 0.092882 | 0.90625 | 0.16875 | 0.12509
1,2-DIBROMO-3-CHLOROPROPANE | 2021 | 82625GCM66 | 2011-03-26 | 2010-10-01 | 2011-09-30 | ug/L | 0.925 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 0.64 | 1,2-DIBROMO-3-CHLOROPROPANE | . | 0.4 | 0.592 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.925 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.87351 | 0.092882 | 0.90625 | 0.16875 | 0.12509
1,2-DIBROMO-3-CHLOROPROPANE | 2021 | 82625GCM66 | 2011-05-10 | 2010-10-01 | 2011-09-30 | ug/L | 0.75625 | Crescent | 06MM148 | Crescent 06MM148: 40 µl | 1.28 | 1,2-DIBROMO-3-CHLOROPROPANE | . | 0.4 | 0.968 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75625 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.87351 | 0.092882 | 0.90625 | 0.16875 | 0.12509
1,2-DIBROMO-3-CHLOROPROPANE | 2021 | 82625GCM66 | 2011-06-18 | 2010-10-01 | 2011-09-30 | ug/L | 0.84219 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 0.64 | 1,2-DIBROMO-3-CHLOROPROPANE | . | 0.4 | 0.539 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84219 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.87351 | 0.092882 | 0.90625 | 0.16875 | 0.12509
1,2-DIBROMO-3-CHLOROPROPANE | 2021 | 82625GCM66 | 2011-08-10 | 2010-10-01 | 2011-09-30 | ug/L | 0.90625 | Crescent | 06MM148 | Crescent 06MM148: 40 µl | 1.28 | 1,2-DIBROMO-3-CHLOROPROPANE | . | 0.4 | 1.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90625 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.87351 | 0.092882 | 0.90625 | 0.16875 | 0.12509
1,2-DIBROMO-3-CHLOROPROPANE | 2021 | 82625GCM66 | 2011-10-24 | 2011-10-01 | 2050-09-30 | ug/L | 0.9375 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 0.64 | 1,2-DIBROMO-3-CHLOROPROPANE | . | 0.4 | 0.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9375 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.87351 | 0.092882 | 0.90625 | 0.16875 | 0.12509
1,2-DIBROMO-3-CHLOROPROPANE | 2021 | 82625GCM66 | 2011-12-17 | 2011-10-01 | 2050-09-30 | ug/L | 0.74609 | Crescent | 06MM148 | Crescent 06MM148: 40 µl | 1.28 | 1,2-DIBROMO-3-CHLOROPROPANE | . | 0.4 | 0.955 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74609 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.87351 | 0.092882 | 0.90625 | 0.16875 | 0.12509
1,2-DIBROMO-3-CHLOROPROPANE | 2021 | 82625GCM66 | 2012-02-24 | 2011-10-01 | 2050-09-30 | ug/L | 1.0297 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 0.64 | 1,2-DIBROMO-3-CHLOROPROPANE | . | 0.4 | 0.659 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0297 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.87351 | 0.092882 | 0.90625 | 0.16875 | 0.12509
1,2-DIBROMO-3-CHLOROPROPANE | 2021 | 82625GCM66 | 2012-03-24 | 2011-10-01 | 2050-09-30 | ug/L | 0.91563 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 0.64 | 1,2-DIBROMO-3-CHLOROPROPANE | . | 0.4 | 0.586 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91563 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.87351 | 0.092882 | 0.90625 | 0.16875 | 0.12509
1,2-DIBROMO-3-CHLOROPROPANE | 2021 | 82625GCM66 | 2009-02-06 | 2008-10-01 | 2009-09-30 | ug/L | 0.85756 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 40 µl | 1.376 | 1,2-DIBROMO-3-CHLOROPROPANE | . | 1 | 1.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85756 | ERA 0804-08-02VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.97989 | 0.12971 | 0.9593 | 0.072674 | 0.053873
1,2-DIBROMO-3-CHLOROPROPANE | 2021 | 82625GCM66 | 2009-03-14 | 2008-10-01 | 2009-09-30 | ug/L | 0.94477 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 20 µl | 0.688 | 1,2-DIBROMO-3-CHLOROPROPANE | E | 1 | 0.65 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.94477 | ERA 0804-08-02VOC | [9 empty] | Y | Estimated Values | Y | 1 |  | 6 | 0.97989 | 0.12971 | 0.9593 | 0.072674 | 0.053873
1,2-DIBROMO-3-CHLOROPROPANE | 2021 | 82625GCM66 | 2009-04-25 | 2008-10-01 | 2009-09-30 | ug/L | 0.97384 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 20 µl | 0.688 | 1,2-DIBROMO-3-CHLOROPROPANE | E | 1 | 0.67 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.97384 | ERA 0804-08-02VOC | [9 empty] | Y | Estimated Values | Y | 1 |  | 6 | 0.97989 | 0.12971 | 0.9593 | 0.072674 | 0.053873
1,2-DIBROMO-3-CHLOROPROPANE | 2021 | 82625GCM66 | 2009-06-17 | 2008-10-01 | 2009-09-30 | ug/L | 0.90116 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 20 µl | 0.688 | 1,2-DIBROMO-3-CHLOROPROPANE | E | 1 | 0.62 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.90116 | ERA 0804-08-02VOC | [9 empty] | Y | Estimated Values | Y | 1 |  | 6 | 0.97989 | 0.12971 | 0.9593 | 0.072674 | 0.053873
1,2-DIBROMO-3-CHLOROPROPANE | 2021 | 82625GCM66 | 2009-07-25 | 2008-10-01 | 2009-09-30 | ug/L | 1.2282 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 40 µl | 1.376 | 1,2-DIBROMO-3-CHLOROPROPANE | . | 1 | 1.69 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2282 | ERA 0804-08-02VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.97989 | 0.12971 | 0.9593 | 0.072674 | 0.053873
1,2-DIBROMO-3-CHLOROPROPANE | 2021 | 82625GCM66 | 2009-09-05 | 2008-10-01 | 2009-09-30 | ug/L | 0.97384 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 20 µl | 0.688 | 1,2-DIBROMO-3-CHLOROPROPANE | E | 1 | 0.67 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.97384 | ERA 0804-08-02VOC | [9 empty] | Y | Estimated Values | Y | 1 |  | 6 | 0.97989 | 0.12971 | 0.9593 | 0.072674 | 0.053873
1,2-DIBROMO-3-CHLOROPROPANE | 2021 | 82625GCM66 | 2012-08-28 | 2011-10-01 | 2050-09-30 | ug/L | 0.65125 | NSI, ChemService | 062112-01VOA, 472200 | NSI 062112-01VOA: 20 µl & ChemService 472200: 20 µl | 0.8 | 1,2-DIBROMO-3-CHLOROPROPANE | . | 0.4 | 0.521 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65125 | NS0621VOA, Ch472200 | NS | Ch | Ch | 0621VOA | 472200 | 472200 | 0621VOA |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.76313 | 0.15822 | 0.76313 | 0.22375 | 0.16586
1,2-DIBROMO-3-CHLOROPROPANE | 2021 | 82625GCM66 | 2012-12-09 | 2011-10-01 | 2050-09-30 | ug/L | 0.875 | NSI, ChemService | 062112-01VOA, 472200 | NSI 062112-01VOA: 10 µl & ChemService 472200: 10 µl | 0.4 | 1,2-DIBROMO-3-CHLOROPROPANE | . | 0.4 | 0.35 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.875 | NS0621VOA, Ch472200 | NS | Ch | Ch | 0621VOA | 472200 | 472200 | 0621VOA |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.76313 | 0.15822 | 0.76313 | 0.22375 | 0.16586
1,2-DIBROMO-3-CHLOROPROPANE | 2021 | 82625GCM66 | 2009-10-24 | 2009-10-01 | 2010-09-30 | ug/L | 1.0485 | NSI | 090909-01VOC | NSI 090909-01VOC: 10 µl | 2.68 | 1,2-DIBROMO-3-CHLOROPROPANE | . | 0.34 | 2.81 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0485 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.98958 | 0.10015 | 0.97948 | 0.12873 | 0.095427
1,2-DIBROMO-3-CHLOROPROPANE | 2021 | 82625GCM66 | 2009-12-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.96269 | NSI | 090909-01VOC | NSI 090909-01VOC: 30 µl | 8.04 | 1,2-DIBROMO-3-CHLOROPROPANE | . | 0.34 | 7.74 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96269 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.98958 | 0.10015 | 0.97948 | 0.12873 | 0.095427
1,2-DIBROMO-3-CHLOROPROPANE | 2021 | 82625GCM66 | 2010-02-03 | 2009-10-01 | 2010-09-30 | ug/L | 0.88806 | NSI | 090909-01VOC | NSI 090909-01VOC: 10 µl | 2.68 | 1,2-DIBROMO-3-CHLOROPROPANE | . | 0.34 | 2.38 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88806 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.98958 | 0.10015 | 0.97948 | 0.12873 | 0.095427
1,2-DIBROMO-3-CHLOROPROPANE | 2021 | 82625GCM66 | 2010-03-11 | 2009-10-01 | 2010-09-30 | ug/L | 1.1903 | NSI | 090909-01VOC | NSI 090909-01VOC: 30 µl | 8.04 | 1,2-DIBROMO-3-CHLOROPROPANE | . | 0.34 | 9.57 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1903 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.98958 | 0.10015 | 0.97948 | 0.12873 | 0.095427
1,2-DIBROMO-3-CHLOROPROPANE | 2021 | 82625GCM66 | 2010-04-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.99627 | NSI | 090909-01VOC | NSI 090909-01VOC: 10 µl | 2.68 | 1,2-DIBROMO-3-CHLOROPROPANE | . | 0.34 | 2.67 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99627 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.98958 | 0.10015 | 0.97948 | 0.12873 | 0.095427
1,2-DIBROMO-3-CHLOROPROPANE | 2021 | 82625GCM66 | 2010-05-29 | 2009-10-01 | 2010-09-30 | ug/L | 1.0199 | NSI | 090909-01VOC | NSI 090909-01VOC: 30 µl | 8.04 | 1,2-DIBROMO-3-CHLOROPROPANE | . | 0.34 | 8.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0199 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.98958 | 0.10015 | 0.97948 | 0.12873 | 0.095427
1,2-DIBROMO-3-CHLOROPROPANE | 2021 | 82625GCM66 | 2010-07-09 | 2009-10-01 | 2010-09-30 | ug/L | 0.91791 | NSI | 090909-01VOC | NSI 090909-01VOC: 10 µl | 2.68 | 1,2-DIBROMO-3-CHLOROPROPANE | . | 0.34 | 2.46 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91791 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.98958 | 0.10015 | 0.97948 | 0.12873 | 0.095427
1,2-DIBROMO-3-CHLOROPROPANE | 2021 | 82625GCM66 | 2010-08-14 | 2009-10-01 | 2010-09-30 | ug/L | 0.89303 | NSI | 090909-01VOC | NSI 090909-01VOC: 30 µl | 8.04 | 1,2-DIBROMO-3-CHLOROPROPANE | . | 0.34 | 7.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89303 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.98958 | 0.10015 | 0.97948 | 0.12873 | 0.095427
1,2-DIBROMO-3-CHLOROPROPANE | 2021 | 82625GCM66 | 2010-11-16 | 2010-10-01 | 2011-09-30 | ug/L | 0.96774 | Restek | A075493 | Restek A075493: 40 µl | 1.24 | 1,2-DIBROMO-3-CHLOROPROPANE | . | 0.4 | 1.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96774 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.83886 | 0.11311 | 0.80484 | 0.19839 | 0.14706
1,2-DIBROMO-3-CHLOROPROPANE | 2021 | 82625GCM66 | 2011-01-22 | 2010-10-01 | 2011-09-30 | ug/L | 0.79194 | Restek | A075493 | Restek A075493: 20 µl | 0.62 | 1,2-DIBROMO-3-CHLOROPROPANE | . | 0.4 | 0.491 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79194 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.83886 | 0.11311 | 0.80484 | 0.19839 | 0.14706
1,2-DIBROMO-3-CHLOROPROPANE | 2021 | 82625GCM66 | 2011-03-08 | 2010-10-01 | 2011-09-30 | ug/L | 0.71694 | Restek | A075493 | Restek A075493: 40 µl | 1.24 | 1,2-DIBROMO-3-CHLOROPROPANE | . | 0.4 | 0.889 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71694 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.83886 | 0.11311 | 0.80484 | 0.19839 | 0.14706
1,2-DIBROMO-3-CHLOROPROPANE | 2021 | 82625GCM66 | 2011-04-21 | 2010-10-01 | 2011-09-30 | ug/L | 1.0452 | Restek | A075493 | Restek A075493: 20 µl | 0.62 | 1,2-DIBROMO-3-CHLOROPROPANE | . | 0.4 | 0.648 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0452 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.83886 | 0.11311 | 0.80484 | 0.19839 | 0.14706
1,2-DIBROMO-3-CHLOROPROPANE | 2021 | 82625GCM66 | 2011-05-28 | 2010-10-01 | 2011-09-30 | ug/L | 0.73952 | Restek | A075493 | Restek A075493: 40 µl | 1.24 | 1,2-DIBROMO-3-CHLOROPROPANE | . | 0.4 | 0.917 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73952 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.83886 | 0.11311 | 0.80484 | 0.19839 | 0.14706
1,2-DIBROMO-3-CHLOROPROPANE | 2021 | 82625GCM66 | 2011-07-20 | 2010-10-01 | 2011-09-30 | ug/L | 0.72903 | Restek | A075493 | Restek A075493: 20 µl | 0.62 | 1,2-DIBROMO-3-CHLOROPROPANE | . | 0.4 | 0.452 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72903 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.83886 | 0.11311 | 0.80484 | 0.19839 | 0.14706
1,2-DIBROMO-3-CHLOROPROPANE | 2021 | 82625GCM66 | 2011-09-03 | 2010-10-01 | 2011-09-30 | ug/L | 0.87419 | Restek | A075493 | Restek A075493: 20 µl | 0.62 | 1,2-DIBROMO-3-CHLOROPROPANE | . | 0.4 | 0.542 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87419 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.83886 | 0.11311 | 0.80484 | 0.19839 | 0.14706
1,2-DIBROMO-3-CHLOROPROPANE | 2021 | 82625GCM66 | 2011-11-18 | 2011-10-01 | 2050-09-30 | ug/L | 0.80484 | Restek | A075493 | Restek A075493: 40 µl | 1.24 | 1,2-DIBROMO-3-CHLOROPROPANE | . | 0.4 | 0.998 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80484 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.83886 | 0.11311 | 0.80484 | 0.19839 | 0.14706
1,2-DIBROMO-3-CHLOROPROPANE | 2021 | 82625GCM66 | 2012-01-26 | 2011-10-01 | 2050-09-30 | ug/L | 0.92742 | Restek | A075493 | Restek A075493: 20 µl | 0.62 | 1,2-DIBROMO-3-CHLOROPROPANE | . | 0.4 | 0.575 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92742 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.83886 | 0.11311 | 0.80484 | 0.19839 | 0.14706
1,2-DIBROMO-3-CHLOROPROPANE | 2021 | 82625GCM66 | 2012-02-24 | 2011-10-01 | 2050-09-30 | ug/L | 0.91129 | Restek | A075493 | Restek A075493: 40 µl | 1.24 | 1,2-DIBROMO-3-CHLOROPROPANE | . | 0.4 | 1.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91129 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.83886 | 0.11311 | 0.80484 | 0.19839 | 0.14706
1,2-DIBROMO-3-CHLOROPROPANE | 2021 | 82625GCM66 | 2012-04-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.71935 | Restek | A075493 | Restek A075493: 20 µl | 0.62 | 1,2-DIBROMO-3-CHLOROPROPANE | . | 0.4 | 0.446 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71935 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.83886 | 0.11311 | 0.80484 | 0.19839 | 0.14706
1,2-DIBROMO-3-CHLOROPROPANE | 2021 | 82625GCM66 | 2012-07-30 | 2011-10-01 | 2050-09-30 | ug/L | 0.96875 | Supelco, Abs | LB92787, 051712 | Supelco LB92787: 20 µl & Abs 051712: 20 µl | 0.8 | 1,2-DIBROMO-3-CHLOROPROPANE | . | 0.4 | 0.775 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96875 | SuLB92787, Ab051712 | Su | Ab | Ab | LB92787 | 051712 | 051712 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.96875 |  | 0.96875 | 0 | 0
1,2-DIBROMO-3-CHLOROPROPANE | 2021 | 82625GCM66 | 2013-03-29 | 2011-10-01 | 2050-09-30 | ug/L | 0.845 | Supelco, ChemService | LB92787, 472200 | Supelco LB92787: 10 µl & ChemService 472200: 10 µl | 0.4 | 1,2-DIBROMO-3-CHLOROPROPANE | . | 0.4 | 0.338 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.845 | SuLB92787, Ch472200 | Su | Ch | Ch | LB92787 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.84125 | 0.0053033 | 0.84125 | 0.0075 | 0.0055597
1,2-DIBROMO-3-CHLOROPROPANE | 2021 | 82625GCM66 | 2013-05-03 | 2011-10-01 | 2050-09-30 | ug/L | 0.8375 | Supelco, ChemService | LB92787, 472200 | Supelco LB92787: 10 µl & ChemService 472200: 10 µl | 0.4 | 1,2-DIBROMO-3-CHLOROPROPANE | . | 0.4 | 0.335 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8375 | SuLB92787, Ch472200 | Su | Ch | Ch | LB92787 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.84125 | 0.0053033 | 0.84125 | 0.0075 | 0.0055597
1,2-DIBROMO-3-CHLOROPROPANE | 2021 | 82625GCM66 | 2013-08-06 | 2011-10-01 | 2050-09-30 | ug/L | 0.63182 | Supelco, Abs | LC00154, 051413 | Supelco LC00154: 20 µl & Abs 051413: 20 µl | 1.1 | 1,2-DIBROMO-3-CHLOROPROPANE | . | 0.4 | 0.695 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63182 | SuLC00154, Ab051413 | Su | Ab | Ab | LC00154 | 051413 | 051413 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.80955 | 0.25134 | 0.80955 | 0.35545 | 0.26349
1,2-DIBROMO-3-CHLOROPROPANE | 2021 | 82625GCM66 | 2013-12-12 | 2011-10-01 | 2050-09-30 | ug/L | 0.98727 | Supelco, Abs | LC00154, 051413 | Supelco LC00154: 10 µl & Abs 051413: 10 µl | 0.55 | 1,2-DIBROMO-3-CHLOROPROPANE | . | 0.4 | 0.543 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98727 | SuLC00154, Ab051413 | Su | Ab | Ab | LC00154 | 051413 | 051413 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.80955 | 0.25134 | 0.80955 | 0.35545 | 0.26349
1,2-DIBROMO-3-CHLOROPROPANE | 2021 | 82625GCM66 | 2013-09-17 | 2011-10-01 | 2050-09-30 | ug/L | 0.94322 | Supelco, ChemService | LC00154, 1530700 | Supelco LC00154: 20 µl & ChemService 1530700: 20 µl | 1.092 | 1,2-DIBROMO-3-CHLOROPROPANE | . | 0.4 | 1.03 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94322 | SuLC00154, Ch1530700 | Su | Ch | Ch | LC00154 | 1530700 | 1530700 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.94322 |  | 0.94322 | 0 | 0
1,2-DIBROMO-3-CHLOROPROPANE | 2021 | 82625GCM66 | 2009-02-27 | 2008-10-01 | 2009-09-30 | ug/L | 0.94062 | Supelco | LB60727 | Supelco LB60727: 20 µl | 0.6804 | 1,2-DIBROMO-3-CHLOROPROPANE | E | 1 | 0.64 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.94062 | Supelco LB60727 | [9 empty] | Y | Estimated Values | Y | 1 |  | 6 | 0.85489 | 0.089842 | 0.84509 | 0.10288 | 0.076264
1,2-DIBROMO-3-CHLOROPROPANE | 2021 | 82625GCM66 | 2009-04-08 | 2008-10-01 | 2009-09-30 | ug/L | 0.70547 | Supelco | LB60727 | Supelco LB60727: 40 µl | 1.3608 | 1,2-DIBROMO-3-CHLOROPROPANE | E | 1 | 0.96 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70547 | Supelco LB60727 | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.85489 | 0.089842 | 0.84509 | 0.10288 | 0.076264
1,2-DIBROMO-3-CHLOROPROPANE | 2021 | 82625GCM66 | 2009-05-16 | 2008-10-01 | 2009-09-30 | ug/L | 0.83774 | Supelco | LB60727 | Supelco LB60727: 20 µl | 0.6804 | 1,2-DIBROMO-3-CHLOROPROPANE | E | 1 | 0.57 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.83774 | Supelco LB60727 | [9 empty] | Y | Estimated Values | Y | 1 |  | 6 | 0.85489 | 0.089842 | 0.84509 | 0.10288 | 0.076264
1,2-DIBROMO-3-CHLOROPROPANE | 2021 | 82625GCM66 | 2009-07-08 | 2008-10-01 | 2009-09-30 | ug/L | 0.83774 | Supelco | LB60727 | Supelco LB60727: 40 µl | 1.3608 | 1,2-DIBROMO-3-CHLOROPROPANE | . | 1 | 1.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83774 | Supelco LB60727 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.85489 | 0.089842 | 0.84509 | 0.10288 | 0.076264
1,2-DIBROMO-3-CHLOROPROPANE | 2021 | 82625GCM66 | 2009-08-19 | 2008-10-01 | 2009-09-30 | ug/L | 0.95532 | Supelco | LB60727 | Supelco LB60727: 20 µl | 0.6804 | 1,2-DIBROMO-3-CHLOROPROPANE | E | 1 | 0.65 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.95532 | Supelco LB60727 | [9 empty] | Y | Estimated Values | Y | 1 |  | 6 | 0.85489 | 0.089842 | 0.84509 | 0.10288 | 0.076264
1,2-DIBROMO-3-CHLOROPROPANE | 2021 | 82625GCM66 | 2009-09-26 | 2008-10-01 | 2009-09-30 | ug/L | 0.85244 | Supelco | LB60727 | Supelco LB60727: 20 µl | 0.6804 | 1,2-DIBROMO-3-CHLOROPROPANE | E | 1 | 0.58 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.85244 | Supelco LB60727 | [9 empty] | Y | Estimated Values | Y | 1 |  | 6 | 0.85489 | 0.089842 | 0.84509 | 0.10288 | 0.076264
1,2-DIBROMO-3-CHLOROPROPANE | 2021 | 82625GCM66 | 2009-01-17 | 2008-10-01 | 2009-09-30 | ug/L | 0.98333 | Ultra | CE-0471 | Ultra CE-0471: 20 µl | 0.6 | 1,2-DIBROMO-3-CHLOROPROPANE | E | 1 | 0.59 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.98333 | Ultra CE-0471 | [9 empty] | Y | Estimated Values | Y | 1 |  | 1 | 0.98333 |  | 0.98333 | 0 | 0