## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
1,2-DICHLOROBENZENE | 2021 | 34536GCM66 | 2013-11-15 | 2010-10-01 | 2050-09-30 | ug/L | 1.0525 | Abs, Crescent | 051413, 04CC151 | Abs 051413: 10 µl & Crescent 04CC151: 10 µl | 0.04 | 1,2-DICHLOROBENZENE | . | 0.028 | 0.0421 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0525 | Ab051413, Cr04CC151 | Ab | Cr | Cr | 051413 | 04CC151 | 04CC151 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.95375 | 0.13965 | 0.95375 | 0.1975 | 0.1464
1,2-DICHLOROBENZENE | 2021 | 34536GCM66 | 2013-12-31 | 2010-10-01 | 2050-09-30 | ug/L | 0.855 | Abs, Crescent | 051413, 04CC151 | Abs 051413: 20 µl & Crescent 04CC151: 20 µl | 0.08 | 1,2-DICHLOROBENZENE | . | 0.028 | 0.0684 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.855 | Ab051413, Cr04CC151 | Ab | Cr | Cr | 051413 | 04CC151 | 04CC151 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.95375 | 0.13965 | 0.95375 | 0.1975 | 0.1464
1,2-DICHLOROBENZENE | 2021 | 34536GCM66 | 2013-09-27 | 2010-10-01 | 2050-09-30 | ug/L | 0.895 | Abs, NSI | 051413, 053013 | Abs 051413: 10 µl & NSI 053013: 10 µl | 0.04 | 1,2-DICHLOROBENZENE | . | 0.028 | 0.0358 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.895 | Ab051413, NS053013 | Ab | NS | NS | 051413 | 053013 | 053013 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.895 |  | 0.895 | 0 | 0
1,2-DICHLOROBENZENE | 2021 | 34536GCM66 | 2010-10-14 | 2010-10-01 | 2050-09-30 | ug/L | 0.94583 | Abs | 080510 | Abs 080510: 20 µl | 0.072 | 1,2-DICHLOROBENZENE | . | 0.028 | 0.0681 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94583 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.98952 | 0.085331 | 0.94583 | 0.16528 | 0.12252
1,2-DICHLOROBENZENE | 2021 | 34536GCM66 | 2010-11-25 | 2010-10-01 | 2050-09-30 | ug/L | 0.96389 | Abs | 080510 | Abs 080510: 20 µl | 0.072 | 1,2-DICHLOROBENZENE | . | 0.028 | 0.0694 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96389 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.98952 | 0.085331 | 0.94583 | 0.16528 | 0.12252
1,2-DICHLOROBENZENE | 2021 | 34536GCM66 | 2011-02-02 | 2010-10-01 | 2050-09-30 | ug/L | 1.1319 | Abs | 080510 | Abs 080510: 40 µl | 0.144 | 1,2-DICHLOROBENZENE | . | 0.028 | 0.163 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1319 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.98952 | 0.085331 | 0.94583 | 0.16528 | 0.12252
1,2-DICHLOROBENZENE | 2021 | 34536GCM66 | 2011-04-05 | 2010-10-01 | 2050-09-30 | ug/L | 0.98611 | Abs | 080510 | Abs 080510: 20 µl | 0.072 | 1,2-DICHLOROBENZENE | . | 0.028 | 0.071 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98611 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.98952 | 0.085331 | 0.94583 | 0.16528 | 0.12252
1,2-DICHLOROBENZENE | 2021 | 34536GCM66 | 2011-05-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.9375 | Abs | 080510 | Abs 080510: 40 µl | 0.144 | 1,2-DICHLOROBENZENE | . | 0.028 | 0.135 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9375 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.98952 | 0.085331 | 0.94583 | 0.16528 | 0.12252
1,2-DICHLOROBENZENE | 2021 | 34536GCM66 | 2011-06-27 | 2010-10-01 | 2050-09-30 | ug/L | 1.0958 | Abs | 080510 | Abs 080510: 20 µl | 0.072 | 1,2-DICHLOROBENZENE | . | 0.028 | 0.0789 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0958 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.98952 | 0.085331 | 0.94583 | 0.16528 | 0.12252
1,2-DICHLOROBENZENE | 2021 | 34536GCM66 | 2011-08-13 | 2010-10-01 | 2050-09-30 | ug/L | 0.93056 | Abs | 080510 | Abs 080510: 40 µl | 0.144 | 1,2-DICHLOROBENZENE | . | 0.028 | 0.134 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93056 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.98952 | 0.085331 | 0.94583 | 0.16528 | 0.12252
1,2-DICHLOROBENZENE | 2021 | 34536GCM66 | 2011-10-18 | 2010-10-01 | 2050-09-30 | ug/L | 0.925 | Abs | 080510 | Abs 080510: 20 µl | 0.072 | 1,2-DICHLOROBENZENE | . | 0.028 | 0.0666 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.925 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.98952 | 0.085331 | 0.94583 | 0.16528 | 0.12252
1,2-DICHLOROBENZENE | 2021 | 34536GCM66 | 2011-11-22 | 2010-10-01 | 2050-09-30 | ug/L | 1.125 | Abs | 080510 | Abs 080510: 40 µl | 0.144 | 1,2-DICHLOROBENZENE | . | 0.028 | 0.162 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.125 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.98952 | 0.085331 | 0.94583 | 0.16528 | 0.12252
1,2-DICHLOROBENZENE | 2021 | 34536GCM66 | 2012-02-18 | 2010-10-01 | 2050-09-30 | ug/L | 0.94028 | Abs | 080510 | Abs 080510: 20 µl | 0.072 | 1,2-DICHLOROBENZENE | . | 0.028 | 0.0677 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94028 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.98952 | 0.085331 | 0.94583 | 0.16528 | 0.12252
1,2-DICHLOROBENZENE | 2021 | 34536GCM66 | 2012-03-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.90278 | Abs | 080510 | Abs 080510: 40 µl | 0.144 | 1,2-DICHLOROBENZENE | . | 0.028 | 0.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90278 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.98952 | 0.085331 | 0.94583 | 0.16528 | 0.12252
1,2-DICHLOROBENZENE | 2021 | 34536GCM66 | 2013-04-17 | 2010-10-01 | 2050-09-30 | ug/L | 1.0037 | Accu, Crescent | 212051389, 05BB048 | Accu 212051389: 20 µl & Crescent 05BB048: 20 µl | 0.8 | 1,2-DICHLOROBENZENE | . | 0.028 | 0.803 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0037 | Ac2121389, Cr05BB048 | Ac | Cr | Cr | 2121389 | 05BB048 | 05BB048 | 2121389 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.0037 |  | 1.0037 | 0 | 0
1,2-DICHLOROBENZENE | 2021 | 34536GCM66 | 2010-11-02 | 2010-10-01 | 2050-09-30 | ug/L | 0.95625 | Accu | 210061400 | Accu 210061400: 40 µl | 0.16 | 1,2-DICHLOROBENZENE | . | 0.028 | 0.153 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95625 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.83432 | 0.066615 | 0.8275 | 0.06 | 0.044477
1,2-DICHLOROBENZENE | 2021 | 34536GCM66 | 2011-01-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.8025 | Accu | 210061400 | Accu 210061400: 20 µl | 0.08 | 1,2-DICHLOROBENZENE | . | 0.028 | 0.0642 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8025 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.83432 | 0.066615 | 0.8275 | 0.06 | 0.044477
1,2-DICHLOROBENZENE | 2021 | 34536GCM66 | 2011-02-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.94 | Accu | 210061400 | Accu 210061400: 20 µl | 0.08 | 1,2-DICHLOROBENZENE | . | 0.028 | 0.0752 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.83432 | 0.066615 | 0.8275 | 0.06 | 0.044477
1,2-DICHLOROBENZENE | 2021 | 34536GCM66 | 2011-03-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.73125 | Accu | 210061400 | Accu 210061400: 40 µl | 0.16 | 1,2-DICHLOROBENZENE | . | 0.028 | 0.117 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73125 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.83432 | 0.066615 | 0.8275 | 0.06 | 0.044477
1,2-DICHLOROBENZENE | 2021 | 34536GCM66 | 2011-04-29 | 2010-10-01 | 2050-09-30 | ug/L | 0.81875 | Accu | 210061400 | Accu 210061400: 20 µl | 0.08 | 1,2-DICHLOROBENZENE | . | 0.028 | 0.0655 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81875 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.83432 | 0.066615 | 0.8275 | 0.06 | 0.044477
1,2-DICHLOROBENZENE | 2021 | 34536GCM66 | 2011-06-05 | 2010-10-01 | 2050-09-30 | ug/L | 0.80625 | Accu | 210061400 | Accu 210061400: 40 µl | 0.16 | 1,2-DICHLOROBENZENE | . | 0.028 | 0.129 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80625 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.83432 | 0.066615 | 0.8275 | 0.06 | 0.044477
1,2-DICHLOROBENZENE | 2021 | 34536GCM66 | 2011-07-23 | 2010-10-01 | 2050-09-30 | ug/L | 0.765 | Accu | 210061400 | Accu 210061400: 20 µl | 0.08 | 1,2-DICHLOROBENZENE | . | 0.028 | 0.0612 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.765 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.83432 | 0.066615 | 0.8275 | 0.06 | 0.044477
1,2-DICHLOROBENZENE | 2021 | 34536GCM66 | 2011-08-27 | 2010-10-01 | 2050-09-30 | ug/L | 0.8375 | Accu | 210061400 | Accu 210061400: 40 µl | 0.16 | 1,2-DICHLOROBENZENE | . | 0.028 | 0.134 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8375 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.83432 | 0.066615 | 0.8275 | 0.06 | 0.044477
1,2-DICHLOROBENZENE | 2021 | 34536GCM66 | 2011-11-03 | 2010-10-01 | 2050-09-30 | ug/L | 0.83 | Accu | 210061400 | Accu 210061400: 20 µl | 0.08 | 1,2-DICHLOROBENZENE | . | 0.028 | 0.0664 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.83432 | 0.066615 | 0.8275 | 0.06 | 0.044477
1,2-DICHLOROBENZENE | 2021 | 34536GCM66 | 2011-12-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.8625 | Accu | 210061400 | Accu 210061400: 40 µl | 0.16 | 1,2-DICHLOROBENZENE | . | 0.028 | 0.138 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8625 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.83432 | 0.066615 | 0.8275 | 0.06 | 0.044477
1,2-DICHLOROBENZENE | 2021 | 34536GCM66 | 2012-04-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.8275 | Accu | 210061400 | Accu 210061400: 20 µl | 0.08 | 1,2-DICHLOROBENZENE | . | 0.028 | 0.0662 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8275 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.83432 | 0.066615 | 0.8275 | 0.06 | 0.044477
1,2-DICHLOROBENZENE | 2021 | 34536GCM66 | 2013-06-29 | 2010-10-01 | 2050-09-30 | ug/L | 0.8275 | ChemService, Crescent | 1530700, 04CC151 | ChemService 1530700: 10 µl & Crescent 04CC151: 10 µl | 0.04 | 1,2-DICHLOROBENZENE | . | 0.028 | 0.0331 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8275 | Ch1530700, Cr04CC151 | Ch | Cr | Cr | 1530700 | 04CC151 | 04CC151 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.8275 |  | 0.8275 | 0 | 0
1,2-DICHLOROBENZENE | 2021 | 34536GCM66 | 2013-08-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.85625 | ChemService, NSI | 1530700, 053013 | ChemService 1530700: 20 µl & NSI 053013: 20 µl | 0.08 | 1,2-DICHLOROBENZENE | . | 0.028 | 0.0685 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85625 | Ch1530700, NS053013 | Ch | NS | NS | 1530700 | 053013 | 053013 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.85625 |  | 0.85625 | 0 | 0
1,2-DICHLOROBENZENE | 2021 | 34536GCM66 | 2009-01-27 | 2007-10-01 | 2009-09-30 | ug/L | 1.0192 | ChemService | 406-110C | ChemService 406-110C: 20 µl | 0.052 | 1,2-DICHLOROBENZENE | E | 0.02 | 0.053 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0192 | ChemService 406-110C | [9 empty] | Y | Estimated Values | Y | 2 |  | 7 | 0.9478 | 0.060523 | 0.92308 | 0.096154 | 0.071278
1,2-DICHLOROBENZENE | 2021 | 34536GCM66 | 2009-02-27 | 2007-10-01 | 2009-09-30 | ug/L | 1.0385 | ChemService | 406-110C | ChemService 406-110C: 40 µl | 0.104 | 1,2-DICHLOROBENZENE | . | 0.02 | 0.108 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0385 | ChemService 406-110C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.9478 | 0.060523 | 0.92308 | 0.096154 | 0.071278
1,2-DICHLOROBENZENE | 2021 | 34536GCM66 | 2009-04-11 | 2007-10-01 | 2009-09-30 | ug/L | 0.92308 | ChemService | 406-110C | ChemService 406-110C: 20 µl | 0.052 | 1,2-DICHLOROBENZENE | E | 0.02 | 0.048 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92308 | ChemService 406-110C | [9 empty] | Y | Estimated Values | Y | 2 |  | 7 | 0.9478 | 0.060523 | 0.92308 | 0.096154 | 0.071278
1,2-DICHLOROBENZENE | 2021 | 34536GCM66 | 2009-05-22 | 2007-10-01 | 2009-09-30 | ug/L | 0.92308 | ChemService | 406-110C | ChemService 406-110C: 20 µl | 0.052 | 1,2-DICHLOROBENZENE | E | 0.02 | 0.048 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92308 | ChemService 406-110C | [9 empty] | Y | Estimated Values | Y | 2 |  | 7 | 0.9478 | 0.060523 | 0.92308 | 0.096154 | 0.071278
1,2-DICHLOROBENZENE | 2021 | 34536GCM66 | 2009-06-23 | 2007-10-01 | 2009-09-30 | ug/L | 0.92308 | ChemService | 406-110C | ChemService 406-110C: 20 µl | 0.052 | 1,2-DICHLOROBENZENE | E | 0.02 | 0.048 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92308 | ChemService 406-110C | [9 empty] | Y | Estimated Values | Y | 2 |  | 7 | 0.9478 | 0.060523 | 0.92308 | 0.096154 | 0.071278
1,2-DICHLOROBENZENE | 2021 | 34536GCM66 | 2009-08-04 | 2007-10-01 | 2009-09-30 | ug/L | 0.86538 | ChemService | 406-110C | ChemService 406-110C: 40 µl | 0.104 | 1,2-DICHLOROBENZENE | E | 0.02 | 0.09 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86538 | ChemService 406-110C | [9 empty] | Y | Estimated Values | Y | 2 |  | 7 | 0.9478 | 0.060523 | 0.92308 | 0.096154 | 0.071278
1,2-DICHLOROBENZENE | 2021 | 34536GCM66 | 2009-09-11 | 2007-10-01 | 2009-09-30 | ug/L | 0.94231 | ChemService | 406-110C | ChemService 406-110C: 20 µl | 0.052 | 1,2-DICHLOROBENZENE | E | 0.02 | 0.049 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94231 | ChemService 406-110C | [9 empty] | Y | Estimated Values | Y | 2 |  | 7 | 0.9478 | 0.060523 | 0.92308 | 0.096154 | 0.071278
1,2-DICHLOROBENZENE | 2021 | 34536GCM66 | 2013-05-22 | 2010-10-01 | 2050-09-30 | ug/L | 1.06 | Crescent, Accu | 04CC151, 213041120 | Crescent 04CC151: 10 µl & Accu 213041120: 10 µl | 0.04 | 1,2-DICHLOROBENZENE | . | 0.028 | 0.0424 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.06 | Cr04CC151, Ac2131120 | Cr | Ac | Ac | 04CC151 | 2131120 | 2131120 |  | 2131120 | 2131120 | Y | Recoverable Result | Y | 2 |  | 1 | 1.06 |  | 1.06 | 0 | 0
1,2-DICHLOROBENZENE | 2021 | 34536GCM66 | 2013-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.86 | Crescent, Supelco | 04CC151, LC00154 | Crescent 04CC151: 10 µl & Supelco LC00154: 10 µl | 0.04 | 1,2-DICHLOROBENZENE | . | 0.028 | 0.0344 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86 | Cr04CC151, SuLC00154 | Cr | Su | Su | 04CC151 | LC00154 | LC00154 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.89625 | 0.051265 | 0.89625 | 0.0725 | 0.053744
1,2-DICHLOROBENZENE | 2021 | 34536GCM66 | 2013-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.9325 | Crescent, Supelco | 04CC151, LC00154 | Crescent 04CC151: 20 µl & Supelco LC00154: 20 µl | 0.08 | 1,2-DICHLOROBENZENE | . | 0.028 | 0.0746 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9325 | Cr04CC151, SuLC00154 | Cr | Su | Su | 04CC151 | LC00154 | LC00154 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.89625 | 0.051265 | 0.89625 | 0.0725 | 0.053744
1,2-DICHLOROBENZENE | 2021 | 34536GCM66 | 2012-10-23 | 2010-10-01 | 2050-09-30 | ug/L | 0.86875 | Crescent, Abs | 05BB048, 051712 | Crescent 05BB048: 40 µl & Abs 051712: 40 µl | 1.6 | 1,2-DICHLOROBENZENE | . | 0.028 | 1.39 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86875 | Cr05BB048, Ab051712 | Cr | Ab | Ab | 05BB048 | 051712 | 051712 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.86875 |  | 0.86875 | 0 | 0
1,2-DICHLOROBENZENE | 2021 | 34536GCM66 | 2012-07-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.9375 | Crescent, Accu | 05BB048, 212051193 | Crescent 05BB048: 10 µl & Accu 212051193: 10 µl | 0.4 | 1,2-DICHLOROBENZENE | . | 0.028 | 0.375 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9375 | Cr05BB048, Ac2121193 | Cr | Ac | Ac | 05BB048 | 2121193 | 2121193 |  | 2121193 | 2121193 | Y | Recoverable Result | Y | 2 |  | 2 | 0.97813 | 0.057452 | 0.97813 | 0.08125 | 0.06023
1,2-DICHLOROBENZENE | 2021 | 34536GCM66 | 2012-11-08 | 2010-10-01 | 2050-09-30 | ug/L | 1.0188 | Crescent, Accu | 05BB048, 212051193 | Crescent 05BB048: 20 µl & Accu 212051193: 20 µl | 0.8 | 1,2-DICHLOROBENZENE | . | 0.028 | 0.815 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0187 | Cr05BB048, Ac2121193 | Cr | Ac | Ac | 05BB048 | 2121193 | 2121193 |  | 2121193 | 2121193 | Y | Recoverable Result | Y | 2 |  | 2 | 0.97813 | 0.057452 | 0.97813 | 0.08125 | 0.06023
1,2-DICHLOROBENZENE | 2021 | 34536GCM66 | 2012-10-11 | 2010-10-01 | 2050-09-30 | ug/L | 0.9525 | Crescent, ChemService | 05BB048, 472200 | Crescent 05BB048: 10 µl & ChemService 472200: 10 µl | 0.4 | 1,2-DICHLOROBENZENE | . | 0.028 | 0.381 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9525 | Cr05BB048, Ch472200 | Cr | Ch | Ch | 05BB048 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0325 | 0.11314 | 1.0325 | 0.16 | 0.11861
1,2-DICHLOROBENZENE | 2021 | 34536GCM66 | 2013-02-14 | 2010-10-01 | 2050-09-30 | ug/L | 1.1125 | Crescent, ChemService | 05BB048, 472200 | Crescent 05BB048: 40 µl & ChemService 472200: 40 µl | 1.6 | 1,2-DICHLOROBENZENE | E | 0.028 | 1.78 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1125 | Cr05BB048, Ch472200 | Cr | Ch | Ch | 05BB048 | 472200 | 472200 |  |  |  | Y | Estimated Values | Y | 2 |  | 2 | 1.0325 | 0.11314 | 1.0325 | 0.16 | 0.11861
1,2-DICHLOROBENZENE | 2021 | 34536GCM66 | 2013-06-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.89 | Crescent | 04CC151 | Crescent 04CC151: 10 µl | 0.04 | 1,2-DICHLOROBENZENE | . | 0.028 | 0.0356 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89 | Crescent 04CC151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.89 |  | 0.89 | 0 | 0
1,2-DICHLOROBENZENE | 2021 | 34536GCM66 | 2013-12-12 | 2010-10-01 | 2050-09-30 | ug/L | 1.0962 | NSI, Accu | 053013, 213041120 | NSI 053013: 20 µl & Accu 213041120: 20 µl | 0.08 | 1,2-DICHLOROBENZENE | . | 0.028 | 0.0877 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0962 | NS053013, Ac2131120 | NS | Ac | Ac | 053013 | 2131120 | 2131120 |  | 2131120 | 2131120 | Y | Recoverable Result | Y | 2 |  | 1 | 1.0962 |  | 1.0962 | 0 | 0
1,2-DICHLOROBENZENE | 2021 | 34536GCM66 | 2013-07-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.985 | NSI, Supelco | 053013, LC00154 | NSI 053013: 20 µl & Supelco LC00154: 20 µl | 0.08 | 1,2-DICHLOROBENZENE | . | 0.028 | 0.0788 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.985 | NS053013, SuLC00154 | NS | Su | Su | 053013 | LC00154 | LC00154 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.985 |  | 0.985 | 0 | 0
1,2-DICHLOROBENZENE | 2021 | 34536GCM66 | 2013-02-28 | 2010-10-01 | 2050-09-30 | ug/L | 0.985 | NSI, Accu | 062112-01VOA, 212051193 | NSI 062112-01VOA: 10 µl & Accu 212051193: 10 µl | 0.4 | 1,2-DICHLOROBENZENE | . | 0.028 | 0.394 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.985 | NS0621VOA, Ac2121193 | NS | Ac | Ac | 0621VOA | 2121193 | 2121193 | 0621VOA | 2121193 | 2121193 | Y | Recoverable Result | Y | 2 |  | 1 | 0.985 |  | 0.985 | 0 | 0
1,2-DICHLOROBENZENE | 2021 | 34536GCM66 | 2012-08-28 | 2010-10-01 | 2050-09-30 | ug/L | 0.89375 | NSI, ChemService | 062112-01VOA, 472200 | NSI 062112-01VOA: 20 µl & ChemService 472200: 20 µl | 0.8 | 1,2-DICHLOROBENZENE | . | 0.028 | 0.715 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89375 | NS0621VOA, Ch472200 | NS | Ch | Ch | 0621VOA | 472200 | 472200 | 0621VOA |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.90687 | 0.018562 | 0.90687 | 0.02625 | 0.019459
1,2-DICHLOROBENZENE | 2021 | 34536GCM66 | 2012-12-09 | 2010-10-01 | 2050-09-30 | ug/L | 0.92 | NSI, ChemService | 062112-01VOA, 472200 | NSI 062112-01VOA: 10 µl & ChemService 472200: 10 µl | 0.4 | 1,2-DICHLOROBENZENE | . | 0.028 | 0.368 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92 | NS0621VOA, Ch472200 | NS | Ch | Ch | 0621VOA | 472200 | 472200 | 0621VOA |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.90687 | 0.018562 | 0.90687 | 0.02625 | 0.019459
1,2-DICHLOROBENZENE | 2021 | 34536GCM66 | 2012-09-11 | 2010-10-01 | 2050-09-30 | ug/L | 0.995 | NSI, Supelco | 062112-01VOA, LB92787 | NSI 062112-01VOA: 20 µl & Supelco LB92787: 20 µl | 0.8 | 1,2-DICHLOROBENZENE | . | 0.028 | 0.796 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.995 | NS0621VOA, SuLB92787 | NS | Su | Su | 0621VOA | LB92787 | LB92787 | 0621VOA |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0194 | 0.034471 | 1.0194 | 0.04875 | 0.036138
1,2-DICHLOROBENZENE | 2021 | 34536GCM66 | 2012-12-22 | 2010-10-01 | 2050-09-30 | ug/L | 1.0437 | NSI, Supelco | 062112-01VOA, LB92787 | NSI 062112-01VOA: 40 µl & Supelco LB92787: 40 µl | 1.6 | 1,2-DICHLOROBENZENE | . | 0.028 | 1.67 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0437 | NS0621VOA, SuLB92787 | NS | Su | Su | 0621VOA | LB92787 | LB92787 | 0621VOA |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0194 | 0.034471 | 1.0194 | 0.04875 | 0.036138
1,2-DICHLOROBENZENE | 2021 | 34536GCM66 | 2009-02-12 | 2007-10-01 | 2009-09-30 | ug/L | 1.0192 | NSI | 081108-01VOC | NSI 081108-01VOC: 20 µl | 0.052 | 1,2-DICHLOROBENZENE | E | 0.02 | 0.053 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0192 | NSI 081108-01VOC | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.92949 | 0.057585 | 0.92788 | 0.048077 | 0.035639
1,2-DICHLOROBENZENE | 2021 | 34536GCM66 | 2009-04-08 | 2007-10-01 | 2009-09-30 | ug/L | 0.91346 | NSI | 081108-01VOC | NSI 081108-01VOC: 40 µl | 0.104 | 1,2-DICHLOROBENZENE | E | 0.02 | 0.095 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91346 | NSI 081108-01VOC | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.92949 | 0.057585 | 0.92788 | 0.048077 | 0.035639
1,2-DICHLOROBENZENE | 2021 | 34536GCM66 | 2009-05-06 | 2007-10-01 | 2009-09-30 | ug/L | 0.95192 | NSI | 081108-01VOC | NSI 081108-01VOC: 40 µl | 0.104 | 1,2-DICHLOROBENZENE | E | 0.02 | 0.099 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95192 | NSI 081108-01VOC | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.92949 | 0.057585 | 0.92788 | 0.048077 | 0.035639
1,2-DICHLOROBENZENE | 2021 | 34536GCM66 | 2009-06-06 | 2007-10-01 | 2009-09-30 | ug/L | 0.94231 | NSI | 081108-01VOC | NSI 081108-01VOC: 20 µl | 0.052 | 1,2-DICHLOROBENZENE | E | 0.02 | 0.049 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94231 | NSI 081108-01VOC | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.92949 | 0.057585 | 0.92788 | 0.048077 | 0.035639
1,2-DICHLOROBENZENE | 2021 | 34536GCM66 | 2009-07-09 | 2007-10-01 | 2009-09-30 | ug/L | 0.84615 | NSI | 081108-01VOC | NSI 081108-01VOC: 20 µl | 0.052 | 1,2-DICHLOROBENZENE | E | 0.02 | 0.044 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84615 | NSI 081108-01VOC | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.92949 | 0.057585 | 0.92788 | 0.048077 | 0.035639
1,2-DICHLOROBENZENE | 2021 | 34536GCM66 | 2009-08-27 | 2007-10-01 | 2009-09-30 | ug/L | 0.90385 | NSI | 081108-01VOC | NSI 081108-01VOC: 20 µl | 0.052 | 1,2-DICHLOROBENZENE | E | 0.02 | 0.047 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90385 | NSI 081108-01VOC | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.92949 | 0.057585 | 0.92788 | 0.048077 | 0.035639
1,2-DICHLOROBENZENE | 2021 | 34536GCM66 | 2009-11-04 | 2009-10-01 | 2010-09-30 | ug/L | 0.861 | Spex Organics | C1090901006 | Spex Organics C1090901006: 10 µl | 0.1 | 1,2-DICHLOROBENZENE | E | 0.028 | 0.0861 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.861 | Spex Organics C1090901006 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 1.0003 | 0.076231 | 0.99833 | 0.044333 | 0.032864
1,2-DICHLOROBENZENE | 2021 | 34536GCM66 | 2009-12-15 | 2009-10-01 | 2010-09-30 | ug/L | 1 | Spex Organics | C1090901006 | Spex Organics C1090901006: 30 µl | 0.3 | 1,2-DICHLOROBENZENE | . | 0.028 | 0.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | Spex Organics C1090901006 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0003 | 0.076231 | 0.99833 | 0.044333 | 0.032864
1,2-DICHLOROBENZENE | 2021 | 34536GCM66 | 2010-02-09 | 2009-10-01 | 2010-09-30 | ug/L | 1.05 | Spex Organics | C1090901006 | Spex Organics C1090901006: 10 µl | 0.1 | 1,2-DICHLOROBENZENE | . | 0.028 | 0.105 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.05 | Spex Organics C1090901006 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0003 | 0.076231 | 0.99833 | 0.044333 | 0.032864
1,2-DICHLOROBENZENE | 2021 | 34536GCM66 | 2010-03-17 | 2009-10-01 | 2010-09-30 | ug/L | 1.1333 | Spex Organics | C1090901006 | Spex Organics C1090901006: 30 µl | 0.3 | 1,2-DICHLOROBENZENE | . | 0.028 | 0.34 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1333 | Spex Organics C1090901006 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0003 | 0.076231 | 0.99833 | 0.044333 | 0.032864
1,2-DICHLOROBENZENE | 2021 | 34536GCM66 | 2010-04-27 | 2009-10-01 | 2010-09-30 | ug/L | 1 | Spex Organics | C1090901006 | Spex Organics C1090901006: 10 µl | 0.1 | 1,2-DICHLOROBENZENE | . | 0.028 | 0.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | Spex Organics C1090901006 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0003 | 0.076231 | 0.99833 | 0.044333 | 0.032864
1,2-DICHLOROBENZENE | 2021 | 34536GCM66 | 2010-06-09 | 2009-10-01 | 2010-09-30 | ug/L | 0.99333 | Spex Organics | C1090901006 | Spex Organics C1090901006: 30 µl | 0.3 | 1,2-DICHLOROBENZENE | . | 0.028 | 0.298 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99333 | Spex Organics C1090901006 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0003 | 0.076231 | 0.99833 | 0.044333 | 0.032864
1,2-DICHLOROBENZENE | 2021 | 34536GCM66 | 2010-07-09 | 2009-10-01 | 2010-09-30 | ug/L | 0.968 | Spex Organics | C1090901006 | Spex Organics C1090901006: 10 µl | 0.1 | 1,2-DICHLOROBENZENE | . | 0.028 | 0.0968 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.968 | Spex Organics C1090901006 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0003 | 0.076231 | 0.99833 | 0.044333 | 0.032864
1,2-DICHLOROBENZENE | 2021 | 34536GCM66 | 2010-08-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.99667 | Spex Organics | C1090901006 | Spex Organics C1090901006: 30 µl | 0.3 | 1,2-DICHLOROBENZENE | . | 0.028 | 0.299 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99667 | Spex Organics C1090901006 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0003 | 0.076231 | 0.99833 | 0.044333 | 0.032864