## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
1,2-DICHLOROETHANE | 2021 | 32103GCM66 | 2009-01-27 | 2007-10-01 | 2009-09-30 | ug/L | 1.0833 | Abs | 080408VOC | Abs 080408VOC: 40 µl | 0.24 | 1,2-DICHLOROETHANE | . | 0.06 | 0.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0833 | Abs 080408VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.1528 | 0.1529 | 1.1667 | 0.16667 | 0.12355
1,2-DICHLOROETHANE | 2021 | 32103GCM66 | 2009-03-14 | 2007-10-01 | 2009-09-30 | ug/L | 1.25 | Abs | 080408VOC | Abs 080408VOC: 20 µl | 0.12 | 1,2-DICHLOROETHANE | . | 0.06 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.25 | Abs 080408VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.1528 | 0.1529 | 1.1667 | 0.16667 | 0.12355
1,2-DICHLOROETHANE | 2021 | 32103GCM66 | 2009-04-21 | 2007-10-01 | 2009-09-30 | ug/L | 1.3333 | Abs | 080408VOC | Abs 080408VOC: 40 µl | 0.24 | 1,2-DICHLOROETHANE | . | 0.06 | 0.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3333 | Abs 080408VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.1528 | 0.1529 | 1.1667 | 0.16667 | 0.12355
1,2-DICHLOROETHANE | 2021 | 32103GCM66 | 2009-06-09 | 2007-10-01 | 2009-09-30 | ug/L | 1.25 | Abs | 080408VOC | Abs 080408VOC: 20 µl | 0.12 | 1,2-DICHLOROETHANE | . | 0.06 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.25 | Abs 080408VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.1528 | 0.1529 | 1.1667 | 0.16667 | 0.12355
1,2-DICHLOROETHANE | 2021 | 32103GCM66 | 2009-07-17 | 2007-10-01 | 2009-09-30 | ug/L | 1.0833 | Abs | 080408VOC | Abs 080408VOC: 20 µl | 0.12 | 1,2-DICHLOROETHANE | . | 0.06 | 0.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0833 | Abs 080408VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.1528 | 0.1529 | 1.1667 | 0.16667 | 0.12355
1,2-DICHLOROETHANE | 2021 | 32103GCM66 | 2009-08-29 | 2007-10-01 | 2009-09-30 | ug/L | 0.91667 | Abs | 080408VOC | Abs 080408VOC: 20 µl | 0.12 | 1,2-DICHLOROETHANE | . | 0.06 | 0.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91667 | Abs 080408VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.1528 | 0.1529 | 1.1667 | 0.16667 | 0.12355
1,2-DICHLOROETHANE | 2021 | 32103GCM66 | 2013-01-19 | 2010-10-01 | 2050-09-30 | ug/L | 1.1455 | Accu, Abs | 212051193, 051712 | Accu 212051193: 40 µl & Abs 051712: 40 µl | 3.1952 | 1,2-DICHLOROETHANE | . | 0.08 | 3.66 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1455 | Ac2121193, Ab051712 | Ac | Ab | Ab | 2121193 | 051712 | 051712 | 2121193 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.1455 |  | 1.1455 | 0 | 0
1,2-DICHLOROETHANE | 2021 | 32103GCM66 | 2013-06-08 | 2010-10-01 | 2050-09-30 | ug/L | 1.0016 | Accu, Abs | 213041120, 051413 | Accu 213041120: 10 µl & Abs 051413: 10 µl | 0.08986 | 1,2-DICHLOROETHANE | . | 0.08 | 0.09 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0016 | Ac2131120, Ab051413 | Ac | Ab | Ab | 2131120 | 051413 | 051413 | 2131120 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.0016 |  | 1.0016 | 0 | 0
1,2-DICHLOROETHANE | 2021 | 32103GCM66 | 2013-11-01 | 2010-10-01 | 2050-09-30 | ug/L | 0.96817 | Accu, ChemService | 213041120, 1530700 | Accu 213041120: 20 µl & ChemService 1530700: 20 µl | 0.17972 | 1,2-DICHLOROETHANE | . | 0.08 | 0.174 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96817 | Ac2131120, Ch1530700 | Ac | Ch | Ch | 2131120 | 1530700 | 1530700 | 2131120 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.95704 | 0.015738 | 0.95704 | 0.022257 | 0.016499
1,2-DICHLOROETHANE | 2021 | 32103GCM66 | 2013-12-31 | 2010-10-01 | 2050-09-30 | ug/L | 0.94592 | Accu, ChemService | 213041120, 1530700 | Accu 213041120: 10 µl & ChemService 1530700: 10 µl | 0.08986 | 1,2-DICHLOROETHANE | . | 0.08 | 0.085 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94592 | Ac2131120, Ch1530700 | Ac | Ch | Ch | 2131120 | 1530700 | 1530700 | 2131120 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.95704 | 0.015738 | 0.95704 | 0.022257 | 0.016499
1,2-DICHLOROETHANE | 2021 | 32103GCM66 | 2009-11-10 | 2009-10-01 | 2010-09-30 | ug/L | 1.0339 | Accu | 209081198 | Accu 209081198: 10 µl | 0.08028 | 1,2-DICHLOROETHANE | E | 0.08 | 0.083 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0339 | Accu 209081198 | [9 empty] | Y | Estimated Values | Y | 2 |  | 7 | 1.1454 | 0.13083 | 1.0879 | 0.27404 | 0.20314
1,2-DICHLOROETHANE | 2021 | 32103GCM66 | 2009-12-24 | 2009-10-01 | 2010-09-30 | ug/L | 1.3453 | Accu | 209081198 | Accu 209081198: 30 µl | 0.24084 | 1,2-DICHLOROETHANE | . | 0.08 | 0.324 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3453 | Accu 209081198 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 1.1454 | 0.13083 | 1.0879 | 0.27404 | 0.20314
1,2-DICHLOROETHANE | 2021 | 32103GCM66 | 2010-02-19 | 2009-10-01 | 2010-09-30 | ug/L | 1.3204 | Accu | 209081198 | Accu 209081198: 10 µl | 0.08028 | 1,2-DICHLOROETHANE | . | 0.08 | 0.106 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3204 | Accu 209081198 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 1.1454 | 0.13083 | 1.0879 | 0.27404 | 0.20314
1,2-DICHLOROETHANE | 2021 | 32103GCM66 | 2010-03-26 | 2009-10-01 | 2010-09-30 | ug/L | 1.0879 | Accu | 209081198 | Accu 209081198: 30 µl | 0.24084 | 1,2-DICHLOROETHANE | . | 0.08 | 0.262 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0879 | Accu 209081198 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 1.1454 | 0.13083 | 1.0879 | 0.27404 | 0.20314
1,2-DICHLOROETHANE | 2021 | 32103GCM66 | 2010-06-17 | 2009-10-01 | 2010-09-30 | ug/L | 1.1128 | Accu | 209081198 | Accu 209081198: 30 µl | 0.24084 | 1,2-DICHLOROETHANE | . | 0.08 | 0.268 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1128 | Accu 209081198 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 1.1454 | 0.13083 | 1.0879 | 0.27404 | 0.20314
1,2-DICHLOROETHANE | 2021 | 32103GCM66 | 2010-07-16 | 2009-10-01 | 2010-09-30 | ug/L | 1.0463 | Accu | 209081198 | Accu 209081198: 10 µl | 0.08028 | 1,2-DICHLOROETHANE | . | 0.08 | 0.084 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0463 | Accu 209081198 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 1.1454 | 0.13083 | 1.0879 | 0.27404 | 0.20314
1,2-DICHLOROETHANE | 2021 | 32103GCM66 | 2010-09-01 | 2009-10-01 | 2010-09-30 | ug/L | 1.0713 | Accu | 209081198 | Accu 209081198: 10 µl | 0.08028 | 1,2-DICHLOROETHANE | . | 0.08 | 0.086 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0713 | Accu 209081198 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 1.1454 | 0.13083 | 1.0879 | 0.27404 | 0.20314
1,2-DICHLOROETHANE | 2021 | 32103GCM66 | 2013-05-22 | 2010-10-01 | 2050-09-30 | ug/L | 1.2353 | Crescent, Accu | 04CC151, 213041120 | Crescent 04CC151: 10 µl & Accu 213041120: 10 µl | 0.08986 | 1,2-DICHLOROETHANE | . | 0.08 | 0.111 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2353 | Cr04CC151, Ac2131120 | Cr | Ac | Ac | 04CC151 | 2131120 | 2131120 |  | 2131120 | 2131120 | Y | Recoverable Result | Y | 2 |  | 1 | 1.2353 |  | 1.2353 | 0 | 0
1,2-DICHLOROETHANE | 2021 | 32103GCM66 | 2013-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 1.0111 | Crescent, Supelco | 04CC151, LC00154 | Crescent 04CC151: 10 µl & Supelco LC00154: 10 µl | 0.09 | 1,2-DICHLOROETHANE | . | 0.08 | 0.091 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0111 | Cr04CC151, SuLC00154 | Cr | Su | Su | 04CC151 | LC00154 | LC00154 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0306 | 0.027499 | 1.0306 | 0.038889 | 0.028828
1,2-DICHLOROETHANE | 2021 | 32103GCM66 | 2013-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 1.05 | Crescent, Supelco | 04CC151, LC00154 | Crescent 04CC151: 20 µl & Supelco LC00154: 20 µl | 0.18 | 1,2-DICHLOROETHANE | . | 0.08 | 0.189 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.05 | Cr04CC151, SuLC00154 | Cr | Su | Su | 04CC151 | LC00154 | LC00154 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0306 | 0.027499 | 1.0306 | 0.038889 | 0.028828
1,2-DICHLOROETHANE | 2021 | 32103GCM66 | 2012-07-19 | 2010-10-01 | 2050-09-30 | ug/L | 1.2068 | Crescent, Accu | 05BB048, 212051193 | Crescent 05BB048: 10 µl & Accu 212051193: 10 µl | 0.7988 | 1,2-DICHLOROETHANE | . | 0.08 | 0.964 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2068 | Cr05BB048, Ac2121193 | Cr | Ac | Ac | 05BB048 | 2121193 | 2121193 |  | 2121193 | 2121193 | Y | Recoverable Result | Y | 2 |  | 2 | 1.1198 | 0.12304 | 1.1198 | 0.17401 | 0.12899
1,2-DICHLOROETHANE | 2021 | 32103GCM66 | 2012-11-08 | 2010-10-01 | 2050-09-30 | ug/L | 1.0328 | Crescent, Accu | 05BB048, 212051193 | Crescent 05BB048: 20 µl & Accu 212051193: 20 µl | 1.5976 | 1,2-DICHLOROETHANE | . | 0.08 | 1.65 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0328 | Cr05BB048, Ac2121193 | Cr | Ac | Ac | 05BB048 | 2121193 | 2121193 |  | 2121193 | 2121193 | Y | Recoverable Result | Y | 2 |  | 2 | 1.1198 | 0.12304 | 1.1198 | 0.17401 | 0.12899
1,2-DICHLOROETHANE | 2021 | 32103GCM66 | 2013-12-12 | 2010-10-01 | 2050-09-30 | ug/L | 1.0294 | NSI, Accu | 053013, 213041120 | NSI 053013: 20 µl & Accu 213041120: 20 µl | 0.17972 | 1,2-DICHLOROETHANE | . | 0.08 | 0.185 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0294 | NS053013, Ac2131120 | NS | Ac | Ac | 053013 | 2131120 | 2131120 |  | 2131120 | 2131120 | Y | Recoverable Result | Y | 2 |  | 1 | 1.0294 |  | 1.0294 | 0 | 0
1,2-DICHLOROETHANE | 2021 | 32103GCM66 | 2013-07-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.91667 | NSI, Supelco | 053013, LC00154 | NSI 053013: 20 µl & Supelco LC00154: 20 µl | 0.18 | 1,2-DICHLOROETHANE | . | 0.08 | 0.165 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91667 | NS053013, SuLC00154 | NS | Su | Su | 053013 | LC00154 | LC00154 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.91667 |  | 0.91667 | 0 | 0
1,2-DICHLOROETHANE | 2021 | 32103GCM66 | 2013-02-28 | 2010-10-01 | 2050-09-30 | ug/L | 1.0929 | NSI, Accu | 062112-01VOA, 212051193 | NSI 062112-01VOA: 10 µl & Accu 212051193: 10 µl | 0.7988 | 1,2-DICHLOROETHANE | . | 0.08 | 0.873 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0929 | NS0621VOA, Ac2121193 | NS | Ac | Ac | 0621VOA | 2121193 | 2121193 | 0621VOA | 2121193 | 2121193 | Y | Recoverable Result | Y | 2 |  | 1 | 1.0929 |  | 1.0929 | 0 | 0
1,2-DICHLOROETHANE | 2021 | 32103GCM66 | 2012-09-11 | 2010-10-01 | 2050-09-30 | ug/L | 1.0745 | NSI, Supelco | 062112-01VOA, LB92787 | NSI 062112-01VOA: 20 µl & Supelco LB92787: 20 µl | 1.6008 | 1,2-DICHLOROETHANE | . | 0.08 | 1.72 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0745 | NS0621VOA, SuLB92787 | NS | Su | Su | 0621VOA | LB92787 | LB92787 | 0621VOA |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0713 | 0.0044172 | 1.0713 | 0.0062469 | 0.0046307
1,2-DICHLOROETHANE | 2021 | 32103GCM66 | 2012-12-22 | 2010-10-01 | 2050-09-30 | ug/L | 1.0682 | NSI, Supelco | 062112-01VOA, LB92787 | NSI 062112-01VOA: 40 µl & Supelco LB92787: 40 µl | 3.2016 | 1,2-DICHLOROETHANE | . | 0.08 | 3.42 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0682 | NS0621VOA, SuLB92787 | NS | Su | Su | 0621VOA | LB92787 | LB92787 | 0621VOA |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0713 | 0.0044172 | 1.0713 | 0.0062469 | 0.0046307
1,2-DICHLOROETHANE | 2021 | 32103GCM66 | 2008-12-20 | 2007-10-01 | 2009-09-30 | ug/L | 1.0119 | NSI | 021408-01 | NSI 021408-01: 20 µl | 0.168 | 1,2-DICHLOROETHANE | . | 0.06 | 0.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0119 | NSI 021408-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 1.0119 |  | 1.0119 | 0 | 0
1,2-DICHLOROETHANE | 2021 | 32103GCM66 | 2010-11-05 | 2010-10-01 | 2050-09-30 | ug/L | 1.35 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.08 | 1,2-DICHLOROETHANE | . | 0.08 | 0.108 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.35 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.088 | 0.1083 | 1.0437 | 0.125 | 0.092661
1,2-DICHLOROETHANE | 2021 | 32103GCM66 | 2011-01-22 | 2010-10-01 | 2050-09-30 | ug/L | 1.0125 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.16 | 1,2-DICHLOROETHANE | . | 0.08 | 0.162 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0125 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.088 | 0.1083 | 1.0437 | 0.125 | 0.092661
1,2-DICHLOROETHANE | 2021 | 32103GCM66 | 2011-03-01 | 2010-10-01 | 2050-09-30 | ug/L | 1.1125 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.08 | 1,2-DICHLOROETHANE | . | 0.08 | 0.089 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1125 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.088 | 0.1083 | 1.0437 | 0.125 | 0.092661
1,2-DICHLOROETHANE | 2021 | 32103GCM66 | 2011-04-13 | 2010-10-01 | 2050-09-30 | ug/L | 1.025 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.16 | 1,2-DICHLOROETHANE | . | 0.08 | 0.164 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.025 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.088 | 0.1083 | 1.0437 | 0.125 | 0.092661
1,2-DICHLOROETHANE | 2021 | 32103GCM66 | 2011-05-03 | 2010-10-01 | 2050-09-30 | ug/L | 0.9625 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.08 | 1,2-DICHLOROETHANE | . | 0.08 | 0.077 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9625 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.088 | 0.1083 | 1.0437 | 0.125 | 0.092661
1,2-DICHLOROETHANE | 2021 | 32103GCM66 | 2011-06-10 | 2010-10-01 | 2050-09-30 | ug/L | 1.0063 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.16 | 1,2-DICHLOROETHANE | . | 0.08 | 0.161 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0063 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.088 | 0.1083 | 1.0437 | 0.125 | 0.092661
1,2-DICHLOROETHANE | 2021 | 32103GCM66 | 2011-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 1.0625 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.08 | 1,2-DICHLOROETHANE | . | 0.08 | 0.085 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0625 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.088 | 0.1083 | 1.0437 | 0.125 | 0.092661
1,2-DICHLOROETHANE | 2021 | 32103GCM66 | 2011-10-18 | 2010-10-01 | 2050-09-30 | ug/L | 1.15 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.08 | 1,2-DICHLOROETHANE | . | 0.08 | 0.092 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.15 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.088 | 0.1083 | 1.0437 | 0.125 | 0.092661
1,2-DICHLOROETHANE | 2021 | 32103GCM66 | 2011-11-24 | 2010-10-01 | 2050-09-30 | ug/L | 1.0188 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.16 | 1,2-DICHLOROETHANE | . | 0.08 | 0.163 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0188 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.088 | 0.1083 | 1.0437 | 0.125 | 0.092661
1,2-DICHLOROETHANE | 2021 | 32103GCM66 | 2012-03-10 | 2010-10-01 | 2050-09-30 | ug/L | 1.2 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.08 | 1,2-DICHLOROETHANE | . | 0.08 | 0.096 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.088 | 0.1083 | 1.0437 | 0.125 | 0.092661
1,2-DICHLOROETHANE | 2021 | 32103GCM66 | 2012-05-08 | 2010-10-01 | 2050-09-30 | ug/L | 1.025 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.16 | 1,2-DICHLOROETHANE | . | 0.08 | 0.164 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.025 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.088 | 0.1083 | 1.0437 | 0.125 | 0.092661
1,2-DICHLOROETHANE | 2021 | 32103GCM66 | 2012-05-25 | 2010-10-01 | 2050-09-30 | ug/L | 1.1313 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.16 | 1,2-DICHLOROETHANE | . | 0.08 | 0.181 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1312 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 1.088 | 0.1083 | 1.0437 | 0.125 | 0.092661
1,2-DICHLOROETHANE | 2021 | 32103GCM66 | 2009-10-22 | 2009-10-01 | 2010-09-30 | ug/L | 1.0571 | Restek | A069860 | Restek A069860: 10 µl | 0.07 | 1,2-DICHLOROETHANE | E | 0.08 | 0.074 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.0571 | Restek A069860 | [9 empty] | Y | Estimated Values | Y | 1 |  | 9 | 1.0593 | 0.1242 | 1.0429 | 0.15714 | 0.11649
1,2-DICHLOROETHANE | 2021 | 32103GCM66 | 2009-12-04 | 2009-10-01 | 2010-09-30 | ug/L | 1.2952 | Restek | A069860 | Restek A069860: 30 µl | 0.21 | 1,2-DICHLOROETHANE | . | 0.08 | 0.272 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2952 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 1.0593 | 0.1242 | 1.0429 | 0.15714 | 0.11649
1,2-DICHLOROETHANE | 2021 | 32103GCM66 | 2010-01-26 | 2009-10-01 | 2010-09-30 | ug/L | 0.92857 | Restek | A069860 | Restek A069860: 10 µl | 0.07 | 1,2-DICHLOROETHANE | E | 0.08 | 0.065 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.92857 | Restek A069860 | [9 empty] | Y | Estimated Values | Y | 1 |  | 9 | 1.0593 | 0.1242 | 1.0429 | 0.15714 | 0.11649
1,2-DICHLOROETHANE | 2021 | 32103GCM66 | 2010-03-11 | 2009-10-01 | 2010-09-30 | ug/L | 1 | Restek | A069860 | Restek A069860: 30 µl | 0.21 | 1,2-DICHLOROETHANE | . | 0.08 | 0.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 1.0593 | 0.1242 | 1.0429 | 0.15714 | 0.11649
1,2-DICHLOROETHANE | 2021 | 32103GCM66 | 2010-04-13 | 2009-10-01 | 2010-09-30 | ug/L | 1.1857 | Restek | A069860 | Restek A069860: 10 µl | 0.07 | 1,2-DICHLOROETHANE | . | 0.08 | 0.083 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.1857 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 1 |  | 9 | 1.0593 | 0.1242 | 1.0429 | 0.15714 | 0.11649
1,2-DICHLOROETHANE | 2021 | 32103GCM66 | 2010-05-22 | 2009-10-01 | 2010-09-30 | ug/L | 0.92381 | Restek | A069860 | Restek A069860: 30 µl | 0.21 | 1,2-DICHLOROETHANE | . | 0.08 | 0.194 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92381 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 1.0593 | 0.1242 | 1.0429 | 0.15714 | 0.11649
1,2-DICHLOROETHANE | 2021 | 32103GCM66 | 2010-07-09 | 2009-10-01 | 2010-09-30 | ug/L | 1.1286 | Restek | A069860 | Restek A069860: 10 µl | 0.07 | 1,2-DICHLOROETHANE | E | 0.08 | 0.079 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.1286 | Restek A069860 | [9 empty] | Y | Estimated Values | Y | 1 |  | 9 | 1.0593 | 0.1242 | 1.0429 | 0.15714 | 0.11649
1,2-DICHLOROETHANE | 2021 | 32103GCM66 | 2010-08-11 | 2009-10-01 | 2010-09-30 | ug/L | 1.0429 | Restek | A069860 | Restek A069860: 30 µl | 0.21 | 1,2-DICHLOROETHANE | . | 0.08 | 0.219 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0429 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 1.0593 | 0.1242 | 1.0429 | 0.15714 | 0.11649
1,2-DICHLOROETHANE | 2021 | 32103GCM66 | 2010-09-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.97143 | Restek | A069860 | Restek A069860: 10 µl | 0.07 | 1,2-DICHLOROETHANE | E | 0.08 | 0.068 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.97143 | Restek A069860 | [9 empty] | Y | Estimated Values | Y | 1 |  | 9 | 1.0593 | 0.1242 | 1.0429 | 0.15714 | 0.11649
1,2-DICHLOROETHANE | 2021 | 32103GCM66 | 2012-07-30 | 2010-10-01 | 2050-09-30 | ug/L | 1.1619 | Supelco, Abs | LB92787, 051712 | Supelco LB92787: 20 µl & Abs 051712: 20 µl | 1.6008 | 1,2-DICHLOROETHANE | . | 0.08 | 1.86 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1619 | SuLB92787, Ab051712 | Su | Ab | Ab | LB92787 | 051712 | 051712 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.1619 |  | 1.1619 | 0 | 0
1,2-DICHLOROETHANE | 2021 | 32103GCM66 | 2013-03-29 | 2010-10-01 | 2050-09-30 | ug/L | 1.2619 | Supelco, ChemService | LB92787, 472200 | Supelco LB92787: 10 µl & ChemService 472200: 10 µl | 0.8004 | 1,2-DICHLOROETHANE | . | 0.08 | 1.01 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2619 | SuLB92787, Ch472200 | Su | Ch | Ch | LB92787 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.25 | 0.016785 | 1.25 | 0.023738 | 0.017597
1,2-DICHLOROETHANE | 2021 | 32103GCM66 | 2013-05-03 | 2010-10-01 | 2050-09-30 | ug/L | 1.2381 | Supelco, ChemService | LB92787, 472200 | Supelco LB92787: 10 µl & ChemService 472200: 10 µl | 0.8004 | 1,2-DICHLOROETHANE | . | 0.08 | 0.991 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2381 | SuLB92787, Ch472200 | Su | Ch | Ch | LB92787 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.25 | 0.016785 | 1.25 | 0.023738 | 0.017597
1,2-DICHLOROETHANE | 2021 | 32103GCM66 | 2013-08-06 | 2010-10-01 | 2050-09-30 | ug/L | 1.1444 | Supelco, Abs | LC00154, 051413 | Supelco LC00154: 20 µl & Abs 051413: 20 µl | 0.18 | 1,2-DICHLOROETHANE | . | 0.08 | 0.206 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1444 | SuLC00154, Ab051413 | Su | Ab | Ab | LC00154 | 051413 | 051413 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0667 | 0.10999 | 1.0667 | 0.15556 | 0.11531
1,2-DICHLOROETHANE | 2021 | 32103GCM66 | 2013-12-12 | 2010-10-01 | 2050-09-30 | ug/L | 0.98889 | Supelco, Abs | LC00154, 051413 | Supelco LC00154: 10 µl & Abs 051413: 10 µl | 0.09 | 1,2-DICHLOROETHANE | . | 0.08 | 0.089 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98889 | SuLC00154, Ab051413 | Su | Ab | Ab | LC00154 | 051413 | 051413 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0667 | 0.10999 | 1.0667 | 0.15556 | 0.11531
1,2-DICHLOROETHANE | 2021 | 32103GCM66 | 2013-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 1.0389 | Supelco, ChemService | LC00154, 1530700 | Supelco LC00154: 20 µl & ChemService 1530700: 20 µl | 0.18 | 1,2-DICHLOROETHANE | . | 0.08 | 0.187 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0389 | SuLC00154, Ch1530700 | Su | Ch | Ch | LC00154 | 1530700 | 1530700 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.0389 |  | 1.0389 | 0 | 0
1,2-DICHLOROETHANE | 2021 | 32103GCM66 | 2009-02-18 | 2007-10-01 | 2009-09-30 | ug/L | 1.412 | Ultra | CE-2869 | Ultra CE-2869: 20 µl | 0.1204 | 1,2-DICHLOROETHANE | . | 0.06 | 0.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.412 | Ultra CE-2869 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.2389 | 0.20415 | 1.2251 | 0.24917 | 0.18471
1,2-DICHLOROETHANE | 2021 | 32103GCM66 | 2009-03-31 | 2007-10-01 | 2009-09-30 | ug/L | 1.495 | Ultra | CE-2869 | Ultra CE-2869: 20 µl | 0.1204 | 1,2-DICHLOROETHANE | . | 0.06 | 0.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.495 | Ultra CE-2869 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.2389 | 0.20415 | 1.2251 | 0.24917 | 0.18471
1,2-DICHLOROETHANE | 2021 | 32103GCM66 | 2009-05-13 | 2007-10-01 | 2009-09-30 | ug/L | 1.2458 | Ultra | CE-2869 | Ultra CE-2869: 20 µl | 0.1204 | 1,2-DICHLOROETHANE | . | 0.06 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2458 | Ultra CE-2869 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.2389 | 0.20415 | 1.2251 | 0.24917 | 0.18471
1,2-DICHLOROETHANE | 2021 | 32103GCM66 | 2009-06-17 | 2007-10-01 | 2009-09-30 | ug/L | 1.1628 | Ultra | CE-2869 | Ultra CE-2869: 40 µl | 0.2408 | 1,2-DICHLOROETHANE | . | 0.06 | 0.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1628 | Ultra CE-2869 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.2389 | 0.20415 | 1.2251 | 0.24917 | 0.18471
1,2-DICHLOROETHANE | 2021 | 32103GCM66 | 2009-06-30 | 2007-10-01 | 2009-09-30 | ug/L | 1.2043 | Ultra | CE-2869 | Ultra CE-2869: 40 µl | 0.2408 | 1,2-DICHLOROETHANE | . | 0.06 | 0.29 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2043 | Ultra CE-2869 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.2389 | 0.20415 | 1.2251 | 0.24917 | 0.18471
1,2-DICHLOROETHANE | 2021 | 32103GCM66 | 2009-08-11 | 2007-10-01 | 2009-09-30 | ug/L | 0.91362 | Ultra | CE-2869 | Ultra CE-2869: 20 µl | 0.1204 | 1,2-DICHLOROETHANE | . | 0.06 | 0.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91362 | Ultra CE-2869 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.2389 | 0.20415 | 1.2251 | 0.24917 | 0.18471