## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
1,2-DICHLOROPROPANE | 2021 | 34541GCM66 | 2013-11-15 | 2010-10-01 | 2050-09-30 | ug/L | 1.1881 | Abs, Crescent | 051413, 04CC151 | Abs 051413: 10 µl & Crescent 04CC151: 10 µl | 0.042 | 1,2-DICHLOROPROPANE | . | 0.026 | 0.0499 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1881 | Ab051413, Cr04CC151 | Ab | Cr | Cr | 051413 | 04CC151 | 04CC151 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.1113 | 0.10859 | 1.1113 | 0.15357 | 0.11384
1,2-DICHLOROPROPANE | 2021 | 34541GCM66 | 2013-12-31 | 2010-10-01 | 2050-09-30 | ug/L | 1.0345 | Abs, Crescent | 051413, 04CC151 | Abs 051413: 20 µl & Crescent 04CC151: 20 µl | 0.084 | 1,2-DICHLOROPROPANE | . | 0.026 | 0.0869 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0345 | Ab051413, Cr04CC151 | Ab | Cr | Cr | 051413 | 04CC151 | 04CC151 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.1113 | 0.10859 | 1.1113 | 0.15357 | 0.11384
1,2-DICHLOROPROPANE | 2021 | 34541GCM66 | 2013-09-27 | 2010-10-01 | 2050-09-30 | ug/L | 1.0762 | Abs, NSI | 051413, 053013 | Abs 051413: 10 µl & NSI 053013: 10 µl | 0.042 | 1,2-DICHLOROPROPANE | . | 0.026 | 0.0452 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0762 | Ab051413, NS053013 | Ab | NS | NS | 051413 | 053013 | 053013 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.0762 |  | 1.0762 | 0 | 0
1,2-DICHLOROPROPANE | 2021 | 34541GCM66 | 2010-10-14 | 2010-10-01 | 2050-09-30 | ug/L | 0.96111 | Abs | 080510 | Abs 080510: 20 µl | 0.036 | 1,2-DICHLOROPROPANE | . | 0.026 | 0.0346 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96111 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.0241 | 0.10793 | 1.0139 | 0.16667 | 0.12355
1,2-DICHLOROPROPANE | 2021 | 34541GCM66 | 2010-11-25 | 2010-10-01 | 2050-09-30 | ug/L | 0.81389 | Abs | 080510 | Abs 080510: 20 µl | 0.036 | 1,2-DICHLOROPROPANE | . | 0.026 | 0.0293 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81389 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.0241 | 0.10793 | 1.0139 | 0.16667 | 0.12355
1,2-DICHLOROPROPANE | 2021 | 34541GCM66 | 2011-02-02 | 2010-10-01 | 2050-09-30 | ug/L | 1.1278 | Abs | 080510 | Abs 080510: 40 µl | 0.072 | 1,2-DICHLOROPROPANE | . | 0.026 | 0.0812 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1278 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.0241 | 0.10793 | 1.0139 | 0.16667 | 0.12355
1,2-DICHLOROPROPANE | 2021 | 34541GCM66 | 2011-04-05 | 2010-10-01 | 2050-09-30 | ug/L | 1.1722 | Abs | 080510 | Abs 080510: 20 µl | 0.036 | 1,2-DICHLOROPROPANE | . | 0.026 | 0.0422 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1722 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.0241 | 0.10793 | 1.0139 | 0.16667 | 0.12355
1,2-DICHLOROPROPANE | 2021 | 34541GCM66 | 2011-05-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.96389 | Abs | 080510 | Abs 080510: 40 µl | 0.072 | 1,2-DICHLOROPROPANE | . | 0.026 | 0.0694 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96389 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.0241 | 0.10793 | 1.0139 | 0.16667 | 0.12355
1,2-DICHLOROPROPANE | 2021 | 34541GCM66 | 2011-06-27 | 2010-10-01 | 2050-09-30 | ug/L | 1.0917 | Abs | 080510 | Abs 080510: 20 µl | 0.036 | 1,2-DICHLOROPROPANE | . | 0.026 | 0.0393 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0917 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.0241 | 0.10793 | 1.0139 | 0.16667 | 0.12355
1,2-DICHLOROPROPANE | 2021 | 34541GCM66 | 2011-08-13 | 2010-10-01 | 2050-09-30 | ug/L | 0.93056 | Abs | 080510 | Abs 080510: 40 µl | 0.072 | 1,2-DICHLOROPROPANE | . | 0.026 | 0.067 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93056 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.0241 | 0.10793 | 1.0139 | 0.16667 | 0.12355
1,2-DICHLOROPROPANE | 2021 | 34541GCM66 | 2011-10-18 | 2010-10-01 | 2050-09-30 | ug/L | 1.15 | Abs | 080510 | Abs 080510: 20 µl | 0.036 | 1,2-DICHLOROPROPANE | . | 0.026 | 0.0414 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.15 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.0241 | 0.10793 | 1.0139 | 0.16667 | 0.12355
1,2-DICHLOROPROPANE | 2021 | 34541GCM66 | 2011-11-22 | 2010-10-01 | 2050-09-30 | ug/L | 1.0569 | Abs | 080510 | Abs 080510: 40 µl | 0.072 | 1,2-DICHLOROPROPANE | . | 0.026 | 0.0761 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0569 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.0241 | 0.10793 | 1.0139 | 0.16667 | 0.12355
1,2-DICHLOROPROPANE | 2021 | 34541GCM66 | 2012-02-18 | 2010-10-01 | 2050-09-30 | ug/L | 0.98333 | Abs | 080510 | Abs 080510: 20 µl | 0.036 | 1,2-DICHLOROPROPANE | . | 0.026 | 0.0354 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98333 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.0241 | 0.10793 | 1.0139 | 0.16667 | 0.12355
1,2-DICHLOROPROPANE | 2021 | 34541GCM66 | 2012-03-24 | 2010-10-01 | 2050-09-30 | ug/L | 1.0139 | Abs | 080510 | Abs 080510: 40 µl | 0.072 | 1,2-DICHLOROPROPANE | . | 0.026 | 0.073 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0139 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.0241 | 0.10793 | 1.0139 | 0.16667 | 0.12355
1,2-DICHLOROPROPANE | 2021 | 34541GCM66 | 2013-04-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.93875 | Accu, Crescent | 212051389, 05BB048 | Accu 212051389: 20 µl & Crescent 05BB048: 20 µl | 0.8 | 1,2-DICHLOROPROPANE | . | 0.026 | 0.751 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93875 | Ac2121389, Cr05BB048 | Ac | Cr | Cr | 2121389 | 05BB048 | 05BB048 | 2121389 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.93875 |  | 0.93875 | 0 | 0
1,2-DICHLOROPROPANE | 2021 | 34541GCM66 | 2010-11-02 | 2010-10-01 | 2050-09-30 | ug/L | 1.0063 | Accu | 210061400 | Accu 210061400: 40 µl | 0.08 | 1,2-DICHLOROPROPANE | . | 0.026 | 0.0805 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0063 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.96318 | 0.073943 | 0.9375 | 0.09625 | 0.071349
1,2-DICHLOROPROPANE | 2021 | 34541GCM66 | 2011-01-08 | 2010-10-01 | 2050-09-30 | ug/L | 1.065 | Accu | 210061400 | Accu 210061400: 20 µl | 0.04 | 1,2-DICHLOROPROPANE | . | 0.026 | 0.0426 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.065 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.96318 | 0.073943 | 0.9375 | 0.09625 | 0.071349
1,2-DICHLOROPROPANE | 2021 | 34541GCM66 | 2011-02-19 | 2010-10-01 | 2050-09-30 | ug/L | 1.105 | Accu | 210061400 | Accu 210061400: 20 µl | 0.04 | 1,2-DICHLOROPROPANE | . | 0.026 | 0.0442 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.105 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.96318 | 0.073943 | 0.9375 | 0.09625 | 0.071349
1,2-DICHLOROPROPANE | 2021 | 34541GCM66 | 2011-03-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.91 | Accu | 210061400 | Accu 210061400: 40 µl | 0.08 | 1,2-DICHLOROPROPANE | . | 0.026 | 0.0728 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.96318 | 0.073943 | 0.9375 | 0.09625 | 0.071349
1,2-DICHLOROPROPANE | 2021 | 34541GCM66 | 2011-04-29 | 2010-10-01 | 2050-09-30 | ug/L | 0.99 | Accu | 210061400 | Accu 210061400: 20 µl | 0.04 | 1,2-DICHLOROPROPANE | . | 0.026 | 0.0396 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.96318 | 0.073943 | 0.9375 | 0.09625 | 0.071349
1,2-DICHLOROPROPANE | 2021 | 34541GCM66 | 2011-06-05 | 2010-10-01 | 2050-09-30 | ug/L | 0.85375 | Accu | 210061400 | Accu 210061400: 40 µl | 0.08 | 1,2-DICHLOROPROPANE | . | 0.026 | 0.0683 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85375 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.96318 | 0.073943 | 0.9375 | 0.09625 | 0.071349
1,2-DICHLOROPROPANE | 2021 | 34541GCM66 | 2011-07-23 | 2010-10-01 | 2050-09-30 | ug/L | 0.9675 | Accu | 210061400 | Accu 210061400: 20 µl | 0.04 | 1,2-DICHLOROPROPANE | . | 0.026 | 0.0387 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9675 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.96318 | 0.073943 | 0.9375 | 0.09625 | 0.071349
1,2-DICHLOROPROPANE | 2021 | 34541GCM66 | 2011-08-27 | 2010-10-01 | 2050-09-30 | ug/L | 0.90125 | Accu | 210061400 | Accu 210061400: 40 µl | 0.08 | 1,2-DICHLOROPROPANE | . | 0.026 | 0.0721 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90125 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.96318 | 0.073943 | 0.9375 | 0.09625 | 0.071349
1,2-DICHLOROPROPANE | 2021 | 34541GCM66 | 2011-11-03 | 2010-10-01 | 2050-09-30 | ug/L | 0.9375 | Accu | 210061400 | Accu 210061400: 20 µl | 0.04 | 1,2-DICHLOROPROPANE | . | 0.026 | 0.0375 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9375 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.96318 | 0.073943 | 0.9375 | 0.09625 | 0.071349
1,2-DICHLOROPROPANE | 2021 | 34541GCM66 | 2011-12-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.92625 | Accu | 210061400 | Accu 210061400: 40 µl | 0.08 | 1,2-DICHLOROPROPANE | . | 0.026 | 0.0741 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92625 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.96318 | 0.073943 | 0.9375 | 0.09625 | 0.071349
1,2-DICHLOROPROPANE | 2021 | 34541GCM66 | 2012-04-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.9325 | Accu | 210061400 | Accu 210061400: 20 µl | 0.04 | 1,2-DICHLOROPROPANE | . | 0.026 | 0.0373 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9325 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.96318 | 0.073943 | 0.9375 | 0.09625 | 0.071349
1,2-DICHLOROPROPANE | 2021 | 34541GCM66 | 2013-06-29 | 2010-10-01 | 2050-09-30 | ug/L | 1.1357 | ChemService, Crescent | 1530700, 04CC151 | ChemService 1530700: 10 µl & Crescent 04CC151: 10 µl | 0.042 | 1,2-DICHLOROPROPANE | . | 0.026 | 0.0477 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1357 | Ch1530700, Cr04CC151 | Ch | Cr | Cr | 1530700 | 04CC151 | 04CC151 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.1357 |  | 1.1357 | 0 | 0
1,2-DICHLOROPROPANE | 2021 | 34541GCM66 | 2013-08-22 | 2010-10-01 | 2050-09-30 | ug/L | 1.0107 | ChemService, NSI | 1530700, 053013 | ChemService 1530700: 20 µl & NSI 053013: 20 µl | 0.084 | 1,2-DICHLOROPROPANE | . | 0.026 | 0.0849 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0107 | Ch1530700, NS053013 | Ch | NS | NS | 1530700 | 053013 | 053013 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.0107 |  | 1.0107 | 0 | 0
1,2-DICHLOROPROPANE | 2021 | 34541GCM66 | 2009-01-27 | 2007-10-01 | 2009-09-30 | ug/L | 1.0455 | ChemService | 406-110C | ChemService 406-110C: 20 µl | 0.044 | 1,2-DICHLOROPROPANE | E | 0.02 | 0.046 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0455 | ChemService 406-110C | [9 empty] | Y | Estimated Values | Y | 2 |  | 7 | 1.2273 | 0.16893 | 1.2273 | 0.27273 | 0.20217
1,2-DICHLOROPROPANE | 2021 | 34541GCM66 | 2009-02-27 | 2007-10-01 | 2009-09-30 | ug/L | 1.1705 | ChemService | 406-110C | ChemService 406-110C: 40 µl | 0.088 | 1,2-DICHLOROPROPANE | . | 0.02 | 0.103 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1705 | ChemService 406-110C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 1.2273 | 0.16893 | 1.2273 | 0.27273 | 0.20217
1,2-DICHLOROPROPANE | 2021 | 34541GCM66 | 2009-04-11 | 2007-10-01 | 2009-09-30 | ug/L | 1.5227 | ChemService | 406-110C | ChemService 406-110C: 20 µl | 0.044 | 1,2-DICHLOROPROPANE | E | 0.02 | 0.067 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.5227 | ChemService 406-110C | [9 empty] | Y | Estimated Values | Y | 2 |  | 7 | 1.2273 | 0.16893 | 1.2273 | 0.27273 | 0.20217
1,2-DICHLOROPROPANE | 2021 | 34541GCM66 | 2009-05-22 | 2007-10-01 | 2009-09-30 | ug/L | 1.2727 | ChemService | 406-110C | ChemService 406-110C: 20 µl | 0.044 | 1,2-DICHLOROPROPANE | E | 0.02 | 0.056 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2727 | ChemService 406-110C | [9 empty] | Y | Estimated Values | Y | 2 |  | 7 | 1.2273 | 0.16893 | 1.2273 | 0.27273 | 0.20217
1,2-DICHLOROPROPANE | 2021 | 34541GCM66 | 2009-06-23 | 2007-10-01 | 2009-09-30 | ug/L | 1.2273 | ChemService | 406-110C | ChemService 406-110C: 20 µl | 0.044 | 1,2-DICHLOROPROPANE | E | 0.02 | 0.054 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2273 | ChemService 406-110C | [9 empty] | Y | Estimated Values | Y | 2 |  | 7 | 1.2273 | 0.16893 | 1.2273 | 0.27273 | 0.20217
1,2-DICHLOROPROPANE | 2021 | 34541GCM66 | 2009-08-04 | 2007-10-01 | 2009-09-30 | ug/L | 1.0341 | ChemService | 406-110C | ChemService 406-110C: 40 µl | 0.088 | 1,2-DICHLOROPROPANE | E | 0.02 | 0.091 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0341 | ChemService 406-110C | [9 empty] | Y | Estimated Values | Y | 2 |  | 7 | 1.2273 | 0.16893 | 1.2273 | 0.27273 | 0.20217
1,2-DICHLOROPROPANE | 2021 | 34541GCM66 | 2009-09-11 | 2007-10-01 | 2009-09-30 | ug/L | 1.3182 | ChemService | 406-110C | ChemService 406-110C: 20 µl | 0.044 | 1,2-DICHLOROPROPANE | E | 0.02 | 0.058 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3182 | ChemService 406-110C | [9 empty] | Y | Estimated Values | Y | 2 |  | 7 | 1.2273 | 0.16893 | 1.2273 | 0.27273 | 0.20217
1,2-DICHLOROPROPANE | 2021 | 34541GCM66 | 2013-05-22 | 2010-10-01 | 2050-09-30 | ug/L | 1.0738 | Crescent, Accu | 04CC151, 213041120 | Crescent 04CC151: 10 µl & Accu 213041120: 10 µl | 0.042 | 1,2-DICHLOROPROPANE | . | 0.026 | 0.0451 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0738 | Cr04CC151, Ac2131120 | Cr | Ac | Ac | 04CC151 | 2131120 | 2131120 |  | 2131120 | 2131120 | Y | Recoverable Result | Y | 2 |  | 1 | 1.0738 |  | 1.0738 | 0 | 0
1,2-DICHLOROPROPANE | 2021 | 34541GCM66 | 2013-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.9119 | Crescent, Supelco | 04CC151, LC00154 | Crescent 04CC151: 10 µl & Supelco LC00154: 10 µl | 0.042 | 1,2-DICHLOROPROPANE | . | 0.026 | 0.0383 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9119 | Cr04CC151, SuLC00154 | Cr | Su | Su | 04CC151 | LC00154 | LC00154 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.9631 | 0.072394 | 0.9631 | 0.10238 | 0.075894
1,2-DICHLOROPROPANE | 2021 | 34541GCM66 | 2013-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 1.0143 | Crescent, Supelco | 04CC151, LC00154 | Crescent 04CC151: 20 µl & Supelco LC00154: 20 µl | 0.084 | 1,2-DICHLOROPROPANE | . | 0.026 | 0.0852 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0143 | Cr04CC151, SuLC00154 | Cr | Su | Su | 04CC151 | LC00154 | LC00154 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.9631 | 0.072394 | 0.9631 | 0.10238 | 0.075894
1,2-DICHLOROPROPANE | 2021 | 34541GCM66 | 2012-10-23 | 2010-10-01 | 2050-09-30 | ug/L | 1.1375 | Crescent, Abs | 05BB048, 051712 | Crescent 05BB048: 40 µl & Abs 051712: 40 µl | 1.6 | 1,2-DICHLOROPROPANE | . | 0.026 | 1.82 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1375 | Cr05BB048, Ab051712 | Cr | Ab | Ab | 05BB048 | 051712 | 051712 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.1375 |  | 1.1375 | 0 | 0
1,2-DICHLOROPROPANE | 2021 | 34541GCM66 | 2012-07-19 | 2010-10-01 | 2050-09-30 | ug/L | 1.035 | Crescent, Accu | 05BB048, 212051193 | Crescent 05BB048: 10 µl & Accu 212051193: 10 µl | 0.4 | 1,2-DICHLOROPROPANE | . | 0.026 | 0.414 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.035 | Cr05BB048, Ac2121193 | Cr | Ac | Ac | 05BB048 | 2121193 | 2121193 |  | 2121193 | 2121193 | Y | Recoverable Result | Y | 2 |  | 2 | 0.98687 | 0.068059 | 0.98687 | 0.09625 | 0.071349
1,2-DICHLOROPROPANE | 2021 | 34541GCM66 | 2012-11-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.93875 | Crescent, Accu | 05BB048, 212051193 | Crescent 05BB048: 20 µl & Accu 212051193: 20 µl | 0.8 | 1,2-DICHLOROPROPANE | . | 0.026 | 0.751 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93875 | Cr05BB048, Ac2121193 | Cr | Ac | Ac | 05BB048 | 2121193 | 2121193 |  | 2121193 | 2121193 | Y | Recoverable Result | Y | 2 |  | 2 | 0.98687 | 0.068059 | 0.98687 | 0.09625 | 0.071349
1,2-DICHLOROPROPANE | 2021 | 34541GCM66 | 2012-10-11 | 2010-10-01 | 2050-09-30 | ug/L | 1.0625 | Crescent, ChemService | 05BB048, 472200 | Crescent 05BB048: 10 µl & ChemService 472200: 10 µl | 0.4 | 1,2-DICHLOROPROPANE | . | 0.026 | 0.425 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0625 | Cr05BB048, Ch472200 | Cr | Ch | Ch | 05BB048 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0781 | 0.022097 | 1.0781 | 0.03125 | 0.023165
1,2-DICHLOROPROPANE | 2021 | 34541GCM66 | 2013-02-14 | 2010-10-01 | 2050-09-30 | ug/L | 1.0938 | Crescent, ChemService | 05BB048, 472200 | Crescent 05BB048: 40 µl & ChemService 472200: 40 µl | 1.6 | 1,2-DICHLOROPROPANE | . | 0.026 | 1.75 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0938 | Cr05BB048, Ch472200 | Cr | Ch | Ch | 05BB048 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0781 | 0.022097 | 1.0781 | 0.03125 | 0.023165
1,2-DICHLOROPROPANE | 2021 | 34541GCM66 | 2013-06-08 | 2010-10-01 | 2050-09-30 | ug/L | 1.1333 | Crescent | 04CC151 | Crescent 04CC151: 10 µl | 0.042 | 1,2-DICHLOROPROPANE | . | 0.026 | 0.0476 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1333 | Crescent 04CC151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 1.1333 |  | 1.1333 | 0 | 0
1,2-DICHLOROPROPANE | 2021 | 34541GCM66 | 2013-12-12 | 2010-10-01 | 2050-09-30 | ug/L | 1.1214 | NSI, Accu | 053013, 213041120 | NSI 053013: 20 µl & Accu 213041120: 20 µl | 0.084 | 1,2-DICHLOROPROPANE | . | 0.026 | 0.0942 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1214 | NS053013, Ac2131120 | NS | Ac | Ac | 053013 | 2131120 | 2131120 |  | 2131120 | 2131120 | Y | Recoverable Result | Y | 2 |  | 1 | 1.1214 |  | 1.1214 | 0 | 0
1,2-DICHLOROPROPANE | 2021 | 34541GCM66 | 2013-07-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.92738 | NSI, Supelco | 053013, LC00154 | NSI 053013: 20 µl & Supelco LC00154: 20 µl | 0.084 | 1,2-DICHLOROPROPANE | . | 0.026 | 0.0779 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92738 | NS053013, SuLC00154 | NS | Su | Su | 053013 | LC00154 | LC00154 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.92738 |  | 0.92738 | 0 | 0
1,2-DICHLOROPROPANE | 2021 | 34541GCM66 | 2013-02-28 | 2010-10-01 | 2050-09-30 | ug/L | 0.9275 | NSI, Accu | 062112-01VOA, 212051193 | NSI 062112-01VOA: 10 µl & Accu 212051193: 10 µl | 0.4 | 1,2-DICHLOROPROPANE | . | 0.026 | 0.371 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9275 | NS0621VOA, Ac2121193 | NS | Ac | Ac | 0621VOA | 2121193 | 2121193 | 0621VOA | 2121193 | 2121193 | Y | Recoverable Result | Y | 2 |  | 1 | 0.9275 |  | 0.9275 | 0 | 0
1,2-DICHLOROPROPANE | 2021 | 34541GCM66 | 2012-08-28 | 2010-10-01 | 2050-09-30 | ug/L | 0.93375 | NSI, ChemService | 062112-01VOA, 472200 | NSI 062112-01VOA: 20 µl & ChemService 472200: 20 µl | 0.8 | 1,2-DICHLOROPROPANE | . | 0.026 | 0.747 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93375 | NS0621VOA, Ch472200 | NS | Ch | Ch | 0621VOA | 472200 | 472200 | 0621VOA |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.93063 | 0.0044194 | 0.93063 | 0.00625 | 0.0046331
1,2-DICHLOROPROPANE | 2021 | 34541GCM66 | 2012-12-09 | 2010-10-01 | 2050-09-30 | ug/L | 0.9275 | NSI, ChemService | 062112-01VOA, 472200 | NSI 062112-01VOA: 10 µl & ChemService 472200: 10 µl | 0.4 | 1,2-DICHLOROPROPANE | . | 0.026 | 0.371 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9275 | NS0621VOA, Ch472200 | NS | Ch | Ch | 0621VOA | 472200 | 472200 | 0621VOA |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.93063 | 0.0044194 | 0.93063 | 0.00625 | 0.0046331
1,2-DICHLOROPROPANE | 2021 | 34541GCM66 | 2012-09-11 | 2010-10-01 | 2050-09-30 | ug/L | 0.94625 | NSI, Supelco | 062112-01VOA, LB92787 | NSI 062112-01VOA: 20 µl & Supelco LB92787: 20 µl | 0.8 | 1,2-DICHLOROPROPANE | . | 0.026 | 0.757 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94625 | NS0621VOA, SuLB92787 | NS | Su | Su | 0621VOA | LB92787 | LB92787 | 0621VOA |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.92937 | 0.023865 | 0.92937 | 0.03375 | 0.025019
1,2-DICHLOROPROPANE | 2021 | 34541GCM66 | 2012-12-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.9125 | NSI, Supelco | 062112-01VOA, LB92787 | NSI 062112-01VOA: 40 µl & Supelco LB92787: 40 µl | 1.6 | 1,2-DICHLOROPROPANE | . | 0.026 | 1.46 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9125 | NS0621VOA, SuLB92787 | NS | Su | Su | 0621VOA | LB92787 | LB92787 | 0621VOA |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.92937 | 0.023865 | 0.92937 | 0.03375 | 0.025019
1,2-DICHLOROPROPANE | 2021 | 34541GCM66 | 2009-02-12 | 2007-10-01 | 2009-09-30 | ug/L | 1.2727 | NSI | 081108-01VOC | NSI 081108-01VOC: 20 µl | 0.044 | 1,2-DICHLOROPROPANE | E | 0.02 | 0.056 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2727 | NSI 081108-01VOC | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 1.0966 | 0.1176 | 1.0966 | 0.13636 | 0.10108
1,2-DICHLOROPROPANE | 2021 | 34541GCM66 | 2009-04-08 | 2007-10-01 | 2009-09-30 | ug/L | 1.125 | NSI | 081108-01VOC | NSI 081108-01VOC: 40 µl | 0.088 | 1,2-DICHLOROPROPANE | E | 0.02 | 0.099 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.125 | NSI 081108-01VOC | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 1.0966 | 0.1176 | 1.0966 | 0.13636 | 0.10108
1,2-DICHLOROPROPANE | 2021 | 34541GCM66 | 2009-05-06 | 2007-10-01 | 2009-09-30 | ug/L | 1.0227 | NSI | 081108-01VOC | NSI 081108-01VOC: 40 µl | 0.088 | 1,2-DICHLOROPROPANE | E | 0.02 | 0.09 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0227 | NSI 081108-01VOC | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 1.0966 | 0.1176 | 1.0966 | 0.13636 | 0.10108
1,2-DICHLOROPROPANE | 2021 | 34541GCM66 | 2009-06-06 | 2007-10-01 | 2009-09-30 | ug/L | 1.0682 | NSI | 081108-01VOC | NSI 081108-01VOC: 20 µl | 0.044 | 1,2-DICHLOROPROPANE | E | 0.02 | 0.047 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0682 | NSI 081108-01VOC | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 1.0966 | 0.1176 | 1.0966 | 0.13636 | 0.10108
1,2-DICHLOROPROPANE | 2021 | 34541GCM66 | 2009-07-09 | 2007-10-01 | 2009-09-30 | ug/L | 1.1591 | NSI | 081108-01VOC | NSI 081108-01VOC: 20 µl | 0.044 | 1,2-DICHLOROPROPANE | E | 0.02 | 0.051 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1591 | NSI 081108-01VOC | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 1.0966 | 0.1176 | 1.0966 | 0.13636 | 0.10108
1,2-DICHLOROPROPANE | 2021 | 34541GCM66 | 2009-08-27 | 2007-10-01 | 2009-09-30 | ug/L | 0.93182 | NSI | 081108-01VOC | NSI 081108-01VOC: 20 µl | 0.044 | 1,2-DICHLOROPROPANE | E | 0.02 | 0.041 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93182 | NSI 081108-01VOC | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 1.0966 | 0.1176 | 1.0966 | 0.13636 | 0.10108
1,2-DICHLOROPROPANE | 2021 | 34541GCM66 | 2009-11-04 | 2009-10-01 | 2010-09-30 | ug/L | 1.3317 | Spex Organics | C1090901006 | Spex Organics C1090901006: 10 µl | 0.06 | 1,2-DICHLOROPROPANE | E | 0.026 | 0.0799 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3317 | Spex Organics C1090901006 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 1.1906 | 0.13148 | 1.1447 | 0.25583 | 0.18965
1,2-DICHLOROPROPANE | 2021 | 34541GCM66 | 2009-12-15 | 2009-10-01 | 2010-09-30 | ug/L | 1.0556 | Spex Organics | C1090901006 | Spex Organics C1090901006: 30 µl | 0.18 | 1,2-DICHLOROPROPANE | . | 0.026 | 0.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0556 | Spex Organics C1090901006 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.1906 | 0.13148 | 1.1447 | 0.25583 | 0.18965
1,2-DICHLOROPROPANE | 2021 | 34541GCM66 | 2010-02-09 | 2009-10-01 | 2010-09-30 | ug/L | 1.3683 | Spex Organics | C1090901006 | Spex Organics C1090901006: 10 µl | 0.06 | 1,2-DICHLOROPROPANE | . | 0.026 | 0.0821 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3683 | Spex Organics C1090901006 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.1906 | 0.13148 | 1.1447 | 0.25583 | 0.18965
1,2-DICHLOROPROPANE | 2021 | 34541GCM66 | 2010-03-17 | 2009-10-01 | 2010-09-30 | ug/L | 1.0611 | Spex Organics | C1090901006 | Spex Organics C1090901006: 30 µl | 0.18 | 1,2-DICHLOROPROPANE | . | 0.026 | 0.191 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0611 | Spex Organics C1090901006 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.1906 | 0.13148 | 1.1447 | 0.25583 | 0.18965
1,2-DICHLOROPROPANE | 2021 | 34541GCM66 | 2010-04-27 | 2009-10-01 | 2010-09-30 | ug/L | 1.1283 | Spex Organics | C1090901006 | Spex Organics C1090901006: 10 µl | 0.06 | 1,2-DICHLOROPROPANE | . | 0.026 | 0.0677 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1283 | Spex Organics C1090901006 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.1906 | 0.13148 | 1.1447 | 0.25583 | 0.18965
1,2-DICHLOROPROPANE | 2021 | 34541GCM66 | 2010-06-09 | 2009-10-01 | 2010-09-30 | ug/L | 1.1611 | Spex Organics | C1090901006 | Spex Organics C1090901006: 30 µl | 0.18 | 1,2-DICHLOROPROPANE | . | 0.026 | 0.209 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1611 | Spex Organics C1090901006 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.1906 | 0.13148 | 1.1447 | 0.25583 | 0.18965
1,2-DICHLOROPROPANE | 2021 | 34541GCM66 | 2010-07-09 | 2009-10-01 | 2010-09-30 | ug/L | 1.33 | Spex Organics | C1090901006 | Spex Organics C1090901006: 10 µl | 0.06 | 1,2-DICHLOROPROPANE | . | 0.026 | 0.0798 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.33 | Spex Organics C1090901006 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.1906 | 0.13148 | 1.1447 | 0.25583 | 0.18965
1,2-DICHLOROPROPANE | 2021 | 34541GCM66 | 2010-08-21 | 2009-10-01 | 2010-09-30 | ug/L | 1.0889 | Spex Organics | C1090901006 | Spex Organics C1090901006: 30 µl | 0.18 | 1,2-DICHLOROPROPANE | . | 0.026 | 0.196 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0889 | Spex Organics C1090901006 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.1906 | 0.13148 | 1.1447 | 0.25583 | 0.18965