## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
1,4-DICHLOROBENZENE | 2021 | 34571GCM66 | 2013-11-15 | 2010-10-01 | 2050-09-30 | ug/L | 0.9225 | Abs, Crescent | 051413, 04CC151 | Abs 051413: 10 µl & Crescent 04CC151: 10 µl | 0.04 | 1,4-DICHLOROBENZENE | . | 0.026 | 0.0369 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9225 | Ab051413, Cr04CC151 | Ab | Cr | Cr | 051413 | 04CC151 | 04CC151 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.92937 | 0.0097227 | 0.92937 | 0.01375 | 0.010193
1,4-DICHLOROBENZENE | 2021 | 34571GCM66 | 2013-12-31 | 2010-10-01 | 2050-09-30 | ug/L | 0.93625 | Abs, Crescent | 051413, 04CC151 | Abs 051413: 20 µl & Crescent 04CC151: 20 µl | 0.08 | 1,4-DICHLOROBENZENE | . | 0.026 | 0.0749 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93625 | Ab051413, Cr04CC151 | Ab | Cr | Cr | 051413 | 04CC151 | 04CC151 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.92937 | 0.0097227 | 0.92937 | 0.01375 | 0.010193
1,4-DICHLOROBENZENE | 2021 | 34571GCM66 | 2013-09-27 | 2010-10-01 | 2050-09-30 | ug/L | 0.9775 | Abs, NSI | 051413, 053013 | Abs 051413: 10 µl & NSI 053013: 10 µl | 0.04 | 1,4-DICHLOROBENZENE | . | 0.026 | 0.0391 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9775 | Ab051413, NS053013 | Ab | NS | NS | 051413 | 053013 | 053013 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.9775 |  | 0.9775 | 0 | 0
1,4-DICHLOROBENZENE | 2021 | 34571GCM66 | 2010-10-14 | 2010-10-01 | 2050-09-30 | ug/L | 0.88542 | Abs | 080510 | Abs 080510: 20 µl | 0.048 | 1,4-DICHLOROBENZENE | . | 0.026 | 0.0425 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88542 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.94934 | 0.065098 | 0.91354 | 0.12396 | 0.091889
1,4-DICHLOROBENZENE | 2021 | 34571GCM66 | 2010-11-25 | 2010-10-01 | 2050-09-30 | ug/L | 0.96667 | Abs | 080510 | Abs 080510: 20 µl | 0.048 | 1,4-DICHLOROBENZENE | . | 0.026 | 0.0464 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96667 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.94934 | 0.065098 | 0.91354 | 0.12396 | 0.091889
1,4-DICHLOROBENZENE | 2021 | 34571GCM66 | 2011-02-02 | 2010-10-01 | 2050-09-30 | ug/L | 1.0417 | Abs | 080510 | Abs 080510: 40 µl | 0.096 | 1,4-DICHLOROBENZENE | . | 0.026 | 0.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0417 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.94934 | 0.065098 | 0.91354 | 0.12396 | 0.091889
1,4-DICHLOROBENZENE | 2021 | 34571GCM66 | 2011-04-05 | 2010-10-01 | 2050-09-30 | ug/L | 0.89792 | Abs | 080510 | Abs 080510: 20 µl | 0.048 | 1,4-DICHLOROBENZENE | . | 0.026 | 0.0431 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89792 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.94934 | 0.065098 | 0.91354 | 0.12396 | 0.091889
1,4-DICHLOROBENZENE | 2021 | 34571GCM66 | 2011-05-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.89896 | Abs | 080510 | Abs 080510: 40 µl | 0.096 | 1,4-DICHLOROBENZENE | . | 0.026 | 0.0863 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89896 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.94934 | 0.065098 | 0.91354 | 0.12396 | 0.091889
1,4-DICHLOROBENZENE | 2021 | 34571GCM66 | 2011-06-27 | 2010-10-01 | 2050-09-30 | ug/L | 1.05 | Abs | 080510 | Abs 080510: 20 µl | 0.048 | 1,4-DICHLOROBENZENE | . | 0.026 | 0.0504 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.05 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.94934 | 0.065098 | 0.91354 | 0.12396 | 0.091889
1,4-DICHLOROBENZENE | 2021 | 34571GCM66 | 2011-08-13 | 2010-10-01 | 2050-09-30 | ug/L | 0.88333 | Abs | 080510 | Abs 080510: 40 µl | 0.096 | 1,4-DICHLOROBENZENE | . | 0.026 | 0.0848 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88333 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.94934 | 0.065098 | 0.91354 | 0.12396 | 0.091889
1,4-DICHLOROBENZENE | 2021 | 34571GCM66 | 2011-10-18 | 2010-10-01 | 2050-09-30 | ug/L | 0.90208 | Abs | 080510 | Abs 080510: 20 µl | 0.048 | 1,4-DICHLOROBENZENE | . | 0.026 | 0.0433 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90208 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.94934 | 0.065098 | 0.91354 | 0.12396 | 0.091889
1,4-DICHLOROBENZENE | 2021 | 34571GCM66 | 2011-11-22 | 2010-10-01 | 2050-09-30 | ug/L | 1.0219 | Abs | 080510 | Abs 080510: 40 µl | 0.096 | 1,4-DICHLOROBENZENE | . | 0.026 | 0.0981 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0219 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.94934 | 0.065098 | 0.91354 | 0.12396 | 0.091889
1,4-DICHLOROBENZENE | 2021 | 34571GCM66 | 2012-02-18 | 2010-10-01 | 2050-09-30 | ug/L | 0.98125 | Abs | 080510 | Abs 080510: 20 µl | 0.048 | 1,4-DICHLOROBENZENE | . | 0.026 | 0.0471 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98125 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.94934 | 0.065098 | 0.91354 | 0.12396 | 0.091889
1,4-DICHLOROBENZENE | 2021 | 34571GCM66 | 2012-03-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.91354 | Abs | 080510 | Abs 080510: 40 µl | 0.096 | 1,4-DICHLOROBENZENE | . | 0.026 | 0.0877 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91354 | Abs 080510 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.94934 | 0.065098 | 0.91354 | 0.12396 | 0.091889
1,4-DICHLOROBENZENE | 2021 | 34571GCM66 | 2013-04-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.971 | Accu, Crescent | 212051389, 05BB048 | Accu 212051389: 20 µl & Crescent 05BB048: 20 µl | 1 | 1,4-DICHLOROBENZENE | . | 0.026 | 0.971 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.971 | Ac2121389, Cr05BB048 | Ac | Cr | Cr | 2121389 | 05BB048 | 05BB048 | 2121389 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.971 |  | 0.971 | 0 | 0
1,4-DICHLOROBENZENE | 2021 | 34571GCM66 | 2010-11-02 | 2010-10-01 | 2050-09-30 | ug/L | 0.88 | Accu | 210061400 | Accu 210061400: 40 µl | 0.08 | 1,4-DICHLOROBENZENE | . | 0.026 | 0.0704 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.80227 | 0.06194 | 0.8075 | 0.06 | 0.044477
1,4-DICHLOROBENZENE | 2021 | 34571GCM66 | 2011-01-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.8275 | Accu | 210061400 | Accu 210061400: 20 µl | 0.04 | 1,4-DICHLOROBENZENE | . | 0.026 | 0.0331 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8275 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.80227 | 0.06194 | 0.8075 | 0.06 | 0.044477
1,4-DICHLOROBENZENE | 2021 | 34571GCM66 | 2011-02-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.765 | Accu | 210061400 | Accu 210061400: 20 µl | 0.04 | 1,4-DICHLOROBENZENE | . | 0.026 | 0.0306 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.765 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.80227 | 0.06194 | 0.8075 | 0.06 | 0.044477
1,4-DICHLOROBENZENE | 2021 | 34571GCM66 | 2011-03-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.6675 | Accu | 210061400 | Accu 210061400: 40 µl | 0.08 | 1,4-DICHLOROBENZENE | . | 0.026 | 0.0534 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6675 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.80227 | 0.06194 | 0.8075 | 0.06 | 0.044477
1,4-DICHLOROBENZENE | 2021 | 34571GCM66 | 2011-04-29 | 2010-10-01 | 2050-09-30 | ug/L | 0.8 | Accu | 210061400 | Accu 210061400: 20 µl | 0.04 | 1,4-DICHLOROBENZENE | . | 0.026 | 0.032 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.80227 | 0.06194 | 0.8075 | 0.06 | 0.044477
1,4-DICHLOROBENZENE | 2021 | 34571GCM66 | 2011-06-05 | 2010-10-01 | 2050-09-30 | ug/L | 0.7825 | Accu | 210061400 | Accu 210061400: 40 µl | 0.08 | 1,4-DICHLOROBENZENE | . | 0.026 | 0.0626 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7825 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.80227 | 0.06194 | 0.8075 | 0.06 | 0.044477
1,4-DICHLOROBENZENE | 2021 | 34571GCM66 | 2011-07-23 | 2010-10-01 | 2050-09-30 | ug/L | 0.8075 | Accu | 210061400 | Accu 210061400: 20 µl | 0.04 | 1,4-DICHLOROBENZENE | . | 0.026 | 0.0323 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8075 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.80227 | 0.06194 | 0.8075 | 0.06 | 0.044477
1,4-DICHLOROBENZENE | 2021 | 34571GCM66 | 2011-08-27 | 2010-10-01 | 2050-09-30 | ug/L | 0.80875 | Accu | 210061400 | Accu 210061400: 40 µl | 0.08 | 1,4-DICHLOROBENZENE | . | 0.026 | 0.0647 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80875 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.80227 | 0.06194 | 0.8075 | 0.06 | 0.044477
1,4-DICHLOROBENZENE | 2021 | 34571GCM66 | 2011-11-03 | 2010-10-01 | 2050-09-30 | ug/L | 0.7675 | Accu | 210061400 | Accu 210061400: 20 µl | 0.04 | 1,4-DICHLOROBENZENE | . | 0.026 | 0.0307 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7675 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.80227 | 0.06194 | 0.8075 | 0.06 | 0.044477
1,4-DICHLOROBENZENE | 2021 | 34571GCM66 | 2011-12-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.90375 | Accu | 210061400 | Accu 210061400: 40 µl | 0.08 | 1,4-DICHLOROBENZENE | . | 0.026 | 0.0723 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90375 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.80227 | 0.06194 | 0.8075 | 0.06 | 0.044477
1,4-DICHLOROBENZENE | 2021 | 34571GCM66 | 2012-04-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.815 | Accu | 210061400 | Accu 210061400: 20 µl | 0.04 | 1,4-DICHLOROBENZENE | . | 0.026 | 0.0326 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.815 | Accu 210061400 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.80227 | 0.06194 | 0.8075 | 0.06 | 0.044477
1,4-DICHLOROBENZENE | 2021 | 34571GCM66 | 2013-06-29 | 2010-10-01 | 2050-09-30 | ug/L | 0.875 | ChemService, Crescent | 1530700, 04CC151 | ChemService 1530700: 10 µl & Crescent 04CC151: 10 µl | 0.04 | 1,4-DICHLOROBENZENE | . | 0.026 | 0.035 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.875 | Ch1530700, Cr04CC151 | Ch | Cr | Cr | 1530700 | 04CC151 | 04CC151 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.875 |  | 0.875 | 0 | 0
1,4-DICHLOROBENZENE | 2021 | 34571GCM66 | 2013-08-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.905 | ChemService, NSI | 1530700, 053013 | ChemService 1530700: 20 µl & NSI 053013: 20 µl | 0.08 | 1,4-DICHLOROBENZENE | . | 0.026 | 0.0724 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.905 | Ch1530700, NS053013 | Ch | NS | NS | 1530700 | 053013 | 053013 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.905 |  | 0.905 | 0 | 0
1,4-DICHLOROBENZENE | 2021 | 34571GCM66 | 2009-01-27 | 2007-10-01 | 2009-09-30 | ug/L | 0.88281 | ChemService | 406-110C | ChemService 406-110C: 20 µl | 0.128 | 1,4-DICHLOROBENZENE | . | 0.02 | 0.113 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88281 | ChemService 406-110C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.78627 | 0.098375 | 0.74219 | 0.15625 | 0.11583
1,4-DICHLOROBENZENE | 2021 | 34571GCM66 | 2009-02-27 | 2007-10-01 | 2009-09-30 | ug/L | 0.9375 | ChemService | 406-110C | ChemService 406-110C: 40 µl | 0.256 | 1,4-DICHLOROBENZENE | . | 0.02 | 0.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9375 | ChemService 406-110C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.78627 | 0.098375 | 0.74219 | 0.15625 | 0.11583
1,4-DICHLOROBENZENE | 2021 | 34571GCM66 | 2009-04-11 | 2007-10-01 | 2009-09-30 | ug/L | 0.72656 | ChemService | 406-110C | ChemService 406-110C: 20 µl | 0.128 | 1,4-DICHLOROBENZENE | E | 0.02 | 0.093 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72656 | ChemService 406-110C | [9 empty] | Y | Estimated Values | Y | 2 |  | 7 | 0.78627 | 0.098375 | 0.74219 | 0.15625 | 0.11583
1,4-DICHLOROBENZENE | 2021 | 34571GCM66 | 2009-05-22 | 2007-10-01 | 2009-09-30 | ug/L | 0.82031 | ChemService | 406-110C | ChemService 406-110C: 20 µl | 0.128 | 1,4-DICHLOROBENZENE | . | 0.02 | 0.105 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82031 | ChemService 406-110C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.78627 | 0.098375 | 0.74219 | 0.15625 | 0.11583
1,4-DICHLOROBENZENE | 2021 | 34571GCM66 | 2009-06-23 | 2007-10-01 | 2009-09-30 | ug/L | 0.65625 | ChemService | 406-110C | ChemService 406-110C: 20 µl | 0.128 | 1,4-DICHLOROBENZENE | E | 0.02 | 0.084 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65625 | ChemService 406-110C | [9 empty] | Y | Estimated Values | Y | 2 |  | 7 | 0.78627 | 0.098375 | 0.74219 | 0.15625 | 0.11583
1,4-DICHLOROBENZENE | 2021 | 34571GCM66 | 2009-08-04 | 2007-10-01 | 2009-09-30 | ug/L | 0.73828 | ChemService | 406-110C | ChemService 406-110C: 40 µl | 0.256 | 1,4-DICHLOROBENZENE | . | 0.02 | 0.189 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73828 | ChemService 406-110C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 7 | 0.78627 | 0.098375 | 0.74219 | 0.15625 | 0.11583
1,4-DICHLOROBENZENE | 2021 | 34571GCM66 | 2009-09-11 | 2007-10-01 | 2009-09-30 | ug/L | 0.74219 | ChemService | 406-110C | ChemService 406-110C: 20 µl | 0.128 | 1,4-DICHLOROBENZENE | E | 0.02 | 0.095 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74219 | ChemService 406-110C | [9 empty] | Y | Estimated Values | Y | 2 |  | 7 | 0.78627 | 0.098375 | 0.74219 | 0.15625 | 0.11583
1,4-DICHLOROBENZENE | 2021 | 34571GCM66 | 2013-05-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.9625 | Crescent, Accu | 04CC151, 213041120 | Crescent 04CC151: 10 µl & Accu 213041120: 10 µl | 0.04 | 1,4-DICHLOROBENZENE | . | 0.026 | 0.0385 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9625 | Cr04CC151, Ac2131120 | Cr | Ac | Ac | 04CC151 | 2131120 | 2131120 |  | 2131120 | 2131120 | Y | Recoverable Result | Y | 2 |  | 1 | 0.9625 |  | 0.9625 | 0 | 0
1,4-DICHLOROBENZENE | 2021 | 34571GCM66 | 2013-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.825 | Crescent, Supelco | 04CC151, LC00154 | Crescent 04CC151: 10 µl & Supelco LC00154: 10 µl | 0.04 | 1,4-DICHLOROBENZENE | . | 0.026 | 0.033 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.825 | Cr04CC151, SuLC00154 | Cr | Su | Su | 04CC151 | LC00154 | LC00154 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.87062 | 0.064523 | 0.87062 | 0.09125 | 0.067643
1,4-DICHLOROBENZENE | 2021 | 34571GCM66 | 2013-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.91625 | Crescent, Supelco | 04CC151, LC00154 | Crescent 04CC151: 20 µl & Supelco LC00154: 20 µl | 0.08 | 1,4-DICHLOROBENZENE | . | 0.026 | 0.0733 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91625 | Cr04CC151, SuLC00154 | Cr | Su | Su | 04CC151 | LC00154 | LC00154 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.87062 | 0.064523 | 0.87062 | 0.09125 | 0.067643
1,4-DICHLOROBENZENE | 2021 | 34571GCM66 | 2012-10-23 | 2010-10-01 | 2050-09-30 | ug/L | 0.905 | Crescent, Abs | 05BB048, 051712 | Crescent 05BB048: 40 µl & Abs 051712: 40 µl | 2 | 1,4-DICHLOROBENZENE | . | 0.026 | 1.81 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.905 | Cr05BB048, Ab051712 | Cr | Ab | Ab | 05BB048 | 051712 | 051712 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.905 |  | 0.905 | 0 | 0
1,4-DICHLOROBENZENE | 2021 | 34571GCM66 | 2012-07-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.936 | Crescent, Accu | 05BB048, 212051193 | Crescent 05BB048: 10 µl & Accu 212051193: 10 µl | 0.5 | 1,4-DICHLOROBENZENE | . | 0.026 | 0.468 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.936 | Cr05BB048, Ac2121193 | Cr | Ac | Ac | 05BB048 | 2121193 | 2121193 |  | 2121193 | 2121193 | Y | Recoverable Result | Y | 2 |  | 2 | 0.973 | 0.052326 | 0.973 | 0.074 | 0.054855
1,4-DICHLOROBENZENE | 2021 | 34571GCM66 | 2012-11-08 | 2010-10-01 | 2050-09-30 | ug/L | 1.01 | Crescent, Accu | 05BB048, 212051193 | Crescent 05BB048: 20 µl & Accu 212051193: 20 µl | 1 | 1,4-DICHLOROBENZENE | . | 0.026 | 1.01 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.01 | Cr05BB048, Ac2121193 | Cr | Ac | Ac | 05BB048 | 2121193 | 2121193 |  | 2121193 | 2121193 | Y | Recoverable Result | Y | 2 |  | 2 | 0.973 | 0.052326 | 0.973 | 0.074 | 0.054855
1,4-DICHLOROBENZENE | 2021 | 34571GCM66 | 2012-10-11 | 2010-10-01 | 2050-09-30 | ug/L | 1.036 | Crescent, ChemService | 05BB048, 472200 | Crescent 05BB048: 10 µl & ChemService 472200: 10 µl | 0.5 | 1,4-DICHLOROBENZENE | . | 0.026 | 0.518 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.036 | Cr05BB048, Ch472200 | Cr | Ch | Ch | 05BB048 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.1155 | 0.11243 | 1.1155 | 0.159 | 0.11787
1,4-DICHLOROBENZENE | 2021 | 34571GCM66 | 2013-02-14 | 2010-10-01 | 2050-09-30 | ug/L | 1.195 | Crescent, ChemService | 05BB048, 472200 | Crescent 05BB048: 40 µl & ChemService 472200: 40 µl | 2 | 1,4-DICHLOROBENZENE | . | 0.026 | 2.39 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.195 | Cr05BB048, Ch472200 | Cr | Ch | Ch | 05BB048 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.1155 | 0.11243 | 1.1155 | 0.159 | 0.11787
1,4-DICHLOROBENZENE | 2021 | 34571GCM66 | 2013-06-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.91 | Crescent | 04CC151 | Crescent 04CC151: 10 µl | 0.04 | 1,4-DICHLOROBENZENE | . | 0.026 | 0.0364 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91 | Crescent 04CC151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.91 |  | 0.91 | 0 | 0
1,4-DICHLOROBENZENE | 2021 | 34571GCM66 | 2013-12-12 | 2010-10-01 | 2050-09-30 | ug/L | 0.98125 | NSI, Accu | 053013, 213041120 | NSI 053013: 20 µl & Accu 213041120: 20 µl | 0.08 | 1,4-DICHLOROBENZENE | . | 0.026 | 0.0785 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98125 | NS053013, Ac2131120 | NS | Ac | Ac | 053013 | 2131120 | 2131120 |  | 2131120 | 2131120 | Y | Recoverable Result | Y | 2 |  | 1 | 0.98125 |  | 0.98125 | 0 | 0
1,4-DICHLOROBENZENE | 2021 | 34571GCM66 | 2013-07-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.99625 | NSI, Supelco | 053013, LC00154 | NSI 053013: 20 µl & Supelco LC00154: 20 µl | 0.08 | 1,4-DICHLOROBENZENE | . | 0.026 | 0.0797 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99625 | NS053013, SuLC00154 | NS | Su | Su | 053013 | LC00154 | LC00154 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.99625 |  | 0.99625 | 0 | 0
1,4-DICHLOROBENZENE | 2021 | 34571GCM66 | 2013-02-28 | 2010-10-01 | 2050-09-30 | ug/L | 0.936 | NSI, Accu | 062112-01VOA, 212051193 | NSI 062112-01VOA: 10 µl & Accu 212051193: 10 µl | 0.5 | 1,4-DICHLOROBENZENE | . | 0.026 | 0.468 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.936 | NS0621VOA, Ac2121193 | NS | Ac | Ac | 0621VOA | 2121193 | 2121193 | 0621VOA | 2121193 | 2121193 | Y | Recoverable Result | Y | 2 |  | 1 | 0.936 |  | 0.936 | 0 | 0
1,4-DICHLOROBENZENE | 2021 | 34571GCM66 | 2012-08-28 | 2010-10-01 | 2050-09-30 | ug/L | 0.874 | NSI, ChemService | 062112-01VOA, 472200 | NSI 062112-01VOA: 20 µl & ChemService 472200: 20 µl | 1 | 1,4-DICHLOROBENZENE | . | 0.026 | 0.874 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.874 | NS0621VOA, Ch472200 | NS | Ch | Ch | 0621VOA | 472200 | 472200 | 0621VOA |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.881 | 0.0098995 | 0.881 | 0.014 | 0.010378
1,4-DICHLOROBENZENE | 2021 | 34571GCM66 | 2012-12-09 | 2010-10-01 | 2050-09-30 | ug/L | 0.888 | NSI, ChemService | 062112-01VOA, 472200 | NSI 062112-01VOA: 10 µl & ChemService 472200: 10 µl | 0.5 | 1,4-DICHLOROBENZENE | . | 0.026 | 0.444 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.888 | NS0621VOA, Ch472200 | NS | Ch | Ch | 0621VOA | 472200 | 472200 | 0621VOA |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.881 | 0.0098995 | 0.881 | 0.014 | 0.010378
1,4-DICHLOROBENZENE | 2021 | 34571GCM66 | 2012-09-11 | 2010-10-01 | 2050-09-30 | ug/L | 0.93 | NSI, Supelco | 062112-01VOA, LB92787 | NSI 062112-01VOA: 20 µl & Supelco LB92787: 20 µl | 1 | 1,4-DICHLOROBENZENE | . | 0.026 | 0.93 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93 | NS0621VOA, SuLB92787 | NS | Su | Su | 0621VOA | LB92787 | LB92787 | 0621VOA |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.95 | 0.028284 | 0.95 | 0.04 | 0.029652
1,4-DICHLOROBENZENE | 2021 | 34571GCM66 | 2012-12-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.97 | NSI, Supelco | 062112-01VOA, LB92787 | NSI 062112-01VOA: 40 µl & Supelco LB92787: 40 µl | 2 | 1,4-DICHLOROBENZENE | . | 0.026 | 1.94 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97 | NS0621VOA, SuLB92787 | NS | Su | Su | 0621VOA | LB92787 | LB92787 | 0621VOA |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.95 | 0.028284 | 0.95 | 0.04 | 0.029652
1,4-DICHLOROBENZENE | 2021 | 34571GCM66 | 2009-02-12 | 2007-10-01 | 2009-09-30 | ug/L | 0.83594 | NSI | 081108-01VOC | NSI 081108-01VOC: 20 µl | 0.128 | 1,4-DICHLOROBENZENE | . | 0.02 | 0.107 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83594 | NSI 081108-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.78841 | 0.054263 | 0.79492 | 0.10156 | 0.075287
1,4-DICHLOROBENZENE | 2021 | 34571GCM66 | 2009-04-08 | 2007-10-01 | 2009-09-30 | ug/L | 0.77734 | NSI | 081108-01VOC | NSI 081108-01VOC: 40 µl | 0.256 | 1,4-DICHLOROBENZENE | . | 0.02 | 0.199 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77734 | NSI 081108-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.78841 | 0.054263 | 0.79492 | 0.10156 | 0.075287
1,4-DICHLOROBENZENE | 2021 | 34571GCM66 | 2009-05-06 | 2007-10-01 | 2009-09-30 | ug/L | 0.8125 | NSI | 081108-01VOC | NSI 081108-01VOC: 40 µl | 0.256 | 1,4-DICHLOROBENZENE | . | 0.02 | 0.208 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8125 | NSI 081108-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.78841 | 0.054263 | 0.79492 | 0.10156 | 0.075287
1,4-DICHLOROBENZENE | 2021 | 34571GCM66 | 2009-06-06 | 2007-10-01 | 2009-09-30 | ug/L | 0.73437 | NSI | 081108-01VOC | NSI 081108-01VOC: 20 µl | 0.128 | 1,4-DICHLOROBENZENE | E | 0.02 | 0.094 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73438 | NSI 081108-01VOC | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.78841 | 0.054263 | 0.79492 | 0.10156 | 0.075287
1,4-DICHLOROBENZENE | 2021 | 34571GCM66 | 2009-07-09 | 2007-10-01 | 2009-09-30 | ug/L | 0.71875 | NSI | 081108-01VOC | NSI 081108-01VOC: 20 µl | 0.128 | 1,4-DICHLOROBENZENE | E | 0.02 | 0.092 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71875 | NSI 081108-01VOC | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.78841 | 0.054263 | 0.79492 | 0.10156 | 0.075287
1,4-DICHLOROBENZENE | 2021 | 34571GCM66 | 2009-08-27 | 2007-10-01 | 2009-09-30 | ug/L | 0.85156 | NSI | 081108-01VOC | NSI 081108-01VOC: 20 µl | 0.128 | 1,4-DICHLOROBENZENE | . | 0.02 | 0.109 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85156 | NSI 081108-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.78841 | 0.054263 | 0.79492 | 0.10156 | 0.075287
1,4-DICHLOROBENZENE | 2021 | 34571GCM66 | 2009-11-04 | 2009-10-01 | 2010-09-30 | ug/L | 0.742 | Spex Organics | C1090901006 | Spex Organics C1090901006: 10 µl | 0.1 | 1,4-DICHLOROBENZENE | E | 0.026 | 0.0742 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.742 | Spex Organics C1090901006 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.89854 | 0.088993 | 0.92583 | 0.106 | 0.078577
1,4-DICHLOROBENZENE | 2021 | 34571GCM66 | 2009-12-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.93667 | Spex Organics | C1090901006 | Spex Organics C1090901006: 30 µl | 0.3 | 1,4-DICHLOROBENZENE | . | 0.026 | 0.281 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93667 | Spex Organics C1090901006 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.89854 | 0.088993 | 0.92583 | 0.106 | 0.078577
1,4-DICHLOROBENZENE | 2021 | 34571GCM66 | 2010-02-09 | 2009-10-01 | 2010-09-30 | ug/L | 0.788 | Spex Organics | C1090901006 | Spex Organics C1090901006: 10 µl | 0.1 | 1,4-DICHLOROBENZENE | . | 0.026 | 0.0788 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.788 | Spex Organics C1090901006 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.89854 | 0.088993 | 0.92583 | 0.106 | 0.078577
1,4-DICHLOROBENZENE | 2021 | 34571GCM66 | 2010-03-17 | 2009-10-01 | 2010-09-30 | ug/L | 1.0067 | Spex Organics | C1090901006 | Spex Organics C1090901006: 30 µl | 0.3 | 1,4-DICHLOROBENZENE | . | 0.026 | 0.302 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0067 | Spex Organics C1090901006 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.89854 | 0.088993 | 0.92583 | 0.106 | 0.078577
1,4-DICHLOROBENZENE | 2021 | 34571GCM66 | 2010-04-27 | 2009-10-01 | 2010-09-30 | ug/L | 0.915 | Spex Organics | C1090901006 | Spex Organics C1090901006: 10 µl | 0.1 | 1,4-DICHLOROBENZENE | . | 0.026 | 0.0915 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.915 | Spex Organics C1090901006 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.89854 | 0.088993 | 0.92583 | 0.106 | 0.078577
1,4-DICHLOROBENZENE | 2021 | 34571GCM66 | 2010-06-09 | 2009-10-01 | 2010-09-30 | ug/L | 0.95 | Spex Organics | C1090901006 | Spex Organics C1090901006: 30 µl | 0.3 | 1,4-DICHLOROBENZENE | . | 0.026 | 0.285 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95 | Spex Organics C1090901006 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.89854 | 0.088993 | 0.92583 | 0.106 | 0.078577
1,4-DICHLOROBENZENE | 2021 | 34571GCM66 | 2010-07-09 | 2009-10-01 | 2010-09-30 | ug/L | 0.95 | Spex Organics | C1090901006 | Spex Organics C1090901006: 10 µl | 0.1 | 1,4-DICHLOROBENZENE | . | 0.026 | 0.095 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95 | Spex Organics C1090901006 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.89854 | 0.088993 | 0.92583 | 0.106 | 0.078577
1,4-DICHLOROBENZENE | 2021 | 34571GCM66 | 2010-08-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.9 | Spex Organics | C1090901006 | Spex Organics C1090901006: 30 µl | 0.3 | 1,4-DICHLOROBENZENE | . | 0.026 | 0.27 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9 | Spex Organics C1090901006 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.89854 | 0.088993 | 0.92583 | 0.106 | 0.078577