## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
2,2-DICHLOROPROPANE | 2021 | 77170GCM66 | 2009-01-27 | 2006-10-01 | 2009-09-30 | ug/L | 0.8125 | Abs | 080408VOC | Abs 080408VOC: 40 µl | 0.16 | 2,2-DICHLOROPROPANE | . | 0.06 | 0.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8125 | Abs 080408VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.86458 | 0.13929 | 0.84375 | 0.125 | 0.092661
2,2-DICHLOROPROPANE | 2021 | 77170GCM66 | 2009-03-14 | 2006-10-01 | 2009-09-30 | ug/L | 0.75 | Abs | 080408VOC | Abs 080408VOC: 20 µl | 0.08 | 2,2-DICHLOROPROPANE | E | 0.06 | 0.06 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75 | Abs 080408VOC | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.86458 | 0.13929 | 0.84375 | 0.125 | 0.092661
2,2-DICHLOROPROPANE | 2021 | 77170GCM66 | 2009-04-21 | 2006-10-01 | 2009-09-30 | ug/L | 1.125 | Abs | 080408VOC | Abs 080408VOC: 40 µl | 0.16 | 2,2-DICHLOROPROPANE | . | 0.06 | 0.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.125 | Abs 080408VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.86458 | 0.13929 | 0.84375 | 0.125 | 0.092661
2,2-DICHLOROPROPANE | 2021 | 77170GCM66 | 2009-06-09 | 2006-10-01 | 2009-09-30 | ug/L | 0.75 | Abs | 080408VOC | Abs 080408VOC: 20 µl | 0.08 | 2,2-DICHLOROPROPANE | E | 0.06 | 0.06 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75 | Abs 080408VOC | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.86458 | 0.13929 | 0.84375 | 0.125 | 0.092661
2,2-DICHLOROPROPANE | 2021 | 77170GCM66 | 2009-07-17 | 2006-10-01 | 2009-09-30 | ug/L | 0.875 | Abs | 080408VOC | Abs 080408VOC: 20 µl | 0.08 | 2,2-DICHLOROPROPANE | E | 0.06 | 0.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.875 | Abs 080408VOC | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.86458 | 0.13929 | 0.84375 | 0.125 | 0.092661
2,2-DICHLOROPROPANE | 2021 | 77170GCM66 | 2009-08-29 | 2006-10-01 | 2009-09-30 | ug/L | 0.875 | Abs | 080408VOC | Abs 080408VOC: 20 µl | 0.08 | 2,2-DICHLOROPROPANE | E | 0.06 | 0.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.875 | Abs 080408VOC | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.86458 | 0.13929 | 0.84375 | 0.125 | 0.092661
2,2-DICHLOROPROPANE | 2021 | 77170GCM66 | 2013-01-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.94571 | Accu, Abs | 212051193, 051712 | Accu 212051193: 40 µl & Abs 051712: 40 µl | 0.792 | 2,2-DICHLOROPROPANE | . | 0.06 | 0.749 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94571 | Ac2121193, Ab051712 | Ac | Ab | Ab | 2121193 | 051712 | 051712 | 2121193 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.94571 |  | 0.94571 | 0 | 0
2,2-DICHLOROPROPANE | 2021 | 77170GCM66 | 2013-06-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.83694 | Accu, Abs | 213041120, 051413 | Accu 213041120: 10 µl & Abs 051413: 10 µl | 0.0693 | 2,2-DICHLOROPROPANE | . | 0.06 | 0.058 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83694 | Ac2131120, Ab051413 | Ac | Ab | Ab | 2131120 | 051413 | 051413 | 2131120 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.83694 |  | 0.83694 | 0 | 0
2,2-DICHLOROPROPANE | 2021 | 77170GCM66 | 2013-11-01 | 2010-10-01 | 2050-09-30 | ug/L | 0.82973 | Accu, ChemService | 213041120, 1530700 | Accu 213041120: 20 µl & ChemService 1530700: 20 µl | 0.1386 | 2,2-DICHLOROPROPANE | . | 0.06 | 0.115 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82973 | Ac2131120, Ch1530700 | Ac | Ch | Ch | 2131120 | 1530700 | 1530700 | 2131120 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.79004 | 0.05612 | 0.79004 | 0.079365 | 0.058833
2,2-DICHLOROPROPANE | 2021 | 77170GCM66 | 2013-12-31 | 2010-10-01 | 2050-09-30 | ug/L | 0.75036 | Accu, ChemService | 213041120, 1530700 | Accu 213041120: 10 µl & ChemService 1530700: 10 µl | 0.0693 | 2,2-DICHLOROPROPANE | . | 0.06 | 0.052 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75036 | Ac2131120, Ch1530700 | Ac | Ch | Ch | 2131120 | 1530700 | 1530700 | 2131120 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.79004 | 0.05612 | 0.79004 | 0.079365 | 0.058833
2,2-DICHLOROPROPANE | 2021 | 77170GCM66 | 2009-11-10 | 2009-10-01 | 2010-09-30 | ug/L | 0.84416 | Accu | 209081198 | Accu 209081198: 10 µl | 0.1386 | 2,2-DICHLOROPROPANE | . | 0.06 | 0.117 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84416 | Accu 209081198 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.80237 | 0.091036 | 0.82612 | 0.11664 | 0.086466
2,2-DICHLOROPROPANE | 2021 | 77170GCM66 | 2009-12-24 | 2009-10-01 | 2010-09-30 | ug/L | 0.85137 | Accu | 209081198 | Accu 209081198: 30 µl | 0.4158 | 2,2-DICHLOROPROPANE | . | 0.06 | 0.354 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85137 | Accu 209081198 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.80237 | 0.091036 | 0.82612 | 0.11664 | 0.086466
2,2-DICHLOROPROPANE | 2021 | 77170GCM66 | 2010-02-19 | 2009-10-01 | 2010-09-30 | ug/L | 0.82251 | Accu | 209081198 | Accu 209081198: 10 µl | 0.1386 | 2,2-DICHLOROPROPANE | . | 0.06 | 0.114 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82251 | Accu 209081198 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.80237 | 0.091036 | 0.82612 | 0.11664 | 0.086466
2,2-DICHLOROPROPANE | 2021 | 77170GCM66 | 2010-03-26 | 2009-10-01 | 2010-09-30 | ug/L | 0.69264 | Accu | 209081198 | Accu 209081198: 30 µl | 0.4158 | 2,2-DICHLOROPROPANE | . | 0.06 | 0.288 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69264 | Accu 209081198 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.80237 | 0.091036 | 0.82612 | 0.11664 | 0.086466
2,2-DICHLOROPROPANE | 2021 | 77170GCM66 | 2010-05-05 | 2009-10-01 | 2010-09-30 | ug/L | 0.66378 | Accu | 209081198 | Accu 209081198: 10 µl | 0.1386 | 2,2-DICHLOROPROPANE | . | 0.06 | 0.092 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66378 | Accu 209081198 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.80237 | 0.091036 | 0.82612 | 0.11664 | 0.086466
2,2-DICHLOROPROPANE | 2021 | 77170GCM66 | 2010-06-17 | 2009-10-01 | 2010-09-30 | ug/L | 0.7696 | Accu | 209081198 | Accu 209081198: 30 µl | 0.4158 | 2,2-DICHLOROPROPANE | . | 0.06 | 0.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7696 | Accu 209081198 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.80237 | 0.091036 | 0.82612 | 0.11664 | 0.086466
2,2-DICHLOROPROPANE | 2021 | 77170GCM66 | 2010-07-16 | 2009-10-01 | 2010-09-30 | ug/L | 0.94517 | Accu | 209081198 | Accu 209081198: 10 µl | 0.1386 | 2,2-DICHLOROPROPANE | . | 0.06 | 0.131 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94517 | Accu 209081198 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.80237 | 0.091036 | 0.82612 | 0.11664 | 0.086466
2,2-DICHLOROPROPANE | 2021 | 77170GCM66 | 2010-09-01 | 2009-10-01 | 2010-09-30 | ug/L | 0.82973 | Accu | 209081198 | Accu 209081198: 10 µl | 0.1386 | 2,2-DICHLOROPROPANE | . | 0.06 | 0.115 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82973 | Accu 209081198 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.80237 | 0.091036 | 0.82612 | 0.11664 | 0.086466
2,2-DICHLOROPROPANE | 2021 | 77170GCM66 | 2013-05-22 | 2010-10-01 | 2050-09-30 | ug/L | 1.14 | Crescent, Accu | 04CC151, 213041120 | Crescent 04CC151: 10 µl & Accu 213041120: 10 µl | 0.0693 | 2,2-DICHLOROPROPANE | . | 0.06 | 0.079 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.14 | Cr04CC151, Ac2131120 | Cr | Ac | Ac | 04CC151 | 2131120 | 2131120 |  | 2131120 | 2131120 | Y | Recoverable Result | Y | 2 |  | 1 | 1.14 |  | 1.14 | 0 | 0
2,2-DICHLOROPROPANE | 2021 | 77170GCM66 | 2013-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.77941 | Crescent, Supelco | 04CC151, LC00154 | Crescent 04CC151: 10 µl & Supelco LC00154: 10 µl | 0.068 | 2,2-DICHLOROPROPANE | . | 0.06 | 0.053 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77941 | Cr04CC151, SuLC00154 | Cr | Su | Su | 04CC151 | LC00154 | LC00154 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.71324 | 0.093588 | 0.71324 | 0.13235 | 0.098112
2,2-DICHLOROPROPANE | 2021 | 77170GCM66 | 2013-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.64706 | Crescent, Supelco | 04CC151, LC00154 | Crescent 04CC151: 20 µl & Supelco LC00154: 20 µl | 0.136 | 2,2-DICHLOROPROPANE | . | 0.06 | 0.088 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64706 | Cr04CC151, SuLC00154 | Cr | Su | Su | 04CC151 | LC00154 | LC00154 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.71324 | 0.093588 | 0.71324 | 0.13235 | 0.098112
2,2-DICHLOROPROPANE | 2021 | 77170GCM66 | 2012-07-19 | 2010-10-01 | 2050-09-30 | ug/L | 1.0303 | Crescent, Accu | 05BB048, 212051193 | Crescent 05BB048: 10 µl & Accu 212051193: 10 µl | 0.198 | 2,2-DICHLOROPROPANE | . | 0.06 | 0.204 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0303 | Cr05BB048, Ac2121193 | Cr | Ac | Ac | 05BB048 | 2121193 | 2121193 |  | 2121193 | 2121193 | Y | Recoverable Result | Y | 2 |  | 2 | 0.97601 | 0.076782 | 0.97601 | 0.10859 | 0.080494
2,2-DICHLOROPROPANE | 2021 | 77170GCM66 | 2012-11-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.92172 | Crescent, Accu | 05BB048, 212051193 | Crescent 05BB048: 20 µl & Accu 212051193: 20 µl | 0.396 | 2,2-DICHLOROPROPANE | . | 0.06 | 0.365 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92172 | Cr05BB048, Ac2121193 | Cr | Ac | Ac | 05BB048 | 2121193 | 2121193 |  | 2121193 | 2121193 | Y | Recoverable Result | Y | 2 |  | 2 | 0.97601 | 0.076782 | 0.97601 | 0.10859 | 0.080494
2,2-DICHLOROPROPANE | 2021 | 77170GCM66 | 2013-12-12 | 2010-10-01 | 2050-09-30 | ug/L | 0.79365 | NSI, Accu | 053013, 213041120 | NSI 053013: 20 µl & Accu 213041120: 20 µl | 0.1386 | 2,2-DICHLOROPROPANE | . | 0.06 | 0.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79365 | NS053013, Ac2131120 | NS | Ac | Ac | 053013 | 2131120 | 2131120 |  | 2131120 | 2131120 | Y | Recoverable Result | Y | 2 |  | 1 | 0.79365 |  | 0.79365 | 0 | 0
2,2-DICHLOROPROPANE | 2021 | 77170GCM66 | 2013-07-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.73529 | NSI, Supelco | 053013, LC00154 | NSI 053013: 20 µl & Supelco LC00154: 20 µl | 0.136 | 2,2-DICHLOROPROPANE | . | 0.06 | 0.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73529 | NS053013, SuLC00154 | NS | Su | Su | 053013 | LC00154 | LC00154 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.73529 |  | 0.73529 | 0 | 0
2,2-DICHLOROPROPANE | 2021 | 77170GCM66 | 2013-02-28 | 2010-10-01 | 2050-09-30 | ug/L | 0.98485 | NSI, Accu | 062112-01VOA, 212051193 | NSI 062112-01VOA: 10 µl & Accu 212051193: 10 µl | 0.198 | 2,2-DICHLOROPROPANE | . | 0.06 | 0.195 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98485 | NS0621VOA, Ac2121193 | NS | Ac | Ac | 0621VOA | 2121193 | 2121193 | 0621VOA | 2121193 | 2121193 | Y | Recoverable Result | Y | 2 |  | 1 | 0.98485 |  | 0.98485 | 0 | 0
2,2-DICHLOROPROPANE | 2021 | 77170GCM66 | 2012-09-11 | 2010-10-01 | 2050-09-30 | ug/L | 0.81663 | NSI, Supelco | 062112-01VOA, LB92787 | NSI 062112-01VOA: 20 µl & Supelco LB92787: 20 µl | 0.3992 | 2,2-DICHLOROPROPANE | . | 0.06 | 0.326 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81663 | NS0621VOA, SuLB92787 | NS | Su | Su | 0621VOA | LB92787 | LB92787 | 0621VOA |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.84356 | 0.038083 | 0.84356 | 0.053858 | 0.039924
2,2-DICHLOROPROPANE | 2021 | 77170GCM66 | 2012-12-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.87049 | NSI, Supelco | 062112-01VOA, LB92787 | NSI 062112-01VOA: 40 µl & Supelco LB92787: 40 µl | 0.7984 | 2,2-DICHLOROPROPANE | . | 0.06 | 0.695 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87049 | NS0621VOA, SuLB92787 | NS | Su | Su | 0621VOA | LB92787 | LB92787 | 0621VOA |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.84356 | 0.038083 | 0.84356 | 0.053858 | 0.039924
2,2-DICHLOROPROPANE | 2021 | 77170GCM66 | 2010-11-05 | 2010-10-01 | 2050-09-30 | ug/L | 0.95109 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.184 | 2,2-DICHLOROPROPANE | . | 0.06 | 0.175 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95109 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.84126 | 0.054514 | 0.82473 | 0.0625 | 0.046331
2,2-DICHLOROPROPANE | 2021 | 77170GCM66 | 2011-01-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.77174 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.368 | 2,2-DICHLOROPROPANE | . | 0.06 | 0.284 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77174 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.84126 | 0.054514 | 0.82473 | 0.0625 | 0.046331
2,2-DICHLOROPROPANE | 2021 | 77170GCM66 | 2011-03-01 | 2010-10-01 | 2050-09-30 | ug/L | 0.92935 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.184 | 2,2-DICHLOROPROPANE | . | 0.06 | 0.171 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92935 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.84126 | 0.054514 | 0.82473 | 0.0625 | 0.046331
2,2-DICHLOROPROPANE | 2021 | 77170GCM66 | 2011-04-13 | 2010-10-01 | 2050-09-30 | ug/L | 0.83696 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.368 | 2,2-DICHLOROPROPANE | . | 0.06 | 0.308 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83696 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.84126 | 0.054514 | 0.82473 | 0.0625 | 0.046331
2,2-DICHLOROPROPANE | 2021 | 77170GCM66 | 2011-05-03 | 2010-10-01 | 2050-09-30 | ug/L | 0.79348 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.184 | 2,2-DICHLOROPROPANE | . | 0.06 | 0.146 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79348 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.84126 | 0.054514 | 0.82473 | 0.0625 | 0.046331
2,2-DICHLOROPROPANE | 2021 | 77170GCM66 | 2011-06-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.82337 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.368 | 2,2-DICHLOROPROPANE | . | 0.06 | 0.303 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82337 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.84126 | 0.054514 | 0.82473 | 0.0625 | 0.046331
2,2-DICHLOROPROPANE | 2021 | 77170GCM66 | 2011-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.82065 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.184 | 2,2-DICHLOROPROPANE | . | 0.06 | 0.151 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82065 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.84126 | 0.054514 | 0.82473 | 0.0625 | 0.046331
2,2-DICHLOROPROPANE | 2021 | 77170GCM66 | 2011-10-18 | 2010-10-01 | 2050-09-30 | ug/L | 0.80435 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.184 | 2,2-DICHLOROPROPANE | . | 0.06 | 0.148 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80435 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.84126 | 0.054514 | 0.82473 | 0.0625 | 0.046331
2,2-DICHLOROPROPANE | 2021 | 77170GCM66 | 2011-11-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.82609 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.368 | 2,2-DICHLOROPROPANE | . | 0.06 | 0.304 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82609 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.84126 | 0.054514 | 0.82473 | 0.0625 | 0.046331
2,2-DICHLOROPROPANE | 2021 | 77170GCM66 | 2012-03-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.88587 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.184 | 2,2-DICHLOROPROPANE | . | 0.06 | 0.163 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88587 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.84126 | 0.054514 | 0.82473 | 0.0625 | 0.046331
2,2-DICHLOROPROPANE | 2021 | 77170GCM66 | 2012-05-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.80435 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.368 | 2,2-DICHLOROPROPANE | . | 0.06 | 0.296 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80435 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.84126 | 0.054514 | 0.82473 | 0.0625 | 0.046331
2,2-DICHLOROPROPANE | 2021 | 77170GCM66 | 2012-05-25 | 2010-10-01 | 2050-09-30 | ug/L | 0.84783 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.368 | 2,2-DICHLOROPROPANE | . | 0.06 | 0.312 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84783 | NSI 062310-01 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 12 | 0.84126 | 0.054514 | 0.82473 | 0.0625 | 0.046331
2,2-DICHLOROPROPANE | 2021 | 77170GCM66 | 2009-10-22 | 2009-10-01 | 2010-09-30 | ug/L | 0.93939 | Restek | A069860 | Restek A069860: 10 µl | 0.132 | 2,2-DICHLOROPROPANE | . | 0.06 | 0.124 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93939 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.83053 | 0.094667 | 0.82071 | 0.11869 | 0.087981
2,2-DICHLOROPROPANE | 2021 | 77170GCM66 | 2009-12-04 | 2009-10-01 | 2010-09-30 | ug/L | 0.94949 | Restek | A069860 | Restek A069860: 30 µl | 0.396 | 2,2-DICHLOROPROPANE | . | 0.06 | 0.376 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94949 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.83053 | 0.094667 | 0.82071 | 0.11869 | 0.087981
2,2-DICHLOROPROPANE | 2021 | 77170GCM66 | 2010-01-26 | 2009-10-01 | 2010-09-30 | ug/L | 0.81061 | Restek | A069860 | Restek A069860: 10 µl | 0.132 | 2,2-DICHLOROPROPANE | . | 0.06 | 0.107 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81061 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.83053 | 0.094667 | 0.82071 | 0.11869 | 0.087981
2,2-DICHLOROPROPANE | 2021 | 77170GCM66 | 2010-03-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.64899 | Restek | A069860 | Restek A069860: 30 µl | 0.396 | 2,2-DICHLOROPROPANE | . | 0.06 | 0.257 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64899 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.83053 | 0.094667 | 0.82071 | 0.11869 | 0.087981
2,2-DICHLOROPROPANE | 2021 | 77170GCM66 | 2010-04-13 | 2009-10-01 | 2010-09-30 | ug/L | 0.85606 | Restek | A069860 | Restek A069860: 10 µl | 0.132 | 2,2-DICHLOROPROPANE | . | 0.06 | 0.113 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85606 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.83053 | 0.094667 | 0.82071 | 0.11869 | 0.087981
2,2-DICHLOROPROPANE | 2021 | 77170GCM66 | 2010-05-22 | 2009-10-01 | 2010-09-30 | ug/L | 0.78283 | Restek | A069860 | Restek A069860: 30 µl | 0.396 | 2,2-DICHLOROPROPANE | . | 0.06 | 0.31 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78283 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.83053 | 0.094667 | 0.82071 | 0.11869 | 0.087981
2,2-DICHLOROPROPANE | 2021 | 77170GCM66 | 2010-07-09 | 2009-10-01 | 2010-09-30 | ug/L | 0.90152 | Restek | A069860 | Restek A069860: 10 µl | 0.132 | 2,2-DICHLOROPROPANE | . | 0.06 | 0.119 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90152 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.83053 | 0.094667 | 0.82071 | 0.11869 | 0.087981
2,2-DICHLOROPROPANE | 2021 | 77170GCM66 | 2010-08-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.82071 | Restek | A069860 | Restek A069860: 30 µl | 0.396 | 2,2-DICHLOROPROPANE | . | 0.06 | 0.325 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82071 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.83053 | 0.094667 | 0.82071 | 0.11869 | 0.087981
2,2-DICHLOROPROPANE | 2021 | 77170GCM66 | 2010-09-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.76515 | Restek | A069860 | Restek A069860: 10 µl | 0.132 | 2,2-DICHLOROPROPANE | . | 0.06 | 0.101 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76515 | Restek A069860 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.83053 | 0.094667 | 0.82071 | 0.11869 | 0.087981
2,2-DICHLOROPROPANE | 2021 | 77170GCM66 | 2012-07-30 | 2010-10-01 | 2050-09-30 | ug/L | 0.81162 | Supelco, Abs | LB92787, 051712 | Supelco LB92787: 20 µl & Abs 051712: 20 µl | 0.3992 | 2,2-DICHLOROPROPANE | . | 0.06 | 0.324 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81162 | SuLB92787, Ab051712 | Su | Ab | Ab | LB92787 | 051712 | 051712 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.81162 |  | 0.81162 | 0 | 0
2,2-DICHLOROPROPANE | 2021 | 77170GCM66 | 2013-03-29 | 2010-10-01 | 2050-09-30 | ug/L | 0.97194 | Supelco, ChemService | LB92787, 472200 | Supelco LB92787: 10 µl & ChemService 472200: 10 µl | 0.1996 | 2,2-DICHLOROPROPANE | . | 0.06 | 0.194 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97194 | SuLB92787, Ch472200 | Su | Ch | Ch | LB92787 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.92435 | 0.06731 | 0.92435 | 0.09519 | 0.070564
2,2-DICHLOROPROPANE | 2021 | 77170GCM66 | 2013-05-03 | 2010-10-01 | 2050-09-30 | ug/L | 0.87675 | Supelco, ChemService | LB92787, 472200 | Supelco LB92787: 10 µl & ChemService 472200: 10 µl | 0.1996 | 2,2-DICHLOROPROPANE | . | 0.06 | 0.175 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87675 | SuLB92787, Ch472200 | Su | Ch | Ch | LB92787 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.92435 | 0.06731 | 0.92435 | 0.09519 | 0.070564
2,2-DICHLOROPROPANE | 2021 | 77170GCM66 | 2013-08-06 | 2010-10-01 | 2050-09-30 | ug/L | 0.51471 | Supelco, Abs | LC00154, 051413 | Supelco LC00154: 20 µl & Abs 051413: 20 µl | 0.136 | 2,2-DICHLOROPROPANE | E | 0.06 | 0.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.51471 | SuLC00154, Ab051413 | Su | Ab | Ab | LC00154 | 051413 | 051413 |  |  |  | Y | Estimated Values | Y | 2 |  | 2 | 0.63235 | 0.16638 | 0.63235 | 0.23529 | 0.17442
2,2-DICHLOROPROPANE | 2021 | 77170GCM66 | 2013-12-12 | 2010-10-01 | 2050-09-30 | ug/L | 0.75 | Supelco, Abs | LC00154, 051413 | Supelco LC00154: 10 µl & Abs 051413: 10 µl | 0.068 | 2,2-DICHLOROPROPANE | . | 0.06 | 0.051 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75 | SuLC00154, Ab051413 | Su | Ab | Ab | LC00154 | 051413 | 051413 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.63235 | 0.16638 | 0.63235 | 0.23529 | 0.17442
2,2-DICHLOROPROPANE | 2021 | 77170GCM66 | 2013-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.83088 | Supelco, ChemService | LC00154, 1530700 | Supelco LC00154: 20 µl & ChemService 1530700: 20 µl | 0.136 | 2,2-DICHLOROPROPANE | . | 0.06 | 0.113 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83088 | SuLC00154, Ch1530700 | Su | Ch | Ch | LC00154 | 1530700 | 1530700 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.83088 |  | 0.83088 | 0 | 0
2,2-DICHLOROPROPANE | 2021 | 77170GCM66 | 2009-02-18 | 2006-10-01 | 2009-09-30 | ug/L | 0.87065 | Ultra | CE-2869 | Ultra CE-2869: 20 µl | 0.0804 | 2,2-DICHLOROPROPANE | E | 0.06 | 0.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87065 | Ultra CE-2869 | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.83955 | 0.17479 | 0.80846 | 0.18657 | 0.1383
2,2-DICHLOROPROPANE | 2021 | 77170GCM66 | 2009-03-31 | 2006-10-01 | 2009-09-30 | ug/L | 1.1194 | Ultra | CE-2869 | Ultra CE-2869: 20 µl | 0.0804 | 2,2-DICHLOROPROPANE | E | 0.06 | 0.09 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1194 | Ultra CE-2869 | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.83955 | 0.17479 | 0.80846 | 0.18657 | 0.1383
2,2-DICHLOROPROPANE | 2021 | 77170GCM66 | 2009-05-13 | 2006-10-01 | 2009-09-30 | ug/L | 0.74627 | Ultra | CE-2869 | Ultra CE-2869: 20 µl | 0.0804 | 2,2-DICHLOROPROPANE | E | 0.06 | 0.06 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74627 | Ultra CE-2869 | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.83955 | 0.17479 | 0.80846 | 0.18657 | 0.1383
2,2-DICHLOROPROPANE | 2021 | 77170GCM66 | 2009-06-17 | 2006-10-01 | 2009-09-30 | ug/L | 0.74627 | Ultra | CE-2869 | Ultra CE-2869: 40 µl | 0.1608 | 2,2-DICHLOROPROPANE | . | 0.06 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74627 | Ultra CE-2869 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.83955 | 0.17479 | 0.80846 | 0.18657 | 0.1383
2,2-DICHLOROPROPANE | 2021 | 77170GCM66 | 2009-06-30 | 2006-10-01 | 2009-09-30 | ug/L | 0.93284 | Ultra | CE-2869 | Ultra CE-2869: 40 µl | 0.1608 | 2,2-DICHLOROPROPANE | . | 0.06 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93284 | Ultra CE-2869 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.83955 | 0.17479 | 0.80846 | 0.18657 | 0.1383
2,2-DICHLOROPROPANE | 2021 | 77170GCM66 | 2009-08-11 | 2006-10-01 | 2009-09-30 | ug/L | 0.62189 | Ultra | CE-2869 | Ultra CE-2869: 20 µl | 0.0804 | 2,2-DICHLOROPROPANE | E | 0.06 | 0.05 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62189 | Ultra CE-2869 | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.83955 | 0.17479 | 0.80846 | 0.18657 | 0.1383