## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
2-BUTANONE | 2021 | 81595GCM66 | 2013-11-15 | 2010-10-01 | 2050-09-30 | ug/L | 1.0926 | Abs, Crescent | 051413, 04CC151 | Abs 051413: 10 µl & Crescent 04CC151: 10 µl | 3.002 | 2-BUTANONE | . | 1.6 | 3.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0926 | Ab051413, Cr04CC151 | Ab | Cr | Cr | 051413 | 04CC151 | 04CC151 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.99684 | 0.13544 | 0.99684 | 0.19154 | 0.14199
2-BUTANONE | 2021 | 81595GCM66 | 2013-12-31 | 2010-10-01 | 2050-09-30 | ug/L | 0.90107 | Abs, Crescent | 051413, 04CC151 | Abs 051413: 20 µl & Crescent 04CC151: 20 µl | 6.004 | 2-BUTANONE | . | 1.6 | 5.41 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90107 | Ab051413, Cr04CC151 | Ab | Cr | Cr | 051413 | 04CC151 | 04CC151 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.99684 | 0.13544 | 0.99684 | 0.19154 | 0.14199
2-BUTANONE | 2021 | 81595GCM66 | 2013-09-27 | 2010-10-01 | 2050-09-30 | ug/L | 1.0393 | Abs, NSI | 051413, 053013 | Abs 051413: 10 µl & NSI 053013: 10 µl | 3.002 | 2-BUTANONE | . | 1.6 | 3.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0393 | Ab051413, NS053013 | Ab | NS | NS | 051413 | 053013 | 053013 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.0393 |  | 1.0393 | 0 | 0
2-BUTANONE | 2021 | 81595GCM66 | 2012-06-12 | 2010-10-01 | 2050-09-30 | ug/L | 0.78336 | Abs | 051712 | Abs 051712: 20 µl | 8.004 | 2-BUTANONE | . | 1.6 | 6.27 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78336 | Abs 051712 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.88643 | 0.14577 | 0.88643 | 0.20615 | 0.15281
2-BUTANONE | 2021 | 81595GCM66 | 2012-11-21 | 2010-10-01 | 2050-09-30 | ug/L | 0.98951 | Abs | 051712 | Abs 051712: 10 µl | 4.002 | 2-BUTANONE | . | 1.6 | 3.96 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98951 | Abs 051712 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.88643 | 0.14577 | 0.88643 | 0.20615 | 0.15281
2-BUTANONE | 2021 | 81595GCM66 | 2009-11-14 | 2009-10-01 | 2010-09-30 | ug/L | 1.0158 | Abs | 090809 | Abs 090809: 10 µl | 2.402 | 2-BUTANONE | . | 1.6 | 2.44 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0158 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0614 | 0.12658 | 1.0255 | 0.16306 | 0.12087
2-BUTANONE | 2021 | 81595GCM66 | 2010-01-26 | 2009-10-01 | 2010-09-30 | ug/L | 1.0921 | Abs | 090809 | Abs 090809: 30 µl | 7.206 | 2-BUTANONE | . | 1.6 | 7.87 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0921 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0614 | 0.12658 | 1.0255 | 0.16306 | 0.12087
2-BUTANONE | 2021 | 81595GCM66 | 2010-02-19 | 2009-10-01 | 2010-09-30 | ug/L | 1.2989 | Abs | 090809 | Abs 090809: 10 µl | 2.402 | 2-BUTANONE | . | 1.6 | 3.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2989 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0614 | 0.12658 | 1.0255 | 0.16306 | 0.12087
2-BUTANONE | 2021 | 81595GCM66 | 2010-04-02 | 2009-10-01 | 2010-09-30 | ug/L | 1.1837 | Abs | 090809 | Abs 090809: 30 µl | 7.206 | 2-BUTANONE | . | 1.6 | 8.53 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1837 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0614 | 0.12658 | 1.0255 | 0.16306 | 0.12087
2-BUTANONE | 2021 | 81595GCM66 | 2010-05-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.9159 | Abs | 090809 | Abs 090809: 10 µl | 2.402 | 2-BUTANONE | . | 1.6 | 2.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9159 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0614 | 0.12658 | 1.0255 | 0.16306 | 0.12087
2-BUTANONE | 2021 | 81595GCM66 | 2010-06-24 | 2009-10-01 | 2010-09-30 | ug/L | 0.99639 | Abs | 090809 | Abs 090809: 30 µl | 7.206 | 2-BUTANONE | . | 1.6 | 7.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99639 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0614 | 0.12658 | 1.0255 | 0.16306 | 0.12087
2-BUTANONE | 2021 | 81595GCM66 | 2010-07-27 | 2009-10-01 | 2010-09-30 | ug/L | 0.95337 | Abs | 090809 | Abs 090809: 10 µl | 2.402 | 2-BUTANONE | . | 1.6 | 2.29 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95337 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0614 | 0.12658 | 1.0255 | 0.16306 | 0.12087
2-BUTANONE | 2021 | 81595GCM66 | 2010-09-08 | 2009-10-01 | 2010-09-30 | ug/L | 1.0352 | Abs | 090809 | Abs 090809: 30 µl | 7.206 | 2-BUTANONE | . | 1.6 | 7.46 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0352 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0614 | 0.12658 | 1.0255 | 0.16306 | 0.12087
2-BUTANONE | 2021 | 81595GCM66 | 2013-01-19 | 2010-10-01 | 2050-09-30 | ug/L | 1.0182 | Accu, Abs | 212051193, 051712 | Accu 212051193: 40 µl & Abs 051712: 40 µl | 16.008 | 2-BUTANONE | . | 1.6 | 16.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0182 | Ac2121193, Ab051712 | Ac | Ab | Ab | 2121193 | 051712 | 051712 | 2121193 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.0182 |  | 1.0182 | 0 | 0
2-BUTANONE | 2021 | 81595GCM66 | 2013-06-08 | 2010-10-01 | 2050-09-30 | ug/L | 1.0393 | Accu, Abs | 213041120, 051413 | Accu 213041120: 10 µl & Abs 051413: 10 µl | 3.002 | 2-BUTANONE | . | 1.6 | 3.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0393 | Ac2131120, Ab051413 | Ac | Ab | Ab | 2131120 | 051413 | 051413 | 2131120 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.0393 |  | 1.0393 | 0 | 0
2-BUTANONE | 2021 | 81595GCM66 | 2013-11-01 | 2010-10-01 | 2050-09-30 | ug/L | 1.0719 | Accu, ChemService | 213041120, 1530700 | Accu 213041120: 20 µl & ChemService 1530700: 20 µl | 6.008 | 2-BUTANONE | . | 1.6 | 6.44 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0719 | Ac2131120, Ch1530700 | Ac | Ch | Ch | 2131120 | 1530700 | 1530700 | 2131120 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0386 | 0.047078 | 1.0386 | 0.066578 | 0.049354
2-BUTANONE | 2021 | 81595GCM66 | 2013-12-31 | 2010-10-01 | 2050-09-30 | ug/L | 1.0053 | Accu, ChemService | 213041120, 1530700 | Accu 213041120: 10 µl & ChemService 1530700: 10 µl | 3.004 | 2-BUTANONE | . | 1.6 | 3.02 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0053 | Ac2131120, Ch1530700 | Ac | Ch | Ch | 2131120 | 1530700 | 1530700 | 2131120 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0386 | 0.047078 | 1.0386 | 0.066578 | 0.049354
2-BUTANONE | 2021 | 81595GCM66 | 2013-06-29 | 2010-10-01 | 2050-09-30 | ug/L | 0.95539 | ChemService, Crescent | 1530700, 04CC151 | ChemService 1530700: 10 µl & Crescent 04CC151: 10 µl | 3.004 | 2-BUTANONE | . | 1.6 | 2.87 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95539 | Ch1530700, Cr04CC151 | Ch | Cr | Cr | 1530700 | 04CC151 | 04CC151 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.95539 |  | 0.95539 | 0 | 0
2-BUTANONE | 2021 | 81595GCM66 | 2013-08-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.98369 | ChemService, NSI | 1530700, 053013 | ChemService 1530700: 20 µl & NSI 053013: 20 µl | 6.008 | 2-BUTANONE | . | 1.6 | 5.91 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98369 | Ch1530700, NS053013 | Ch | NS | NS | 1530700 | 053013 | 053013 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.98369 |  | 0.98369 | 0 | 0
2-BUTANONE | 2021 | 81595GCM66 | 2012-10-23 | 2010-10-01 | 2050-09-30 | ug/L | 1.2369 | Crescent, Abs | 05BB048, 051712 | Crescent 05BB048: 40 µl & Abs 051712: 40 µl | 16.008 | 2-BUTANONE | . | 1.6 | 19.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2369 | Cr05BB048, Ab051712 | Cr | Ab | Ab | 05BB048 | 051712 | 051712 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.2369 |  | 1.2369 | 0 | 0
2-BUTANONE | 2021 | 81595GCM66 | 2012-10-11 | 2010-10-01 | 2050-09-30 | ug/L | 1.2096 | Crescent, ChemService | 05BB048, 472200 | Crescent 05BB048: 10 µl & ChemService 472200: 10 µl | 3.96 | 2-BUTANONE | . | 1.6 | 4.79 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2096 | Cr05BB048, Ch472200 | Cr | Ch | Ch | 05BB048 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.2866 | 0.10892 | 1.2866 | 0.15404 | 0.11419
2-BUTANONE | 2021 | 81595GCM66 | 2013-02-14 | 2010-10-01 | 2050-09-30 | ug/L | 1.3636 | Crescent, ChemService | 05BB048, 472200 | Crescent 05BB048: 40 µl & ChemService 472200: 40 µl | 15.84 | 2-BUTANONE | . | 1.6 | 21.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3636 | Cr05BB048, Ch472200 | Cr | Ch | Ch | 05BB048 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.2866 | 0.10892 | 1.2866 | 0.15404 | 0.11419
2-BUTANONE | 2021 | 81595GCM66 | 2010-10-23 | 2010-10-01 | 2050-09-30 | ug/L | 1.3167 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 3 | 2-BUTANONE | . | 1.6 | 3.95 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3167 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.1108 | 0.089537 | 1.1 | 0.115 | 0.085248
2-BUTANONE | 2021 | 81595GCM66 | 2010-12-03 | 2010-10-01 | 2050-09-30 | ug/L | 1.1133 | Crescent | 06MM148 | Crescent 06MM148: 40 µl | 6 | 2-BUTANONE | . | 1.6 | 6.68 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1133 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.1108 | 0.089537 | 1.1 | 0.115 | 0.085248
2-BUTANONE | 2021 | 81595GCM66 | 2011-02-14 | 2010-10-01 | 2050-09-30 | ug/L | 1.08 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 3 | 2-BUTANONE | . | 1.6 | 3.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.08 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.1108 | 0.089537 | 1.1 | 0.115 | 0.085248
2-BUTANONE | 2021 | 81595GCM66 | 2011-03-26 | 2010-10-01 | 2050-09-30 | ug/L | 1.0367 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 3 | 2-BUTANONE | . | 1.6 | 3.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0367 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.1108 | 0.089537 | 1.1 | 0.115 | 0.085248
2-BUTANONE | 2021 | 81595GCM66 | 2011-05-10 | 2010-10-01 | 2050-09-30 | ug/L | 1.0417 | Crescent | 06MM148 | Crescent 06MM148: 40 µl | 6 | 2-BUTANONE | . | 1.6 | 6.25 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0417 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.1108 | 0.089537 | 1.1 | 0.115 | 0.085248
2-BUTANONE | 2021 | 81595GCM66 | 2011-06-18 | 2010-10-01 | 2050-09-30 | ug/L | 1.1567 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 3 | 2-BUTANONE | . | 1.6 | 3.47 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1567 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.1108 | 0.089537 | 1.1 | 0.115 | 0.085248
2-BUTANONE | 2021 | 81595GCM66 | 2011-08-10 | 2010-10-01 | 2050-09-30 | ug/L | 1.1383 | Crescent | 06MM148 | Crescent 06MM148: 40 µl | 6 | 2-BUTANONE | . | 1.6 | 6.83 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1383 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.1108 | 0.089537 | 1.1 | 0.115 | 0.085248
2-BUTANONE | 2021 | 81595GCM66 | 2011-10-24 | 2010-10-01 | 2050-09-30 | ug/L | 1.17 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 3 | 2-BUTANONE | . | 1.6 | 3.51 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.17 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.1108 | 0.089537 | 1.1 | 0.115 | 0.085248
2-BUTANONE | 2021 | 81595GCM66 | 2011-12-17 | 2010-10-01 | 2050-09-30 | ug/L | 1.095 | Crescent | 06MM148 | Crescent 06MM148: 40 µl | 6 | 2-BUTANONE | . | 1.6 | 6.57 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.095 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.1108 | 0.089537 | 1.1 | 0.115 | 0.085248
2-BUTANONE | 2021 | 81595GCM66 | 2012-02-24 | 2010-10-01 | 2050-09-30 | ug/L | 1.1 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 3 | 2-BUTANONE | . | 1.6 | 3.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.1108 | 0.089537 | 1.1 | 0.115 | 0.085248
2-BUTANONE | 2021 | 81595GCM66 | 2012-03-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.97 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 3 | 2-BUTANONE | . | 1.6 | 2.91 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 1.1108 | 0.089537 | 1.1 | 0.115 | 0.085248
2-BUTANONE | 2021 | 81595GCM66 | 2009-02-06 | 2008-12-01 | 2009-09-30 | ug/L | 1.1111 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 40 µl | 5.76 | 2-BUTANONE | . | 1.6 | 6.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1111 | ERA 0804-08-02VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.1458 | 0.16434 | 1.1458 | 0.13889 | 0.10296
2-BUTANONE | 2021 | 81595GCM66 | 2009-03-14 | 2008-12-01 | 2009-09-30 | ug/L | 1.3542 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 20 µl | 2.88 | 2-BUTANONE | . | 1.6 | 3.9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3542 | ERA 0804-08-02VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.1458 | 0.16434 | 1.1458 | 0.13889 | 0.10296
2-BUTANONE | 2021 | 81595GCM66 | 2009-04-25 | 2008-12-01 | 2009-09-30 | ug/L | 1.1111 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 20 µl | 2.88 | 2-BUTANONE | . | 1.6 | 3.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1111 | ERA 0804-08-02VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.1458 | 0.16434 | 1.1458 | 0.13889 | 0.10296
2-BUTANONE | 2021 | 81595GCM66 | 2009-06-17 | 2008-12-01 | 2009-09-30 | ug/L | 0.86806 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 20 µl | 2.88 | 2-BUTANONE | . | 1.6 | 2.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86806 | ERA 0804-08-02VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.1458 | 0.16434 | 1.1458 | 0.13889 | 0.10296
2-BUTANONE | 2021 | 81595GCM66 | 2009-07-25 | 2008-12-01 | 2009-09-30 | ug/L | 1.1806 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 40 µl | 5.76 | 2-BUTANONE | . | 1.6 | 6.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1806 | ERA 0804-08-02VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.1458 | 0.16434 | 1.1458 | 0.13889 | 0.10296
2-BUTANONE | 2021 | 81595GCM66 | 2009-09-05 | 2008-12-01 | 2009-09-30 | ug/L | 1.25 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 20 µl | 2.88 | 2-BUTANONE | . | 1.6 | 3.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.25 | ERA 0804-08-02VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.1458 | 0.16434 | 1.1458 | 0.13889 | 0.10296
2-BUTANONE | 2021 | 81595GCM66 | 2012-08-28 | 2010-10-01 | 2050-09-30 | ug/L | 0.95455 | NSI, ChemService | 062112-01VOA, 472200 | NSI 062112-01VOA: 20 µl & ChemService 472200: 20 µl | 7.92 | 2-BUTANONE | . | 1.6 | 7.56 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95455 | NS0621VOA, Ch472200 | NS | Ch | Ch | 0621VOA | 472200 | 472200 | 0621VOA |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.96591 | 0.016071 | 0.96591 | 0.022727 | 0.016847
2-BUTANONE | 2021 | 81595GCM66 | 2012-12-09 | 2010-10-01 | 2050-09-30 | ug/L | 0.97727 | NSI, ChemService | 062112-01VOA, 472200 | NSI 062112-01VOA: 10 µl & ChemService 472200: 10 µl | 3.96 | 2-BUTANONE | . | 1.6 | 3.87 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97727 | NS0621VOA, Ch472200 | NS | Ch | Ch | 0621VOA | 472200 | 472200 | 0621VOA |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.96591 | 0.016071 | 0.96591 | 0.022727 | 0.016847
2-BUTANONE | 2021 | 81595GCM66 | 2009-10-24 | 2009-10-01 | 2010-09-30 | ug/L | 1.0658 | NSI | 090909-01VOC | NSI 090909-01VOC: 10 µl | 2.402 | 2-BUTANONE | . | 1.6 | 2.56 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0658 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0751 | 0.11488 | 1.0998 | 0.18179 | 0.13476
2-BUTANONE | 2021 | 81595GCM66 | 2009-12-11 | 2009-10-01 | 2010-09-30 | ug/L | 1.1338 | NSI | 090909-01VOC | NSI 090909-01VOC: 30 µl | 7.206 | 2-BUTANONE | . | 1.6 | 8.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1338 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0751 | 0.11488 | 1.0998 | 0.18179 | 0.13476
2-BUTANONE | 2021 | 81595GCM66 | 2010-02-03 | 2009-10-01 | 2010-09-30 | ug/L | 1.1948 | NSI | 090909-01VOC | NSI 090909-01VOC: 10 µl | 2.402 | 2-BUTANONE | . | 1.6 | 2.87 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1948 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0751 | 0.11488 | 1.0998 | 0.18179 | 0.13476
2-BUTANONE | 2021 | 81595GCM66 | 2010-03-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.87427 | NSI | 090909-01VOC | NSI 090909-01VOC: 30 µl | 7.206 | 2-BUTANONE | . | 1.6 | 6.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87427 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0751 | 0.11488 | 1.0998 | 0.18179 | 0.13476
2-BUTANONE | 2021 | 81595GCM66 | 2010-04-21 | 2009-10-01 | 2010-09-30 | ug/L | 1.1532 | NSI | 090909-01VOC | NSI 090909-01VOC: 10 µl | 2.402 | 2-BUTANONE | . | 1.6 | 2.77 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1532 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0751 | 0.11488 | 1.0998 | 0.18179 | 0.13476
2-BUTANONE | 2021 | 81595GCM66 | 2010-05-29 | 2009-10-01 | 2010-09-30 | ug/L | 0.98945 | NSI | 090909-01VOC | NSI 090909-01VOC: 30 µl | 7.206 | 2-BUTANONE | . | 1.6 | 7.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98945 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0751 | 0.11488 | 1.0998 | 0.18179 | 0.13476
2-BUTANONE | 2021 | 81595GCM66 | 2010-07-09 | 2009-10-01 | 2010-09-30 | ug/L | 1.1948 | NSI | 090909-01VOC | NSI 090909-01VOC: 10 µl | 2.402 | 2-BUTANONE | . | 1.6 | 2.87 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1948 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0751 | 0.11488 | 1.0998 | 0.18179 | 0.13476
2-BUTANONE | 2021 | 81595GCM66 | 2010-08-14 | 2009-10-01 | 2010-09-30 | ug/L | 0.995 | NSI | 090909-01VOC | NSI 090909-01VOC: 30 µl | 7.206 | 2-BUTANONE | . | 1.6 | 7.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.995 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 1.0751 | 0.11488 | 1.0998 | 0.18179 | 0.13476
2-BUTANONE | 2021 | 81595GCM66 | 2010-11-16 | 2010-10-01 | 2050-09-30 | ug/L | 1.0483 | Restek | A075493 | Restek A075493: 40 µl | 6 | 2-BUTANONE | . | 1.6 | 6.29 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0483 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.97076 | 0.060975 | 0.98167 | 0.11 | 0.081542
2-BUTANONE | 2021 | 81595GCM66 | 2011-01-22 | 2010-10-01 | 2050-09-30 | ug/L | 1.0367 | Restek | A075493 | Restek A075493: 20 µl | 3 | 2-BUTANONE | . | 1.6 | 3.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0367 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.97076 | 0.060975 | 0.98167 | 0.11 | 0.081542
2-BUTANONE | 2021 | 81595GCM66 | 2011-03-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.95 | Restek | A075493 | Restek A075493: 40 µl | 6 | 2-BUTANONE | . | 1.6 | 5.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.97076 | 0.060975 | 0.98167 | 0.11 | 0.081542
2-BUTANONE | 2021 | 81595GCM66 | 2011-04-21 | 2010-10-01 | 2050-09-30 | ug/L | 0.94667 | Restek | A075493 | Restek A075493: 20 µl | 3 | 2-BUTANONE | . | 1.6 | 2.84 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94667 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.97076 | 0.060975 | 0.98167 | 0.11 | 0.081542
2-BUTANONE | 2021 | 81595GCM66 | 2011-05-28 | 2010-10-01 | 2050-09-30 | ug/L | 0.92 | Restek | A075493 | Restek A075493: 40 µl | 6 | 2-BUTANONE | . | 1.6 | 5.52 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.97076 | 0.060975 | 0.98167 | 0.11 | 0.081542
2-BUTANONE | 2021 | 81595GCM66 | 2011-07-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.99 | Restek | A075493 | Restek A075493: 20 µl | 3 | 2-BUTANONE | . | 1.6 | 2.97 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.97076 | 0.060975 | 0.98167 | 0.11 | 0.081542
2-BUTANONE | 2021 | 81595GCM66 | 2011-09-03 | 2010-10-01 | 2050-09-30 | ug/L | 1.03 | Restek | A075493 | Restek A075493: 20 µl | 3 | 2-BUTANONE | . | 1.6 | 3.09 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.03 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.97076 | 0.060975 | 0.98167 | 0.11 | 0.081542
2-BUTANONE | 2021 | 81595GCM66 | 2011-11-18 | 2010-10-01 | 2050-09-30 | ug/L | 1.015 | Restek | A075493 | Restek A075493: 40 µl | 6 | 2-BUTANONE | . | 1.6 | 6.09 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.015 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.97076 | 0.060975 | 0.98167 | 0.11 | 0.081542
2-BUTANONE | 2021 | 81595GCM66 | 2012-01-26 | 2010-10-01 | 2050-09-30 | ug/L | 0.86 | Restek | A075493 | Restek A075493: 20 µl | 3 | 2-BUTANONE | . | 1.6 | 2.58 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.97076 | 0.060975 | 0.98167 | 0.11 | 0.081542
2-BUTANONE | 2021 | 81595GCM66 | 2012-02-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.98167 | Restek | A075493 | Restek A075493: 40 µl | 6 | 2-BUTANONE | . | 1.6 | 5.89 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98167 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.97076 | 0.060975 | 0.98167 | 0.11 | 0.081542
2-BUTANONE | 2021 | 81595GCM66 | 2012-04-06 | 2010-10-01 | 2050-09-30 | ug/L | 0.9 | Restek | A075493 | Restek A075493: 20 µl | 3 | 2-BUTANONE | . | 1.6 | 2.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.97076 | 0.060975 | 0.98167 | 0.11 | 0.081542
2-BUTANONE | 2021 | 81595GCM66 | 2012-07-30 | 2010-10-01 | 2050-09-30 | ug/L | 0.97576 | Supelco, Abs | LB92787, 051712 | Supelco LB92787: 20 µl & Abs 051712: 20 µl | 8.004 | 2-BUTANONE | . | 1.6 | 7.81 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97576 | SuLB92787, Ab051712 | Su | Ab | Ab | LB92787 | 051712 | 051712 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.97576 |  | 0.97576 | 0 | 0
2-BUTANONE | 2021 | 81595GCM66 | 2013-03-29 | 2010-10-01 | 2050-09-30 | ug/L | 1.1717 | Supelco, ChemService | LB92787, 472200 | Supelco LB92787: 10 µl & ChemService 472200: 10 µl | 3.96 | 2-BUTANONE | . | 1.6 | 4.64 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1717 | SuLB92787, Ch472200 | Su | Ch | Ch | LB92787 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0215 | 0.21249 | 1.0215 | 0.30051 | 0.22276
2-BUTANONE | 2021 | 81595GCM66 | 2013-05-03 | 2010-10-01 | 2050-09-30 | ug/L | 0.87121 | Supelco, ChemService | LB92787, 472200 | Supelco LB92787: 10 µl & ChemService 472200: 10 µl | 3.96 | 2-BUTANONE | . | 1.6 | 3.45 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87121 | SuLB92787, Ch472200 | Su | Ch | Ch | LB92787 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0215 | 0.21249 | 1.0215 | 0.30051 | 0.22276
2-BUTANONE | 2021 | 81595GCM66 | 2013-08-06 | 2010-10-01 | 2050-09-30 | ug/L | 0.87941 | Supelco, Abs | LC00154, 051413 | Supelco LC00154: 20 µl & Abs 051413: 20 µl | 6.004 | 2-BUTANONE | . | 1.6 | 5.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87941 | SuLC00154, Ab051413 | Su | Ab | Ab | LC00154 | 051413 | 051413 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.96769 | 0.12484 | 0.96769 | 0.17655 | 0.13087
2-BUTANONE | 2021 | 81595GCM66 | 2013-12-12 | 2010-10-01 | 2050-09-30 | ug/L | 1.056 | Supelco, Abs | LC00154, 051413 | Supelco LC00154: 10 µl & Abs 051413: 10 µl | 3.002 | 2-BUTANONE | . | 1.6 | 3.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.056 | SuLC00154, Ab051413 | Su | Ab | Ab | LC00154 | 051413 | 051413 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.96769 | 0.12484 | 0.96769 | 0.17655 | 0.13087
2-BUTANONE | 2021 | 81595GCM66 | 2013-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 1.027 | Supelco, ChemService | LC00154, 1530700 | Supelco LC00154: 20 µl & ChemService 1530700: 20 µl | 6.008 | 2-BUTANONE | . | 1.6 | 6.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.027 | SuLC00154, Ch1530700 | Su | Ch | Ch | LC00154 | 1530700 | 1530700 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.027 |  | 1.027 | 0 | 0
2-BUTANONE | 2021 | 81595GCM66 | 2009-02-27 | 2008-12-01 | 2009-09-30 | ug/L | 1.2166 | Supelco | LB60727 | Supelco LB60727: 20 µl | 2.8768 | 2-BUTANONE | . | 1.6 | 3.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2166 | Supelco LB60727 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.121 | 0.13452 | 1.1471 | 0.22595 | 0.16749
2-BUTANONE | 2021 | 81595GCM66 | 2009-04-08 | 2008-12-01 | 2009-09-30 | ug/L | 0.99068 | Supelco | LB60727 | Supelco LB60727: 40 µl | 5.7536 | 2-BUTANONE | . | 1.6 | 5.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99068 | Supelco LB60727 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.121 | 0.13452 | 1.1471 | 0.22595 | 0.16749
2-BUTANONE | 2021 | 81595GCM66 | 2009-05-16 | 2008-12-01 | 2009-09-30 | ug/L | 0.93854 | Supelco | LB60727 | Supelco LB60727: 20 µl | 2.8768 | 2-BUTANONE | . | 1.6 | 2.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93854 | Supelco LB60727 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.121 | 0.13452 | 1.1471 | 0.22595 | 0.16749
2-BUTANONE | 2021 | 81595GCM66 | 2009-07-08 | 2008-12-01 | 2009-09-30 | ug/L | 1.1819 | Supelco | LB60727 | Supelco LB60727: 40 µl | 5.7536 | 2-BUTANONE | . | 1.6 | 6.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1819 | Supelco LB60727 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.121 | 0.13452 | 1.1471 | 0.22595 | 0.16749
2-BUTANONE | 2021 | 81595GCM66 | 2009-08-19 | 2008-12-01 | 2009-09-30 | ug/L | 1.1123 | Supelco | LB60727 | Supelco LB60727: 20 µl | 2.8768 | 2-BUTANONE | . | 1.6 | 3.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1123 | Supelco LB60727 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.121 | 0.13452 | 1.1471 | 0.22595 | 0.16749
2-BUTANONE | 2021 | 81595GCM66 | 2009-09-26 | 2008-12-01 | 2009-09-30 | ug/L | 1.2862 | Supelco | LB60727 | Supelco LB60727: 20 µl | 2.8768 | 2-BUTANONE | . | 1.6 | 3.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2862 | Supelco LB60727 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.121 | 0.13452 | 1.1471 | 0.22595 | 0.16749
2-BUTANONE | 2021 | 81595GCM66 | 2009-01-17 | 2008-12-01 | 2009-09-30 | ug/L | 0.91912 | Ultra | CE-0471 | Ultra CE-0471: 20 µl | 2.72 | 2-BUTANONE | . | 1.6 | 2.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91912 | Ultra CE-0471 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.91912 |  | 0.91912 | 0 | 0