## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
2-HEXANONE | 2021 | 77103GCM66 | 2013-11-15 | 2012-10-01 | 2050-09-30 | ug/L | 1.1067 | Abs, Crescent | 051413, 04CC151 | Abs 051413: 10 µl & Crescent 04CC151: 10 µl | 0.75 | 2-HEXANONE | . | 0.6 | 0.83 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1067 | Ab051413, Cr04CC151 | Ab | Cr | Cr | 051413 | 04CC151 | 04CC151 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0233 | 0.11785 | 1.0233 | 0.16667 | 0.12355
2-HEXANONE | 2021 | 77103GCM66 | 2013-12-31 | 2012-10-01 | 2050-09-30 | ug/L | 0.94 | Abs, Crescent | 051413, 04CC151 | Abs 051413: 20 µl & Crescent 04CC151: 20 µl | 1.5 | 2-HEXANONE | . | 0.6 | 1.41 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94 | Ab051413, Cr04CC151 | Ab | Cr | Cr | 051413 | 04CC151 | 04CC151 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0233 | 0.11785 | 1.0233 | 0.16667 | 0.12355
2-HEXANONE | 2021 | 77103GCM66 | 2013-09-27 | 2012-10-01 | 2050-09-30 | ug/L | 1.0133 | Abs, NSI | 051413, 053013 | Abs 051413: 10 µl & NSI 053013: 10 µl | 0.75 | 2-HEXANONE | . | 0.6 | 0.76 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0133 | Ab051413, NS053013 | Ab | NS | NS | 051413 | 053013 | 053013 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.0133 |  | 1.0133 | 0 | 0
2-HEXANONE | 2021 | 77103GCM66 | 2012-06-12 | 2010-10-01 | 2012-09-30 | ug/L | 0.87081 | Abs | 051712 | Abs 051712: 20 µl | 8.004 | 2-HEXANONE | . | 0.4 | 6.97 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87081 | Abs 051712 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.9464 | 0.1069 | 0.9464 | 0.15117 | 0.11206
2-HEXANONE | 2021 | 77103GCM66 | 2012-11-21 | 2012-10-01 | 2050-09-30 | ug/L | 1.022 | Abs | 051712 | Abs 051712: 10 µl | 4.002 | 2-HEXANONE | . | 0.6 | 4.09 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.022 | Abs 051712 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.9464 | 0.1069 | 0.9464 | 0.15117 | 0.11206
2-HEXANONE | 2021 | 77103GCM66 | 2009-11-14 | 2009-10-01 | 2010-09-30 | ug/L | 0.77073 | Abs | 090809 | Abs 090809: 10 µl | 0.82 | 2-HEXANONE | E | 0.46 | 0.632 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77073 | Abs 090809 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.98394 | 0.15259 | 0.99187 | 0.25467 | 0.18879
2-HEXANONE | 2021 | 77103GCM66 | 2010-01-26 | 2009-10-01 | 2010-09-30 | ug/L | 1.0528 | Abs | 090809 | Abs 090809: 30 µl | 2.46 | 2-HEXANONE | . | 0.46 | 2.59 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0528 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.98394 | 0.15259 | 0.99187 | 0.25467 | 0.18879
2-HEXANONE | 2021 | 77103GCM66 | 2010-02-19 | 2009-10-01 | 2010-09-30 | ug/L | 1.1402 | Abs | 090809 | Abs 090809: 10 µl | 0.82 | 2-HEXANONE | . | 0.46 | 0.935 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1402 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.98394 | 0.15259 | 0.99187 | 0.25467 | 0.18879
2-HEXANONE | 2021 | 77103GCM66 | 2010-04-02 | 2009-10-01 | 2010-09-30 | ug/L | 1.0772 | Abs | 090809 | Abs 090809: 30 µl | 2.46 | 2-HEXANONE | . | 0.46 | 2.65 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0772 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.98394 | 0.15259 | 0.99187 | 0.25467 | 0.18879
2-HEXANONE | 2021 | 77103GCM66 | 2010-05-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.85854 | Abs | 090809 | Abs 090809: 10 µl | 0.82 | 2-HEXANONE | . | 0.46 | 0.704 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85854 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.98394 | 0.15259 | 0.99187 | 0.25467 | 0.18879
2-HEXANONE | 2021 | 77103GCM66 | 2010-06-24 | 2009-10-01 | 2010-09-30 | ug/L | 0.84959 | Abs | 090809 | Abs 090809: 30 µl | 2.46 | 2-HEXANONE | . | 0.46 | 2.09 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84959 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.98394 | 0.15259 | 0.99187 | 0.25467 | 0.18879
2-HEXANONE | 2021 | 77103GCM66 | 2010-07-27 | 2009-10-01 | 2010-09-30 | ug/L | 1.1915 | Abs | 090809 | Abs 090809: 10 µl | 0.82 | 2-HEXANONE | . | 0.46 | 0.977 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1915 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.98394 | 0.15259 | 0.99187 | 0.25467 | 0.18879
2-HEXANONE | 2021 | 77103GCM66 | 2010-09-08 | 2009-10-01 | 2010-09-30 | ug/L | 0.93089 | Abs | 090809 | Abs 090809: 30 µl | 2.46 | 2-HEXANONE | . | 0.46 | 2.29 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93089 | Abs 090809 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.98394 | 0.15259 | 0.99187 | 0.25467 | 0.18879
2-HEXANONE | 2021 | 77103GCM66 | 2013-01-19 | 2012-10-01 | 2050-09-30 | ug/L | 1.1057 | Accu, Abs | 212051193, 051712 | Accu 212051193: 40 µl & Abs 051712: 40 µl | 16.008 | 2-HEXANONE | . | 0.6 | 17.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1057 | Ac2121193, Ab051712 | Ac | Ab | Ab | 2121193 | 051712 | 051712 | 2121193 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.1057 |  | 1.1057 | 0 | 0
2-HEXANONE | 2021 | 77103GCM66 | 2013-06-08 | 2012-10-01 | 2050-09-30 | ug/L | 1.0267 | Accu, Abs | 213041120, 051413 | Accu 213041120: 10 µl & Abs 051413: 10 µl | 0.75 | 2-HEXANONE | . | 0.6 | 0.77 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0267 | Ac2131120, Ab051413 | Ac | Ab | Ab | 2131120 | 051413 | 051413 | 2131120 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.0267 |  | 1.0267 | 0 | 0
2-HEXANONE | 2021 | 77103GCM66 | 2013-11-01 | 2012-10-01 | 2050-09-30 | ug/L | 0.92593 | Accu, ChemService | 213041120, 1530700 | Accu 213041120: 20 µl & ChemService 1530700: 20 µl | 1.512 | 2-HEXANONE | . | 0.6 | 1.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92593 | Ac2131120, Ch1530700 | Ac | Ch | Ch | 2131120 | 1530700 | 1530700 | 2131120 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.87302 | 0.074826 | 0.87302 | 0.10582 | 0.078443
2-HEXANONE | 2021 | 77103GCM66 | 2013-12-31 | 2012-10-01 | 2050-09-30 | ug/L | 0.82011 | Accu, ChemService | 213041120, 1530700 | Accu 213041120: 10 µl & ChemService 1530700: 10 µl | 0.756 | 2-HEXANONE | . | 0.6 | 0.62 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82011 | Ac2131120, Ch1530700 | Ac | Ch | Ch | 2131120 | 1530700 | 1530700 | 2131120 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.87302 | 0.074826 | 0.87302 | 0.10582 | 0.078443
2-HEXANONE | 2021 | 77103GCM66 | 2013-06-29 | 2012-10-01 | 2050-09-30 | ug/L | 0.97884 | ChemService, Crescent | 1530700, 04CC151 | ChemService 1530700: 10 µl & Crescent 04CC151: 10 µl | 0.756 | 2-HEXANONE | . | 0.6 | 0.74 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97884 | Ch1530700, Cr04CC151 | Ch | Cr | Cr | 1530700 | 04CC151 | 04CC151 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.97884 |  | 0.97884 | 0 | 0
2-HEXANONE | 2021 | 77103GCM66 | 2013-08-22 | 2012-10-01 | 2050-09-30 | ug/L | 0.96561 | ChemService, NSI | 1530700, 053013 | ChemService 1530700: 20 µl & NSI 053013: 20 µl | 1.512 | 2-HEXANONE | . | 0.6 | 1.46 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96561 | Ch1530700, NS053013 | Ch | NS | NS | 1530700 | 053013 | 053013 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.96561 |  | 0.96561 | 0 | 0
2-HEXANONE | 2021 | 77103GCM66 | 2012-10-23 | 2012-10-01 | 2050-09-30 | ug/L | 1.1494 | Crescent, Abs | 05BB048, 051712 | Crescent 05BB048: 40 µl & Abs 051712: 40 µl | 16.008 | 2-HEXANONE | . | 0.6 | 18.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1494 | Cr05BB048, Ab051712 | Cr | Ab | Ab | 05BB048 | 051712 | 051712 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.1494 |  | 1.1494 | 0 | 0
2-HEXANONE | 2021 | 77103GCM66 | 2012-10-11 | 2012-10-01 | 2050-09-30 | ug/L | 1.0475 | Crescent, ChemService | 05BB048, 472200 | Crescent 05BB048: 10 µl & ChemService 472200: 10 µl | 4 | 2-HEXANONE | . | 0.6 | 4.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0475 | Cr05BB048, Ch472200 | Cr | Ch | Ch | 05BB048 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.1675 | 0.16971 | 1.1675 | 0.24 | 0.17791
2-HEXANONE | 2021 | 77103GCM66 | 2013-02-14 | 2012-10-01 | 2050-09-30 | ug/L | 1.2875 | Crescent, ChemService | 05BB048, 472200 | Crescent 05BB048: 40 µl & ChemService 472200: 40 µl | 16 | 2-HEXANONE | . | 0.6 | 20.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2875 | Cr05BB048, Ch472200 | Cr | Ch | Ch | 05BB048 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.1675 | 0.16971 | 1.1675 | 0.24 | 0.17791
2-HEXANONE | 2021 | 77103GCM66 | 2010-10-23 | 2010-10-01 | 2012-09-30 | ug/L | 0.96719 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 0.64 | 2-HEXANONE | . | 0.4 | 0.619 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96719 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.99858 | 0.087649 | 0.98281 | 0.13594 | 0.10077
2-HEXANONE | 2021 | 77103GCM66 | 2010-12-03 | 2010-10-01 | 2012-09-30 | ug/L | 0.97656 | Crescent | 06MM148 | Crescent 06MM148: 40 µl | 1.28 | 2-HEXANONE | . | 0.4 | 1.25 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97656 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.99858 | 0.087649 | 0.98281 | 0.13594 | 0.10077
2-HEXANONE | 2021 | 77103GCM66 | 2011-02-14 | 2010-10-01 | 2012-09-30 | ug/L | 1.0875 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 0.64 | 2-HEXANONE | . | 0.4 | 0.696 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0875 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.99858 | 0.087649 | 0.98281 | 0.13594 | 0.10077
2-HEXANONE | 2021 | 77103GCM66 | 2011-03-26 | 2010-10-01 | 2012-09-30 | ug/L | 0.95156 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 0.64 | 2-HEXANONE | . | 0.4 | 0.609 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95156 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.99858 | 0.087649 | 0.98281 | 0.13594 | 0.10077
2-HEXANONE | 2021 | 77103GCM66 | 2011-05-10 | 2010-10-01 | 2012-09-30 | ug/L | 0.91406 | Crescent | 06MM148 | Crescent 06MM148: 40 µl | 1.28 | 2-HEXANONE | . | 0.4 | 1.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91406 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.99858 | 0.087649 | 0.98281 | 0.13594 | 0.10077
2-HEXANONE | 2021 | 77103GCM66 | 2011-06-18 | 2010-10-01 | 2012-09-30 | ug/L | 0.85312 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 0.64 | 2-HEXANONE | . | 0.4 | 0.546 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85313 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.99858 | 0.087649 | 0.98281 | 0.13594 | 0.10077
2-HEXANONE | 2021 | 77103GCM66 | 2011-08-10 | 2010-10-01 | 2012-09-30 | ug/L | 1 | Crescent | 06MM148 | Crescent 06MM148: 40 µl | 1.28 | 2-HEXANONE | . | 0.4 | 1.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.99858 | 0.087649 | 0.98281 | 0.13594 | 0.10077
2-HEXANONE | 2021 | 77103GCM66 | 2011-10-24 | 2010-10-01 | 2012-09-30 | ug/L | 1.1484 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 0.64 | 2-HEXANONE | . | 0.4 | 0.735 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1484 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.99858 | 0.087649 | 0.98281 | 0.13594 | 0.10077
2-HEXANONE | 2021 | 77103GCM66 | 2011-12-17 | 2010-10-01 | 2012-09-30 | ug/L | 1.1172 | Crescent | 06MM148 | Crescent 06MM148: 40 µl | 1.28 | 2-HEXANONE | . | 0.4 | 1.43 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1172 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.99858 | 0.087649 | 0.98281 | 0.13594 | 0.10077
2-HEXANONE | 2021 | 77103GCM66 | 2012-02-24 | 2010-10-01 | 2012-09-30 | ug/L | 0.98281 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 0.64 | 2-HEXANONE | . | 0.4 | 0.629 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98281 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.99858 | 0.087649 | 0.98281 | 0.13594 | 0.10077
2-HEXANONE | 2021 | 77103GCM66 | 2012-03-24 | 2010-10-01 | 2012-09-30 | ug/L | 0.98594 | Crescent | 06MM148 | Crescent 06MM148: 20 µl | 0.64 | 2-HEXANONE | . | 0.4 | 0.631 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98594 | Crescent 06MM148 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.99858 | 0.087649 | 0.98281 | 0.13594 | 0.10077
2-HEXANONE | 2021 | 77103GCM66 | 2009-02-06 | 2007-10-01 | 2009-09-30 | ug/L | 1.1538 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 40 µl | 1.56 | 2-HEXANONE | . | 0.6 | 1.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1538 | ERA 0804-08-02VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0363 | 0.14286 | 1.0577 | 0.12821 | 0.095037
2-HEXANONE | 2021 | 77103GCM66 | 2009-03-14 | 2007-10-01 | 2009-09-30 | ug/L | 1.0256 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 20 µl | 0.78 | 2-HEXANONE | E | 0.6 | 0.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0256 | ERA 0804-08-02VOC | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 1.0363 | 0.14286 | 1.0577 | 0.12821 | 0.095037
2-HEXANONE | 2021 | 77103GCM66 | 2009-04-25 | 2007-10-01 | 2009-09-30 | ug/L | 1.0256 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 20 µl | 0.78 | 2-HEXANONE | E | 0.6 | 0.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0256 | ERA 0804-08-02VOC | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 1.0363 | 0.14286 | 1.0577 | 0.12821 | 0.095037
2-HEXANONE | 2021 | 77103GCM66 | 2009-06-17 | 2007-10-01 | 2009-09-30 | ug/L | 0.76923 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 20 µl | 0.78 | 2-HEXANONE | E | 0.6 | 0.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76923 | ERA 0804-08-02VOC | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 1.0363 | 0.14286 | 1.0577 | 0.12821 | 0.095037
2-HEXANONE | 2021 | 77103GCM66 | 2009-07-25 | 2007-10-01 | 2009-09-30 | ug/L | 1.0897 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 40 µl | 1.56 | 2-HEXANONE | . | 0.6 | 1.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0897 | ERA 0804-08-02VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0363 | 0.14286 | 1.0577 | 0.12821 | 0.095037
2-HEXANONE | 2021 | 77103GCM66 | 2009-09-05 | 2007-10-01 | 2009-09-30 | ug/L | 1.1538 | ERA | 0804-08-02VOC | ERA 0804-08-02VOC: 20 µl | 0.78 | 2-HEXANONE | E | 0.6 | 0.9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1538 | ERA 0804-08-02VOC | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 1.0363 | 0.14286 | 1.0577 | 0.12821 | 0.095037
2-HEXANONE | 2021 | 77103GCM66 | 2012-08-28 | 2010-10-01 | 2012-09-30 | ug/L | 0.9325 | NSI, ChemService | 062112-01VOA, 472200 | NSI 062112-01VOA: 20 µl & ChemService 472200: 20 µl | 8 | 2-HEXANONE | . | 0.4 | 7.46 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9325 | NS0621VOA, Ch472200 | NS | Ch | Ch | 0621VOA | 472200 | 472200 | 0621VOA |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.9375 | 0.0070711 | 0.9375 | 0.01 | 0.0074129
2-HEXANONE | 2021 | 77103GCM66 | 2012-12-09 | 2012-10-01 | 2050-09-30 | ug/L | 0.9425 | NSI, ChemService | 062112-01VOA, 472200 | NSI 062112-01VOA: 10 µl & ChemService 472200: 10 µl | 4 | 2-HEXANONE | . | 0.6 | 3.77 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9425 | NS0621VOA, Ch472200 | NS | Ch | Ch | 0621VOA | 472200 | 472200 | 0621VOA |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.9375 | 0.0070711 | 0.9375 | 0.01 | 0.0074129
2-HEXANONE | 2021 | 77103GCM66 | 2009-10-24 | 2009-10-01 | 2010-09-30 | ug/L | 1.0279 | NSI | 090909-01VOC | NSI 090909-01VOC: 10 µl | 0.824 | 2-HEXANONE | E | 0.46 | 0.847 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0279 | NSI 090909-01VOC | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.96713 | 0.13087 | 1.0237 | 0.12095 | 0.089662
2-HEXANONE | 2021 | 77103GCM66 | 2009-12-11 | 2009-10-01 | 2010-09-30 | ug/L | 1.0113 | NSI | 090909-01VOC | NSI 090909-01VOC: 30 µl | 2.472 | 2-HEXANONE | . | 0.46 | 2.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0113 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.96713 | 0.13087 | 1.0237 | 0.12095 | 0.089662
2-HEXANONE | 2021 | 77103GCM66 | 2010-02-03 | 2009-10-01 | 2010-09-30 | ug/L | 1.0667 | NSI | 090909-01VOC | NSI 090909-01VOC: 10 µl | 0.824 | 2-HEXANONE | . | 0.46 | 0.879 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0667 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.96713 | 0.13087 | 1.0237 | 0.12095 | 0.089662
2-HEXANONE | 2021 | 77103GCM66 | 2010-03-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.69984 | NSI | 090909-01VOC | NSI 090909-01VOC: 30 µl | 2.472 | 2-HEXANONE | . | 0.46 | 1.73 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69984 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.96713 | 0.13087 | 1.0237 | 0.12095 | 0.089662
2-HEXANONE | 2021 | 77103GCM66 | 2010-04-21 | 2009-10-01 | 2010-09-30 | ug/L | 1.0498 | NSI | 090909-01VOC | NSI 090909-01VOC: 10 µl | 0.824 | 2-HEXANONE | . | 0.46 | 0.865 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0498 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.96713 | 0.13087 | 1.0237 | 0.12095 | 0.089662
2-HEXANONE | 2021 | 77103GCM66 | 2010-05-29 | 2009-10-01 | 2010-09-30 | ug/L | 0.82929 | NSI | 090909-01VOC | NSI 090909-01VOC: 30 µl | 2.472 | 2-HEXANONE | . | 0.46 | 2.05 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82929 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.96713 | 0.13087 | 1.0237 | 0.12095 | 0.089662
2-HEXANONE | 2021 | 77103GCM66 | 2010-07-09 | 2009-10-01 | 2010-09-30 | ug/L | 1.0328 | NSI | 090909-01VOC | NSI 090909-01VOC: 10 µl | 0.824 | 2-HEXANONE | . | 0.46 | 0.851 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0328 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.96713 | 0.13087 | 1.0237 | 0.12095 | 0.089662
2-HEXANONE | 2021 | 77103GCM66 | 2010-08-14 | 2009-10-01 | 2010-09-30 | ug/L | 1.0194 | NSI | 090909-01VOC | NSI 090909-01VOC: 30 µl | 2.472 | 2-HEXANONE | . | 0.46 | 2.52 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0194 | NSI 090909-01VOC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.96713 | 0.13087 | 1.0237 | 0.12095 | 0.089662
2-HEXANONE | 2021 | 77103GCM66 | 2010-11-16 | 2010-10-01 | 2012-09-30 | ug/L | 0.96626 | Restek | A075493 | Restek A075493: 40 µl | 1.304 | 2-HEXANONE | . | 0.4 | 1.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96626 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.94479 | 0.077744 | 0.94325 | 0.099693 | 0.073902
2-HEXANONE | 2021 | 77103GCM66 | 2011-01-22 | 2010-10-01 | 2012-09-30 | ug/L | 0.98159 | Restek | A075493 | Restek A075493: 20 µl | 0.652 | 2-HEXANONE | . | 0.4 | 0.64 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9816 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.94479 | 0.077744 | 0.94325 | 0.099693 | 0.073902
2-HEXANONE | 2021 | 77103GCM66 | 2011-03-08 | 2010-10-01 | 2012-09-30 | ug/L | 0.94325 | Restek | A075493 | Restek A075493: 40 µl | 1.304 | 2-HEXANONE | . | 0.4 | 1.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94325 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.94479 | 0.077744 | 0.94325 | 0.099693 | 0.073902
2-HEXANONE | 2021 | 77103GCM66 | 2011-04-21 | 2010-10-01 | 2012-09-30 | ug/L | 0.81442 | Restek | A075493 | Restek A075493: 20 µl | 0.652 | 2-HEXANONE | . | 0.4 | 0.531 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81442 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.94479 | 0.077744 | 0.94325 | 0.099693 | 0.073902
2-HEXANONE | 2021 | 77103GCM66 | 2011-05-28 | 2010-10-01 | 2012-09-30 | ug/L | 0.97393 | Restek | A075493 | Restek A075493: 40 µl | 1.304 | 2-HEXANONE | . | 0.4 | 1.27 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97393 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.94479 | 0.077744 | 0.94325 | 0.099693 | 0.073902
2-HEXANONE | 2021 | 77103GCM66 | 2011-07-20 | 2010-10-01 | 2012-09-30 | ug/L | 0.93252 | Restek | A075493 | Restek A075493: 20 µl | 0.652 | 2-HEXANONE | . | 0.4 | 0.608 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93252 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.94479 | 0.077744 | 0.94325 | 0.099693 | 0.073902
2-HEXANONE | 2021 | 77103GCM66 | 2011-09-03 | 2010-10-01 | 2012-09-30 | ug/L | 1.0322 | Restek | A075493 | Restek A075493: 20 µl | 0.652 | 2-HEXANONE | . | 0.4 | 0.673 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0322 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.94479 | 0.077744 | 0.94325 | 0.099693 | 0.073902
2-HEXANONE | 2021 | 77103GCM66 | 2011-11-18 | 2010-10-01 | 2012-09-30 | ug/L | 1.089 | Restek | A075493 | Restek A075493: 40 µl | 1.304 | 2-HEXANONE | . | 0.4 | 1.42 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.089 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.94479 | 0.077744 | 0.94325 | 0.099693 | 0.073902
2-HEXANONE | 2021 | 77103GCM66 | 2012-01-26 | 2010-10-01 | 2012-09-30 | ug/L | 0.85736 | Restek | A075493 | Restek A075493: 20 µl | 0.652 | 2-HEXANONE | . | 0.4 | 0.559 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85736 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.94479 | 0.077744 | 0.94325 | 0.099693 | 0.073902
2-HEXANONE | 2021 | 77103GCM66 | 2012-02-24 | 2010-10-01 | 2012-09-30 | ug/L | 0.92025 | Restek | A075493 | Restek A075493: 40 µl | 1.304 | 2-HEXANONE | . | 0.4 | 1.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92025 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.94479 | 0.077744 | 0.94325 | 0.099693 | 0.073902
2-HEXANONE | 2021 | 77103GCM66 | 2012-04-06 | 2010-10-01 | 2012-09-30 | ug/L | 0.8819 | Restek | A075493 | Restek A075493: 20 µl | 0.652 | 2-HEXANONE | . | 0.4 | 0.575 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8819 | Restek A075493 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 11 | 0.94479 | 0.077744 | 0.94325 | 0.099693 | 0.073902
2-HEXANONE | 2021 | 77103GCM66 | 2012-07-30 | 2010-10-01 | 2012-09-30 | ug/L | 1.1194 | Supelco, Abs | LB92787, 051712 | Supelco LB92787: 20 µl & Abs 051712: 20 µl | 8.004 | 2-HEXANONE | . | 0.4 | 8.96 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1194 | SuLB92787, Ab051712 | Su | Ab | Ab | LB92787 | 051712 | 051712 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.1194 |  | 1.1194 | 0 | 0
2-HEXANONE | 2021 | 77103GCM66 | 2013-03-29 | 2012-10-01 | 2050-09-30 | ug/L | 1.0975 | Supelco, ChemService | LB92787, 472200 | Supelco LB92787: 10 µl & ChemService 472200: 10 µl | 4 | 2-HEXANONE | . | 0.6 | 4.39 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0975 | SuLB92787, Ch472200 | Su | Ch | Ch | LB92787 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0162 | 0.1149 | 1.0162 | 0.1625 | 0.12046
2-HEXANONE | 2021 | 77103GCM66 | 2013-05-03 | 2012-10-01 | 2050-09-30 | ug/L | 0.935 | Supelco, ChemService | LB92787, 472200 | Supelco LB92787: 10 µl & ChemService 472200: 10 µl | 4 | 2-HEXANONE | . | 0.6 | 3.74 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.935 | SuLB92787, Ch472200 | Su | Ch | Ch | LB92787 | 472200 | 472200 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0162 | 0.1149 | 1.0162 | 0.1625 | 0.12046
2-HEXANONE | 2021 | 77103GCM66 | 2013-08-06 | 2012-10-01 | 2050-09-30 | ug/L | 0.64 | Supelco, Abs | LC00154, 051413 | Supelco LC00154: 20 µl & Abs 051413: 20 µl | 1.5 | 2-HEXANONE | . | 0.6 | 0.96 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64 | SuLC00154, Ab051413 | Su | Ab | Ab | LC00154 | 051413 | 051413 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.82667 | 0.26399 | 0.82667 | 0.37333 | 0.27675
2-HEXANONE | 2021 | 77103GCM66 | 2013-12-12 | 2012-10-01 | 2050-09-30 | ug/L | 1.0133 | Supelco, Abs | LC00154, 051413 | Supelco LC00154: 10 µl & Abs 051413: 10 µl | 0.75 | 2-HEXANONE | . | 0.6 | 0.76 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0133 | SuLC00154, Ab051413 | Su | Ab | Ab | LC00154 | 051413 | 051413 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.82667 | 0.26399 | 0.82667 | 0.37333 | 0.27675
2-HEXANONE | 2021 | 77103GCM66 | 2013-09-17 | 2012-10-01 | 2050-09-30 | ug/L | 0.99206 | Supelco, ChemService | LC00154, 1530700 | Supelco LC00154: 20 µl & ChemService 1530700: 20 µl | 1.512 | 2-HEXANONE | . | 0.6 | 1.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99206 | SuLC00154, Ch1530700 | Su | Ch | Ch | LC00154 | 1530700 | 1530700 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.99206 |  | 0.99206 | 0 | 0
2-HEXANONE | 2021 | 77103GCM66 | 2009-02-27 | 2007-10-01 | 2009-09-30 | ug/L | 0.9058 | Supelco | LB60727 | Supelco LB60727: 20 µl | 0.7728 | 2-HEXANONE | E | 0.6 | 0.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9058 | Supelco LB60727 | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.9705 | 0.11574 | 0.93815 | 0.1294 | 0.095923
2-HEXANONE | 2021 | 77103GCM66 | 2009-04-08 | 2007-10-01 | 2009-09-30 | ug/L | 0.8411 | Supelco | LB60727 | Supelco LB60727: 40 µl | 1.5456 | 2-HEXANONE | . | 0.6 | 1.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8411 | Supelco LB60727 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.9705 | 0.11574 | 0.93815 | 0.1294 | 0.095923
2-HEXANONE | 2021 | 77103GCM66 | 2009-05-16 | 2007-10-01 | 2009-09-30 | ug/L | 0.9058 | Supelco | LB60727 | Supelco LB60727: 20 µl | 0.7728 | 2-HEXANONE | E | 0.6 | 0.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9058 | Supelco LB60727 | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.9705 | 0.11574 | 0.93815 | 0.1294 | 0.095923
2-HEXANONE | 2021 | 77103GCM66 | 2009-07-08 | 2007-10-01 | 2009-09-30 | ug/L | 0.9705 | Supelco | LB60727 | Supelco LB60727: 40 µl | 1.5456 | 2-HEXANONE | . | 0.6 | 1.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9705 | Supelco LB60727 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.9705 | 0.11574 | 0.93815 | 0.1294 | 0.095923
2-HEXANONE | 2021 | 77103GCM66 | 2009-08-19 | 2007-10-01 | 2009-09-30 | ug/L | 1.0352 | Supelco | LB60727 | Supelco LB60727: 20 µl | 0.7728 | 2-HEXANONE | E | 0.6 | 0.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0352 | Supelco LB60727 | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.9705 | 0.11574 | 0.93815 | 0.1294 | 0.095923
2-HEXANONE | 2021 | 77103GCM66 | 2009-09-26 | 2007-10-01 | 2009-09-30 | ug/L | 1.1646 | Supelco | LB60727 | Supelco LB60727: 20 µl | 0.7728 | 2-HEXANONE | E | 0.6 | 0.9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1646 | Supelco LB60727 | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.9705 | 0.11574 | 0.93815 | 0.1294 | 0.095923
2-HEXANONE | 2021 | 77103GCM66 | 2009-01-17 | 2007-10-01 | 2009-09-30 | ug/L | 1.0294 | Ultra | CE-0471 | Ultra CE-0471: 20 µl | 0.68 | 2-HEXANONE | E | 0.6 | 0.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0294 | Ultra CE-0471 | [9 empty] | Y | Estimated Values | Y | 2 |  | 1 | 1.0294 |  | 1.0294 | 0 | 0