## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
3-CHLOROPROPENE | 2021 | 78109GCM66 | 2009-01-27 | 2006-10-01 | 2009-09-30 | ug/L | 0.9375 | Abs | 080408VOC | Abs 080408VOC: 40 µl | 0.192 | 3-CHLOROPROPENE | E | 0.08 | 0.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9375 | Abs 080408VOC | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.98958 | 0.14358 | 0.9375 | 0.10417 | 0.077218
3-CHLOROPROPENE | 2021 | 78109GCM66 | 2009-03-14 | 2006-10-01 | 2009-09-30 | ug/L | 0.83333 | Abs | 080408VOC | Abs 080408VOC: 20 µl | 0.096 | 3-CHLOROPROPENE | E | 0.08 | 0.08 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83333 | Abs 080408VOC | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.98958 | 0.14358 | 0.9375 | 0.10417 | 0.077218
3-CHLOROPROPENE | 2021 | 78109GCM66 | 2009-04-21 | 2006-10-01 | 2009-09-30 | ug/L | 1.25 | Abs | 080408VOC | Abs 080408VOC: 40 µl | 0.192 | 3-CHLOROPROPENE | E | 0.08 | 0.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.25 | Abs 080408VOC | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.98958 | 0.14358 | 0.9375 | 0.10417 | 0.077218
3-CHLOROPROPENE | 2021 | 78109GCM66 | 2009-06-09 | 2006-10-01 | 2009-09-30 | ug/L | 0.9375 | Abs | 080408VOC | Abs 080408VOC: 20 µl | 0.096 | 3-CHLOROPROPENE | E | 0.08 | 0.09 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9375 | Abs 080408VOC | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.98958 | 0.14358 | 0.9375 | 0.10417 | 0.077218
3-CHLOROPROPENE | 2021 | 78109GCM66 | 2009-07-17 | 2006-10-01 | 2009-09-30 | ug/L | 0.9375 | Abs | 080408VOC | Abs 080408VOC: 20 µl | 0.096 | 3-CHLOROPROPENE | E | 0.08 | 0.09 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9375 | Abs 080408VOC | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.98958 | 0.14358 | 0.9375 | 0.10417 | 0.077218
3-CHLOROPROPENE | 2021 | 78109GCM66 | 2009-08-29 | 2006-10-01 | 2009-09-30 | ug/L | 1.0417 | Abs | 080408VOC | Abs 080408VOC: 20 µl | 0.096 | 3-CHLOROPROPENE | E | 0.08 | 0.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0417 | Abs 080408VOC | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.98958 | 0.14358 | 0.9375 | 0.10417 | 0.077218
3-CHLOROPROPENE | 2021 | 78109GCM66 | 2013-01-19 | 2010-10-01 | 2050-09-30 | ug/L | 1.1501 | Accu, Abs | 212051193, 051712 | Accu 212051193: 40 µl & Abs 051712: 40 µl | 1.9824 | 3-CHLOROPROPENE | E | 0.08 | 2.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1501 | Ac2121193, Ab051712 | Ac | Ab | Ab | 2121193 | 051712 | 051712 | 2121193 |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 1.1501 |  | 1.1501 | 0 | 0
3-CHLOROPROPENE | 2021 | 78109GCM66 | 2013-06-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.9624 | Accu, Abs | 213041120, 051413 | Accu 213041120: 10 µl & Abs 051413: 10 µl | 0.08936 | 3-CHLOROPROPENE | E | 0.08 | 0.086 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9624 | Ac2131120, Ab051413 | Ac | Ab | Ab | 2131120 | 051413 | 051413 | 2131120 |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.9624 |  | 0.9624 | 0 | 0
3-CHLOROPROPENE | 2021 | 78109GCM66 | 2013-11-01 | 2010-10-01 | 2050-09-30 | ug/L | 0.82811 | Accu, ChemService | 213041120, 1530700 | Accu 213041120: 20 µl & ChemService 1530700: 20 µl | 0.17872 | 3-CHLOROPROPENE | E | 0.08 | 0.148 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82811 | Ac2131120, Ch1530700 | Ac | Ch | Ch | 2131120 | 1530700 | 1530700 | 2131120 |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.86728 | 0.055391 | 0.86728 | 0.078335 | 0.058069
3-CHLOROPROPENE | 2021 | 78109GCM66 | 2013-12-31 | 2010-10-01 | 2050-09-30 | ug/L | 0.90645 | Accu, ChemService | 213041120, 1530700 | Accu 213041120: 10 µl & ChemService 1530700: 10 µl | 0.08936 | 3-CHLOROPROPENE | E | 0.08 | 0.081 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90645 | Ac2131120, Ch1530700 | Ac | Ch | Ch | 2131120 | 1530700 | 1530700 | 2131120 |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.86728 | 0.055391 | 0.86728 | 0.078335 | 0.058069
3-CHLOROPROPENE | 2021 | 78109GCM66 | 2009-11-10 | 2009-10-01 | 2010-09-30 | ug/L | 0.96396 | Accu | 209081198 | Accu 209081198: 10 µl | 0.15872 | 3-CHLOROPROPENE | E | 0.08 | 0.153 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96396 | Accu 209081198 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 8 | 0.92117 | 0.070641 | 0.95451 | 0.098706 | 0.07317
3-CHLOROPROPENE | 2021 | 78109GCM66 | 2009-12-24 | 2009-10-01 | 2010-09-30 | ug/L | 0.98076 | Accu | 209081198 | Accu 209081198: 30 µl | 0.47616 | 3-CHLOROPROPENE | E | 0.08 | 0.467 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98076 | Accu 209081198 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 8 | 0.92117 | 0.070641 | 0.95451 | 0.098706 | 0.07317
3-CHLOROPROPENE | 2021 | 78109GCM66 | 2010-02-19 | 2009-10-01 | 2010-09-30 | ug/L | 0.98286 | Accu | 209081198 | Accu 209081198: 10 µl | 0.15872 | 3-CHLOROPROPENE | E | 0.08 | 0.156 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98286 | Accu 209081198 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 8 | 0.92117 | 0.070641 | 0.95451 | 0.098706 | 0.07317
3-CHLOROPROPENE | 2021 | 78109GCM66 | 2010-03-26 | 2009-10-01 | 2010-09-30 | ug/L | 0.78545 | Accu | 209081198 | Accu 209081198: 30 µl | 0.47616 | 3-CHLOROPROPENE | E | 0.08 | 0.374 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78545 | Accu 209081198 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 8 | 0.92117 | 0.070641 | 0.95451 | 0.098706 | 0.07317
3-CHLOROPROPENE | 2021 | 78109GCM66 | 2010-05-05 | 2009-10-01 | 2010-09-30 | ug/L | 0.85685 | Accu | 209081198 | Accu 209081198: 10 µl | 0.15872 | 3-CHLOROPROPENE | E | 0.08 | 0.136 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85685 | Accu 209081198 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 8 | 0.92117 | 0.070641 | 0.95451 | 0.098706 | 0.07317
3-CHLOROPROPENE | 2021 | 78109GCM66 | 2010-06-17 | 2009-10-01 | 2010-09-30 | ug/L | 0.89046 | Accu | 209081198 | Accu 209081198: 30 µl | 0.47616 | 3-CHLOROPROPENE | E | 0.08 | 0.424 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89046 | Accu 209081198 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 8 | 0.92117 | 0.070641 | 0.95451 | 0.098706 | 0.07317
3-CHLOROPROPENE | 2021 | 78109GCM66 | 2010-07-16 | 2009-10-01 | 2010-09-30 | ug/L | 0.95136 | Accu | 209081198 | Accu 209081198: 10 µl | 0.15872 | 3-CHLOROPROPENE | E | 0.08 | 0.151 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95136 | Accu 209081198 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 8 | 0.92117 | 0.070641 | 0.95451 | 0.098706 | 0.07317
3-CHLOROPROPENE | 2021 | 78109GCM66 | 2010-09-01 | 2009-10-01 | 2010-09-30 | ug/L | 0.95766 | Accu | 209081198 | Accu 209081198: 10 µl | 0.15872 | 3-CHLOROPROPENE | E | 0.08 | 0.152 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95766 | Accu 209081198 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 8 | 0.92117 | 0.070641 | 0.95451 | 0.098706 | 0.07317
3-CHLOROPROPENE | 2021 | 78109GCM66 | 2013-05-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.92883 | Crescent, Accu | 04CC151, 213041120 | Crescent 04CC151: 10 µl & Accu 213041120: 10 µl | 0.08936 | 3-CHLOROPROPENE | E | 0.08 | 0.083 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92883 | Cr04CC151, Ac2131120 | Cr | Ac | Ac | 04CC151 | 2131120 | 2131120 |  | 2131120 | 2131120 | Y | Estimated Values | Y | 2 | Y | 1 | 0.92883 |  | 0.92883 | 0 | 0
3-CHLOROPROPENE | 2021 | 78109GCM66 | 2013-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.88889 | Crescent, Supelco | 04CC151, LC00154 | Crescent 04CC151: 10 µl & Supelco LC00154: 10 µl | 0.09 | 3-CHLOROPROPENE | E | 0.08 | 0.08 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88889 | Cr04CC151, SuLC00154 | Cr | Su | Su | 04CC151 | LC00154 | LC00154 |  |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.87222 | 0.02357 | 0.87222 | 0.033333 | 0.02471
3-CHLOROPROPENE | 2021 | 78109GCM66 | 2013-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.85556 | Crescent, Supelco | 04CC151, LC00154 | Crescent 04CC151: 20 µl & Supelco LC00154: 20 µl | 0.18 | 3-CHLOROPROPENE | E | 0.08 | 0.154 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85556 | Cr04CC151, SuLC00154 | Cr | Su | Su | 04CC151 | LC00154 | LC00154 |  |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.87222 | 0.02357 | 0.87222 | 0.033333 | 0.02471
3-CHLOROPROPENE | 2021 | 78109GCM66 | 2012-07-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.97458 | Crescent, Accu | 05BB048, 212051193 | Crescent 05BB048: 10 µl & Accu 212051193: 10 µl | 0.4956 | 3-CHLOROPROPENE | E | 0.08 | 0.483 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97458 | Cr05BB048, Ac2121193 | Cr | Ac | Ac | 05BB048 | 2121193 | 2121193 |  | 2121193 | 2121193 | Y | Estimated Values | Y | 2 | Y | 2 | 0.99677 | 0.031389 | 0.99677 | 0.044391 | 0.032906
3-CHLOROPROPENE | 2021 | 78109GCM66 | 2012-11-08 | 2010-10-01 | 2050-09-30 | ug/L | 1.019 | Crescent, Accu | 05BB048, 212051193 | Crescent 05BB048: 20 µl & Accu 212051193: 20 µl | 0.9912 | 3-CHLOROPROPENE | E | 0.08 | 1.01 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.019 | Cr05BB048, Ac2121193 | Cr | Ac | Ac | 05BB048 | 2121193 | 2121193 |  | 2121193 | 2121193 | Y | Estimated Values | Y | 2 | Y | 2 | 0.99677 | 0.031389 | 0.99677 | 0.044391 | 0.032906
3-CHLOROPROPENE | 2021 | 78109GCM66 | 2013-12-12 | 2010-10-01 | 2050-09-30 | ug/L | 0.94561 | NSI, Accu | 053013, 213041120 | NSI 053013: 20 µl & Accu 213041120: 20 µl | 0.17872 | 3-CHLOROPROPENE | E | 0.08 | 0.169 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94561 | NS053013, Ac2131120 | NS | Ac | Ac | 053013 | 2131120 | 2131120 |  | 2131120 | 2131120 | Y | Estimated Values | Y | 2 | Y | 1 | 0.94561 |  | 0.94561 | 0 | 0
3-CHLOROPROPENE | 2021 | 78109GCM66 | 2013-07-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.95556 | NSI, Supelco | 053013, LC00154 | NSI 053013: 20 µl & Supelco LC00154: 20 µl | 0.18 | 3-CHLOROPROPENE | E | 0.08 | 0.172 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95556 | NS053013, SuLC00154 | NS | Su | Su | 053013 | LC00154 | LC00154 |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.95556 |  | 0.95556 | 0 | 0
3-CHLOROPROPENE | 2021 | 78109GCM66 | 2013-02-28 | 2010-10-01 | 2050-09-30 | ug/L | 1.0533 | NSI, Accu | 062112-01VOA, 212051193 | NSI 062112-01VOA: 10 µl & Accu 212051193: 10 µl | 0.4956 | 3-CHLOROPROPENE | E | 0.08 | 0.522 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0533 | NS0621VOA, Ac2121193 | NS | Ac | Ac | 0621VOA | 2121193 | 2121193 | 0621VOA | 2121193 | 2121193 | Y | Estimated Values | Y | 2 | Y | 1 | 1.0533 |  | 1.0533 | 0 | 0
3-CHLOROPROPENE | 2021 | 78109GCM66 | 2012-09-11 | 2010-10-01 | 2050-09-30 | ug/L | 0.91054 | NSI, Supelco | 062112-01VOA, LB92787 | NSI 062112-01VOA: 20 µl & Supelco LB92787: 20 µl | 1.0016 | 3-CHLOROPROPENE | E | 0.08 | 0.912 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91054 | NS0621VOA, SuLB92787 | NS | Su | Su | 0621VOA | LB92787 | LB92787 | 0621VOA |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.95697 | 0.065656 | 0.95697 | 0.092851 | 0.06883
3-CHLOROPROPENE | 2021 | 78109GCM66 | 2012-12-22 | 2010-10-01 | 2050-09-30 | ug/L | 1.0034 | NSI, Supelco | 062112-01VOA, LB92787 | NSI 062112-01VOA: 40 µl & Supelco LB92787: 40 µl | 2.0032 | 3-CHLOROPROPENE | E | 0.08 | 2.01 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0034 | NS0621VOA, SuLB92787 | NS | Su | Su | 0621VOA | LB92787 | LB92787 | 0621VOA |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.95697 | 0.065656 | 0.95697 | 0.092851 | 0.06883
3-CHLOROPROPENE | 2021 | 78109GCM66 | 2008-12-20 | 2006-10-01 | 2009-09-30 | ug/L | 0.92466 | NSI | 021408-01 | NSI 021408-01: 20 µl | 0.292 | 3-CHLOROPROPENE | E | 0.08 | 0.27 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92466 | NSI 021408-01 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 1 | 0.92466 |  | 0.92466 | 0 | 0
3-CHLOROPROPENE | 2021 | 78109GCM66 | 2010-11-05 | 2010-10-01 | 2050-09-30 | ug/L | 0.94 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.1 | 3-CHLOROPROPENE | E | 0.08 | 0.094 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94 | NSI 062310-01 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 12 | 0.92833 | 0.048305 | 0.93 | 0.07 | 0.05189
3-CHLOROPROPENE | 2021 | 78109GCM66 | 2011-01-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.865 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.2 | 3-CHLOROPROPENE | E | 0.08 | 0.173 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.865 | NSI 062310-01 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 12 | 0.92833 | 0.048305 | 0.93 | 0.07 | 0.05189
3-CHLOROPROPENE | 2021 | 78109GCM66 | 2011-03-01 | 2010-10-01 | 2050-09-30 | ug/L | 1.03 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.1 | 3-CHLOROPROPENE | E | 0.08 | 0.103 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.03 | NSI 062310-01 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 12 | 0.92833 | 0.048305 | 0.93 | 0.07 | 0.05189
3-CHLOROPROPENE | 2021 | 78109GCM66 | 2011-04-13 | 2010-10-01 | 2050-09-30 | ug/L | 0.865 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.2 | 3-CHLOROPROPENE | E | 0.08 | 0.173 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.865 | NSI 062310-01 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 12 | 0.92833 | 0.048305 | 0.93 | 0.07 | 0.05189
3-CHLOROPROPENE | 2021 | 78109GCM66 | 2011-05-03 | 2010-10-01 | 2050-09-30 | ug/L | 0.97 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.1 | 3-CHLOROPROPENE | E | 0.08 | 0.097 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97 | NSI 062310-01 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 12 | 0.92833 | 0.048305 | 0.93 | 0.07 | 0.05189
3-CHLOROPROPENE | 2021 | 78109GCM66 | 2011-06-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.93 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.2 | 3-CHLOROPROPENE | E | 0.08 | 0.186 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93 | NSI 062310-01 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 12 | 0.92833 | 0.048305 | 0.93 | 0.07 | 0.05189
3-CHLOROPROPENE | 2021 | 78109GCM66 | 2011-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 0.96 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.1 | 3-CHLOROPROPENE | E | 0.08 | 0.096 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96 | NSI 062310-01 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 12 | 0.92833 | 0.048305 | 0.93 | 0.07 | 0.05189
3-CHLOROPROPENE | 2021 | 78109GCM66 | 2011-10-18 | 2010-10-01 | 2050-09-30 | ug/L | 0.93 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.1 | 3-CHLOROPROPENE | E | 0.08 | 0.093 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93 | NSI 062310-01 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 12 | 0.92833 | 0.048305 | 0.93 | 0.07 | 0.05189
3-CHLOROPROPENE | 2021 | 78109GCM66 | 2011-11-24 | 2010-10-01 | 2050-09-30 | ug/L | 0.9 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.2 | 3-CHLOROPROPENE | E | 0.08 | 0.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9 | NSI 062310-01 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 12 | 0.92833 | 0.048305 | 0.93 | 0.07 | 0.05189
3-CHLOROPROPENE | 2021 | 78109GCM66 | 2012-03-10 | 2010-10-01 | 2050-09-30 | ug/L | 0.92 | NSI | 062310-01 | NSI 062310-01: 20 µl | 0.1 | 3-CHLOROPROPENE | E | 0.08 | 0.092 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92 | NSI 062310-01 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 12 | 0.92833 | 0.048305 | 0.93 | 0.07 | 0.05189
3-CHLOROPROPENE | 2021 | 78109GCM66 | 2012-05-08 | 2010-10-01 | 2050-09-30 | ug/L | 0.875 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.2 | 3-CHLOROPROPENE | E | 0.08 | 0.175 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.875 | NSI 062310-01 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 12 | 0.92833 | 0.048305 | 0.93 | 0.07 | 0.05189
3-CHLOROPROPENE | 2021 | 78109GCM66 | 2012-05-25 | 2010-10-01 | 2050-09-30 | ug/L | 0.955 | NSI | 062310-01 | NSI 062310-01: 40 µl | 0.2 | 3-CHLOROPROPENE | E | 0.08 | 0.191 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.955 | NSI 062310-01 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 12 | 0.92833 | 0.048305 | 0.93 | 0.07 | 0.05189
3-CHLOROPROPENE | 2021 | 78109GCM66 | 2009-10-22 | 2009-10-01 | 2010-09-30 | ug/L | 1.0769 | Restek | A069860 | Restek A069860: 10 µl | 0.156 | 3-CHLOROPROPENE | E | 0.08 | 0.168 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0769 | Restek A069860 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 9 | 0.95275 | 0.10618 | 0.92308 | 0.096154 | 0.071278
3-CHLOROPROPENE | 2021 | 78109GCM66 | 2009-12-04 | 2009-10-01 | 2010-09-30 | ug/L | 1.1624 | Restek | A069860 | Restek A069860: 30 µl | 0.468 | 3-CHLOROPROPENE | E | 0.08 | 0.544 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1624 | Restek A069860 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 9 | 0.95275 | 0.10618 | 0.92308 | 0.096154 | 0.071278
3-CHLOROPROPENE | 2021 | 78109GCM66 | 2010-01-26 | 2009-10-01 | 2010-09-30 | ug/L | 0.91026 | Restek | A069860 | Restek A069860: 10 µl | 0.156 | 3-CHLOROPROPENE | E | 0.08 | 0.142 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91026 | Restek A069860 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 9 | 0.95275 | 0.10618 | 0.92308 | 0.096154 | 0.071278
3-CHLOROPROPENE | 2021 | 78109GCM66 | 2010-03-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.89103 | Restek | A069860 | Restek A069860: 30 µl | 0.468 | 3-CHLOROPROPENE | E | 0.08 | 0.417 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89103 | Restek A069860 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 9 | 0.95275 | 0.10618 | 0.92308 | 0.096154 | 0.071278
3-CHLOROPROPENE | 2021 | 78109GCM66 | 2010-04-13 | 2009-10-01 | 2010-09-30 | ug/L | 0.87179 | Restek | A069860 | Restek A069860: 10 µl | 0.156 | 3-CHLOROPROPENE | E | 0.08 | 0.136 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87179 | Restek A069860 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 9 | 0.95275 | 0.10618 | 0.92308 | 0.096154 | 0.071278
3-CHLOROPROPENE | 2021 | 78109GCM66 | 2010-05-22 | 2009-10-01 | 2010-09-30 | ug/L | 0.82692 | Restek | A069860 | Restek A069860: 30 µl | 0.468 | 3-CHLOROPROPENE | E | 0.08 | 0.387 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82692 | Restek A069860 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 9 | 0.95275 | 0.10618 | 0.92308 | 0.096154 | 0.071278
3-CHLOROPROPENE | 2021 | 78109GCM66 | 2010-07-09 | 2009-10-01 | 2010-09-30 | ug/L | 0.98718 | Restek | A069860 | Restek A069860: 10 µl | 0.156 | 3-CHLOROPROPENE | E | 0.08 | 0.154 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98718 | Restek A069860 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 9 | 0.95275 | 0.10618 | 0.92308 | 0.096154 | 0.071278
3-CHLOROPROPENE | 2021 | 78109GCM66 | 2010-08-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.92521 | Restek | A069860 | Restek A069860: 30 µl | 0.468 | 3-CHLOROPROPENE | E | 0.08 | 0.433 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92521 | Restek A069860 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 9 | 0.95275 | 0.10618 | 0.92308 | 0.096154 | 0.071278
3-CHLOROPROPENE | 2021 | 78109GCM66 | 2010-09-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.92308 | Restek | A069860 | Restek A069860: 10 µl | 0.156 | 3-CHLOROPROPENE | E | 0.08 | 0.144 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92308 | Restek A069860 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 9 | 0.95275 | 0.10618 | 0.92308 | 0.096154 | 0.071278
3-CHLOROPROPENE | 2021 | 78109GCM66 | 2012-07-30 | 2010-10-01 | 2050-09-30 | ug/L | 1.0084 | Supelco, Abs | LB92787, 051712 | Supelco LB92787: 20 µl & Abs 051712: 20 µl | 1.0016 | 3-CHLOROPROPENE | E | 0.08 | 1.01 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0084 | SuLB92787, Ab051712 | Su | Ab | Ab | LB92787 | 051712 | 051712 |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 1.0084 |  | 1.0084 | 0 | 0
3-CHLOROPROPENE | 2021 | 78109GCM66 | 2013-03-29 | 2010-10-01 | 2050-09-30 | ug/L | 1.1282 | Supelco, ChemService | LB92787, 472200 | Supelco LB92787: 10 µl & ChemService 472200: 10 µl | 0.5008 | 3-CHLOROPROPENE | E | 0.08 | 0.565 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1282 | SuLB92787, Ch472200 | Su | Ch | Ch | LB92787 | 472200 | 472200 |  |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 1.0383 | 0.12708 | 1.0383 | 0.17971 | 0.13322
3-CHLOROPROPENE | 2021 | 78109GCM66 | 2013-05-03 | 2010-10-01 | 2050-09-30 | ug/L | 0.94848 | Supelco, ChemService | LB92787, 472200 | Supelco LB92787: 10 µl & ChemService 472200: 10 µl | 0.5008 | 3-CHLOROPROPENE | E | 0.08 | 0.475 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94848 | SuLB92787, Ch472200 | Su | Ch | Ch | LB92787 | 472200 | 472200 |  |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 1.0383 | 0.12708 | 1.0383 | 0.17971 | 0.13322
3-CHLOROPROPENE | 2021 | 78109GCM66 | 2013-08-06 | 2010-10-01 | 2050-09-30 | ug/L | 0.91111 | Supelco, Abs | LC00154, 051413 | Supelco LC00154: 20 µl & Abs 051413: 20 µl | 0.18 | 3-CHLOROPROPENE | E | 0.08 | 0.164 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91111 | SuLC00154, Ab051413 | Su | Ab | Ab | LC00154 | 051413 | 051413 |  |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 1.0333 | 0.17285 | 1.0333 | 0.24444 | 0.1812
3-CHLOROPROPENE | 2021 | 78109GCM66 | 2013-12-12 | 2010-10-01 | 2050-09-30 | ug/L | 1.1556 | Supelco, Abs | LC00154, 051413 | Supelco LC00154: 10 µl & Abs 051413: 10 µl | 0.09 | 3-CHLOROPROPENE | E | 0.08 | 0.104 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1556 | SuLC00154, Ab051413 | Su | Ab | Ab | LC00154 | 051413 | 051413 |  |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 1.0333 | 0.17285 | 1.0333 | 0.24444 | 0.1812
3-CHLOROPROPENE | 2021 | 78109GCM66 | 2013-09-17 | 2010-10-01 | 2050-09-30 | ug/L | 1.0833 | Supelco, ChemService | LC00154, 1530700 | Supelco LC00154: 20 µl & ChemService 1530700: 20 µl | 0.18 | 3-CHLOROPROPENE | E | 0.08 | 0.195 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0833 | SuLC00154, Ch1530700 | Su | Ch | Ch | LC00154 | 1530700 | 1530700 |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 1.0833 |  | 1.0833 | 0 | 0
3-CHLOROPROPENE | 2021 | 78109GCM66 | 2009-02-18 | 2006-10-01 | 2009-09-30 | ug/L | 0.87065 | Ultra | CE-2869 | Ultra CE-2869: 20 µl | 0.0804 | 3-CHLOROPROPENE | E | 0.08 | 0.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87065 | Ultra CE-2869 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.99502 | 0.11635 | 0.93284 | 0.18657 | 0.1383
3-CHLOROPROPENE | 2021 | 78109GCM66 | 2009-03-31 | 2006-10-01 | 2009-09-30 | ug/L | 1.1194 | Ultra | CE-2869 | Ultra CE-2869: 20 µl | 0.0804 | 3-CHLOROPROPENE | E | 0.08 | 0.09 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1194 | Ultra CE-2869 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.99502 | 0.11635 | 0.93284 | 0.18657 | 0.1383
3-CHLOROPROPENE | 2021 | 78109GCM66 | 2009-06-17 | 2006-10-01 | 2009-09-30 | ug/L | 0.93284 | Ultra | CE-2869 | Ultra CE-2869: 40 µl | 0.1608 | 3-CHLOROPROPENE | E | 0.08 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93284 | Ultra CE-2869 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.99502 | 0.11635 | 0.93284 | 0.18657 | 0.1383
3-CHLOROPROPENE | 2021 | 78109GCM66 | 2009-06-30 | 2006-10-01 | 2009-09-30 | ug/L | 0.93284 | Ultra | CE-2869 | Ultra CE-2869: 40 µl | 0.1608 | 3-CHLOROPROPENE | E | 0.08 | 0.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93284 | Ultra CE-2869 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.99502 | 0.11635 | 0.93284 | 0.18657 | 0.1383
3-CHLOROPROPENE | 2021 | 78109GCM66 | 2009-08-11 | 2006-10-01 | 2009-09-30 | ug/L | 1.1194 | Ultra | CE-2869 | Ultra CE-2869: 20 µl | 0.0804 | 3-CHLOROPROPENE | E | 0.08 | 0.09 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1194 | Ultra CE-2869 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.99502 | 0.11635 | 0.93284 | 0.18657 | 0.1383